Copyright 2010 AIA
MasterSpec Professional
02/10

Copyright 2010 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 011000 - SUMMARY
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

This Section supplements the requirements of the Owner-Contractor Agreement and General Conditions published by the AIA. When other contract documents are used for Project, coordinate the requirements found here.

Much of this Section consists of Project-specific data. Examples given in the model text in the Evaluations illustrate possible Section content. Use the model text to develop text for specific Project requirements. See Evaluations.

This Section and others in Division 01 that deal with multiple contracts use four contracts to illustrate a typical project conducted under multiple contracts. Revise to suit Project.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

Retain or delete this article in all Sections of Project Manual.

A. Section Includes:

1. Project information.

2. Work covered by Contract Documents.

3. Phased construction.

4. Work under separate contracts.

5. Access to site.

6. Coordination with occupants.

7. Work restrictions.

8. Specification and drawing conventions.

9. Miscellaneous provisions.

B. Related Requirements:

Retain subparagraph below to cross-reference requirements Contractor might expect to find in this Section but are specified in other Sections.

1. Section 015000 "Temporary Facilities and Controls" for limitations and procedures governing temporary use of Owner's facilities.

1.2 PROJECT INFORMATION

A. Project Identification: <Insert Project identifier such as Project name and number>.

1. Project Location: <Insert Project location (street address, city, and state)>.

B. Owner: <Insert name and address of Owner>.

1. Owner's Representative: <Insert name and contact information for Owner's representative>.

C. Architect: <Insert name and contact information for Architect>.

Retain "Contractor" Paragraph below only if Contractor is selected by negotiation and subcontracts are subsequently bid.

D. Contractor: <Insert name and contact information for Contractor> has been engaged as Contractor for this Project.

Retain "Design-Builder" Paragraph below for design-build projects.

E. Design-Builder: <Insert name and contact information for Design-Builder>.

Revise subparagraph below to accurately describe contract structure of Project.

1. Design-Builder has been engaged for this Project to provide architectural and engineering services and to serve as Project's constructor. In the terms "Design-Builder" and "Contractor" are synonymous.

"Project Coordinator for Multiple Contracts" Paragraph below identifies Project coordinator for projects constructed under multiple contracts. Revise if additional information is necessary.

F. Project Coordinator for Multiple Contracts: <Insert name and contact information for Project coordinator> has been appointed by Owner to serve as Project coordinator.

Retain "Project Web Site" Paragraph below if Project uses a project Web site, project extranet, or FTP site for information and document management.

G. Project Web Site: A project Web site administered by [Architect] [Owner] [Contractor] will be used for purposes of managing communication and documents during the construction stage.

Retain subparagraph below and coordinate specific Contractor requirements related to Project Web site with Section 013100 "Project Management and Coordination."

1. See Section 013100 "Project Management and Coordination." for requirements for [establishing] [administering] [and] using Project Web site.

1.3 WORK COVERED BY CONTRACT DOCUMENTS

In first paragraph below, include an abbreviated description of the Work for Project identified in "Project Information" Article. See Evaluations. For single prime contracts, this article may be eliminated.

A. The Work of Project is defined by the Contract Documents and consists of the following:

1. <Insert a brief description of Project indicating the size, code classification for occupancy and construction type, and general description of major building assemblies>.

Insert additional paragraphs for other major items of work. See Evaluations for model text.

B. Type of Contract.

Retain one of two subparagraphs below.

1. Project will be constructed under a single prime contract.

2. Project will be constructed under coordinated, concurrent multiple contracts. See Section 011200 "Multiple Contract Summary" for a description of work included under each of the multiple contracts and for the responsibilities of Project coordinator. Contracts for this Project include the following:

Copy and re-edit subparagraph below to identify names of multiple contracts. See Evaluations for model text.

a. <Insert name of the Contract>.

1.4 PHASED CONSTRUCTION

Retain this article if phased construction with multiple Certificates of Substantial Completion is required. See Evaluations.

Revise first paragraph below to suit Project. See Evaluations for model text.

A. The Work shall be conducted in <Insert number> phases, with each phase substantially complete as indicated:

Copy and re-edit first subparagraph below for each phase required. See Evaluations for model text.

1. Phase <Insert designation>: <Briefly describe work of this phase> Work of this phase shall commence [within <Insert number of days> after the Notice to Proceed] [by <Insert date>] and be substantially complete and ready for occupancy [within <Insert number of days>] [after the Notice to Proceed] [after commencement of construction of this phase] [by <Insert date>].

2. Phase <Insert designation>: The remaining Work shall be substantially complete and ready for occupancy at time of Substantial Completion for the Work.

B. Before commencing Work of each phase, submit an updated copy of Contractor's construction schedule showing the sequence, commencement and completion dates[, and move-out and -in dates of Owner's personnel] for all phases of the Work.

1.5 WORK UNDER SEPARATE CONTRACTS

Retain this article if work under this Contract depends on successful completion of work performed under separate contracts. See Evaluations.

A. General: Cooperate fully with separate contractors so work on those contracts may be carried out smoothly, without interfering with or delaying work under this Contract or other contracts. Coordinate the Work of this Contract with work performed under separate contracts.

Retain "Preceding Work" Paragraph below if work under separate contracts is expected to be complete before work under this Contract begins. Revise to suit Project. See Evaluations for model text.

B. Preceding Work: Owner [has awarded] [will award] separate contract(s) for the following construction operations at Project site. Those operations are scheduled to be substantially complete before work under this Contract begins.

Copy and re-edit subparagraph below for each separate contract.

1. <Insert name of the Contract>: To <Insert name of separate Contractor> [to] [for] <Insert a brief description of work performed under separate contract>.

Retain "Concurrent Work" Paragraph below if work under separate contracts is conducted concurrently with work under this Contract. Revise to suit Project. See Evaluations for model text. Where significant concurrent work occurs that requires definition of scopes and the services of a Project coordinator, delete below and use Section 011200 "Multiple Contract Summary" for description of work of separate contracts.

C. Concurrent Work: Owner [has awarded] [will award] [and will assign to Contractor] separate contract(s) for the following construction operations at Project site. Those operations will be conducted simultaneously with work under this Contract.

Copy and re-edit subparagraph below for each separate contract.

1. <Insert name of the Contract>: To <Insert name of separate Contractor> [to] [for] <Insert a brief description of work performed under separate contract>.

Retain "Subsequent Work" Paragraph below if work under future contracts depends on successful completion of work performed under this Contract. Revise to suit Project. See Evaluations for model text.

D. Subsequent Work: Owner [has awarded] [will award] separate contract(s) for the following additional work to be performed at site following Substantial Completion. Completion of that work will depend on successful completion of preparatory work under this Contract.

Copy and re-edit subparagraph below for each separate contract.

1. <Insert name of the Contract>: To <Insert name of separate Contractor> [to] [for] <Insert a brief description of work performed under separate contract>.

1.6 ACCESS TO SITE

Retain one of two "General" paragraphs below. Retain first paragraph if Project is on a vacant site or in an unoccupied building being renovated and there are no Owner-occupancy requirements. Retain second if Owner will occupy portions of an existing site or building. Revise to suit Project.

A. General: Contractor shall have full use of Project site for construction operations during construction period. Contractor's use of Project site is limited only by Owner's right to perform work or to retain other contractors on portions of Project.

B. General: Contractor shall have limited use of Project site for construction operations as indicated on Drawings by the Contract limits and as indicated by requirements of this Section.

Retain "Use of Site" Paragraph below if Project site is accessible to other parties or if parts of a building being renovated are occupied during construction. Revise to suit Project. See Evaluations for model text.

C. Use of Site: Limit use of Project site to [work in areas] [areas within the Contract limits] indicated. Do not disturb portions of Project site beyond areas in which the Work is indicated.

Retain first "Limits" Subparagraph below on projects where necessary to describe areas of a site where work is permitted. Expand to indicate areas of site where incursions are forbidden under any circumstances. See Evaluations for model text.

1. Limits: Confine construction operations to <Insert description of areas where work is permitted>.

Retain "Limits" Subparagraph below for greenfield sites if reduced site disturbance is required for LEED-NC, LEED-CS or LEED for Schools Credit SS 5.1. See Evaluations.

2. Limits: Limit site disturbance, including earthwork and clearing of vegetation, to 40 feet (12.2 m) beyond building perimeter; 10 feet (3 m) beyond surface walkways, patios, surface parking, and utilities less than 12 inches (300 mm) in diameter; 15 feet (4.5 m) beyond primary roadway curbs and main utility branch trenches; and 25 feet (7.6 m) beyond constructed areas with permeable surfaces (such as pervious paving areas, stormwater detention facilities, and playing fields) that require additional staging areas in order to limit compaction in the constructed area.

"Driveways, Walkways and Entrances" Subparagraph below is an example of a special requirement appropriate to many projects. Revise to suit Project or delete.

3. Driveways, Walkways and Entrances: Keep driveways[ parking garage,] [ loading areas,] and entrances serving premises clear and available to Owner, Owner's employees, and emergency vehicles at all times. Do not use these areas for parking or storage of materials.

a. Schedule deliveries to minimize use of driveways and entrances by construction operations.

b. Schedule deliveries to minimize space and time requirements for storage of materials and equipment on-site.

Insert other paragraphs, as appropriate, describing additional limitations on use of site by construction personnel. See Evaluations for model text.

Retain "Condition of Existing Building" Paragraph below if the Work involves existing occupied building.

D. Condition of Existing Building: Maintain portions of existing building affected by construction operations in a weathertight condition throughout construction period. Repair damage caused by construction operations.

Insert additional paragraphs specifying specific limitations on use of existing building. See Evaluations for model text.

1.7 COORDINATION WITH OCCUPANTS

Retain "Full Owner Occupancy" Paragraph below if Owner will occupy all or part of premises during construction. Revise to suit Project. See Evaluations.

A. Full Owner Occupancy: Owner will occupy site and [existing] [adjacent] building(s) during entire construction period. Cooperate with Owner during construction operations to minimize conflicts and facilitate Owner usage. Perform the Work so as not to interfere with Owner's day-to-day operations. Maintain existing exits unless otherwise indicated.

1. Maintain access to existing walkways, corridors, and other adjacent occupied or used facilities. Do not close or obstruct walkways, corridors, or other occupied or used facilities without written permission from Owner and approval of authorities having jurisdiction.

2. Notify Owner not less than [72] <Insert number> hours in advance of activities that will affect Owner's operations.

B. Partial Owner Occupancy: Owner will occupy the premises during entire construction period, with the exception of areas under construction. Cooperate with Owner during construction operations to minimize conflicts and facilitate Owner usage. Perform the Work so as not to interfere with Owner's operations. Maintain existing exits unless otherwise indicated.

1. Maintain access to existing walkways, corridors, and other adjacent occupied or used facilities. Do not close or obstruct walkways, corridors, or other occupied or used facilities without written permission from Owner and authorities having jurisdiction.

2. Provide not less than [72] <Insert number> hours' notice to Owner of activities that will affect Owner's operations.

Retain "Owner Limited Occupancy of Completed Areas of Construction" Paragraph below if Owner might occupy completed portions of building before Substantial Completion. Revise to suit Project.

C. Owner Limited Occupancy of Completed Areas of Construction: Owner reserves the right to occupy and to place and install equipment in completed portions of the Work, prior to Substantial Completion of the Work, provided such occupancy does not interfere with completion of the Work. Such placement of equipment and limited occupancy shall not constitute acceptance of the total Work.

Retain subparagraphs below that describe procedures and requirements that may be necessary before limited Owner occupancy of portions of Project. Revise to suit Project.

1. Architect will prepare a Certificate of Substantial Completion for each specific portion of the Work to be occupied prior to Owner acceptance of the completed Work.

2. Obtain a Certificate of Occupancy from authorities having jurisdiction before limited Owner occupancy.

3. Before limited Owner occupancy, mechanical and electrical systems shall be fully operational, and required tests and inspections shall be successfully completed. On occupancy, Owner will operate and maintain mechanical and electrical systems serving occupied portions of Work.

4. On occupancy, Owner will assume responsibility for maintenance and custodial service for occupied portions of Work.

1.8 WORK RESTRICTIONS

A. Work Restrictions, General: Comply with restrictions on construction operations.

1. Comply with limitations on use of public streets and with other requirements of authorities having jurisdiction.

B. On-Site Work Hours: Limit work in the existing building to normal business working hours of <Insert time> a.m. to <Insert time> p.m., Monday through Friday, unless otherwise indicated.

1. <Insert restrictions on times permitted for work and specific activities>.

Retain "Existing Utility Interruptions" Paragraph below for existing utilities. Coordinate with requirements for temporary utilities specified in Section 015000 "Temporary Facilities and Controls."

C. Existing Utility Interruptions: Do not interrupt utilities serving facilities occupied by Owner or others unless permitted under the following conditions and then only after providing temporary utility services according to requirements indicated:

1. Notify [Architect] [Owner] not less than [two] <Insert number> days in advance of proposed utility interruptions.

2. Obtain [Architect's] [Owner's] written permission before proceeding with utility interruptions.

Retain "Noise, Vibration, and Odors" Paragraph below for work in or near occupied facilities.

D. Noise, Vibration, and Odors: Coordinate operations that may result in high levels of noise and vibration, odors, or other disruption to Owner occupancy with Owner.

1. Notify [Architect] [Owner] not less than [two] <Insert number> days in advance of proposed disruptive operations.

2. Obtain [Architect's] [Owner's] written permission before proceeding with disruptive operations.

Retain "Nonsmoking Building" Paragraph below if required for LEED.

E. Nonsmoking Building: Smoking is not permitted within the building or within 25 feet (8 m) of entrances, operable windows, or outdoor-air intakes.

Retain "Controlled Substances" Paragraph to correspond to Owner's requirements. Revise to suit Project. Where Owner's requirements are extensive, refer to and insert Owner policy and procedure documents to the Project Manual.

F. Controlled Substances: Use of tobacco products and other controlled substances [within the existing building] [on Project site] is not permitted.

Insert additional paragraphs to specify restrictions on Contractor's use of premises or to specify limitations because of Owner occupancy.

1.9 SPECIFICATION AND DRAWING CONVENTIONS

Retain this article or portions of it if an explanation of conventions used in the Specifications and Drawings is necessary. Revise to suit Project. See Evaluations.

A. Specification Content: The Specifications use certain conventions for the style of language and the intended meaning of certain terms, words, and phrases when used in particular situations. These conventions are as follows:

1. Imperative mood and streamlined language are generally used in the Specifications. The words "shall," "shall be," or "shall comply with," depending on the context, are implied where a colon (:) is used within a sentence or phrase.

2. Specification requirements are to be performed by Contractor unless specifically stated otherwise.

B. Division 01 General Requirements: Requirements of Sections in Division 01 apply to the Work of all Sections in the Specifications.

Retain "Drawing Coordination" Paragraph below to explain relationship between Drawing information and Specification content. Revise to suit Project.

C. Drawing Coordination: Requirements for materials and products identified on Drawings are described in detail in the Specifications. One or more of the following are used on Drawings to identify materials and products:

1. Terminology: Materials and products are identified by the typical generic terms used in the individual Specifications Sections.

2. Abbreviations: Materials and products are identified by abbreviations [published as part of the U.S. National CAD Standard] [and] [scheduled on Drawings].

3. Keynoting: Materials and products are identified by reference keynotes referencing Specification Section numbers found in this Project Manual.

1.10 MISCELLANEOUS PROVISIONS

Retain this article only when Project is subject to unusual general requirements that do not belong elsewhere but that affect entire Project. See Evaluations for model text. Delete article if no unusual requirements.

A. <Insert miscellaneous provisions>.

PART 2 -  PRODUCTS (Not Used)

PART 3 -  EXECUTION (Not Used)

END OF SECTION 011000

	SUMMARY
	011000 - 1



