Copyright 2010 AIA
MasterSpec Professional
02/10

Copyright 2010 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 012900 - PAYMENT PROCEDURES
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section includes administrative and procedural requirements necessary to prepare and process Applications for Payment.

B. Related Requirements:

Retain subparagraphs below to cross-reference requirements Contractor might expect to find in this Section but are specified in other Sections.

1. Section 012100 "Allowances" for procedural requirements governing the handling and processing of allowances.

2. Section 012200 "Unit Prices" for administrative requirements governing the use of unit prices.

3. Section 012600 "Contract Modification Procedures" for administrative procedures for handling changes to the Contract.

4. Section 013200 "Construction Progress Documentation" for administrative requirements governing the preparation and submittal of the Contractor's construction schedule.

5. Section 018113.13 "Sustainable Design Requirements - LEED for New Construction and Major Renovations" for administrative requirements governing submittal of cost breakdown information required for LEED documentation.

6. Section 018113.16 "Sustainable Design Requirements - LEED for Commercial Interiors" for administrative requirements governing submittal of cost breakdown information required for LEED documentation.

7. Section 018113.19 "Sustainable Design Requirements - LEED for Core and Shell Development" for administrative requirements governing submittal of cost breakdown information required for LEED documentation.

8. Section 018113.23 "Sustainable Design Requirements - LEED for Schools" for administrative requirements governing submittal of cost breakdown information required for LEED documentation.

1.2 SCHEDULE OF VALUES

A. Coordination: Coordinate preparation of the schedule of values with preparation of Contractor's construction schedule.[ Cost-loaded Critical Path Method Schedule may serve to satisfy requirements for the schedule of values.]

1. Coordinate line items in the schedule of values with other required administrative forms and schedules, including the following:

a. Application for Payment forms with continuation sheets.

b. Submittal schedule.

c. Items required to be indicated as separate activities in Contractor's construction schedule.

Revise seven-day time period in first subparagraph below to suit Project.

2. Submit the schedule of values to Architect[ through Construction Manager] at earliest possible date but no later than [seven] <Insert number> days before the date scheduled for submittal of initial Applications for Payment.

Retain "Subschedules for Phased Work" Subparagraph below if phasing is required. See the Evaluations in Section 011000 "Summary."

3. Subschedules for Phased Work: Where the Work is separated into phases requiring separately phased payments, provide subschedules showing values coordinated with each phase of payment.

Retain "Format and Content" Paragraph below; revise to suit Project. If applicable, include a sample schedule of values at end of Section.

B. Format and Content: Use Project Manual table of contents as a guide to establish line items for the schedule of values. Provide at least one line item for each Specification Section.

1. Identification: Include the following Project identification on the schedule of values:

a. Project name and location.

b. Name of Architect.

c. Architect's project number.

d. Contractor's name and address.

e. Date of submittal.

Retain one of first two subparagraphs below. AIA Document G703, "G703 Continuation Sheet," may suffice as a schedule of values and be adequate for projects where the level of detail in second subparagraph is not required. For LEED projects, labor and materials breakdown are part of Contractor's documentation requirements.

2. Arrange schedule of values consistent with format of [AIA Document G703] [EJCDC Document C-620] <Insert name and designation of standard form>.

Retain option in first subparagraph below where Contractor's ongoing activities related to Project closeout will be a line item subject to Application for Payment approval.

3. Provide a breakdown of the Contract Sum in enough detail to facilitate continued evaluation of Applications for Payment and progress reports. Coordinate with Project Manual table of contents. Provide multiple line items for principal subcontract amounts in excess of [five] <Insert number> percent of the Contract Sum.

a. Include separate line items under [Contractor and ]principal subcontracts for [LEED documentation and other ]Project closeout requirements in an amount totaling [five] <Insert number> percent of the Contract Sum and subcontract amount.

4. Round amounts to nearest whole dollar; total shall equal the Contract Sum.

Retain first subparagraph below. Strengthen provisions below to protect against undue front-end loading if required.

5. Provide a separate line item in the schedule of values for each part of the Work where Applications for Payment may include materials or equipment purchased or fabricated and stored, but not yet installed.

6. Provide separate line items in the schedule of values for initial cost of materials, for each subsequent stage of completion, and for total installed value of that part of the Work.

Retain "Allowances" Subparagraph below if Specifications include unit-cost allowances. Do not confuse unit-cost allowances with unit prices. See the Evaluations in Section 012100 "Allowances" for discussion on unit-cost allowances.

7. Allowances: Provide a separate line item in the schedule of values for each allowance. Show line-item value of unit-cost allowances, as a product of the unit cost, multiplied by measured quantity. Use information indicated in the Contract Documents to determine quantities.

Retain first subparagraph below; revise to suit Project. Owner's financial advisors usually insist on this requirement. See Evaluations for discussion on overhead distribution.

8. Each item in the schedule of values and Applications for Payment shall be complete. Include total cost and proportionate share of general overhead and profit for each item.

a. Temporary facilities and other major cost items that are not direct cost of actual work-in-place may be shown either as separate line items in the schedule of values or distributed as general overhead expense, at Contractor's option.

Revise "Schedule Updating" Subparagraph below to suit Project. As an alternative approach to method described, include each Change Order as a new line item or a separate sheet.

9. Schedule Updating: Update and resubmit the schedule of values before the next Applications for Payment when Change Orders or Construction Change Directives result in a change in the Contract Sum.

1.3 APPLICATIONS FOR PAYMENT

See Evaluations for discussion on waiver of liens and other documentation involved.

A. Each Application for Payment shall be consistent with previous applications and payments as certified by Architect[ and Construction Manager] and paid for by Owner.

1. Initial Application for Payment, Application for Payment at time of Substantial Completion, and final Application for Payment involve additional requirements.

Retain one of two "Payment Application Times" paragraphs below. Retain first paragraph if Owner/Contractor Agreement stipulates payment dates. Retain second if the Agreement does not state payment dates. Revise to suit Project.

B. Payment Application Times: The date for each progress payment is indicated in the Agreement between Owner and Contractor. The period of construction work covered by each Application for Payment is the period indicated in the Agreement.

C. Payment Application Times: Submit Application for Payment to Architect by the <Insert day> of the month. The period covered by each Application for Payment is one month, ending on the [last day of the month] <Insert specific day of the month>.

Retain first "Application for Payment Forms" Paragraph below if using a standard industry form. Revise if Owner uses another form. AIA forms described below are available at most AIA Chapter offices. EJCDC Document C-700 is another standard industry form owners often use. Alternate forms may include local construction-industry forms or lending institution's own standard forms.

D. Application for Payment Forms: Use [AIA Document G702 and AIA Document G703] [AIA Document G702/CMa and AIA Document G703] [EJCDC Document C-620] <Insert name and designation of standard form> as form for Applications for Payment.

E. Application for Payment Forms: Use forms [provided by Owner] [acceptable to Owner and Architect] for Applications for Payment. Sample copies are included in Project Manual.

F. Application Preparation: Complete every entry on form. Notarize and execute by a person authorized to sign legal documents on behalf of Contractor. [Architect] [Construction Manager] will return incomplete applications without action.

1. Entries shall match data on the schedule of values and Contractor's construction schedule. Use updated schedules if revisions were made.

2. Include amounts of Change Orders and Construction Change Directives issued before last day of construction period covered by application.

Revise number of copies in "Transmittal" Paragraph below to suit Project.

G. Transmittal: Submit [three] <Insert number> signed and notarized original copies of each Application for Payment to [Architect] [Construction Manager] by a method ensuring receipt[ within 24 hours]. One copy shall include waivers of lien and similar attachments if required.

1. Transmit each copy with a transmittal form listing attachments and recording appropriate information about application.

Insert instructions for preparation and submittal of waivers or releases here if not stated in the Supplementary Conditions.

Lien laws vary widely in the U.S. Owner's legal counsel and financial advisors, not Architect, should establish requirements for waivers of mechanic's lien.

H. Waivers of Mechanic's Lien: With each Application for Payment, submit waivers of mechanic's lien from entities lawfully entitled to file a mechanic's lien arising out of the Contract and related to the Work covered by the payment.

1. Submit partial waivers on each item for amount requested in previous application, after deduction for retainage, on each item.

2. When an application shows completion of an item, submit conditional final or full waivers.

3. Owner reserves the right to designate which entities involved in the Work must submit waivers.

Delete "Waiver Forms" Subparagraph below and insert a specific form or special requirements where predetermined. See Evaluations.

4. Waiver Forms: Submit executed waivers of lien on forms acceptable to Owner.

I. Initial Application for Payment: Administrative actions and submittals that must precede or coincide with submittal of first Application for Payment include the following:

1. List of subcontractors.

2. Schedule of values.

3. LEED submittal for project materials cost data.

4. Contractor's construction schedule (preliminary if not final).

5. LEED action plans.

6. Schedule of unit prices.

7. Submittal schedule (preliminary if not final).

8. List of Contractor's staff assignments.

9. List of Contractor's principal consultants.

10. Copies of building permits.

11. Copies of authorizations and licenses from authorities having jurisdiction for performance of the Work.

12. Initial progress report.

13. Report of preconstruction conference.

Delete item from subparagraph below submitted before executing the Contract.

14. Certificates of insurance and insurance policies.

J. Application for Payment at Substantial Completion: After Architect issues the Certificate of Substantial Completion, submit an Application for Payment showing 100 percent completion for portion of the Work claimed as substantially complete.

1. Include documentation supporting claim that the Work is substantially complete and a statement showing an accounting of changes to the Contract Sum.

2. This application shall reflect Certificates of Partial Substantial Completion issued previously for Owner occupancy of designated portions of the Work.

K. Final Payment Application: After completing Project closeout requirements, submit final Application for Payment with releases and supporting documentation not previously submitted and accepted, including, but not limited, to the following:

Consult Owner about the need for additional affidavits and other requirements.

1. Evidence of completion of Project closeout requirements.

2. Insurance certificates for products and completed operations where required and proof that taxes, fees, and similar obligations were paid.

3. Updated final statement, accounting for final changes to the Contract Sum.

4. AIA Document G706-1994, "Contractor's Affidavit of Payment of Debts and Claims."

5. AIA Document G706A-1994, "Contractor's Affidavit of Release of Liens."

Retain first subparagraph below if a surety is involved.

6. AIA Document G707-1994, "Consent of Surety to Final Payment."

7. Evidence that claims have been settled.

8. Final meter readings for utilities, a measured record of stored fuel, and similar data as of date of Substantial Completion or when Owner took possession of and assumed responsibility for corresponding elements of the Work.

9. Final liquidated damages settlement statement.

PART 2 -  PRODUCTS (Not Used)

PART 3 -  EXECUTION (Not Used)

END OF SECTION 012900

	PAYMENT PROCEDURES
	012900 - 1



