Copyright 2011 AIA
MasterSpec Professional
02/11

Copyright 2011 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 013233 - PHOTOGRAPHIC DOCUMENTATION
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section includes administrative and procedural requirements for the following:

1. Preconstruction photographs.

2. Periodic construction photographs.

B. Related Requirements:

Retain subparagraph below to cross-reference requirements Contractor might expect to find in this Section but is specified in other Sections.

1. Section 017700 "Closeout Procedures" for submitting photographic documentation as Project Record Documents at Project closeout.

1.2 INFORMATIONAL SUBMITTALS

A. Key Plan: Submit key plan of Project site and building with notation of vantage points marked for location and direction of each [photograph] [video recording]. Indicate elevation or story of construction. Include same information as corresponding photographic documentation.

B. Digital Photographs: Submit unaltered, original, full-size image files within [three] <Insert number> days of taking photographs.

1. Digital Camera: Minimum sensor resolution of [8] <Insert number> megapixels.

2. Identification: Provide the following information with each image description in file metadata tag:

a. Name of Project.

b. Name and contact information for photographer.

c. Date photograph was taken.

d. Description of vantage point, indicating location, direction (by compass point), and elevation or story of construction.

Retain "Construction Photographs" Paragraph below if Contractor is required to submit hard-copy prints of digital photographs in addition to electronic file submittal.

C. Construction Photographs: Submit [two] <Insert number> prints of each photographic view within [seven] <Insert number> days of taking photographs.

1. Format: 8-by-10-inch (203-by-254-mm) smooth-surface matte prints on single-weight, commercial-grade photographic paper; [mounted on linen or card stock to allow a 1-inch- (25-mm-) wide margin and] [enclosed back to back in clear plastic sleeves that are] punched for standard three-ring binder.

2. Identification: On back of each print, provide an applied label or rubber-stamped impression with the following information:

a. Name of Project.

b. Name and contact information for photographer.

c. Name of Architect[ and Construction Manager].

d. Name of Contractor.

e. Date photograph was taken if not date stamped by camera.

f. Description of vantage point, indicating location, direction (by compass point), and elevation or story of construction.

g. Unique sequential identifier keyed to accompanying key plan.

1.3 QUALITY ASSURANCE

Retain "Photographer Qualifications" Paragraph below when Project circumstances warrant services of a professional photographer in lieu of ordinary documentation by Contractor's project staff.

A. Photographer Qualifications: An individual who has been regularly engaged as a professional photographer of construction projects for not less than three years.

1.4 USAGE RIGHTS

A. Obtain and transfer copyright usage rights from photographer to Owner for unlimited reproduction of photographic documentation.

PART 2 -  PRODUCTS

2.1 PHOTOGRAPHIC MEDIA

Format in "Digital Images" Paragraph below is compatible with all digital cameras.

A. Digital Images: Provide images in JPG format, with minimum size of [8] <Insert number> megapixels.

PART 3 -  EXECUTION

3.1 CONSTRUCTION PHOTOGRAPHS

See Evaluations for other methods of assigning responsibility in "Photographer" Paragraph below.

A. Photographer: Engage a qualified photographer to take construction photographs.

B. General: Take photographs using the maximum range of depth of field, and that are in focus, to clearly show the Work. Photographs with blurry or out-of-focus areas will not be accepted.

1. Maintain key plan with each set of construction photographs that identifies each photographic location.

Insert requirements for other procedures, such as lighting levels and absence or presence of people.

C. Digital Images: Submit digital images exactly as originally recorded in the digital camera, without alteration, manipulation, editing, or modifications using image-editing software.

1. Date and Time: Include date and time in file name for each image.

2. Field Office Images: Maintain one set of images accessible in the field office at Project site, available at all times for reference. Identify images in the same manner as those submitted to Architect[ and Construction Manager].

Retain "Preconstruction Photographs" Paragraph below if required to show preexisting conditions.

D. Preconstruction Photographs: Before [commencement of excavation] [commencement of demolition] [starting construction], take photographs of Project site and surrounding properties, including existing items to remain during construction, from different vantage points, as directed by [Architect] [Construction Manager].

1. Flag [excavation areas] [construction limits] before taking construction photographs.

2. Take [20] <Insert number> photographs to show existing conditions adjacent to property before starting the Work.

3. Take [20] <Insert number> photographs of existing buildings either on or adjoining property to accurately record physical conditions at start of construction.

Requirements in "Periodic Construction Photographs" Paragraph below are minimal but adequate for many projects. If needed, add requirement for photographs to be taken of spaces that contain utilities before enclosing finishes are installed.

E. Periodic Construction Photographs: Take [20] <Insert number> photographs [monthly, coinciding] [weekly, with timing each month adjusted to coincide] <Insert time interval> with the cutoff date associated with each Application for Payment. Select vantage points to show status of construction and progress since last photographs were taken.

F. Final Completion Construction Photographs: Take [20] <Insert number> color photographs after date of Substantial Completion for submission as Project Record Documents. [Architect] [Construction Manager] will inform photographer of desired vantage points.

G. Additional Photographs: Architect[ or Construction Manager] may request photographs in addition to periodic photographs specified. Additional photographs will be paid for by Change Order and are not included in the Contract Sum[ or in the allowance for construction photographs].

1. Three days' notice will be given, where feasible.

2. In emergency situations, take additional photographs within 24 hours of request.

3. Circumstances that could require additional photographs include, but are not limited to, the following:

List below is an example only. Revise to suit Project.

a. Special events planned at Project site.

b. Immediate follow-up when on-site events result in construction damage or losses.

c. Photographs to be taken at fabrication locations away from Project site. These photographs are not subject to unit prices or unit-cost allowances.

d. Substantial Completion of a major phase or component of the Work.

e. Extra record photographs at time of final acceptance.

f. Owner's request for special publicity photographs.

If needed, insert requirements for aerial photographs.

END OF SECTION 013233

	PHOTOGRAPHIC DOCUMENTATION
	013233 - 1



