Copyright 2012 AIA
MasterSpec Professional
05/12

Copyright 2012 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 018113.16 - SUSTAINABLE DESIGN REQUIREMENTS - LEED FOR COMMERCIAL INTERIORS
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

Review the Evaluations and the applicable LEED rating system before revising this Section.

Where practical, terminology used in this Section has been made identical to or at least consistent with terminology used in the LEED rating systems; if questions arise relating to terminology, review the applicable LEED reference guide and the standards referenced by the applicable LEED rating system for possible explanations.

If Project design team does not include a LEED-Accredited Professional, consider engaging a consultant; Credit ID 2 applies if at least one principal participant of Project team is a LEED-Accredited Professional. Note that all LEED credits are optional, so delete requirements for credits not sought.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section includes general requirements and procedures for compliance with certain USGBC LEED prerequisites and credits needed for Project to obtain LEED[-Certified] [ Silver] [ Gold] [ Platinum] certification based on the USGBC's "LEED 2009 for Commercial Interiors."

1. Other LEED prerequisites and credits needed to obtain LEED certification depend on product selections and may not be specifically identified as LEED requirements. Compliance with requirements needed to obtain LEED prerequisites and credits may be used as one criterion to evaluate substitution requests and comparable product requests.

2. Additional LEED prerequisites and credits needed to obtain the indicated LEED certification depend on Architect's design and other aspects of Project that are not part of the Work of the Contract.

If retaining subparagraph below, attach a copy of the LEED checklist to the end of this Section as information for Contractor.

3. A copy of the LEED Project checklist is attached at the end of this Section for information only.

4. Specific requirements for LEED are also included in other Sections.

1.2 DEFINITIONS

Retain terms that remain after this Section has been edited for a project.

A. Chain-of-Custody Certificates: Certificates signed by manufacturers certifying that wood used to make products was obtained from forests certified by an FSC-accredited certification body to comply with FSC STD-01-001, "FSC Principles and Criteria for Forest Stewardship." Certificates shall include evidence that manufacturer is certified for chain of custody by an FSC-accredited certification body.

B. Regionally Manufactured Materials: Materials that are manufactured within a radius of 500 miles (800 km) from Project site. Manufacturing refers to the final assembly of components into the building product that is installed at Project site.

C. Regionally Extracted and Manufactured Materials: Regionally manufactured materials made from raw materials that are extracted, harvested, or recovered within a radius of 500 miles (800 km) from Project site.

Note that LEED uses the term "pre-consumer" rather than "post-industrial." Also note that when manufacturers and trade associations use the term "post-industrial" it often includes spills, scraps, and damaged and surplus materials that are fed back into the same manufacturing process and that these materials are not considered recycled content by the LEED rating systems.

D. Recycled Content: The recycled content value of a material assembly shall be determined by weight. The recycled fraction of the assembly is then multiplied by the cost of assembly to determine the recycled content value.

1. "Post-consumer" material is defined as waste material generated by households or by commercial, industrial, and institutional facilities in their role as end users of the product, which can no longer be used for its intended purpose.

2. "Pre-consumer" material is defined as material diverted from the waste stream during the manufacturing process. Excluded is reutilization of materials such as rework, regrind, or scrap generated in a process and capable of being reclaimed within the same process that generated it.

1.3 ADMINISTRATIVE REQUIREMENTS

A. Respond to questions and requests from Architect and the USGBC regarding LEED credits that are the responsibility of the Contractor, that depend on product selection or product qualities, or that depend on Contractor's procedures until the USGBC has made its determination on the project's LEED certification application. Document responses as informational submittals.

1.4 ACTION SUBMITTALS

Requirements in this article assume that product data and cost information is submitted to Architect who then either fills out the LEED online forms or forwards the submittals to Owner to fill out the forms. Submittals include documentation needed to verify compliance with LEED requirements so that Architect or Owner can be assured when filling out the online forms that requirements have been met. Although the USGBC's LEED reference guides do not specifically identify who can certify compliance, submittals could be deleted if requirements in this Section are revised to require Contractor to fill out the online forms and to notify Architect or Owner as they are completed.

Submittals in "LEED Documentation Submittals" Paragraph below may be necessary to verify compliance with indicated LEED prerequisites and credits. Additional submittals may be required in other Sections.

A. LEED Documentation Submittals:

Retain first option in "Credit EA 3" Subparagraph below for a permanent system; retain second option for a temporary system.

1. Credit EA 3: Product data and wiring diagrams for sensors and data collection system used to provide continuous metering of building energy-consumption performance over [time] [a period of time of not less than one year of postconstruction occupancy].

2. Credit MR 4: Product data and certification letter from product manufacturers indicating percentages by weight of post-consumer and pre-consumer recycled content for products having recycled content. Include statement indicating material costs for each product having recycled content.

3. Credit MR 5: Product data indicating location of material manufacturer for regionally manufactured materials. Include statement indicating cost for each regionally manufactured material[ and for each regionally extracted and manufactured material].

First subparagraph below applies to Credit MR 5, Options 1 and 2.

a. Include statement indicating distance from manufacturer to Project for each regionally manufactured material.

First subparagraph below applies to Credit MR 5, Option 2.

b. Include statement indicating location of and distance from Project to point of extraction, harvest, or recovery for each raw material used in regionally extracted and manufactured materials.

4. Credit IEQ 3.1:

a. Construction indoor-air-quality management plan.

b. Product data for temporary filtration media.

c. Product data for filtration media used during occupancy.

d. Construction Documentation: Six photographs at three different times during the construction period, along with a brief description of the SMACNA approach employed, documenting implementation of the indoor-air-quality management measures, such as protection of ducts and on-site stored or installed absorptive materials.

Delete "Credit IEQ 3.2" Subparagraph below if using Owner-engaged, indoor-air-quality testing to obtain Credit IEQ 3.2.

5. Credit IEQ 3.2:

Retain first two subparagraphs below if using building air flush-out procedures.

a. Signed statement describing the building air flush-out procedures including the dates when flush-out was begun and completed and statement that filtration media was replaced after flush-out.

b. Product data for filtration media used during flush-out and during occupancy.

Retain first subparagraph below if using Contractor-engaged, indoor-air-quality testing.

c. Report from testing and inspecting agency indicating results of indoor-air-quality testing and documentation showing compliance with indoor-air-quality testing procedures and requirements.

6. Credit IEQ 4.1: Product data for adhesives and sealants used inside the weatherproofing system indicating VOC content of each product used.

7. Credit IEQ 4.2: Product data for paints and coatings used inside the weatherproofing system indicating VOC content of each product used.

8. Credit IEQ 4.4: Product data for products containing composite wood or agrifiber products or wood glues indicating that they do not contain urea-formaldehyde resin.

1.5 INFORMATIONAL SUBMITTALS

A. Project Materials Cost Data: Provide statement indicating total cost for materials used for Project. Costs exclude labor, overhead, and profit. Include breakout of costs for the following categories of items:

1. Furniture.

2. Plumbing.

3. Mechanical.

4. Electrical.

5. Specialty items such as elevators and equipment.

Retain subparagraph below if required for Credit MR 7.

6. Wood-based construction materials.

"LEED Action Plans" Paragraph below requires Contractor to make early submittals indicating how certain LEED requirements will be met. This action can provide reassurance that Contractor understands the LEED requirements and can help to clear up misunderstandings before they become a bigger problem.

B. LEED Action Plans: Provide preliminary submittals within [seven] [14] [30] [60] <Insert number> days of date established for [commencement of the Work] [the Notice to Proceed] [the Notice of Award] indicating how the following requirements will be met:

Retain "Credit MR 4" Subparagraph below if Contractor is responsible for meeting recycled content requirement.

1. Credit MR 4: List of proposed materials with recycled content. Indicate cost, post-consumer recycled content, and pre-consumer recycled content for each product having recycled content.

Retain "Credit MR 5" Subparagraph below if Contractor is responsible for meeting regional materials requirement. If retaining first option in "Credit MR 5.1( and Credit MR 5.2)" Subparagraph below, also retain second option; if deleting one, delete both.

2. Credit MR 5: List of proposed regionally manufactured materials[ and regionally extracted and manufactured materials].

First subparagraph below applies to Credit MR 5, Options 1 and 2.

a. Identify each regionally manufactured material, including its source and cost.

First subparagraph below applies to Credit MR 5, Option 2.

b. Identify each regionally extracted and manufactured material, including its source and cost.

C. LEED Progress Reports: Concurrent with each Application for Payment, submit reports comparing actual construction and purchasing activities with LEED action plans.

PART 2 -  PRODUCTS

2.1 MATERIALS, GENERAL

Usually retain this article and either or both of next two articles when requirements for recycled content or regional materials are included in technical Sections. This will help ensure that credit requirements are met in the event that costs differ from Architect's estimates.

A. Provide products and procedures necessary to obtain LEED credits required in this Section. Although other Sections may specify some requirements that contribute to LEED credits, the Contractor shall determine additional materials and procedures necessary to obtain LEED credits indicated.

2.2 RECYCLED CONTENT OF MATERIALS

Retain this article if Contractor is responsible for meeting requirement for recycled content of materials.

A. Credit MR 4: Building materials shall have recycled content such that post-consumer recycled content plus one-half of pre-consumer recycled content for Project constitutes a minimum of [10] [20] percent of cost of materials used for Project.

1. Cost of post-consumer recycled content plus one-half of pre-consumer recycled content of an item shall be determined by dividing weight of post-consumer recycled content plus one-half of pre-consumer recycled content in the item by total weight of the item and multiplying by cost of the item.

2. Do not include plumbing, mechanical and electrical components, and specialty items such as elevators and equipment in the calculation.

2.3 REGIONAL MATERIALS

Retain this article if Contractor is responsible for meeting requirement for regional materials.

A. Credit MR 5, Option 1: Not less than 20 percent of materials (by cost) shall be regionally manufactured materials.

B. Credit MR 5, Option 2: Not less than 10 percent of materials (by cost) shall be regionally extracted and manufactured materials.

2.4 LOW-EMITTING MATERIALS

Adhesives and sealants are required in many Specification Sections where, without being specifically mentioned, they may be specified only by the requirement to install products according to manufacturer's written instructions. For this reason, it is probably best to retain first paragraph below.

A. Credit IEQ 4.1: For field applications that are inside the weatherproofing system, adhesives and sealants shall comply with the following VOC content limits when calculated according to 40 CFR 59, Subpart D (EPA Method 24):

Categories in subparagraphs below are taken from LEED rating systems and the standards referenced by them; if clarification is required, see those documents or the reference guides.

1. Wood Glues: 30 g/L.

2. Metal-to-Metal Adhesives: 30 g/L.

3. Adhesives for Porous Materials (Except Wood): 50 g/L.

4. Subfloor Adhesives: 50 g/L.

5. Plastic Foam Adhesives: 50 g/L.

6. Carpet Adhesives: 50 g/L.

7. Carpet Pad Adhesives: 50 g/L.

8. VCT and Asphalt Tile Adhesives: 50 g/L.

9. Cove Base Adhesives: 50 g/L.

10. Gypsum Board and Panel Adhesives: 50 g/L.

11. Rubber Floor Adhesives: 60 g/L.

12. Ceramic Tile Adhesives: 65 g/L.

13. Multipurpose Construction Adhesives: 70 g/L.

14. Fiberglass Adhesives: 80 g/L.

15. Contact Adhesive: 80 g/L.

16. Structural Glazing Adhesives: 100 g/L.

17. Wood Flooring Adhesive: 100 g/L.

18. Structural Wood Member Adhesive: 140 g/L.

19. Single-Ply Roof Membrane Adhesive: 250 g/L.

20. Special-Purpose Contact Adhesive (contact adhesive that is used to bond melamine covered board, metal, unsupported vinyl, rubber, or wood veneer 1/16 inch or less in thickness to any surface): 250 g/L.

21. Top and Trim Adhesive: 250 g/L.

22. Plastic Cement Welding Compounds: 250 g/L.

23. ABS Welding Compounds: 325 g/L.

24. CPVC Welding Compounds: 490 g/L.

25. PVC Welding Compounds: 510 g/L.

26. Adhesive Primer for Plastic: 550 g/L.

27. Sheet-Applied Rubber Lining Adhesive: 850 g/L.

28. Aerosol Adhesive, General-Purpose Mist Spray: 65 percent by weight.

29. Aerosol Adhesive, General-Purpose Web Spray: 55 percent by weight.

30. Special-Purpose Aerosol Adhesive (All Types): 70 percent by weight.

31. Other Adhesives: 250 g/L.

32. Architectural Sealants: 250 g/L.

33. Nonmembrane Roof Sealants: 300 g/L.

34. Single-Ply Roof Membrane Sealants: 450 g/L.

35. Other Sealants: 420 g/L.

36. Sealant Primers for Nonporous Substrates: 250 g/L.

37. Sealant Primers for Porous Substrates: 775 g/L.

38. Modified Bituminous Sealant Primers: 500 g/L.

39. Other Sealant Primers: 750 g/L.

If retaining "Credit IEQ 4.2" Paragraph below, coordinate with Sections where interior paints and coatings are specified to avoid conflicting requirements in those Sections.

B. Credit IEQ 4.2: For field applications that are inside the weatherproofing system, paints and coatings shall comply with the following VOC content limits when calculated according to 40 CFR 59, Subpart D (EPA Method 24):

Categories in subparagraphs below are taken from LEED rating systems and the standards referenced by them; if clarification is required, see those documents or the reference guides.

1. Flat Paints and Coatings: VOC not more than 50 g/L.

2. Nonflat Paints and Coatings: VOC not more than 150 g/L.

3. Dry-Fog Coatings: VOC not more than 400 g/L.

4. Primers, Sealers, and Undercoaters: VOC not more than 200 g/L.

5. Anticorrosive and Antirust Paints Applied to Ferrous Metals: VOC not more than 250 g/L.

6. Zinc-Rich Industrial Maintenance Primers: VOC not more than 340 g/L.

7. Pretreatment Wash Primers: VOC not more than 420 g/L.

8. Clear Wood Finishes, Varnishes: VOC not more than 350 g/L.

9. Clear Wood Finishes, Lacquers: VOC not more than 550 g/L.

10. Floor Coatings: VOC not more than 100 g/L.

11. Shellacs, Clear: VOC not more than 730 g/L.

12. Shellacs, Pigmented: VOC not more than 550 g/L.

13. Stains: VOC not more than 250 g/L.

If retaining "Credit IEQ 4.4" Paragraph below, coordinate with Sections where composite wood products are specified to avoid conflicting requirements in those Sections.

C. Credit IEQ 4.4: Composite wood, agrifiber products, and adhesives shall not contain urea-formaldehyde resin.

PART 3 -  EXECUTION

3.1 REFRIGERANT REMOVAL

A. Prerequisite EA 3: Remove CFC-based refrigerants from existing HVAC&R equipment indicated to remain and replace with refrigerants that are not CFC based. Replace or adjust existing equipment to accommodate new refrigerant as described in HVAC Sections.

3.2 MEASUREMENT AND VERIFICATION

Retain one of two options in "Credit EA 3" Paragraph below.

A. Credit EA 3: Implement measurement and verification plan consistent with [Option B: Energy Conservation Measure Isolation] [Option D: Calibrated Simulation, Savings Estimation Method 2] in the EVO's "International Performance Measurement and Verification Protocol (IPMVP), Volume III: Concepts and Options for Determining Energy Savings in New Construction," and as further defined by the following:

1. <Insert measurement and verification plan design team submitted for credit>.

B. If not already in place, install metering equipment to measure energy usage. Monitor, record, and trend log measurements.

C. Evaluate energy performance and efficiency by comparing actual to predicted performance.

D. Measurement and verification period shall cover at least one year of postconstruction occupancy.

3.3 CONSTRUCTION INDOOR-AIR-QUALITY MANAGEMENT

A. Credit IEQ 3.1: Comply with SMACNA's "SMACNA IAQ Guideline for Occupied Buildings under Construction."

Coordinate first subparagraph below with Section 015000 "Temporary Facilities and Controls." Identify air handlers and associated return-air inlets authorized by Owner for use during construction period.

1. If Owner authorizes use of permanent heating, cooling, and ventilating systems during construction period as specified in Section 015000 "Temporary Facilities and Controls," install filter media having a MERV 8 according to ASHRAE 52.2 at each return-air inlet for the air-handling system used during construction.

2. Replace all air filters immediately prior to occupancy.

B. Credit IEQ 3.2:[ Comply with one of the following requirements:]

Retain one or more of three subparagraphs below. Retain option in "Credit IEQ 3.2" Paragraph above if retaining more than one subparagraph below. Project's mechanical engineer of record should verify that HVAC system design and equipment indicated are capable of delivering flush-out indicated. Provide HVAC system and equipment operating information necessary to achieve credit. If Project HVAC systems and equipment cannot suit requirement, consider requiring temporary systems and equipment.

1. After construction ends, prior to occupancy and with all interior finishes installed, perform a building flush-out by supplying a total volume of 14000 cu. ft. (4 300 000 L) of outdoor air per sq. ft. (sq. m) of floor area while maintaining an internal temperature of at least 60 deg F (16 deg C) and a relative humidity no higher than 60 percent.

In first subparagraph below, indicate operating procedure for each HVAC system and piece of equipment and the operating duration required for flush-out.

a. <Insert operating requirements>.

2. If occupancy is desired prior to flush-out completion, the space may be occupied following delivery of a minimum of 3500 cu. ft. (1 070 000 L) of outdoor air per sq. ft. (sq. m) of floor area to the space. Once a space is occupied, it shall be ventilated at a minimum rate of 0.30 cfm per sq. ft. (1.52 L/s per sq. m) of outside air or the design minimum outside air rate determined in Prerequisite IEQ 1, whichever is greater. During each day of the flush-out period, ventilation shall begin a minimum of three hours prior to occupancy and continue during occupancy. These conditions shall be maintained until a total of 14000 cu. ft./sq. ft. (4 300 000 L/sq. m) of outside air has been delivered to the space.

In first subparagraph below, indicate operating procedure for each HVAC system and piece of equipment and the operating duration required for flush-out.

a. <Insert operating requirements>.

3. Air-Quality Testing:

The EPA standard referenced in first subparagraph below is available from NTIS; (800) 553-6847 with PB90200288 ordering number.

a. Conduct baseline indoor-air-quality testing, after construction ends and prior to occupancy, using testing protocols consistent with the EPA's "Compendium of Methods for the Determination of Air Pollutants in Indoor Air," and as additionally detailed in the USGBC's "LEED Reference Guide for Green Interior Design and Construction."

b. Demonstrate that the contaminant maximum concentrations listed below are not exceeded:

Note that it may be necessary to comply with requirements in Credit IEQ 4.1, Credit IEQ 4.2, Credit IEQ 4.3, and Credit IEQ 4.4 to comply with the limits specified in first five subparagraphs below.

1) Formaldehyde: 27 ppb.

2) Particulates (PM10): 50 micrograms/cu. m.

3) Total Volatile Organic Compounds (TVOC): 500 micrograms/cu. m.

4) 4-Phenylcyclohexene (4-PH): 6.5 micrograms/cu. m.

5) Carbon Monoxide: 9 ppm and no greater than 2 ppm above outdoor levels.

First subparagraph below is part of LEED credit requirements but creates requirements that are contingent on field conditions that are unknown at time of bid and could influence bids. Also, requirements may result in claims for extra payment and time. Revise to suit office practice.

c. For each sampling point where the maximum concentration limits are exceeded, conduct additional flush-out with outside air and retest the specific parameter(s) exceeded to indicate the requirements are achieved. Repeat procedure until all requirements have been met. When retesting noncomplying building areas, take samples from same locations as in the first test.

d. Air-sample testing shall be conducted as follows:

1) All measurements shall be conducted prior to occupancy but during normal occupied hours, and with building ventilation system starting at the normal daily start time and operated at the minimum outside air flow rate for the occupied mode throughout the duration of the air testing.

2) Building shall have all interior finishes installed including, but not limited to, millwork, doors, paint, carpet, and acoustic tiles. Nonfixed furnishings such as workstations and partitions are encouraged, but not required, to be in place for the testing.

3) Number of sampling locations varies depending on the size of building and number of ventilation systems. For each portion of building served by a separate ventilation system, the number of sampling points shall not be less than one per 25,000 sq. ft. (2300 sq. m) or for each contiguous floor area, whichever is larger, and shall include areas with the least ventilation and greatest presumed source strength.

4) Air samples shall be collected between 3 and 6 feet (0.9 and 1.8 m) from the floor to represent the breathing zone of occupants, and over a minimum four-hour period.

END OF SECTION 018113.16

	SUSTAINABLE DESIGN REQUIREMENTS - LEED FOR COMMERCIAL INTERIORS
	018113.16 - 1



