Copyright 2010 AIA
MasterSpec Professional
02/10

Copyright 2010 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 033816 - UNBONDED POST-TENSIONED CONCRETE
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section includes post-tensioning reinforcement and accessories and post-tensioning operations including stressing.

1.2 PREINSTALLATION MEETINGS

Retain "Preinstallation Conference" Paragraph below if Work of this Section is extensive or complex enough to justify a conference.

A. Preinstallation Conference: Conduct conference at Project site.

1.3 ACTION SUBMITTALS

A. Product Data: For each type of product.

B. LEED Submittals:

1. Product Data for Credit MR 4: For products having recycled content, documentation indicating percentages by weight of postconsumer and preconsumer recycled content. Include statement indicating cost for each product having recycled content.

C. Shop Drawings: Prepared by or under the supervision of a qualified professional engineer, detailing tendon layout and installation procedures.

Retain "Delegated-Design Submittal" Paragraph below if design services have been delegated to Contractor.

D. Delegated-Design Submittal: For post-tensioning system.

1. Sealed design calculations prepared by a qualified structural engineer indicating method of elongation calculation including values used for friction coefficients, anchorage seating loss, elastic shortening, creep, relaxation, and shrinkage.

1.4 INFORMATIONAL SUBMITTALS

A. Qualification Data: For [Installer] [manufacturer] [testing agency].

B. Product certificates.

C. Mill Test Reports: For prestressing strand.

Retain "Field quality-control reports" Paragraph below if Contractor is responsible for field quality-control testing and inspecting.

D. Field quality-control reports.

E. Stressing Records: Submit the same day as stressing operations.

1.5 QUALITY ASSURANCE

A. Manufacturer Qualifications: Fabricating plant certified by PTI according to procedures set forth in PTI's "Manual for Certification of Plants Producing Unbonded Single Strand Tendons."

B. Installer Qualifications: A qualified installer whose full-time Project superintendent has successfully completed PTI's Level 1 - Field Fundamentals course or has equivalent verifiable experience and knowledge acceptable to Architect.

1. Superintendent must receive training from post-tensioning supplier in the operation of stressing equipment to be used on Project.

Retain "Testing Agency Qualifications" Paragraph below if Contractor or manufacturer selects testing agency or if Contractor is required to provide services of a qualified testing agency in "Field Quality Control" Article.

C. Testing Agency Qualifications: Qualified according to ASTM E 329 for testing indicated.

1. Testing Agency Inspector: Personnel performing field inspections and measuring elongations shall have successfully completed PTI's Level 1 - Field Fundamentals course or shall have equivalent verifiable experience and knowledge acceptable to Architect.

1.6 DELIVERY, STORAGE, AND HANDLING

A. Deliver, store, and handle post-tensioning materials according to PTI's "Field Procedures Manual for Unbonded Single Strand Tendons."

PART 2 -  PRODUCTS

2.1 PERFORMANCE REQUIREMENTS

Retain "Delegated Design" Paragraph below if Contractor is required to assume responsibility for design.

A. Delegated Design: Engage a qualified professional engineer, as defined in Section 014000 "Quality Requirements," to design post-tensioned reinforcement.

B. Structural Performance: Design cast-in-place, post-tensioned concrete reinforcement as indicated in this Section. Show final effective forces, tendon profiles, and nonprestressed reinforcement on design installation drawings.

C. Design structure to withstand the loads indicated according to governing codes, within limits and under conditions indicated.

Revise "Average Precompression" Paragraph below if more stringent stress limits are required.

D. Average Precompression:

1. Minimum Average Slab Precompression: [125 psi (0.86 MPa)] [200 psi (1.4 MPa)] <Insert value>.

2. Maximum Average Slab Precompression: [300 psi (2.1 MPa)] [500 psi (3.4 MPa)] <Insert value>.

Retain "Minimum Average Precompression in T-, L-, and Rectangular-Beam Cross Sections" Subparagraph below for one-way slab and beam construction.

3. Minimum Average Precompression in T-, L-, and Rectangular-Beam Cross Sections: [200 psi (1.4 MPa)] <Insert value>.

Retain "Minimum Precompression in Slab Section Not Included in T- or L-Beam Section" Subparagraph below if Project is one-way slab and beam design and prestressing tendons are used for temperature and shrinkage stresses.

4. Minimum Precompression in Slab Section Not Included in T- or L-Beam Section: [100 psi (0.7 MPa)] <Insert value>.

Retain "Maximum Precompression in Transfer Girders" Subparagraph below if design includes transfer girders.

5. Maximum Precompression in Transfer Girders: [1000 psi (6.9 MPa)] <Insert value>. Specify stage-stressing sequence to avoid overstress.

E. Comply with ACI 318 (ACI 318M) requirements unless more stringent requirements are indicated.

Retain one of two "Fire Resistance" paragraphs below.

F. Fire Resistance: Design members such that thickness and concrete cover over reinforcement comply with fire-resistance requirements of authorities having jurisdiction.

G. Fire Resistance: Design members such that thickness and concrete cover over reinforcement comply with the following fire-resistance requirements:

Revise "Slabs" and "Beam" subparagraphs below to identify fire-resistance requirements of slab or beam post-tensioned elements.

1. Slabs: [Two] <Insert number> hours.

2. Beam: [Two] <Insert number> hours.

H. Deflection Limits Including Creep and Shrinkage Effects:

1. Total Dead Load: [L/600] <Insert value>.

2. Total Dead Plus Live Load: [L/360] <Insert value>.

I. Closure Strips: Locate closure strips at midspan and adjust tendon forces and profiles accordingly. Calculate moments in spans with closure strips assuming a continuous slab. Provide only nonprestressed reinforcement within closure strips. Design reinforcement in closure strip to carry ultimate moment at midspan.

2.2 PRESTRESSING TENDONS

A. ACI Publications: Comply with ACI 423.6, "Specification for Unbonded Single Strand Tendons," unless otherwise indicated in the Contract Documents.

B. Prestressing Strand: ASTM A 416/A 416M, Grade 270 (Grade 1860), uncoated, seven-wire, low-relaxation, [0.5-inch- (12.7-mm-)] [0.6-inch- (15.2-mm-)] <Insert dimension> diameter strand.

C. Post-Tensioning Coating: Compound with friction-reducing, moisture-displacing, and corrosion-inhibiting properties; chemically stable and nonreactive with prestressing steel, nonprestressed reinforcement, sheathing material, and concrete.

D. Tendon Sheathing:

1. Minimum Thickness: [0.050 inch (1.25 mm)] <Insert dimension> for polyethylene or polypropylene with a minimum density of 0.034 lb/cu. in. (0.9 g/cu. cm).

Retain first option in subparagraph below if specifying an encapsulated system. Retain last option if specifying a non-encapsulated system. Revise as necessary if specifying an encapsulated system only for certain portions of structure.

2. Continuous over length of tendon [to provide watertight encapsulation of strand] [and] [between anchorages to prevent intrusion of cement paste or loss of coating for a non-encapsulated system].

E. Anchorage Device and Coupler Assembly: Assembly of strand, wedges, and anchorage device or coupler complying with static and fatigue testing requirements and capable of developing 95 percent of actual breaking strength of strand.

Retain "Encapsulation System" Paragraph below if specifying an encapsulated system. See Evaluations for discussion of encapsulated systems for aggressive environments.

F. Encapsulation System: Watertight encapsulation of prestressing strand consisting of the following:

1. Wedge-Cavity Caps: Attached to anchorages with a positive mechanical connection and completely filled with post-tensioning coating.

2. Sleeves: Attached to anchorage device with positive mechanical connection; overlapped a minimum of 4 inches (100 mm) with sheathing and completely filled with post-tensioning coating.

2.3 NONPRESTRESSED STEEL BARS

Retain "Recycled Content of Steel Products" Paragraph below to specify recycled content if applying for LEED Credit MR 4.

A. Recycled Content of Steel Products: Postconsumer recycled content plus one-half of preconsumer recycled content a minimum of [25] [60] <Insert number> percent.

B. Support Bars, Reinforcing Bars, Hairpins:

Retain material requirements for support bars, reinforcing bars, and hairpins from "Steel" and "Low-Alloy Steel" subparagraphs below or revise to suit Project.

1. Steel: ASTM A 615/A 615M, Grade 60 (Grade 420), deformed.

Retain "Low-Alloy Steel" Subparagraph below if bars are welded or if additional ductility is required.

2. Low-Alloy Steel: ASTM A 706/A 706M, deformed.

C. Supports: Bolsters, chairs, spacers, and other devices for spacing, supporting, and fastening tendons and tendon support bars in place. Manufacture bar supports, according to CRSI's "Manual of Standard Practice," from steel wire, plastic, or precast concrete of greater compressive strength than concrete, and as follows:

1. For uncoated bars, use [all-plastic] [CRSI Class 1 plastic-protected] [CRSI Class 2 stainless-steel] bar supports.

2.4 ACCESSORIES

A. Pocket Formers: Capable of completely sealing wedge cavity; sized to provide the required cover over the anchorage and allow access for cutting strand tail.

Retain "Anchorage Fasteners" Paragraph below if tendons are intended for use in an aggressive environment.

B. Anchorage Fasteners: [Stainless] [Galvanized] [Uncoated]-steel nails, wires, and screws used to attach anchorage devices to formwork.

C. Sheathing Repair Tape: Elastic, self-adhesive, moistureproof tape with minimum width of 2 inches (50 mm), in contrasting color to tendon sheathing; nonreactive with sheathing, coating, or prestressing steel.

2.5 PATCHING MATERIAL

A. One-component, polymer-modified, premixed patching material containing selected silica aggregates and portland cement, suitable for vertical and overhead applications. Do not use material containing chlorides or other chemicals known to be deleterious to prestressing steel or material that is reactive with prestressing steel, anchorage device material, or concrete.

PART 3 -  EXECUTION

3.1 FORMWORK

A. Provide formwork for post-tensioned elements as specified in Section 033000 "Cast-in-Place Concrete." Design formwork to support load redistribution that may occur during stressing operation. Ensure that formwork does not restrain elastic shortening, camber, or deflection resulting from application of prestressing force.

B. Do not remove forms supporting post-tensioned elements until tendons have been fully stressed and elongations have been approved by Architect.

C. Do not place concrete in supported floors until tendons on supporting floors have been stressed and elongations have been approved by Architect.

3.2 NONPRESTRESSED STEEL REINFORCEMENT PLACEMENT

A. Placement of nonprestressed steel reinforcement is specified in Section 033000 "Cast-in-Place Concrete." Coordinate placement of nonprestressed steel reinforcement with installation of post-tensioning tendons.

3.3 TENDON INSTALLATION

A. Install tendons according to installation drawings and procedures stated in PTI's "Field Procedures Manual for Unbonded Single Strand Tendons."

1. Tolerances: Comply with tolerances in ACI 423.6 for beams and slabs.

B. Tendon Supports: Provide continuous slab bolsters or bars supported on individual high chairs spaced at a maximum of 42 inches (1070 mm) o.c. to ensure tendons remain in their designated positions during construction operations and concrete placement.

1. Support tendons as required to provide profiles shown on installation drawings. Position supports at high and low points and at intervals not exceeding 48 inches (1220 mm). Ensure that tendon profiles between high and low points are smooth parabolic curves.

2. Attach tendons to supporting chairs and reinforcement without damaging tendon sheathing.

3. Support slab tendons independent of beam reinforcement.

C. Maintain tendon profile within maximum allowable deviations from design profile as follows:

1. 1/4 inch (6.3 mm) for member depth less than or equal to 8 inches (200 mm).

2. 3/8 inch (9.5 mm) for member depth greater than 8 inches (200 mm) and less than or equal to 24 inches (610 mm).

3. 1/2 inch (13 mm) for member depth greater than 24 inches (610 mm).

D. Maintain minimum radius of curvature of 480-strand diameters for lateral deviations to avoid openings, ducts, and embedded items. Maintain a minimum of 2 inches (50 mm) of separation between tendons at locations of curvature.

E. Limit tendon bundles to [five] <Insert number> tendons. Do not twist or entwine tendons within a bundle. Maintain a minimum distance of 12 inches (300 mm) between center of adjacent bundles.

F. If tendon locations conflict with nonprestressed reinforcement or embedded items, tendon placement governs. Obtain Architect's approval before relocating tendons or tendon anchorages that interfere with one another.

G. Deviations in horizontal spacing and location of slab tendons are permitted when required to avoid openings and inserts.

H. Installation of Anchorage Devices:

1. Place anchorage devices at locations shown on approved installation drawings.

2. Do not switch fixed- and stressing-end anchorage locations.

3. Attach pocket formers, intermediate anchorage devices, and stressing-end anchorage devices securely to bulkhead forms. Install stressing-end and intermediate anchorage devices perpendicular to tendon axis.

4. Install tendons straight, without vertical or horizontal curvature, for a minimum of 12 inches (300 mm) behind stressing-end and intermediate anchorages.

5. Embed intermediate anchorage devices at construction joints in first concrete placed at joint.

6. Minimum splice length in reinforcing bars at anchorages is 24 inches (600 mm). Stagger splices a minimum of 60 inches (1500 mm).

7. Place fixed-end anchorage devices in formwork at locations shown on installation drawings. Support anchorages firmly to avoid movement during concrete placement.

Retain subparagraph below if specifying an encapsulated system. Revise as necessary if specifying an encapsulated system only for certain portions of structure.

8. Remove loose caps on fixed-end anchorages, refill with post-tensioning coating, and re-attach caps to achieve a watertight enclosure.

I. Maintain minimum concrete cover according to ACI 423.6.

J. Maintain minimum clearance of 6 inches (150 mm) between tendons and openings.

Paint markings on formwork are transferred to concrete, allowing tendon locations to be determined by examination of slab soffit. Delete first paragraph below or use alternative method of marking tendon locations if soffit is to be exposed or such markings are not required.

K. Prior to concrete placement, mark tendon locations on formwork with spray paint.

L. Do not install sleeves within [36 inches (914 mm)] <Insert dimension> of anchorages after tendon layout has been inspected.

M. Do not install conduit, pipe, or embeds requiring movement of tendons after tendon layout has been inspected.

N. Do not use couplers unless location has been approved by Architect.

3.4 SHEATHING INSPECTION AND REPAIR

Limited damage may be acceptable for tendons not intended for use in an aggressive environment; revise first paragraph below if this is permitted.

A. Inspect sheathing for damage after installing tendons. Repair damaged areas by restoring post-tensioning coating and repairing or replacing tendon sheathing.

1. Ensure that sheathing is watertight and there are no air voids.

2. Follow tape repair procedures in PTI's "Field Procedures Manual for Unbonded Single Strand Tendons."

Retain first paragraph below if specifying a non-encapsulated system. With non-encapsulated systems, Architect can specify length of exposed strand that is allowed. General practice is to allow up to 12 inches (300 mm) of exposed strand at fixed-end anchorage. The Commentary for ACI 423.6 indicates that a maximum of 1 inch (25 mm) of exposed strand is normally allowed at stressing-end anchorages. Many architects, however, require that exposed strand at intermediate and stressing-end anchorages be taped to avoid problems during stressing. In an encapsulated system, no exposed strand is allowed at anchorages. Revise below if specifying an encapsulated system only for certain portions of structure.

B. Maximum length of exposed strand behind anchorages is as follows:

1. Fixed End: [12 inches (300 mm)] <Insert dimension>.

2. Intermediate and Stressing End: [1 inch (25 mm)] <Insert dimension>.

Retain subparagraph below if retaining option in "Intermediate and Stressing End" Subparagraph above for maximum length of exposed strand at intermediate and stressing-end anchorages.

a. Cover exposed strand with sheathing repair tape to prevent contact with concrete.

C. Immediately remove and replace tendons that have damaged strand.

3.5 CONCRETE PLACEMENT

A. Place concrete as specified in Section 033000 "Cast-in-Place Concrete." Ensure compaction of concrete around anchorages.

B. Ensure that position of tendon and nonprestressed-steel reinforcement does not change during concrete placement. Reposition tendons and nonprestressed-steel reinforcement moved during concrete placement to original location.

C. Ensure that method of concrete placement does not damage tendon sheathing. Do not support pump lines, chutes, or other concrete-placing equipment on tendons.

3.6 TENDON STRESSING

Revise first paragraph below to suit Project. It is typically unnecessary to calibrate the jack for small projects lasting less than a few months if the jack has been calibrated within the last six months.

A. Calibrate stressing jacks and gages at start of project and at least every six months thereafter. Keep copies of calibration certificates for each jack-and-gage pair on Project site that are available for inspection. Exercise care in handling stressing equipment to ensure that proper calibration is maintained.

B. Stress tendons only under supervision of a qualified post-tensioning superintendent.

Coordinate concrete strength required with requirements of post-tensioning supplier.

C. Do not begin stressing operations until concrete strength has reached [3000 psi (20.7 MPa)] <Insert value> as indicated by compression tests of field-cured cylinders.

D. Complete stressing within [96] <Insert number> hours of concrete placement.

E. If concrete has not reached required strength, obtain Architect's approval to partially stress tendons and delay final stressing until concrete has reached required strength.

Retain first paragraph below if stage stressing is required; revise to suit Project.

F. Stage stress [transfer girders] [foundation mats] <Insert work> according to schedule shown on the Contract Drawings.

G. If detensioning and restressing of tendon is required, discard wedges used in original stressing and provide new wedges.

Retain first paragraph below if Contractor will engage a qualified testing agency responsible for marking and measuring elongations.

H. Mark and measure elongations according to PTI's "Field Procedures Manual for Unbonded Single Strand Tendons." Measure elongations to closest [1/8 inch (3.2 mm)] <Insert dimension>.

ACI 318 requires that the cause of any difference between the jacking force and the force corresponding to measured elongation that exceeds 7 percent be ascertained and corrected.

I. Submit stressing records within one day of completion of stressing. If discrepancies between measured and calculated elongations exceed plus or minus 7 percent, resolve these discrepancies to satisfaction of Architect.

J. Prestressing will be considered acceptable if gage pressures shown on stressing record correspond to required stressing force and calculated and measured elongations agree within 7 percent.

K. If measured elongations deviate from calculated elongations by more than 7 percent, additional testing, restressing, strengthening, or replacing of affected elements may be required.

3.7 TENDON FINISHING

A. Do not cut strand tails or cover anchorages until stressing records have been reviewed and approved by Architect.

B. Cut strand tails as soon as possible after approval of elongations.

Retain first two paragraphs below if specifying an encapsulated system. Revise as necessary if specifying an encapsulated system only for certain portions of structure.

C. Install caps and sleeves on intermediate anchorages within one day of stressing.

D. Cut strand tails and install caps on stressing-end anchorages within one day of Architect's acceptance of elongations.

E. Patch stressing pockets within one day of cutting strand tail. Clean inside surface of pocket to remove laitance or post-tensioning coating before installing patch material. Finish patch material flush with adjacent concrete.

3.8 FIELD QUALITY CONTROL

Retain "Testing Agency" Paragraph below to identify who shall perform tests and inspections. If retaining second option, retain "Field quality-control reports" Paragraph in "Informational Submittals" Article.

A. Testing Agency: [Owner will engage] [Engage] a qualified testing agency to perform tests and inspections.

1. Before concrete placement, [special inspector] [testing agency] will inspect the following for compliance with post-tensioning installation drawings and the Contract Documents:

a. Location and number of tendons.

b. Tendon profiles and cover.

c. Installation of backup bars, hairpins, and other nonprestressed reinforcement shown on post-tensioning installation drawings.

d. Installation of pocket formers and anchorage devices.

e. Repair of damaged sheathing.

Retain first subparagraph below if specifying an encapsulated system. Revise as necessary if specifying an encapsulated system only for certain portions of structure.

f. Connections between sheathing and anchorage devices.

2. [Special inspector] [Testing agency] will record tendon elongations during stressing.

3. [Special inspector] [Testing agency] will immediately report deviations from the Contract Documents to Architect.

3.9 PROTECTION

A. Do not expose tendons to electric ground currents, welding sparks, or temperatures that would degrade components.

Retain first paragraph below, a requirement of ACI 423.6, if the Work is exposed to an aggressive environment. See Evaluations for discussion of aggressive environments.

B. Protect exposed components within one workday of their exposure during installation.

C. Prevent water from entering tendons during installation and stressing.

D. Provide weather protection to stressing-end anchorages if strand tails are not cut within 10 days of stressing the tendons.

3.10 REPAIRS

A. Submit repair procedure to Architect for evaluation and approval.

B. Do not proceed with repairs requiring removal of concrete unless authorized in writing by Architect.

END OF SECTION 033816

	UNBONDED POST-TENSIONED CONCRETE
	033816 - 1



