Copyright 2010 AIA
MasterSpec Professional
02/10

Copyright 2010 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 035216 - LIGHTWEIGHT INSULATING CONCRETE
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section includes cast-in-place [perlite aggregate] [vermiculite aggregate] [cellular] lightweight insulating concrete.

1.2 ACTION SUBMITTALS

A. Product Data: For each type of product indicated.

B. Shop Drawings: Include plans, sections, and details showing roof slopes, lightweight insulating concrete thicknesses, embedded insulation board, roof penetrations, roof perimeter terminations and curbs, control and expansion joints, and roof drains.

C. Design mixtures.

1.3 INFORMATIONAL SUBMITTALS

A. Product certificates.

B. Material test reports.

C. Research/evaluation reports.

1.4 QUALITY ASSURANCE

A. Installer Qualifications: An Installer who employs and retains, throughout the project, supervisors who are trained and approved by manufacturer.

Retain first paragraph below only if products specified in Part 2 are part of a fire-resistance-rated assembly Indicate rating, testing agency, and testing agency's design designation on Drawings.

B. Fire-Resistance Ratings: Where indicated, provide lightweight insulating concrete identical to those of assemblies tested for fire resistance per ASTM E 119 by a qualified testing agency.

Retain first paragraph below if FM Approvals listing is required for lightweight insulating concrete. Coordinate listing of lightweight insulating concrete with remaining roof construction requirements. FM Approved roof decks are placed in two rating categories for fire: noncombustible and Class 1 fire. Each category requires a roof deck to comply with Class 1-60 wind-uplift rating, minimum; with ASTM E 108, Class C for exterior fire; and with Class 1-MH for hail. Coordinate list of manufacturers in Part 2 with FM-Approved manufacturers.

C. FM Approvals Listing: Provide lightweight insulating concrete evaluated by FM Approvals as part of a roof assembly and listed in FM Approvals' "RoofNav" for Class 1 or noncombustible construction, as applicable.

Retain first paragraph below if vermiculite aggregates are specified. Revise test methods and compliance criteria if other statutory or jurisdictional requirements govern.

D. Provide vermiculite aggregates containing no detectable asbestos as determined by method specified in 40 CFR 763, Subpart E, Appendix E, Section 1, "Polarized Light Microscopy."

E. Preinstallation Conference: Conduct conference at [Project site] <Insert location>.

PART 2 -  PRODUCTS

2.1 MATERIALS

Retain type of portland cement from first four options in first paragraph below. Type I is for use when special properties of other types are not required. Retain optional sentence if supplementing portland cement with fly ash is permitted.

A. Cementitious Material: Portland cement, ASTM C 150, [Type I] [Type II] [Type I/II] [Type III].[ Supplement with fly ash, ASTM C 618, Class C or F.]

Retain one aggregate from options in first paragraph below for aggregate lightweight insulating concrete.

B. Lightweight Mineral Aggregate: ASTM C 332, Group I, [vermiculite] [perlite].

Retain first paragraph below for cellular lightweight insulating concrete.

C. Foaming Agent: ASTM C 869.

D. Water: Clean, potable.

Retain first paragraph below for air-entraining admixtures. Air entrainment is normally not required for cellular lightweight insulating concrete.

E. Air-Entraining Admixture: ASTM C 260.

Retain first paragraph below if control joints are required for either aggregate or cellular lightweight insulating concrete.

F. Joint Filler: ASTM C 612, Class 2, glass-fiber type; compressing to one-half thickness under a load of 25 psi (172 kPa).

G. Steel Wire Mesh: Cold-drawn steel wire, galvanized, 0.041-inch (1.04-mm) diameter, woven into 2-inch (50-mm) hexagonal mesh, and reinforced with a longitudinal 0.062-inch- (1.57-mm-) diameter wire spaced 3 inches (75 mm) apart.

Retain last paragraph above or first paragraph below if reinforcement is required for steep decks, decks acting as structural diaphragms, or fire-rated deck assemblies. If retaining below, revise wire spacings and sizes to suit application.

H. Galvanized Plain-Steel Welded Wire Reinforcement: ASTM A 185/A 185M, 2 by 2 inches (50 by 50 mm), W0.5 by W0.5, fabricated from galvanized steel wire into flat sheets.

Retain paragraph below if insulation board is required. Embedded insulation increases thermal-insulation value of lightweight insulating concrete assembly and may be used to produce a sloped roof.

I. Molded-Polystyrene Insulation Board: ASTM C 578, Type I, 0.90-lb/cu. ft. (14.4-kg/cu. m) minimum density.

1. Provide units with manufacturer's standard keying slots of approximately 3 percent of board's gross surface area.

2.2 AGGREGATE LIGHTWEIGHT INSULATING CONCRETE

Retain this article if specifying lightweight insulating concrete with perlite or vermiculite aggregate.

A. Produce lightweight insulating concrete using the minimum amount of water necessary to produce a workable mix.

Retain subparagraph below for air-entrained lightweight insulating concrete.

1. Do not exceed maximum air content recommended by aggregate manufacturer.

Retain first paragraph below if using perlite aggregate. Insert other performance requirements, such as thermal conductivity and air content, if necessary. Coordinate mix properties with method used to attach roofing membrane or base sheet.

B. Perlite Aggregate Mix: Lightweight insulating concrete produced from cementitious materials, water, air-entraining admixture, and perlite mineral aggregates.

Properties in four subparagraphs below are based on proportions published by Perlite Institute for a cement/perlite ratio of 1:6. Revise properties if other cement/perlite ratios, such as 1:4 or 1:8, are required.

1. As-Cast Unit Weight: 38 to 44 lb/cu. ft. (610 to 705 kg/cu. m) at point of placement, when tested according to ASTM C 138/C 138M.

2. Oven-Dry Unit Weight: 24 to 30 lb/cu. ft. (385 to 480 kg/cu. m), when tested according to ASTM C 495.

3. Compressive Strength: Minimum 125 psi (860 kPa), when tested according to ASTM C 495.

4. Cement-to-Aggregate Ratio, by Volume: [1:6] <Insert ratio>.

Retain paragraph below if using vermiculite aggregate. Insert other performance requirements, such as thermal conductivity and air content, if necessary. Coordinate mix properties with method used to attach roofing membrane or base sheet.

C. Vermiculite Aggregate Mix: Lightweight insulating concrete produced from cementitious materials, water, air-entraining admixture, and vermiculite mineral aggregates.

Properties in four subparagraphs below are based on proportions published by various vermiculite producers for a cement/vermiculite ratio of 1:6. Revise properties if other cement/vermiculite ratios, such as 1:4 or 1:8, are required.

1. As-Cast Unit Weight: 45 to 49 lb/cu. ft. (720 to 785 kg/cu. m) at point of placement, when tested according to ASTM C 138/C 138M.

2. Oven-Dry Unit Weight: 23 to 26 lb/cu. ft. (370 to 416 kg/cu. m), when tested according to ASTM C 495.

3. Compressive Strength: Minimum 140 psi (965 kPa), when tested according to ASTM C 495.

4. Cement-to-Aggregate Ratio, by Volume: [1:6] <Insert ratio>.

2.3 CELLULAR LIGHTWEIGHT INSULATING CONCRETE

Retain this article if specifying cellular lightweight insulating concrete produced from cement, water, and liquid foam. Retain appropriate mixes from properties below. Coordinate mix properties with method used to attach roofing membrane or base sheet.

A. Produce cellular lightweight insulating concrete with the following minimum physical properties using cementitious materials, air-producing liquid-foaming agents, and the minimum amount of water necessary to produce a workable mix.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain first subparagraph and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. Celcore Incorporated.

b. Cellular Concrete LLC, Mearlcrete Division.

c. Elastizell Corporation of America.

d. Lite-Crete Inc.

e. Siplast.

f. <Insert manufacturer's name>.

Properties in three subparagraphs below are based on a range of proportions published by various manufacturers. Revise to another specific range of properties if required.

2. As-Cast Unit Weight: 34 to 42 lb/cu. ft. (545 to 673 kg/cu. m) at point of placement, when tested according to ASTM C 138/C 138M.

3. Oven-Dry Unit Weight: 26 to 32 lb/cu. ft. (416 to 513 kg/cu. m), when tested according to ASTM C 495.

4. Compressive Strength: Minimum 190 psi (1310 kPa), when tested according to ASTM C 495.

PART 3 -  EXECUTION

3.1 PREPARATION

Retain first paragraph below for control joints.

A. Control Joints: Install control joints at perimeter of roof deck and at junctures with vertical surfaces, including curbs, walls, and vents, for full depth of lightweight insulating concrete. Fill control joints with joint filler.

B. Wire Mesh: Place steel wire mesh with longest dimension perpendicular to steel deck ribs. Cut mesh to fit around roof openings and projections. Terminate mesh at control joints. Lap sides and ends of mesh at least 6 inches (150 mm).

Retain last paragraph above or paragraph below if steel reinforcement is required. Revise side and end laps to suit Project.

C. Welded Wire Reinforcement: Place steel welded wire reinforcement with longest dimension perpendicular to steel deck ribs. Cut reinforcement to fit around roof openings and projections. Terminate reinforcement at control joints. Lap sides and ends of reinforcement at least 6 inches (150 mm).

3.2 MIXING AND PLACING

A. Mix and place lightweight insulating concrete according to manufacturer's written instructions, using equipment and procedures to avoid segregation of mixture and loss of air content.

Retain first paragraph below if applicable.

B. Install insulation board according to lightweight insulating concrete manufacturer's written instructions.

C. Deposit and screed lightweight insulating concrete in a continuous operation until an entire panel or section of roof area is completed. Do not vibrate or work mix except for screeding or floating. Place to depths and slopes indicated.

D. Finish top surface smooth, free of ridges and depressions, and maintain surface in condition to receive subsequent roofing system.

E. Begin curing operations immediately after placement, and air cure for not less than three days, according to manufacturer's written instructions.

F. If ambient temperature falls below 32 deg F (0 deg C), protect lightweight insulating concrete from freezing and maintain temperature recommended by manufacturer for 72 hours after placement.

END OF SECTION 035216

	LIGHTWEIGHT INSULATING CONCRETE
	035216 - 1



