Copyright 2011 AIA
MasterSpec Professional
02/11

Copyright 2011 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 035300 - CONCRETE TOPPING
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section Includes:

Revise list below to suit Project.

1. Emery-aggregate concrete floor topping.

2. Iron-aggregate concrete floor topping.

1.2 ACTION SUBMITTALS

A. Product Data: For each type of product indicated.

1.3 INFORMATIONAL SUBMITTALS

A. Product test reports.

PART 2 -  PRODUCTS

2.1 CONCRETE FLOOR TOPPINGS

A. Emery-Aggregate Concrete Floor Topping: Factory-prepared and dry-packaged mixture of graded, crushed emery aggregate containing not less than 50 percent aluminum oxide, not less than 24 percent ferric oxide, and not more than 8 percent silica; portland cement or blended hydraulic cement; plasticizers; and other admixtures to which only water needs to be added at Project site.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products. See Section 016000 "Product Requirements."

1. Products: Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Anti-Hydro International, Inc.; A-H Emery A-1 Premix.

b. CONSPEC, by Dayton Superior; Conspec Emery Topping.

c. Dayton Superior Corporation; Emery Tuff Top.

d. L&M Construction Chemicals, Inc.; Emerytop 400.

e. Metalcrete Industries; Met-Top E.

f. US Concrete Materials, LLC; Florundum Emery 1-T Premix.

g. <Insert manufacturer's name; product name or designation>.

Revise compressive strength in subparagraph below if required. Some manufacturers report strengths exceeding 14,000 psi (97 MPa). Add other properties such as flexural strength and abrasion resistance if required.

2. Compressive Strength (28 Days): [10,000 psi (69 MPa)] <Insert strength>; ASTM C 109/C 109M.

B. Iron-Aggregate Concrete Floor Topping: Factory-prepared and dry-packaged mixture of graded iron aggregate, portland cement, plasticizers, and other admixtures to which only water needs to be added at Project site.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products. See Section 016000 "Product Requirements."

1. Products: Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Anti-Hydro International, Inc.; A-H Irontop.

b. BASF Construction Chemicals, LLC; Mastertop Anvil-Top 300.

c. CONSPEC, by Dayton Superior; Conplate Floor Topping.

d. EDOCO, by Dayton Superior; Burke Iron Topping.

e. Euclid Chemical Company (The); Super Euco-Top.

f. Metalcrete Industries; Metalcrete.

g. US Concrete Materials, LLC; Ferrotop.

h. <Insert manufacturer's name; product name or designation>.

Revise compressive strength in subparagraph below if required. Some manufacturers report strengths exceeding 13,000 psi (90 MPa). Add other properties such as flexural strength and abrasion resistance if required.

2. Compressive Strength (28 Days): [12,000 psi (83 MPa)] <Insert strength>; ASTM C 109/C 109M.

2.2 CURING MATERIALS

Evaporation retarder in first paragraph below temporarily reduces moisture loss from topping surface awaiting finishing in hot, dry, and windy conditions.

A. Evaporation Retarder: Waterborne, monomolecular film forming; manufactured for application to fresh concrete.

Select curing materials from remaining paragraphs.

B. Absorptive Cover: AASHTO M 182, Class 2, burlap cloth made from jute or kenaf, weighing approximately 9 oz./sq. yd. (305 g/sq. m) when dry.

C. Moisture-Retaining Cover: ASTM C 171, polyethylene film or white burlap-polyethylene sheet.

D. Water: Potable.

Material in paragraph below is a waterborne, membrane-forming curing compound. Verify that curing compounds comply with maximum VOC emission limits of authorities having jurisdiction.

E. Clear, Waterborne, Membrane-Forming Curing Compound: ASTM C 309, Type 1, Class B, 25 percent solids content, minimum.

2.3 RELATED MATERIALS

Retain first paragraph below for joint filler to fill contraction joints and, if required, construction joints.

A. Semirigid Joint Filler: Two-component, semirigid, 100 percent solids, [epoxy resin with a Type A Shore durometer hardness of 80] [aromatic polyurea with a Type A Shore durometer hardness range of 90 to 95] per ASTM D 2240.

Select type of joint-filler strips from options in first paragraph below if used in isolation joints.

B. Joint-Filler Strips: [ASTM D 1751, asphalt-saturated cellulosic fiber] [or] [ASTM D 1752, cork or self-expanding cork].

Retain first four paragraphs below if bonding slurry is used on new, hardened concrete. Slurry recommendations of topping manufacturers include neat cement and water; cement, sand, and water; and cement, sand, water, and acrylic-bonding agent.

C. Portland Cement: ASTM C 150, Type I or II.

D. Sand: ASTM C 404, fine aggregate passing No. 16 (1.18-mm) sieve.

E. Water: Potable.

F. Acrylic-Bonding Agent: ASTM C 1059, Type II, non-redispersible, acrylic emulsion or styrene butadiene.

Retain paragraph below if epoxy adhesive is used for bonding topping to dry new concrete or dry old concrete.

G. Epoxy Adhesive: ASTM C 881/C 881M, Type V, two-component epoxy resin, capable of humid curing and bonding to damp surfaces, of class and grade to suit requirements.

2.4 MIXING

Retain one of first two paragraphs below if bonding slurry is used to bond topping to new, hardened concrete. Delete both if epoxy adhesive is required for existing, aged concrete or if topping is monolithically placed on plastic concrete. Retain first paragraph if mixing a neat-cement slurry. Retain second paragraph if mixing a sand-cement slurry alone or in combination with an acrylic-bonding agent.

A. Bonding Slurry: Mix portland cement with water to a thick paint consistency.

B. Bonding Slurry: Mix 1 part portland cement and [1-1/2] [2] [2-1/2] parts sand with water[ and an acrylic-bonding agent according to manufacturer's written instructions] to a thick paint consistency.

C. Floor Topping: Mix concrete floor topping materials and water in appropriate drum-type batch machine mixer or truck mixer according to manufacturer's written instructions.

PART 3 -  EXECUTION

3.1 PREPARATION

Retain first paragraph below if applicable.

A. Existing Concrete: Remove existing surface treatments and deteriorated and unsound concrete. Mechanically abrade base slabs to produce a heavily scarified surface profile with an amplitude of 1/4 inch (6 mm).

1. Prepare and clean existing base slabs according to concrete floor topping manufacturer's written instructions. Fill voids, cracks, and cavities in base slabs.

Retain first subparagraph below if existing joints are not already filled with a semirigid joint filler.

2. Saw cut contraction and construction joints in existing concrete to a depth of 1/2 inch (13 mm) and fill with semirigid joint filler.

Retain subparagraph below to minimize edge curling and delamination of concrete floor topping at joints and perimeter. Retain option recommended by concrete floor topping manufacturer.

3. To both sides of joint edges and at perimeter of existing base slab [mechanically remove a 4-inch- (100-mm-) wide and 0- to 1-inch (0- to 25-mm-) deep, tapered wedge of concrete and retexture surface] [install concrete nails in manufacturer's recommended staggered pattern].

B. Install joint-filler strips where topping abuts vertical surfaces.

3.2 FLOOR TOPPING APPLICATION

Retain first paragraph below unless application is not critical or does not justify cost of manufacturer's representative. A technical representative can help with preinstallation conference, examination, preparation, and early installation phases of a project.

A. Start floor topping application in presence of manufacturer's technical representative.

Select application method from one of first two paragraphs below. Retain both paragraphs if decision is left to Contractor's option. See Evaluations for further discussion.

Retain first paragraph below if bonding floor topping monolithically to plastic concrete.

B. Monolithic Floor Topping: After textured-float finish is applied to fresh concrete of base slabs specified in Section 033000 "Cast-in-Place Concrete," place concrete floor topping while concrete is still plastic.

Retain first paragraph below if bonding floor topping to new, hardened concrete. Revise time limit if required.

C. Deferred Floor Topping: Within 72 hours of placing base slabs, mix and scrub bonding slurry into dampened concrete to a thickness of 1/16 to 1/8 inch (1.6 to 3 mm), without puddling. Place floor topping while slurry is still tacky.

Retain first paragraph below if using epoxy-bonding adhesive over existing base slabs.

D. Existing Concrete: Apply epoxy-bonding adhesive, mixed according to manufacturer's written instructions, and scrub into dry base slabs to a thickness of 1/16 to 1/8 inch (1.6 to 3 mm), without puddling. Place floor topping while adhesive is still tacky.

E. Place concrete floor topping continuously in a single layer, tamping and consolidating to achieve tight contact with bonding surface. Do not permit cold joints or seams to develop within pour strip.

1. Screed surface with a straightedge and strike off to correct elevations.

2. Slope surfaces uniformly where indicated.

3. Begin initial floating using bull floats to form a uniform and open-textured surface plane free of humps or hollows.

F. Finishing: Consolidate surface with power-driven floats as soon as concrete floor topping can support equipment and operator. Restraighten, cut down high spots, and fill low spots. Repeat float passes and restraightening until concrete floor topping surface has a uniform, smooth, granular texture.

1. Hard Trowel Finish: After floating surface, apply first trowel finish and consolidate concrete floor topping by power-driven trowel without allowing blisters to develop. Continue troweling passes and restraighten until surface is smooth and uniform in texture.

Revise criteria for locating construction joints in first paragraph below to suit Project.

G. Construction Joints: Construct joints true to line with faces perpendicular to surface plane of concrete floor topping, at locations indicated or as approved by Architect.

1. Coat face of construction joint with epoxy adhesive at locations where concrete floor topping is placed against hardened or partially hardened concrete floor topping.

H. Contraction Joints: Form weakened-plane contraction joints with power saws equipped with shatterproof abrasive or diamond-rimmed blades. Cut 1/8-inch- (3-mm-) wide joints into concrete floor topping when cutting action will not tear, abrade, or otherwise damage surface and before random contraction cracks develop.

Insert spacing of contraction joints in first subparagraph below or on Drawings if joint spacing of existing base slabs is not suitable.

1. Form joints in concrete floor topping over contraction joints in base slabs, unless otherwise indicated.

Retain first subparagraph below for monolithic floor topping placement. Retain second subparagraph for deferred floor topping placement or if topping existing base slabs. Retain both subparagraphs if Contractor may choose either installation method for new, hardened concrete.

2. Construct contraction joints for a combined depth equal to topping thickness and not less than one-fourth of base-slab thickness.

3. Construct contraction joints for a depth equal to one-half of concrete floor topping thickness, but not less than 1/2 inch (13 mm) deep.

3.3 PROTECTING AND CURING

A. General: Protect freshly placed concrete floor topping from premature drying and excessive cold or hot temperatures.

B. Evaporation Retarder: Apply evaporation retarder to concrete floor topping surfaces in hot, dry, or windy conditions before and during finishing operations. Apply according to manufacturer's written instructions after placing, screeding, and bull floating or darbying floor topping, but before float finishing.

C. Begin curing immediately after finishing concrete floor topping. Cure by one or a combination of the following methods, according to concrete floor topping manufacturer's written instructions:

Select curing methods from three subparagraphs below. Moisture curing or moisture-retaining-cover curing of iron-aggregate topping is discouraged by concrete floor topping manufacturers.

1. Moisture Curing: Keep surfaces continuously moist for not less than 7 days.

2. Moisture-Retaining-Cover Curing: Cover concrete surfaces with moisture-retaining cover for curing concrete for not less than seven days.

3. Curing Compound: Apply uniformly in two coats in continuous operations by power spray or roller according to manufacturer's written instructions.

3.4 JOINT FILLING

A. Prepare and clean contraction joints and install semirigid joint filler, according to manufacturer's written instructions, once topping has fully cured.

B. Install semirigid joint filler full depth of contraction joints. Overfill joint and trim semirigid joint filler flush with top of joint after hardening.

3.5 REPAIRS

A. Defective Topping: Repair and patch defective concrete floor topping areas, including areas that have not bonded to concrete substrate.

END OF SECTION 035300

	CONCRETE TOPPING
	035300 - 1



