Copyright 2011 AIA
MasterSpec Professional
02/11

Copyright 2011 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 035416 - HYDRAULIC CEMENT UNDERLAYMENT
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section includes hydraulic-cement-based, polymer-modified, self-leveling underlayment for application below interior floor coverings.

1.2 ACTION SUBMITTALS

A. Product Data: For each type of product indicated.

B. LEED Submittals:

"Product Data for Credit IEQ 4.2" Subparagraph below applies to LEED-NC, LEED-CI, and LEED-CS; coordinate with requirements selected in Part 2 for paints and coatings.

1. Product Data for Credit IEQ 4.2: For primer, documentation including printed statement of VOC content.

"Laboratory Test Reports for Credit IEQ 4" Subparagraph below applies to LEED for Schools.

2. Laboratory Test Reports for Credit IEQ 4: For primer, documentation indicating that products comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

1.3 INFORMATIONAL SUBMITTALS

A. Product certificates.

1.4 QUALITY ASSURANCE

Some manufacturers approve installers; others do not. Revise first paragraph below to suit products selected.

A. Installer Qualifications: Installer who is approved by manufacturer for application of underlayment products required for this Project.

B. Product Compatibility: Manufacturers of underlayment and floor-covering systems certify in writing that products are compatible.

PART 2 -  PRODUCTS

2.1 HYDRAULIC-CEMENT-BASED UNDERLAYMENTS

A. Underlayment: Hydraulic-cement-based, polymer-modified, self-leveling product that can be applied in minimum uniform thickness of 1/4 inch (6 mm) and that can be feathered at edges to match adjacent floor elevations.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products. See Section 016000 "Product Requirements."

1. Products: Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Ardex; K-15 Self-Leveling Underlayment Concrete.

b. BASF Construction Chemicals, Inc.; [Chemrex Self-Leveling Underlayment] [MBT Mastertop 110 Plus Underlayment].

c. Bonsal American, an Oldcastle company; [ProSpec Level Set 200] [ProSpec Level Set 300] [ProSpec Level Set LW-60].

d. CGM, Incorporated; PRO S.L.U. Self-Leveling Underlayment.

e. CMP Specialty Products, Inc.; [Level Finish] [Level Finish 210] [LF W].

f. Dayton Superior Corporation; [EconoLevel] [LeveLayer].

g. Dependable Chemical Co., Inc.; [Skimflow ES] [Skimflow LC] [Skimflow RS] [Skimflow Lite].

h. Euclid Chemical Company (The); [Super Flo-Top] [Level Magic] [TAMMS SLU].

i. L&M Construction Chemicals, Inc.; Levelex.

j. Lambert Corporation; Lambco L-16 Self-Level.

k. MAPEI Corporation; [Novoplan Easy] [Novoplan 2] [Ultraplan Easy] [Ultraplan 1 Plus].

l. Maxxon Corporation; Level-Right.

m. Metalcrete Industries; Flowpave.

n. RAECO, Inc.; S.L.U.

o. Specialty Construction Brands, Inc., an H.B. Fuller company; [TEC Smooth Start] [TEC EZ Level].

p. Teck Specialties; Teck 2800.

q. USG Corporation; [Levelrock SLC 300] [Levelrock SLC 400].

r. US SPEC, Division of US Mix Products Company; US SPEC Self-Leveling Underlayment.

s. <Insert manufacturer's name; product name or designation>.

2. Cement Binder: ASTM C 150, portland cement, or hydraulic or blended hydraulic cement as defined by ASTM C 219.

3. Compressive Strength: Not less than 4000 psi (27.6 MPa) <Insert value> at 28 days when tested according to ASTM C 109/C 109M.

Retain subparagraph below if required. Some manufacturers recommend additives for applications over cutback adhesive or wood and metal substrates.

4. Underlayment Additive: Resilient-emulsion product of underlayment manufacturer, formulated for use with underlayment when applied to substrate and conditions indicated.

Retain first paragraph below if addition of aggregate filler is required by manufacturer to achieve thickness indicated.

B. Aggregate: Well-graded, washed gravel, 1/8 to 1/4 inch (3 to 6 mm); or coarse sand as recommended by underlayment manufacturer.

1. Provide aggregate when recommended in writing by underlayment manufacturer for underlayment thickness required.

C. Water: Potable and at a temperature of not more than 70 deg F (21 deg C).

When applied over wood, some manufacturers recommend reinforcing their products; see Hydraulic Portland-Cement Underlayment Table in the Evaluations in Section 035400 "Cast Underlayment." Retain first paragraph below if applicable.

D. Reinforcement: For underlayment applied to wood substrates, provide galvanized metal lath or other corrosion-resistant reinforcement recommended in writing by underlayment manufacturer.

E. Primer: Product of underlayment manufacturer recommended in writing for substrate, conditions, and application indicated.

Retain first subparagraph below if required for LEED-NC, LEED-CI, or LEED-CS Credit IEQ 4.2.

1. Primer shall have a VOC content of 200 g/L or less when calculated according to 40 CFR 59, Subpart D.

Retain subparagraph below if required for LEED for Schools Credit IEQ 4.

2. Primer shall comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

PART 3 -  EXECUTION

3.1 PREPARATION

A. General: Prepare and clean substrate according to manufacturer's written instructions.

1. Treat nonmoving substrate cracks to prevent cracks from telegraphing (reflecting) through underlayment.

2. Fill substrate voids to prevent underlayment from leaking.

Retain applicable substrates in remaining paragraphs below.

If underlayments will be installed over adhesive residues, consult manufacturers for recommendations and revise first paragraph below.

B. Concrete Substrates: Mechanically remove laitance, glaze, efflorescence, curing compounds, form-release agents, dust, dirt, grease, oil, and other contaminants that might impair underlayment bond.

Retain subparagraph below if required by underlayment manufacturer.

1. Moisture Testing: Perform anhydrous calcium chloride test, ASTM F 1869. Proceed with installation only after substrates do not exceed a maximum moisture-vapor-emission rate of [3 lb of water/1000 sq. ft. (1.36 kg of water/100 sq. m)] <Insert value> in 24 hours.

C. Wood Substrates: Mechanically fasten loose boards and panels to eliminate substrate movement and squeaks. Sand to remove coatings that might impair underlayment bond and remove sanding dust.

Retain subparagraph below if applicable.

1. Install underlayment reinforcement.

D. Nonporous Substrates: For ceramic tile, quarry tile, and terrazzo substrates, remove waxes, sealants, and other contaminants that might impair underlayment bond, and prepare surfaces.

E. Adhesion Tests: After substrate preparation, test substrate for adhesion with underlayment.

3.2 APPLICATION

Indicate underlayment thicknesses on Drawings or insert requirements in this article.

A. General: Mix and apply underlayment components according to manufacturer's written instructions.

1. Close areas to traffic during underlayment application and for time period after application recommended in writing by manufacturer.

2. Coordinate application of components to provide optimum underlayment-to-substrate and intercoat adhesion.

Retain subparagraph below for moving joints in floor. Detail joints on Drawings and revise below to suit Project.

3. At substrate expansion, isolation, and other moving joints, allow joint of same width to continue through underlayment.

B. Apply primer over prepared substrate at manufacturer's recommended spreading rate.

C. Apply underlayment to produce uniform, level surface.

Retain first subparagraph below if addition of aggregate is required for thickness indicated.

1. Apply a final layer without aggregate to product surface.

2. Feather edges to match adjacent floor elevations.

D. Cure underlayment. Prevent contamination during application and curing processes.

E. Do not install floor coverings over underlayment until after time period recommended in writing by underlayment manufacturer.

F. Remove and replace underlayment areas that evidence lack of bond with substrate, including areas that emit a "hollow" sound when tapped.

END OF SECTION 035416

	HYDRAULIC CEMENT UNDERLAYMENT
	035416 - 1



