Copyright 2012 AIA
MasterSpec Professional
05/12

Copyright 2012 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 040140 - MAINTENANCE OF STONE ASSEMBLIES
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section includes maintenance of stone assemblies consisting of stone restoration and cleaning as follows:

1. Repairing stone masonry, including replacing whole units.

2. Repointing joints.

3. Preliminary cleaning, including removing plant growth.

4. Cleaning exposed stone surfaces.

1.2 UNIT PRICES

A. Work of this Section is affected by unit prices specified in Section 012200 "Unit Prices."

1.3 DEFINITIONS

Retain definition(s) remaining after this Section has been edited. Revise pressures if preferred; e.g., BIA generally assumes values 100 psi (690 kPa)lower than those listed. If abrasives are used, revise values because these pressures are too high.

A. Low-Pressure Spray: [100 to 400 psi (690 to 2750 kPa); 4 to 6 gpm (0.25 to 0.4 L/s)] <Insert range of values>.

B. Medium-Pressure Spray: [400 to 800 psi (2750 to 5510 kPa); 4 to 6 gpm (0.25 to 0.4 L/s)] <Insert range of values>.

1.4 PRECONSTRUCTION TESTING

A. Preconstruction Testing Service: [Owner will engage] [Engage] a qualified testing agency to perform preconstruction testing on stone units as follows:

Usually delete first three subparagraphs below and test existing stone and mortar before preparing the Specifications.

1. Existing Stone: Test each type of existing stone indicated for replacement, according to ASTM C 170 for compressive strength, wet and dry, perpendicular and parallel to rift; ASTM C 99 for modulus of rupture, wet and dry, perpendicular and parallel to rift; and ASTM C 97 for absorption and bulk specific gravity. Carefully remove [five] <Insert number> existing stones from locations designated by Architect. Take testing samples from these stones.

2. Existing Mortar: Test according to ASTM C 295, modified as agreed by testing service and Architect for Project requirements, to determine proportional composition of original ingredients, sizes and colors of aggregates, and approximate strength. Use X-ray diffraction, infrared spectroscopy, and differential thermal analysis as necessary to supplement microscopical methods. Carefully remove existing mortar from within joints at [five] <Insert number> locations designated by [Architect] [or] [testing service].

3. Temporary Patch: As directed by Architect, provide temporary materials at locations from which existing samples were taken.

4. Replacement Stone: Test each proposed type of replacement stone, according to ASTM C 170 for compressive strength, ASTM C 99 for modulus of rupture, and ASTM C 97 for absorption and bulk specific gravity.

1.5 ACTION SUBMITTALS

A. Product Data: For each type of product indicated.

B. Shop Drawings: For the following:

1. Replacement stone units and their jointing, showing relation of existing to new units.

2. Provisions for expansion joints or other sealant joints.

Paragraph below assumes manufacturer's standard-size Samples are acceptable. Revise to suit Project.

C. Samples: For each exposed product and for each color and texture specified.

1.6 INFORMATIONAL SUBMITTALS

A. Preconstruction test reports.

1.7 QUALITY ASSURANCE

Retain option in first paragraph below if work must be done by firms that are approved before bidding. If retaining option, include procedure for approving firms in Instructions to Bidders.

A. Restoration Specialist Qualifications: Engage an experienced[, preapproved] stone restoration and cleaning firm to perform work of this Section. Firm shall have completed work similar in material, design, and extent to that indicated for this Project with a record of successful in-service performance. Experience installing standard unit masonry or new stone masonry is not sufficient experience for stone restoration work.

Retain first subparagraph below if required or customary in Project area. Firms often specialize in and compete for either stone repair or cleaning work, and they typically have different crews for each.

1. At Contractor's option, work may be divided between two specialist firms: one for cleaning work and one for repair work.

2. Field Supervision: Restoration specialist firms shall maintain experienced full-time supervisors on Project site during times that stone restoration and cleaning work is in progress.

3. Restoration Worker Qualifications: Persons who are experienced in restoration work of types they will be performing.[ When stone units are being patched, assign at least one worker among those performing patching work who is trained and certified by manufacturer of patching compound to apply its products.]

Retain required mockups in first paragraph below; insert others to suit Project. Revise or delete paragraph if test areas were prepared or are required as part of a separate contract to evaluate and establish restoration and cleaning materials and processes.

B. Mockups: Prepare mockups of restoration and cleaning to demonstrate aesthetic effects and set quality standards for materials and execution and for fabrication and installation.

1. Stone Repair: Prepare sample areas for each type of stone indicated to have repair work performed. If not otherwise indicated, size each mockup not smaller than 2 adjacent whole units or approximately 48 inches (1200 mm) in least dimension. Erect sample areas in existing walls unless otherwise indicated, to demonstrate quality of materials, workmanship, and blending with existing work. Include the following as a minimum:

a. Replacement: [Four] <Insert number> stone units replaced.

b. Patching: Three small holes at least 1 inch (25 mm) in diameter.

2. Repointing: Rake out joints in 2 separate areas [, each approximately 36 inches (900 mm) high by 48 inches (1200 mm) wide] [as indicated] <Insert dimensions> for each type of repointing required and repoint one of the areas.

3. Cleaning: Clean an area [approximately 25 sq. ft. (2.3 sq. m)] [as indicated] <Insert dimension> for each type of stone and surface condition.

C. Preinstallation Conference: Conduct conference at [Project site] <Insert location>.

Insert an article if required for sequencing and scheduling the Work to prevent water and chemicals from damaging materials or penetrating into building through poor existing joints or open joints being repointed.

PART 2 -  PRODUCTS

2.1 STONE MATERIALS

A. Stone: Provide natural building stone of variety, physical properties, color, texture, grain, veining, finish, size, and shape to match existing stone.

Retain first subparagraph below if required properties are known.

1. Physical Properties:

a. Compressive Strength: <Insert requirement> per ASTM C 170.

b. Modulus of Rupture: <Insert requirement> per ASTM C 99.

c. Absorption: <Insert requirement> per ASTM C 97.

d. Bulk Specific Gravity: <Insert requirement> per ASTM C 97.

2. For existing stone that exhibits a range of colors, texture, grain, veining, finishes, sizes, or shapes, provide stone that proportionally matches that range rather than stone that matches an individual color, texture, grain, veining, finish, size, or shape within that range.

Retain subparagraph below only if original quarry is known to have stone that meets appearance and other requirements. Often, original quarries cannot match historic stonework due to natural variations in the geologic deposit.

3. Subject to compliance with requirements, provide stone from the original quarry, which is <Insert quarry name, location, and stone designation>.

2.2 MORTAR MATERIALS

In first paragraph below, gray portland cement is sometimes used to help obtain correct mortar color.

A. Portland Cement: ASTM C 150, Type I or Type II, white[ or gray or both] where required for color matching of exposed mortar.

Retain subparagraph below if required. Retain to limit staining if limestone is being restored.

1. Provide cement containing not more than 0.60 percent total alkali when tested according to ASTM C 114.

B. Hydrated Lime: ASTM C 207, Type S.

C. Mortar Sand: ASTM C 144 unless otherwise indicated.

Revise first subparagraph below to produce mortar quality and appearance required for Project. See the Evaluations in Section 040100 "Maintenance of Masonry."

1. Color: Provide natural sand or ground marble, granite, or other sound stone of color necessary to produce required mortar color.

Retain first subparagraph below if required.

2. For pointing mortar, provide sand with rounded edges.

3. Match size, texture, and gradation of existing mortar sand as closely as possible. Blend several sands if necessary to achieve suitable match.

If known, indicate source of sand and size and gradation. Insert requirements for other special aggregates, such as seashell fragments, if any.

Retain first paragraph below if pigmented mortar is allowed. See the Evaluations in Section 040100 "Maintenance of Masonry."

D. Mortar Pigments: Natural and synthetic iron oxides, compounded for mortar mixes. Use only pigments with a record of satisfactory performance in masonry mortars.

E. Water: Potable.

2.3 MANUFACTURED REPAIR MATERIALS

A. Stone Patching Compound: Factory-mixed cementitious product that is custom manufactured for patching stone.

See Editing Instruction No. 1 in the Evaluations in Section 040100 "Maintenance of Masonry" for cautions about naming manufacturers and products. See Section 016000 "Product Requirements."

1. Products: Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Cathedral Stone Products, Inc.; Jahn Restoration Mortars.

b. Conproco Corporation; [Mimic] [Matrix].

c. Edison Coatings, Inc.; Custom System 45.

d. <Insert manufacturer's name; product name or designation>.

2. Use formulation that is vapor- and water permeable (equal to or more than the stone), exhibits low shrinkage, has lower modulus of elasticity than the stone units being repaired, and develops high bond strength to all types of stone.

3. Formulate patching compound in colors, textures, and grain to match stone being patched.

B. Stone-to-Stone Adhesive: [2-part polyester or epoxy-resin stone adhesive with a 15- to 45-minute cure at 70 deg F (21 deg C)] [or] [1-part cementitious stone adhesive], recommended by adhesive manufacturer for type of stone repair indicated, and matching stone color.

See Editing Instruction No. 1 in the Evaluations in Section 040100 "Maintenance of Masonry" for cautions about naming manufacturers and products. See Section 016000 "Product Requirements."

1. Products: Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Two-Part Polyester or Epoxy-Resin Stone Adhesive:

1) Akemi North America; [Akepox] [Platinum] [MS76 Stone and Marble Adhesive].

2) Bonstone Materials Corporation; Fast Set 41.

3) Edison Coatings, Inc.; Flexi-Weld 520T.

4) <Insert manufacturer's name; product name or designation>.

b. One-Part Cementitious Stone Adhesive:

1) Cathedral Stone Products, Inc.; Jahn Restoration Adhesive.

2) <Insert manufacturer's name; product name or designation>.

2.4 PAINT REMOVERS

Retain one or more of three paragraphs below. Insert other types if required. First paragraph describes caustic material that requires neutralizing afterwash.

A. Covered or Skin-Forming Alkaline Paint Remover: Manufacturer's standard covered or skin-forming alkaline formulation for removing paint coatings from masonry.

See Editing Instruction No. 1 in the Evaluations in Section 040100 "Maintenance of Masonry" for cautions about naming manufacturers and products. See Section 016000 "Product Requirements."

1. Products: Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. ABR Products, Inc.; Grip 'N Strip 800 Fast Acting.

b. Diedrich Technologies Inc.; 606 Multi-Layer Paint Remover or 606X Extra Thick Multi-Layer Paint Remover with pull-off removal system.

c. Dumond Chemicals, Inc.; Peel Away 1 System.

d. PROSOCO; [Enviro Klean Safety Peel 1] [or] [Enviro Klean Safety Peel 3] with Enviro Klean Overcoat.

e. <Insert manufacturer's name; product name or designation>.

B. Solvent-Type Paint Remover: Manufacturer's standard water-rinsable, solvent-type gel formulation for removing paint coatings from masonry.

See Editing Instruction No. 1 in the Evaluations in Section 040100 "Maintenance of Masonry" for cautions about naming manufacturers and products. See Section 016000 "Product Requirements."

1. Products: Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. ABR Products, Inc.; Super Bio Strip Gel.

b. Diedrich Technologies Inc.; 505 Special Coatings Stripper.

c. Dumond Chemicals, Inc.; Peel Away 2.

d. Hydroclean, Hydrochemical Techniques, Inc.; Hydroclean HT-300 Solvent Paint Remover.

e. Price Research, Ltd.; Price Strip-All.

f. PROSOCO; Sure Klean Fast Acting Stripper.

g. <Insert manufacturer's name; product name or designation>.

C. Low-Odor, Solvent-Type Paint Remover: Manufacturer's standard low-odor, water-rinsable solvent-type gel formulation, containing no methanol or methylene chloride, for removing paint coatings from masonry.

See Editing Instruction No. 1 in the Evaluations in Section 040100 "Maintenance of Masonry" for cautions about naming manufacturers and products. See Section 016000 "Product Requirements."

1. Products: Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. ABR Products, Inc.; Super Bio Strip Gel.

b. Cathedral Stone Products, Inc.; [S-301] [S-303] [or] [S-305].

c. Dumond Chemicals, Inc.; [Peel Away 6] [Peel Away 7] [or] [Peel Away 21].

d. PROSOCO; [Enviro Klean Safety Peel 1] [or] [Enviro Klean Safety Peel 3].

e. <Insert manufacturer's name; product name or designation>.

2.5 CLEANING MATERIALS

If local water is known to be unsuitable, consider informing Contractor of this in first paragraph below. Hard or softened water may be unsuitable even though potable.

A. Water: Potable.

Retain first paragraph below if heated water is required.

B. Hot Water: Water heated to a temperature of 140 to 160 deg F (60 to 71 deg C).

Retain remaining paragraphs if required.

C. Job-Mixed Detergent Solution: Solution prepared by mixing 2 cups (0.5 L) of tetrasodium polyphosphate, 1/2 cup (125 mL) of laundry detergent, and 20 quarts (20 L) of hot water for every 5 gal. (20 L) of solution required.

D. Job-Mixed Mold, Mildew, and Algae Remover: Solution prepared by mixing 2 cups (0.5 L) of tetrasodium polyphosphate, 5 quarts (5 L) of 5 percent sodium hypochlorite (bleach), and 15 quarts (15 L) of hot water for every 5 gal. (20 L) of solution required.

In first paragraph below, other products are available with much higher pH values for removing heavy carbon dirt and crusts, but these must be tested and used with great care to prevent chemical reactions with minerals in the stone. If these are required, they may be added to the text. Chelating agents are used in detergents to tie up hard-water ions (calcium and magnesium) and to remove soap scum and hard-water film from surfaces.

E. Nonacidic Gel Cleaner: Manufacturer's standard gel formulation, with pH between 6 and 9, that contains detergents with chelating agents and is specifically formulated for cleaning masonry surfaces.

See Editing Instruction No. 1 in the Evaluations in Section 040100 "Maintenance of Masonry" for cautions about naming manufacturers and products. See Section 016000 "Product Requirements."

1. Products: Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Price Research, Ltd.; Price Marble Cleaner-Gel.

b. PROSOCO; Sure Klean 942 Limestone and Marble Cleaner.

c. <Insert manufacturer's name; product name or designation>.

F. Nonacidic Liquid Cleaner: Manufacturer's standard mildly alkaline liquid cleaner formulated for removing mold, mildew, and other organic soiling from ordinary building materials, including polished stone, brick, aluminum, plastics, and wood.

See Editing Instruction No. 1 in the Evaluations in Section 040100 "Maintenance of Masonry" for cautions about naming manufacturers and products. See Section 016000 "Product Requirements."

1. Products: Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Diedrich Technologies Inc.; Diedrich 910PM Polished Marble Cleaner.

b. Dominion Restoration Products, Inc.; Bio-Cleanse.

c. Dumond Chemicals, Inc.; Safe n' Easy Architectural Cleaner/Restorer.

d. Price Research, Ltd.; Price Non-Acid Masonry Cleaner.

e. PROSOCO; Enviro Klean 2010 All Surface Cleaner.

f. <Insert manufacturer's name; product name or designation>.

Products in first paragraph below are phosphoric, oxalic, or citric acid-based products and, although not as corrosive as muriatic (hydrochloric), hydrofluoric, or sulfuric acid or ammonium bifluoride, may attack certain metals and other building materials.

G. Mild Acidic Cleaner: Manufacturer's standard mildly acidic cleaner containing no muriatic (hydrochloric), hydrofluoric, or sulfuric acid; or ammonium bifluoride or chlorine bleaches.

See Editing Instruction No. 1 in the Evaluations in Section 040100 "Maintenance of Masonry" for cautions about naming manufacturers and products. See Section 016000 "Product Requirements."

1. Products: Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. ABR Products, Inc.; X-190 Limestone & Concrete Cleaner.

b. Diedrich Technologies Inc.; Envirorestore 100.

c. Dominion Restoration Products, Inc.; DR-60 Stone and Masonry Cleaner.

d. PROSOCO; Enviro Klean BioWash.

e. <Insert manufacturer's name; product name or designation>.

Products in first paragraph below contain hydrofluoric acid or ammonium bifluoride, which will attack metals, glass, and ceramic glazes.

H. Acidic Cleaner: Manufacturer's standard acidic masonry cleaner composed of hydrofluoric acid or ammonium bifluoride blended with other acids, detergents, wetting agents, and inhibitors.

See Editing Instruction No. 1 in the Evaluations in Section 040100 "Maintenance of Masonry" for cautions about naming manufacturers and products. See Section 016000 "Product Requirements."

1. Products: Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. ABR Products, Inc.; 801 Heavy Duty Masonry Cleaner.

b. Diedrich Technologies Inc.; [Diedrich 101 Masonry Restorer] [or] [Diedrich 101G Granite, Terra Cotta, and Brick Cleaner].

c. Dumond Chemicals, Inc.; [Safe n' Easy Ultimate Stone and Masonry Cleaner] [or] [Safe n' Easy Heavy Duty Restoration Cleaner].

d. EaCo Chem, Inc.; [GS-Restoration] [or] [HD-Acid]

e. Hydroclean, Hydrochemical Techniques, Inc.; Hydroclean Brick, Granite, Sandstone and Terra Cotta Cleaner (HT-626).

f. Price Research, Ltd.; [Price Heavy Duty Restoration Cleaner] [or] [Price Restoration Cleaner].

g. PROSOCO; [Enviro Klean Restoration Cleaner] [Sure Klean Restoration Cleaner] [or] [Sure Klean Heavy-Duty Restoration Cleaner].

h. <Insert manufacturer's name; product name or designation>.

Products in paragraph below are intended for use either as one-part cleaners or with alkaline prewash cleaners.

I. One-Part Limestone Cleaner: Manufacturer's standard one-part acidic formulation for cleaning limestone.

See Editing Instruction No. 1 in the Evaluations in Section 040100 "Maintenance of Masonry" for cautions about naming manufacturers and products. See Section 016000 "Product Requirements."

1. Products: Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. ABR Products, Inc.; X-190 Limestone & Concrete Cleaner.

b. Hydroclean, Hydrochemical Techniques, Inc.; Hydroclean Limestone and Marble Cleaner and Brightener (HT-907).

c. Price Research, Ltd.; Price Limestone Restorer.

d. PROSOCO; Sure Klean Limestone Restorer.

e. <Insert manufacturer's name; product name or designation>.

2.6 ACCESSORY MATERIALS

Insert types of masking products if required, including tapes, sheets, etc., to suit Project.

Revise first paragraph below if type other than stainless steel is required. Type 304 stainless steel is typical, but some jurisdictions may require Type 316. Indicate type on Drawings. Retain option for pins if retaining any repair requiring pins. Sometimes the term "rods" is used in lieu of "pins" for attaching a piece of stone onto the parent or backing stone. Coordinate term used on Drawings with term used in the Specifications.

A. Stone Anchors[ and Pins]: Type and size indicated or, if not indicated, to match existing anchors in size and type. Fabricate anchors[ and pins] from [Type 304] [Type 316] stainless steel.

Insert paragraphs for sealant materials and joint sealant backings if sealant joints are required and are not specified in Section 079200 "Joint Sealants."

Retain paragraph below to ensure equal joint spacing.

B. Setting Buttons: Resilient plastic buttons, nonstaining to stone, sized to suit joint thicknesses and bed depths of stone units without intruding into required depths of pointing materials.

2.7 MORTAR MIXES

A. Measurement and Mixing: Measure cementitious materials and sand in a dry condition by volume or equivalent weight. Do not measure by shovel; use known measure. Mix materials in a clean, mechanical batch mixer.

Retain subparagraph below if pointing mortar is used and prehydration is required.

1. Mixing Pointing Mortar: Thoroughly mix cementitious materials and sand together before adding any water. Then mix again adding only enough water to produce a damp, unworkable mix that will retain its form when pressed into a ball. Maintain mortar in this dampened condition for 15 to 30 minutes. Add remaining water in small portions until mortar reaches desired consistency. Use mortar within one hour of final mixing; do not retemper or use partially hardened material.

B. Colored Mortar: Produce mortar of color required by using specified ingredients. Do not alter specified proportions without Architect's approval.

Retain subparagraph below if pigments are used.

1. Mortar Pigments: Where mortar pigments are indicated, do not exceed a pigment-to-cement ratio of 1:10 by weight.

C. Do not use admixtures in mortar unless otherwise indicated.

D. Mortar Proportions: Mix mortar materials in the following proportions:

Proportions in first subparagraph below are examples only; retain one and revise to suit Project or insert another. See the Evaluations in Section 040100 "Maintenance of Masonry."

1. Pointing Mortar for Stone: [1 part white portland cement, 1 part lime, and 6 parts sand] [1 part white portland cement, 2 parts lime, and 6 parts sand] [1 part white portland cement, 6 parts lime, and 12 parts sand] <Insert proportions>.

Retain first subparagraph below if pigments are used.

a. Add mortar pigments to produce mortar colors required.

Retain one of three subparagraphs below or revise to indicate specific proportions for each type of stone indicated. Option in first subparagraph assumes that pointing will be performed separately.

2. Rebuilding (Setting) Mortar: Same as pointing mortar[ except mortar pigments are not required].

Two subparagraphs below assume that pointing will be performed separately. Insert a requirement for adding mortar pigments to setting mortar if the amount of Work is small enough for setting and pointing to be performed at same time.

Proportions in first subparagraph below are examples only; retain one and revise to suit Project or insert another. See the Evaluations in Section 040100 "Maintenance of Masonry."

3. Rebuilding (Setting) Mortar: [1 part white portland cement, 1 part lime, and 6 parts sand] [1 part white portland cement, 2 parts lime, and 6 parts sand] [1 part white portland cement, 6 parts lime, and 12 parts sand] <Insert proportions>.

4. Rebuilding (Setting) Mortar: Comply with ASTM C 270, Proportion Specification, Type N unless otherwise indicated, with cementitious material limited to portland cement and lime.

2.8 CHEMICAL CLEANING SOLUTIONS

Retain this article if using chemical cleaners. Coordinate with selection in "Cleaning Materials" Article and with cleaning methods in Part 3. Paragraphs below are examples only; revise to suit Project materials and soil conditions.

A. Dilute chemical cleaners with water to produce solutions not exceeding concentration recommended by chemical-cleaner manufacturer.

B. Acidic Cleaner Solution for Unpolished Stone: Dilute with water to produce hydrofluoric acid content of 3 percent or less, but not greater than that recommended by chemical-cleaner manufacturer.

C. Acidic Cleaner for Polished Stone: Dilute with water to concentration demonstrated by testing that does not etch or otherwise damage polished surface, but not greater than that recommended by chemical-cleaner manufacturer.

PART 3 -  EXECUTION

3.1 PROTECTION

A. Protect persons, motor vehicles, surrounding surfaces of building being restored, building site, plants, and surrounding buildings from harm resulting from stone restoration work.

Retain paragraph below if using chemical cleaners.

B. Comply with chemical-cleaner manufacturer's written instructions for protecting building and other surfaces against damage from exposure to its products. Prevent chemical cleaning solutions from coming into contact with people, motor vehicles, landscaping, buildings, and other surfaces that could be harmed by such contact.

1. Cover adjacent surfaces with materials that are proven to resist chemical cleaners used unless chemical cleaners being used will not damage adjacent surfaces. Use materials that contain only waterproof, UV-resistant adhesives. Apply masking agents to comply with manufacturer's written instructions. When no longer needed, promptly remove masking to prevent adhesive staining.

2. Keep wall wet below area being cleaned to prevent streaking from runoff.

3.2 STONE REMOVAL AND REPLACEMENT

A. At locations indicated, remove stone that has deteriorated or is damaged beyond repair[ or is to be reused]. Carefully demolish or remove entire units from joint to joint, without damaging surrounding stone, in a manner that permits replacement with full-size units.

B. Support and protect remaining stonework that surrounds removal area. Maintain flashing, reinforcement, lintels, and adjoining construction in an undamaged condition.

C. Notify Architect of unforeseen detrimental conditions including voids, cracks, bulges, and loose units in existing stone or unit masonry backup, rotted wood, rusted metal, and other deteriorated items.

D. Remove in an undamaged condition as many whole stone units as possible.

1. Remove mortar, loose particles, and soil from stone by cleaning with hand chisels, brushes, and water.

2. Remove sealants by cutting close to stone with utility knife and cleaning with solvents.

E. Clean stone surrounding removal areas by removing mortar, dust, and loose particles in preparation for replacement.

F. Replace removed damaged stone with other removed stone in good quality, where possible, or with new stone matching existing stone, including size. Do not use broken units unless they can be cut to usable size.

Retain first paragraph below for stone having bedding planes, usually sedimentary stone such as limestone and sandstone. Retain option if there are arches; revise if bedding planes are used ornamentally or with fleuri cut.

G. Do not allow face bedding of stone. Before setting, inspect to verify that each stone has been cut so that, when it is set in final position, natural bedding planes are essentially horizontal[ except for arches, where bedding planes are essentially radial or vertical, but perpendicular to the wall]. Reject and replace stones with vertical bedding planes except as required for arches, lintels, and copings.

H. Install replacement stone into bonding and coursing pattern of existing stone. If cutting is required, use a motor-driven saw designed to cut stone with clean, sharp, unchipped edges. Finish edges to blend with appearance of edges of existing stone.

1. Maintain joint width for replacement stone to match existing joints.

Retain subparagraph below especially for narrow joints and where multiple courses are laid.

2. Use setting buttons or shims to set stone accurately spaced with uniform joints.

I. Set replacement stone with completely filled bed, head, and collar joints. Butter vertical joints for full width before setting and set units in full bed of mortar unless otherwise indicated. Replace existing anchors with new anchors of size and type indicated.

1. Tool exposed mortar joints in repaired areas to match joints of surrounding existing stonework.

Retain subparagraph above or first subparagraph below. Coordinate with mortar mixes in Part 2.

2. Rake out mortar used for laying stone before mortar sets and point new mortar joints in repaired area to comply with requirements for repointing existing stone, and at same time as repointing of surrounding area.

3. When mortar is sufficiently hard to support units, remove shims and other devices interfering with pointing of joints.

3.3 STONE-FRAGMENT REPAIR

Method in this article is particularly suitable where a unique, ornamental piece of stone merely needs reattachment and where patching would be costly or unacceptable. Revise method to suit Project.

A. Carefully remove cracked or fallen stone fragment indicated to be repaired. Reuse only stone fragment that is in sound condition.

B. Remove soil, loose particles, mortar, and other debris or foreign material, from fragment surfaces to be bonded and from parent stone where fragment had broken off, by cleaning with stiff-fiber brush.

Retain one of first two paragraphs below if fragment is large and can accommodate pinning. Method in second paragraph might be required for noticeably patterned stones close to view, but is more difficult. Revise pin diameter, length, or spacing if required. If retaining either paragraph, verify that method is appropriate for type of stone used.

C. Pinning: Before applying adhesive, prepare for mechanical anchorage consisting of 1/4-inch- (6-mm-) diameter, [plain] [threaded] stainless-steel pins set into 1/4-inch- (6-mm-) diameter holes drilled at a 45-degree downward angle through face of fragment and into parent stone. Center and space pins between 3 and 5 inches (75 and 125 mm) apart and at least 2 inches (50 mm) from any edge. Insert pins at least 2 inches (50 mm) into parent stone and 2 inches (50 mm) into fragment with end countersunk at least 3/4 inch (19 mm) from exposed face of fragment.

D. Concealed Pinning: Before applying adhesive, prepare for concealed mechanical anchorage consisting of 1/4-inch- (6-mm-) diameter, [plain] [threaded] stainless-steel pins set into 1/4-inch- (6-mm-) diameter holes drilled into parent stone and into, but not through, the fragment. Center and space pins between 3 and 5 inches (75 and 125 mm) apart and at least 2 inches (50 mm) from any edge. Insert pins at least 2 inches (50 mm) into parent stone and 2 inches (50 mm) into fragment, but no closer than 3/4 inch (19 mm) from exposed face of fragment.

E. Apply stone-to-stone adhesive to comply with adhesive manufacturer's written instructions. Coat bonding surfaces of fragment and parent stone, completely filling all crevices and voids.

F. Fit stone fragment onto parent stone while adhesive is still tacky and hold fragment securely in place until adhesive has cured. Use shims, clamps, wedges, or other devices as necessary to align face of fragment with face of parent stone.

Retain option in paragraph below if retaining "Pinning" Paragraph.

G. Clean adhesive residue from exposed surfaces and patch chipped areas[ and exposed drill holes] as specified in "Stone Patching" Article.

3.4 STONE PATCHING

A. Remove deteriorated material and remove adjacent material that has begun to deteriorate. Carefully remove additional material so patch will not have feathered edges but will have square or slightly undercut edges on area to be patched and will be at least 1/4 inch (6 mm) thick, but not less than recommended by patching compound manufacturer.

B. Mask adjacent mortar joint or rake out for repointing if patch will extend to edge of stone unit.

Retain first paragraph below for stone that exhibits a variation in color.

C. Mix patching compound in individual batches to match each stone unit being patched.

D. Brush-coat stone surfaces with slurry coat of patching compound according to manufacturer's written instructions.

E. Place patching compound in layers as recommended by patching compound manufacturer, but not less than 1/4 inch (6 mm) or more than 2 inches (50 mm) thick. Roughen surface of each layer to provide a key for next layer.

1. Trowel, scrape, or carve surface of patch to match texture and surrounding surface plane or contour of the stone. Shape and finish surface before or after curing, as determined by testing, to best match existing stone.

F. Keep each layer damp for 72 hours or until patching compound has set.

G. Remove and replace patches with hairline cracks or that show separation from stone at edges, and those that do not match adjoining stone in color or texture.

3.5 CLEANING STONE, GENERAL

Revise first paragraph below to suit building configuration and Project conditions. In determining the direction of cleaning, the goal is to prevent dirty residues and rinse water from washing over cleaned, dry surfaces, where they could be reabsorbed. Although bottom to top is most common, such a procedure in a tall building could result in resoiling surfaces already cleaned.

A. Proceed with cleaning in an orderly manner; work from [bottom to top] [top to bottom] of each scaffold width and from one end of each elevation to the other. Ensure that dirty residues and rinse water will not wash over cleaned, dry surfaces.

B. Use only those cleaning methods indicated for each stone material and location.

Retain first subparagraph below if applicable.

1. Do not use wire brushes or brushes that are not resistant to chemical cleaner being used. Do not use plastic-bristle brushes if natural-fiber brushes will resist chemical cleaner being used.

2. Use spray equipment that provides controlled application at volume and pressure indicated, measured at spray tip. Adjust pressure and volume to ensure that cleaning methods do not damage stone.

a. Equip units with pressure gages.

Retain first subparagraph below unless spray application of chemical cleaners is not acceptable. Wind drift of chemical cleaners is often a problem with spray application.

3. For chemical-cleaner spray application, use low-pressure tank or chemical pump suitable for chemical cleaner indicated, equipped with cone-shaped spray tip.

Spray tip in first subparagraph below is considered efficient for low and medium pressure and less harmful than tips with narrower angles. Never use tip with an angle of less than 15 degrees.

4. For water-spray application, use fan-shaped spray tip that disperses water at an angle of 25 to 50 degrees.

Retain subparagraph below if heated water is required. Revise temperature range to suit Project.

5. For heated water-spray application, use equipment capable of maintaining temperature between 140 and 160 deg F (60 and 71 deg C) at flow rates indicated.

C. Perform each cleaning method indicated in a manner that results in uniform coverage of all surfaces, including corners, moldings, and interstices, and that produces an even effect without streaking or damaging stone surfaces.

D. Water-Spray Application Method: Unless otherwise indicated, hold spray nozzle at least 6 inches (150 mm) from surface of stone and apply water in horizontal back and forth sweeping motion, overlapping previous strokes to produce uniform coverage.

Retain both options in first paragraph below if spray application of chemical cleaners is acceptable. Wind drift of chemical cleaners is often a problem with spray application.

E. Chemical-Cleaner Application Methods: Apply chemical cleaners to stone surfaces to comply with chemical-cleaner manufacturer's written instructions; use brush[ or spray] application.[ Do not spray apply at pressures exceeding 50 psi (345 kPa).] Do not allow chemicals to remain on surface for periods longer than those indicated or recommended by manufacturer.

F. Rinse off chemical residue and soil by working upward from bottom to top of each treated area at each stage or scaffold setting. Periodically during each rinse, test pH of rinse water running off of cleaned area to determine that chemical cleaner is completely removed.

1. Apply neutralizing agent and repeat rinse if necessary to produce tested pH of between 6.7 and 7.5.

3.6 PRELIMINARY CLEANING

Retain first paragraph below if plant removal is part of the Work; revise to suit Project conditions.

A. Removing Plant Growth: Completely remove visible plant, moss, and shrub growth from stone surfaces. Carefully remove plants, creepers, and vegetation by cutting at roots and allowing to dry as long as possible before removal. Remove loose soil or debris from open joints to whatever depth they occur.

B. Preliminary Cleaning: Before beginning general cleaning, remove extraneous substances that are resistant to cleaning methods being used. Extraneous substances include paint, calking, asphalt, and tar.

1. Carefully remove heavy accumulations of material from surface of stone with sharp chisel. Do not scratch or chip stone surface.

2. Remove paint and calking with alkaline paint remover.

a. Comply with requirements in "Paint Removal" Article.

b. Repeat application up to two times if needed.

3. Remove asphalt and tar with solvent-type paint remover.

a. Comply with requirements in "Paint Removal" Article.

b. Apply paint remover only to asphalt and tar by brush without prewetting.

c. Allow paint remover to remain on surface for 10 to 30 minutes.

d. Repeat application if needed.

3.7 PAINT REMOVAL

Retain one of two paragraphs below depending on paint removers retained in Part 2 and in "Preliminary Cleaning" Article.

A. Paint Removal with Covered or Skin-Forming Alkaline Paint Remover:

Retain first subparagraph below only if loose and peeling paint is significant.

1. Remove loose and peeling paint using [low] [medium]-pressure spray, scrapers, stiff brushes, or a combination of these. Let surface dry thoroughly.

2. Apply paint remover to dry, painted stone with trowel, spatula, or as recommended by manufacturer.

3. Apply cover, if required by manufacturer, per manufacturer's written instructions.

4. Allow paint remover to remain on surface for period recommended by manufacturer or as determined in test panels.

5. Scrape off paint and remover and collect for disposal.

Alkaline cleaners work better with hot water.

6. Rinse with [cold] [hot] water applied by [low] [medium]-pressure spray to remove chemicals and paint residue.

7. Apply acidic cleaner or manufacturer's recommended afterwash to stone, while surface is still wet, using low-pressure spray equipment or soft-fiber brush. Let cleaner or afterwash remain on surface as a neutralizing agent for period recommended by chemical-cleaner or afterwash manufacturer.

8. Rinse with cold water applied by [low] [medium]-pressure spray to remove chemicals and soil.

B. Paint Removal with Solvent-Type Paint Remover:

Retain first subparagraph below only if loose and peeling paint is significant.

1. Remove loose and peeling paint using [low] [medium]-pressure spray, scrapers, stiff brushes, or a combination of these. Let surface dry thoroughly.

2. Apply thick coating of paint remover to painted stone with natural-fiber cleaning brush, deep-nap roller, or large paint brush.

Delete option in first subparagraph below if retaining listed products by Cathedral Stone.

3. Allow paint remover to remain on surface for period recommended by manufacturer.[ Agitate periodically with stiff-fiber brush.]

Some manufacturers advise that heated water may improve stripping efficiency.

4. Rinse with [cold] [hot] water applied by [low] [medium]-pressure spray to remove chemicals and paint residue.

3.8 CLEANING STONEWORK

Paragraphs below are examples of cleaning methods. Retain one or more, and coordinate with cleaners retained in Part 2. If more than one method is required, insert location or develop a schedule describing location, materials, and cleaning process.

A. Detergent Cleaning:

1. Wet stone with [cold] [hot] water applied by low-pressure spray.

2. Scrub stone with detergent solution using medium-soft brushes until soil is thoroughly dislodged and can be removed by rinsing. Use small brushes to remove soil from mortar joints and crevices. Dip brush in solution often to ensure that adequate fresh detergent is used and that stone surface remains wet.

3. Rinse with [cold] [hot] water applied by [low] [medium]-pressure spray to remove detergent solution and soil.

Retain subparagraph below if mockup is used.

4. Repeat cleaning procedure above where required to produce cleaning effect established by mockup.

B. Mold, Mildew, and Algae Removal:

1. Wet stone with [cold] [hot] water applied by low-pressure spray.

2. Apply mold, mildew, and algae remover by brush[ or low-pressure spray].

3. Scrub stone with medium-soft brushes until mold, mildew, and algae are thoroughly dislodged and can be removed by rinsing. Use small brushes for mortar joints and crevices. Dip brush in mold, mildew, and algae remover often to ensure that adequate fresh cleaner is used and that stone surface remains wet.

4. Rinse with [cold] [hot] water applied by [low] [medium]-pressure spray to remove mold, mildew, and algae remover and soil.

Retain subparagraph below if mockup is used.

5. Repeat cleaning procedure above where required to produce cleaning effect established by mockup.

C. Nonacidic Gel Chemical Cleaning:

1. Wet stone with [cold] [hot] water applied by low-pressure spray.

2. Apply nonacidic gel cleaner in 1/8-inch (3-mm) thickness by brush, working into joints and crevices. Apply quickly and do not brush out excessively so area will be uniformly covered with fresh cleaner and dwell time will be uniform throughout area being cleaned.

3. Let cleaner remain on surface for period indicated below:

Retain one of first two subparagraphs below; revise to suit Project.

a. As recommended by chemical-cleaner manufacturer.

b. As established by mockup.

4. Remove bulk of nonacidic gel cleaner by squeegeeing into containers for disposal.

5. Rinse with [cold] [hot] water applied by [low] [medium]-pressure spray to remove chemicals and soil.

Retain subparagraph below if mockup is used.

6. Repeat cleaning procedure above where required to produce cleaning effect established by mockup. Do not repeat more than once.

D. Nonacidic Liquid Chemical Cleaning:

Alkaline cleaners work better with hot water.

1. Wet stone with [cold] [hot] water applied by low-pressure spray.

2. Apply cleaner to stone[ in two applications] by brush[ or low-pressure spray]. Let cleaner remain on surface for period indicated below:

Retain one of first two subparagraphs below; revise to suit Project.

a. As recommended by chemical-cleaner manufacturer.

b. As established by mockup.

3. Rinse with [cold] [hot] water applied by [low] [medium]-pressure spray to remove chemicals and soil.

Retain subparagraph below if mockup is used.

4. Repeat cleaning procedure above where required to produce cleaning effect established by mockup. Do not repeat more than once.

E. [Mild Acidic] [Acidic] Chemical Cleaning:

1. Wet stone with cold water applied by low-pressure spray.

2. Apply cleaner to stone[ in two applications] by brush[ or low-pressure spray]. Let cleaner remain on surface for period indicated below:

Retain one of first two subparagraphs below; revise to suit Project.

a. As recommended by chemical-cleaner manufacturer.

b. As established by mockup.

3. Rinse with cold water applied by [low] [medium]-pressure spray to remove chemicals and soil.

Retain subparagraph below if mockup is used.

4. Repeat cleaning procedure above where required to produce cleaning effect established by mockup. Do not repeat more than once.

F. One-Part Limestone Chemical Cleaning:

Alkaline cleaners work better with hot water.

1. Wet stone with [cold] [hot] water applied by low-pressure spray.

2. Apply cleaner to stone by brush[ or low-pressure spray]. Let cleaner remain on surface for period recommended by manufacturer.

Retain first subparagraph below if testing indicates one application is insufficient.

3. Immediately repeat application of one-part limestone cleaner as indicated above over the same area.

Revise subparagraph below if different pressure is required.

4. Rinse with [cold] [hot] water applied by medium-pressure spray to remove chemicals and soil.

3.9 REPOINTING STONEWORK

A. Rake out and repoint joints to the following extent:

1. All joints in areas indicated.

Retain subparagraph above if complete repointing of selected areas is indicated on Drawings. The Department of the Interior's "The Secretary of the Interior's Standards for the Treatment of Historic Properties with Guidelines for Preserving, Rehabilitating, Restoring, and Reconstructing Historic Buildings" prohibits removing sound mortar and replacing it solely to achieve uniform appearance. Retain seven subparagraphs below with or without subparagraph above if spot repointing of missing and deteriorated joints is required.

2. Joints where mortar is missing or where they contain holes.

3. Cracked joints where cracks can be penetrated at least 1/4 inch (6 mm) by a knife blade 0.027 inch (0.7 mm) thick.

4. Cracked joints where cracks are [1/16 inch (1.6 mm)] [1/8 inch (3 mm)] <Insert dimension> or more in width and of any depth.

5. Joints where they sound hollow when tapped by metal object.

6. Joints where they are worn back 1/4 inch (6 mm) or more from surface.

7. Joints where they are deteriorated to point that mortar can be easily removed by hand, without tools.

8. Joints, other than those indicated as sealant-filled joints, where they have been filled with substances other than mortar.

B. Do not rake out and repoint joints where not required.

C. Rake out joints as follows, according to procedures demonstrated in approved mockup:

1. Remove mortar from joints to depth of [joint width plus 1/8 inch (3 mm)] [2 times joint width] [2-1/2 times joint width] <Insert dimension>, but not less than 1/2 inch (13 mm) or not less than that required to expose sound, unweathered mortar.

2. Remove mortar from stone surfaces within raked-out joints to provide reveals with square backs and to expose stone for contact with pointing mortar. Brush, vacuum, or flush joints to remove dirt and loose debris.

3. Do not spall edges of stone units or widen joints. Replace or patch damaged stone units as directed by Architect.

a. Cut out mortar by hand with chisel and resilient mallet. Do not use power-operated grinders.

Retain last subparagraph above or subparagraph below.

b. Cut out center of mortar bed joints using angle grinders with diamond-impregnated metal blades. Remove remaining mortar by hand with chisel and resilient mallet.

D. Notify Architect of unforeseen detrimental conditions including voids in mortar joints, cracks, loose stone, rotted wood, rusted metal, and other deteriorated items.

E. Pointing with Mortar:

1. Rinse joint surfaces with water to remove dust and mortar particles. Time rinsing application so, at time of pointing, joint surfaces are damp but free of standing water. If rinse water dries, dampen joint surfaces before pointing.

2. Apply pointing mortar first to areas where existing mortar was removed to depths greater than surrounding areas. Apply in layers not greater than 3/8 inch (9 mm) until a uniform depth is formed. Fully compact each layer thoroughly and allow it to become thumbprint hard before applying next layer.

3. After low areas have been filled to same depth as remaining joints, point all joints by placing mortar in layers not greater than 3/8 inch (9 mm). Fully compact each layer and allow to become thumbprint hard before applying next layer. Where existing stone has worn or rounded edges, slightly recess finished mortar surface below face of stone to avoid widened joint faces. Take care not to spread mortar beyond joint edges onto exposed stone surfaces or to featheredge the mortar.

4. When mortar is thumbprint hard, tool joints to match original appearance of joints as demonstrated in approved mockup. Remove excess mortar from edge of joint by brushing.

5. Cure mortar by maintaining in thoroughly damp condition for at least 72 consecutive hours, including weekends and holidays.

Retain last subparagraph above for all mortars. Proper moist curing is critical for high-lime-content mortars. First subparagraph below may be deleted for mortars with high portland cement content.

a. Acceptable curing methods include covering with wet burlap and plastic sheeting, periodic hand misting, and periodic mist spraying using system of pipes, mist heads, and timers.

Retain and revise subparagraph below to suit Project.

6. Hairline cracking within the mortar or mortar separation at edge of a joint is unacceptable. Completely remove such mortar and repoint.

Insert paragraph for pointing with sealant if sealant joints are required and are not specified in Section 079200 "Joint Sealants."

F. Where repointing work precedes cleaning of existing stone, allow mortar to harden at least 30 days before beginning cleaning work.

3.10 FINAL CLEANING

Retain this article only if overall cleaning of existing stonework occurs before pointing work is completed.

Revise paragraph below if chemical cleaning of rebuilt stonework is required or if overall cleaning of rebuilt and existing stonework can be accomplished using new-stonework chemical cleaning techniques. See Section 044313.13 "Anchored Stone Masonry Veneer" and Section 044313.16 "Adhered Stone Masonry Veneer."

A. After mortar has fully hardened, thoroughly clean exposed stone surfaces of excess mortar and foreign matter; use wood scrapers, stiff-nylon or -fiber brushes, and clean water, spray applied at low pressure.

1. Do not use metal scrapers or brushes.

2. Do not use acidic or alkaline cleaners.

END OF SECTION 040140

	MAINTENANCE OF STONE ASSEMBLIES
	040140 - 1



