Copyright 2010 AIA
MasterSpec Professional
02/10

Copyright 2010 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 044200 - EXTERIOR STONE CLADDING
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section Includes:

1. Dimension stone panels set with individual anchors.

2. Dimension stone panels mechanically anchored on prefabricated steel frames.

3. Dimension stone panels set in architectural precast concrete.

4. Dimension stone panels glazed into aluminum curtain-wall framing system.

Retain option(s) in first subparagraph below to describe units required; insert other descriptive terms to suit Project.

5. Dimension stone trim units, including [bands] [copings] [sills] [jambs] [and] [soffits].

6. Dimension stone with carving or inscriptions.

B. Related Requirements:

Retain subparagraphs below to cross-reference requirements Contractor might expect to find in this Section but are specified in other Sections.

1. Section 034500 "Precast Architectural Concrete" for setting dimension stone panels in architectural precast concrete units.

2. Section 084413 "Glazed Aluminum Curtain Walls" for installing dimension stone panels in aluminum curtain-wall systems.

1.2 ALLOWANCES

Retain paragraph below if testing is paid for by Contractor under an allowance.

A. [Preconstruction] [and] [quality-control] testing is part of testing and inspecting allowance.

1.3 ACTION SUBMITTALS

A. Product Data: For each[ variety of stone,] stone accessory, and manufactured product.

B. LEED Submittals:

"Product Certificates for Credit MR 5" Subparagraph below applies to LEED-NC, LEED-CS, and LEED for Schools.

1. Product Certificates for Credit MR 5: For products and materials required to comply with requirements for regional materials, certificates indicating location of material manufacturer and point of extraction, harvest, or recovery for each raw material. Include statement indicating distance to Project, cost for each regional material, and fraction by weight that is considered regional.

C. Shop Drawings: Show fabrication and installation details for dimension stone cladding assembly, including dimensions and profiles of stone units.

1. Show locations and details of joints both within dimension stone cladding assembly and between dimension stone cladding assembly and other construction.

2. Show locations and details of anchors[ and backup structure].

3. Show direction of veining, grain, or other directional pattern.

D. Stone Samples: Sets for each variety, color, and finish of stone required; not less than 12 inches (300 mm) square.

E. Colored Pointing Mortar Samples: For each color required.

F. Sealant Samples: For each type and color of joint sealant required.

Retain "Delegated-Design Submittal" Paragraph below if design services have been delegated to Contractor.

G. Delegated-Design Submittal: For dimension stone cladding assembly.

1.4 INFORMATIONAL SUBMITTALS

Retain "Material Test Reports" Paragraph below for material test reports that are Contractor's responsibility.

A. Material Test Reports:

1. Stone Test Reports: For[ each] stone variety proposed for use on Project, by a qualified testing agency, indicating compliance with required physical properties, other than abrasion resistance, according to referenced ASTM standards. Base reports on testing done within previous [five] [three] <Insert number> years.

Retain "Preconstruction test reports" Paragraph below if specifying preconstruction testing in "Preconstruction Testing" Article as Contractor's responsibility.

B. Preconstruction test reports.

C. Source quality-control reports.

1.5 QUALITY ASSURANCE

Retain "Testing Agency Qualifications" Paragraph below if Contractor selects testing agency or if Contractor is required to provide services of a qualified testing agency.

A. Testing Agency Qualifications: Qualified according to ASTM E 329 for testing indicated.

B. Mockups: Build mockups to verify selections made under Sample submittals and to demonstrate aesthetic effects and set quality standards for materials and execution.

1. Build mockups of typical exterior wall area [not less than 72 inches (1800 mm) long by 48 inches (1200 mm) high] [not less than 15 feet (4.5 m) long by 10 feet (3 m) high].

1.6 PRECONSTRUCTION TESTING

Retain this article for preconstruction testing. Project-specific preconstruction testing of assemblies can be expensive but may be the best means of proving that performance requirements are met.

A. Preconstruction Stone Testing: [Owner will engage] [Engage] a qualified independent testing agency to perform preconstruction testing.

First subparagraph below requires test specimens that are "representative of" materials to be used, not that they be taken from same blocks.

1. Furnish test specimens that are representative of materials proposed for incorporation into the Work.

2. Physical Property Tests: For[ each] stone variety proposed for use on Project, tested for compliance with physical property requirements, other than abrasion resistance, according to referenced ASTM standards.

Usually retain "Flexural Strength Tests" Subparagraph below to determine adequacy of stone thickness for spans.

3. Flexural Strength Tests: For[ each combination of] stone variety, thickness, orientation of cut, and finish, proposed for use on Project, tested according to ASTM C 880/C 880M, in both wet and dry conditions.

Usually retain "Anchorage Tests" Subparagraph below to verify capacity of stone and anchor combinations.

4. Anchorage Tests: For[ each combination of] stone variety, orientation of cut, finish, and anchor type proposed for use on Project, tested according to ASTM C 1354/C 1354M.

1.7 FIELD CONDITIONS

A. Cold-Weather Requirements: Do not use frozen materials or materials mixed or coated with ice or frost. Remove and replace dimension stone cladding damaged by frost or freezing conditions. Comply with cold-weather construction and protection requirements for masonry contained in ACI 530.1/ASCE 6/TMS 602.

B. Hot-Weather Requirements: Comply with hot-weather construction and protection requirements for masonry contained in ACI 530.1/ASCE 6/TMS 602.

C. Environmental Limitations for Sealants: Do not install sealants when ambient and substrate temperatures are outside limits permitted by sealant manufacturer or below 40 deg F (5 deg C) or when joint substrates are wet.

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

2.1 MANUFACTURERS

A. Source Limitations for Stone: Obtain[ each variety of] stone[, regardless of finish,] from single quarry.

2.2 PERFORMANCE REQUIREMENTS

If deleting this article, give a copy of it to Project's structural engineer as an example of design requirements for dimension stone cladding assemblies.

Retain "Delegated Design" Paragraph below if Contractor is required to assume responsibility for design.

A. Delegated Design: Engage a qualified professional engineer, as defined in Section 014000 "Quality Requirements," to design dimension stone cladding assembly.

B. General: Design stone anchors and anchoring systems according to ASTM C 1242.

Subparagraph below is IBC requirement for slab-type veneer.

1. Stone anchors shall withstand not less than two times the weight of the stone cladding in both compression and tension.

C. Structural Performance: Dimension stone cladding assembly shall withstand the effects of gravity loads and the following loads and stresses within limits and under conditions indicated:

1. Wind Loads: As indicated.

2. Equipment Loads: Allow for loads due to window cleaning and maintenance equipment.

Model building codes and ASCE/SEI 7 establish criteria for buildings subject to earthquake motions. Verify requirements of authorities having jurisdiction.

D. Seismic Performance: Dimension stone cladding assembly shall withstand the effects of earthquake motions determined according to [ASCE/SEI 7] <Insert requirement>.

Component Importance Factor is 1.0 unless the structure is in Seismic Use Group III and dimension stone cladding assembly is necessary for continued operation of facility or failure of assembly could impair continued operation of facility, in which case the Component Importance Factor is 1.5.

1. Component Importance Factor: [1.5] [1.0].

E. Safety Factors for Stone: Design dimension stone cladding assembly to withstand loads indicated without exceeding stone's allowable working stress determined by dividing stone's average ultimate strength, as established by testing, by the following safety factors:

Safety factors in subparagraphs below are examples based on industry-recognized recommendations. Adjust to suit capabilities of stone selected. See Evaluations for discussion of safety factors.

1. Safety Factor for Granite: [3] <Insert number>.

2. Safety Factor for Oolitic Limestone: [8] <Insert number>.

3. Safety Factor for Dolomitic Limestone: [6] <Insert number>.

4. Safety Factor for Marble: [5] <Insert number>.

5. Safety Factor for Quartz-Based Stone: [6] <Insert number>.

6. Safety Factor for Serpentine: [6] <Insert number>.

7. Safety Factor for Slate: [5] <Insert number>.

8. Safety Factor for Travertine: [8] <Insert number>.

Retain one or more of first seven articles below to describe stone types used. If only one type from an article is required, the generic name can be retained and used on Drawings instead of a stone-type designation. Otherwise, copy and re-edit article for each type required, inserting a different stone-type designation each time.

2.3 GRANITE <Insert drawing designation>

A. Material Standard: Comply with ASTM C 615.

Retain "Regional Materials" Paragraph below for LEED-NC, LEED-CS, or LEED for Schools Credit MR 5 and LEED-CI Credit MR 5, Option 2; before retaining, verify availability of materials that comply.

B. Regional Materials: Granite shall be fabricated within 500 miles (800 km) of Project site from stone that has been extracted within 500 miles (800 km) of Project site.

C. Varieties and Sources: Subject to compliance with requirements, [provide the following] [provide one of the following] [available stone varieties that may be incorporated into the Work include, but are not limited to, the following]:

1. <Insert, in separate subparagraphs, names of varieties and producers, distributors, or importers>.

D. Finish: [Polished] [Honed] [Thermal] [As indicated] [Match Architect's sample] <Insert finish>.

Retain paragraph below for added quality control if required.

E. Match Architect's samples for color, finish, and other stone characteristics relating to aesthetic effects.

2.4 LIMESTONE <Insert drawing designation>

A. Material Standard: Comply with ASTM C 568.

Retain one of four options in "Classification" Subparagraph below. First generally applies to very porous limestone that should only be used on building exteriors in mild climates; second, to oolitic limestone; third and fourth, to dolomitic limestone.

1. Classification: [I Low-Density] [II Medium-Density] [II Medium-Density except as follows: absorption, 5 percent by weight maximum; density, 150 lb/cu. ft. (2400 kg/cu. m) minimum; compressive strength, 8000 psi (55 MPa) minimum; and modulus of rupture 800 psi (5.5 MPa) minimum] [III High-Density].

Retain "Regional Materials" Paragraph below for LEED-NC, LEED-CS, or LEED for Schools Credit MR 5 and LEED-CI Credit MR 5, Option 2; before retaining, verify availability of materials that comply.

B. Regional Materials: Limestone shall be fabricated within 500 miles (800 km) of Project site from stone that has been extracted within 500 miles (800 km) of Project site.

If retaining "Description" Paragraph below, retain one of three options. Coordinate with option retained in "Classification" Subparagraph above. Description can serve as a salient characteristic if varieties other than those named are allowed and can be deleted if only specific named varieties are allowed.

C. Description: [Dolomitic] [Oolitic] [Shell] limestone.

D. Varieties and Sources: Subject to compliance with requirements, [provide the following] [provide one of the following] [available stone varieties that may be incorporated into the Work include, but are not limited to, the following]:

1. <Insert, in separate subparagraphs, names of varieties and producers, distributors, or importers>.

Retain "Varieties and Sources" Paragraph below if Indiana limestone is required. If retaining below, retain "II Medium-Density" option in "Classification" Subparagraph above and "Oolitic" option in "Description" Paragraph above. Revise paragraph below if stone from a particular quarry is required.

E. Varieties and Sources: Indiana limestone quarried in Lawrence, Monroe, or Owen Counties, Indiana.

Select and Standard grades are hard to get in large sizes; gray is more plentiful than buff. Verify availability with producers.

1. Indiana Limestone Grade and Color: [Select, buff] [Select, gray] [Standard, buff] [Standard, gray] [Rustic, buff] [Rustic, gray] [Variegated], according to grade and color classification established by ILI.

Retain last option in "Finish" Paragraph below for Indiana limestone.

F. Finish: [Smooth finish] [Sand rubbed] [Machine tooled, four bats per 1 inch (25 mm)] [Machine tooled, six bats per 1 inch (25 mm)] [Machine tooled, eight bats per 1 inch (25 mm)] [As indicated] [Match Architect's sample] <Insert finish>[, matching standard ILI finish].

Retain paragraph below for added quality control if required.

G. Match Architect's samples for color, finish, and other stone characteristics relating to aesthetic effects.

2.5 MARBLE <Insert drawing designation>

Retain one of first two options in "Material Standard" Paragraph below; also retain third option for stone used on building exteriors except possibly in mild climates.

A. Material Standard: Comply with ASTM C 503, [Classification I Calcite] [Classification II Dolomite][, Group A].

Retain "Regional Materials" Paragraph below for LEED-NC, LEED-CS, or LEED for Schools Credit MR 5 and LEED-CI Credit MR 5, Option 2; before retaining, verify availability of materials that comply.

B. Regional Materials: Marble shall be fabricated within 500 miles (800 km) of Project site from stone that has been extracted within 500 miles (800 km) of Project site.

C. Varieties and Sources: Subject to compliance with requirements, [provide the following] [provide one of the following] [available stone varieties that may be incorporated into the Work include, but are not limited to, the following]:

1. <Insert, in separate subparagraphs, names of varieties and producers, distributors, or importers>.

D. Finish: [Polished] [Honed] [As indicated] [Match Architect's sample] <Insert finish>.

Retain paragraph below for added quality control if required.

E. Match Architect's samples for color, finish, and other stone characteristics relating to aesthetic effects.

2.6 QUARTZ-BASED STONE <Insert drawing designation>

Retain one of first three options in "Material Standard" Paragraph below; for bluestone, retain third and fourth options.

A. Material Standard: Comply with ASTM C 616, [Classification I Sandstone] [Classification II Quartzitic Sandstone] [Classification III Quartzite][ except for minimum free silica content].

Retain "Regional Materials" Paragraph below for LEED-NC, LEED-CS, or LEED for Schools Credit MR 5 and LEED-CI Credit MR 5, Option 2; before retaining, verify availability of materials that comply.

B. Regional Materials: Quartz-based stone shall be fabricated within 500 miles (800 km) of Project site from stone that has been extracted within 500 miles (800 km) of Project site.

C. Varieties and Sources: Subject to compliance with requirements, [provide the following] [provide one of the following] [available stone varieties that may be incorporated into the Work include, but are not limited to, the following]:

1. <Insert, in separate subparagraphs, names of varieties and producers, distributors, or importers>.

D. Finish: [Sand rubbed] [Natural cleft] [Thermal] [As indicated] [Match Architect's sample] <Insert finish>.

Retain paragraph below for added quality control if required.

E. Match Architect's samples for color, finish, and other stone characteristics relating to aesthetic effects.

2.7 SERPENTINE <Insert drawing designation>

A. Material Standard: Comply with ASTM C 1526, Classification I Exterior.

Retain "Regional Materials" Paragraph below for LEED-NC, LEED-CS, or LEED for Schools Credit MR 5 and LEED-CI Credit MR 5, Option 2; before retaining, verify availability of materials that comply.

B. Regional Materials: Serpentine shall be fabricated within 500 miles (800 km) of Project site from stone that has been extracted within 500 miles (800 km) of Project site.

C. Varieties and Sources: Subject to compliance with requirements, [provide the following] [provide one of the following] [available stone varieties that may be incorporated into the Work include, but are not limited to, the following]:

1. <Insert, in separate subparagraphs, names of varieties and producers, distributors, or importers>.

D. Finish: [Polished] [Honed] [As indicated] [Match Architect's sample] <Insert finish>.

Retain paragraph below for added quality control if required.

E. Match Architect's samples for color, finish, and other stone characteristics relating to aesthetic effects.

2.8 SLATE <Insert drawing designation>

A. Material Standard: Comply with ASTM C 629, Classification I Exterior.

Retain "Regional Materials" Paragraph below for LEED-NC, LEED-CS, or LEED for Schools Credit MR 5 and LEED-CI Credit MR 5, Option 2; before retaining, verify availability of materials that comply.

B. Regional Materials: Slate shall be fabricated within 500 miles (800 km) of Project site from stone that has been extracted within 500 miles (800 km) of Project site.

C. Varieties and Sources: Subject to compliance with requirements, [provide the following] [provide one of the following] [available stone varieties that may be incorporated into the Work include, but are not limited to, the following]:

1. <Insert, in separate subparagraphs, names of varieties and producers, distributors, or importers>.

D. Finish: [Honed] [Sand rubbed] [Natural cleft] [As indicated] [Match Architect's sample] <Insert finish>.

Retain paragraph below for added quality control if required.

E. Match Architect's samples for color, finish, and other stone characteristics relating to aesthetic effects.

2.9 TRAVERTINE <Insert drawing designation>

A. Material Standard: Comply with ASTM C 1527, Classification I Exterior.

Retain "Regional Materials" Paragraph below for LEED-NC, LEED-CS, or LEED for Schools Credit MR 5 and LEED-CI Credit MR 5, Option 2; before retaining, verify availability of materials that comply.

B. Regional Materials: Travertine shall be fabricated within 500 miles (800 km) of Project site from stone that has been extracted within 500 miles (800 km) of Project site.

C. Varieties and Sources: Subject to compliance with requirements, [provide the following] [provide one of the following] [available stone varieties that may be incorporated into the Work include, but are not limited to, the following]:

1. <Insert, in separate subparagraphs, names of varieties and producers, distributors, or importers>.

Usually retain "Vein" option in "Cut" Paragraph below. Fleuri-cut travertine is often called "cross-cut travertine." See Evaluations.

D. Cut: [Vein] [Fleuri].

Retain "Orientation of Veining" Subparagraph below if retaining vein cut.

1. Orientation of Veining: [Horizontal] [Vertical] [As indicated].

Retain "Filling" Paragraph below if filling is required.

E. Filling: Fill pores on faces of stone with cementitious filler of color [selected by Architect] [matching Architect's sample].

F. Finish: [Polished] [Honed] [As indicated] [Match Architect's sample] <Insert finish>.

Retain paragraph below for added quality control if required.

G. Match Architect's samples for color, finish, and other stone characteristics relating to aesthetic effects.

2.10 FRAMING FOR BACKUP STRUCTURE

Revise minimum thicknesses to suit Project based on advice of structural engineer. Insert other materials as required.

A. [Steel Trusses] [Strongback Frames] [and] [Miscellaneous Steel Framing]: For framing members in contact with stone, fabricate from same material and finish specified for anchors. For framing members not in contact with stone, comply with requirements indicated below:

If backup structure is detailed on Drawings, retain forms of steel required in three subparagraphs below. If Contractor designs backup structure, retain all three.

1. Steel Plates, Shapes, and Bars: ASTM A 36/A 36M or ASTM A 992/A 992M, minimum thickness of 3/16 inch (5 mm).

2. Steel Tubing: ASTM A 500/A 500M or ASTM A 513, minimum thickness of 3/16 inch (5 mm).

3. Slotted Channel Framing: Cold-formed metal channels with continuous slot complying with MFMA-4, made from [galvanized steel complying with ASTM A 653/A 653M, structural steel, Grade 33 (Grade 230), with G90 (Z275) coating, and not less than 0.108-inch (2.74-mm) nominal thickness] [steel sheet complying with ASTM A 1008/A 1008M, structural steel, Grade 33 (Grade 230), not less than 0.105-inch (2.66-mm) nominal thickness, hot-dip galvanized after fabrication to comply with ASTM A 123/A 123M].

B. Steel Stud Frames: Galvanized-steel wall framing complying with Section 054000 "Cold-Formed Metal Framing."

1. Secondary Weather Barrier (Sheathing): Galvanized-steel sheet complying with ASTM A 653/A 653M, commercial steel, coating designation G90 (Z275).

2.11 ANCHORS AND FASTENERS

The term "anchor" refers only to the metal device inserted into a slot or hole in stone. Retain anchor materials in first two paragraphs below, usually Type 304 stainless steel. Retain Type 316 for increased corrosion resistance in a coastal environment.

A. Fabricate anchors[, including shelf angles,] from stainless steel, ASTM A 240/A 240M or ASTM A 666, [Type 304] [Type 316]; temper as required to support loads imposed without exceeding allowable design stresses. Fabricate dowels and pins for anchors from stainless steel, ASTM A 276, [Type 304] [Type 316].

Hot-dip galvanized steel is considered acceptable for shelf angles supporting limestone.

B. Fabricate shelf angles for limestone from hot-dip galvanized steel, ASTM A 36/A 36M for materials and ASTM A 123/A 123M for galvanizing.

C. Cast-in-Place Concrete Inserts: Either threaded or wedge type unless otherwise indicated; galvanized ferrous castings, either ASTM A 47/A 47M malleable iron or ASTM A 27/A 27M cast steel, with capability to sustain, without failure, a load equal to 4 times the loads imposed as determined by testing per ASTM E 488, conducted by a qualified independent testing agency. Provide bolts, washers, and shims as needed, all hot-dip galvanized per ASTM F 2329.

D. Postinstalled Anchor Bolts for Concrete and Masonry: [Chemical anchors] [torque-controlled expansion anchors] [or] [undercut anchors] made from stainless-steel components complying with ASTM F 593 and ASTM F 594, Alloy Group 1 or 2 (ASTM F 738M and ASTM F 836M, Alloy Group A1 or A4) for bolts and nuts; ASTM A 240/A 240M, ASTM A 276, or ASTM A 666, Type 304 or 316, for anchors, with capability to sustain, without failure, a load equal to 4 times the loads imposed, for concrete, or 6 times the load imposed, for masonry, as determined by testing per ASTM E 488, conducted by a qualified independent testing agency.

E. Threaded Fasteners: Heavy hexagon structural bolts, heavy hexagon nuts, and hardened washers.

Use Alloy Group 1 (A1) fasteners with Type 304 stainless steel, and use Alloy Group 2 (A4) fasteners with Type 316 stainless steel.

1. For stainless steel, use annealed stainless-steel bolts, nuts, and washers; for bolts, ASTM F 593 (ASTM F 738M); and for nuts, ASTM F 594 (ASTM F 836M), Alloy [Group 1 (A1)] [Group 2 (A4)].

Retain subparagraph below if needed for galvanized anchors or for backup structure.

2. For [galvanized-steel shelf angles] [and] [backup structure], use carbon-steel bolts, nuts, and washers; for bolts, ASTM A 307, Grade A (ASTM F 568M, Property Class 4.6); for nuts, ASTM A 563 (ASTM A 563M), Grade A; and for washers, ASTM F 436 (ASTM F 436M); all hot-dip or mechanically zinc coated.

F. Weld Plates for Installation in Concrete: Comply with Section 055000 "Metal Fabrications."

2.12 MORTAR MATERIALS

Retain "Portland Cement" and "Hydrated Lime" paragraphs below for portland cement-lime mix or for job-mixed, portland cement-lime mortar.

A. Portland Cement: ASTM C 150, Type I or Type II, except Type III may be used for cold-weather construction, natural color or white as required to produce mortar color indicated.

Retain "Low-Alkali Cement" Subparagraph below to limit staining if using limestone.

1. Low-Alkali Cement: Portland cement for use with limestone shall contain not more than 0.60 percent total alkali when tested according to ASTM C 114.

B. Hydrated Lime: ASTM C 207.

Retain "Mortar Pigments" Paragraph below for colored portland cement-lime mix or for pigments added at Project site.

C. Mortar Pigments: Natural and synthetic iron oxides and chromium oxides, compounded for use in mortar mixes and complying with ASTM C 979. Pigments shall have a record of satisfactory performance in mortar.

D. Aggregate: ASTM C 144; except for [joints narrower than 1/4 inch (6 mm)] [and] [pointing mortar], 100 percent shall pass No. 16 (1.18-mm) sieve.

E. Water: Potable.

2.13 STONE ACCESSORIES

Retain "Setting Shims" Paragraph below for stone supported on split-tab anchors or shelf angles.

A. Setting Shims: Strips of [resilient plastic] [or] [vulcanized neoprene, Type A Shore durometer hardness of 50 to 70], nonstaining to stone, of thickness needed to prevent point loading of stone on anchors and of depths to suit anchors without intruding into required depths of pointing materials.

Zinc-tin, alloy-coated stainless steel is preferred by some if soldered seams are required.

B. Concealed Sheet Metal Flashing: Fabricated from[ zinc-tin, alloy-coated] stainless steel in thicknesses indicated, but not less than 0.0156 inch (0.4 mm) thick, and complying with Section 076200 "Sheet Metal Flashing and Trim."

C. Cementitious Dampproofing[ for Limestone]: Cementitious formulation recommended by ILI and nonstaining to stone; compatible with joint sealants and noncorrosive to anchors and attachments.

Retain one or more of "Weep and Vent Tubes," "Cellular Plastic Weep Hole/Vents," and "Mesh Weep/Vent" paragraphs below for weeping setting space, and one or both of first two for venting.

D. Weep and Vent Tubes: [Medium-density polyethylene tubing, 1/4-inch (6-mm) OD] [Rectangular, cellular, polypropylene or clear butyrate extrusion, 3/8 by 1-1/2 inches (9 by 38 mm)], of length required to extend from exterior face of stone to cavity behind.

E. Cellular Plastic Weep Hole/Vents: One-piece, flexible extrusion made from UV-resistant polypropylene copolymer, of length required to extend from exterior face of stone to cavity behind, in color selected from manufacturer's standard.

F. Mesh Weep/Vent: Free-draining mesh; made from polyethylene strands, of length required to extend from exterior face of stone to cavity behind, in color selected from manufacturer's standard.

Delete "Sealants for Joints in Dimension Stone Cladding" Paragraph below if no joint sealants are used or if filling or pointing joints is specified in Section 079200 "Joint Sealants."

G. Sealants for Joints in Dimension Stone Cladding: Manufacturer's standard chemically curing, elastomeric sealants of base polymer indicated below that comply with applicable requirements in Section 079200 "Joint Sealants" and do not stain stone:

Coordinate type of joint sealants retained in subparagraphs below with applicable subparagraphs in Part 2 articles in Section 079200 "Joint Sealants" in which various sealant types are specified. If more than one sealant type is required, indicate locations of each on Drawings or in a schedule. Verify compatibility of each sealant specified with stone specified. Verify that sealant does not stain stone. Some silicone sealants may stain stone, especially light-colored porous stone.

1. Silicone joint sealant.

2. Urethane joint sealant.

3. Preformed foam joint sealant.

Retain "Sealant for Filling Kerfs" Paragraph below with either option if stone is not set with mortar, even if sealants for filling or pointing joints are specified in Section 079200 "Joint Sealants." A rigid sealant, such as high-modulus or traffic type (Use T), is generally recommended to provide even load transfer from stone to anchor. However, using the same sealant used for joints eliminates compatibility problems, and the confined space in the kerf tends to make the sealant more rigid. If retaining first option below, delete the following subparagraphs. See the Evaluations in Section 079200 "Joint Sealants" for more information.

H. Sealant for Filling Kerfs: [Same sealant used for joints in dimension stone.] [Manufacturer's standard chemically curing, elastomeric sealants of base polymer and characteristics indicated below that comply with applicable requirements in Section 079200 "Joint Sealants" and that do not stain stone:]

Verify suitability of sealant in first subparagraph below before retaining. Silicone sealants often stain porous, light-colored stone.

1. Single-component, nonsag, neutral-curing, medium- to high-modulus silicone sealant; Class 25, Use NT (nontraffic), and Use M (masonry).

2. Single-component, nonsag, urethane sealant; Class 25, Use T (traffic), and Use M (masonry).

2.14 STONE FABRICATION

Options in first paragraph below are examples only. Retain one example or insert clearance to suit Project. Usually delete paragraph for prefabricated panel systems.

A. Control depth of stone and back check to maintain minimum clearance of [1 inch (25 mm)] [1-1/2 inches (38 mm)] <Insert dimension> between backs of stone units and surfaces or projections of structural members, fireproofing (if any), backup walls, and other work behind stone.

B. Dress joints (bed and vertical) straight and at right angle to face unless otherwise indicated. Shape beds to fit supports.

C. Finish exposed faces and edges of stone[, except sawed reveals,] to comply with requirements indicated for finish and to match approved samples[ and mockups].

Options in first paragraph below are examples only. Revise to suit Project.

D. Cut stone to produce uniform joints [3/8 inch (10 mm)] [1/2 inch (13 mm)] <Insert dimension> wide and in locations indicated.

E. Contiguous Work: Provide chases, reveals, reglets, openings, and similar features as required to accommodate contiguous work.

F. Fabricate molded work, including washes and drips, to produce stone shapes with a uniform profile throughout entire unit length, with precisely formed arris slightly eased to prevent snipping, and with matching profile at joints between units.

2.15 FABRICATION OF BACKUP STRUCTURE

A. Fabrication of [Steel Trusses] [Strongback Frames] [and] [Miscellaneous Steel Framing]: Fabricate in shop to comply with AISC 303.

B. Fabrication of Steel Stud Frames: Fabricate and assemble by welding to comply with requirements in Section 054000 "Cold-Formed Metal Framing."

2.16 SHOP-PAINTED STEEL FINISHES

Retain this article for shop-painted steel framing for backup structure.

A. General: Paint uncoated steel backup structure before delivering to Project site to comply with SSPC-PA 1, "Paint Application Specification No. 1: Shop, Field, and Maintenance Painting of Steel."

Revise "Surface Preparation" Paragraph below if change in coating system requires change in method of surface preparation.

B. Surface Preparation: After fabricating steel items, prepare surfaces to comply with SSPC-SP 6/NACE No. 3, "Commercial Blast Cleaning."

Retain one of two paragraphs below. First provides only minimum protection for steel framing; usually retain second paragraph for better protection against rust staining of stone panels. A high-performance paint system on framing costs little compared with stone.

C. Apply one coat of fast-curing, lead- and chromate-free, universal modified-alkyd primer complying with MPI#76.[ After primer has dried, apply one coat of exterior alkyd enamel complying with MPI#96 of a different color than primer.]

D. Apply two-coat, high-performance coating system consisting of epoxy zinc-rich primer, complying with MPI#20 and topcoat of high-build epoxy coating, complying with MPI#108.

Retain "*****Products" Subparagraph and list of manufacturers and products below to require specific products or a comparable product from other manufacturers.

1. *****Products: Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Cloverdale Paint; ClovaZinc 3, 83003, and ClovaGuard, 83150.

b. Columbia Paint & Coatings; Carbozinc 859 and Polyamide Epoxy 07-910.

c. Coronado Paint; Polyamide Epoxy Zinc Rich Primer, 101-152, and Polyamide Epoxy Coating Semi-Gloss, 101-251.

d. Frazee Paint; Ameron 68HS and Ameron 400.

e. General Paint; Ameron 68HS Epoxy Zinc Rich Coating and Amercoat 385 or Amerlock 400, 96 line.

f. ICI Paints; Catha-Coat 313 and Bar-Rust 235, Bar-Rust 236, or Devran 224HS.

g. Kwal Paint; Coronado Polyamide Epoxy Zinc Rich Primer, 101-152, and Coronado Polyamide Epoxy Coating Semi-Gloss, 101-251B.

h. Parker Paint Mfg. Co. Inc.; Amercoat Zinc Rich Epoxy Primer, 68HS, and Amerlock 400.

i. PPG Architectural Finishes, Inc.; Aquapon Zinc-Rich Primer 97-670 and Aquapon High Build Epoxy Marine Coating 97-130/97-139.

j. Sherwin-Williams Company (The); Zinc Clad IV, B69A8/B69V8, and Macropoxy 646 Fast Cure Epoxy, B58-600 series.

k. Sico, Inc.; Rust-Oleum Zinc-Sele, 9334, and Rust-Oleum H.P. Epoxy, 9100 Series.

l. <Insert manufacturer's name; product name or designation>.

2.17 MORTAR MIXES

A. General: Comply with referenced standards and with manufacturers' written instructions. Do not use admixtures unless otherwise indicated.

Retain one mortar type in "Portland Cement-Lime Setting Mortar" Paragraph below or retain third option and mortar types in following subparagraphs applicable to stone groups selected. Verify selection of type for application indicated. Verify that mortar has lower compressive strength than stone.

B. Portland Cement-Lime Setting Mortar: Comply with ASTM C 270, Proportion Specification, [Type S.] [Type N.] [for types of mortar indicated below:]

1. Set granite with Type S mortar.

2. Set limestone with Type N mortar.

3. Set marble with Type S mortar.

4. Set quartz-based stone with [Type S] [Type N] mortar.

5. Set serpentine with Type S mortar.

6. Set slate with Type S mortar.

7. Set travertine with Type N mortar.

8. Backparge travertine with Type O mortar.

Retain one mortar type in "Pointing Mortar" Paragraph below or retain fourth option if more than one mortar type is required.

C. Pointing Mortar: Comply with ASTM C 270, Proportion Specification, [Type S] [Type N] [Type O] [for types of mortar indicated]. Provide pointing mortar mixed to match Architect's sample and complying with the following:

1. Pigmented Pointing Mortar: Do not exceed pigment-to-cement ratio of 1:10, by weight.

If more than one mortar type is required, retain mortar types in subparagraphs below applicable to stone groups selected. Do not point with mortar stronger than setting mortar; Type S is stronger than Type N, which is stronger than Type O. See Evaluations.

2. Point granite with [Type S] [Type N] mortar.

3. Point limestone with [Type N] [Type O] mortar.

4. Point marble with [Type N] [Type O] mortar.

5. Point quartz-based stone with [Type N] [Type O] mortar.

6. Point serpentine with [Type N] [Type O] mortar.

7. Point slate with Type N mortar.

8. Point travertine with [Type N] [Type O] mortar.

PART 3 -  EXECUTION

3.1 INSTALLING BACKUP STRUCTURE

A. Installing [Steel Trusses] [Strongback Frames] [and] [Miscellaneous Steel Framing]: Comply with AISC 303 and install to accommodate construction tolerances specified.

1. Maintain erection of backup structure within tolerances in AISC 303.

2. For prefabricated units to which stone has been installed before erection, maintain tolerances of stone faces and edges as specified in "Installation Tolerances" Article.

B. Installing Steel Stud Frames: Install to comply with requirements in Section 054000 "Cold-Formed Metal Framing."

1. Install steel stud frames level, plumb, and true to line with no variation in plane or alignment exceeding 1/16 inch (1.5 mm) and no variation in position exceeding 1/8 inch (3 mm).

2. For prefabricated frames to which stone has been installed before erection, maintain tolerances of stone faces and edges as specified in "Installation Tolerances" Article.

3.2 SETTING DIMENSION STONE CLADDING, GENERAL

Retain or revise paragraphs in this article if applicable to Project; delete if not.

A. Coat limestone with dampproofing to extent indicated below:

1. Stone at Grade: Beds, joints, and back surfaces to at least 12 inches (300 mm) above finish-grade elevations.

2. Stone Extending Below Grade: Beds, joints, back surfaces, and face surfaces below grade.

Delete first paragraph below if travertine is not used or if not needed.

B. Parge back of travertine panels with mortar not less than 3/8 inch (10 mm) thick.

C. Execute dimension stone cladding installation by skilled mechanics and employ skilled stone fitters at Project site to do necessary field cutting as stone is set. Use power saws with diamond blades to cut stone.

D. Set stone to comply with requirements indicated. Install anchors, supports, fasteners, and other attachments indicated or necessary to secure dimension stone cladding in place. Shim and adjust anchors, supports, and accessories to set stone accurately in locations indicated, with uniform joints of widths indicated, and with edges and faces aligned according to established relationships and indicated tolerances.

E. Provide expansion, control, and pressure-relieving joints of widths and at locations indicated.

Retain first subparagraph below if sealing joints are not specified in this Section.

1. Sealing expansion and other joints is specified in Section 079200 "Joint Sealants."

Retain subparagraph below if using mortar-set stone.

2. Keep expansion joints free of mortar and other rigid materials.

F. Install concealed flashing at continuous shelf angles, lintels, ledges, and similar obstructions to downward flow of water, to divert water to building exterior. Extend flashing 6 inches (150 mm) at ends and turn up not less than 2 inches (50 mm) to form end dams.

Cavities in paragraph below are recommended; however, authorities having jurisdiction may require space to be grouted solid.

G. Keep cavities open where unfilled space is indicated between back of stone units and backup wall; do not fill cavities with mortar or grout.

1. Place weep holes in joints where moisture may accumulate, including at base of cavity walls and above shelf angles and flashing. Locate weep holes at intervals not exceeding 24 inches (600 mm).

2. Place vents in cavity walls at tops of cavities, below shelf angles and flashing, and at intervals not exceeding 20 feet (6 m) vertically. Locate vents in joints at intervals not exceeding 60 inches (1500 mm) horizontally.

3.3 SETTING MECHANICALLY ANCHORED DIMENSION STONE CLADDING

Retain this article for stone set on framing system or on individual mechanical anchors.

A. Attach anchors securely to stone and to backup surfaces. Comply with recommendations in ASTM C 1242.

B. Provide compressible filler in ends of dowel holes and bottoms of kerfs to prevent end bearing of dowels and anchor tabs on stone. Fill remainder of anchor holes and kerfs with sealant indicated for filling kerfs.

C. Set stone supported on clips or continuous angles on resilient setting shims. Use material of thickness required to maintain uniform joint widths and to prevent point loading of stone on anchors. Hold shims back from face of stone a distance at least equal to width of joint.

3.4 SETTING DIMENSION STONE CLADDING WITH MORTAR

Retain this article for mortar-set stone with mortar- or sealant-pointed joints.

A. Set stone in full bed of mortar with head joints filled unless otherwise indicated.

1. Provide compressible filler in ends of dowel holes and bottoms of kerfs to prevent end bearing of dowels and anchor tabs on stone. Fill remainder of anchor holes and kerfs with mortar.

B. Embed ends of sills in mortar; leave remainder of joint open until final pointing.

Retain first three paragraphs below for joints pointed with mortar.

C. Rake out joints for pointing with mortar to depths of not less than 1/2 inch (12 mm). Rake joints to uniform depths with square bottoms and clean sides.

D. Point stone joints by placing pointing mortar in layers not more than 3/8 inch (10 mm). Compact each layer thoroughly and allow to become thumbprint hard before applying next layer.

E. Tool joints with a round jointer having a diameter 1/8 inch (3 mm) larger than width of joint, when pointing mortar is thumbprint hard.

Retain paragraph below for sealant-pointed joints.

F. Rake out mortar from sealant-pointed joints to depths required for sealant and sealant backing but not less than 1/2 inch (12 mm). Rake joints to uniform depths with square bottoms and clean sides.

3.5 JOINT-SEALANT INSTALLATION

Retain this article for sealant-pointed joints and for sealant joints if sealing joints are specified in this Section.

A. Prepare joints and apply sealants of type and at locations indicated to comply with applicable requirements in Section 079200 "Joint Sealants."

3.6 INSTALLATION TOLERANCES

Tolerances in "Variation from Plumb," "Variation from Level," "Variation of Linear Building Line," "Variation in Joint Width," and "Variation in Plane between Adjacent Stone Units (Lipping)" paragraphs below are more stringent than those published by the Brick Industry Association for unit masonry and are generally appropriate for smooth-finished stone. Some of the tolerances may be stricter than needed for work that is only seen at a great distance, such as on upper floors of high-rise construction. Revise tolerances to suit Project.

A. Variation from Plumb: For vertical lines and surfaces of walls, do not exceed 1/4 inch in 10 feet (6 mm in 3 m), 3/8 inch in 20 feet (10 mm in 6 m), or 1/2 inch in 40 feet (12 mm in 12 m) or more. For external corners, corners and jambs within 20 feet (6 m) of an entrance, expansion joints, and other conspicuous lines, do not exceed 1/8 inch in 10 feet (3 mm in 3 m), 1/4 inch in 20 feet (6 mm in 6 m), or 3/8 inch in 40 feet (10 mm in 12 m) or more.

B. Variation from Level: For lintels, sills, water tables, parapets, horizontal bands, horizontal grooves, and other conspicuous lines, do not exceed 1/8 inch in 10 feet (3 mm in 3 m), 1/4 inch in 20 feet (6 mm in 6 m), or 3/8 inch (10 mm) maximum.

C. Variation of Linear Building Line: For positions shown in plan and related portions of walls and partitions, do not exceed 1/4 inch in 20 feet (6 mm in 6 m) or 1/2 inch in 40 feet (12 mm in 12 m) or more.

D. Variation in Joint Width: Do not vary from average joint width more than plus or minus 1/8 inch (3 mm) or a quarter of nominal joint width, whichever is less. For joints within 60 inches (1500 mm) of each other, do not vary more than 1/8 inch (3 mm) or a quarter of nominal joint width, whichever is less from one to the other.

Revise or delete "Variation in Plane between Adjacent Stone Units (Lipping)" Paragraph below for natural-cleft, thermal, and similar finishes.

E. Variation in Plane between Adjacent Stone Units (Lipping): Do not exceed 1/16-inch (1.5-mm) difference between planes of adjacent units.

3.7 ADJUSTING AND CLEANING

A. In-Progress Cleaning: Clean dimension stone cladding as work progresses.[ Remove mortar fins and smears before tooling joints.] Remove excess sealant and smears as sealant is installed.

Revise "Final Cleaning" Paragraph below if pressure water-cleaning methods are acceptable. Usually delay cleaning as long as possible so construction-related soiling is also removed; six days is minimum for curing mortar and sealants.

B. Final Cleaning: Clean dimension stone cladding no fewer than six days after completion of pointing and sealing, using clean water and stiff-bristle fiber brushes. Do not use wire brushes, acid-type cleaning agents, cleaning agents containing caustic compounds or abrasives, or other materials or methods that could damage stone.

END OF SECTION 044200

	EXTERIOR STONE CLADDING
	044200 - 1



