Copyright 2011 AIA
MasterSpec Professional
11/11

Copyright 2011 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 051200 - STRUCTURAL STEEL FRAMING
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section Includes:

1. Structural steel.

2. Grout.

B. Related Requirements:

Retain subparagraphs below to cross-reference requirements Contractor might expect to find in this Section but are specified in other Sections.

1. Section 051213 "Architecturally Exposed Structural Steel Framing" for additional requirements for architecturally exposed structural steel.

1.2 DEFINITIONS

Retain terms that remain after this Section has been edited for a project.

See Evaluations for information about what items are and are not classified as structural steel in AISC 303.

A. Structural Steel: Elements of the structural frame indicated on Drawings and as described in AISC 303, "Code of Standard Practice for Steel Buildings and Bridges."

1.3 PREINSTALLATION MEETINGS

Retain "Preinstallation Conference" Paragraph below if Work of this Section is extensive or complex enough to justify a conference.

A. Preinstallation Conference: Conduct conference at [Project site] <Insert location>.

1.4 ACTION SUBMITTALS

A. Product Data: For each type of product.

B. LEED Submittals:

1. Product Data for Credit MR 4: For products having recycled content, documentation indicating percentages by weight of postconsumer and preconsumer recycled content. Include statement indicating cost for each product having recycled content.

"Laboratory Test Reports for Credit IEQ 4.2" Subparagraph below applies to LEED for Schools.

2. Laboratory Test Reports for Credit IEQ 4.2: For primers, documentation indicating that products comply with the testing and product requirements of the California Department of Public Health's (formerly, the California Department of Health Services') "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers."

C. Shop Drawings: Show fabrication of structural-steel components.

1.5 INFORMATIONAL SUBMITTALS

Coordinate "Qualification Data" Paragraph below with qualification requirements in Section 014000 "Quality Requirements" and as may be supplemented in "Quality Assurance" Article.

A. Qualification Data: For [Installer] [fabricator] [testing agency].

Retain "Welding certificates" Paragraph below if retaining "Welding Qualifications" Paragraph in "Quality Assurance" Article.

B. Welding certificates.

Coordinate first paragraph below with qualification requirements in Section 014000 "Quality Requirements."

C. Mill test reports for structural steel, including chemical and physical properties.

D. Source quality-control reports.

Retain paragraph below if Contractor is responsible for field quality-control testing and inspecting or special inspections required by IBC.

E. Field quality-control[ and special inspection] reports.

1.6 QUALITY ASSURANCE

Retain "Fabricator Qualifications" Paragraph below if certification or accreditation of fabricator is required. AISC's Category STD is for steel building structures; other categories in fabricator certification program are for bridges. Before retaining option, verify availability of fabricators with IAS accreditation in Project area.

A. Fabricator Qualifications: A qualified fabricator that participates in the AISC Quality Certification Program and is designated an AISC-Certified Plant, Category STD[, or is accredited by the IAS Fabricator Inspection Program for Structural Steel (AC 172)].

Retain "Installer Qualifications" Paragraph below if AISC certification of Installer (Erector) is required. Because this is a recently established program, verify availability of certified erectors.

B. Installer Qualifications: A qualified installer who participates in the AISC Quality Certification Program and is designated an AISC-Certified Erector, Category CSE.

Retain "Welding Qualifications" Paragraph below if shop or field welding is required. If retaining, also retain "Welding certificates" Paragraph in "Informational Submittals" Article.

C. Welding Qualifications: Qualify procedures and personnel according to AWS D1.1/D1.1M, "Structural Welding Code - Steel."

D. Comply with applicable provisions of the following specifications and documents:

Retain references in subparagraphs below if applicable. Insert others to suit Project.

1. AISC 303.

2. AISC 360.

3. RCSC's "Specification for Structural Joints Using ASTM A 325 or A 490 Bolts."

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

2.1 PERFORMANCE REQUIREMENTS

Retain "Connections" Paragraph below if fabricator is responsible for selecting or completing details of structural-steel connections required to withstand specific design loads. AISC 303 requires that connection details be submitted for approval if fabricator selects or completes them. AISC 303 commentary anticipates that an experienced steel detailer, not necessarily a qualified professional engineer, selects and completes connections.

A. Connections: Provide details of simple shear connections required by the Contract Documents to be selected or completed by structural-steel fabricator to withstand loads indicated and comply with other information and restrictions indicated.

Revise subparagraphs below if design of complex connections is delegated to fabricator's qualified professional engineer.

1. Select and complete connections using [schematic details indicated] [and] [AISC 360] <Insert source>.

2. Use [Load and Resistance Factor Design; data are given at factored-load level] [Allowable Stress Design; data are given at service-load level].

B. Moment Connections: [Type PR, partially] [Type FR, fully] restrained.

C. Construction: [Moment frame] [Braced frame] [Shear wall system] [Combined system of moment frame and braced frame] [Combined system of moment frame and shear walls] [Combined system of braced frame and shear walls] [Combined system of moment frame, braced frame, and shear walls].

2.2 STRUCTURAL-STEEL MATERIALS

Retain "Recycled Content of Steel Products" Paragraph below if required for LEED Credit MR 4. USGBC allows a default value of 25 percent to be used for steel, without documentation; higher percentages can be claimed if they are supported by appropriate documentation. The Steel Recycling Institute indicates that hollow structural shapes, pipe, and steel plates typically have 23 percent postconsumer recycled content and 1.5 percent preconsumer recycled content; rolled structural shapes typically have 57.5 percent postconsumer recycled content and 6.5 percent preconsumer recycled content.

A. Recycled Content of Steel Products: Postconsumer recycled content plus one-half of preconsumer recycled content not less than [25] [50] <Insert number> percent.

B. W-Shapes: [ASTM A 992/A 992M] [ASTM A 572/A 572M, Grade 50 (345)].

C. Channels, Angles[, M] [, S]-Shapes: [ASTM A 36/A 36M] [ASTM A 572/A 572M, Grade 50 (345)].

Materials complying with first option in "Plate and Bar" Paragraph below are widely available; those complying with second option are less so.

D. Plate and Bar: [ASTM A 36/A 36M] [ASTM A 572/A 572M, Grade 50 (345)].

E. Cold-Formed Hollow Structural Sections: ASTM A 500/A 500M, [Grade B] [Grade C], structural tubing.

F. Steel Pipe: ASTM A 53/A 53M, Type E or Type S, Grade B.

G. Welding Electrodes: Comply with AWS requirements.

2.3 BOLTS, CONNECTORS, AND ANCHORS

If using bolts in first "High-Strength Bolts, Nuts, and Washers" Paragraph below for some connections and ASTM A 490 (ASTM A 490M) bolts for others, indicate location of each on Drawings.

A. High-Strength Bolts, Nuts, and Washers: ASTM A 325 (ASTM A 325M), Type 1, heavy-hex steel structural bolts; ASTM A 563, Grade C, (ASTM A 563M, Class 8S) heavy-hex carbon-steel nuts; and ASTM F 436 (ASTM F 436M), Type 1, hardened carbon-steel washers; all with plain finish.

Retain "Direct-Tension Indicators" Subparagraph below if applicable.

1. Direct-Tension Indicators: ASTM F 959, Type 325 (ASTM F 959M, Type 8.8), compressible-washer type with plain finish.

If using bolts in "High-Strength Bolts, Nuts, and Washers" Paragraph below for some connections and ASTM A 325 (ASTM A 325M) bolts in "High-Strength Bolts, Nuts, and Washers" Paragraph above for others, indicate location of each on Drawings. Retain option below if applicable.

B. High-Strength Bolts, Nuts, and Washers: ASTM A 490 (ASTM A 490M), Type 1, heavy-hex steel structural bolts[ or tension-control, bolt-nut-washer assemblies with splined ends]; ASTM A 563, Grade DH, (ASTM A 563M, Class 10S) heavy-hex carbon-steel nuts; and ASTM F 436 (ASTM F 436M), Type 1, hardened carbon-steel washers with plain finish.

Retain "Direct-Tension Indicators" Subparagraph below if applicable.

1. Direct-Tension Indicators: ASTM F 959, Type 490 (ASTM F 959M, Type 10.9), compressible-washer type with plain finish.

C. Zinc-Coated High-Strength Bolts, Nuts, and Washers: ASTM A 325 (ASTM A 325M), Type 1, heavy-hex steel structural bolts; ASTM A 563, Grade DH (ASTM A 563M, Class 10S) heavy-hex carbon-steel nuts; and ASTM F 436 (ASTM F 436M), Type 1, hardened carbon-steel washers.

1. Finish: [Hot-dip zinc coating] [Mechanically deposited zinc coating] [Hot-dip or mechanically deposited zinc coating].

2. Direct-Tension Indicators: ASTM F 959, Type 325 (ASTM F 959M, Type 8.8), compressible-washer type with [mechanically deposited zinc coating] [mechanically deposited zinc coating, baked epoxy-coated] finish.

Tension-control (twist-off) bolt assemblies in "Tension-Control, High-Strength Bolt-Nut-Washer Assemblies" Paragraph below correspond to strength of ASTM A 325 (ASTM A 325M) bolts.

D. Tension-Control, High-Strength Bolt-Nut-Washer Assemblies: ASTM F 1852, Type 1, [heavy-hex] [round] head assemblies consisting of steel structural bolts with splined ends, heavy-hex carbon-steel nuts, and hardened carbon-steel washers.

1. Finish: [Plain] [Mechanically deposited zinc coating].

Retain "Shear Connectors" Paragraph below if shop or field welding of shear studs to steel framing is required.

E. Shear Connectors: ASTM A 108, Grades 1015 through 1020, headed-stud type, cold-finished carbon steel; AWS D1.1/D1.1M, Type B.

Retain appropriate materials in "Unheaded Anchor Rods" Paragraph below or revise if other materials are required. AISC uses the generic term "anchor rods" to include unheaded rods and headed bolts and notes that "ASTM F 1554 is the preferred material specification for anchor rods." Verify availability of ASTM F 1554, Grade 55, weldable, before specifying.

F. Unheaded Anchor Rods: [ASTM F 1554, Grade 36] [ASTM F 1554, Grade 55, weldable].

1. Configuration: [Straight] [Hooked].

2. Finish: [Plain] [Hot-dip zinc coating, ASTM A 153/A 153M, Class C] [Mechanically deposited zinc coating, ASTM B 695, Class 50].

Retain appropriate materials in "Headed Anchor Rods" Paragraph below or revise if other materials are required. AISC uses the generic term "anchor rods" to include unheaded rods and headed bolts and notes that "ASTM F 1554 is the preferred material specification for anchor rods." Verify availability of ASTM F 1554, Grade 55, weldable, before specifying.

G. Headed Anchor Rods: [ASTM F 1554, Grade 36] [ASTM F 1554, Grade 55, weldable], straight.

1. Finish: [Plain] [Hot-dip zinc coating, ASTM A 153/A 153M, Class C] [Mechanically deposited zinc coating, ASTM B 695, Class 50].

H. Threaded Rods: [ASTM A 36/A 36M] [ASTM A 193/A 193M, Grade B7].

1. Finish: [Plain] [Hot-dip zinc coating, ASTM A 153/A 153M, Class C] [Mechanically deposited zinc coating, ASTM B 695, Class 50].

I. [Clevises] [and] [Turnbuckles]: Made from cold-finished carbon steel bars, ASTM A 108, Grade 1035.

2.4 PRIMER

Retain "Low-Emitting Materials" Paragraph below if required for LEED for Schools and if primers are fully specified in this Section rather than in the painting Sections.

A. Low-Emitting Materials: Paints and coatings shall comply with the testing and product requirements of the California Department of Public Health's (formerly, the California Department of Health Services') "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers."

Insert proprietary primers if required as part of special coating or painting system. Coordinate primer selection with surface preparation and topcoats, requirements for slip-critical joints, and limitations of sprayed fire-resistive materials. Insert color if required.

B. Primer: Comply with [Section 099113 "Exterior Painting" and Section 099123 "Interior Painting."] [Section 099600 "High-Performance Coatings."] [Section 099113 "Exterior Painting," Section 099123 "Interior Painting," and Section 099600 "High-Performance Coatings."]

Primer in first "Primer" Paragraph below requires SSPC-SP 2 surface preparation or better and 24 hours' drying before recoating. Type II has lower VOC content than Type I.

C. Primer: SSPC-Paint 25, [Type I] [Type II], zinc oxide, alkyd, linseed oil primer.

Verify that fabricator offers primers that meet limitations and characteristics in "Primer" Paragraph below. Fabricator's standard primer requires SSPC-SP 2 surface preparation or better and usually provides minimal protection.

D. Primer: Fabricator's standard lead- and chromate-free, nonasphaltic, rust-inhibiting primer complying with MPI#79 and compatible with topcoat.

2.5 GROUT

Shrinkage-resistant grouts in "Metallic, Shrinkage-Resistant Grout" and "Nonmetallic, Shrinkage-Resistant Grout" paragraphs below have high compressive strength. For critical installations, require grout manufacturer to provide field assistance to Contractor. Retain first paragraph for heavy-duty grouting applications. Do not use in wet areas or on exterior.

A. Metallic, Shrinkage-Resistant Grout: ASTM C 1107/C 1107M, factory-packaged, metallic aggregate grout, mixed with water to consistency suitable for application and a 30-minute working time.

Retain "Nonmetallic, Shrinkage-Resistant Grout" Paragraph below for grouting applications where nonstaining grout is required.

B. Nonmetallic, Shrinkage-Resistant Grout: ASTM C 1107/C 1107M, factory-packaged, nonmetallic aggregate grout, noncorrosive and nonstaining, mixed with water to consistency suitable for application and a 30-minute working time.

2.6 FABRICATION

A. Structural Steel: Fabricate and assemble in shop to greatest extent possible. Fabricate according to AISC 303, "Code of Standard Practice for Steel Buildings and Bridges," and to AISC 360.

Retain "Shear Connectors" Paragraph below if shear connectors are shop installed to structural steel.

B. Shear Connectors: Prepare steel surfaces as recommended by manufacturer of shear connectors. Use automatic end welding of headed-stud shear connectors according to AWS D1.1/D1.1M and manufacturer's written instructions.

2.7 SHOP CONNECTIONS

A. High-Strength Bolts: Shop install high-strength bolts according to RCSC's "Specification for Structural Joints Using ASTM A 325 or A 490 Bolts" for type of bolt and type of joint specified.

RCSC requires that joint types be specified in the Contract Documents for most loading conditions. See Evaluations for a discussion of the joint types in "Joint Type" Subparagraph below, which are the three types RCSC now recognizes. Insert particular bolt pretensioning method for pretensioned or slip-critical joints if required; RCSC states that each type can provide satisfactory results.

1. Joint Type: [Snug tightened] [Pretensioned] [Slip critical].

Retain option in "Weld Connections" Paragraph below for "High-Seismic Applications" as defined in AISC 360.

B. Weld Connections: Comply with AWS D1.1/D1.1M[ and AWS D1.8/D1.8M] for tolerances, appearances, welding procedure specifications, weld quality, and methods used in correcting welding work.

2.8 SHOP PRIMING

Retain this article if shop priming is required.

A. Shop prime steel surfaces except the following:

Retain, revise, or delete any of six subparagraphs below to suit Project.

1. Surfaces embedded in concrete or mortar. Extend priming of partially embedded members to a depth of 2 inches (50 mm).

2. Surfaces to be field welded.

3. Surfaces of high-strength bolted, slip-critical connections.

4. Surfaces to receive sprayed fire-resistive materials (applied fireproofing).

5. Galvanized surfaces.

6. Surfaces enclosed in interior construction.

B. Surface Preparation: Clean surfaces to be painted. Remove loose rust and mill scale and spatter, slag, or flux deposits. Prepare surfaces according to the following specifications and standards:

Retain surface-preparation standards in three subparagraphs below or revise to suit Project. Coordinate minimum surface-preparation requirements with selection of primers, paint, and coating systems. See Evaluations.

Cleaning in first and second subparagraphs below removes loose rust, mill scale, and paint. Cleaning in first subparagraph is minimum surface preparation accepted by AISC for painted steel.

1. SSPC-SP 2, "Hand Tool Cleaning."

2. SSPC-SP 3, "Power Tool Cleaning."

Cleaning in subparagraph below permits tight residues of rust, mill scale, and coatings to remain.

3. SSPC-SP 7/NACE No. 4, "Brush-off Blast Cleaning."

C. Priming: Immediately after surface preparation, apply primer according to manufacturer's written instructions and at rate recommended by SSPC to provide a minimum dry film thickness of 1.5 mils (0.038 mm). Use priming methods that result in full coverage of joints, corners, edges, and exposed surfaces.

2.9 SOURCE QUALITY CONTROL

Retain this article if fabricator's shop testing is required and revise to suit local practices and requirements of authorities having jurisdiction. Consider deleting article if requiring AISC-certified fabricators and if authorities having jurisdiction approve fabrication work without special inspections. Coordinate with "Fabricator Qualifications" Paragraph in "Quality Assurance" Article.

Retain "Testing Agency" Paragraph below if required. Independent certification may be acceptable to authorities having jurisdiction without further monitoring of plant's quality-control and testing program by Owner.

A. Testing Agency: [Owner will engage] [Engage] a qualified testing agency to perform shop tests and inspections.

1. Provide testing agency with access to places where structural-steel work is being fabricated or produced to perform tests and inspections.

RCSC prescribes inspection for snug-tightened joints and testing and inspection for each method of pretensioning joints.

B. Bolted Connections: Inspect[ and test] shop-bolted connections according to RCSC's "Specification for Structural Joints Using ASTM A 325 or A 490 Bolts."

C. Welded Connections: Visually inspect shop-welded connections according to AWS D1.1/D1.1M and the following inspection procedures, at testing agency's option:

Retain applicable nondestructive testing methods in four inspection subparagraphs below. Revise to indicate extent of weld inspections if applicable and to insert alternative acceptance criteria to AWS D1.1/D1.1M if required.

1. Liquid Penetrant Inspection: ASTM E 165.

2. Magnetic Particle Inspection: ASTM E 709; performed on root pass and on finished weld. Cracks or zones of incomplete fusion or penetration are not accepted.

3. Ultrasonic Inspection: ASTM E 164.

4. Radiographic Inspection: ASTM E 94.

D. Prepare test and inspection reports.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Verify, with certified steel erector present, elevations of concrete- and masonry-bearing surfaces and locations of anchor rods, bearing plates, and other embedments for compliance with requirements.

B. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 ERECTION

A. Set structural steel accurately in locations and to elevations indicated and according to AISC 303 and AISC 360.

B. Baseplates [Bearing Plates] [and] [Leveling Plates]: Clean concrete- and masonry-bearing surfaces of bond-reducing materials, and roughen surfaces prior to setting plates. Clean bottom surface of plates.

Revise requirements in subparagraphs below to suit Project.

1. Set plates for structural members on wedges, shims, or setting nuts as required.

2. Weld plate washers to top of baseplate.

3. [Snug-tighten] [Pretension] anchor rods after supported members have been positioned and plumbed. Do not remove wedges or shims but, if protruding, cut off flush with edge of plate before packing with grout.

4. Promptly pack grout solidly between bearing surfaces and plates so no voids remain. Neatly finish exposed surfaces; protect grout and allow to cure.[ Comply with manufacturer's written installation instructions for shrinkage-resistant grouts.]

C. Maintain erection tolerances of structural steel within AISC 303, "Code of Standard Practice for Steel Buildings and Bridges."

3.3 FIELD CONNECTIONS

A. High-Strength Bolts: Install high-strength bolts according to RCSC's "Specification for Structural Joints Using ASTM A 325 or A 490 Bolts" for type of bolt and type of joint specified.

RCSC requires that joint types be specified in the Contract Documents for most loading conditions. See Evaluations for a discussion of the joint types in "Joint Type" Subparagraph below, which are the three types RCSC now recognizes. Insert particular bolt pretensioning method for pretensioned or slip-critical joints if required; RCSC states that each type can provide satisfactory results.

1. Joint Type: [Snug tightened] [Pretensioned] [Slip critical].

Retain option in "Weld Connections" Paragraph below for "High-Seismic Applications" as defined in AISC 360.

B. Weld Connections: Comply with AWS D1.1/D1.1M[ and AWS D1.8/D1.8M] for tolerances, appearances, welding procedure specifications, weld quality, and methods used in correcting welding work.

1. Comply with AISC 303 and AISC 360 for bearing, alignment, adequacy of temporary connections, and removal of paint on surfaces adjacent to field welds.

Retain first subparagraph below if required. Indicate locations if limited to certain areas. AISC 303, "Code of Standard Practice for Steel Buildings and Bridges," permits backing bars and runoff tabs to remain in place.

2. Remove backing bars or runoff tabs[ where indicated], back gouge, and grind steel smooth.

3. Assemble and weld built-up sections by methods that maintain true alignment of axes without exceeding tolerances in AISC 303, "Code of Standard Practice for Steel Buildings and Bridges," for mill material.

3.4 FIELD QUALITY CONTROL

Retain first option in "Special Inspections" Paragraph below if Owner engages special inspector. Consider retaining second option if authorities having jurisdiction allow Contractor to engage special inspector. If retaining second option, retain "Field quality-control( and special inspection) reports" Paragraph in "Informational Submittals" Article. See "Special Inspections" Article in the Evaluations.

A. Special Inspections: [Owner will engage] [Engage] a qualified special inspector to perform the following special inspections:

1. Verify structural-steel materials and inspect steel frame joint details.

2. Verify weld materials and inspect welds.

3. Verify connection materials and inspect high-strength bolted connections.

Retain "Testing Agency" Paragraph below, with or without "Special Inspections" Paragraph above, to identify who shall perform tests and inspections. If retaining second option in "Testing Agency" Paragraph, retain "Field quality-control( and special inspection) reports" Paragraph in "Informational Submittals" Article.

B. Testing Agency: [Owner will engage] [Engage] a qualified testing agency to perform tests and inspections.

RCSC prescribes inspection for snug-tightened joints and testing and inspection for each method of pretensioning joints.

C. Bolted Connections: Inspect[ and test] bolted connections according to RCSC's "Specification for Structural Joints Using ASTM A 325 or A 490 Bolts."

D. Welded Connections: Visually inspect field welds according to AWS D1.1/D1.1M.

Retain subparagraph below if required.

1. In addition to visual inspection, test and inspect field welds according to AWS D1.1/D1.1M and the following inspection procedures, at testing agency's option:

Retain applicable nondestructive testing methods in four inspection subparagraphs below. Revise to indicate extent of weld inspections if applicable and to insert alternative acceptance criteria to AWS D1.1/D1.1M if required.

a. Liquid Penetrant Inspection: ASTM E 165.

b. Magnetic Particle Inspection: ASTM E 709; performed on root pass and on finished weld. Cracks or zones of incomplete fusion or penetration are not accepted.

c. Ultrasonic Inspection: ASTM E 164.

d. Radiographic Inspection: ASTM E 94.

END OF SECTION 051200

	STRUCTURAL STEEL FRAMING
	051200 - 1



