Copyright 2011 AIA
MasterSpec Professional
02/11

Copyright 2011 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 054400 - COLD-FORMED METAL TRUSSES
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section Includes:

1. Cold-formed steel trusses for roofs.

2. Cold-formed steel trusses for floors.

1.2 PREINSTALLATION MEETINGS

A. Preinstallation Conference: Conduct conference at [Project site] <Insert location>.

1.3 ACTION SUBMITTALS

A. Product Data: For each type of product.

B. LEED Submittals:

1. Product Data for Credit MR 4: For products having recycled content, documentation indicating percentages by weight of postconsumer and preconsumer recycled content. Include statement indicating cost for each product having recycled content.

C. Shop Drawings:

1. Include layout, spacings, sizes, thicknesses, and types of cold-formed steel trusses; fabrication; and fastening and anchorage details, including mechanical fasteners.

2. Indicate reinforcing channels, opening framing, supplemental framing, strapping, bracing, bridging, splices, accessories, connection details, and attachment to adjoining work.

Retain "Delegated-Design Submittal" Paragraph below if design services have been delegated to Contractor.

D. Delegated-Design Submittal: For cold-formed steel trusses.

1.4 INFORMATIONAL SUBMITTALS

Coordinate "Qualification Data" Paragraph below with qualification requirements in Section 014000 "Quality Requirements" and as may be supplemented in "Quality Assurance" Article.

A. Qualification Data: For testing agency.

B. Welding certificates.

C. Product test reports.

D. Field quality-control reports.

1.5 QUALITY ASSURANCE

Retain "Testing Agency Qualifications" Paragraph below if Contractor or manufacturer selects testing agency or if Contractor is required to provide services of a qualified testing agency in "Field Quality Control" Article.

A. Testing Agency Qualifications: Qualified according to ASTM E 329 for testing indicated.

Usually retain "Product Tests" Paragraph below. Retain option if permitted. Insert option for testing ductility if required.

B. Product Tests: Mill certificates or data from a qualified testing agency[, or in-house testing with calibrated test equipment,] indicating steel sheet complies with requirements, including base-metal thickness, yield strength, tensile strength, total elongation, chemical requirements, and metallic-coating thickness.

Retain "Welding Qualifications" Paragraph below if shop or field welding is required. If retaining, also retain "Welding certificates" Paragraph in "Informational Submittals" Article.

C. Welding Qualifications: Qualify procedures and personnel according to the following:

1. AWS D1.1/D1.1M, "Structural Welding Code - Steel."

2. AWS D1.3/D1.3M, "Structural Welding Code - Sheet Steel."

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

2.1 MANUFACTURERS

Retain "Manufacturers" Paragraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

A. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

1. Aegis Metal Framing.

2. Genesis Worldwide Inc.

3. Marino/WARE.

4. Nuconsteel, A Nucor Company.

5. Steel Construction Systems.

6. TrusSteel; an ITW company.

7. USA Frametek.

8. <Insert manufacturer's name>.

2.2 PERFORMANCE REQUIREMENTS

Retain "Delegated Design," "Structural Performance," and "Cold-Formed Steel Framing Design Standards" paragraphs below if Contractor is required to assume responsibility for design.

Coordinate this article with other Part 2 articles, deleting prescriptive requirements such as steel thickness and minimum yield strength unless imposing minimum design restrictions. Insert other performance and design criteria below to suit Project or add to Drawings. AIA Document A201 requires Owner or Architect to specify performance and design criteria to be satisfied.

A. Delegated Design: Engage a qualified professional engineer, as defined in Section 014000 "Quality Requirements," to design cold-formed steel framing.

B. Structural Performance: Provide cold-formed steel trusses capable of withstanding design loads within limits and under conditions indicated.

1. Design Loads: [As indicated] <Insert design loads>.

2. Deflection Limits: Design trusses to withstand design loads without deflections greater than the following:

Component deflection limits in subparagraphs below are examples only. Retain deflection limits from applicable subparagraphs or insert other limits as appropriate for floor or ceiling finish materials.

a. Floor Trusses: Vertical deflection of 1/480 for live loads and l/360 for total loads of the span.

b. Roof Trusses: Vertical deflection of [1/240] [1/360] of the span.

c. Scissor Roof Trusses: Horizontal deflection of [1-1/4 inches (32 mm)] <Insert dimension> at reactions.

3. Design framing systems to provide for movement of framing members located outside the insulated building envelope without damage or overstressing, sheathing failure, connection failure, undue strain on fasteners and anchors, or other detrimental effects when subject to a maximum ambient temperature change of 120 deg F (67 deg C).

C. Cold-Formed Steel Framing Design Standards:

Retain subparagraphs below as applicable.

1. Floor and Roof Systems: Design according to AISI S210.

2. Lateral Design: Design according to AISI S213.

3. Roof Trusses: Design according to AISI S214.

Retain "Fire-Resistance Ratings" Paragraph below only if products specified are part of a fire-resistance-rated assembly. Indicate rating, testing agency, and testing agency's design designation on Drawings.

D. Fire-Resistance Ratings: Comply with ASTM E 119; testing by a qualified testing agency. Identify products with appropriate markings of applicable testing agency.

2.3 COLD-FORMED STEEL TRUSS MATERIALS

Retain "Recycled Content of Steel Products" Paragraph below if required for LEED Credit MR 4. USGBC allows a default value of 25 percent to be used for steel, without documentation; higher percentages can be claimed if they are supported by appropriate documentation. The Steel Recycling Institute indicates that steel sheet typically has 23 percent postconsumer recycled content and 1.5 percent preconsumer recycled content.

A. Recycled Content of Steel Products: Postconsumer recycled content plus one-half of preconsumer recycled content not less than [25] <Insert number> percent.

B. Steel Sheet: ASTM A 1003/A 1003M, structural grade, Type H, metallic coated, of grade and coating weight as follows:

Retain minimum grade requirements from options in "Grade" Subparagraph below. If more than one grade is required, indicate location of each on Drawings.

1. Grade: [ST33H (ST230H)] [ST50H (ST340H)] [As required by structural performance] <Insert grade>.

Minimum coating requirement for structural-grade, Type H steel is G60 (Z180) or equivalent. Retain first option in "Coating" Subparagraph below if ASTM A 1003/A 1003M's listing of minimum coating thicknesses is required. This minimum coating designation assumes normal exposure conditions and construction practices. When more severe exposure conditions are probable, for example in coastal areas, consider specifying a heavier coating. Verify availability of heavier-coated steel. If more than one coating is required, indicate location of each on Drawings.

2. Coating: [G60 (Z180), A60 (ZF180), AZ50 (AZ150), or GF30 (ZGF90)] [G90 (Z275) or equivalent] <Insert coating weight>.

2.4 ROOF TRUSSES

Retain "Roof Truss Members" Paragraph below if permitting manufacturer to fabricate trusses from manufacturer's proprietary steel sections. Retain option, usually the exception, if standard C shapes are required.

A. Roof Truss Members: Manufacturer's standard [C-shaped ]steel sections.

Retain one flange width in "Connecting Flange Width" Subparagraph below. Flange widths may vary with application. Flange width in option corresponds to common flange width designator 162.

1. Connecting Flange Width: [1-5/8 inches (41 mm)] <Insert dimension>, minimum at top and bottom chords connecting to sheathing or other directly fastened construction.

Delete remainder of this article if manufacturer designs roof trusses.

Retain one steel thickness in "Minimum Base-Metal Thickness" Subparagraph below or revise to suit Project. Sequence corresponds to common thickness designators 33, 43, 54, 68, and 97 and to obsolete 20-, 18-, 16-, 14-, and 12-gage designations.

2. Minimum Base-Metal Thickness: [0.0329 inch (0.84 mm)] [0.0428 inch (1.09 mm)] [0.0538 inch (1.37 mm)] [0.0677 inch (1.72 mm)] [0.0966 inch (2.45 mm)].

Insert, in "Section Properties" Subparagraph below, calculated section properties for top and bottom chords and each web member. Indicate whether design is based on gross or effective section properties.

3. Section Properties: <Insert minimum allowable calculated section modulus, moment of inertia, and allowable moment>.

2.5 FLOOR TRUSSES

Retain "Floor Truss Members" Paragraph below if permitting manufacturer to fabricate trusses from manufacturer's proprietary steel sections. Retain option, usually the exception, if standard C shapes are required.

A. Floor Truss Members: Manufacturer's standard [C-shaped ]steel sections.

Retain one flange width in "Connecting Flange Width" Subparagraph below. Flange widths may vary with application. Flange width in option corresponds to common flange width designator 162.

1. Connecting Flange Width: [1-5/8 inches (41 mm)] <Insert dimension>, minimum at top and bottom chords connecting to sheathing or other directly fastened construction.

Delete remainder of this article if manufacturer designs floor trusses.

Retain one steel thickness in "Minimum Base-Metal Thickness" Subparagraph below or revise to suit Project. Sequence corresponds to common thickness designators 33, 43, 54, 68, and 97 and to obsolete 20-, 18-, 16-, 14-, and 12-gage designations.

2. Minimum Base-Metal Thickness: [0.0329 inch (0.84 mm)] [0.0428 inch (1.09 mm)] [0.0538 inch (1.37 mm)] [0.0677 inch (1.72 mm)] [0.0966 inch (2.45 mm)].

Insert, in "Section Properties" Subparagraph below, calculated section properties for top and bottom chords and each web member. Indicate whether design is based on gross or effective section properties.

3. Section Properties: <Insert minimum allowable calculated section modulus, moment of inertia, and allowable moment>.

2.6 ACCESSORIES

Revise minimum yield strength of accessories as required.

A. Fabricate steel-framing accessories from steel sheet, ASTM A 1003/A 1003M, structural grade, Type H, metallic coated, of same grade and coating weight used for truss members.

B. Provide accessories of manufacturer's standard thickness and configuration unless otherwise indicated.

2.7 ANCHORS, CLIPS, AND FASTENERS

Retain "Steel Shapes and Clips" Paragraph below if rolled steel shapes and clips are required or are not specified in another Section.

A. Steel Shapes and Clips: ASTM A 36/A 36M, zinc coated by hot-dip process according to ASTM A 123/A 123M.

Retain grade of anchor bolt, head type, and type of protective coating in "Anchor Bolts" Paragraph below. Revise if using high-strength, low-alloy anchor bolts.

B. Anchor Bolts: ASTM F 1554, [Grade 36] [Grade 55], threaded carbon-steel [hex-headed bolts] [headless, hooked bolts] [headless bolts, with encased end threaded,] and carbon-steel nuts; and flat, hardened-steel washers; zinc coated by [hot-dip process according to ASTM A 153/A 153M, Class C] [mechanical deposition according to ASTM B 695, Class 50].

Retain "Expansion Anchors" Paragraph below if expansion anchors are acceptable. Revise as required or insert specific load requirements and names of acceptable products.

C. Expansion Anchors: Fabricated from corrosion-resistant materials, with allowable load or strength design capacities calculated according to ICC-ES AC193 and Appendix D in ACI 318, greater than or equal to the design load, as determined by testing per ASTM E 488 conducted by a qualified testing agency.

Retain "Power-Actuated Fasteners" Paragraph below if power-actuated fasteners are acceptable.

D. Power-Actuated Fasteners: Fastener system of type suitable for application indicated, fabricated from corrosion-resistant materials, with capability to sustain, without failure, allowable load capacities calculated according to ICC-ES AC70, greater than or equal to the design load, as determined by testing per ASTM E 1190 conducted by a qualified testing agency.

E. Mechanical Fasteners: ASTM C 1513, corrosion-resistant-coated, self-drilling, self-tapping steel drill screws.

1. Head Type: Low-profile head beneath sheathing; manufacturer's standard elsewhere.

F. Welding Electrodes: Comply with AWS standards.

2.8 MISCELLANEOUS MATERIALS

A. Galvanizing Repair Paint: [SSPC-Paint 20 or MIL-P-21035B] [ASTM A 780].

B. Shims: Load bearing, of high-density multimonomer plastic, nonleaching; or of cold-formed steel of same grade and coating as framing members supported by shims.

2.9 FABRICATION

A. Fabricate cold-formed steel trusses and accessories plumb, square, and true to line, and with connections securely fastened, according to referenced AISI's specifications and standards, manufacturer's written instructions, and requirements in this Section.

1. Fabricate trusses using jigs or templates.

2. Cut truss members by sawing or shearing; do not torch cut.

3. Fasten cold-formed steel truss members by welding, screw fastening, clinch fastening, pneumatic pin fastening, or riveting as standard with fabricator.

a. Comply with AWS D1.3/D1.3M requirements and procedures for welding, appearance and quality of welds, and methods used in correcting welding work.

4. Fasten other materials to cold-formed steel trusses by welding, bolting, pneumatic pin fastening, or screw fastening, according to Shop Drawings.

B. Reinforce, stiffen, and brace trusses to withstand handling, delivery, and erection stresses. Lift fabricated trusses to prevent damage or permanent distortion.

Revise "Fabrication Tolerances" Paragraph below to suit Project.

C. Fabrication Tolerances: Fabricate assemblies level, plumb, and true to line to a maximum allowable tolerance variation of 1/8 inch in 10 feet (1:960) and as follows:

1. Spacing: Space individual framing members no more than plus or minus 1/8 inch (3 mm) from plan location. Cumulative error shall not exceed minimum fastening requirements of sheathing or other finishing materials.

2. Squareness: Fabricate each cold-formed metal framing assembly to a maximum out-of-square tolerance of 1/8 inch (3 mm).

PART 3 -  EXECUTION

3.1 PREPARATION

Retain two paragraphs below if sprayed fire-resistive materials are required on supporting structural members.

A. Before sprayed fire-resistive materials are applied, attach continuous angles, supplementary framing, or tracks to structural members indicated to receive sprayed fire-resistive materials.

B. After applying sprayed fire-resistive materials, remove only as much of these materials as needed to complete installation of cold-formed steel trusses without reducing thickness of fire-resistive materials below that is required to obtain fire-resistance rating indicated. Protect remaining fire-resistive materials from damage.

3.2 INSTALLATION

A. Install, bridge, and brace cold-formed steel trusses according to AISI S200, AISI S214, AISI's "Code of Standard Practice for Cold-Formed Steel Structural Framing," and manufacturer's written instructions unless more stringent requirements are indicated.

B. Install cold-formed steel trusses and accessories plumb, square, and true to line, and with connections securely fastened.

1. Fasten cold-formed steel trusses by welding or mechanical fasteners.

a. Comply with AWS D1.3/D1.3M requirements and procedures for welding, appearance and quality of welds, and methods used in correcting welding work.

Retain subparagraph below if using mechanical fasteners.

b. Locate mechanical fasteners and install according to Shop Drawings; comply with requirements for spacing, edge distances, and screw penetration.

C. Install temporary bracing and supports. Maintain braces and supports in place, undisturbed, until entire integrated supporting structure has been completed and permanent connections to framing are secured.

Retain applicable option in first "Truss Spacing" Paragraph below for IP spacings and equivalent SI (metric) dimensions.

D. Truss Spacing: [16 inches (406 mm)] [19.2 inches (488 mm)] [24 inches (610 mm)] [32 inches (813 mm)] [48 inches (1220 mm)] [As indicated].

Retain applicable option in "Truss Spacing" Paragraph below if SI (metric) spacings are required.

E. Truss Spacing: [400 mm] [480 mm] [600 mm] [800 mm] [1200 mm].

F. Do not alter, cut, or remove framing members or connections of trusses.

G. Erect trusses with plane of truss webs plumb and parallel to each other, align, and accurately position at spacings indicated.

H. Erect trusses without damaging framing members or connections.

Retain first paragraph below if trusses bear on load-bearing, cold-formed wall framing.

I. Coordinate with wall framing to align webs of bottom chords and load-bearing studs or continuously reinforce track to transfer loads to structure. Anchor trusses securely at all bearing points.

J. Install continuous bridging and permanently brace trusses[ as indicated on Shop Drawings and designed according to CFSEI's TechNote 551e, "Design Guide: Permanent Bracing of Cold-Formed Steel Trusses."][.]

Revise "Erection Tolerances" Paragraph below to suit Project. Coordinate with limitations of subsequent finish materials.

K. Erection Tolerances: Install cold-formed steel framing level, plumb, and true to line to a maximum allowable tolerance variation of 1/8 inch in 10 feet (1:960) and as follows:

1. Space individual trusses no more than plus or minus 1/8 inch (3 mm) from plan location. Cumulative error shall not exceed minimum fastening requirements of sheathing or other finishing materials.

3.3 FIELD QUALITY CONTROL

Retain first option in "Special Inspections" Paragraph below if Owner engages special inspector. Consider retaining second option if authorities having jurisdiction allow Contractor to engage special inspector. If retaining second option, retain "Field quality-control reports" Paragraph in "Informational Submittals" Article.

A. Special Inspections: [Owner will engage] [Engage] a qualified special inspector to perform inspections.

Retain "Testing Agency" Paragraph below, with or without "Special Inspections" Paragraph above, to identify who shall perform tests and inspections. If retaining second option in "Testing Agency" Paragraph, retain "Field quality-control reports" Paragraph in "Informational Submittals" Article.

B. Testing Agency: [Owner will engage] [Engage] a qualified testing agency to perform tests and inspections.

C. Field and shop welds will be subject to testing and inspecting.

D. Prepare test and inspection reports.

3.4 REPAIRS AND PROTECTION

Retain "Galvanizing Repairs" Paragraph below if applicable.

A. Galvanizing Repairs: Prepare and repair damaged galvanized coatings on fabricated and installed cold-formed metal framing with galvanized repair paint according to ASTM A 780 and manufacturer's written instructions.

B. Provide final protection and maintain conditions, in a manner acceptable to manufacturer and Installer, that ensure that cold-formed metal trusses are without damage or deterioration at time of Substantial Completion.

END OF SECTION 054400

	COLD-FORMED METAL TRUSSES
	054400 - 1



