Copyright 2012 AIA
MasterSpec Professional
02/12

Copyright 2012 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 055316 - PLANK GRATINGS
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section includes [formed-metal plank gratings] [and metal frames and supports for gratings].

1.2 ACTION SUBMITTALS

A. Product Data: For the following:

Revise list below to add specific products requiring Product Data.

1. Formed-metal plank gratings.

2. Paint products.

B. LEED Submittals:

1. Product Data for Credit MR 4: For products having recycled content, documentation indicating percentages by weight of postconsumer and preconsumer recycled content. Include statement indicating cost for each product having recycled content.

"Laboratory Test Reports for Credit IEQ 4.2" Subparagraph below applies to LEED for Schools.

2. Laboratory Test Reports for Credit IEQ 4.2: For primers, documentation indicating that products comply with the testing and product requirements of the California Department of Public Health's (formerly, the California Department of Health Services') "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers."

C. Shop Drawings: Include plans, sections, details, and attachments to other work.

Retain "Delegated-Design Submittal" Paragraph below if design services have been delegated to Contractor.

D. Delegated-Design Submittal: For gratings, including [manufacturers' published load tables] [analysis data signed and sealed by the qualified professional engineer responsible for their preparation].

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

2.1 PERFORMANCE REQUIREMENTS

Retain "Delegated Design" Paragraph below if Contractor is required to assume responsibility for design.

A. Delegated Design: Engage a qualified professional engineer, as defined in Section 014000 "Quality Requirements," to design gratings.

B. Structural Performance: Gratings shall withstand the effects of gravity loads and the following loads and stresses within limits and under conditions indicated:

Loads in subparagraphs below are examples based on the International Building Code and ASCE/SEI 7. Verify loads with structural engineer of record.

Two "Floors" subparagraphs below are for light and heavy manufacturing, respectively.

1. Floors: Uniform load of 125 lbf/sq. ft. (6.00 kN/sq. m) or concentrated load of 2000 lbf (8.90 kN), whichever produces the greater stress.

2. Floors: Uniform load of 250 lbf/sq. ft. (11.97 kN/sq. m) or concentrated load of 3000 lbf (13.40 kN), whichever produces the greater stress.

3. Walkways and Elevated Platforms Other Than Exits: Uniform load of 60 lbf/sq. ft. (2.87 kN/sq. m).

4. Walkways and Elevated Platforms Used as Exits: Uniform load of 100 lbf/sq. ft. (4.79 kN/sq. m).

According to the International Building Code and ASCE/SEI 7, other uniform loads with provisions for truck loadings may be considered instead of uniform load in "Sidewalks and Vehicular Driveways, Subject to Trucking" Subparagraph below.

5. Sidewalks and Vehicular Driveways, Subject to Trucking: Uniform load of 250 lbf/sq. ft. (11.97 kN/sq. m) or concentrated load of 8000 lbf (35.60 kN), whichever produces the greater stress.

C. Seismic Performance: Gratings shall withstand the effects of earthquake motions determined according to [ASCE/SEI 7] <Insert requirement>.

1. Component Importance Factor: 1.5.

2.2 FORMED-METAL PLANK GRATINGS

Retain "Manufacturers" Paragraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

A. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Paragraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

B. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

1. Alabama Metal Industries Corporation, a Gibraltar Industries company.

2. Cooper Industries; Cooper B-Line; GS Metals Corp.

3. Fisher & Ludlow; a Nucor company.

4. Grating Pacific, Inc.

5. Harsco Industrial IKG, a division of Harsco Corporation.

6. Morton Manufacturing Company.

7. Unistrut; a part of Atkore International.

8. <Insert manufacturer's name>.

Paragraph below is an example only. Several other types are available. See manufacturers' catalogs and revise to suit Project.

C. C-shaped channels rolled from heavy sheet metal of thickness indicated, and punched in serrated diamond shape to produce raised slip-resistant surface and drainage holes.

Retain "Products" Subparagraph and list of manufacturers and products below to require specific products or a comparable product from other manufacturers.

1. Products: Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Alabama Metal Industries Corporation, a Gibraltar Industries company; Diamond Grip.

b. Cooper Industries; Cooper B-Line; GS Metals Corp; Grip Strut.

c. Fisher & Ludlow; a Nucor company; Grip Span.

d. Harsco Industrial IKG, a division of Harsco Corporation; Deck Span.

e. Morton Manufacturing Company; Grip-Tac.

f. <Insert manufacturer's name; product name or designation>.

2. Channel Width: [4-3/4 inches (121 mm)] [7 inches (178 mm)] [9-1/2 inches (241 mm)] [11-3/4 inches (298 mm)] [18-3/4 inches (476 mm)] [24 inches (610 mm)] [As indicated] [As required to comply with structural performance requirements].

3. Channel Depth: [1-1/2 inches (38 mm)] [2 inches (51 mm)] [2-1/2 inches (64 mm)] [3 inches (76 mm)] [As indicated] [As required to comply with structural performance requirements].

4. Material: [0.074-inch- (1.9-mm-) thick steel sheet, shop primed] [0.104-inch- (2.65-mm-) thick steel sheet, shop primed] [0.079-inch- (2.0-mm-) thick, hot-dip galvanized-steel sheet] [0.108-inch- (2.8-mm-) thick, hot-dip galvanized-steel sheet].

2.3 FERROUS METALS

Retain "Recycled Content of Steel Products" Paragraph below if required for LEED Credit MR 4. The U.S. Green Building Council allows a default value of 25 percent to be used for steel without documentation; higher percentages can be claimed if they are supported by appropriate documentation. The Steel Recycling Institute indicates that hollow structural shapes and steel plates typically have 23 percent postconsumer recycled content and 1.5 percent preconsumer recycled content; rolled structural shapes typically have 57.5 percent postconsumer recycled content and 6.5 percent preconsumer recycled content.

A. Recycled Content of Steel Products: Postconsumer recycled content plus one-half of preconsumer recycled content not less than [25] <Insert number> percent.

B. Steel Plates, Shapes, and Bars: ASTM A 36/A 36M.

C. Uncoated Steel Sheet: ASTM A 1011/A 1011M, structural steel, Grade 30 (Grade 205).

D. Galvanized-Steel Sheet: ASTM A 653/A 653M, structural quality, Grade 33 (Grade 230), with G90 (Z275) coating.

2.4 FASTENERS

Usually retain Type 304 in "General" Paragraph below; retain Type 316 if required for corrosive environments.

A. General: Unless otherwise indicated, provide [Type 304] [Type 316] stainless-steel fasteners for exterior use and zinc-plated fasteners with coating complying with ASTM B 633 or ASTM F 1941 (ASTM F 1941M), Class Fe/Zn 5, at exterior walls. Select fasteners for type, grade, and class required.

If retaining "Post-Installed Anchors" Paragraph below, indicate loads on Drawings and verify safety factors with Project's structural engineer.

B. Post-Installed Anchors: [Torque-controlled expansion anchors] [or] [chemical anchors] capable of sustaining, without failure, a load equal to 6 times the load imposed when installed in unit masonry and 4 times the load imposed when installed in concrete, as determined by testing according to ASTM E 488/E 488M, conducted by a qualified independent testing agency.

2.5 MISCELLANEOUS MATERIALS

Retain "Low-Emitting Materials" Paragraph below if required for LEED for Schools.

A. Low-Emitting Materials: Paints and coatings shall comply with the testing and product requirements of the California Department of Public Health's (formerly, the California Department of Health Services') "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers."

B. Universal Shop Primer: Fast-curing, lead- and chromate-free, universal modified-alkyd primer complying with MPI#79 and compatible with topcoat.

C. Galvanizing Repair Paint: High-zinc-dust-content paint complying with SSPC-Paint 20 and compatible with paints specified to be used over it.

2.6 FABRICATION

A. Cut, drill, and punch material cleanly and accurately. Remove burrs and ease edges to a radius of approximately 1/32 inch (1 mm) unless otherwise indicated. Remove sharp or rough areas on exposed surfaces.

B. Fit exposed connections accurately together to form hairline joints.

C. Fabricate toeplates for attaching in the field.

2.7 GRATING FRAMES AND SUPPORTS

Delete this article if grating is supported by structural steel (see AISC definition) and additional framing is not required.

A. Frames and Supports: Fabricate from metal shapes, plates, and bars of welded construction to sizes, shapes, and profiles indicated and as necessary to receive gratings. Miter and weld connections for perimeter angle frames. Cut, drill, and tap units to receive hardware and similar items.

1. Unless otherwise indicated, fabricate from same basic metal as gratings.

2. Equip units indicated to be cast into concrete or built into masonry with integrally welded anchors. Unless otherwise indicated, space anchors 24 inches (600 mm) o.c. and provide minimum anchor units in the form of steel straps 1-1/4 inches (32 mm) wide by 1/4 inch (6.4 mm) thick by 8 inches (200 mm) long.

B. Galvanize steel frames and supports in the following locations:

1. Exterior.

2. Interior[, where indicated].

2.8 STEEL FINISHES

A. Finish gratings, frames, and supports after assembly.

B. Galvanizing: Hot-dip galvanize items as indicated to comply with ASTM A 153/A 153M for steel and iron hardware and with ASTM A 123/A 123M for other steel and iron products.

C. Shop prime gratings, frames and supports[ not indicated to be galvanized] unless otherwise indicated.

D. Preparation for Shop Priming: Prepare surfaces to comply with [SSPC-SP 6/NACE No. 3, "Commercial Blast Cleaning."] [SSPC-SP 7/NACE No. 4, "Brush-off Blast Cleaning."]

E. Shop Priming: Apply shop primer to comply with SSPC-PA 1, "Shop, Field, and Maintenance Painting of Steel," for shop painting.

PART 3 -  EXECUTION

3.1 INSTALLATION, GENERAL

A. Cutting, Fitting, and Placement: Perform cutting, drilling, and fitting required for installing gratings. Set units accurately in location, alignment, and elevation; measured from established lines and levels and free of rack.

B. Fit exposed connections accurately together to form hairline joints.

Delete subparagraph below if no gratings are installed by welding and no grating frames require field welding.

1. Weld connections that are not to be left as exposed joints but cannot be shop welded because of shipping size limitations. Do not weld, cut, or abrade the surfaces of exterior units that have been hot-dip galvanized after fabrication and are for bolted or screwed field connections.

Delete paragraph below if no toeplates.

C. Attach toeplates to gratings by welding at locations indicated.

3.2 INSTALLING METAL PLANK GRATINGS

A. General: Comply with manufacturer's written instructions for installing gratings. Use manufacturer's standard anchor clips and hold-down devices for bolted connections.

B. Attach removable units to supporting members by bolting at every point of contact.

C. Attach nonremovable units to supporting members by welding unless otherwise indicated. Comply with manufacturer's written instructions for size and spacing of welds.

3.3 ADJUSTING AND CLEANING

A. Touchup Painting: Immediately after erection, clean field welds, bolted connections, and abraded areas of shop paint, and paint exposed areas with same material as used for shop painting to comply with SSPC-PA 1 requirements for touching up shop-painted surfaces.

B. Galvanized Surfaces: Clean field welds, bolted connections, and abraded areas, and repair galvanizing to comply with ASTM A 780/A 780M.

END OF SECTION 055316

	PLANK GRATINGS
	055316 - 1



