Copyright 2012 AIA
MasterSpec Professional
05/12

Copyright 2012 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 077100 - ROOF SPECIALTIES
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section Includes:

1. Copings.

2. Roof-edge specialties.

3. Roof-edge drainage systems.

4. Reglets and counterflashings.

B. Preinstallation Conference: Conduct conference at [Project site] <Insert location>.

1.2 ACTION SUBMITTALS

A. Product Data: For each type of product.

B. LEED Submittals:

1. Product Data for Credit MR 4: For products having recycled content, documentation indicating percentages by weight of postconsumer and preconsumer recycled content. Include statement indicating cost for each product having recycled content.

Retain "Shop Drawings" Paragraph below for Work that involves custom fabrication or if manufacturer's product data are inadequate.

C. Shop Drawings: For roof specialties.

1. Include plans, elevations, expansion-joint locations, keyed details, and attachments to other work. Distinguish between plant- and field-assembled work.

D. Samples: For each type of roof specialty and for each color and texture specified.

1.3 INFORMATIONAL SUBMITTALS

A. Product Test Reports: For tests performed by a qualified testing agency.

B. Sample warranty.

1.4 CLOSEOUT SUBMITTALS

A. Maintenance Data: For roofing specialties to include in maintenance manuals.

1.5 QUALITY ASSURANCE

A. Manufacturer Qualifications: A qualified manufacturer offering products meeting requirements that are [FM Approvals listed for specified class] [and] [SPRI ES-1 tested to specified design pressure].

1.6 WARRANTY

Retain "Roofing-System Warranty" Paragraph below when roof specialties are required to be included in a roofing-membrane manufacturer's system warranty; coordinate with Project roofing-membrane Section.

A. Roofing-System Warranty: Roof specialties are included in warranty provisions in Section <Insert Section number> "<Insert roof Section title>".

Retain "Special Warranty on Painted Finishes" Paragraph below for factory-coated metal. Delete if metal is left uncoated or field finished. Coordinate with finishes retained in Part 2.

B. Special Warranty on Painted Finishes: Manufacturer agrees to repair finish or replace roof specialties that show evidence of deterioration of factory-applied finishes within specified warranty period.

1. Fluoropolymer Finish: Deterioration includes, but is not limited to, the following:

a. Color fading more than 5 Hunter units when tested according to ASTM D 2244.

b. Chalking in excess of a No. 8 rating when tested according to ASTM D 4214.

c. Cracking, checking, peeling, or failure of paint to adhere to bare metal.

Verify available warranties and warranty periods for finishes with manufacturers listed in Part 2 articles. Twenty-year or longer periods are for fluoropolymer finishes and are included with manufacturers' published data; longer periods for premium finishes may be available.

2. Finish Warranty Period: [20] [10] <Insert number> years from date of Substantial Completion.

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

2.1 PERFORMANCE REQUIREMENTS

Retain "Recycled Content of Steel Products" Paragraph below to specify recycled content if applying for LEED Credit MR 4. U.S. Green Building Council allows a default value of 25 percent to be used for steel, without documentation; higher percentages can be claimed if they are supported by appropriate documentation. The Steel Recycling Institute indicates that steel sheet typically has 23 percent postconsumer recycled content and 1.5 percent preconsumer recycled content.

A. Recycled Content of Steel Products: Postconsumer recycled content plus one-half of preconsumer recycled content not less than [25] <Insert number> percent.

Retain "FM Approvals' Listing" Paragraph below if Project is FM Global insured or if FM Approvals' requirements set a minimum quality standard. Coordinate requirements of FM Approvals' classification with other requirements in this Section. Verify availability of copings or roof-edge specialties with these classifications.

B. FM Approvals' Listing: Manufacture and install [copings] [roof-edge specialties] that are listed in FM Approvals' "RoofNav" and approved for windstorm classification, [Class 1-60] [Class 1-75] [Class 1-90] [Class 1-105] [Class 1-120] <Insert class>. Identify materials with FM Approvals' markings.

Retain "SPRI Wind Design Standard" Paragraph below if Project is governed by the International Building Code (IBC) or if SPRI ES-1 sets a minimum quality standard. Coordinate requirements in SPRI ES-1 with other requirements in this Section. Verify availability of copings or roof-edge specialties that meet these requirements. See Evaluations for additional information on SPRI ES-1 testing programs.

C. SPRI Wind Design Standard: Manufacture and install [copings] [roof-edge specialties] tested according to SPRI ES-1 and capable of resisting the following design pressures:

Indicate wind design pressure on Drawings or in "Design Pressure" Subparagraph below. Design pressure is determined by formulas in the IBC or SPRI ES-1, as applicable, that account for basic wind speed, exposure factor, building height, building importance factor, and pressure coefficient that incorporates a gust factor.

1. Design Pressure: [As indicated on Drawings] <Insert design pressure>.

D. Thermal Movements: Allow for thermal movements from ambient and surface temperature changes to prevent buckling, opening of joints, hole elongation, overstressing of components, failure of joint sealants, failure of connections, and other detrimental effects. Provide clips that resist rotation and avoid shear stress as a result of thermal movements. Base calculations on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.

Differential values in "Temperature Change (Range)" Subparagraph below (for aluminum in particular) are suitable for most of the United States.

1. Temperature Change (Range): [120 deg F (67 deg C), ambient; 180 deg F (100 deg C)] <Insert temperature range>, material surfaces.

2.2 COPINGS

A. Metal Copings: Manufactured coping system consisting of metal coping cap in section lengths not exceeding [12 feet (3.6 m)] <Insert dimension>, concealed anchorage; with corner units, end cap units, and concealed splice plates with finish matching coping caps.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Architectural Products Company.

b. ATAS International, Inc.

c. Castle Metal Products.

d. Cheney Flashing Company.

e. Hickman Company, W. P.

f. Merchant & Evans, Inc.

g. Metal-Era, Inc.

h. Metal-Fab Manufacturing, LLC.

i. Perimeter Systems; a division of Southern Aluminum Finishing Company, Inc.

j. Petersen Aluminum Corporation.

k. <Insert manufacturer's name>.

3. Metallic-Coated Steel Sheet Coping Caps: Zinc-coated (galvanized) steel, nominal [0.028-inch (0.71-mm) thickness] [0.034-inch (0.86-mm) thickness] [thickness as required to meet performance requirements] <Insert thickness>.

a. Surface: [Smooth, flat] [Embossed] finish.

b. Finish: [Two-coat fluoropolymer] [Three-coat fluoropolymer] [Two-coat mica fluoropolymer] [Three-coat metallic fluoropolymer] <Insert finish>.

c. Color: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color>.

4. Formed Aluminum Sheet Coping Caps: Aluminum sheet, [0.040 inch (1.02 mm) thick] [0.050 inch (1.27 mm) thick] [0.063 inch (1.60 mm) thick] [thickness as required to meet performance requirements] <Insert thickness>.

a. Surface: [Smooth, flat] [Embossed] finish.

b. Finish: [Mill] [Two-coat fluoropolymer] [Three-coat fluoropolymer] [Two-coat mica fluoropolymer] [Three-coat metallic fluoropolymer] [Clear anodic] [Color anodic] <Insert finish>.

Delete "Color" Subparagraph below for mill and clear anodic finishes. First four options are examples of color anodic finishes and may vary in color range and availability among manufacturers.

c. Color: [Light bronze] [Medium bronze] [Dark bronze] [Black] [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color>.

5. Formed Copper Sheet Coping Caps: Copper sheet, [20 oz./sq. ft. (0.68 mm thick)] [weight (thickness) as required to meet performance requirements] <Insert weight (thickness)>.

a. Copper Finish: [Non-patinated, mill] [Pre-patinated dark brown] [Pre-patinated verdigris] <Insert finish>.

Some manufacturers do not offer first two options in "Corners" Subparagraph below; if required, verify availability with manufacturers.

6. Corners: Factory mitered and [soldered] [continuously welded] [mechanically clinched and sealed watertight].

7. Coping-Cap Attachment Method: [Snap-on] [or] [face leg hooked to continuous cleat with back leg fastener exposed], fabricated from coping-cap material.

Retain "Snap-on Coping Anchor Plates" or "Face-Leg Cleats" Subparagraph below and coordinate with coping-cap attachment method selected.

a. Snap-on Coping Anchor Plates: Concealed, galvanized-steel sheet, 12 inches (300 mm) wide, with integral cleats.

Retain first option in "Face-Leg Cleats" Subparagraph below for anchoring aluminum and galvanized-steel coping caps; retain second for anchoring copper coping caps.

b. Face-Leg Cleats: Concealed, continuous [galvanized-steel sheet] [stainless steel].

2.3 ROOF-EDGE SPECIALTIES

Retain first paragraph below for a two-piece, canted, roof-edge fascia or gravel-stop fascia consisting of a snap-on or compression-clamped metal fascia cover over a metal cant or water dam.

Copy first paragraph below and re-edit for each product.

A. Canted Roof-Edge [Fascia] [and] [Gravel Stop] : Manufactured, two-piece, roof-edge fascia consisting of [snap-on] [compression-clamped] metal fascia cover in section lengths not exceeding [12 feet (3.6 m)] <Insert dimension> and a continuous formed galvanized-steel sheet cant, 0.028 inch (0.71 mm) thick, minimum, with extended vertical leg terminating in a drip-edge cleat. Provide matching corner units.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Architectural Products Company.

b. ATAS International, Inc.

c. Castle Metal Products.

d. Cheney Flashing Company.

e. Hickman Company, W. P.

f. Merchant & Evans, Inc.

g. Metal-Era, Inc.

h. Metal-Fab Manufacturing, LLC.

i. Petersen Aluminum Corporation.

j. <Insert manufacturer's name>.

Retain one of two fascia covers subparagraphs below. Retain thickness of fascia cover that meets performance requirements and has the rigidity to suit Project.

3. Metallic-Coated Steel Sheet Fascia Covers: Zinc-coated (galvanized) steel, nominal [0.028-inch (0.71-mm) thickness] [0.034-inch (0.86-mm) thickness] [thickness as required to meet performance requirements] <Insert thickness>.

a. Surface: [Smooth, flat] [Embossed] finish.

b. Finish: [Two-coat fluoropolymer] [Three-coat fluoropolymer] [Two-coat mica fluoropolymer] [Three-coat metallic fluoropolymer] <Insert finish>.

c. Color: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color>.

4. Formed Aluminum Sheet Fascia Covers: Aluminum sheet, [0.040 inch (1.02 mm) thick] [0.050 inch (1.27 mm) thick] [0.063 inch (1.60 mm) thick] [thickness as required to meet performance requirements] <Insert thickness>.

a. Surface: [Smooth, flat] [Embossed] finish.

b. Finish: [Mill] [Two-coat fluoropolymer] [Three-coat fluoropolymer] [Two-coat mica fluoropolymer] [Three-coat metallic fluoropolymer] [Clear anodic] [Color anodic] <Insert finish>.

Delete "Color" Subparagraph below for mill and clear anodic finishes. First four options are examples of color anodic finishes and may vary in color range and availability among manufacturers.

c. Color: [Light bronze] [Medium bronze] [Dark bronze] [Black] [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color>.

Some manufacturers do not offer first two options in "Corners" Subparagraph below; if required, verify availability with manufacturers.

5. Corners: Factory mitered and [soldered] [continuously welded] [mechanically clinched and sealed watertight].

6. Splice Plates: [Concealed] [Exposed], of same material, finish, and shape as fascia cover.

Scuppers separate from roof-edge specialties are specified in "Roof-Edge Drainage Systems" Article.

7. Fascia Accessories: [Fascia extenders with continuous hold-down cleats] [Wall cap] [Soffit trim] [Overflow scuppers] [Overflow scuppers with perforated screens] [Spillout scuppers] [Downspout scuppers with integral conductor head and downspout adapters] [Downspout scuppers with integral conductor head and downspout adapters and perforated screens] <Insert description>.

Retain "Roof-Edge Fascia" Paragraph below for a two-piece, roof-edge fascia consisting of a snap-on fascia cover over a continuous anchor bar; revise to suit Project.. Receiver typically secures a downturned single-ply roofing membrane and is capable of developing substantial uplift resistance.

B. Roof-Edge Fascia: Manufactured, two-piece, roof-edge fascia consisting of snap-on metal fascia cover in section lengths not exceeding [12 feet (3.6 m)] <Insert dimension> and a continuous metal receiver with integral drip-edge cleat to engage fascia cover [and secure single-ply roof membrane]. Provide matching corner units.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Hickman Company, W. P.

b. Metal-Era, Inc.

c. Metal-Fab Manufacturing, LLC.

d. Perimeter Systems; a division of Southern Aluminum Finishing Company, Inc.

e. <Insert manufacturer's name>.

Retain "Metallic-Coated Steel Sheet Fascia Covers" or "Formed Aluminum Sheet Fascia Covers" Subparagraph below. Retain thickness of fascia cover that meets performance requirements and has the rigidity to suit Project.

3. Metallic-Coated Steel Sheet Fascia Covers: Zinc-coated (galvanized) steel, nominal [0.028-inch (0.71-mm) thickness] [0.034-inch (0.86-mm) thickness] [thickness as required to meet performance requirements] <Insert thickness>.

a. Surface: [Smooth, flat] [Embossed] finish.

b. Finish: [Two-coat fluoropolymer] [Three-coat fluoropolymer] [Two-coat mica fluoropolymer] [Three-coat metallic fluoropolymer] <Insert finish>.

c. Color: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color>.

4. Formed Aluminum Sheet Fascia Covers: Aluminum sheet, [0.040 inch (1.02 mm) thick] [0.050 inch (1.27 mm) thick] [0.063 inch (1.60 mm) thick] [thickness as required to meet performance requirements] <Insert thickness>.

a. Surface: [Smooth, flat] [Embossed] finish.

b. Finish: [Mill] [Two-coat fluoropolymer] [Three-coat fluoropolymer] [Two-coat mica fluoropolymer] [Three-coat metallic fluoropolymer] [Clear anodic] [Color anodic] <Insert finish>.

Delete "Color" Subparagraph below for mill and clear anodic finishes. First four options are examples of color anodic finishes and may vary in color range and availability among manufacturers.

c. Color: [Light bronze] [Medium bronze] [Dark bronze] [Black] [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color>.

Some manufacturers do not offer first two options in "Corners" Subparagraph below; if required, verify availability with manufacturers.

5. Corners: Factory mitered and [soldered] [continuously welded] [mechanically clinched and sealed watertight].

6. Splice Plates: [Concealed] [Exposed], of same material, finish, and shape as fascia cover.

7. Receiver: [Galvanized-steel sheet, nominal 0.040-inch (1.02-mm) thickness] [Aluminum sheet, 0.050 inch (1.27 mm) thick] [Extruded aluminum, 0.080 inch (2.03 mm) thick] [Manufacturer's standard material and thickness].

Scuppers separate from roof-edge specialties are specified in "Roof-Edge Drainage Systems" Article.

8. Fascia Accessories: [Fascia extenders with continuous hold-down cleats] [Wall cap] [Soffit trim] [Overflow scuppers] [Overflow scuppers with perforated screens] [Spillout scuppers] [Downspout scuppers with integral conductor head and downspout adapters] [Downspout scuppers with integral conductor head and downspout adapters and perforated screens] <Insert description>.

Retain "One-Piece Gravel Stops" Paragraph below for a one-piece gravel stop; revise to suit Project. Product configurations vary considerably; revise to suit Project.

C. One-Piece Gravel Stops: Manufactured, one-piece, metal gravel stop in section lengths not exceeding [12 feet (3.6 m)] <Insert dimension>, with a horizontal flange and vertical leg[, drain-through] fascia[ terminating in a drip edge], and concealed splice plates of same material, finish, and shape as gravel stop. Provide matching corner units.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Architectural Products Company.

b. Castle Metal Products.

c. Cheney Flashing Company.

d. Hickman Company, W. P.

e. Metal-Era, Inc.

f. Metal-Fab Manufacturing, LLC.

g. Perimeter Systems; a division of Southern Aluminum Finishing Company, Inc.

h. Petersen Aluminum Corporation.

i. <Insert manufacturer's name>.

Retain one of three metal gravel stops subparagraphs below. Retain thickness of gravel stop that meets performance requirements and has the rigidity to suit Project.

3. Metallic-Coated Steel Sheet Gravel Stops: Zinc-coated (galvanized) steel, nominal [0.028-inch (0.71-mm) thickness] [0.034-inch (0.86-mm) thickness] [thickness as required to meet performance requirements] <Insert thickness>.

a. Surface: [Smooth, flat] [Embossed] finish.

b. Finish: [Two-coat fluoropolymer] [Three-coat fluoropolymer] [Two-coat mica fluoropolymer] [Three-coat metallic fluoropolymer] <Insert finish>.

c. Color: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color>.

4. Formed Aluminum Sheet Gravel Stops: Aluminum sheet, [0.040 inch (1.02 mm) thick] [0.050 inch (1.27 mm) thick] [0.063 inch (1.60 mm) thick] [thickness as required to meet performance requirements] <Insert thickness>.

a. Surface: [Smooth, flat] [Embossed] finish.

b. Finish: [Mill] [Two-coat fluoropolymer] [Three-coat fluoropolymer] [Two-coat mica fluoropolymer] [Three-coat metallic fluoropolymer] [Clear anodic] [Color anodic] <Insert finish>.

Delete "Color" Subparagraph below for mill and clear anodic finishes. First four options are examples of color anodic finishes and may vary in color range and availability among manufacturers.

c. Color: [Light bronze] [Medium bronze] [Dark bronze] [Black] [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color>.

5. Formed Copper Sheet Gravel Stops: Copper sheet, [20 oz./sq. ft. (0.68 mm thick)] [weight (thickness) as required to meet performance requirements] <Insert weight (thickness)>.

a. Copper Finish: [Non-patinated, mill] [Pre-patinated dark brown] [Pre-patinated verdigris] <Insert finish>.

Some manufacturers do not offer first two options in "Corners" Subparagraph below; if required, verify availability with manufacturers.

6. Corners: Factory mitered and [soldered] [continuously welded] [mechanically clinched and sealed watertight].

7. Accessories: [Fascia extenders with continuous hold-down cleats] [Wall cap] [Soffit trim] <Insert description>.

2.4 ROOF-EDGE DRAINAGE SYSTEMS

Retain "Manufacturers" Paragraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

A. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Paragraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

B. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

1. Architectural Products Company.

2. ATAS International, Inc.

3. Berger Building Products, Inc.

4. Castle Metal Products.

5. Cheney Flashing Company.

6. CopperCraft by FABRAL; a Euramax company.

7. Hickman Company, W. P.

8. Merchant & Evans, Inc.

9. Metal-Era, Inc.

10. Metal-Fab Manufacturing, LLC.

11. Perimeter Systems; a division of Southern Aluminum Finishing Company, Inc.

12. <Insert manufacturer's name>.

C. Gutters: Manufactured in uniform section lengths not exceeding [12 feet (3.6 m)] <Insert dimension>, with matching corner units, ends, outlet tubes, and other accessories. Elevate back edge at least 1 inch (25 mm) above front edge. Furnish flat-stock gutter straps, gutter brackets, expansion joints, and expansion-joint covers fabricated from same metal as gutters.

1. Zinc-Coated Steel: Nominal [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] <Insert value> thickness.

2. Aluminum Sheet: [0.032 inch (0.81 mm)] [0.040 inch (1.02 mm)] [0.050 inch (1.27 mm)] [0.063 inch (1.60 mm)] <Insert value> thick.

3. Copper Sheet: [16 oz./sq. ft. (0.55 mm thick)] [20 oz./sq. ft. (0.68 mm thick)] <Insert value>.

Retain "Gutter Profile" Subparagraph below if Drawings do not show cross section or profile in sufficient detail. Most manufactured gutter profiles are rectangular with variations. See SMACNA's "Architectural Sheet Metal Manual" to identify commonly used gutter profiles. See the Evaluations for discussion of highback gutters; verify availability with manufacturers. CopperCraft and perhaps other manufacturers offer the "quarter-round" option.

4. Gutter Profile: [Style A] [Style B] [Style F] [Style G] [Style H] [Style I] [Style K] [Style K highback] [Half-round single bead] [Half-round highback] [Quarter round] [Ogee] [As indicated] <Insert style> according to SMACNA's "Architectural Sheet Metal Manual."

Some manufacturers do not offer first two options in "Corners" Subparagraph below; if required, verify availability with manufacturers.

5. Corners: Factory mitered and [soldered] [continuously welded] [mechanically clinched and sealed watertight].

See SMACNA's "Architectural Sheet Metal Manual" for discussion of gutter brackets, straps, and spikes and ferrules for supporting gutters; see manufacturers' written instructions.

6. Gutter Supports: [Gutter brackets] [Straps] [Spikes and ferrules] [Manufacturer's standard supports as selected by Architect] <Insert description> with finish matching the gutters.

7. Gutter Accessories: [Continuous screened leaf guard with sheet metal frame] [Continuous hinged leaf guard of solid metal designed to shed leaves] [Continuous snap-in plastic leaf guard] [Bronze wire ball downspout strainer] [Wire ball downspout strainer] [Flat ends] [Bullnose ends for half-round gutter] <Insert description>.

D. Downspouts: [Plain round] [Corrugated round] [Plain rectangular] [Corrugated rectangular] [Open-face rectangular] <Insert shape> complete with [machine-crimped] [mitered] [smooth-curve] elbows, manufactured from the following exposed metal. Furnish with metal hangers, from same material as downspouts, and anchors.

1. Zinc-Coated Steel: Nominal [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] <Insert value> thickness.

2. Formed Aluminum: [0.032 inch (0.81 mm)] [0.040 inch (1.02 mm)] [0.050 inch (1.27 mm)] [0.063 inch (1.60 mm)] <Insert value> thick.

3. Copper: [16 oz./sq. ft. (0.55 mm thick)] <Insert value>.

Manufacturers offer a variety of scupper configurations. Parapet scuppers, which are installed in parapet wall, discharge into conductor heads or, as overflow scuppers, merely project through the parapet. Scuppers combined with roof-edge specialties and discharging into gutters or conductor heads are specified in "Roof-Edge Specialties" Article.

E. Parapet Scuppers: Manufactured with closure flange trim to exterior, 4-inch- (100-mm-) wide wall flanges to interior, and base extending 4 inches (100 mm) beyond cant or tapered strip into field of roof.[ Fasten gravel guard angles to base of scuppers.]

1. Zinc-Coated Steel: Nominal [0.028-inch (0.71-mm)] <Insert value> thickness.

2. Formed Aluminum: [0.032 inch (0.81 mm)] <Insert value> thick.

3. Stainless Steel: [0.019 inch (0.48 mm)] <Insert value> thick.

4. Copper: [16 oz./sq. ft. (0.55 mm thick)] <Insert weight (thickness)>.

Manufacturers offer a variety of conductor-head designs. If a highly ornamental conductor head is required, show details on Drawings or insert manufacturer's name and model number as a basis of design.

F. Conductor Heads: Manufactured conductor heads, each with flanged back and stiffened top edge, and of dimensions and shape indicated, complete with outlet tube that nests into upper end of downspout[, exterior flange trim,] [and] [built-in overflow].

1. Zinc-Coated Steel: Nominal [0.028-inch (0.71-mm)] <Insert value> thickness.

2. Formed Aluminum: [0.032 inch (0.81 mm)] <Insert value> thick.

3. Stainless Steel: [0.016 inch (0.40 mm)] <Insert value> thick.

4. Copper: [16 oz./sq. ft. (0.55 mm thick)] <Insert weight (thickness)>.

Retain required finish selection from options in paragraphs below. If retaining more than one finish and color, indicate locations of each on Drawings or by inserting descriptive text.

G. Zinc-Coated Steel Finish: [Two-coat fluoropolymer] [Three-coat fluoropolymer] [Two-coat mica fluoropolymer] [Three-coat metallic fluoropolymer] <Insert finish>.

1. Color: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color>.

H. Aluminum Finish: [Mill] [Two-coat fluoropolymer] [Three-coat fluoropolymer] [Two-coat mica fluoropolymer] [Three-coat metallic fluoropolymer] [Clear anodic] [Color anodic] <Insert finish>.

Delete "Color" Subparagraph below for mill and clear anodic finishes. First four options are examples of color anodic finishes and may vary in color range and availability among manufacturers.

1. Color: [Light bronze] [Medium bronze] [Dark bronze] [Black] [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color>.

I. Copper Finish: [Non-patinated, mill] [Pre-patinated dark brown] [Pre-patinated verdigris] <Insert finish>.

2.5 REGLETS AND COUNTERFLASHINGS

Retain "Manufacturers" Paragraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

A. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Paragraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

B. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

1. Castle Metal Products.

2. Cheney Flashing Company.

3. Fry Reglet Corporation.

4. Heckmann Building Products Inc.

5. Hickman Company, W. P.

6. Keystone Flashing Company, Inc.

7. Metal-Era, Inc.

8. Metal-Fab Manufacturing, LLC.

9. <Insert manufacturer's name>.

C. Reglets: Manufactured units formed to provide secure interlocking of separate reglet and counterflashing pieces, from the following exposed metal:

1. Zinc-Coated Steel: Nominal [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] <Insert value> thickness.

2. Formed Aluminum: [0.024 inch (0.61 mm)] [0.050 inch (1.27 mm)] <Insert value> thick.

3. Stainless Steel: [0.019 inch (0.48 mm)] [0.025 inch (0.64 mm)] <Insert value> thick.

4. Copper: [16 oz./sq. ft. (0.55 mm thick)] <Insert weight (thickness)>.

Some manufacturers do not offer first two options in "Corners" Subparagraph below; if required, verify availability with manufacturers.

5. Corners: Factory mitered and [soldered] [continuously welded] [mechanically clinched and sealed watertight].

Retain one of or more reglet types in five subparagraphs below.

6. Surface-Mounted Type: Provide reglets with slotted holes for fastening to substrate, with neoprene or other suitable weatherproofing washers, and with channel for sealant at top edge.

7. Stucco Type, Embedded: Provide reglets with upturned fastening flange and extension leg of length to match thickness of applied finish materials.

8. Concrete Type, Embedded: Provide temporary closure tape to keep reglet free of concrete materials, special fasteners for attaching reglet to concrete forms, and guides to ensure alignment of reglet section ends.

9. Masonry Type, Embedded: Provide reglets with offset top flange for embedment in masonry mortar joint.

10. Multiuse Type, Embedded: For multiuse embedment in [cast-in-place concrete] [masonry mortar joints].

Coordinate "Counterflashings" Paragraph below with sheet metal through-wall flashing (with snaplock receiver to receive counterflashing), specified in either Section 042000 "Unit Masonry" or Section 076200 "Sheet Metal Flashing and Trim." Revise paragraph if one-piece counterflashings are required; see Evaluations.

D. Counterflashings: Manufactured units of heights to overlap top edges of base flashings by 4 inches (100 mm) and in lengths not exceeding [12 feet (3.6 m)] <Insert dimension> designed to snap into [reglets] [or] [through-wall-flashing receiver] and compress against base flashings with joints lapped, from the following exposed metal:

1. Zinc-Coated Steel: Nominal [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] <Insert value> thickness.

2. Formed Aluminum: [0.024 inch (0.61 mm)] [0.032 inch (0.81 mm)] <Insert value> thick.

3. Stainless Steel: [0.019 inch (0.48 mm)] [0.025 inch (0.64 mm)] <Insert value> thick.

4. Copper: [16 oz./sq. ft. (0.55 mm thick)] <Insert weight (thickness)>.

E. Accessories:

1. Flexible-Flashing Retainer: Provide resilient plastic or rubber accessory to secure flexible flashing in reglet where clearance does not permit use of standard metal counterflashing or where reglet is provided separate from metal counterflashing.

2. Counterflashing Wind-Restraint Clips: Provide clips to be installed before counterflashing to prevent wind uplift of counterflashing lower edge.

Retain required finish selection from options in paragraphs below. If retaining more than one finish and color, indicate locations of each on Drawings or by inserting descriptive text.

F. Zinc-Coated Steel Finish: [Two-coat fluoropolymer] [Three-coat fluoropolymer] [Two-coat mica fluoropolymer] [Three-coat metallic fluoropolymer] <Insert finish>.

1. Color: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color>.

G. Aluminum Finish: [Mill] [Two-coat fluoropolymer] [Three-coat fluoropolymer] [Two-coat mica fluoropolymer] [Three-coat metallic fluoropolymer] [Clear anodic] [Color anodic] <Insert finish>.

Delete "Color" Subparagraph below for mill and clear anodic finishes. First four options are examples of color anodic finishes and may vary in color range and availability among manufacturers.

1. Color: [Light bronze] [Medium bronze] [Dark bronze] [Black] [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color>.

Stainless-steel finishes are often not indicated in manufacturers' catalogs; verify availability with manufacturers before retaining a numbered finish.

H. Stainless-Steel Finish: [No. 2B (bright, cold rolled, unpolished)] [No. 3 (coarse, polished directional satin)] [No. 4 (bright, polished directional satin)] <Insert finish>.

I. Copper Finish: [Non-patinated, mill] [Pre-patinated verdigris] <Insert finish>.

2.6 MATERIALS

A. Zinc-Coated (Galvanized) Steel Sheet: ASTM A 653/A 653M, G90 (Z275) coating designation.

B. Aluminum Sheet: ASTM B 209 (ASTM B 209M), alloy as standard with manufacturer for finish required, with temper to suit forming operations and performance required.

Type 304 stainless steel is standard in manufacturers' literature. Revise "Stainless-Steel Sheet" Paragraph below if Type 316 stainless steel is required; verify availability with manufacturers.

C. Stainless-Steel Sheet: ASTM A 240/A 240M or ASTM A 666, Type 304.

D. Copper Sheet: ASTM B 370, cold-rolled copper sheet, H00 or H01 temper.

2.7 UNDERLAYMENT MATERIALS

Retain applicable paragraphs in this article for roof specialties applied directly over dissimilar metal or corrosive substrates. These underlayments are also used to resist leaks and to provide continuity of building water, air, and vapor barriers.

Self-adhering underlayment in "Self-Adhering, High-Temperature Sheet" Paragraph below is manufactured for high temperatures associated with exposed metals used in roofing applications. Revise if high-temperature underlayment is not required.

A. Self-Adhering, High-Temperature Sheet: Minimum 30 to 40 mils (0.76 to 1.0 mm) thick, consisting of slip-resisting polyethylene-film top surface laminated to layer of butyl or SBS-modified asphalt adhesive, with release-paper backing; cold applied. Provide primer when recommended by underlayment manufacturer.

1. Thermal Stability: ASTM D 1970/D 1970M; stable after testing at 240 deg F (116 deg C).

2. Low-Temperature Flexibility: ASTM D 1970/D 1970M; passes after testing at minus 20 deg F (29 deg C).

Retain "Products" Subparagraph and edit list of manufacturers and products below if required.

3. Products: Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Carlisle Coatings & Waterproofing; CCW WIP 300HT.

b. Grace Construction Products, a unit of W. R. Grace & Co.; [Grace Ice and Water Shield HT] [Ultra].

c. Henry Company; Blueskin PE200 HT.

d. Metal-Fab Manufacturing, LLC; MetShield.

e. Owens Corning; WeatherLock Metal High Temperature Underlayment.

f. <Insert manufacturer's name; product name or designation>.

Type II (No. 30) felt or self-adhering sheet underlayment is generally used over wood blocking or sheathing when air- and moisture-tight construction is not required; verify need with roof-specialty manufacturer.

B. Felt: ASTM D 226/D 226M, Type II (No. 30), asphalt-saturated organic felt, nonperforated.

Slip sheet in "Slip Sheet" Paragraph below is often used over other types of underlayment materials and may be required over a felt underlayment; verify need with roof-specialty manufacturer.

C. Slip Sheet: Rosin-sized building paper, 3-lb/100 sq. ft. (0.16-kg/sq. m) minimum.

2.8 MISCELLANEOUS MATERIALS

A. Fasteners: Manufacturer's recommended fasteners, suitable for application and designed to meet performance requirements. Furnish the following unless otherwise indicated:

Retain applicable subparagraphs below and revise to suit Project.

1. Exposed Penetrating Fasteners: Gasketed screws with hex washer heads matching color of sheet metal.

2. Fasteners for Copper Sheet: Copper, hardware bronze, or passivated Series 300 stainless steel.

3. Fasteners for Aluminum: Aluminum or Series 300 stainless steel.

4. Fasteners for Stainless-Steel Sheet: Series 300 stainless steel.

5. Fasteners for Zinc-Coated (Galvanized) Steel Sheet: Series 300 stainless steel or hot-dip zinc-coated steel according to ASTM A 153/A 153M or ASTM F 2329.

Revise "Elastomeric Sealant" Paragraph below if sealant of specific type, grade, class, and use is required.

B. Elastomeric Sealant: ASTM C 920, elastomeric [polyurethane] [silicone] polymer sealant of type, grade, class, and use classifications required by roofing-specialty manufacturer for each application.

Retain "Butyl Sealant" Paragraph below for concealed sealant use in metal joints with limited movement.

C. Butyl Sealant: ASTM C 1311, single-component, solvent-release butyl rubber sealant; polyisobutylene plasticized; heavy bodied for hooked-type joints with limited movement.

D. Bituminous Coating: Cold-applied asphalt emulsion complying with ASTM D 1187/D 1187M.

E. Asphalt Roofing Cement: ASTM D 4586, asbestos free, of consistency required for application.

Retain "Solder for Copper" Paragraph below if required for copper components; verify availability with manufacturers. If required, retain tin-lead solder option where permitted by authorities having jurisdiction, or insert another specific solder grade (alloy). Insert solders for other metals to suit Project. See "Seaming and Fastening" Article in the Evaluations.

F. Solder for Copper: ASTM B 32, [lead-free solder] [Grade Sn50, 50 percent tin and 50 percent lead] <Insert solder grade>.

2.9 FINISHES

Retain one of or more finish descriptions from four finishes paragraphs below corresponding to finish selections indicated under product descriptions above or on Drawings.

A. Coil-Coated Galvanized-Steel Sheet Finishes:

1. High-Performance Organic Finish: Prepare, pretreat, and apply coating to exposed metal surfaces to comply with ASTM A 755/A 755M and coating and resin manufacturers' written instructions.

a. Two-Coat Fluoropolymer: AAMA 621. Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in color coat.

b. Three-Coat Fluoropolymer: AAMA 621. Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in both color coat and clear topcoat.

c. Two-Coat Mica Fluoropolymer: AAMA 621. Fluoropolymer finish with suspended mica flakes containing not less than 70 percent PVDF resin by weight in color coat.

d. Three-Coat Metallic Fluoropolymer: AAMA 621. Fluoropolymer finish with suspended metallic flakes containing not less than 70 percent PVDF resin by weight in both color coat and clear topcoat.

B. Coil-Coated Aluminum Sheet Finishes:

1. High-Performance Organic Finish: Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

Retain one of or more of four fluoropolymer subparagraphs below if a painted finish is required.

a. Two-Coat Fluoropolymer: AAMA 2605. Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in color coat.

b. Three-Coat Fluoropolymer: AAMA 2605. Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in both color coat and clear topcoat.

c. Two-Coat Mica Fluoropolymer: AAMA 2605. Fluoropolymer finish with suspended mica flakes containing not less than 70 percent PVDF resin by weight in color coat.

d. Three-Coat Metallic Fluoropolymer: AAMA 2605. Fluoropolymer finish with suspended metallic flakes containing not less than 70 percent PVDF resin by weight in both color coat and clear topcoat.

2. Clear Anodic Finish: AAMA 611, [AA-M12C22A41, Class I, 0.018 mm] [AA-M12C22A31, Class II, 0.010 mm] or thicker.

3. Color Anodic Finish: AAMA 611, [AA-M12C22A42/A44, Class I, 0.018 mm] [AA-M12C22A32/A34, Class II, 0.010 mm] or thicker.

C. Copper Sheet Finishes:

1. Non-Patinated Finish: Mill finish.

2. Pre-Patinated Finish: Chemically treated according to ASTM B 882.

PART 3 -  EXECUTION

3.1 UNDERLAYMENT INSTALLATION

Retain "Self-Adhering Sheet Underlayment" or "Felt Underlayment" Paragraph below as required.

A. Self-Adhering Sheet Underlayment: Apply primer if required by manufacturer. Comply with temperature restrictions of underlayment manufacturer for installation. Apply wrinkle free, in shingle fashion to shed water, and with end laps of not less than 6 inches (152 mm) staggered 24 inches (610 mm) between courses. Overlap side edges not less than 3-1/2 inches (90 mm). Roll laps with roller. Cover underlayment within 14 days.

Retain one of or both subparagraphs below.

1. Apply continuously under [copings] [roof-edge specialties] [and] [reglets and counterflashings].

2. Coordinate application of self-adhering sheet underlayment under roof specialties with requirements for continuity with adjacent air barrier materials.

B. Felt Underlayment: Install with adhesive for temporary anchorage to minimize use of mechanical fasteners under roof specialties. Apply in shingle fashion to shed water, with lapped joints of not less than 2 inches (50 mm).

C. Slip Sheet: Install with tape or adhesive for temporary anchorage to minimize use of mechanical fasteners under roof specialties. Apply in shingle fashion to shed water, with lapped joints of not less than 2 inches (50 mm).

3.2 INSTALLATION, GENERAL

A. General: Install roof specialties according to manufacturer's written instructions. Anchor roof specialties securely in place, with provisions for thermal and structural movement. Use fasteners, solder, protective coatings, separators, underlayments, sealants, and other miscellaneous items as required to complete roof-specialty systems.

1. Install roof specialties level, plumb, true to line and elevation; with limited oil-canning and without warping, jogs in alignment, buckling, or tool marks.

2. Provide uniform, neat seams with minimum exposure of solder and sealant.

3. Install roof specialties to fit substrates and to result in weathertight performance. Verify shapes and dimensions of surfaces to be covered before manufacture.

4. Torch cutting of roof specialties is not permitted.

5. Do not use graphite pencils to mark metal surfaces.

B. Metal Protection: Protect metals against galvanic action by separating dissimilar metals from contact with each other or with corrosive substrates by painting contact surfaces with bituminous coating or by other permanent separation as recommended by manufacturer.

1. Coat concealed side of [uncoated aluminum] [and] [stainless-steel] roof specialties with bituminous coating where in contact with wood, ferrous metal, or cementitious construction.

2. Bed flanges in thick coat of asphalt roofing cement where required by manufacturers of roof specialties for waterproof performance.

C. Expansion Provisions: Allow for thermal expansion of exposed roof specialties.

1. Space movement joints at a maximum of [12 feet (3.6 m)] <Insert dimension> with no joints within [18 inches (450 mm)] <Insert dimension> of corners or intersections unless otherwise indicated on Drawings.

2. When ambient temperature at time of installation is between 40 and 70 deg F (4 and 21 deg C), set joint members for 50 percent movement each way. Adjust setting proportionately for installation at higher ambient temperatures.

D. Fastener Sizes: Use fasteners of sizes that penetrate [wood blocking or sheathing not less than 1-1/4 inches (32 mm) for nails and not less than 3/4 inch (19 mm) for wood screws] [substrate not less than recommended by fastener manufacturer to achieve maximum pull-out resistance] <Insert size requirement>.

E. Seal concealed joints with butyl sealant as required by roofing-specialty manufacturer.

F. Seal joints as required for weathertight construction. Place sealant to be completely concealed in joint. Do not install sealants at temperatures below 40 deg F (4 deg C).

Retain "Soldered Joints" Paragraph below if required for copper components; verify with manufacturers.

G. Soldered Joints: Clean surfaces to be soldered, removing oils and foreign matter. Pre-tin edges of sheets to be soldered to a width of 1-1/2 inches (38 mm); however, reduce pre-tinning where pre-tinned surface would show in completed Work. Tin edges of uncoated copper sheets using solder for copper. Do not use torches for soldering. Heat surfaces to receive solder and flow solder into joint. Fill joint completely. Completely remove flux and spatter from exposed surfaces.

3.3 COPING INSTALLATION

A. Install cleats, anchor plates, and other anchoring and attachment accessories and devices with concealed fasteners.

B. Anchor copings with manufacturer's required devices, fasteners, and fastener spacing to meet performance requirements.

Retain first subparagraph below for snap-on-type copings mounted on cleated anchor plates.

1. Interlock face and back leg drip edges of snap-on coping cap into cleated anchor plates anchored to substrate at [30-inch (762-mm) centers] [40-inch (1016-mm) centers] [manufacturer's required spacing that meets performance requirements] <Insert spacing>.

Retain subparagraph below for copings with back leg fasteners exposed.

2. Interlock face-leg drip edge into continuous cleat anchored to substrate at [24-inch (610-mm) centers] [16-inch (406-mm) centers] [manufacturer's required spacing that meets performance requirements] <Insert spacing>. Anchor back leg of coping with screw fasteners and elastomeric washers at [24-inch (610-mm) centers] [16-inch (406-mm) centers] [manufacturer's required spacing that meets performance requirements] <Insert spacing>.

3.4 ROOF-EDGE SPECIALITIES INSTALLATION

Coordinate installation of roof-edge specialties with applicable low-slope roofing Section.

A. Install cleats, cants, and other anchoring and attachment accessories and devices with concealed fasteners.

B. Anchor roof edgings with manufacturer's required devices, fasteners, and fastener spacing to meet performance requirements.

3.5 ROOF-EDGE DRAINAGE-SYSTEM INSTALLATION

A. General: Install components to produce a complete roof-edge drainage system according to manufacturer's written instructions. Coordinate installation of roof perimeter flashing with installation of roof-edge drainage system.

Retain last option in "Gutters" Paragraph below if soldering the joints and ends of copper gutters.

B. Gutters: Join and seal gutter lengths. Allow for thermal expansion. Attach gutters to firmly anchored gutter supports spaced not more than [12 inches (305 mm)] [24 inches (610 mm)] [30 inches (762 mm)] <Insert dimension> apart. Attach ends with rivets and [seal with sealant] [solder] to make watertight. Slope to downspouts.

1. Install gutter with expansion joints at locations indicated but not exceeding [50 feet (15.2 m)] <Insert dimension> apart. Install expansion-joint caps.

2. Install continuous leaf guards on gutters with noncorrosive fasteners, [removable] [hinged to swing open] for cleaning gutters.

C. Downspouts: Join sections with manufacturer's standard telescoping joints. Provide hangers with fasteners designed to hold downspouts securely to walls and 1 inch (25 mm) away from walls; locate fasteners at top and bottom and at approximately [60 inches (1500 mm)] <Insert dimension> o.c.

Retain one of two subparagraphs below.

1. Provide elbows at base of downspouts at grade to direct water away from building.

2. Connect downspouts to underground drainage system indicated.

D. Parapet Scuppers: Install scuppers through parapet where indicated. Continuously support scupper, set to correct elevation, and seal flanges to interior wall face, over cants or tapered edge strips, and under roofing membrane.

E. Conductor Heads: Anchor securely to wall with elevation of conductor top edge 1 inch (25 mm) below [scupper] [gutter] discharge.

3.6 REGLET AND COUNTERFLASHING INSTALLATION

A. Embedded Reglets: See [Section 033000 "Cast-in-Place Concrete"] [and] [Section 042000 "Unit Masonry"] for installation of reglets.

B. Surface-Mounted Reglets: Install reglets to receive flashings where flashing without embedded reglets is indicated on Drawings. Install at height so that inserted counterflashings overlap 4 inches (100 mm) over top edge of base flashings.

C. Counterflashings: Insert counterflashings into reglets or other indicated receivers; ensure that counterflashings overlap 4 inches (100 mm) over top edge of base flashings. Lap counterflashing joints a minimum of 4 inches (100 mm) and bed with butyl sealant. Fit counterflashings tightly to base flashings.

3.7 CLEANING AND PROTECTION

Retain paragraphs below that apply to roof specialties specified for Project. First paragraph below is not applicable to stainless steel or to painted or coated steel and aluminum.

A. Clean exposed metal surfaces of substances that interfere with uniform oxidation and weathering.

B. Clean and neutralize flux materials. Clean off excess solder and sealants.

C. Remove temporary protective coverings and strippable films as roof specialties are installed.

END OF SECTION 077100

	ROOF SPECIALTIES
	077100 - 1



