Copyright 2010 AIA
MasterSpec Professional
08/10

Copyright 2010 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 083213 - SLIDING ALUMINUM-FRAMED GLASS DOORS
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section includes sliding aluminum-framed glass doors for exterior locations.

1.2 PERFORMANCE REQUIREMENTS

A. General: Provide sliding aluminum-framed glass doors capable of complying with performance requirements indicated, based on testing manufacturer's sliding doors that are representative of those specified, and that are of minimum test size required by AAMA/WDMA/CSA 101/I.S.2/A440.

Retain first paragraph below if Architect wants to review structural data as a way to verify doors' compliance with performance designation.

B. Structural Performance: Provide sliding aluminum-framed glass doors capable of withstanding the effects of the following loads, based on testing units representative of those indicated for Project that pass AAMA/WDMA/CSA 101/I.S.2/A440, Uniform Load Structural Test:

1. Design Wind Loads: Determine design wind loads under conditions indicated according to [ASCE/SEI 7] <Insert requirement>.

Retain first four subparagraphs below, applicable to ASCE/SEI 7, if information is not indicated on Drawings.

a. Basic Wind Speed: [85 mph (38 m/s)] [90 mph (40 m/s)] <Insert value>.

b. Importance Factor: <Insert factor>.

c. Exposure Category: [B] [C] [D].

d. <Insert factor>.

2. Deflection Limits: Design glass framing system to limit lateral deflections of glass edges to less than 1/175 of glass-edge length or 3/4 inch (19 mm), whichever is less, at design pressure based on testing performed according to AAMA/WDMA/CSA 101/I.S.2/A440, Uniform Load Deflection Test, or structural computations.

C. Windborne-Debris Resistance: Provide sliding aluminum-framed glass doors capable of resisting impact from windborne debris according to [ASTM E 1886 and testing information in ASTM E 1996] [or] [AAMA 506] <Insert test method> and requirements of authorities having jurisdiction.

D. Thermal Movements: Allow for thermal movements from ambient and surface temperature changes. Base calculations on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.

Differential values in subparagraph below (for aluminum in particular) are suitable for most of the U.S.

1. Temperature Change (Range): [120 deg F (67 deg C), ambient; 180 deg F (100 deg C)] <Insert temperature range>, material surfaces.

1.3 ACTION SUBMITTALS

A. Product Data: For each type of product indicated.

B. Shop Drawings: For sliding aluminum-framed glass doors. Include plans, elevations, sections, details, hardware, attachments to other work, and operational clearances.

Paragraph below assumes manufacturer's standard-size Samples are acceptable. Revise to suit Project.

C. Samples: For each exposed product and for each color and texture specified.

1.4 INFORMATIONAL SUBMITTALS

A. Product test reports.

B. Sample warranty.

1.5 CLOSEOUT SUBMITTALS

A. Maintenance data.

1.6 QUALITY ASSURANCE

A. Installer: A qualified installer, approved by manufacturer to install manufacturer's products.

B. Safety Glass: Category II materials complying with testing requirements in 16 CFR 1201.

C. Glazing Publications: Comply with published recommendations of glass manufacturers and with GANA's "Glazing Manual" unless more stringent requirements are indicated.

1.7 WARRANTY

A. Special Warranty: Manufacturer's standard form in which manufacturer agrees to repair or replace components of sliding aluminum-framed glass doors that fail in materials or workmanship within specified warranty period.

1. Failures include, but are not limited to, the following:

a. Failure to meet performance requirements.

b. Structural failures including excessive deflection.

c. Water leakage or air infiltration.

d. Faulty operation of movable sash and hardware.

e. Deterioration of metals, metal finishes, and other materials beyond normal weathering.

f. Deterioration of insulating glass[ and laminated glass] as defined in Section 088000 "Glazing."

g. <Insert failure modes>.

Verify available warranties and warranty periods for units and components with manufacturers listed in Part 2 articles.

2. Warranty Period:

a. Sliding Door: [Three] [Five] <Insert number> years from date of Substantial Completion.

b. Glazing: [10] [20] <Insert number> years from date of Substantial Completion.

c. Metal Finish: [Five] [10] [15] <Insert number> years from date of Substantial Completion.

PART 2 -  PRODUCTS

2.1 MANUFACTURERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of two paragraphs and list of manufacturers in this article. See Section 016000 "Product Requirements."

A. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

B. Basis-of-Design Product: Subject to compliance with requirements, provide [the product indicated on Drawings] <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

List below contains some manufacturers with national distribution. These manufacturers certify that some of their products comply with AAMA/WDMA performance standards. Retain those that produce types required for Project and verify that products correspond with performance requirements specified and are available and suitable for application. Insert other manufacturers if required.

1. Arcadia Architectural Products, Inc.

2. EFCO Corporation.

3. Fleetwood Aluminum Products, Inc.

4. Graham Architectural Products.

5. Hydro Aluminum North America.

6. Kawneer North America; an Alcoa company.

7. Milgard Windows.

8. MI Windows and Doors, Inc.

9. Peterson Architectural Products.

10. Plaza Door Co., Inc.

11. Thermal Windows, Inc.

12. TRACO.

13. <Insert manufacturer's name>.

2.2 SLIDING DOOR <Insert drawing designation>

Copy this article for each type of sliding aluminum-framed glass door required and re-edit to suit product and Project.

A. AAMA/WDMA/CSA Performance Requirements: Comply with AAMA/WDMA/CSA 101/I.S.2/A440.

1. Performance Class and Grade: R[15] [20] [25] <Insert grade>.

2. Performance Class and Grade: LC[25] [30] [35] <Insert grade>.

3. Performance Class and Grade: C[30] [35] [40] <Insert grade>.

4. Performance Class and Grade: HC[40] [45] [50] <Insert grade>.

5. Performance Class and Grade: AW[40] [45] [50] <Insert grade>.

6. Performance Class and Grade: As indicated.

B. Condensation Resistance: Provide sliding aluminum-framed glass doors with a minimum [CRF when tested according to AAMA 1503] [CR determined according to NFRC 500] of [45] [52] <Insert value>.

C. Thermal Transmittance: Provide sliding aluminum-framed glass doors with a maximum whole fenestration product U-factor indicated, when [tested according to AAMA 1503] [determined according to ASTM E 1423] [determined according to NFRC 100].

Three options in subparagraph below are recommended by the DOE and the EPA for the northern, north- and south-central, and southern zones of the U.S., respectively, and should be coordinated with SHGCs. Verify requirements of authorities having jurisdiction.

1. U-Factor: [0.35] [0.40] [0.65] <Insert value appropriate to system of measure> Btu/sq. ft. x h x deg F (W/sq. m x K).

First and second options in paragraph below are recommended by the DOE and the EPA for the south-central and southern, and north-central zones of the U.S., respectively, and should be coordinated with U-factors.

D. Solar Heat-Gain Coefficient (SHGC): Provide sliding aluminum-framed glass doors with a whole-fenestration product SHGC maximum of [0.40] [0.55] <Insert value>, determined according to NFRC 200.

2.3 GLAZING

A. Glass and Glazing System: Comply with Section 088000 "Glazing" for safety glass, insulating-glass units, laminated glass, and glazing requirements applicable to glazed sliding aluminum-framed glass doors.

Retain paragraph above or both paragraphs below. If retaining above, delete remainder of this article.

B. Glass <Insert drawing designation>: Comply with Section 088000 "Glazing" for requirements applicable to safety glazing, insulating-glass units, and laminated glass units.

Retain one of seven subparagraphs below.

1. Clear, insulating-glass units.

2. Clear, insulating-glass units, with low-E coating pyrolytic on second surface or sputtered on second or third surface.

3. Clear, insulating-glass units, argon gas filled, with low-E coating pyrolytic on second surface or sputtered on second or third surface.

4. Clear, insulating-glass units; outer lite consisting of laminated glass unit with PVB interlayer for windborne-debris resistance.

5. Clear, insulating-glass units, with low-E coating pyrolytic on second surface or sputtered on second or third surface; outer lite consisting of laminated glass unit with PVB interlayer for windborne-debris resistance.

6. Monolithic laminated glass unit, with PVB interlayer, complying with windborne-debris resistance.

7. <Insert glass type, description, and performance requirements>.

C. Glazing System: [Manufacturer's standard factory-glazing system that produces weathertight seal.] [Manufacturer's standard factory-glazing system that produces weathertight seal and complies with requirements for windborne-debris resistance.] [Manufacturer's standard factory-glazing system as indicated in Section 088000 "Glazing."] <Insert glazing requirements.>

2.4 INSECT SCREENS

A. General: Locate screens on the [inside] [outside] of door and provide for each operable door panel. Comply with SMA 1201.

B. Insect Screen Frames: Manufacturer's standard [extruded-aluminum] [or] [formed-tubular-aluminum] members.

Retain one of three subparagraphs below.

1. Finish: [Anodized aluminum] [Baked-on organic coating] in manufacturer's standard color.

2. Finish: [Anodized aluminum] [Baked-on organic coating] in color selected by Architect from manufacturer's full range.

3. Finish: Manufacturer's standard.

Retain one of two paragraphs below or insert another. Glass-fiber mesh is standard with most manufacturers. Usually retain first option in first paragraph for most locations; second option is suitable for areas plagued by small insects such as no-see-ums and is also suitable for use as a solar screen that blocks up to 65 percent of incident solar heat and glare.

C. Glass-Fiber Mesh Fabric: ASTM D 3656, [18-by-14 or 18-by-16] [20-by-20 or 20-by-30] count per sq. in. (645-sq. mm) mesh of PVC-coated, glass-fiber threads; woven and fused to form a fabric mesh resistant to corrosion, shrinkage, stretch, impact damage, and weather deterioration.

1. Mesh Color: [Charcoal gray] [Silver gray] <Insert color>.

D. Aluminum Wire Fabric: 18-by-16 count per sq. in. (645-sq. mm) mesh of 0.011-inch- (0.28-mm-) diameter, coated aluminum wire.

1. Wire-Fabric Finish: [Natural bright] [Charcoal gray] [Black].

2.5 FABRICATION

A. Fabricate sliding aluminum-framed glass doors that are reglazable without dismantling panel framing.

B. Weep Holes: Provide weep holes and internal drainage passages to conduct infiltrating water to exterior.

2.6 ALUMINUM FINISHES

Retain one of two options in first paragraph below. Class II finish is standard with many manufacturers; Class I finish is heavy anodized and may be unavailable. Verify availability with manufacturers.

A. Clear Anodic Finish: AAMA 611, [AA-M12C22A41, Class I, 0.018 mm] [AA-M12C22A31, Class II, 0.010 mm] or thicker.

Retain one of two options in first paragraph below. Verify availability with manufacturers.

B. Color Anodic Finish: AAMA 611, [AA-M12C22A42/A44, Class I, 0.018 mm] [AA-M12C22A32/A34, Class II, 0.010 mm] or thicker.

1. Color: [Light bronze] [Medium bronze] [Dark bronze] [Black] <Insert color>.

Options in subparagraph above are examples only and may vary in color range and availability among manufacturers; retain one, or delete all and retain one of two options in subparagraph below.

2. Color: [Match Architect's sample] [As selected by Architect from full range of industry colors and color densities].

First paragraph below references AAMA standard for pigmented organic coating on extrusions and panels.

C. Baked-Enamel or Powder-Coat Finish: AAMA 2603 except with a minimum dry film thickness of 1.5 mils (0.04 mm). Comply with coating manufacturer's written instructions for cleaning, conversion coating, and applying and baking finish.

1. Color and Gloss: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and gloss>.

Retain AAMA 2604 or AAMA 2605 for high- or superior-performance organic coatings, respectively, on extrusions and panels.

D. High-Performance Organic Finish: Two-coat fluoropolymer finish complying with [AAMA 2604] [AAMA 2605] and containing not less than [50] [70] percent PVDF resin by weight in color coat. Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

1. Color and Gloss: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and gloss>.

E. High-Performance Organic Finish: [Three] [Four]-coat fluoropolymer finish complying with AAMA 2605 and containing not less than [50] [70] percent PVDF resin by weight in both color coat and clear topcoat. Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturers' written instructions.

1. Color and Gloss: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and gloss>.

PART 3 -  EXECUTION

3.1 INSTALLATION

A. Comply with Drawings, Shop Drawings, and manufacturer's written instructions for installing doors, hardware, accessories, and other components.

B. Install sliding aluminum-framed glass doors level, plumb, square, true to line, without distortion, warp or rack of frames and panels, or impeding thermal movement, anchored securely in place to structural support, and in proper relation to wall flashing, vapor retarders, air barriers, water/weather barriers, and other adjacent construction.

C. Set sill members in bed of sealant or with gaskets, as indicated, to provide weathertight construction.

D. Install sliding aluminum-framed glass doors and components to drain condensation, water penetrating joints, and moisture migrating within doors to the exterior.

E. Separate aluminum and other corrodible surfaces from sources of corrosion or electrolytic action at points of contact with other materials according to ASTM E 2112, Section 5.12 "Dissimilar Materials."

F. Lubricate hardware and moving parts.

G. Adjust operating panels and screens to provide a tight fit at contact points and weather stripping for smooth operation, without binding, and a weathertight closure.

H. Adjust hardware for proper alignment, smooth operation, and proper latching without unnecessary force or excessive clearance.

I. Clean aluminum surfaces immediately after installing sliding doors. Comply with manufacturer's written recommendations for final cleaning and maintenance. Avoid damaging protective coatings and finishes. Remove nonpermanent labels, and clean surfaces.

J. Clean glass immediately after installing sliding aluminum-framed glass doors. Comply with manufacturer's written recommendations for final cleaning and maintenance. Remove nonpermanent labels and clean surfaces.

K. Remove and replace glass that has been broken, chipped, cracked, abraded, or damaged during construction period.

L. Protect sliding door surfaces from contact with contaminating substances resulting from construction operations. During construction, monitor sliding door surfaces adjacent to and below exterior concrete and masonry surfaces for presence of dirt, scum, alkaline deposits, stains, or other contaminants. If contaminating substances do contact sliding door surfaces, remove contaminants immediately according to manufacturer's written instructions.

M. Refinish or replace sliding aluminum-framed glass doors with damaged finishes.

N. Replace damaged components.

END OF SECTION 083213

	SLIDING ALUMINUM-FRAMED GLASS DOORS
	083213 - 1



