Copyright 2012 AIA
MasterSpec Professional
02/12

Copyright 2012 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 084213 - ALUMINUM-FRAMED ENTRANCES
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section Includes:

1. Exterior manual-swing entrance doors and door-frame units.

2. Interior manual-swing entrance doors and door-frame units.

3. Sidelights.

4. Transoms.

1.2 PREINSTALLATION MEETINGS

A. Preinstallation Conference: Conduct conference at [Project site] <Insert location>.

1.3 ACTION SUBMITTALS

A. Product Data: For each type of product.

B. LEED Submittals:

"Product Data for Credit IEQ 4.1" Subparagraph below applies to LEED-NC, LEED-CI, and LEED-CS; coordinate with requirements for adhesives and sealants.

1. Product Data for Credit IEQ 4.1: For glazing sealants used inside the weatherproofing system, documentation including printed statement of VOC content.

"Laboratory Test Reports for Credit IEQ 4.1" Subparagraph below applies to LEED for Schools.

2. Laboratory Test Reports for Credit IEQ 4.1: For glazing sealants used inside the weatherproofing system, documentation indicating that products comply with the testing and product requirements of the California Department of Public Health's "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers."

C. Shop Drawings: Include plans, elevations, sections, full-size details, and attachments to other work.

1. Show connection to and continuity with adjacent thermal, weather, air, and vapor barriers.

D. Samples: For each exposed finish required.

E. Entrance Door Hardware Schedule: Prepared by or under supervision of supplier, detailing fabrication and assembly of entrance door hardware, as well as procedures and diagrams.

1.4 INFORMATIONAL SUBMITTALS

A. Energy Performance Certificates: NFRC-certified energy performance values for each aluminum-framed entrance.

B. Product test reports.

C. Field quality-control reports.

D. Sample warranties.

1.5 CLOSEOUT SUBMITTALS

A. Maintenance data.

1.6 QUALITY ASSURANCE

A. Installer Qualifications: An entity that employs installers and supervisors who are trained and approved by manufacturer.

Retain "Testing Agency Qualifications" Paragraph below if Contractor selects testing agency or if Contractor is required to provide services of a qualified testing agency in "Field Quality Control" Article.

B. Testing Agency Qualifications: Qualified according to ASTM E 699 for testing indicated[ and accredited by IAS or ILAC Mutual Recognition Arrangement as complying with ISO/IEC 17025].

1.7 WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this article are not less than remedies available to Owner under prevailing local laws.

A. Special Warranty: [Manufacturer] [Installer] agrees to repair or replace components of aluminum-framed entrances that do not comply with requirements or that fail in materials or workmanship within specified warranty period.

Verify available warranties and warranty periods for aluminum-framed entrances.

1. Warranty Period: [Two] [Five] [10] <Insert number> years from date of Substantial Completion.

B. Special Finish Warranty: Standard form in which manufacturer agrees to repair finishes or replace aluminum that shows evidence of deterioration of factory-applied finishes within specified warranty period.

Coordinate "Warranty Period" Subparagraph below with "Aluminum Finishes" Article. AAMA 2604 is intended to represent five years of performance; AAMA 2605 is intended to represent 10 years of performance. Verify available warranties and warranty periods for finishes.

1. Warranty Period: [Five] [10] [20] <Insert number> years from date of Substantial Completion.

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

2.1 PERFORMANCE REQUIREMENTS

A. General Performance: Comply with performance requirements specified, as determined by testing of aluminum-framed entrances representing those indicated for this Project without failure due to defective manufacture, fabrication, installation, or other defects in construction.

B. Structural Loads:

Usually indicate on Drawings design loads determined by Project's structural engineer. Verify requirements of authorities having jurisdiction. See Evaluations for additional information.

1. Wind Loads: As indicated on Drawings.

2. Other Design Loads: [As indicated on Drawings] <Insert loads>.

ASTM E 330 test method evaluates structural performance of aluminum-framed entrances and not structural performance of contiguous construction.

C. Structural: Test according to ASTM E 330 as follows:

1. When tested at positive and negative wind-load design pressures, assemblies do not evidence deflection exceeding specified limits.

2. When tested at [150] <Insert number> percent of positive and negative wind-load design pressures, assemblies, including anchorage, do not evidence material failures, structural distress, or permanent deformation of main framing members exceeding [0.2] <Insert number> percent of span.

Minimum test duration according to ASTM E 330 is 10 seconds, which is historically U.S. practice.

3. Test Durations: As required by design wind velocity, but not less than [10] <Insert number> seconds.

D. Air Infiltration: Test according to ASTM E 283 for infiltration as follows:

1. Entrance Doors:

Retain first option in "Pair of Doors" Subparagraph below for maximum air-leakage rate based on ASHRAE 90.1.

a. Pair of Doors: Maximum air leakage of [1.0 cfm/sq. ft. (5.08 L/s per sq. m)] <Insert value> at a static-air-pressure differential of 1.57 lbf/sq. ft. (75 Pa).

b. Single Doors: Maximum air leakage of [0.5 cfm/sq. ft. (2.54 L/s per sq. m)] <Insert value> at a static-air-pressure differential of 1.57 lbf/sq. ft. (75 Pa).

Retain "Water Penetration under Static Pressure" Paragraph below for static-pressure method, which is most frequently specified. For water-penetration tests, AAMA 501 states that a static-air-pressure differential of 20 percent of wind-load design pressure provides satisfactory performance in most parts of the U.S. Locations where high winds and heavy rains occur simultaneously require higher test-pressure differences.

E. Water Penetration under Static Pressure: Test according to ASTM E 331 as follows:

1. No evidence of water penetration through fixed glazing and framing areas when tested according to a minimum static-air-pressure differential of 20 percent of positive wind-load design pressure, but not less than [6.24 lbf/sq. ft. (300 Pa)] [10 lbf/sq. ft. (480 Pa)] [15 lbf/sq. ft. (720 Pa)] <Insert value>.

The IECC and ASHRAE/IES 90.1 require that all fenestration be certified and labeled by manufacturer for energy performance, based on ratings established by NFRC. Verify which manufacturers have tested aluminum-framed entrances and can demonstrate compliance with NFRC. Verify requirements of authorities having jurisdiction.

F. Energy Performance: Certify and label energy performance according to NFRC as follows:

Primary energy performance requirements usually include thermal transmittance (U-factor), solar heat gain coefficient, and air infiltration. Options in subparagraphs below are examples only; revise values to suit climate zone of building envelope as defined by the IECC. Testing for visible light transmittance (VT) is specified in Section 088000 "Glazing."

1. Thermal Transmittance (U-factor): Fixed glazing and framing areas shall have U-factor of not more than [0.45 Btu/sq. ft. x h x deg F (2.55 W/sq. m x K)] [0.57 Btu/sq. ft. x h x deg F (3.23 W/sq. m x K)] [0.69 Btu/sq. ft. x h x deg F (3.92 W/sq. m x K)] <Insert value> as determined according to NFRC 100.

2. Solar Heat Gain Coefficient: Fixed glazing and framing areas shall have a solar heat gain coefficient of no greater than [0.35] [0.40] [0.45] <Insert value> as determined according to NFRC 200.

3. Condensation Resistance: Fixed glazing and framing areas shall have an NFRC-certified condensation resistance rating of no less than [15] [25] [35] [45] <Insert value> as determined according to NFRC 500.

Retain "Windborne-Debris Impact Resistance" Paragraph below for windborne-debris-impact-resistance performance if required by Project. The IBC establishes criteria for buildings in hurricane-prone locations. Verify requirements of authorities having jurisdiction.

G. Windborne-Debris Impact Resistance: Pass missile-impact and cyclic-pressure tests when tested according to ASTM E 1886 and testing information in ASTM E 1996 for [Wind Zone 1] [Wind Zone 2] [Wind Zone 3] [Wind Zone 4].

1. Large-Missile Test: For glazed openings located within 30 feet (9.1 m) of grade.

H. Thermal Movements: Allow for thermal movements resulting from ambient and surface temperature changes:

Differential values in "Temperature Change" Subparagraph below (for aluminum in particular) are suitable for most of the U.S.

1. Temperature Change: 120 deg F (67 deg C), ambient; 180 deg F (100 deg C), material surfaces.

2.2 MANUFACTURERS

Retain "Manufacturers" Paragraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

A. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Paragraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

B. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

1. Arcadia, Inc.

2. Arch Aluminum & Glass Co., Inc.

3. CMI Architectural.

4. Commercial Architectural Products, Inc.

5. EFCO Corporation.

6. Kawneer North America.

7. Leed Himmel Industries, Inc.

8. Oldcastle BuildingEnvelope.

9. Pittco Architectural Metals, Inc.

10. TRACO.

11. Tubelite.

12. United States Aluminum.

13. YKK AP America Inc.

14. <Insert manufacturer's name>.

2.3 ENTRANCE DOOR SYSTEMS

A. Entrance Doors: Manufacturer's standard glazed entrance doors for manual-swing operation.

1. Door Construction: [1-3/4-inch (44.5-mm) overall thickness, with minimum 0.125-inch- (3.2-mm-)] [2-inch (50.8-mm) overall thickness, with minimum 0.188-inch- (4.8-mm-)] [2- to 2-1/4-inch (50.8- to 57.2-mm) overall thickness, with minimum 0.125-inch- (3.2-mm-)] thick, extruded-aluminum tubular rail and stile members. Mechanically fasten corners with reinforcing brackets that are deeply penetrated and fillet welded or that incorporate concealed tie rods.

Retain "Thermal Construction" Subparagraph below if retaining last option in "Door Construction" Subparagraph above.

a. Thermal Construction: [High-performance plastic connectors separate aluminum members exposed to the exterior from members exposed to the interior] <Insert description>.

Coordinate entrance door design in "Door Design" Subparagraph below with hardware requirements. Narrow-stile doors may not accommodate some exit devices.

2. Door Design: [As indicated] [Narrow stile; 2-1/8-inch (54-mm) nominal width] [Medium stile; 3-1/2-inch (88.9-mm) nominal width] [Wide stile; 5-inch (127-mm) nominal width] <Insert description>.

3. Glazing Stops and Gaskets: [Beveled] [Square] <Insert description>, snap-on, extruded-aluminum stops and preformed gaskets.

Retain subparagraph below if required. Glazing stops are typically removable from both sides.

a. Provide nonremovable glazing stops on outside of door.

Retain "Framing Members" Paragraph below for door, sidelight, and transom frames.

B. Framing Members: Manufacturer's standard extruded aluminum, minimum 0.125 inch (3.2 mm) thick and reinforced as required to support imposed loads.

1. Nominal Size: [1-3/4 by 4-1/2 inches (45 by 115 mm)] [1-3/4 by 6 inches (45 by 150 mm)] [As indicated on Drawings] <Insert nominal size>.

C. Backer Plates: Manufacturer's standard, continuous backer plates for framing members, if not integral, where framing abuts adjacent construction.

D. Brackets and Reinforcements: Manufacturer's standard high-strength aluminum with nonstaining, nonferrous shims for aligning system components.

E. Materials:

1. Aluminum: Alloy and temper recommended by manufacturer for type of use and finish indicated.

a. Sheet and Plate: ASTM B 209 (ASTM B 209M).

b. Extruded Bars, Rods, Profiles, and Tubes: ASTM B 221 (ASTM B 221M).

c. Extruded Structural Pipe and Tubes: ASTM B 429/B 429M.

d. Structural Profiles: ASTM B 308/B 308M.

Retain "Steel Reinforcement" Subparagraph below for internal steel reinforcement of aluminum framing members; revise to suit Project.

2. Steel Reinforcement: Manufacturer's standard zinc-rich, corrosion-resistant primer complying with SSPC-PS Guide No. 12.00; applied immediately after surface preparation and pretreatment. Select surface preparation methods according to recommendations in SSPC-SP COM, and prepare surfaces according to applicable SSPC standard.

a. Structural Shapes, Plates, and Bars: ASTM A 36/A 36M.

b. Cold-Rolled Sheet and Strip: ASTM A 1008/A 1008M.

c. Hot-Rolled Sheet and Strip: ASTM A 1011/A 1011M.

2.4 ENTRANCE DOOR HARDWARE

Before retaining hardware, verify accessible entrance, means-of-egress doorway, and other requirements of authorities having jurisdiction.

Delete "Entrance Door Hardware" Paragraph below if all entrance door hardware is specified in this Section. See "Entrance Door Hardware" Article in the Evaluations for discussion of appropriate methods for specifying entrance door hardware.

A. Entrance Door Hardware: Hardware not specified in this Section is specified in [Section 087100 "Door Hardware."] [Section 087111 "Door Hardware (Descriptive Specification)."]

B. General: Provide entrance door hardware[ and entrance door hardware sets indicated in door and frame schedule][ and entrance door hardware sets indicated in "Entrance Door Hardware Sets" Article] for each entrance door to comply with requirements in this Section.

Retain one of three options in "Entrance Door Hardware Sets" Subparagraph below to coordinate with "Entrance Door Hardware Sets" Article.

1. Entrance Door Hardware Sets: Provide quantity, item, size, finish or color indicated, and [named manufacturers' products] [products equivalent in function and comparable in quality to named products] [products complying with BHMA standard referenced].

2. Sequence of Operation: Provide electrified door hardware function, sequence of operation, and interface with other building control systems indicated.

3. Opening-Force Requirements:

"Egress Doors" Subparagraph below is based on requirements of both the IBC and NFPA 101 for means-of-egress doors. Option is a requirement of NFPA 101 only.

a. Egress Doors: Not more than 15 lbf (67 N) to release the latch and not more than 30 lbf (133 N)to set the door in motion[ and not more than 15 lbf (67 N) to open the door to its minimum required width].

"Accessible Interior Doors" Subparagraph below is based on ADA-ABA Accessibility Guidelines.

b. Accessible Interior Doors: Not more than 5 lbf (22.2 N) to fully open door.

C. Designations: Requirements for design, grade, function, finish, size, and other distinctive qualities of each type of entrance door hardware are indicated in "Entrance Door Hardware Sets" Article. Products are identified by using entrance door hardware designations as follows:

Retain "Named Manufacturers' Products" or "References to BHMA Standards" Subparagraph below.

1. Named Manufacturers' Products: Manufacturer and product designation are listed for each door hardware type required for the purpose of establishing minimum requirements. Manufacturers' names are abbreviated in "Entrance Door Hardware Sets" Article.

Retain "References to BHMA Standards" Subparagraph below for a nonproprietary specification based on referencing BHMA standards, with or without naming available manufacturers.

2. References to BHMA Standards: Provide products complying with these standards and requirements for description, quality, and function.

Delete descriptive requirements in remaining paragraphs, including references to BHMA standards, if the applicable characteristics are determined by naming manufacturer's products in "Entrance Door Hardware Sets" Article. For products specified only by reference to a BHMA standard or by describing characteristics, insert specific type and function requirements in "Entrance Door Hardware Sets" Article.

D. Pivot Hinges: BHMA A156.4, Grade 1.

Retain "Offset-Pivot Hinges" Subparagraph below unless "Entrance Door Hardware Sets" Article is revised to include hanging device quantities. For offset pivots, three-per-door leaf is common for doors subject to heavy traffic, doors more than 84 inches (2134 mm) tall, and doors glazed with insulating glass. For light-traffic doors glazed with monolithic glass, consider removing the intermediate pivot.

1. Offset-Pivot Hinges: Provide top, bottom, and intermediate offset pivots at each door leaf.

E. Butt Hinges: BHMA A156.1, Grade 1, radius corner.

1. Nonremovable Pins: Provide set screw in hinge barrel that, when tightened into a groove in hinge pin, prevents removal of pin while entrance door is closed.

2. Exterior Hinges: [Stainless steel, with stainless-steel pin] [Nonferrous] <Insert material>.

Retain "Quantities" Subparagraph below unless "Entrance Door Hardware Sets" Article is revised to include hanging device quantities.

3. Quantities:

a. For doors up to [87 inches (2210 mm)] <Insert dimension> high, provide three hinges per leaf.

b. For doors more than [87 and up to 120 inches (2210 and up to 3048 mm)] <Insert dimensions> high, provide four hinges per leaf.

F. Continuous-Gear Hinges: Manufacturer's standard with stainless-steel bearings between knuckles, fabricated to full height of door and frame.

G. Mortise Auxiliary Locks: BHMA A156.5, Grade 1.

Building codes prohibit manual flush bolts at means-of-egress doors.

H. Manual Flush Bolts: BHMA A156.16, Grade 1.

I. Automatic and Self-Latching Flush Bolts: BHMA A156.3, Grade 1.

J. Panic Exit Devices: BHMA A156.3, Grade 1, listed and labeled by a testing and inspecting agency acceptable to authorities having jurisdiction, for panic protection, based on testing according to UL 305.

If panic exit devices are specified by reference only to BHMA A156.3, type and function requirements must be fully described in "Entrance Door Hardware Sets" Article.

Retain first or second option in "Cylinders" Paragraph below to allow keying for aluminum-framed entrances to be coordinated with building keying system.

K. Cylinders: [As specified in Section 087100 "Door Hardware."] [As specified in Section 087111 "Door Hardware (Descriptive Specification)."] [BHMA A156.5, Grade 1.]

Retain "Keying" Subparagraph below if cylinders are specified in this Section.

1. Keying: [No master] [Master] key system. Permanently inscribe each key with a visual key control number and include notation ["DO NOT DUPLICATE"] [to be furnished by Owner].

L. Strikes: Provide strike with black-plastic dust box for each latch or lock bolt; fabricated for aluminum framing.

M. Operating Trim: BHMA A156.6.

N. Removable Mullions: BHMA A156.3, extruded aluminum.

1. When used with panic exit devices, provide removable mullions listed and labeled by a testing and inspecting agency acceptable to authorities having jurisdiction, for panic protection, based on testing according to UL 305. Use only mullions that have been tested with exit devices to be used.

O. Closers: BHMA A156.4, Grade 1, with accessories required for a complete installation, sized as required by door size, exposure to weather, and anticipated frequency of use; adjustable to comply with field conditions and requirements for opening force.

P. Concealed Overhead Holders: BHMA A156.8, Grade 1.

Q. Surface-Mounted Holders: BHMA A156.16, Grade 1.

R. Door Stops: BHMA A156.16, Grade 1, floor or wall mounted, as appropriate for door location indicated, with integral rubber bumper.

S. Weather Stripping: Manufacturer's standard replaceable components.

T. Weather Sweeps: Manufacturer's standard exterior-door bottom sweep with concealed fasteners on mounting strip.

U. Silencers: BHMA A156.16, Grade 1.

"Thresholds" Paragraph below is based on ADA-ABA Accessibility Guidelines requirements for egress doors.

V. Thresholds: BHMA A156.21, raised thresholds beveled with a slope of not more than 1:2, with maximum height of 1/2 inch (12.7 mm).

Retain "Finger Guards" Paragraph below for entrance doors with center pivots.

W. Finger Guards: Manufacturer's standard collapsible neoprene or PVC gasket anchored to frame hinge-jamb at center-pivoted doors.

2.5 GLAZING

A. Glazing: Comply with Section 088000 "Glazing."

B. Glazing Gaskets: Manufacturer's standard sealed-corner pressure-glazing system of black, resilient elastomeric glazing gaskets, setting blocks, and shims or spacers.

C. Glazing Sealants: As recommended by manufacturer.

Retain first paragraph below if required for LEED-NC, LEED-CI, or LEED-CS Credit IEQ 4.1. VOC content limit is that for architectural sealants.

D. Sealants used inside the weatherproofing system shall have a VOC content of [250] <Insert value> g/L.

Retain paragraph below if required for LEED for Schools Credit IEQ 4.1.

E. Sealants used inside the weatherproofing system shall comply with the testing and product requirements of the California Department of Public Health's "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers."

2.6 FABRICATION

A. Form or extrude aluminum shapes before finishing.

B. Weld in concealed locations to greatest extent possible to minimize distortion or discoloration of finish. Remove weld spatter and welding oxides from exposed surfaces by descaling or grinding.

C. Fabricate components that, when assembled, have the following characteristics:

1. Profiles that are sharp, straight, and free of defects or deformations.

2. Accurately fitted joints with ends coped or mitered.

3. Physical and thermal isolation of glazing from framing members.

4. Accommodations for thermal and mechanical movements of glazing and framing to maintain required glazing edge clearances.

5. Fasteners, anchors, and connection devices that are concealed from view to greatest extent possible.

D. Entrance Door Frames: Reinforce as required to support loads imposed by door operation and for installing entrance door hardware.

E. Entrance Doors: Reinforce doors as required for installing entrance door hardware.

F. Entrance Door Hardware Installation: Factory install entrance door hardware to the greatest extent possible. Cut, drill, and tap for factory-installed entrance door hardware before applying finishes.

G. After fabrication, clearly mark components to identify their locations in Project according to Shop Drawings.

2.7 ALUMINUM FINISHES

Retain finishes in paragraphs below to suit Project. If retaining more than one, indicate location of each on Drawings or by inserts.

Retain one of two options in "Clear Anodic Finish" Paragraph below. Verify availability with manufacturers.

A. Clear Anodic Finish: AAMA 611, [AA-M12C22A41, Class I, 0.018 mm] [AA-M12C22A31, Class II, 0.010 mm] or thicker.

Retain one of two options in "Color Anodic Finish" Paragraph below. Verify availability with manufacturers.

B. Color Anodic Finish: AAMA 611, [AA-M12C22A42/A44, Class I, 0.018 mm] [AA-M12C22A32/A34, Class II, 0.010 mm] or thicker.

1. Color: [Light bronze] [Medium bronze] [Dark bronze] [Champagne] [Black] <Insert color>.

Options in "Color" Subparagraph above are examples only and may vary in color range and availability among manufacturers. Retain one or delete all above and retain one of two options in "Color" Subparagraph below.

2. Color: [Match Architect's sample] [As selected by Architect from full range of industry colors and color densities].

"Baked-Enamel or Powder-Coat Finish" Paragraph below references AAMA standard for pigmented organic coating on extrusions and panels.

C. Baked-Enamel or Powder-Coat Finish: AAMA 2603 except with a minimum dry film thickness of 1.5 mils (0.04 mm).

1. Color and Gloss: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and gloss>.

Retain one of two "High-Performance Organic Finish" paragraphs below; if both are required, indicate location of each system on Drawings, in schedules, or by inserts. Retain AAMA 2604 or AAMA 2605 for high- or superior-performance organic coatings, respectively, on extrusions and panels. If specific products are required, name coating manufacturers and products.

D. High-Performance Organic Finish: Two-coat fluoropolymer finish complying with [AAMA 2604] [AAMA 2605] and containing not less than [50] [70] percent [PVDF] [or] [FEVE] resin by weight in color coat.

1. Color and Gloss: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and gloss>.

E. High-Performance Organic Finish: [Three] [Four]-coat fluoropolymer finish complying with AAMA 2605 and containing not less than [50] [70] percent [PVDF] [or] [FEVE] resin by weight in both color coat and clear topcoat.

1. Color and Gloss: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and gloss>.

PART 3 -  EXECUTION

3.1 INSTALLATION

A. General:

1. Comply with manufacturer's written instructions.

2. Do not install damaged components.

3. Fit joints to produce hairline joints free of burrs and distortion.

4. Rigidly secure nonmovement joints.

5. Install anchors with separators and isolators to prevent metal corrosion and electrolytic deterioration and to prevent impeding movement of moving joints.

6. Seal perimeter and other joints watertight unless otherwise indicated.

B. Metal Protection:

1. Where aluminum is in contact with dissimilar metals, protect against galvanic action by painting contact surfaces with materials recommended by manufacturer for this purpose or installing nonconductive spacers.

2. Where aluminum is in contact with concrete or masonry, protect against corrosion by painting contact surfaces with bituminous paint.

Coordinate first paragraph below with manufacturers' written recommendations.

C. Set continuous sill members and flashing in full sealant bed as specified in Section 079200 "Joint Sealants" to produce weathertight installation.

D. Install components plumb and true in alignment with established lines and grades.

E. Install glazing as specified in Section 088000 "Glazing."

F. Entrance Doors: Install doors to produce smooth operation and tight fit at contact points.

1. Exterior Doors: Install to produce weathertight enclosure and tight fit at weather stripping.

Indicate entrance door hardware mounting heights on Drawings or insert in "Field-Installed Entrance Door Hardware" Subparagraph below.

2. Field-Installed Entrance Door Hardware: Install surface-mounted entrance door hardware according to entrance door hardware manufacturers' written instructions using concealed fasteners to greatest extent possible.

3.2 FIELD QUALITY CONTROL

Retain this article for testing of aluminum-framed entrances during installation or for testing of field mockups.

A. Testing Agency: [Owner will engage] [Engage] a qualified testing agency to perform tests and inspections.

B. Field Quality-Control Testing: Perform the following test on aluminum-framed entrances.

Inexpensive test in "Water-Spray Test" Subparagraph below tests for deficiencies in workmanship only and is not representative of a wind-driven rain event.

1. Water-Spray Test: Before installation of interior finishes has begun, areas designated by Architect shall be tested according to AAMA 501.2 and shall not evidence water penetration.

See Section 014000 "Quality Requirements" for retesting and reinspecting requirements and Section 017300 "Execution" for requirements for correcting the Work.

C. Aluminum-framed entrances will be considered defective if they do not pass tests and inspections.

D. Prepare test and inspection reports.

3.3 ENTRANCE DOOR HARDWARE SETS

Delete this article if entrance door hardware set schedule is included on the Drawings.

Create a schedule to include a door hardware set for each unique door hardware configuration required for the Project. Identify each set with a unique number designation. Coordinate with "Entrance Door Hardware" Article. Insert schedule below.

See "Entrance Door Hardware" Article in the Evaluations for additional information.

END OF SECTION 084213

	ALUMINUM-FRAMED ENTRANCES
	084213 - 1



