Copyright 2011 AIA
MasterSpec Professional
08/11

Copyright 2011 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 084226 - ALL-GLASS ENTRANCES
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section Includes:

1. [Interior] [Exterior] [Interior and exterior] swinging all-glass entrance doors.

2. All-glass [sidelights] [and] [transoms].

1.2 PREINSTALLATION MEETINGS

A. Preinstallation Conference: Conduct conference at [Project site] <Insert location>.

1.3 ACTION SUBMITTALS

A. Product Data: For each type of product.

B. Shop Drawings: For all-glass entrances.

1. Include plans, elevations, and sections.

2. Include details of fittings and glazing, including isometric drawings of [patch fittings] [and] [rail fittings] <Insert fittings>.

3. Door hardware locations, mounting heights, and installation requirements.

C. Samples: For each type of exposed finish indicated.

D. Entrance Door Hardware Schedule: Prepared by or under supervision of supplier, detailing fabrication and assembly of entrance door hardware, as well as procedures and diagrams.

1.4 INFORMATIONAL SUBMITTALS

A. Product test reports.

B. Sample Warranty: For special warranty.

1.5 CLOSEOUT SUBMITTALS

A. Maintenance data.

1.6 QUALITY ASSURANCE

A. Installer Qualifications: Manufacturer's authorized representative who is trained and approved for installation of units required for this Project.

1.7 WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this article are not less than remedies available to Owner under prevailing local laws.

A. Special Warranty: [Manufacturer] [Installer] agrees to repair or replace components of all-glass systems that do not comply with requirements or that fail in materials or workmanship within specified warranty period.

1. Warranty Period: [Two] <Insert number> years from date of Substantial Completion[.][, except as follows:]

Retain "Concealed Floor Closers" Subparagraph below for manual-swinging, all-glass entrance doors; revise to suit Project.

a. Concealed Floor Closers: [Five] [10] [25] <Insert number> years from date of Substantial Completion.

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

2.1 PERFORMANCE REQUIREMENTS

A. Comply with performance requirements specified, as determined by testing of all-glass entrances representing those indicated for this Project without failure due to defective manufacture, fabrication, installation, or other defects in construction.

B. Structural Loads:

Usually indicate on Drawings design loads determined by Project's structural engineer. Verify requirements of authorities having jurisdiction. See Evaluations for additional information.

1. Wind Loads: As indicated on Drawings.

2. Other Design Loads: [As indicated on Drawings] <Insert loads>.

Retain "Deflection Limits" Subparagraph below for deflection limits and revise to suit Project. GANA's "Fully Tempered Heavy Glass Door and Entrance Systems Design Guide" recommends deflection to be limited to 1 inch (25 mm). Recommendations by manufacturers for deflection limits may vary. Consult manufacturers for additional information based on Project-specific requirements.

3. Deflection Limits: Deflection normal to glazing plane is limited to [1 inch (25 mm)] [1/175 of clear span or 3/4 inch (19 mm), whichever is smaller] <Insert deflection limit>.

C. Thermal Movements: Allow for thermal movements resulting from ambient and surface temperature changes.

Differential values in "Temperature Change" Subparagraph below (for aluminum in particular) are suitable for most of the U.S.

1. Temperature Change: 120 deg F (67 deg C), ambient; 180 deg F (100 deg C), material surfaces.

2.2 MANUFACTURERS

Retain "Manufacturers" Paragraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

A. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Paragraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

B. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

1. Alpha Door & Rail, Inc.

2. Arch Aluminum & Glass Co., Inc.

3. Avanti Systems, Inc.

4. Blumcraft of Pittsburgh; C.R. Laurence Co, Inc.

5. Doralco Architectural Metals.

6. Oldcastle BuildingEnvelope.

7. Virginia Glass Products Corporation.

8. Vitro America .

9. <Insert manufacturer's name>.

2.3 METAL COMPONENTS

A. Fitting Configuration:

1. Manual-Swinging, All-Glass Entrance Doors [Sidelights] [and] [Transoms]: [Patch fittings at head and sill on pivot side only] [Patch fittings at head and sill on pivot side, and for lock at sill of swing side] [Patch fitting at top and continuous rail fitting at bottom] [Continuous rail fitting at top and bottom] <Insert fitting configuration>.

B. Patch Fittings: [Aluminum] [Bronze-clad aluminum] [Brass-clad aluminum] [Stainless-steel-clad aluminum].

C. Rail Fittings:

1. Material: [Match patch-fitting metal and finish] [Aluminum] [Bronze-clad aluminum] [Brass-clad aluminum] [Stainless-steel-clad aluminum].

2. Height:

a. Top Rail: [3-1/2 inches (89 mm)] [As indicated] <Insert dimension>.

b. Bottom Rail: [3-1/2 inches (89 mm)] [10 inches (255 mm)] [As indicated] <Insert dimension>.

3. Profile: [Tapered] [Tapered flat] [Tapered at 60 degrees minimum from the horizontal] [Square] [Curved] [As indicated] <Insert profile>.

4. End Caps: Manufacturer's standard precision-fit end caps for rail fittings.

D. Accessory Fittings: Match [patch-fitting] [rail-fitting] [patch- and rail-fitting] metal and finish for the following:

1. Overhead doorstop.

2. Center-housing lock.

E. Anchors and Fastenings: Concealed.

Retain "Weather Stripping" Paragraph below for exterior all-glass entrance doors.

F. Weather Stripping: Pile type; replaceable without removing all-glass entrance doors from pivots.

G. Materials:

1. Aluminum: ASTM B 221 (ASTM B 221M), with strength and durability characteristics of not less than Alloy 6063-T5.

a. Color: [Light bronze] [Medium bronze] [Dark bronze] [Black] [Match Architect's sample] [As selected by Architect from full range of industry colors and color densities] <Insert color>.

2. Bronze Cladding: ASTM B 36/B 36M, alloy [as standard with manufacturer] <Insert requirements>.

a. Finish: [Mirror polish] [Satin polish] [Satin oxidized oil rub] [Clear baked enamel] [Match Architect's sample] [As selected by Architect from full range of industry finishes] <Insert finish>.

3. Brass Cladding: ASTM B 36/B 36M, alloy [as standard with manufacturer] <Insert requirements>.

a. Finish: [Polished] [Satin] [As selected by Architect from full range of industry finishes] <Insert finish>.

4. Stainless-Steel Cladding: ASTM A 666, Type 304.

a. Finish: [No. 4 directional satin finish] [No. 8 mirrorlike reflective, nondirectional polish] <Insert finish>.

2.4 GLASS

A. Glass: ASTM C 1048, Kind FT (fully tempered), Condition A (uncoated surfaces), Type I (transparent), tested for surface and edge compression per ASTM C 1048 and for impact strength per 16 CFR 1201 for Category II materials.

If retaining both "Class 1" and "Class 2" subparagraphs below, indicate locations of each glass type on Drawings or by inserts. Generally, clear glass is used for interior vestibules, tinted glass for exterior locations.

Verify thickness required for glass areas; 3/8-inch- (10-mm-) thick glass is available in limited sizes.

1. Class 1: Clear monolithic.

a. Thickness: [3/8 inch (10 mm)] [1/2 inch (13 mm)] [5/8 inch (16 mm)] [3/4 inch (19 mm)].

b. Locations: [As indicated] <Insert locations>.

2. Class 2: Tinted monolithic.

a. Color: [Gray] [Bronze] <Insert color>.

b. Thickness: [3/8 inch (10 mm)] [1/2 inch (13 mm)].

c. Locations: [As indicated] <Insert locations>.

Insert performance properties in "Visible Light Transmittance," "Solar Heat Gain Coefficient," and "Outdoor Visible Reflectance" subparagraphs below to suit Project.

d. Visible Light Transmittance: <Insert number> percent minimum.

e. Solar Heat Gain Coefficient: <Insert value> maximum.

f. Outdoor Visible Reflectance: <Insert number> percent maximum.

Retain "Exposed Edges" Subparagraph below for exposed edges of all-glass entrance doors and sidelights.

3. Exposed Edges: Machine ground and flat polished.

Retain "Butt Edges" Subparagraph below for butting glass edges.

4. Butt Edges: Flat ground.

Retain "Corner Edges" Subparagraph below if lap-joint corners are required to suit Project. Revise for mitered corner edges if needed.

5. Corner Edges: Lap-joint corners with exposed edges polished.

2.5 ENTRANCE DOOR HARDWARE

A. General: Heavy-duty entrance door hardware units in sizes, quantities, and types recommended by manufacturer for all-glass entrance systems indicated. For exposed parts, match metal and finish of [patch fittings] [and] [rail fittings].

B. Concealed Floor Closers and Top Pivots: Center hung; BHMA A156.4, Grade 1; including cases, bottom arms, top walking beam pivots, plates, and accessories required for complete installation.

1. Swing: [Single] [Double] acting.

Retain "Positive Dead Stop" Subparagraph below for single-acting closers.

a. Positive Dead Stop: Coordinated with hold-open angle if any, or at angle selected.

2. Hold Open: [Automatic, at angle selected] [Selective] [None].

3. Opening-Force Requirements:

"Egress Doors" Subparagraph below is based on both the IBC and NFPA 101 requirements for means-of-egress doors. Option is a requirement of NFPA 101 only.

a. Egress Doors: Not more than 15 lbf (67 N) to release the latch and not more than 30 lbf (133 N)to set the door in motion[ and not more than 15 lbf (67 N) to open the door to its minimum required width].

"Accessible Interior Doors" Subparagraph below is based on ADA-ABA Accessibility Guidelines for interior non-fire-rated doors.

b. Accessible Interior Doors: Not more than 5 lbf (22.2 N) to fully open door.

Retain "Concealed Overhead Holder" Paragraph below for exterior, manual-swinging, all-glass entrance doors subject to racking. Concealed overhead holders require a door top rail and custom tube or a channel housing at door head. Verify requirements with manufacturers.

C. Concealed Overhead Holder: BHMA A156.8, Grade 1, with dead-stop setting coordinated with concealed floor closer.

D. Push-Pull Set: [As selected from manufacturer's full range] [As indicated] <Insert description>.

E. Single-Door and Active-Leaf Locksets: [Center-housing deadbolt with pulls] [Center-housing combination deadbolt and latchbolt with lever handles] [Bottom-fitting or bottom-rail deadbolt] <Insert description>.

1. Deadbolt operated by key outside and [key] [thumb turn] inside.

F. Inactive-Leaf Locksets: Bottom-fitting or bottom-rail deadbolt.

1. Deadbolt operated by key outside and [key] [thumb turn] inside.

Retain first option in "Cylinders" Paragraph below for master-keyed lock cylinders.

G. Cylinders: [As specified in Section 087100 "Door Hardware."] [As specified in Section 087111 "Door Hardware (Descriptive Specification)."] [Six-pin cylinder, BHMA A156.5, Grade 1.] <Insert requirements.>

H. Exit Devices: UL 305.

1. Function: Operation by push-pull when [inside operator is locked down (dogged)] [inside operator is locked down (dogged); outside operation by key].

2. Latching: At [threshold or floor plate] [door head] [threshold or floor plate and door head].

3. Style: [Exposed vertical rod] [Concealed vertical rod in housing style indicated] <Insert style>.

4. Provide exit devices on both leaves of pairs of doors.

Retain "Threshold" Paragraph below if required. Coordinate requirements of floor closers with thresholds specified.

I. Threshold: Not more than 1/2 inch (13 mm) high.

2.6 FABRICATION

A. Provide holes and cutouts in glass to receive hardware, fittings, and accessory fittings before tempering glass. Do not cut, drill, or make other alterations to glass after tempering.

1. Fully temper glass using horizontal (roller-hearth) process, and fabricate so that when glass is installed, roll-wave distortion is parallel with bottom edge of door or lite.

B. Factory assemble components and factory install hardware and fittings to greatest extent possible.

PART 3 -  EXECUTION

3.1 INSTALLATION

A. Install all-glass systems and associated components according to manufacturer's written instructions.

B. Set units level, plumb, and true to line, with uniform joints.

C. Maintain uniform clearances between adjacent components.

D. Lubricate hardware and other moving parts according to manufacturer's written instructions.

E. Set, seal, and grout floor closer cases as required to suit hardware and substrate indicated.

Insert a hardware schedule below if required.

END OF SECTION 084226

	ALL-GLASS ENTRANCES
	084226 - 1



