Copyright 2011 AIA
MasterSpec Professional
02/11

Copyright 2011 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 086300 - METAL-FRAMED SKYLIGHTS
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section includes skylights with metal framing.

1.2 ACTION SUBMITTALS

A. Product Data: For each type of product indicated.

B. LEED Submittals:

"Product Data for Credit IEQ 4.1" Subparagraph below applies to LEED-NC, LEED-CI, and LEED-CS; coordinate with requirements selected in Part 2 for sealants.

1. Product Data for Credit IEQ 4.1: For sealants used inside the weatherproofing system, documentation including printed statement of VOC content.

"Laboratory Test Reports for Credit IEQ 4" Subparagraph below applies to LEED for Schools.

2. Laboratory Test Reports for Credit IEQ 4: For sealants used inside the weatherproofing system, documentation indicating that they comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

C. Shop Drawings: For metal-framed skylights. Include plans, elevations, sections, details, and attachments to other work.

D. Samples: For each type of exposed finish.

Paragraph below is defined in SECTION 013300 "Submittal Procedures" as a "Delegated-Design Submittal." Retain if Work of this Section is required to withstand specific design loads and design responsibilities have been delegated to Contractor or if structural data are required as another way to verify compliance with performance requirements. Professional engineer qualifications are specified in Section 014000 "Quality Requirements."

E. Delegated-Design Submittal: For metal-framed skylights indicated to comply with performance requirements and design criteria, including analysis data signed and sealed by the qualified professional engineer responsible for their preparation.

1.3 INFORMATIONAL SUBMITTALS

A. Product test reports.

B. Field quality-control reports.

C. Warranties: Sample of special warranties.

1.4 QUALITY ASSURANCE

A. Installer Qualifications: Manufacturer's authorized representative who is trained and approved for installation of metal-framed skylights required for this Project.

Retain first paragraph below for structural-sealant glazing.

B. Structural-Sealant Glazing: Comply with recommendations in ASTM C 1401, "Guide for Structural Sealant Glazing," for joint design and quality-control procedures.

C. Preinstallation Conference: Conduct conference at [Project site] <Insert location>.

1.5 WARRANTY

A. Special Warranty: Manufacturer's standard form in which manufacturer agrees to repair or replace components of metal-framed skylights that fail in materials or workmanship within specified warranty period.

Verify available warranties and warranty periods for assemblies with manufacturers listed in Part 2.

1. Warranty Period: [Two] [Five] [10] <Insert number> years from date of Substantial Completion.

B. Special Finish Warranty: Manufacturer's standard form in which manufacturer agrees to repair or replace components on which finishes fail within specified warranty period. Warranty does not include normal weathering.

Verify available warranties and warranty periods for finishes with manufacturers listed in Part 2.

1. Warranty Period: [Five] [10] [20] <Insert number> years from date of Substantial Completion.

PART 2 -  PRODUCTS

2.1 MANUFACTURERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of two paragraphs and list of manufacturers in this article. See Section 016000 "Product Requirements."

A. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

B. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

1. Acralight International Skylights.

2. Architectural Glazing Technologies.

3. Bristolite Skylights.

4. CPI Daylighting, Inc.

5. Exarc Skylights, Inc.

6. Gammans Skylight Systems.

7. GSI Glazed Structures, Inc.

8. Kawneer North America; an Alcoa company.

9. LinEl Signature.

10. Major Industries, Inc.; Auburn Skylights Division.

11. Naturalite Skylight Systems; Vistawall Group.

12. O'Keeffe's Inc.

13. Schuco USA, LP.

14. Skyline Sky-Lites, LLC.

15. Sunglo Skylight Products.

16. Super Sky Products, Inc.

17. J. Sussman, Inc.

18. TRACO.

19. United Skys, Inc.

20. Wasco Products, Inc.

21. <Insert manufacturer's name>.

2.2 PERFORMANCE REQUIREMENTS

A. General: Metal-framed skylights shall withstand the effects of the following without failure due to defective manufacture, fabrication, installation, or other defects in construction:

1. Structural loads.

2. Thermal movements.

3. Movements of supporting structure.

Specify dimensional tolerances for support system and adjacent construction in other Sections of this Project's Specifications.

4. Dimensional tolerances of support system and other adjacent construction.

5. Failure includes, but is not limited to, the following:

a. Deflection exceeding specified limits.

b. Thermal stresses transferring to building structure.

c. Framing members transferring stresses, including those caused by thermal and structural movements to glazing.

Retain first subparagraph below for structural-sealant-glazed systems.

d. Glazing-to-glazing contact.

e. Noise or vibration created by wind and by thermal and structural movements.

f. Loosening or weakening of fasteners, attachments, and other components.

g. Sealant failure.

Retain first paragraph below if Contractor is required to assume responsibility for design.

B. Delegated Design: Design metal-framed skylights, including comprehensive engineering analysis by a qualified professional engineer, using performance requirements and design criteria indicated.

C. Structural Loads:

Indicate structural loads, as determined by Project's structural engineer, on Drawings or insert loads in subparagraphs below. Verify requirements of authorities having jurisdiction. See Evaluations.

1. Wind Loads:[ As indicated on Drawings.]

a. Basic Wind Speed: [85 mph (38 m/s)] [90 mph (40 m/s)] [100 mph (44 m/s)] [110 mph (49 m/s)] <Insert value>.

b. Importance Factor: <Insert factor>.

c. Exposure Category: [A] [B] [C] [D].

2. Seismic Loads: [As indicated on Drawings] <Insert loads>.

D. Deflection of Framing Members: At design wind pressure, as follows:

Depending on Project conditions, more stringent deflection criteria than specified in both subparagraphs below may be required; see "Seismic Loads" Article in the Evaluations. First option in first subparagraph is based on recommendations in the International Building Code for framing members supporting glass. Second option is based on recommendations in AAMA TIR-A11.

1. Deflection Normal to Glazing Plane: Limited to [edge of glass in a direction perpendicular to glass plane not exceeding L/175 of the glass edge length for each individual glazing lite] [1/175 of clear span for spans up to 13 feet 6 inches (4.1 m) and to 1/240 of clear span plus 1/4 inch (6.35 mm) for spans more than 13 feet 6 inches (4.1 m)] <Insert deflection limit> or an amount that restricts edge deflection of individual glazing lites to 3/4 inch (19.1 mm), whichever is less.

First option in subparagraph below is based on typical deflection criteria for glass. Second option is based on GANA's "Glazing Manual."

2. Deflection Parallel to Glazing Plane: Limited to [L/360 of clear span or 1/8 inch (3.2 mm), whichever is smaller] [amount not exceeding that which reduces glazing bite to less than 75 percent of design dimension and that which reduces edge clearance between framing members and glazing or other fixed components to less than 1/8 inch (3.2 mm)] <Insert deflection limit>.

Usually retain first paragraph below. AAMA SDGS-1, "Structural Design Guidelines for Aluminum Framed Skylights," states that manufacturers sometimes assume glazing material provides continuous lateral bracing and base their designs on unbraced lengths equal to zero.

E. Lateral Bracing of Framing Members: Compression flanges of flexural members are laterally braced by cross members with minimum depth equal to 50 percent of flexural member that is braced. Glazing does not provide lateral support.

Usually retain first paragraph below. ASTM E 330 test method evaluates structural performance of metal-framed skylights and not structural performance of contiguous construction.

F. Structural-Test Performance: Provide metal-framed skylights tested according to ASTM E 330, as follows:

1. When tested at positive and negative wind-load design pressures, assemblies do not evidence deflection exceeding specified limits.

2. When tested at [150] <Insert number> percent of positive and negative wind-load design pressures, assemblies, including anchorage, do not evidence material failures, structural distress, and permanent deformation of main framing members exceeding [0.2] <Insert number> percent of span.

3. Test Durations: As required by design wind velocity, but not less than [10] <Insert number> seconds.

Retain first paragraph below if required. The International Building Code establishes criteria for buildings in hurricane-prone regions. Verify requirements of authorities having jurisdiction.

G. Windborne-Debris-Impact-Resistance Performance: Provide metal-framed skylights that pass missile-impact and cyclic-pressure tests when tested according to ASTM E 1886 and testing information in ASTM E 1996 for Wind [Zone 1] [Zone 2] [Zone 3] [Zone 4].

1. Large-Missile Test: For glazed openings located within 30 feet (9.1 m) of grade.

2. Small-Missile Test: For glazed openings located more than 30 feet (9.1 m) above grade.

Usually retain first paragraph below. ASTM E 283 requires using a static-air-pressure difference of 1.57 lbf/sq. ft. (75 Pa) unless otherwise indicated, which is equivalent to a 25-mph (40-km/h) wind. Static-air-pressure difference of 6.24 lbf/sq. ft. (300 Pa) is equivalent to a 50-mph (80-km/h) wind.

H. Air Infiltration: Provide metal-framed skylights with maximum air leakage through fixed glazing and framing areas of [0.06 cfm/sq. ft. (0.03 L/s per sq. m)] <Insert value> of fixed wall area when tested according to ASTM E 283 at a minimum static-air-pressure difference of [1.57 lbf/sq. ft. (75 Pa)] [6.24 lbf/sq. ft. (300 Pa)] <Insert value>.

Usually retain first paragraph below. For water-penetration under static pressure tests, air-pressure difference of 20 percent of wind-load design pressure provides satisfactory performance in most parts of the U.S. Locations where high winds and heavy rains frequently occur simultaneously require higher test-pressure differences. Lower test-pressure differences are acceptable for some locations. Revise paragraph to suit Project.

I. Water Penetration under Static Pressure: Provide metal-framed skylights that do not evidence water penetration through fixed glazing and framing areas when tested according to ASTM E 331 at a minimum static-air-pressure difference of 20 percent of positive wind-load design pressure, but not less than [6.24 lbf/sq. ft. (300 Pa)] <Insert value>.

J. Thermal Movements: Provide metal-framed skylights that allow for thermal movements resulting from the following maximum change (range) in ambient and surface temperatures. Base engineering calculations on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.

Differential values in subparagraph below (for aluminum in particular) are suitable for most of the U.S. Revise to suit local conditions and metal color and finish.

1. Temperature Change (Range): [120 deg F (67 deg C), ambient; 180 deg F (100 deg C)] <Insert temperature range>, material surfaces.

Retain first paragraph below if required and insert condensation-resistance factor (CRF) needed for Project; options are examples only.

K. Condensation Resistance: Provide metal-framed skylights with fixed glazing and framing areas having condensation-resistance factor (CRF) of not less than [45] [53] <Insert number> when tested according to AAMA 1503.

Retain first paragraph below for structural-sealant-glazed joints.

L. Structural Sealant: Capable of withstanding tensile and shear stresses imposed without failing adhesively or cohesively. When tested for preconstruction adhesion and compatibility, cohesive failure of sealant shall occur before adhesive failure.

Retain paragraph below if required and insert U-factor and solar heat gain coefficient needed for Project; options are examples only.

M. Energy Performance: Provide metal-framed skylights with performance properties specified, as indicated in manufacturer's published test data, based on procedures indicated below[ and certified and labeled according to NFRC]:

1. Thermal Transmittance (U-Factor): Fixed glazing and framing areas shall have U-factor of not more than [0.80 Btu/sq. ft. x h x deg F (4.54 W/sq. m x K)] [0.65 Btu/sq. ft. x h x deg F (3.69 W/sq. m x K)] <Insert value> as determined according to NFRC 100.

2. Solar Heat Gain Coefficient: Fixed glazing and framing areas shall have a solar heat gain coefficient of no greater than [0.6] [0.7] <Insert value> as determined according to NFRC 200.

2.3 FRAMING SYSTEMS

A. Aluminum: Alloy and temper recommended in writing by manufacturer for type of use and finish indicated.

1. Sheet and Plate: ASTM B 209 (ASTM B 209M).

2. Extruded Bars, Rods, Profiles, and Tubes: ASTM B 221 (ASTM B 221M).

3. Extruded Structural Pipe and Tubes: ASTM B 429/B 429M.

4. Structural Profiles: ASTM B 308/B 308M.

B. Pressure Caps: Manufacturer's standard aluminum components that mechanically retain glazing.

1. Include snap-on aluminum trim that conceals fasteners.

C. Brackets and Reinforcements: Manufacturer's standard high-strength aluminum with nonstaining, nonferrous shims for aligning skylight components.

D. Fasteners and Accessories: Manufacturer's standard, corrosion-resistant, nonstaining, nonbleeding fasteners and accessories compatible with adjacent materials.

1. At pressure caps, use ASTM A 193/A 193M stainless-steel screws.

2. Use self-locking devices where fasteners are subject to loosening or turning out from thermal and structural movements, wind loads, or vibration.

3. Reinforce members as required to receive fastener threads.

Retain subparagraph below for exposed fasteners if any.

4. Use exposed fasteners with countersunk Phillips screw heads.

Retain first paragraph below if applicable.

E. Concrete and Masonry Inserts: Hot-dip galvanized cast-iron, malleable-iron, or steel inserts complying with ASTM A 123/A 123M or ASTM A 153/A 153M requirements.

Retain first paragraph below for fastening to wood curbs. If anchor bolts are required, coordinate locations.

F. Anchor Bolts: ASTM A 307, Grade A (ASTM F 568M, Property Class 4.6), galvanized steel.

G. Concealed Flashing: Manufacturer's standard, corrosion-resistant, nonstaining, nonbleeding flashing compatible with adjacent materials.

H. Exposed Flashing and Closures: Manufacturer's standard aluminum components not less than [0.030 inch (0.762 mm)] [0.040 inch (1.016 mm)] [0.060 inch (1.524 mm)] <Insert dimension> thick.

I. Framing Gaskets: Manufacturer's standard.

J. Framing Sealants: As recommended in writing by manufacturer.
Retain subparagraph below if required for LEED-NC, LEED-CI or LEED-CS Credit IEQ 4.1. VOC limit is that for architectural sealants.

1. Sealants used inside the weatherproofing system shall have a VOC content of [250] <Insert value> g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

Retain subparagraph below if required for LEED for Schools Credit IEQ 4.

2. Sealants used inside the weatherproofing system shall comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

K. Corrosion-Resistant Coating: Cold-applied asphalt mastic.

2.4 GLAZING

A. Glazing: As specified in [Section 088000 "Glazing."] [Section 088400 "Plastic Glazing."]

B. Spacers, Setting Blocks, and Gaskets: Manufacturer's standard elastomeric types.

C. Bond-Breaker Tape: Manufacturer's standard.

D. Glazing Sealants: As recommended in writing by manufacturer.

Retain first subparagraph below if required for LEED-NC, LEED-CI or LEED-CS Credit IEQ 4.1.

1. Sealants used inside the weatherproofing system shall have a VOC content as indicated when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

Retain subparagraph below if required for LEED for Schools Credit IEQ 4.

2. Sealants used inside the weatherproofing system shall comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

Retain remainder of this article for structural-sealant-glazed skylights or if sealants are not specified in Section 079200 "Joint Sealants."

3. Structural Sealant: ASTM C 1184, neutral-curing silicone formulation compatible with system components with which it comes in contact, specifically formulated and tested for use as structural sealant, and approved by structural-sealant manufacturer for use in metal-framed skylights indicated.

a. VOC Content: [100] <Insert value> g/L or less.

b. Color: [Black] [As selected by Architect from manufacturer's full range].

Review weatherseal-sealant requirements with metal-framed skylight manufacturers. For some systems, structural sealant is also weatherseal sealant; delete subparagraph below for these systems.

4. Weatherseal Sealant: ASTM C 920 for Type S, Grade NS, Class 25, Uses NT, G, A, and O; neutral-curing silicone formulation compatible with structural sealant and other components with which it comes in contact; and recommended in writing by structural- and weatherseal-sealant and metal-framed skylight manufacturers for this use.

a. VOC Content: [250] <Insert value> g/L or less.

b. Color: Matching structural sealant.

2.5 FABRICATION

A. Fabricate aluminum components before finishing.

B. Fabricate aluminum components that, when assembled, have the following characteristics:

1. Profiles that are sharp, straight, and free of defects or deformations.

2. Accurately fitted joints with ends coped or mitered.

3. Internal guttering systems or other means to drain water passing joints, condensation occurring within framing members, and moisture migrating within skylight to exterior.

4. Physical and thermal isolation of glazing from framing members.

5. Accommodations for thermal and mechanical movements of glazing and framing to maintain required glazing edge clearances.

C. Fabricate aluminum sill closures with weep holes and for installation as continuous component.

D. Reinforce aluminum components as required to receive fastener threads.

Retain first paragraph below for factory-glazed, metal-framed skylights. Many manufacturers factory assemble and glaze metal-framed skylights in whole or in part, then ship them to the site as a complete assembly or as partially assembled components. Verify availability of factory glazing with manufacturers. Four-sided, structural-sealant-glazed skylights are typically factory glazed.

E. Factory-Glazed, Metal-Framed Skylights:

F. Factory install glazing to comply with requirements in [Section 088000 "Glazing."] [Section 088400 "Plastic Glazing."]

Retain subparagraph below for structural-sealant-glazed skylights.

1. Prepare surfaces that will contact structural sealant according to structural-sealant manufacturer's written instructions to ensure compatibility and adhesion. Preparation includes, but is not limited to, cleaning and priming surfaces.

G. After fabrication, clearly mark components to identify their locations in Project according to Shop Drawings.

2.6 ALUMINUM FINISHES

Retain finishes in paragraphs below to suit Project. If retaining more than one, indicate location of each on Drawings or by inserts. Aluminum-framing systems are available with dual finish options, allowing different interior and exterior color finishes if applicable. See "Aluminum Finishes" Article in the Evaluations.

Retain one of two options in first paragraph below. Class II finish is standard with many manufacturers; Class I finish is heavy anodized. Verify availability with manufacturers.

A. Clear Anodic Finish: AAMA 611, [AA-M12C22A41, Class I, 0.018 mm] [AA-M12C22A31, Class II, 0.010 mm] or thicker.

Retain one of two options in first paragraph below. Verify availability with manufacturers.

B. Color Anodic Finish: AAMA 611, [AA-M12C22A42/A44, Class I, 0.018 mm] [AA-M12C22A32/A34, Class II, 0.010 mm] or thicker.

1. Color: [Light bronze] [Medium bronze] [Dark bronze] [Champagne] [Black] <Insert color>.

First paragraph below references AAMA standard for pigmented organic coating on extrusions and panels.

C. Baked-Enamel or Powder-Coat Finish: AAMA 2603 except with a minimum dry film thickness of 1.5 mils (0.04 mm).

1. Color and Gloss: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and gloss>.

Retain one of two paragraphs below; if both are required, indicate location of each assembly on Drawings, in schedules, or by inserts. Retain AAMA 2604 or AAMA 2605 for high- or superior-performance organic coatings, respectively, on extrusions and panels. If specific products are required, name coating manufacturers and products.

D. High-Performance Organic Finish: Two-coat fluoropolymer finish complying with [AAMA 2604] [AAMA 2605] and containing not less than [50] [70] percent PVDF resin by weight in color coat.

1. Color and Gloss: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and gloss>.

E. High-Performance Organic Finish: [Three] [Four]-coat fluoropolymer finish complying with AAMA 2605 and containing not less than [50] [70] percent PVDF resin by weight in both color coat and clear topcoat.

1. Color and Gloss: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and gloss>.

2.7 SOURCE QUALITY CONTROL

Delete this article if no structural-sealant glazing.

A. Structural-Sealant Glazing: Perform quality-control procedures complying with ASTM C 1401 recommendations including, but not limited to, material qualification procedures, sealant testing, and fabrication reviews and checks.

PART 3 -  EXECUTION

3.1 INSTALLATION

A. General:

1. Comply with manufacturer's written instructions.

2. Do not install damaged components.

3. Fit joints between aluminum components to produce hairline joints free of burrs and distortion.

4. Rigidly secure nonmovement joints.

5. Install anchors with separators and isolators to prevent metal corrosion and electrolytic deterioration and to prevent impeding movement of moving joints.

6. Seal joints watertight unless otherwise indicated.

B. Metal Protection: Where aluminum will contact dissimilar materials, protect against galvanic action by painting contact surfaces with protective coating or by installing nonconductive spacers as recommended in writing by manufacturer for this purpose.

C. Install continuous aluminum sill closure with weatherproof expansion joints and locked and sealed corners. Locate weep holes at rafters.

D. Install components to drain water passing joints, condensation occurring within framing members, and moisture migrating within skylight to exterior.

E. Install components plumb and true in alignment with established lines and elevations.

Delete first paragraph below for factory-glazed, four-sided, structural-sealant-glazed skylights.

F. Install glazing as specified in [Section 088000 "Glazing."] [Section 088400 "Plastic Glazing."]

1. Structural-Sealant Glazing:

a. Prepare surfaces that will contact structural sealant according to structural-sealant manufacturer's written instructions to ensure compatibility and adhesion. Preparation includes, but is not limited to, cleaning and priming surfaces.

b. Install weatherseal sealant according to Section 079200 "Joint Sealants" and according to weatherseal-sealant manufacturer's written instructions to produce weatherproof joints. Install joint filler behind weatherseal sealant as recommended in writing by weatherseal-sealant manufacturer.

G. Erection Tolerances: Install metal-framed skylights to comply with the following maximum tolerances:

Erection tolerances in two subparagraphs below are examples only and are based on manufacturers' literature. Coordinate with tolerances for support systems and revise to suit Project.

1. Alignment: Limit offset from true alignment to 1/32 inch (0.8 mm) where surfaces abut in line, edge to edge, at corners, or where a reveal or protruding element separates aligned surfaces by less than 3 inches (76 mm); otherwise, limit offset to 1/8 inch (3.2 mm).

2. Location and Plane: Limit variation from true location and plane to 1/8 inch in 12 feet (3.2 mm in 3.7 m) but no greater than 1/2 inch (13 mm) over total length.

3.2 FIELD QUALITY CONTROL

Retain first paragraph below to identify who shall perform tests and inspections. If retaining second option, retain "Field quality-control reports" Paragraph in "Informational Submittals" Article.

A. Testing Agency: [Owner will engage] [Engage] a qualified testing agency to perform tests and inspections.

Generally retain inexpensive test in subparagraph below to check skylights' resistance to water penetration. Insert test area requirements to suit Project.

1. Water-Spray Test: Before installation of interior finishes has begun, skylights shall be tested according to AAMA 501.2 and shall not evidence water penetration.

B. Repair or remove work where test results and inspections indicate that it does not comply with specified requirements.

C. Additional testing and inspecting, at Contractor's expense, will be performed to determine compliance of replaced or additional work with specified requirements.

D. Prepare test and inspection reports.

END OF SECTION 086300

	METAL-FRAMED SKYLIGHTS
	086300 - 1



