Copyright 2012 AIA
MasterSpec Professional
02/12

Copyright 2012 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 087100 - DOOR HARDWARE
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

Read the "Writing Guide" Article in the Evaluations before editing this Section.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section includes:

1. Mechanical door hardware for the following:

a. Swinging doors.

b. Sliding doors.

c. Folding doors.

2. Cylinders for door hardware specified in other Sections.

3. Electrified door hardware.

B. Products furnished, but not installed, under this Section include the products listed below. Coordinating and scheduling the purchase and delivery of these products remain requirements of this Section.

1. [Pivots] [thresholds] [weather stripping] [and] [lock cylinders] to be installed under other Sections.

Retain subparagraph below if temporary construction lock cores are specified and Owner will install permanent cores.

2. Permanent lock cores to be installed by Owner.

1.2 ACTION SUBMITTALS

A. Product Data: For each type of product indicated.

Retain first paragraph below for electrified door hardware.

B. Shop Drawings: Details of electrified door hardware.

First paragraph below assumes manufacturer's standard-size Samples are acceptable. Revise to suit Project.

C. Samples: For each exposed product and for each color and texture specified.

D. Other Action Submittals:

1. Door Hardware Schedule: Prepared by or under the supervision of Installer, detailing fabrication and assembly of door hardware, as well as installation procedures and diagrams. Coordinate final door hardware schedule with doors, frames, and related work to ensure proper size, thickness, hand, function, and finish of door hardware.

a. Format: Use same scheduling sequence and format[ and use same door numbers] as in the Contract Documents.

b. Content: Include the following information:

1) Identification number, location, hand, fire rating, size, and material of each door and frame.

2) Locations of each door hardware set, cross-referenced to Drawings on floor plans and to door and frame schedule.

3) Complete designations, including name and manufacturer, type, style, function, size, quantity, function, and finish of each door hardware product.

Retain first subparagraph below for electrified door hardware.

4) Description of electrified door hardware sequences of operation and interfaces with other building control systems.

2. Keying Schedule: Prepared by or under the supervision of Installer, detailing Owner's final keying instructions for locks.

1.3 MAINTENANCE MATERIAL SUBMITTALS

A. Furnish extra materials that match products installed and that are packaged with protective covering for storage and identified with labels describing contents.

See "Extra Materials" Article in the Evaluations for discussion of extra materials.

1. Door Hardware: <Insert detailed descriptions and specific numbers of units>.

2. Electrical Parts: <Insert detailed descriptions and specific numbers of units>.

1.4 QUALITY ASSURANCE

A. Installer Qualifications: Supplier of products and an employer of workers trained and approved by product manufacturers and an Architectural Hardware Consultant who is available during the course of the Work to consult with Contractor, Architect, and Owner about door hardware and keying.

B. Architectural Hardware Consultant Qualifications: A person who is experienced in providing consulting services for door hardware installations that are comparable in material, design, and extent to that indicated for this Project and who is currently certified by DHI as follows:

DHI has four certification designations: Architectural Hardware Consultant (AHC); Certified Door Consultant (CDC); Electrified Hardware Consultant (EHC), and Architectural Opening Consultant (AOC), which signifies that a consultant has earned AHC, CDC, and EHC certification. CDCs are trained to understand only requirements of doors and frames. Retain second or third option in subparagraph below if Project includes electrified door hardware.

1. For door hardware, an [Architectural Hardware Consultant (AHC)] [Architectural Hardware Consultant (AHC) who is also an Electrified Hardware Consultant (EHC)] [Architectural Openings Consultant (AOC)].

Retain first paragraph below if applicable.

C. Source Limitations: Provide electrified door hardware from same manufacturer as mechanical door hardware, unless otherwise indicated. Manufacturers that perform electrical modifications and that are listed by a testing and inspecting agency acceptable to authorities having jurisdiction are acceptable.

Retain first paragraph below if applicable. Revise to allow neutral pressure testing if required and as acceptable to authorities having jurisdiction.

D. Fire-Rated Door Assemblies: Where fire-rated door assemblies are indicated, provide door hardware rated for use in assemblies complying with NFPA 80 that are listed and labeled by a qualified testing agency, for fire-protection ratings indicated, based on testing at positive pressure according to NFPA 252 or UL 10C, unless otherwise indicated.

Retain first paragraph below if required. The International Building Code requires fire door assemblies to comply with smoke- and draft-control requirements in corridors, smoke barriers, and smoke partitions.

E. Smoke- and Draft-Control Door Assemblies: Where smoke- and draft-control door assemblies are required, provide door hardware that meet requirements of assemblies tested according to UL 1784 and installed in compliance with NFPA 105.

Retain air leakage rate in subparagraph below or revise to suit Project.

1. Air Leakage Rate: Maximum air leakage of0.3 cfm/sq. ft. (3 cu. m per minute/sq. m) at the tested pressure differential of 0.3-inch wg (75 Pa) of water.

F. Electrified Door Hardware: Listed and labeled as defined in NFPA 70, Article 100, by a testing agency acceptable to authorities having jurisdiction.

Verify accessibility requirements of authorities having jurisdiction. Some projects may require compliance with multiple accessibility regulations.

G. Means of Egress Doors: Latches do not require more than 15 lbf (67 N) to release the latch. Locks do not require use of a key, tool, or special knowledge for operation.

H. Accessibility Requirements: For door hardware on doors in an accessible route, comply with [the U.S. Architectural & Transportation Barriers Compliance Board's ADA-ABA Accessibility Guidelines] [ICC/ANSI A117.1] [HUD's "Fair Housing Accessibility Guidelines"] [and] <Insert regulation>.

1. Provide operating devices that do not require tight grasping, pinching, or twisting of the wrist and that operate with a force of not more than 5 lbf (22.2 N).

2. Comply with the following maximum opening-force requirements:

a. Interior, Non-Fire-Rated Hinged Doors: 5 lbf (22.2 N) applied perpendicular to door.

b. Sliding or Folding Doors: 5 lbf (22.2 N) applied parallel to door at latch.

c. Fire Doors: Minimum opening force allowable by authorities having jurisdiction.

3. Bevel raised thresholds with a slope of not more than 1:2. Provide thresholds not more than [1/2 inch (13 mm) high] [and] [3/4 inch (19 mm) high for exterior sliding doors].

4. Adjust door closer sweep periods so that, from an open position of 70 degrees, the door will take at least 3 seconds to move to a point 3 inches (75 mm) from the latch, measured to the leading edge of the door.

Retain paragraph below if keying is extensive or complex. Revise to identify participants.

I. Keying Conference: Conduct conference at Project site to comply with requirements in Section 013100 "Project Management and Coordination."

1.5 DELIVERY, STORAGE, AND HANDLING

Retain one of two paragraphs below or revise to suit Project. Retain second paragraph for high-security cylinders.

A. Deliver keys to manufacturer of key control system for subsequent delivery to Owner.

B. Deliver keys[ and permanent cores] to Owner by registered mail or overnight package service.

1.6 WARRANTY

A. Special Warranty: Manufacturer's standard form in which manufacturer agrees to repair or replace components of door hardware that fail in materials or workmanship within specified warranty period.

Verify available warranties and warranty periods for door hardware with manufacturers listed in Part 2 articles.

1. Warranty Period: [Three] <Insert number> years from date of Substantial Completion, unless otherwise indicated.

Retain applicable subparagraphs below.

a. [Electromagnetic] [and] [Delayed-Egress] Locks: [Five] <Insert number> years from date of Substantial Completion.

b. Exit Devices: [Two] <Insert number> years from date of Substantial Completion.

c. Manual Closers: [10] <Insert number> years from date of Substantial Completion.

d. Concealed Floor Closers: [Five] [10] [25] <Insert number> years from date of Substantial Completion.

PART 2 -  PRODUCTS

2.1 SCHEDULED DOOR HARDWARE

A. Provide door hardware for each door as scheduled [in Part 3 "Door Hardware Schedule" Article] [on Drawings] to comply with requirements in this Section.

Retain manufacturers' or BHMA designations in first subparagraph below to coordinate with those indicated in Part 3 "Door Hardware Schedule" Article.

1. Door Hardware Sets: Provide quantity, item, size, finish or color indicated, and [named manufacturers' products] [products equivalent in function and comparable in quality to named products] [products complying with BHMA designations referenced].

2. Sequence of Operation: Provide electrified door hardware function, sequence of operation, and interface with other building control systems indicated.

B. Designations: Requirements for design, grade, function, finish, size, and other distinctive qualities of each type of door hardware are indicated in Part 3 "Door Hardware Schedule" Article. Products are identified by using door hardware designations, as follows:

Retain one of two subparagraphs below.

1. Named Manufacturers' Products: Manufacturer and product designation are listed for each door hardware type required for the purpose of establishing minimum requirements. Manufacturers' names are abbreviated in Part 3 "Door Hardware Schedule" Article.

Retain subparagraph below for a nonproprietary specification based on referencing BHMA designations, with or without naming available manufacturers.

2. References to BHMA Designations: Provide products complying with these designations and requirements for description, quality, and function.

Coordinate remaining Part 2 articles with Part 3 "Door Hardware Schedule" Article. Delete door hardware products not required.

If more than one type of a particular product is required, copy applicable paragraphs in Part 2 articles below and insert a unique paragraph heading for each to differentiate the products.

2.2 HINGES

Retain option in paragraph below for hinges installed in hollow metal doors and frames.

A. Hinges: BHMA A156.1. [ Provide template-produced hinges for hinges installed on hollow-metal doors and hollow-metal frames.]

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product: Subject to compliance with requirements, provide product indicated on [Drawings] [schedule] or comparable product by one of the following:

a. Baldwin Hardware Corporation.

b. Bommer Industries, Inc.

c. Cal-Royal Products, Inc.

d. Hager Companies.

e. IVES Hardware; an Ingersoll-Rand company.

f. Lawrence Hardware Inc.

g. McKinney Products Company; an ASSA ABLOY Group company.

h. PBB, Inc.

i. Stanley Commercial Hardware; Div. of The Stanley Works.

j. <Insert manufacturer's name>.

2.3 SELF-CLOSING HINGES AND PIVOTS

Spring hinges for labeled fire-rated door assemblies must be single acting, Grade 1 and are available in full-mortise or half-surface mounting.

A. Self-Closing Hinges and Pivots: BHMA A156.17.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

B. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

1. Basis-of-Design Product: Subject to compliance with requirements, provide product indicated on [Drawings] [schedule] or comparable product by one of the following:

a. Baldwin Hardware Corporation.

b. Bommer Industries, Inc.

c. Cal-Royal Products, Inc.

d. Hager Companies.

e. Lawrence Hardware Inc.

f. McKinney Products Company; an ASSA ABLOY Group company.

g. PBB, Inc.

h. Stanley Commercial Hardware; Div. of The Stanley Works.

i. <Insert manufacturer's name>.

2.4 CENTER-HUNG AND OFFSET PIVOTS

BHMA A156.4, "Door Controls - Closers," includes requirements for the types of pivots specified in this article.

A. Center-Hung and Offset Pivots: BHMA A156.4.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product: Subject to compliance with requirements, provide product indicated on [Drawings] [schedule] or comparable product by one of the following:

a. DORMA Architectural Hardware; Member of The DORMA Group North America.

b. IVES Hardware; an Ingersoll-Rand company.

c. Rixson Specialty Door Controls; an ASSA ABLOY Group company.

d. <Insert manufacturer's name>.

2.5 CONTINUOUS HINGES

A. Continuous Hinges: BHMA A156.26; minimum 0.120-inch- (3.0-mm-) thick, hinge leaves with minimum overall width of 4 inches (102 mm); fabricated to full height of door and frame and to template screw locations; with components finished after milling and drilling are complete.

B. Pin-and-Barrel-Type Hinges:

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product: Subject to compliance with requirements, provide product indicated on [Drawings] [schedule] or comparable product by one of the following:

a. Hager Companies.

b. IVES Hardware; an Ingersoll-Rand company.

c. Lawrence Hardware Inc.

d. Markar Architectural Products, Inc.; a subsidiary of Adams Rite Manufacturing Co.

e. McKinney Products Company; an ASSA ABLOY Group company.

f. Select Products Limited.

g. Zero International.

h. <Insert manufacturer's name>.

C. Continuous, Gear-Type Hinges: Extruded-aluminum, pinless, geared hinge leaves joined by a continuous extruded-aluminum channel cap; with concealed, self-lubricating thrust bearings.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product: Subject to compliance with requirements, provide product indicated on [Drawings] [schedule] or comparable product by one of the following:

a. Bommer Industries, Inc.

b. Cal-Royal Products, Inc.

c. Hager Companies.

d. IVES Hardware; an Ingersoll-Rand company.

e. McKinney Products Company; an ASSA ABLOY Group company.

f. Select Products Limited.

g. Stanley Commercial Hardware; Div. of The Stanley Works.

h. Zero International.

i. <Insert manufacturer's name>.

2.6 MECHANICAL LOCKS AND LATCHES

A. Strikes: Provide manufacturer's standard strike for each lock bolt or latchbolt complying with requirements indicated for applicable lock or latch and with strike box and curved lip extended to protect frame; finished to match lock or latch.

Retain applicable subparagraphs below.

1. Flat-Lip Strikes: For locks with three-piece antifriction latchbolts, as recommended by manufacturer.

2. Extra-Long-Lip Strikes: For locks used on frames with applied wood casing trim.

3. Aluminum-Frame Strike Box: Manufacturer's special strike box fabricated for aluminum framing.

4. Rabbet Front and Strike: Provide on locksets for rabbeted meeting stiles.

Series 4000 locks are installed in round, bored openings in edge and face of door.

B. Bored Locks: BHMA A156.2; Grade [1] [2]; Series 4000.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product: Subject to compliance with requirements, provide product indicated on [Drawings] [schedule] or comparable product by one of the following:

a. Arrow USA; an ASSA ABLOY Group company.

b. Best Access Systems; Div. of Stanley Security Solutions, Inc.

c. Cal-Royal Products, Inc.

d. Corbin Russwin Architectural Hardware; n ASSA ABLOY Group Company.

e. Falcon Lock; An Ingersoll-Rand Company.

f. K2 Commercial Hardware; a Black & Decker Corp. company.

g. Marks USA.

h. Medeco Security Locks, Inc.; an ASSA ABLOY Group company.

i. PDQ Manufacturing.

j. SARGENT Manufacturing Company; an ASSA ABLOY Group company.

k. Schlage Commercial Lock Division; an Ingersoll-Rand company.

l. Weiser Lock Corp.; a Black & Decker Corp. company.

m. Yale Security Inc.; an ASSA ABLOY Group company.

n. <Insert manufacturer's name>.

C. Mortise Locks: BHMA A156.13; [Operational] [Security] Grade [1] [2]; stamped steel case with steel or brass parts; Series 1000.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product: Subject to compliance with requirements, provide product indicated on [Drawings] [schedule] or comparable product by one of the following:

a. Accurate Lock & Hardware Co.

b. Adams Rite Manufacturing Co.; an ASSA ABLOY Group company.

c. Arrow USA; an ASSA ABLOY Group company.

d. Best Access Systems; Div. of Stanley Security Solutions, Inc.

e. Cal-Royal Products, Inc.

f. Corbin Russwin Architectural Hardware; an ASSA ABLOY Group company.

g. Falcon Lock; an Ingersoll-Rand company.

h. Marks USA.

i. PDQ Manufacturing.

j. SARGENT Manufacturing Company; an ASSA ABLOY Group company.

k. Schlage Commercial Lock Division; an Ingersoll-Rand company.

l. Yale Security Inc.; an ASSA ABLOY Group company.

m. <Insert manufacturer's name>.

2.7 AUXILIARY LOCKS

Locks that typically are used in addition to latch bolts and that are operated by a knob, lever, or thumbpiece are called "auxiliary locks."

A. Bored Auxiliary Locks: BHMA A156.5: Grade [1] [2]; with strike that suits frame.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product: Subject to compliance with requirements, provide product indicated on [Drawings] [schedule] or comparable product by one of the following:

a. Arrow USA; an ASSA ABLOY Group company.

b. Best Access Systems; Div. of Stanley Security Solutions, Inc.

c. Cal-Royal Products, Inc.

d. Falcon Lock; an Ingersoll-Rand company.

e. Hager Companies.

f. K2 Commercial Hardware; a Black & Decker Corp. company.

g. Marks USA.

h. Medeco Security Locks, Inc.; an ASSA ABLOY Group company.

i. PDQ Manufacturing.

j. SARGENT Manufacturing Company; an ASSA ABLOY Group company.

k. Schlage Commercial Lock Division; an Ingersoll-Rand company.

l. Weiser Lock Corp.; a Black & Decker Corp. company.

m. Yale Security Inc.; an ASSA ABLOY Group company.<Insert manufacturer's name>.

B. Mortise Auxiliary Locks: BHMA A156.5; Grade [1] [2]; with strike that suits frame.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product: Subject to compliance with requirements, provide product indicated on [Drawings] [schedule] or comparable product by one of the following:

a. Accurate Lock & Hardware Co.

b. Adams Rite Manufacturing Co.; an ASSA ABLOY Group company.

c. Arrow USA; an ASSA ABLOY Group company.

d. Best Access Systems; Div. of Stanley Security Solutions, Inc.

e. SARGENT Manufacturing Company; an ASSA ABLOY Group company.

f. Schlage Commercial Lock Division; an Ingersoll-Rand company.

g. Yale Security Inc.; an ASSA ABLOY Group company.

h. <Insert manufacturer's name>.

C. Narrow Stile Auxiliary Locks: BHMA A156.5; Grade [1] [2]; with strike that suits frame.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product: Subject to compliance with requirements, provide product indicated on [Drawings] [schedule] or comparable product by one of the following:

a. Accurate Lock & Hardware Co.

b. Adams Rite Manufacturing Co.; an ASSA ABLOY Group company.

c. <Insert manufacturer's name>.

D. Push-Button Combination Locks: BHMA A156.5; [cylindrical; Grade 1] [mortise; Grade 2]; lock opens by entering a one- to five-digit code by pushing correct buttons in correct sequence; automatically relocks when door is closed; with strike that suits frame.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product: Subject to compliance with requirements, provide product indicated on [Drawings] [schedule] or comparable product by one of the following:

a. Kaba Ilco Corp.; a Kaba Group company.

b. <Insert manufacturer's name>.

2.8 ELECTROMAGNETIC LOCKS

A. Electromagnetic Locks: BHMA A156.23; electrically powered; with electromagnet attached to frame and armature plate attached to door; full-exterior or full-interior type, as required by application indicated.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product: Subject to compliance with requirements, provide product indicated on [Drawings] [schedule] or comparable product by one of the following:

a. Door Controls International, Inc.

b. Dortronics Systems, Inc.

c. DynaLock Corp.

d. Rutherford Controls Int'l. Corp.

e. Schlage Commercial Lock Division; an Ingersoll-Rand company.

f. Securitron Magnalock Corporation; an ASSA ABLOY Group company.

g. Security Door Controls.

h. <Insert manufacturer's name>.

B. Delayed-Egress Electromagnetic Locks: BHMA A156.24, electrically powered, with electromagnet attached to frame and armature plate attached to door; depressing push bar for more than 3 seconds initiates irreversible alarm and 15-second delay for egress. When integrated with fire alarm, fire alarm voids 15-second delay.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product: Subject to compliance with requirements, provide product indicated on [Drawings] [schedule] or comparable product by one of the following:

a. Door Controls International, Inc.

b. Doorguard Systems, Inc.

c. DynaLock Corp.

d. Rutherford Controls Int'l. Corp.

e. Schlage Commercial Lock Division; an Ingersoll-Rand company.

f. Securitron Magnalock Corporation; an ASSA ABLOY Group company.

g. <Insert manufacturer's name>.

2.9 ELECTROMECHANICAL LOCKS

If more than one type of product is required, copy paragraph below and insert a unique designation for each product.

A. Electromechanical Locks: BHMA A156.25; Grade [1] [2]; motor or solenoid driven; [bored] [mortise latchbolt] [mortise deadbolt] [mortise deadlocking latchbolt]; with strike that suits frame.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product: Subject to compliance with requirements, provide product indicated on [Drawings] [schedule] or comparable product by one of the following:

a. Best Access Systems; Div. of Stanley Security Solutions, Inc.

b. Brink, R. R., Locking Systems, Inc.

c. DynaLock Corp.

d. Marks USA.

e. Rutherford Controls Int'l. Corp.

f. SARGENT Manufacturing Company; an ASSA ABLOY Group company.

g. Schlage Commercial Lock Division; an Ingersoll-Rand company.

h. Security Door Controls.

i. Yale Security Inc.; an ASSA ABLOY Group company.

j. <Insert manufacturer's name>.

2.10 SELF-CONTAINED ELECTRONIC LOCKS

A. Self-Contained Electronic Locks: BHMA A156.25, [bored] [mortise]; with internal, battery-powered, self-contained electronic locks; consisting of complete lockset, motor-driven lock mechanism, and actuating device; enclosed in zinc-dichromate-plated, wrought-steel case, and strike that suits frame. Provide key override, low-battery detection and warning, LED status indicators, and ability to program at the lock.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product: Subject to compliance with requirements, provide product indicated on [Drawings] [schedule] or comparable product by one of the following:

a. Best Access Systems; Div. of Stanley Security Solutions, Inc.

b. Kaba Ilco Corp.; a Kaba Group company.

c. Marks USA.

d. SARGENT Manufacturing Company; an ASSA ABLOY Group company.

e. Schlage Commercial Lock Division; an Ingersoll-Rand company.

f. Yale Security Inc.; an ASSA ABLOY Group company.

g. <Insert manufacturer's name>.

2.11 EXIT LOCKS AND EXIT ALARMS

A. Exit Locks and Alarms: BHMA A156.29, Grade 1.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product: Subject to compliance with requirements, provide product indicated on [Drawings] [schedule] or comparable product by one of the following:

a. Arrow USA; an ASSA ABLOY Group company.

b. Detex Corporation.

c. SARGENT Manufacturing Company; an ASSA ABLOY Group company.

d. <Insert manufacturer's name>.

2.12 SURFACE BOLTS

A. Surface Bolts: BHMA A156.16.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product: Subject to compliance with requirements, provide product indicated on [Drawings] [schedule] or comparable product by one of the following:

a. Burns Manufacturing Incorporated.

b. Don-Jo Mfg., Inc.

c. Door Controls International, Inc.

d. IVES Hardware; an Ingersoll-Rand company.

e. Trimco.

f. <Insert manufacturer's name>.

2.13 MANUAL FLUSH BOLTS

Manual flush bolts are for inactive leaf of a pair of doors.

A. Manual Flush Bolts: BHMA A156.16; minimum 3/4-inch (19-mm) throw; designed for mortising into door edge.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product: Subject to compliance with requirements, provide product indicated on [Drawings] [schedule] or comparable product by one of the following:

a. Adams Rite Manufacturing Co.; an ASSA ABLOY Group company.

b. Burns Manufacturing Incorporated.

c. Don-Jo Mfg., Inc.

d. Door Controls International, Inc.

e. Hiawatha, Inc.

f. IVES Hardware; an Ingersoll-Rand company.

g. Trimco.

h. <Insert manufacturer's name>.

2.14 AUTOMATIC AND SELF-LATCHING FLUSH BOLTS

Automatic and self-latching flush bolts are for inactive leaf of a pair of doors.

A. Automatic and Self-Latching Flush Bolts: BHMA A156.16; minimum 3/4-inch (19-mm) throw; designed for mortising into door edge.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product: Subject to compliance with requirements, provide product indicated on [Drawings] [schedule] or comparable product by one of the following:

a. Cal-Royal Products, Inc.

b. Door Controls International, Inc.

c. IVES Hardware; an Ingersoll-Rand company.

d. Trimco.

e. <Insert manufacturer's name>.

2.15 EXIT DEVICES AND AUXILIARY ITEMS

A. Exit Devices and Auxiliary Items: BHMA A156.3.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product: Subject to compliance with requirements, provide product indicated on [Drawings] [schedule] or comparable product by one of the following:

a. Adams Rite Manufacturing Co.; an ASSA ABLOY Group company.

b. Arrow USA; an ASSA ABLOY Group company.

c. Cal-Royal Products, Inc.

d. Corbin Russwin Architectural Hardware; an ASSA ABLOY Group company.

e. Detex Corporation.

f. Door Controls International, Inc.

g. DORMA Architectural Hardware; Member of The DORMA Group North America.

h. Dor-O-Matic; an Ingersoll-Rand company.

i. K2 Commercial Hardware; a Black & Decker Corp. company.

j. Monarch Exit Devices & Panic Hardware; an Ingersoll-Rand company.

k. Precision Hardware, Inc.; Division of Stanley Security Solutions, Inc.

l. Rutherford Controls Int'l. Corp.

m. SARGENT Manufacturing Company; an ASSA ABLOY Group company.

n. Von Duprin; an Ingersoll-Rand company.

o. Yale Security Inc.; an ASSA ABLOY Group company.

p. <Insert manufacturer's name>.

2.16 LOCK CYLINDERS

A. Lock Cylinders: Tumbler type, constructed from brass or bronze, stainless steel, or nickel silver.

1. Manufacturer: Same manufacturer as for locking devices.

Retain subparagraph above or one of two subparagraphs and list of manufacturers below. Above significantly reduces competition and may result in higher costs. See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. See Section 016000 "Product Requirements."

2. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

3. Basis-of-Design Product: Subject to compliance with requirements, provide product indicated on [Drawings] [schedule] or comparable product by one of the following:

a. Arrow USA; an ASSA ABLOY Group company.

b. ASSA, Inc.; An ASSA ABLOY Group Company.

c. Best Access Systems; Div. of Stanley Security Solutions, Inc.

d. Corbin Russwin Architectural Hardware; an ASSA ABLOY Group company.

e. Falcon Lock; an Ingersoll-Rand company.

f. Medeco Security Locks, Inc.; an ASSA ABLOY Group company.

g. SARGENT Manufacturing Company; an ASSA ABLOY Group company.

h. Schlage Commercial Lock Division; an Ingersoll-Rand company.

i. Yale Security Inc.; an ASSA ABLOY Group company.

j. <Insert manufacturer's name>.

B. Construction Master Keys: Provide cylinders with feature that permits voiding of construction keys without cylinder removal. Provide 10 construction master keys.

Retain paragraph above if permanent cores will be installed during construction. Retain paragraph below if temporary construction cores are required.

C. Construction Cores: Provide construction cores that are replaceable by permanent cores. Provide 10 construction master keys.

2.17 KEYING

A. Keying System: Factory registered, complying with guidelines in BHMA A156.28, Appendix A. Incorporate decisions made in keying conference.

Retain one of first four subparagraphs below.

1. No Master Key System: Only change keys operate cylinder.

2. Master Key System: Change keys and a master key operate cylinders.

3. Grand Master Key System: Change keys, a master key, and a grand master key operate cylinders.

4. Great-Grand Master Key System: Change keys, a master key, a grand master key, and a great-grand master key operate cylinders.

Retain first subparagraph below if Owner has an existing keying system.

5. Existing System:

a. Master key or grand master key locks to Owner's existing system.

b. Re-key Owner's existing master key system into new keying system.

Retain subparagraph below if required.

6. Keyed Alike: Key all cylinders to same change key.

B. Keys: [Nickel silver] [Brass].

Retain first subparagraph below if key requires special marking.

1. Stamping: Permanently inscribe each key with a visual key control number and include the following notation:

a. Notation: ["DO NOT DUPLICATE."] [Information to be furnished by Owner.]

2. Quantity: In addition to one extra key blank for each lock, provide the following:

Retain subparagraphs below that correspond to type of keying system retained above.

a. Cylinder Change Keys: Three.

b. Master Keys: Five.

c. Grand Master Keys: Five.

d. Great-Grand Master Keys: Five.

2.18 KEY CONTROL SYSTEM

A. Key Control Cabinet: BHMA A156.5; metal cabinet with baked-enamel finish; containing key-holding hooks, labels, 2 sets of key tags with self-locking key holders, key-gathering envelopes, and temporary and permanent markers; with key capacity of [150] <Insert number> percent of the number of locks.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product: Subject to compliance with requirements, provide product indicated on [Drawings] [schedule] or comparable product by one of the following:

a. American Key Boxes and Cabinets.

b. GE Security, Inc.

c. HPC, Inc.

d. Lund Equipment Co., Inc.

e. MMF Industries.

f. Tri Palm International.

g. <Insert manufacturer's name>.

Retain one of three subparagraphs below to suit Project. First is for minimum of 600 hooks; second is for minimum of 25 hooks and up to 1200 hooks; third is for minimum of 14 hooks.

3. Multiple-Drawer Cabinet: Cabinet with drawers equipped with key-holding panels and key envelope storage, and progressive-type ball-bearing suspension slides. Include single cylinder lock to lock all drawers.

4. Wall-Mounted Cabinet: Cabinet with hinged-panel door equipped with key-holding panels and pin-tumbler cylinder door lock.

5. Portable Cabinet: Tray for mounting in file cabinet, equipped with key-holding panels, envelopes, and cross-index system.

2.19 OPERATING TRIM

A. Operating Trim: BHMA A156.6; [aluminum] [brass] [bronze] [stainless steel], unless otherwise indicated.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product: Subject to compliance with requirements, provide product indicated on [Drawings] [schedule] or comparable product by one of the following:

a. Burns Manufacturing Incorporated.

b. Don-Jo Mfg., Inc.

c. Forms + Surfaces.

d. Hager Companies.

e. Hiawatha, Inc.

f. IVES Hardware; an Ingersoll-Rand company.

g. Rockwood Manufacturing Company.

h. Trimco.

i. <Insert manufacturer's name>.

2.20 ACCESSORIES FOR PAIRS OF DOORS

Coordinators on pairs of doors prevent the active leaf from closing before inactive leaf.

A. Coordinators: BHMA A156.3; consisting of active-leaf, hold-open lever and inactive-leaf release trigger; fabricated from steel with nylon-coated strike plates; with built-in, adjustable safety release[; and with internal override].

Retain first paragraph below if automatic or self-latching bolts are not used on the inactive leaves of pairs of doors. Carry-open bars push active leaves open when inactive leaves are opened first and prevent damage to astragals.

B. Carry-Open Bars: BHMA A156.3; prevent the inactive leaf from opening before the active leaf; provide polished brass or bronze carry-open bars with strike plate for inactive leaves of pairs of doors unless automatic or self-latching bolts are used.

C. Astragals: BHMA A156.22.

2.21 SURFACE CLOSERS

A. Surface Closers: BHMA A156.4; rack-and-pinion hydraulic type with adjustable sweep and latch speeds controlled by key-operated valves and forged-steel main arm. Comply with manufacturer's written recommendations for size of door closers depending on size of door, exposure to weather, and anticipated frequency of use. Provide factory-sized closers, adjustable to meet field conditions and requirements for opening force.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product: Subject to compliance with requirements, provide product indicated on [Drawings] [schedule] or comparable product by one of the following:

a. Arrow USA; an ASSA ABLOY Group company.

b. Corbin Russwin Architectural Hardware; an ASSA ABLOY Group company.

c. DORMA Architectural Hardware; Member of The DORMA Group North America.

d. Dor-O-Matic; an Ingersoll-Rand company.

e. K2 Commercial Hardware; a Black & Decker Corp. company.

f. LCN Closers; an Ingersoll-Rand company.

g. Norton Door Controls; an ASSA ABLOY Group company.

h. Rixson Specialty Door Controls; an ASSA ABLOY Group company.

i. SARGENT Manufacturing Company; an ASSA ABLOY Group company.

j. Yale Security Inc.; an ASSA ABLOY Group company.

k. <Insert manufacturer's name>.

2.22 CONCEALED CLOSERS

A. Concealed Closers: BHMA A156.4; rack-and-pinion hydraulic type with adjustable sweep and latch speeds controlled by key-operated valves. Comply with manufacturer's written recommendations for size of door closers depending on size of door, exposure to weather, and anticipated frequency of use. Provide factory-sized closers, adjustable to meet field conditions and requirements for opening force.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product: Subject to compliance with requirements, provide product indicated on [Drawings] [schedule] or comparable product by one of the following:

a. DORMA Architectural Hardware; Member of The DORMA Group North America.

b. LCN Closers; an Ingersoll-Rand company.

c. Norton Door Controls; an ASSA ABLOY Group company.

d. Rixson Specialty Door Controls; an ASSA ABLOY Group company.

e. SARGENT Manufacturing Company; an ASSA ABLOY Group company.

f. <Insert manufacturer's name>.

2.23 CLOSER HOLDER RELEASE DEVICES

If more than one type of product is required, copy paragraph below and insert a unique designation for each product.

A. Closer Holder Release Devices: BHMA A156.15; Grade 1; closer connected with separate or integral releasing and fire- or smoke-detecting devices. Door shall become self-closing on interruption of signal to release device. Automatic release is activated by [smoke detection system] [loss of power].

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product: Subject to compliance with requirements, provide product indicated on [Drawings] [schedule] or comparable product by one of the following:

a. Corbin Russwin Architectural Hardware; an ASSA ABLOY Group company.

b. DORMA Architectural Hardware; Member of The DORMA Group North America.

c. LCN Closers; an Ingersoll-Rand company.

d. Norton Door Controls; an ASSA ABLOY Group company.

e. Rixson Specialty Door Controls; an ASSA ABLOY Group company.

f. SARGENT Manufacturing Company; an ASSA ABLOY Group company.

g. <Insert manufacturer's name>.

2.24 MECHANICAL STOPS AND HOLDERS

A. Wall- and Floor-Mounted Stops: BHMA A156.16; [polished cast brass, bronze, or aluminum] <Insert metal> base metal.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product: Subject to compliance with requirements, provide product indicated on [Drawings] [schedule] or comparable product by one of the following:

a. Architectural Builders Hardware Mfg., Inc.

b. Baldwin Hardware Corporation.

c. Burns Manufacturing Incorporated.

d. Cal-Royal Products, Inc.

e. Don-Jo Mfg., Inc.

f. Door Controls International, Inc .

g. Hager Companies.

h. Hiawatha, Inc.

i. IVES Hardware; an Ingersoll-Rand company.

j. Rockwood Manufacturing Company.

k. Stanley Commercial Hardware; Div. of The Stanley Works.

l. Trimco.

m. <Insert manufacturer's name>.

2.25 ELECTROMAGNETIC STOPS AND HOLDERS

A. Electromagnetic Door Holders: BHMA A156.15, Grade 1; [wall-mounted electromagnetic single] [floor-mounted electromagnet single] [floor-mounted electromagnet double] unit with strike plate attached to swinging door; coordinated with fire detectors and interface with fire alarm system for labeled fire-rated door assemblies.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product: Subject to compliance with requirements, provide product indicated on [Drawings] [schedule] or comparable product by one of the following:

a. Architectural Builders Hardware Mfg., Inc.

b. DORMA Architectural Hardware; Member of The DORMA Group North America.

c. SARGENT Manufacturing Company; an ASSA ABLOY Group company.

d. <Insert manufacturer's name>.

2.26 OVERHEAD STOPS AND HOLDERS

A. Overhead Stops and Holders: BHMA A156.8.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product: Subject to compliance with requirements, provide product indicated on [Drawings] [schedule] or comparable product by one of the following:

a. Architectural Builders Hardware Mfg., Inc.

b. Glynn-Johnson; an Ingersoll-Rand company.

c. Rockwood Manufacturing Company.

d. SARGENT Manufacturing Company; an ASSA ABLOY Group company.

e. <Insert manufacturer's name>.

2.27 DOOR GASKETING

A. Door Gasketing: BHMA A156.22; air leakage not to exceed 0.50 cfm per foot (0.000774 cu. m/s per m) of crack length for gasketing other than for smoke control, as tested according to ASTM E 283; with resilient or flexible seal strips that are easily replaceable and readily available from stocks maintained by manufacturer.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product: Subject to compliance with requirements, provide product indicated on [Drawings] [schedule] or comparable product by one of the following:

a. Hager Companies.

b. M-D Building Products, Inc.

c. National Guard Products.

d. Pemko Manufacturing Co.; an ASSA ABLOY Group company.

e. Reese Enterprises, Inc.

f. Sealeze; a unit of Jason Incorporated.

g. Zero International.

h. <Insert manufacturer's name>.

2.28 THRESHOLDS

A. Thresholds: BHMA A156.21; fabricated to full width of opening indicated.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product: Subject to compliance with requirements, provide product indicated on [Drawings] [schedule] or comparable product by one of the following:

a. Hager Companies.

b. M-D Building Products, Inc.

c. National Guard Products.

d. Pemko Manufacturing Co.; an ASSA ABLOY Group company.

e. Reese Enterprises, Inc.

f. Rixson Specialty Door Controls; an ASSA ABLOY Group company.

g. Sealeze; a unit of Jason Incorporated.

h. Zero International.

i. <Insert manufacturer's name>.

2.29 SLIDING DOOR HARDWARE

A. Sliding Door Hardware: BHMA A156.14; consisting of complete sets including rails, hangers, supports, bumpers, floor guides, and accessories indicated.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product: Subject to compliance with requirements, provide product indicated on [Drawings] [schedule] or comparable product by one of the following:

a. Cox, Arthur, & Sons, Inc.

b. Hager Companies.

c. Henderson, PC Inc.

d. Johnson, L. E., Products, Inc.

e. Stanley Commercial Hardware; Div. of The Stanley Works.

f. <Insert manufacturer's name>.

2.30 FOLDING DOOR HARDWARE

A. General: BHMA A156.14; complete sets including overhead rails, hangers, supports, bumpers, floor guides, and accessories indicated.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product: Subject to compliance with requirements, provide product indicated on [Drawings] [schedule] or comparable product by one of the following:

a. Cox, Arthur, & Sons, Inc.

b. Hager Companies.

c. Henderson, PC Inc.

d. Johnson, L. E., Products, Inc.

e. Stanley Commercial Hardware; Div. of The Stanley Works.

f. <Insert manufacturer's name>.

2.31 METAL PROTECTIVE TRIM UNITS

A. Metal Protective Trim Units: BHMA A156.6; fabricated from 0.050-inch- (1.3-mm-) thick [aluminum] [brass] [bronze] [stainless steel]; with manufacturer's standard machine or self-tapping screw fasteners.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product: Subject to compliance with requirements, provide product indicated on [Drawings] [schedule] or comparable product by one of the following:

a. Baldwin Hardware Corporation.

b. Burns Manufacturing Incorporated.

c. Don-Jo Mfg., Inc.

d. Hiawatha, Inc.

e. IPC Door and Wall Protection Systems, Inc.; Div. of InPro Corporation.

f. IVES Hardware; an Ingersoll-Rand company.

g. Pawling Corporation.

h. Rockwood Manufacturing Company.

i. Trimco.

j. <Insert manufacturer's name>.

2.32 PLASTIC PROTECTION PLATES

A. Plastic Protection Plates: BHMA A156.6; fabricated with four sides beveled; [plastic laminate; 1/8 inch (3.2 mm) thick; NEMA LD 3, Grade HGS] [rigid plastic; 0.060-inch- (1.5-mm-) thick, PVC or acrylic-modified vinyl plastic] [acrylic; 1/8 inch (3.2 mm) thick].

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product: Subject to compliance with requirements, provide product indicated on [Drawings] [schedule] or comparable product by one of the following:

a. American Floor Products Co., Inc.

b. Burns Manufacturing Incorporated.

c. Don-Jo Mfg., Inc.

d. Hiawatha, Inc.

e. IPC Door and Wall Protection Systems, Inc.; Div. of InPro Corporation.

f. Korogard Wall Protection Systems; Div. of RJF International Corporation.

g. Pawling Corporation.

h. Rockwood Manufacturing Company.

i. Tepromark International, Inc.

j. Trimco.

k. <Insert manufacturer's name>.

2.33 AUXILIARY DOOR HARDWARE

A. Auxiliary Hardware: BHMA A156.16.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product: Subject to compliance with requirements, provide product indicated on [Drawings] [schedule] or comparable product by one of the following:

a. Baldwin Hardware Corporation.

b. Cal-Royal Products, Inc.

c. Don-Jo Mfg., Inc.

d. Hager Companies.

e. Rockwood Manufacturing Company.

f. Stanley Commercial Hardware; Div. of The Stanley Works.

g. Trimco.

h. <Insert manufacturer's name>.

2.34 AUXILIARY ELECTRIFIED DOOR HARDWARE

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

A. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

B. Basis-of-Design Product: Subject to compliance with requirements, provide product indicated on [Drawings] [schedule] or comparable product by one of the following:

1. DynaLock Corp.

2. GE Security, Inc.

3. SARGENT Manufacturing Company; an ASSA ABLOY Group company.

4. Schlage Commercial Lock Division; an Ingersoll-Rand company.

5. Securitron Magnalock Corporation; an ASSA ABLOY Group company.

6. Security Door Controls.

7. <Insert manufacturer's name>.

2.35 FABRICATION

A. Fasteners: Provide door hardware manufactured to comply with published templates prepared for machine, wood, and sheet metal screws. Provide screws that comply with commercially recognized industry standards for application intended, except aluminum fasteners are not permitted. Provide Phillips flat-head screws with finished heads to match surface of door hardware, unless otherwise indicated.

Retain first subparagraph below where visual quality is important. Coordinate with Section 081416 "Flush Wood Doors."

1. Concealed Fasteners: For door hardware units that are exposed when door is closed, except for units already specified with concealed fasteners. Do not use through bolts for installation where bolt head or nut on opposite face is exposed unless it is the only means of securely attaching the door hardware. Where through bolts are used on hollow door and frame construction, provide sleeves for each through bolt.

NFPA 80 requires locks, latches, surface-mounted top and bottom bolts, and fire-exit hardware to be secured with machine screws or through bolts.

2. Fire-Rated Applications:

a. Wood or Machine Screws: For the following:

1) Hinges mortised to doors or frames[; use threaded-to-the-head wood screws for wood doors and frames].

2) Strike plates to frames.

3) Closers to doors and frames.

b. Steel Through Bolts: For the following unless door blocking is provided:

1) Surface hinges to doors.

2) Closers to doors and frames.

3) Surface-mounted exit devices.

3. Spacers or Sex Bolts: For through bolting of hollow-metal doors.

4. Fasteners for Wood Doors: Comply with requirements in DHI WDHS.2, "Recommended Fasteners for Wood Doors."

5. Gasketing Fasteners: Provide noncorrosive fasteners for exterior applications and elsewhere as indicated.

2.36 FINISHES

A. Provide finishes complying with BHMA A156.18 as indicated in door hardware schedule.

B. Protect mechanical finishes on exposed surfaces from damage by applying a strippable, temporary protective covering before shipping.

PART 3 -  EXECUTION

3.1 INSTALLATION

NFPA 80 restricts on-site door preparation to that required for surface-applied door hardware, function holes for mortise locks, holes for labeled viewers, undercutting of doors, and protection plates.

A. Steel Doors and Frames: For surface applied door hardware, drill and tap doors and frames according to ANSI/SDI A250.6.

B. Wood Doors: Comply with DHI WDHS.5 "Recommended Hardware Reinforcement Locations for Mineral Core Wood Flush Doors."

C. Mounting Heights: Mount door hardware units at heights [indicated on Drawings] [to comply with the following] unless otherwise indicated or required to comply with governing regulations.

If retaining second option in paragraph above, retain subparagraphs below and revise to suit Project.

1. Standard Steel Doors and Frames: ANSI/SDI A250.8.

2. Custom Steel Doors and Frames: HMMA 831.

3. Wood Doors: DHI WDHS.3, "Recommended Locations for Architectural Hardware for Wood Flush Doors."

D. Install each door hardware item to comply with manufacturer's written instructions. Where cutting and fitting are required to install door hardware onto or into surfaces that are later to be painted or finished in another way, coordinate removal, storage, and reinstallation of surface protective trim units with finishing work. Do not install surface-mounted items until finishes have been completed on substrates involved.

1. Set units level, plumb, and true to line and location. Adjust and reinforce attachment substrates as necessary for proper installation and operation.

2. Drill and countersink units that are not factory prepared for anchorage fasteners. Space fasteners and anchors according to industry standards.

E. Hinges: Install types and in quantities indicated in door hardware schedule but not fewer than the number recommended by manufacturer for application indicated or one hinge for every 30 inches (750 mm) of door height, whichever is more stringent, unless other equivalent means of support for door, such as spring hinges or pivots, are provided.

F. Intermediate Offset Pivots: Where offset pivots are indicated, provide intermediate offset pivots in quantities indicated in door hardware schedule but not fewer than one intermediate offset pivot per door and one additional intermediate offset pivot for every 30 inches (750 mm) of door height greater than 90 inches (2286 mm).

G. Lock Cylinders: Install construction cores to secure building and areas during construction period.

Retain one of two subparagraphs below.

1. Replace construction cores with permanent cores as [indicated in keying schedule] [directed by Owner].

2. Furnish permanent cores to Owner for installation.

H. Key Control System: Tag keys and place them on markers and hooks in key control system cabinet, as determined by final keying schedule.

Retain first paragraph below if electrified door hardware is required. Verify acceptable location for power supplies with authorities having jurisdiction.

I. Boxed Power Supplies: Locate power supplies as indicated or, if not indicated, [above accessible ceilings] [in equipment room]. Verify location with Architect.

1. Configuration: Provide [one power supply for each door opening] [least number of power supplies required to adequately serve doors] with electrified door hardware.

If thresholds on doors other than exterior doors are set in full bed of sealant, indicate locations in door hardware schedule or on Drawings, or revise first paragraph below.

J. Thresholds: Set thresholds for exterior doors and other doors indicated in full bed of sealant complying with requirements specified in Section 079200 "Joint Sealants."

Retain first paragraph below for default specification of floor stops at every door. Where floor or wall stops are not appropriate, use overhead holders.

K. Stops: Provide floor stops for doors unless wall or other type stops are indicated in door hardware schedule. Do not mount floor stops where they will impede traffic.

L. Perimeter Gasketing: Apply to head and jamb, forming seal between door and frame.

M. Meeting Stile Gasketing: Fasten to meeting stiles, forming seal when doors are closed.

N. Door Bottoms: Apply to bottom of door, forming seal with threshold when door is closed.

O. Adjustment: Adjust and check each operating item of door hardware and each door to ensure proper operation or function of every unit. Replace units that cannot be adjusted to operate as intended. Adjust door control devices to compensate for final operation of heating and ventilating equipment and to comply with referenced accessibility requirements.

3.2 FIELD QUALITY CONTROL

Retain this article if Owner will engage an independent Architectural Hardware Consultant to perform field inspections or revise if Contractor must engage consultant for field quality control.

A. Independent Architectural Hardware Consultant: Owner will engage a qualified independent Architectural Hardware Consultant to perform inspections and to prepare inspection reports.

3.3 DOOR HARDWARE SCHEDULE

Delete this article if door hardware schedule is included on the Drawings.

Create a schedule to include a door hardware set for each unique door hardware configuration required for the Project. Identify each set with a unique number designation. Coordinate with "Scheduled Door Hardware" Article. Insert schedule below.

See "Sample Door Hardware Schedules" Article in the Evaluations for additional information.

END OF SECTION 087100

	DOOR HARDWARE
	087100 - 1



