Copyright 2010 AIA
MasterSpec Professional
08/10

Copyright 2010 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 088000 - GLAZING
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section includes glazing for the following products and applications, including those specified in other Sections where glazing requirements are specified by reference to this Section:

1. Windows.

2. Doors.

3. Glazed curtain walls.

4. Storefront framing.

5. Glazed entrances.

6. Sloped glazing.

7. Skylights.

8. Interior borrowed lites.

1.2 PERFORMANCE REQUIREMENTS

Retain first paragraph below if Contractor is required to assume responsibility for design. ASTM E 1300 is referenced in the 2006 International Building Code (IBC), but the 2003 IBC contains its own design requirements, which are different from those in ASTM E 1300.

A. Delegated Design: Design glass, including comprehensive engineering analysis according to [ASTM E 1300] [ICC's 2003 International Building Code] by a qualified professional engineer, using the following design criteria:

The IBC requires that design wind pressures used for design of exterior components and cladding not designed by the registered design professional be shown on the Construction Documents.

1. Design Wind Pressures: As indicated on Drawings.

Retain first subparagraph below if sloped glazing is exposed to snow loads. The IBC requires that the flat-roof snow load be indicated on the Construction Documents if the ground snow load exceeds 10 lbf/sq. ft. (0.479 kN/sq. m).

2. Design Snow Loads: <Insert design snow load> [As indicated on Drawings].

If referencing ASTM E 1300, retain applicable subparagraphs from first three below, which are based on requirements in the 2006 IBC.

3. Vertical Glazing: For glass surfaces sloped 15 degrees or less from vertical, design glass to resist design wind pressure based on glass type factors for short-duration load.

4. Sloped Glazing: For glass surfaces sloped more than 15 degrees from vertical, design glass to resist each of the following combinations of loads:

a. Outward design wind pressure minus the weight of the glass. Base design on glass type factors for short-duration load.

b. Inward design wind pressure plus the weight of the glass plus half of the design snow load. Base design on glass type factors for short-duration load.

c. Half of the inward design wind pressure plus the weight of the glass plus the design snow load. Base design on glass type factors for long-duration load.

5. Thickness of Patterned Glass: Base design of patterned glass on thickness at thinnest part of the glass.

Subparagraph below applies primarily to tinted glass because of its heat-absorbing property. ASTM E 1300 and the IBC do not address this concern.

6. Differential Shading: Design glass to resist thermal stresses induced by differential shading within individual glass lites.

1.3 PRECONSTRUCTION TESTING

Retain this article if insulating or laminated glass is installed with glazing sealants. Adhesion and compatibility testing is essential for insulating and laminated glass and is usually done by sealant manufacturer. Tests require large number of Samples, and some tests require four weeks to complete.

A. Preconstruction Adhesion and Compatibility Testing: Test each glazing material type, tape sealant, gasket, glazing accessory, and glass-framing member for adhesion to and compatibility with elastomeric glazing sealants.

Retain subparagraph below if previous testing is acceptable.

1. Testing will not be required if data are submitted based on previous testing of current sealant products and glazing materials matching those submitted.

1.4 ACTION SUBMITTALS

A. Product Data: For each glass product and glazing material indicated.

B. LEED Submittals:

"Product Data for Credit IEQ 4.1" Subparagraph below applies to LEED-NC, LEED-CI, and LEED-CS; coordinate with requirements selected in Part 2 for glazing sealants.

1. Product Data for Credit IEQ 4.1: For glazing sealants used inside the weatherproofing system, documentation including printed statement of VOC content.

"Laboratory Test Reports for Credit IEQ 4" Subparagraph below applies to LEED for Schools.

2. Laboratory Test Reports for Credit IEQ 4: For glazing sealants used inside the weatherproofing system, documentation indicating that they comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

C. Glass Samples: For each type of glass product other than clear monolithic vision glass; 12 inches (300 mm) square.

D. Glazing Schedule: List glass types and thicknesses for each size opening and location. Use same designations indicated on Drawings.

Paragraph below is defined in Section 013300 "Submittal Procedures" as a "Delegated-Design Submittal." Retain if Work of this Section is required to withstand specific design loads and design responsibilities have been delegated to Contractor or if structural data are required as another way to verify compliance with performance requirements. Professional engineer qualifications are specified in Section 014000 "Quality Requirements."

E. Delegated-Design Submittal: For glass indicated to comply with performance requirements and design criteria, including analysis data signed and sealed by the qualified professional engineer responsible for their preparation.

1.5 INFORMATIONAL SUBMITTALS

A. Preconstruction adhesion and compatibility test report.

1.6 QUALITY ASSURANCE

A. Glazing Publications: Comply with published recommendations of glass product manufacturers and organizations below, unless more stringent requirements are indicated. Refer to these publications for glazing terms not otherwise defined in this Section or in referenced standards.

Retain publications in subparagraphs below that apply to glass products specified.

1. GANA Publications: [GANA's "Laminated Glazing Reference Manual" and ]GANA's "Glazing Manual."

2. AAMA Publications: AAMA GDSG-1, "Glass Design for Sloped Glazing," and AAMA TIR-A7, "Sloped Glazing Guidelines."

3. IGMA Publication for Sloped Glazing: IGMA TB-3001, "Guidelines for Sloped Glazing."

4. IGMA Publication for Insulating Glass: SIGMA TM-3000, "North American Glazing Guidelines for Sealed Insulating Glass Units for Commercial and Residential Use."

Retain first paragraph below if applicable and if labeling is required. Not all manufacturers participate in third-party testing programs.

B. Safety Glazing Labeling: Where safety glazing labeling is indicated, permanently mark glazing with certification label of [the SGCC] [the SGCC or another certification agency acceptable to authorities having jurisdiction] [or] [the manufacturer]. Label shall indicate manufacturer's name, type of glass, thickness, and safety glazing standard with which glass complies.

Retain first paragraph below if applicable and if labeling is required. Below is based on the 2006 IBC.

C. Fire-Protection-Rated Glazing Labeling: Permanently mark fire-protection-rated glazing with certification label of a testing agency acceptable to authorities having jurisdiction. Label shall indicate manufacturer's name, test standard, whether glazing is for use in fire doors or other openings, whether or not glazing passes hose-stream test, whether or not glazing has a temperature rise rating of 450 deg F (250 deg C), and the fire-resistance rating in minutes.

Delete paragraph below if no insulating glass. Not all manufacturers participate in program; refer to the IGCC directory for participants. Verify that types of units required are certified.

D. Insulating-Glass Certification Program: Permanently marked either on spacers or on at least one component lite of units with appropriate certification label of IGCC.

1.7 WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this article are not less than remedies available to Owner under prevailing local laws.

Paragraphs below are examples only.

A. Manufacturer's Special Warranty for Coated-Glass Products: Manufacturer's standard form in which coated-glass manufacturer agrees to replace coated-glass units that deteriorate within specified warranty period. Deterioration of coated glass is defined as defects developed from normal use that are not attributed to glass breakage or to maintaining and cleaning coated glass contrary to manufacturer's written instructions. Defects include peeling, cracking, and other indications of deterioration in coating.

Verify available warranties and warranty periods with manufacturers listed in Part 2 articles. Revise subparagraph below if glass manufacturers insist on warranty beginning on date of manufacture. See Evaluations.

1. Warranty Period: [10] <Insert number> years from date of Substantial Completion.

B. Manufacturer's Special Warranty on Laminated Glass: Manufacturer's standard form in which laminated-glass manufacturer agrees to replace laminated-glass units that deteriorate within specified warranty period. Deterioration of laminated glass is defined as defects developed from normal use that are not attributed to glass breakage or to maintaining and cleaning laminated glass contrary to manufacturer's written instructions. Defects include edge separation, delamination materially obstructing vision through glass, and blemishes exceeding those allowed by referenced laminated-glass standard.

Verify available warranties and warranty periods with manufacturers listed in Part 2 articles. Revise subparagraph below if glass manufacturers insist on warranty beginning on date of manufacture. See Evaluations.

1. Warranty Period: [Five] [10] <Insert number> years from date of Substantial Completion.

C. Manufacturer's Special Warranty on Insulating Glass: Manufacturer's standard form in which insulating-glass manufacturer agrees to replace insulating-glass units that deteriorate within specified warranty period. Deterioration of insulating glass is defined as failure of hermetic seal under normal use that is not attributed to glass breakage or to maintaining and cleaning insulating glass contrary to manufacturer's written instructions. Evidence of failure is the obstruction of vision by dust, moisture, or film on interior surfaces of glass.

Verify available warranties and warranty periods with manufacturers listed in Part 2 articles. Revise subparagraph below if glass manufacturers insist on warranty beginning on date of manufacture. See Evaluations.

1. Warranty Period: [10] <Insert number> years from date of Substantial Completion.

PART 2 -  PRODUCTS

2.1 GLASS PRODUCTS, GENERAL

A. Thickness: Where glass thickness is indicated, it is a minimum. Provide glass lites in thicknesses as needed to comply with requirements indicated.

B. Strength: Where float glass is indicated, provide annealed float glass, Kind HS heat-treated float glass, or Kind FT heat-treated float glass[ as needed to comply with "Performance Requirements" Article]. Where heat-strengthened glass is indicated, provide Kind HS heat-treated float glass or Kind FT heat-treated float glass[ as needed to comply with "Performance Requirements" Article]. Where fully tempered glass is indicated, provide Kind FT heat-treated float glass.

Retain first paragraph below if required by Project. The IBC defines wind-borne debris regions. Enhanced protection applies to essential facilities. Verify requirements of authorities having jurisdiction.

C. Windborne-Debris-Impact Resistance: Provide exterior glazing that passes [basic] [enhanced]-protection testing requirements in ASTM E 1996 for [Wind Zone 1] [Wind Zone 2] [Wind Zone 3] [Wind Zone 4] when tested according to ASTM E 1886. Test specimens shall be no smaller in width and length than glazing indicated for use on the Project and shall be installed in same manner as glazing indicated for use on the Project.

Retain first two subparagraphs below or retain third subparagraph. First two subparagraphs are requirements stated in the IBC; third is requirement in ASTM E 1996 for essential facilities.

1. Large-Missile Test: For glazing located within 30 feet (9.1 m) of grade.

2. Small-Missile Test: For glazing located more than 30 feet (9.1 m) above grade.

3. Large-Missile Test: For all glazing, regardless of height above grade.

D. Thermal and Optical Performance Properties: Provide glass with performance properties specified, as indicated in manufacturer's published test data, based on procedures indicated below:

1. U-Factors: Center-of-glazing values, according to NFRC 100 and based on LBL's WINDOW 5.2 computer program, expressed as Btu/sq. ft. x h x deg F (W/sq. m x K).

2. Solar Heat-Gain Coefficient and Visible Transmittance: Center-of-glazing values, according to NFRC 200 and based on LBL's WINDOW 5.2 computer program.

3. Visible Reflectance: Center-of-glazing values, according to NFRC 300.

2.2 GLASS PRODUCTS

Retain paragraphs in this article that apply to monolithic-, laminated-, and insulating-glass types specified.

Retain first paragraph below even if plain, clear float glass is not required; other paragraphs in this article and in glass types articles depend on it for definition of "float glass."

A. Float Glass: ASTM C 1036, Type I, Quality-Q3, Class I (clear) unless otherwise indicated.

B. Ultraclear Float Glass: ASTM C 1036, Type I, Quality-Q3, Class I, complying with other requirements specified and with visible light transmission not less than 91 percent.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products. See Section 016000 "Product Requirements."

1. Products: Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. AFG Industries, Inc.; Krystal Klear.

b. Guardian Industries Corp.; Ultrawhite.

c. Pilkington North America; Optiwhite.

d. PPG Industries, Inc.; Starphire.

e. <Insert manufacturer's name; product name or designation>.

Retain first paragraph below even if plain, clear heat-treated float glass is not required; other paragraphs in this article and glass types articles depend on it for definition of "heat-treated float glass." Always retain paragraph if Contractor is responsible for determining glass thickness and strength.

C. Heat-Treated Float Glass: ASTM C 1048; Type I; Quality-Q3; Class I (clear) unless otherwise indicated; of kind and condition indicated.

Coating in first paragraph below is available only on clear float glass and is applied pyrolytically on the float line. Consequently, if a reflective or low-e coating is required (which would be on the second surface, which was exposed to the molten tin bath on the float line), it must be a sputtered coating.

D. Pyrolytic-Coated, Self-Cleaning, Low-Maintenance Glass: Clear float glass with a coating on first surface having both photocatalytic and hydrophilic properties that act to loosen dirt and to cause water to sheet evenly over the glass instead of beading.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products. See Section 016000 "Product Requirements."

1. Products: Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. AFG Industries, Inc.; Spotless Ti.

b. Cardinal Glass Industries; LoE2 Plus.

c. Pilkington North America; Activ.

d. PPG Industries, Inc.; SunClean.

e. <Insert manufacturer's name; product name or designation>.

If more than one color of tinted float glass is required, copy and re-edit first paragraph below for each color required and insert a color designation, such as "blue" or "bronze" at the beginning of the paragraph title. Use those color designations in schedules or on Drawings to identify where each color is required.

E. Uncoated Tinted Float Glass: Class 2, complying with other requirements specified.

1. Basis-of-Design Product: Subject to compliance with requirements, provide <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name>.

2. Tint Color: [Blue] [Blue-green] [Bronze] [Green] [Gray] <Insert color>.

Insert performance properties in subparagraph below to suit product(s) selected.

3. Visible Light Transmittance: <Insert value> percent minimum.

Retain classifications for finish and pattern in first paragraph below to suit products named.

F. Patterned Glass: ASTM C 1036, Type II, Class 1 (clear), Form 3; Quality-Q6, [Finish F1 (patterned one side)] [Finish F2 (patterned both sides)], [Pattern P1 (linear)] [Pattern P2 (geometric)] [Pattern P3 (random)] [Pattern P4 (special)].

1. Products: Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

Retain classifications for finish and pattern in first paragraph below to suit products named.

G. Tempered Patterned Glass: ASTM C 1048, Kind FT (fully tempered), Type II, Class 1 (clear), Form 3; Quality-Q6, [Finish F1 (patterned one side)] [Finish F2 (patterned both sides)], [Pattern P1 (linear)] [Pattern P2 (geometric)] [Pattern P3 (random)] [Pattern P4 (special)].

1. Products: Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

H. Ceramic-Coated Vision Glass: Heat-treated float glass, Condition C; with ceramic enamel applied by silk-screened process; complying with Specification No. 95-1-31 in GANA's Tempering Division's "Engineering Standards Manual" and with other requirements specified.

1. Products: Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

2. Glass: [Clear float] [Ultraclear float] [Tinted float].

Retain first subparagraph below if retaining tinted float glass in subparagraph above.

3. Tint Color: [Blue] [Blue-green] [Bronze] [Green] [Gray] <Insert color>.

Retain one requirement from options in subparagraph below.

4. Ceramic Coating Color and Pattern: [As selected by Architect from manufacturer's full range] [Match] [Provide] <Insert one manufacturer's color and pattern designation if matching is required; otherwise, insert color and pattern designation for each product named above>.

If more than one color of reflective-coated vision glass is required, copy and re-edit first paragraph below for each color required and insert a color designation, such as "blue" or "bronze" at the beginning of the paragraph title. Use those color designations in schedules or on Drawings to identify where each color is required. Pyrolytic coatings may be used on either the first or the second surface of monolithic-glass lites as well as other surfaces of laminated and insulating glass. Sputtered coatings may only be used with monolithic glass if recommended by manufacturer, and then only on the second surface. Otherwise, sputtered coating must be used with either laminated or insulating glass and placed on the second or third surface. Some sputter-coated products are heat treatable after coating is applied.

I. Reflective-Coated Vision Glass: ASTM C 1376, coated by [pyrolytic process] [vacuum deposition (sputter-coating) process], and complying with other requirements specified.

1. Basis-of-Design Product: Subject to compliance with requirements, provide <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name>.

Consider retaining option in first subparagraph below if applicable; option is based on ASTM C 1376.

2. Kind: Kind CV (coated vision glass)[, except that Kind CO (coated overhead glass) may be used where the lower edge of the glass is more than 6 feet (1.8 m) above the adjacent floor level or cannot be approached closer than 10 feet (3.0 m)].

Retain one color from options in first subparagraph below. Not all sputtered-coating colors are suitable for monolithic applications and must be on second surface for monolithic applications.

3. Coating Color: [Gold] [Pewter] [Silver] <Insert color>.

4. Glass: [Clear float] [Tinted float].

Retain first subparagraph below if retaining tinted float glass in last subparagraph above.

5. Tint Color: [Blue] [Blue-green] [Bronze] [Green] [Gray] <Insert color>.

Insert performance properties in two subparagraphs below to suit product(s) selected.

6. Visible Light Transmittance: <Insert value> percent minimum.

7. Outdoor Visible Reflectance: <Insert value> percent maximum.

If more than one color of ceramic-coated spandrel glass is required, copy and re-edit first paragraph below for each color required and insert a color designation, such as "blue" or "bronze" at the beginning of the paragraph title. Use those color designations in schedules or on Drawings to identify where each color is required.

J. Ceramic-Coated Spandrel Glass: ASTM C 1048, Condition B, Type I, Quality-Q3, and complying with other requirements specified.

1. Products: Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

2. Glass: [Clear float] [Ultraclear float] [Tinted float].

Retain first subparagraph below if retaining tinted float glass in subparagraph above.

3. Tint Color: [Blue] [Blue-green] [Bronze] [Green] [Gray] <Insert color>.

Retain one requirement from options in subparagraph below.

4. Ceramic Coating Color: [As selected by Architect from manufacturer's full range] [Match] [Provide] <Insert one manufacturer's color designation if matching is required; otherwise, insert color designation for each product named above>.

If more than one color of silicone-coated spandrel glass is required, copy and re-edit first paragraph below for each color required and insert a color designation, such as "blue" or "bronze" at the beginning of the paragraph title. Use those color designations in schedules or on Drawings to identify where each color is required. Coating below is an elastomeric paint and is less expensive than ceramic coating. Silicone coating is typically more uneven than ceramic coating and frequently contains pin holes; however, these irregularities are generally not visible from typical viewing distances because of lack of illumination in the space behind spandrel glass. Silicone coating is more readily available in custom colors and may provide fallout resistance.

K. Silicone-Coated Spandrel Glass: ASTM C 1048, Condition C, Type I, Quality-Q3, and complying with other requirements specified.

1. Products: Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

2. Glass: [Clear float] [Ultraclear float] [Tinted float].

Retain first subparagraph below if retaining tinted float glass in last subparagraph above.

3. Tint Color: [Blue] [Blue-green] [Bronze] [Green] [Gray] <Insert color>.

Retain one requirement from options in subparagraph below.

4. Silicone Coating Color: [As selected by Architect from manufacturer's full range] [Match] [Provide] <Insert one manufacturer's color designation if matching is required; otherwise, insert color designation for each product named above>.

If more than one color of reflective-coated spandrel glass is required, copy and re-edit paragraph below for each color required and insert a color designation, such as "blue" or "bronze" at the beginning of the paragraph title. Use those color designations in schedules or on Drawings to identify where each color is required.

L. Reflective-Coated Spandrel Glass: ASTM C 1376, Kind CS; coated by [pyrolytic process] [vacuum deposition (sputter-coating) process], and complying with other requirements specified.

1. Basis-of-Design Product: Subject to compliance with requirements, provide <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. <Insert, in separate subparagraphs, manufacturer's name>.

Retain one color from options in first subparagraph below. Not all sputtered-coating colors are suitable for monolithic applications and must be on second surface for monolithic applications.

2. Coating Color: [Gold] [Pewter] [Silver] <Insert color>.

3. Glass: [Clear float] [Ultraclear float] [Tinted float].

Retain first subparagraph below if retaining tinted float glass in last subparagraph above.

4. Tint Color: [Blue] [Blue-green] [Bronze] [Green] [Gray] <Insert color>.

Insert performance properties in subparagraphs below to suit product(s) selected

5. Visible Light Transmittance: <Insert value> percent minimum.

6. Outdoor Visible Reflectance: <Insert value> percent maximum.

2.3 LAMINATED GLASS

A. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

1. <Insert, in separate subparagraphs, manufacturer's name>.

B. Laminated Glass: ASTM C 1172, and complying with testing requirements in 16 CFR 1201 for Category II materials, and with other requirements specified. Use materials that have a proven record of no tendency to bubble, discolor, or lose physical and mechanical properties after fabrication and installation.

1. Construction: Laminate glass with [polyvinyl butyral interlayer] [or] [cast-in-place and cured-transparent-resin interlayer] to comply with interlayer manufacturer's written recommendations.

2. Interlayer Thickness: Provide thickness not less than that indicated and as needed to comply with requirements.

3. Interlayer Color: Clear unless otherwise indicated.

Retain paragraph below if retaining "Windborne-Debris-Impact Resistance" Paragraph in "Glass Products, General" Article.

C. Windborne-Debris-Impact-Resistant Laminated Glass: ASTM C 1172, and complying with testing requirements in 16 CFR 1201 for Category II materials, with "Windborne-Debris-Impact Resistance" Paragraph in "Glass Products, General" Article, and with other requirements specified. Use materials that have a proven record of no tendency to bubble, discolor, or lose physical and mechanical properties after fabrication and installation.

1. Construction: Laminate glass with[ one of] the following to comply with interlayer manufacturer's written recommendations:

a. Polyvinyl butyral interlayer.

b. Polyvinyl butyral interlayers reinforced with polyethylene terephthalate film.

c. Ionoplast interlayer.

d. Cast-in-place and cured-transparent-resin interlayer.

e. Cast-in-place and cured-transparent-resin interlayer reinforced with polyethylene terephthalate film.

2. Interlayer Thickness: Provide thickness not less than that indicated and as needed to comply with requirements.

3. Interlayer Color: Clear unless otherwise indicated.

2.4 INSULATING GLASS

A. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

1. <Insert, in separate subparagraphs, manufacturer's name>.

B. Insulating-Glass Units: Factory-assembled units consisting of sealed lites of glass separated by a dehydrated interspace, qualified according to ASTM E 2190, and complying with other requirements specified.

1. Sealing System: Dual seal.

If retaining a specific spacer material, coordinate with manufacturers and products selected.

2. Spacer: [Manufacturer's standard spacer material and construction] [Aluminum with mill or clear anodic finish] [Aluminum with black, color anodic finish] [Aluminum with bronze, color anodic finish] [Aluminum with powdered metal paint finish in color selected by Architect] [Galvanized steel] [Stainless steel] [Polypropylene covered stainless steel in color selected by Architect] [Thermally broken aluminum] [Nonmetallic laminate] [Nonmetallic tube] <Insert material>.

2.5 FIRE-PROTECTION-RATED GLAZING

A. Fire-Protection-Rated Glazing, General: Listed and labeled by a testing agency acceptable to authorities having jurisdiction, for fire-protection ratings indicated, based on testing according to [NFPA 252 for door assemblies] [and] [NFPA 257 for window assemblies].

Product in first paragraph below is available for 20-, 45-, 60-, 90, and 120-minute fire-protection rating, but not with 450 deg F (250 deg C) temperature rise limitation.

B. Film-Faced Ceramic Glazing: Clear, ceramic flat glass; 3/16-inch (5-mm) nominal thickness; faced on one surface with a clear glazing film; complying with testing requirements in 16 CFR 1201 for Category II materials.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products. See Section 016000 "Product Requirements."

1. Products: Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Nippon Electric Glass Co., Ltd. (distributed by Technical Glass Products); FireLite NT.

b. Safti First; SuperLite C/SP.

c. Schott North America, Inc.; [Filmed Pyran Star] [Filmed Pyran Crystal].

d. Vetrotech Saint-Gobain; SGG Keralite FR-F.

e. <Insert manufacturer's name; product name or designation>.

Product in first paragraph below is available for 20-, 45-, 60-, 90, and 120-minute fire-protection rating, but not with 450 deg F (250 deg C) temperature rise limitation.

C. Laminated Ceramic Glazing: Laminated glass made from 2 plies of clear, ceramic flat glass; 5/16-inch (8-mm) total nominal thickness; complying with testing requirements in 16 CFR 1201 for Category II materials.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products. See Section 016000 "Product Requirements."

1. Products: Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Nippon Electric Glass Co., Ltd. (distributed by Technical Glass Products); FireLite Plus.

b. Schott North America, Inc.; Laminated Pyran Crystal.

c. Vetrotech Saint-Gobain; SGG Keralite FR-L.

d. <Insert manufacturer's name; product name or designation>.

Product in first paragraph below is available for 45-, 60-, 90, and 120-minute fire-protection rating.

D. Laminated Glass with Intumescent Interlayers: Laminated glass made from multiple plies of uncoated, clear float glass; with intumescent interlayers; complying with testing requirements in 16 CFR 1201 for Category II materials.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products. See Section 016000 "Product Requirements."

1. Products: Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. InterEdge, Inc., a subsidiary of AFG Industries, Inc.; Pyrobel.

b. Pilkington Group Limited (distributed by Technical Glass Products); PyroStop.

c. Vetrotech Saint-Gobain; [SGG Contraflam N2] [SGG Swissflam N2].

d. <Insert manufacturer's name; product name or designation>.

Product in paragraph below is available for 20-, 45-, 60-, 90, and 120-minute fire-protection rating.

E. Gel-Filled, Double Glazing Units: Double glazing units made from two lites of uncoated, clear, fully tempered float glass; with a perimeter metal spacer separating lites and dual-edge seal enclosing a cavity filled with clear, fully transparent, heat-absorbing gel; complying with testing requirements in 16 CFR 1201 for Category II materials.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products. See Section 016000 "Product Requirements."

1. Products: Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Safti First; SuperLite II.

b. <Insert manufacturer's name; product name or designation>.

2.6 GLAZING GASKETS

Gaskets in first paragraph below are for drive-in wedges or for use with pressurized stops.

A. Dense Compression Gaskets: Molded or extruded gaskets of profile and hardness required to maintain watertight seal, made from[ one of] the following:

Retain one or more of four subparagraphs below. Neoprene is not compatible with silicone glazing sealants.

1. Neoprene complying with ASTM C 864.

2. EPDM complying with ASTM C 864.

3. Silicone complying with ASTM C 1115.

4. Thermoplastic polyolefin rubber complying with ASTM C 1115.

Gaskets in paragraph below are for use between glass and frame (or fixed stop) where they will be compressed by inserting dense compression gaskets or by pressure-glazing stops. Neoprene is not compatible with silicone glazing sealants.

B. Soft Compression Gaskets: Extruded or molded, closed-cell, integral-skinned [neoprene] [EPDM] [silicone] [or] [thermoplastic polyolefin rubber] gaskets complying with ASTM C 509, Type II, black; of profile and hardness required to maintain watertight seal.

1. Application: Use where soft compression gaskets will be compressed by inserting dense compression gaskets on opposite side of glazing or pressure applied by means of pressure-glazing stops on opposite side of glazing.

2.7 GLAZING SEALANTS

A. General:

1. Compatibility: Provide glazing sealants that are compatible with one another and with other materials they will contact, including glass products, seals of insulating-glass units, and glazing channel substrates, under conditions of service and application, as demonstrated by sealant manufacturer based on testing and field experience.

2. Suitability: Comply with sealant and glass manufacturers' written instructions for selecting glazing sealants suitable for applications indicated and for conditions existing at time of installation.

Retain first subparagraph below if required for LEED-NC, LEED-CI, or LEED-CS Credit IEQ 4.1.

3. Sealants used inside the weatherproofing system, shall have a VOC content of not more than 250 g/L when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

Retain first subparagraph below if required for LEED for Schools Credit IEQ 4.

4. Sealants used inside the weatherproofing system shall comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

5. Colors of Exposed Glazing Sealants: [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range].

Retain one or more of first four paragraphs below. If retaining more than one, retain "Applications" subparagraphs.

B. Glazing Sealant: Neutral-curing silicone glazing sealant complying with ASTM C 920, Type S, Grade NS, Class 100/50, Use NT.

1. Applications: <Describe types of glazing applications where this sealant is required>.

C. Glazing Sealant: Neutral-curing silicone glazing sealant complying with ASTM C 920, Type S, Grade NS, Class 50, Use NT.

1. Applications: <Describe types of glazing applications where this sealant is required>.

D. Glazing Sealant: Neutral-curing silicone glazing sealant complying with ASTM C 920, Type S, Grade NS, Class 25, Use NT.

1. Applications: <Describe types of glazing applications where this sealant is required>.

E. Glazing Sealant: Acid-curing silicone glazing sealant complying with ASTM C 920, Type S, Grade NS, Class 25, Use NT.

1. Applications: <Describe types of glazing applications where this sealant is required>.

F. Glazing Sealants for Fire-Rated Glazing Products: Products that are approved by testing agencies that listed and labeled fire-resistant glazing products with which they are used for applications and fire-protection ratings indicated.

2.8 GLAZING TAPES

A. Back-Bedding Mastic Glazing Tapes: Preformed, butyl-based, 100 percent solids elastomeric tape; nonstaining and nonmigrating in contact with nonporous surfaces; with or without spacer rod as recommended in writing by tape and glass manufacturers for application indicated; and complying with ASTM C 1281 and AAMA 800 for products indicated below:

Retain one or more back-bedding tapes from subparagraphs below. AAMA 804.3 tape is for less-severe back-bedding and drop-in residential and light-commercial glazing applications. AAMA 806.3 tape is for high-performance commercial glazing applications involving continuous pressure from gaskets or pressure-generating stop designs. AAMA 807.3 tape is for commercial glazing applications not involving continuous pressure from gaskets and stop designs.

1. AAMA 804.3 tape, where indicated.

2. AAMA 806.3 tape, for glazing applications in which tape is subject to continuous pressure.

3. AAMA 807.3 tape, for glazing applications in which tape is not subject to continuous pressure.

B. Expanded Cellular Glazing Tapes: Closed-cell, PVC foam tapes; factory coated with adhesive on both surfaces; and complying with AAMA 800 for the following types:

1. AAMA 810.1, Type 1, for glazing applications in which tape acts as the primary sealant.

2. AAMA 810.1, Type 2, for glazing applications in which tape is used in combination with a full bead of liquid sealant.

2.9 MISCELLANEOUS GLAZING MATERIALS

A. Cleaners, Primers, and Sealers: Types recommended by sealant or gasket manufacturer.

B. Setting Blocks: Elastomeric material with a Shore, Type A durometer hardness of 85, plus or minus 5.

C. Spacers: Elastomeric blocks or continuous extrusions of hardness required by glass manufacturer to maintain glass lites in place for installation indicated.

D. Edge Blocks: Elastomeric material of hardness needed to limit glass lateral movement (side walking).

Retain first paragraph below if applicable for glazing channels.

E. Cylindrical Glazing Sealant Backing: ASTM C 1330, Type O (open-cell material), of size and density to control glazing sealant depth and otherwise produce optimum glazing sealant performance.

F. Perimeter Insulation for Fire-Resistive Glazing: Product that is approved by testing agency that listed and labeled fire-resistant glazing product with which it is used for application and fire-protection rating indicated.

Revise five articles below to suit Project. Retain requirements in "Glass Products" Article that reference glass standards, but do not duplicate requirements retained in that article.

Copy paragraphs in the five articles if needed and re-edit them to suit Project.

Insert number to complete drawing designations. Use these designations on Drawings to show where each glass type is required.

2.10 MONOLITHIC-GLASS TYPES

If thicknesses for each type of monolithic-glass unit are specified in this article, insert or retain thickness designations in millimeters per ASTM C 1036. If thickness designations are indicated on Drawings or are determined solely on compliance with "Performance Requirements" Article, delete "Thickness" subparagraphs.

A. Glass Type [GL-<#>]: Clear [float glass] [heat-strengthened float glass] [fully tempered float glass].

1. Thickness: [6.0 mm] <Insert thickness designation>.

Retain subparagraph below if required for fully tempered glass.

2. Provide safety glazing labeling.

B. Glass Type [GL-<#>]: Pyrolytic-coated, self-cleaning, low-maintenance, clear [float glass] [heat-strengthened float glass] [fully tempered float glass].

1. Thickness: [6.0 mm] <Insert thickness designation>.

Retain subparagraph below if required for fully tempered glass.

2. Provide safety glazing labeling.

C. Glass Type [GL-<#>]: Tinted [float glass] [heat-strengthened float glass] [fully tempered float glass].

1. Thickness: [6.0 mm] <Insert thickness designation>.

Retain subparagraph below if required for fully tempered glass.

2. Provide safety glazing labeling.

D. Glass Type [GL-<#>]: Patterned glass.

Refer to manufacturers' product data to determine thicknesses available for each patterned product.

1. Thickness: [4.0] [5.0] [6.0] mm.

E. Glass Type [GL-<#>]: Tempered patterned glass.

Refer to manufacturers' product data to determine thicknesses available for each patterned product.

1. Thickness: [4.0] [5.0] [6.0] mm.

Retain subparagraph below if required.

2. Provide safety glazing labeling.

F. Glass Type [GL-<#>]: Ceramic-coated vision glass, [heat-strengthened float glass] [fully tempered float glass].

1. Thickness: [6.0 mm] <Insert thickness designation>.

2. Coating Location: Second surface.

Retain subparagraph below if required for fully tempered glass.

3. Provide safety glazing labeling.

Not all sputtered-coating colors are suitable for monolithic applications and must be on second surface.

G. Glass Type [GL-<#>]: Reflective-coated vision glass, [float glass] [heat-strengthened float glass] [fully tempered float glass].

1. Thickness: [6.0 mm] <Insert thickness designation>.

2. Coating Location: [First] [Second] surface.

Retain subparagraph below if required for fully tempered glass.

3. Provide safety glazing labeling.

H. Glass Type [GL-<#>]: Ceramic-coated spandrel glass, [heat-strengthened float glass] [fully tempered float glass].

1. Thickness: [6.0 mm] <Insert thickness designation>.

2. Coating Location: Second surface.

I. Glass Type [GL-<#>]: Silicone-coated spandrel glass, [heat-strengthened float glass] [fully tempered float glass].

1. Thickness: [6.0 mm] <Insert thickness designation>.

2. Coating Location: Second surface.

Not all sputtered-coating colors are suitable for monolithic applications and must be on second surface.

J. Glass Type [GL-<#>]: Reflective-coated spandrel glass, [heat-strengthened float glass] [fully tempered float glass].

1. Thickness: [6.0 mm] <Insert thickness designation>.

2. Coating Location: [First] [Second] surface.

Retain subparagraph below if read-through is not controlled by another means. Opacifier below can be applied only over reflective coating; verify availability with glass manufacturers.

3. Factory apply manufacturer's standard opacifier to coated second surface of lites, with resulting products complying with Specification No. 89-1-6 in GANA's Tempering Division's "Engineering Standards Manual":

2.11 LAMINATED-GLASS TYPES

A. Glass Type [GL-<#>]: Clear laminated glass with two plies of [float glass] [heat-strengthened float glass] [fully tempered float glass] [ultraclear float glass] [ultraclear heat-strengthened float glass] [ultraclear fully tempered float glass].

1. Thickness of Each Glass Ply: [3.0 mm] [4.0 mm] [5.0 mm] [6.0 mm] [As indicated] <Insert thickness designation>.

2. Interlayer Thickness: [0.030 inch (0.76 mm)] [0.060 inch (1.52 mm)] [0.090 inch (2.29 mm)].

Retain subparagraph below if required.

3. Provide safety glazing labeling.

B. Glass Type [GL-<#>]: Tinted laminated glass with two plies of [float glass] [heat-strengthened float glass] [fully tempered float glass] with outer ply Class 2 (tinted) and inner ply Class 1 (clear).

1. Thickness of Each Glass Ply: [3.0 mm] [4.0 mm] [5.0 mm] [6.0 mm] [As indicated] <Insert thickness designation>.

2. Interlayer Thickness: [0.030 inch (0.76 mm)] [0.060 inch (1.52 mm)] [0.090 inch (2.29 mm)].

Retain subparagraph below if required.

3. Provide safety glazing labeling.

C. Glass Type [GL-<#>]: Tinted laminated glass with two plies of clear [float glass] [heat-strengthened float glass] [fully tempered float glass] and tinted interlayer.

1. Thickness of Each Glass Ply: [3.0 mm] [4.0 mm] [5.0 mm] [6.0 mm] [As indicated] <Insert thickness designation>.

2. Interlayer Thickness: [0.030 inch (0.76 mm)] [0.060 inch (1.52 mm)] [0.090 inch (2.29 mm)].

3. Interlayer Color: [Blue-green] [Bronze light] [Gray] <Insert color>.

Retain subparagraph below if required.

4. Provide safety glazing labeling.

Samples for verification or mockups should be used for laminated glass that has the coating facing the plastic interlayer due to potential color shift.

D. Glass Type [GL-<#>]: Ceramic-coated, laminated vision glass with two plies of [heat-strengthened float glass] [fully tempered float glass].

1. Thickness of Each Glass Ply: [3.0 mm] [4.0 mm] [5.0 mm] [6.0 mm] [As indicated] <Insert thickness designation>.

2. Interlayer Thickness: [0.030 inch (0.76 mm)] [0.060 inch (1.52 mm)] [0.090 inch (2.29 mm)].

3. Coating Location: [Second] [Third] [Fourth] surface.

Retain subparagraph below if required.

4. Provide safety glazing labeling.

Samples for verification or mockups should be used for laminated glass that has the coating facing the plastic interlayer due to potential color shift.

E. Glass Type [GL-<#>]: Reflective-coated, laminated vision glass with two plies of [heat-strengthened float glass] [fully tempered float glass] with inner ply Class 1 (clear).

1. Thickness of Each Glass Ply: [3.0 mm] [4.0 mm] [5.0 mm] [6.0 mm] [As indicated] <Insert thickness designation>.

2. Interlayer Thickness: [0.030 inch (0.76 mm)] [0.060 inch (1.52 mm)] [0.090 inch (2.29 mm)].

3. Coating Location: [First] [Second] [Third] surface.

Retain subparagraph below if required.

4. Provide safety glazing labeling.

Samples for verification or mockups should be used for laminated glass that has the coating facing the plastic interlayer due to potential color shift.

F. Glass Type [GL-<#>]: Low-e-coated, laminated vision glass with two plies of clear [float glass] [heat-strengthened float glass] [fully tempered float glass].

1. Thickness of Each Glass Ply: [3.0 mm] [4.0 mm] [5.0 mm] [6.0 mm] [As indicated] <Insert thickness designation>.

2. Interlayer Thickness: [0.030 inch (0.76 mm)] [0.060 inch (1.52 mm)] [0.090 inch (2.29 mm)].

3. Low-E Coating: [Pyrolytic on second] [Pyrolytic on third] [Sputtered on second] [Sputtered on third] [Pyrolytic or sputtered on second or third] surface.

4. Visible Light Transmittance: <Insert value> percent minimum.

5. Winter Nighttime U-Factor: <Insert value> maximum.

6. Summer Daytime U-Factor: <Insert value> maximum.

7. Solar Heat Gain Coefficient: <Insert value> maximum.

Retain subparagraph below if required.

8. Provide safety glazing labeling.

Samples for verification or mockups should be used for laminated glass that has the coating facing the plastic interlayer due to potential color shift.

G. Glass Type [GL-<#>]: Reflective-coated, laminated spandrel glass with two plies of [heat-strengthened float glass] [fully tempered float glass] with inner ply Class 1 (clear).

1. Thickness of Each Glass Ply: [3.0 mm] [4.0 mm] [5.0 mm] [6.0 mm] [As indicated] <Insert thickness designation>.

2. Interlayer Thickness: [0.030 inch (0.76 mm)] [0.060 inch (1.52 mm)] [0.090 inch (2.29 mm)].

3. Coating Location: [First] [Second] [Third] surface.

2.12 INSULATING-GLASS TYPES

A. Glass Type [GL-<#>]: Ultraclear insulating glass.

1. Overall Unit Thickness: [1 inch (25 mm)] [5/8 inch (16 mm)] <Insert dimension>.

2. Thickness of Each Glass Lite: [3.0 mm] [4.0 mm] [5.0 mm] [6.0 mm] <Insert thickness designation>.

3. Outdoor Lite: Ultraclear [float glass] [heat-strengthened float glass] [fully tempered float glass].

4. Interspace Content: [Air] [Argon].

5. Indoor Lite: Ultraclear [float glass] [heat-strengthened float glass] [fully tempered float glass].

6. Winter Nighttime U-Factor: <Insert value> maximum.

7. Summer Daytime U-Factor: <Insert value> maximum.

Retain subparagraph below if required for fully tempered glass.

8. Provide safety glazing labeling.

B. Glass Type [GL-<#>]: Pyrolytic-coated, self-cleaning, low-maintenance, clear insulating glass.

1. Overall Unit Thickness: [1 inch (25 mm)] [5/8 inch (16 mm)] <Insert dimension>.

2. Thickness of Each Glass Lite: [3.0 mm] [4.0 mm] [5.0 mm] [6.0 mm] <Insert thickness designation>.

3. Outdoor Lite: Pyrolytic-coated, self-cleaning, low-maintenance, clear [float glass] [heat-strengthened float glass] [fully tempered float glass].

4. Interspace Content: [Air] [Argon].

5. Indoor Lite: [Float glass] [Heat-strengthened float glass] [Fully tempered float glass].

6. Winter Nighttime U-Factor: <Insert value> maximum.

7. Summer Daytime U-Factor: <Insert value> maximum.

Retain subparagraph below if required for fully tempered glass.

8. Provide safety glazing labeling.

C. Glass Type [GL-<#>]: Low-e-coated, clear insulating glass.

1. Overall Unit Thickness: [1 inch (25 mm)] [5/8 inch (16 mm)] <Insert dimension>.

2. Thickness of Each Glass Lite: [3.0 mm] [4.0 mm] [5.0 mm] [6.0 mm] <Insert thickness designation>.

3. Outdoor Lite: [Float glass] [Heat-strengthened float glass] [Fully tempered float glass] [Ultraclear float glass] [Ultraclear heat-strengthened float glass] [Ultraclear fully tempered float glass].

4. Interspace Content: [Air] [Argon].

5. Indoor Lite: [Float glass] [Heat-strengthened float glass] [Fully tempered float glass] [Ultraclear float glass] [Ultraclear heat-strengthened float glass] [Ultraclear fully tempered float glass].

6. Low-E Coating: [Pyrolytic on second] [Pyrolytic on third] [Sputtered on second] [Sputtered on third] [Pyrolytic or sputtered on second or third] surface.

7. Visible Light Transmittance: <Insert value> percent minimum.

8. Winter Nighttime U-Factor: <Insert value> maximum.

9. Summer Daytime U-Factor: <Insert value> maximum.

10. Solar Heat Gain Coefficient: <Insert value> maximum.

Retain subparagraph below if required for fully tempered glass.

11. Provide safety glazing labeling.

D. Glass Type [GL-<#>]: Tinted insulating glass.

1. Overall Unit Thickness: [1 inch (25 mm)] [5/8 inch (16 mm)] <Insert dimension>.

2. Thickness of Each Glass Lite: [3.0 mm] [4.0 mm] [5.0 mm] [6.0 mm] <Insert thickness designation>.

3. Outdoor Lite: Tinted [float glass] [heat-strengthened float glass] [fully tempered float glass].

4. Interspace Content: [Air] [Argon].

5. Indoor Lite: Clear [float glass] [heat-strengthened float glass] [fully tempered float glass].

6. Winter Nighttime U-Factor: <Insert value> maximum.

7. Summer Daytime U-Factor: <Insert value> maximum.

8. Solar Heat Gain Coefficient: <Insert value> maximum.

Retain subparagraph below if required for fully tempered glass.

9. Provide safety glazing labeling.

E. Glass Type [GL-<#>]: Low-e-coated, tinted insulating glass.

1. Overall Unit Thickness: [1 inch (25 mm)] [5/8 inch (16 mm)] <Insert dimension>.

2. Thickness of Each Glass Lite: [3.0 mm] [4.0 mm] [5.0 mm] [6.0 mm] <Insert thickness designation>.

3. Outdoor Lite: Tinted [float glass] [heat-strengthened float glass] [fully tempered float glass].

4. Interspace Content: [Air] [Argon].

5. Indoor Lite: Clear [float glass] [heat-strengthened float glass] [fully tempered float glass].

6. Low-E Coating: [Pyrolytic on second] [Pyrolytic on third] [Sputtered on second] [Sputtered on third] [Pyrolytic or sputtered on second or third] surface.

7. Visible Light Transmittance: <Insert value> percent minimum.

8. Winter Nighttime U-Factor: <Insert value> maximum.

9. Summer Daytime U-Factor: <Insert value> maximum.

10. Solar Heat Gain Coefficient: <Insert value> maximum.

Retain subparagraph below if required for fully tempered glass.

11. Provide safety glazing labeling.

F. Glass Type [GL-<#>]: Ceramic-coated, insulating vision glass.

1. Overall Unit Thickness: [1 inch (25 mm)] [5/8 inch (16 mm)] <Insert dimension>.

2. Thickness of Each Glass Lite: [3.0 mm] [4.0 mm] [5.0 mm] [6.0 mm] <Insert thickness designation>.

3. Outdoor Lite: [Heat-strengthened float glass] [Fully tempered float glass] [Ultraclear heat-strengthened float glass] [Ultraclear fully tempered float glass].

4. Interspace Content: [Air] [Argon].

5. Indoor Lite: [Float glass] [Heat-strengthened float glass] [Fully tempered float glass] [Ultraclear float glass] [Ultraclear heat-strengthened float glass] [Ultraclear fully tempered float glass].

6. Coating Location: [Second] [Third] [Fourth] surface.

7. Winter Nighttime U-Factor: <Insert value> maximum.

8. Summer Daytime U-Factor: <Insert value> maximum.

9. Solar Heat Gain Coefficient: <Insert value> maximum.

Retain subparagraph below if required for fully tempered glass.

10. Provide safety glazing labeling.

G. Glass Type [GL-<#>]: Reflective-coated, clear insulating glass.

1. Overall Unit Thickness: [1 inch (25 mm)] [5/8 inch (16 mm)] <Insert dimension>.

2. Thickness of Each Glass Lite: [3.0 mm] [4.0 mm] [5.0 mm] [6.0 mm] <Insert thickness designation>.

3. Outdoor Lite: Clear [float glass] [heat-strengthened float glass] [fully tempered float glass].

4. Interspace Content: [Air] [Argon].

5. Indoor Lite: Clear [float glass] [heat-strengthened float glass] [fully tempered float glass].

6. Coating Location: [First] [Second] [Third] surface.

7. Winter Nighttime U-Factor: <Insert value> maximum.

8. Summer Daytime U-Factor: <Insert value> maximum.

9. Solar Heat Gain Coefficient: <Insert value> maximum.

Retain subparagraph below if required for fully tempered glass.

10. Provide safety glazing labeling.

H. Glass Type [GL-<#>]: Reflective-coated, tinted insulating glass.

1. Overall Unit Thickness: [1 inch (25 mm)] [5/8 inch (16 mm)] <Insert dimension>.

2. Thickness of Each Glass Lite: [3.0 mm] [4.0 mm] [5.0 mm] [6.0 mm] <Insert thickness designation>.

3. Outdoor Lite: Tinted [float glass] [heat-strengthened float glass] [fully tempered float glass].

4. Interspace Content: [Air] [Argon].

5. Indoor Lite: Clear [float glass] [heat-strengthened float glass] [fully tempered float glass].

6. Coating Location: [First] [Second] [Third] surface.

7. Winter Nighttime U-Factor: <Insert value> maximum.

8. Summer Daytime U-Factor: <Insert value> maximum.

9. Solar Heat Gain Coefficient: <Insert value> maximum.

Retain subparagraph below if required for fully tempered glass.

10. Provide safety glazing labeling.

I. Glass Type [GL-<#>]: [Ceramic-coated] [Silicone-coated], low-e, insulating spandrel glass.

1. Overall Unit Thickness: [1 inch (25 mm)] <Insert dimension>.

2. Thickness of Each Glass Lite: [5.0 mm] [6.0 mm] <Insert thickness designation>.

3. Outdoor Lite: [Float glass] [Heat-strengthened float glass] [Fully tempered float glass] [Ultraclear float glass] [Ultraclear heat-strengthened float glass] [Ultraclear fully tempered float glass].

4. Interspace Content: [Air] [Argon].

Retain either heat-strengthened or fully tempered float glass option in first subparagraph below for ceramic-coated, low-e, insulating spandrel glass.

5. Indoor Lite: [Float glass] [Heat-strengthened float glass] [Fully tempered float glass] [Ultraclear float glass] [Ultraclear heat-strengthened float glass] [Ultraclear fully tempered float glass].

6. Low-E Coating: [Pyrolytic on second] [Pyrolytic on third] [Sputtered on second] [Sputtered on third] [Pyrolytic or sputtered on second or third] surface.

7. Opaque Coating Location: Fourth surface.

8. Winter Nighttime U-Factor: <Insert value> maximum.

9. Summer Daytime U-Factor: <Insert value> maximum.

J. Glass Type [GL-<#>]: [Ceramic-coated] [Silicone-coated], tinted, insulating spandrel glass.

1. Overall Unit Thickness: [1 inch (25 mm)] <Insert dimension>.

2. Thickness of Each Glass Lite: [5.0 mm] [6.0 mm] <Insert thickness designation>.

3. Outdoor Lite: Tinted [float glass] [heat-strengthened float glass] [fully tempered float glass].

4. Interspace Content: [Air] [Argon].

Retain either heat-strengthened or fully tempered float glass option in first subparagraph below for ceramic-coated, tinted, insulating spandrel glass.

5. Indoor Lite: Clear [float glass] [heat-strengthened float glass] [fully tempered float glass].

6. Coating Location: Fourth surface.

7. Winter Nighttime U-Factor: <Insert value> maximum.

8. Summer Daytime U-Factor: <Insert value> maximum.

2.13 INSULATING-LAMINATED-GLASS TYPES

Glass types in this article are primarily for sloped glazing and glazing that is required to be windborne-debris-impact resistant.

A. Glass Type [GL-<#>]: Low-e-coated, clear insulating laminated glass.

1. Overall Unit Thickness: [1-3/16 inch (30 mm)] [1 inch (25 mm)] [3/4 inch (19 mm)] <insert dimension>.

2. Thickness of Outdoor Lite: [3.0 mm] [4.0 mm] [5.0 mm] [6.0 mm] <Insert thickness designation>.

3. Outdoor Lite: [Heat-strengthened float glass] [Fully tempered float glass].

4. Interspace Content: [Air] [Argon].

5. Indoor Lite: Clear laminated glass with two plies of [float glass] [heat-strengthened float glass] [fully tempered float glass].

a. Thickness of Each Glass Ply: [3.0 mm] [4.0 mm] [5.0 mm] [6.0 mm] [As indicated] <Insert thickness designation>.

b. Interlayer Thickness: [0.030 inch (0.76 mm)] [0.060 inch (1.52 mm)] [0.090 inch (2.29 mm)].

6. Low-E Coating: [Pyrolytic on second] [Pyrolytic on third] [Sputtered on second] [Sputtered on third] [Pyrolytic or sputtered on second or third] surface.

7. Visible Light Transmittance: <Insert value> percent minimum.

8. Winter Nighttime U-Factor: <Insert value> maximum.

9. Summer Daytime U-Factor: <Insert value> maximum.

10. Solar Heat Gain Coefficient: <Insert value> maximum.

Retain subparagraph below if required.

11. Provide safety glazing labeling.

B. Glass Type [GL-<#>]: Tinted, insulating laminated glass.

1. Overall Unit Thickness: [1-3/16 inch (30 mm)] [1 inch (25 mm)] [3/4 inch (19 mm)] <insert dimension>.

2. Thickness of Outdoor Lite: [3.0 mm] [4.0 mm] [5.0 mm] [6.0 mm] <Insert thickness designation>.

3. Outdoor Lite: Tinted [heat-strengthened float glass] [fully tempered float glass].

4. Interspace Content: [Air] [Argon].

5. Indoor Lite: Clear laminated glass with two plies of [float glass] [heat-strengthened float glass] [fully tempered float glass].

a. Thickness of Each Glass Ply: [3.0 mm] [4.0 mm] [5.0 mm] [6.0 mm] [As indicated] <Insert thickness designation>.

b. Interlayer Thickness: [0.030 inch (0.76 mm)] [0.060 inch (1.52 mm)] [0.090 inch (2.29 mm)].

6. Winter Nighttime U-Factor: <Insert value> maximum.

7. Summer Daytime U-Factor: <Insert value> maximum.

8. Solar Heat Gain Coefficient: <Insert value> maximum.

Retain subparagraph below if required.

9. Provide safety glazing labeling.

C. Glass Type [GL-<#>]: Low-e-coated, tinted, insulating laminated glass.

1. Overall Unit Thickness: [1-3/16 inch (30 mm)] [1 inch (25 mm)] [3/4 inch (19 mm)] <insert dimension>.

2. Thickness of Outdoor Lite: [3.0 mm] [4.0 mm] [5.0 mm] [6.0 mm] <Insert thickness designation>.

3. Outdoor Lite: Tinted [heat-strengthened float glass] [fully tempered float glass].

4. Interspace Content: [Air] [Argon].

5. Indoor Lite: Clear laminated glass with two plies of [float glass] [heat-strengthened float glass] [fully tempered float glass].

a. Thickness of Each Glass Ply: [3.0 mm] [4.0 mm] [5.0 mm] [6.0 mm] [As indicated] <Insert thickness designation>.

b. Interlayer Thickness: [0.030 inch (0.76 mm)] [0.060 inch (1.52 mm)] [0.090 inch (2.29 mm)].

6. Low-E Coating: [Pyrolytic on second] [Pyrolytic on third] [Sputtered on second] [Sputtered on third] [Pyrolytic or sputtered on second or third] surface.

7. Visible Light Transmittance: <Insert value> percent minimum.

8. Winter Nighttime U-Factor: <Insert value> maximum.

9. Summer Daytime U-Factor: <Insert value> maximum.

10. Solar Heat Gain Coefficient: <Insert value> maximum.

Retain subparagraph below if required.

11. Provide safety glazing labeling.

D. Glass Type [GL-<#>]: Reflective-coated, clear, insulating laminated glass.

1. Overall Unit Thickness: [1-3/16 inch (30 mm)] [1 inch (25 mm)] <Insert dimension>.

2. Thickness of Outdoor Lite: [6.0 mm] <Insert thickness designation>.

3. Outdoor Lite: Clear [heat-strengthened float glass] [fully tempered float glass].

4. Interspace Content: [Air] [Argon].

5. Indoor Lite: Clear laminated glass with two plies of [float glass] [heat-strengthened float glass] [fully tempered float glass].

a. Thickness of Each Glass Ply: [3.0 mm] [4.0 mm] [5.0 mm] [6.0 mm] [As indicated] <Insert thickness designation>.

b. Interlayer Thickness: [0.030 inch (0.76 mm)] [0.060 inch (1.52 mm)] [0.090 inch (2.29 mm)].

6. Coating Location: [First] [Second] [Third] surface.

7. Winter Nighttime U-Factor: <Insert value> maximum.

8. Summer Daytime U-Factor: <Insert value> maximum.

9. Solar Heat Gain Coefficient: <Insert value> maximum.

Retain subparagraph below if required.

10. Provide safety glazing labeling.

E. Glass Type [GL-<#>]: Reflective-coated, tinted, insulating laminated glass.

1. Overall Unit Thickness: [1-3/16 inch (30 mm)] [1 inch (25 mm)] <Insert dimension>.

2. Thickness of Outdoor Lite: [6.0 mm] <Insert thickness designation>.

3. Outdoor Lite: Tinted [heat-strengthened float glass] [fully tempered float glass].

4. Interspace Content: [Air] [Argon].

5. Indoor Lite: Clear laminated glass with two plies of [float glass] [heat-strengthened float glass] [fully tempered float glass].

a. Thickness of Each Glass Ply: [3.0 mm] [4.0 mm] [5.0 mm] [6.0 mm] [As indicated] <Insert thickness designation>.

b. Interlayer Thickness: [0.030 inch (0.76 mm)] [0.060 inch (1.52 mm)] [0.090 inch (2.29 mm)].

6. Coating Location: [First] [Second] [Third] surface.

7. Winter Nighttime U-Factor: <Insert value> maximum.

8. Summer Daytime U-Factor: <Insert value> maximum.

9. Solar Heat Gain Coefficient: <Insert value> maximum.

Retain subparagraph below if required.

10. Provide safety glazing labeling.

2.14 FIRE-PROTECTION-RATED GLAZING TYPES

A. Glass Type [GL-<#>]: 20-minute fire-rated glazing with hose-stream test; [film-faced ceramic glazing] [laminated ceramic glazing] [or] [gel-filled, double glazing units].

Retain subparagraph below if required.

1. Provide safety glazing labeling.

B. Glass Type [GL-<#>]: [45-minute] [60-minute] [90-minute] [120-minute] fire-rated glazing; [film-faced ceramic glazing] [laminated ceramic glazing] [laminated glass with intumescent interlayers] [or] [gel-filled, double glazing units].

Retain subparagraph below if required.

1. Provide safety glazing labeling.

C. Glass Type [GL-<#>]: [45-minute] [60-minute] [90-minute] [120-minute] fire-rated glazing with 450 deg F (250 deg C) temperature rise limitation; [laminated glass with intumescent interlayers] [or] [gel-filled, double glazing units].

Retain subparagraph below if required.

1. Provide safety glazing labeling.

PART 3 -  EXECUTION

3.1 GLAZING, GENERAL

A. Comply with combined written instructions of manufacturers of glass, sealants, gaskets, and other glazing materials, unless more stringent requirements are indicated, including those in referenced glazing publications.

B. Adjust glazing channel dimensions as required by Project conditions during installation to provide necessary bite on glass, minimum edge and face clearances, and adequate sealant thicknesses, with reasonable tolerances.

C. Protect glass edges from damage during handling and installation. Remove damaged glass from Project site and legally dispose of off Project site. Damaged glass is glass with edge damage or other imperfections that, when installed, could weaken glass and impair performance and appearance.

D. Apply primers to joint surfaces where required for adhesion of sealants, as determined by preconstruction testing.

E. Install setting blocks in sill rabbets, sized and located to comply with referenced glazing publications, unless otherwise required by glass manufacturer. Set blocks in thin course of compatible sealant suitable for heel bead.

F. Do not exceed edge pressures stipulated by glass manufacturers for installing glass lites.

G. Provide spacers for glass lites where length plus width is larger than 50 inches (1270 mm).

H. Provide edge blocking where indicated or needed to prevent glass lites from moving sideways in glazing channel, as recommended in writing by glass manufacturer and according to requirements in referenced glazing publications.

3.2 TAPE GLAZING

A. Position tapes on fixed stops so that, when compressed by glass, their exposed edges are flush with or protrude slightly above sightline of stops.

B. Install tapes continuously, but not necessarily in one continuous length. Do not stretch tapes to make them fit opening.

C. Cover vertical framing joints by applying tapes to heads and sills first and then to jambs. Cover horizontal framing joints by applying tapes to jambs and then to heads and sills.

D. Place joints in tapes at corners of opening with adjoining lengths butted together, not lapped. Seal joints in tapes with compatible sealant approved by tape manufacturer.

Delete first paragraph below if not required, or qualify by adding "where indicated" and show locations on Drawings.

E. Apply heel bead of elastomeric sealant.

F. Center glass lites in openings on setting blocks and press firmly against tape by inserting dense compression gaskets formed and installed to lock in place against faces of removable stops. Start gasket applications at corners and work toward centers of openings.

Delete paragraph below if not applicable or revise; it assumes fixed stop is located on exterior.

G. Apply cap bead of elastomeric sealant over exposed edge of tape.

3.3 GASKET GLAZING (DRY)

A. Cut compression gaskets to lengths recommended by gasket manufacturer to fit openings exactly, with allowance for stretch during installation.

B. Insert soft compression gasket between glass and frame or fixed stop so it is securely in place with joints miter cut and bonded together at corners.

C. Installation with Drive-in Wedge Gaskets: Center glass lites in openings on setting blocks and press firmly against soft compression gasket by inserting dense compression gaskets formed and installed to lock in place against faces of removable stops. Start gasket applications at corners and work toward centers of openings. Compress gaskets to produce a weathertight seal without developing bending stresses in glass. Seal gasket joints with sealant recommended by gasket manufacturer.

D. Installation with Pressure-Glazing Stops: Center glass lites in openings on setting blocks and press firmly against soft compression gasket. Install dense compression gaskets and pressure-glazing stops, applying pressure uniformly to compression gaskets. Compress gaskets to produce a weathertight seal without developing bending stresses in glass. Seal gasket joints with sealant recommended by gasket manufacturer.

E. Install gaskets so they protrude past face of glazing stops.

3.4 SEALANT GLAZING (WET)

A. Install continuous spacers, or spacers combined with cylindrical sealant backing, between glass lites and glazing stops to maintain glass face clearances and to prevent sealant from extruding into glass channel and blocking weep systems until sealants cure. Secure spacers or spacers and backings in place and in position to control depth of installed sealant relative to edge clearance for optimum sealant performance.

B. Force sealants into glazing channels to eliminate voids and to ensure complete wetting or bond of sealant to glass and channel surfaces.

C. Tool exposed surfaces of sealants to provide a substantial wash away from glass.

3.5 CLEANING AND PROTECTION

A. Protect exterior glass from damage immediately after installation by attaching crossed streamers to framing held away from glass. Do not apply markers to glass surface. Remove nonpermanent labels and clean surfaces.

B. Protect glass from contact with contaminating substances resulting from construction operations. If, despite such protection, contaminating substances do come into contact with glass, remove substances immediately as recommended in writing by glass manufacturer.

C. Examine glass surfaces adjacent to or below exterior concrete and other masonry surfaces at frequent intervals during construction, but not less than once a month, for buildup of dirt, scum, alkaline deposits, or stains; remove as recommended in writing by glass manufacturer.

D. Remove and replace glass that is broken, chipped, cracked, or abraded or that is damaged from natural causes, accidents, and vandalism, during construction period.

END OF SECTION 088000

	GLAZING
	088000 - 1



