Copyright 2010 AIA
MasterSpec Professional
11/10

Copyright 2010 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 089516 - WALL VENTS
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section includes wall vents.

1.2 ACTION SUBMITTALS

A. Product Data: For each type of product.

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

2.1 WALL VENTS (BRICK VENTS)

A. Extruded-Aluminum Wall Vents:

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. Air Flow Company, Inc.

b. Airolite Company, LLC (The).

c. Architectural Louvers; Harray, LLC.

d. Arrow United Industries; a division of Mestek, Inc.

e. Construction Specialties, Inc.

f. Dowco Products Group; Safe Air of Illinois.

g. Greenheck Fan Corporation.

h. Hohmann & Barnard, Inc.

i. Industrial Louvers, Inc.

j. Louvers & Dampers; a division of Mestek, Inc.

k. Metal Form Manufacturing, Inc.

l. Nystrom, Inc.

m. Reliable Products, Inc.

n. Ruskin Company; Tomkins PLC.

o. Sunvent Industries; Division of Sylro Sales Corp.

p. United Enertech.

q. <Insert manufacturer's name>.

2. Extruded-aluminum louvers and frames, not less than 0.125-inch (3.18-mm) nominal thickness, assembled by welding; with 18-by-14- (1.4-by-1.8-mm-) mesh, aluminum insect screening on inside face.

3. Dampers: Aluminum blades and frames mounted on inside of wall vents.

4. Finish: [Mill] <Insert finish>.

B. Cast-Aluminum Wall Vents:

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. Airolite Company, LLC (The).

b. Greenheck Fan Corporation.

c. Hohmann & Barnard, Inc.

d. Ruskin Company; Tomkins PLC.

e. Sunvent Industries; Division of Sylro Sales Corp.

f. <Insert manufacturer's name>.

2. One-piece, cast-aluminum louvers and frames; with 18-by-14- (1.4-by-1.8-mm-) mesh, aluminum insect screening on inside face.

3. Dampers: Aluminum blades and frames mounted on inside of wall vents.

4. Finish: Mill.

2.2 MATERIALS

A. Aluminum Extrusions: ASTM B 221 (ASTM B 221M), Alloy 6063-T5, T-52, or T6.

B. Aluminum Sheet: ASTM B 209 (ASTM B 209M), Alloy 3003 or 5005 with temper as required for forming, or as otherwise recommended by metal producer for required finish.

C. Aluminum Castings: ASTM B 26/B 26M, Alloy 319.

D. Bituminous Paint: Cold-applied asphalt emulsion complying with ASTM D 1187.

PART 3 -  EXECUTION

3.1 INSTALLATION

A. Protect unpainted surfaces that are in contact with concrete, masonry, or dissimilar metals from corrosion and galvanic action by applying a heavy coating of bituminous paint.

B. Build vents into masonry work as construction progresses; comply with requirements in Section 042000 "Unit Masonry."

END OF SECTION 089516

	WALL VENTS
	089516 - 1



