Copyright 2011 AIA
MasterSpec Professional
02/11

Copyright 2011 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 092400 - CEMENT PLASTERING
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section Includes:

1. Interior portland cement plasterwork on [metal lath] [unit masonry] [and] [monolithic concrete].

2. Exterior portland cement plasterwork (stucco) on [metal lath] [unit masonry] [and] [monolithic concrete].

1.2 ACTION SUBMITTALS

A. Product Data: For each type of product indicated.

B. LEED Submittals:

1. Product Data for Credit MR 4: For products having recycled content, documentation indicating percentages by weight of postconsumer and preconsumer recycled content. Include statement indicating cost for each product having recycled content.

"Product Data for Credit IEQ 4.1" Subparagraph below applies to LEED-NC, LEED-CI, and LEED-CS; coordinate with requirements selected in Part 2 for sealants.

2. Product Data for Credit IEQ 4.1: For sealants, documentation including printed statement of VOC content.

"Laboratory Test Reports for Credit IEQ 4" Subparagraph below applies to LEED for Schools.

3. Laboratory Test Reports for Credit IEQ 4: For sealants, documentation indicating that products comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

Usually delete first paragraph below and show locations and details of control and expansion joints on Drawings.

C. Shop Drawings: Show locations and installation of control and expansion joints including plans, elevations, sections, details of components, and attachments to other work.

D. Samples: For each type of factory-prepared finish coat indicated.

1.3 QUALITY ASSURANCE

Retain first paragraph below only if products specified in Part 2 are part of a fire-resistance-rated assembly. Indicate rating, testing agency, and testing agency's design designation on Drawings.

A. Fire-Resistance Ratings: Where indicated, provide portland cement plaster assemblies identical to those of assemblies tested for fire resistance per ASTM E 119 by a qualified testing agency. Identify products with appropriate markings of applicable testing agency.

Retain first paragraph below for STC-rated assemblies. Indicate design designations of specific assemblies on Drawings.

B. Sound-Transmission Characteristics: Where indicated, provide portland cement plaster assemblies identical to those of assemblies tested for STC ratings per ASTM E 90 and classified according to ASTM E 413 by a qualified testing agency.

C. Mockups: Before plastering, install mockups of at least 100 sq. ft. (9.3 sq. m) in surface area to demonstrate aesthetic effects and set quality standards for materials and execution.

Retain subparagraph below if mockups are installed as part of building rather than erected separately and the intention is to make an exception to the default requirement in SECTION 014000 "Quality Requirements" for demolishing and removing mockups when directed unless otherwise indicated.

1. Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

1.4 PROJECT CONDITIONS

A. Comply with ASTM C 926 requirements.

B. Factory-Prepared Finishes: Comply with manufacturer's written recommendations for environmental conditions for applying finishes.

PART 2 -  PRODUCTS

2.1 METAL LATH

A. Expanded-Metal Lath: ASTM C 847 with ASTM A 653/A 653M, G60 (Z180), hot-dip galvanized zinc coating.

Retain "Recycled Content" Subparagraph below if recycled content is required for LEED Credit MR 4. The USGBC allows a default value of 25 percent to be used for steel without documentation; higher percentages can be claimed if they are supported by appropriate documentation. The Steel Recycling Institute indicates that steel sheet typically has 23 percent postconsumer recycled content and 1.5 percent preconsumer recycled content.

1. Recycled Content: Postconsumer recycled content plus one-half of preconsumer recycled content not less than [25] <Insert number> percent.

See "Metal Laths" Article in the Evaluations before revising three subparagraphs below.

2. Diamond-Mesh Lath: [Flat] [Self-furring], [2.5 lb/sq. yd. (1.4 kg/sq. m)] [3.4 lb/sq. yd. (1.8 kg/sq. m)].

Rib lath is more rigid than diamond lath; it is not suitable for contour lathing.

3. Flat Rib Lath: Rib depth of not more than 1/8 inch (3.1 mm), [2.75 lb/sq. yd. (1.5 kg/sq. m)] [3.4 lb/sq. yd. (1.8 kg/sq. m)].

4. 3/8-Inch (9.5-mm) Rib Lath: [3.4 lb/sq. yd. (1.8 kg/sq. m)] [4 lb/sq. yd. (2.2 kg/sq. m)].

B. Wire-Fabric Lath:

See "Metal Laths" Article in the Evaluations before revising two subparagraphs below.

1. Welded-Wire Lath: ASTM C 933; self-furring, [1.4 lb/sq. yd. (0.8 kg/sq. m)] [1.95 lb/sq. yd. (1.1 kg/sq. m)].

2. Woven-Wire Lath: ASTM C 1032; self-furring, with stiffener wire backing, [1.1 lb/sq. yd. (0.6 kg/sq. m)] [1.4 lb/sq. yd. (0.8 kg/sq. m)].

If paper backing is required, retain paragraph below with any type of lath retained above. Verify, with manufacturers, that paper backing retained is available for lath configurations retained above.

C. Paper Backing: FS UU-B-790, Type I, [Grade D, Style 2 vapor-permeable paper] [Grade B, Style 1a vapor-retardant paper] <Insert requirements>.

1. Provide paper-backed lath [unless otherwise indicated] [at exterior locations] [in locations indicated on Drawings] <Insert locations>.

2.2 ACCESSORIES

A. General: Comply with ASTM C 1063 and coordinate depth of trim and accessories with thicknesses and number of plaster coats required.

If retaining requirements for trims such as cornerbeads and casing beads that are fabricated from more than one material, indicate locations of each on Drawings.

B. Metal Accessories:

Retain first subparagraph below for exterior plaster to remove water from wall cavities.

1. Foundation Weep Screed: Fabricated from hot-dip galvanized-steel sheet, ASTM A 653/A 653M, G60 (Z180) zinc coating.

Retain first subparagraph below for reinforcing plaster at internal angles of plaster on solid bases and for restrained construction using expanded-metal lath (that is not otherwise lapped); see "Accessories" Article in the Evaluations.

2. Cornerite: Fabricated from metal lath with ASTM A 653/A 653M, G60 (Z180), hot-dip galvanized zinc coating.

Retain first subparagraph below for external corners of exterior plaster where cornerbeads are not used.

3. External-Corner Reinforcement: Fabricated from metal lath with ASTM A 653/A 653M, G60 (Z180), hot-dip galvanized zinc coating.

Delete five subparagraphs below if only plastic trim is required.

4. Cornerbeads: Fabricated from [zinc] [or] [zinc-coated (galvanized) steel].

a. [Small-nose] [Bull-nose] style; use unless otherwise indicated.

5. Casing Beads: Fabricated from [zinc] [or] [zinc-coated (galvanized) steel]; square-edged style; with expanded flanges.

6. Control Joints: Fabricated from [zinc] [or] [zinc-coated (galvanized) steel]; one-piece-type, folded pair of unperforated screeds in M-shaped configuration; with perforated flanges and removable protective tape on plaster face of control joint.

7. Expansion Joints: Fabricated from [zinc] [or] [zinc-coated (galvanized) steel]; folded pair of unperforated screeds in M-shaped configuration; with expanded flanges.

8. Two-Piece Expansion Joints: Fabricated from [zinc] [or] [zinc-coated (galvanized) steel]; formed to produce slip-joint and square-edged reveal that is adjustable from 1/4 to 5/8 inch (6.34 to 16 mm) wide; with perforated flanges.

C. Plastic Accessories: Fabricated from high-impact PVC.

1. Cornerbeads: With perforated flanges.

a. [Small-nose] [Bull-nose] style; use unless otherwise indicated.

2. Casing Beads: With perforated flanges in depth required to suit plaster bases indicated and flange length required to suit applications indicated.

a. [Square-edge] [Bull-nose] style; use unless otherwise indicated.

3. Control Joints: One-piece-type, folded pair of unperforated screeds in M-shaped configuration; with perforated flanges and removable protective tape on plaster face of control joint.

4. Expansion Joints: Two-piece type, formed to produce slip-joint and square-edged [1/2-inch- (13-mm-)] [1-inch- (25-mm-)] [1-1/2-inch- (38-mm-)] <Insert dimension> wide reveal; with perforated concealed flanges.

2.3 MISCELLANEOUS MATERIALS

Water containing salt, alum, or plaster residue accelerates plaster set and may cause efflorescence. Water containing organic or vegetable matter may retard plaster set, cause staining, and interfere with plaster bond.

A. Water for Mixing: Potable and free of substances capable of affecting plaster set or of damaging plaster, lath, or accessories.

Retain first paragraph below if required. Fibers can be added to plaster base-coat mixes to increase cohesiveness, tensile strength, and impact resistance and to reduce shrinkage.

B. Fiber for Base Coat: Alkaline-resistant glass or polypropylene fibers, 1/2 inch (13 mm) long, free of contaminants, manufactured for use in portland cement plaster.

Retain bonding compound in first paragraph below where plaster is adhered to structurally sound unit masonry or monolithic concrete.

C. Bonding Compound: ASTM C 932.

D. Steel Drill Screws: For metal-to-metal fastening, ASTM C 1002 or ASTM C 954, as required by thickness of metal being fastened; with pan head that is suitable for application; in lengths required to achieve penetration through joined materials of no fewer than three exposed threads.

E. Fasteners for Attaching Metal Lath to Substrates: Complying with ASTM C 1063.

Generally retain first paragraph below. Wire, in various diameters, is used for tying expanded-metal lath to framing and supports.

F. Wire: ASTM A 641/A 641M, Class 1 zinc coating, soft temper, not less than 0.0475-inch (1.21-mm) diameter, unless otherwise indicated.

G. Sound Attenuation Blankets: ASTM C 665, Type I (blankets without membrane facing) produced by combining thermosetting resins with mineral fibers manufactured from glass, slag wool, or rock wool.

1. Fire-Resistance-Rated Assemblies: Comply with mineral-fiber requirements of assembly.

Retain "Recycled Content" Subparagraph below to specify recycled content if applying for LEED Credit MR 4. An alternative method of dealing with these credit requirements is to retain requirement in Section 018113.13 "Sustainable Design Requirements - LEED for New Construction and Major Renovations," Section 018113.16 "Sustainable Design Requirements - LEED for Commercial Interiors," Section 018113.19 "Sustainable Design Requirements - LEED for Core and Shell Development," Section 018113.23 "Sustainable Design Requirements - LEED for Schools" that gives Contractor the option and responsibility to determine how these credit requirements will be met.

2. Recycled Content: Postconsumer recycled content plus one-half of preconsumer recycled content not less than <Insert number> percent by weight.

H. Acoustical Sealant: As specified in Section 079200 "Joint Sealants"

Retain first subparagraph below if required for LEED-NC, LEED-CI, or LEED-CS Credit IEQ 4.1. VOC content limit is that for architectural sealants.

1. Sealants shall have a VOC content of [250] <Insert value> g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

Retain subparagraph below if required for LEED for Schools Credit IEQ 4.

2. Sealants shall comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

2.4 PLASTER MATERIALS

Retain second option in first paragraph below if sulfate resistance is required.

A. Portland Cement: ASTM C 150, [Type I] [Type II].

1. Color for Finish Coats: [White] [Gray].

B. Masonry Cement: ASTM C 91, Type N.

1. Color for Finish Coats: [White] [Gray].

Retain first paragraph below only after verifying availability.

C. Plastic Cement: ASTM C 1328.

If applicable, insert requirements for blended hydraulic cements here.

D. Colorants for Job-Mixed Finish Coats: Colorfast mineral pigments that produce finish plaster color [to match Architect's sample] <Insert requirements>.

E. Lime: ASTM C 206, Type S; or ASTM C 207, Type S.

F. Sand Aggregate: ASTM C 897.

1. Color for Job-Mixed Finish Coats: [White] [In color matching Architect's sample].

Retain first paragraph below if fire-resistance-rated portland cement plaster assemblies require lightweight perlite aggregate rather than sand.

G. Perlite Aggregate: ASTM C 35.

H. Ready-Mixed Finish-Coat Plaster: Mill-mixed portland cement, aggregates, coloring agents, and proprietary ingredients.

1. Color: [Match Architect's sample] [As selected by Architect from manufacturer's full range].

I. Acrylic-Based Finish Coatings: Factory-mixed acrylic-emulsion coating systems, formulated with colorfast mineral pigments and fine aggregates; for use over portland cement plaster base coats. Include manufacturer's recommended primers and sealing topcoats for acrylic-based finishes.

1. Color: [Match Architect's sample] [As selected by Architect from manufacturer's full range].

2.5 PLASTER MIXES

A. General: Comply with ASTM C 926 for applications indicated.

Retain subparagraph below for greater plaster strength and crack resistance.

1. Fiber Content: Add fiber to base-coat mixes after ingredients have mixed at least two minutes. Comply with fiber manufacturer's written instructions for fiber quantities in mixes, but do not exceed 1 lb of fiber/cu. yd. (0.6 kg of fiber/cu. m) of cementitious materials.

If retaining perlite aggregate for fire-resistance-rated assemblies, insert mix requirements for perlite-aggregate plaster.

Retain applicable base coats in first three paragraphs below or insert others to suit Project. Coordinate with requirements retained in "Plaster Materials" Article.

B. Base-Coat Mixes for Use over Metal Lath: Scratch and brown coats for three-coat plasterwork as follows:

1. Portland Cement Mixes:

Decreasing the proportion of lime in the cementitious-material mix produces a harder surface but increases the possibility of cracking.

a. Scratch Coat: For cementitious material, mix 1 part portland cement and [0 to 3/4] [3/4 to 1-1/2] parts lime. Use 2-1/2 to 4 parts aggregate per part of cementitious material.

b. Brown Coat: For cementitious material, mix 1 part portland cement and [0 to 3/4] [3/4 to 1-1/2] parts lime. Use 3 to 5 parts aggregate per part of cementitious material, but not less than volume of aggregate used in scratch coat.

2. Masonry Cement Mixes:

a. Scratch Coat: 1 part masonry cement and 2-1/2 to 4 parts aggregate.

b. Brown Coat: 1 part masonry cement and 3 to 5 parts aggregate, but not less than volume of aggregate used in scratch coat.

3. Portland and Masonry Cement Mixes:

a. Scratch Coat: For cementitious material, mix 1 part portland cement and 1 part masonry cement. Use 2-1/2 to 4 parts aggregate per part of cementitious material.

b. Brown Coat: For cementitious material, mix 1 part portland cement and 1 part masonry cement. Use 3 to 5 parts aggregate per part of cementitious material, but not less than volume of aggregate used in scratch coat.

4. Plastic Cement Mixes:

a. Scratch Coat: 1 part plastic cement and 2-1/2 to 4 parts aggregate.

b. Brown Coat: 1 part plastic cement and 3 to 5 parts aggregate, but not less than volume of aggregate used in scratch coat.

5. Portland and Plastic Cement Mixes:

a. Scratch Coat: For cementitious material, mix 1 part plastic cement and 1 part portland cement. Use 2-1/2 to 4 parts aggregate per part of cementitious material.

b. Brown Coat: For cementitious material, mix 1 part plastic cement and 1 part portland cement. Use 3 to 5 parts aggregate per part of cementitious material, but not less than volume of aggregate used in scratch coat.

C. Base-Coat Mixes: Single base coats for two-coat plasterwork as follows:

According to ASTM C 926, mixes in subparagraphs below are suitable for use over "low-absorption" plaster bases such as brick, concrete, and dense, smooth clay tile.

1. Portland Cement Mix: For cementitious material, mix 1 part portland cement and 0 to 3/4 part lime. Use 2-1/2 to 4 parts aggregate per part of cementitious material.

2. Portland and Masonry Cement Mix: For cementitious material, mix 1 part portland cement and 1 part masonry cement. Use 2-1/2 to 4 parts aggregate per part of cementitious material.

3. Plastic Cement Mix: Use 1 part plastic cement and 2-1/2 to 4 parts aggregate.

D. Base-Coat Mixes: Single base coats for two-coat plasterwork as follows:

According to ASTM C 926, mixes in subparagraphs below are suitable for use over "high-absorption" plaster bases such as concrete masonry, absorptive brick, and tile.

1. Portland Cement Mix: For cementitious material, mix 1 part portland cement and 3/4 to 1-1/2 parts lime. Use 2-1/2 to 4 parts aggregate per part of cementitious material.

2. Masonry Cement Mix: Use 1 part masonry cement and 2-1/2 to 4 parts aggregate.

3. Plastic Cement Mix: Use 1 part plastic cement and 2-1/2 to 4 parts aggregate.

Retain applicable finish coats in two paragraphs below or insert others to suit Project. Coordinate with requirements retained in "Plaster Materials" Article and with requirements for base coats.

E. Job-Mixed Finish-Coat Mixes:

Decreasing the proportion of lime in the mix produces a harder surface but increases the possibility of cracking.

1. Portland Cement Mix: For cementitious materials, mix 1 part portland cement and [3/4 to 1-1/2] [1-1/2 to 2] parts lime. Use 1-1/2 to 3 parts aggregate per part of cementitious material.

2. Masonry Cement Mix: 1 part masonry cement and 1-1/2 to 3 parts aggregate.

3. Portland and Masonry Cement Mix: For cementitious materials, mix 1 part portland cement and 1 part masonry cement. Use 1-1/2 to 3 parts aggregate per part of cementitious material.

4. Plastic Cement Mix: 1 part plastic cement and 1-1/2 to 3 parts aggregate.

F. Factory-Prepared Finish-Coat Mixes: For [ready-mixed finish-coat plasters] [acrylic-based finish coatings], comply with manufacturer's written instructions.

PART 3 -  EXECUTION

3.1 PREPARATION

A. Protect adjacent work from soiling, spattering, moisture deterioration, and other harmful effects caused by plastering.

B. Prepare solid substrates for plaster that are smooth or that do not have the suction capability required to bond with plaster according to ASTM C 926.

3.2 INSTALLATION, GENERAL

A. Fire-Resistance-Rated Assemblies: Install components according to requirements for design designations from listing organization and publication indicated on Drawings.

B. Sound Attenuation Blankets: Where required, install blankets before installing lath unless blankets are readily installed after lath has been installed on one side.

Revise paragraph above and below to suit Project. If sound attenuation blankets and acoustical sealant are required in assemblies other than in STC-rated assemblies, show locations on Drawings.

C. Acoustical Sealant: Where required, seal joints between edges of plasterwork and abutting construction with acoustical sealant.

3.3 INSTALLING METAL LATH

A. Expanded-Metal Lath: Install according to ASTM C 1063.

Retain appropriate lath for each location specified in four subparagraphs below; delete subparagraphs if only one type of lath is required or if locations of each type of lath are shown on Drawings. See "Metal Laths" Article in the Evaluations.

1. Partition Framing and Vertical Furring: Install [flat diamond-mesh] [flat rib] [welded-wire] [woven-wire] lath.

2. Flat-Ceiling and Horizontal Framing: Install [flat diamond-mesh] [flat rib] [3/8-inch (9.5-mm) rib lath] [welded-wire] [woven-wire] lath.

Diamond-mesh lath requires closely spaced supports when used on ceilings.

3. Curved-Ceiling Framing: Install [flat diamond-mesh] [welded-wire] [flat woven-wire] lath.

4. On Solid Surfaces, Not Otherwise Furred: Install self-furring, [diamond-mesh] [welded-wire] [woven-wire] lath.

3.4 INSTALLING ACCESSORIES

A. Install according to ASTM C 1063 and at locations indicated on Drawings.

B. Reinforcement for External Corners:

1. Install lath-type, external-corner reinforcement at exterior locations.

If retaining subparagraph above, delete option in subparagraph below.

2. Install cornerbead at interior[ and exterior] locations.

Usually retain first option in paragraph below and show joints on Drawings.

C. Control Joints: Install control joints [at locations indicated on Drawings.] [in specific locations approved by Architect for visual effect as follows:]

Retain subparagraphs below if retaining last option in paragraph above.

1. As required to delineate plasterwork into areas (panels) of the following maximum sizes:

a. Vertical Surfaces: 144 sq. ft. (13.4 sq. m).

b. Horizontal and other Nonvertical Surfaces: 100 sq. ft. (9.3 sq. m).

2. At distances between control joints of not greater than 18 feet (5.5 m) o.c.

3. As required to delineate plasterwork into areas (panels) with length-to-width ratios of not greater than 2-1/2:1.

4. Where control joints occur in surface of construction directly behind plaster.

5. Where plasterwork areas change dimensions, to delineate rectangular-shaped areas (panels) and to relieve the stress that occurs at the corner formed by the dimension change.

3.5 PLASTER APPLICATION

A. General: Comply with ASTM C 926.

B. Bonding Compound: Apply on [unit masonry] [and] [concrete] plaster bases.

C. Walls; Base-Coat Mixes for Use over Metal Lath: Scratch and brown coats for three-coat plasterwork[, on masonry] [, on concrete]; 3/4-inch (19-mm) thickness.

1. Portland cement mixes.

2. Masonry cement mixes.

3. Portland and masonry cement mixes.

4. Plastic cement mixes.

5. Portland and plastic cement mixes.

D. Ceilings; Base-Coat Mixes for Use over Metal Lath: Scratch and brown coats for three-coat plasterwork; [1/2 inch (13 mm) thick] [3/4 inch (19 mm) thick on concrete].

1. Portland cement mixes.

2. Masonry cement mixes.

3. Portland and masonry cement mixes.

4. Plastic cement mixes.

5. Portland and plastic cement mixes.

E. Walls; Base-Coat Mix: Scratch coat for two-coat plasterwork[, 3/8 inch (10 mm) thick on concrete masonry] [, 1/4 inch (6 mm) thick on concrete].

1. Portland cement mixes.

2. Masonry cement mixes.

3. Portland and masonry cement mixes.

4. Plastic cement mixes.

5. Portland and plastic cement mixes.

F. Ceilings; Base-Coat Mix: Scratch coat for two-coat plasterwork, 1/4 inch (6 mm) thick on concrete.

1. Portland cement mixes.

2. Masonry cement mixes.

3. Portland and masonry cement mixes.

4. Plastic cement mixes.

5. Portland and plastic cement mixes.

If various finishes are required, indicate locations of each on Drawings or by inserts in first paragraph below.

G. Plaster Finish Coats: Apply to provide [float] [dash] [scraped trowel-textured] [skip trowel-textured] [brocade (knock-down dash)] [trowel sweep] [combed] [sacked (California mission)] [English] [marblecrete] <Insert requirements> finish to match Architect's sample.

H. Acrylic-Based Finish Coatings: Apply coating system, including primers, finish coats, and sealing topcoats, according to manufacturer's written instructions.

I. Concealed Exterior Plasterwork: Where plaster application will be used as a base for adhered finishes, omit finish coat.

J. Concealed Interior Plasterwork:

1. Where plaster application will be concealed behind built-in cabinets, similar furnishings, and equipment, apply finish coat.

2. Where plaster application will be concealed above suspended ceilings and in similar locations, finish coat may be omitted.

3. Where plaster application will be used as a base for adhesive application of tile and similar finishes, omit finish coat.

3.6 PLASTER REPAIRS

A. Repair or replace work to eliminate cracks, dents, blisters, buckles, crazing and check cracking, dry outs, efflorescence, sweat outs, and similar defects and where bond to substrate has failed.

END OF SECTION 092400

	CEMENT PLASTERING
	092400 - 1



