Copyright 2012 AIA
MasterSpec Professional
05/12

Copyright 2012 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 095423 - LINEAR METAL CEILINGS
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section includes strip, linear metal pans and suspension systems for ceilings.

1.2 COORDINATION

A. Coordinate layout and installation of linear metal pans and suspension system with other construction that penetrates ceilings or is supported by them, including light fixtures, HVAC equipment, fire-suppression system, and partition assemblies.

1.3 ACTION SUBMITTALS

A. Product Data: For each type of product.

B. LEED Submittals:

1. Product Data for Credit MR 4: For products having recycled content, documentation indicating percentages by weight of postconsumer and preconsumer recycled content. Include statement indicating cost for each product having recycled content.

C. Samples: For each exposed finish.

1.4 INFORMATIONAL SUBMITTALS

Retain "Coordination Drawings" Paragraph below for situations where limited space necessitates maximum utilization for efficient installation of different components or if coordination is required for installation of products and materials by separate installers. Coordinate paragraph with other Sections specifying products listed below. Preparation of coordination drawings requires the participation of each trade involved in installations within the limited space.

A. Coordination Drawings: Drawn to scale and coordinating and showing the following:

1. Linear pattern.

2. Joint pattern.

3. Ceiling suspension members.

4. Method of attaching hangers to building structure.

5. Ceiling-mounted items.

6. Ceiling perimeter and penetrations through ceiling; trim and moldings.

B. Product test reports.

Retain option in "Evaluation Reports" Paragraph below if required by the International Building Code or for Project.

C. Evaluation reports.

Retain "Field quality-control reports" Paragraph below if Contractor is responsible for field quality-control testing and inspecting.

1.5 CLOSEOUT SUBMITTALS

A. Maintenance Data: For finishes to include in maintenance manuals.

1.6 QUALITY ASSURANCE

A. Mockups: Build mockups to verify selections made under Sample submittals and to demonstrate aesthetic effects and to set quality standards for materials and execution.

Retain subparagraph below if the intention is to make an exception to the default requirement in Section 014000 "Quality Requirements" for demolishing and removing mockups.

1. Subject to compliance with requirements, approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

2.1 PERFORMANCE REQUIREMENTS

Delete "Thermal Movements" paragraph below if no exterior ceiling systems.

A. Thermal Movements: Allow for thermal movements from ambient and surface temperature changes.

Differential values in "Temperature Change" Subparagraph below (for aluminum in particular) are suitable for most of the U.S.

1. Temperature Change (Range): [120 deg F (67 deg C), ambient; 180 deg F (100 deg C) material surfaces] <Insert temperature change>.

Retain "Recycled Content of Steel Products" Paragraph below to specify recycled content if required for LEED Credit MR 4. An alternative method of dealing with these credit requirements is to retain requirement in Section 018113.13 "Sustainable Design Requirements - LEED for New Construction and Major Renovations," Section 018113.16 "Sustainable Design Requirements - LEED for Commercial Interiors," or Section 018113.19 "Sustainable Design Requirements - LEED for Core and Shell Development" that gives Contractor the option and responsibility to determine how these credit requirements will be met.

B. Recycled Content of Steel Products: Postconsumer recycled content plus one-half of preconsumer recycled content not less than [25] <Insert number> percent.

C. Surface-Burning Characteristics: Comply with ASTM E 84; testing by a qualified testing agency. Identify products with appropriate markings of applicable testing agency.

Retain one option in "Flame-Spread Index" Subparagraph below. Class A systems have a flame-spread index not exceeding 25 and a smoke-developed index not exceeding 50, Class B systems have a flame-spread index not exceeding 75 on face side, and Class C systems have a flame-spread index not exceeding 200 on face side. Most products available in the U.S. are Class A.

1. Flame-Spread Index: Comply with ASTM E 1264 for [Class A] [Class B] [Class C] materials.

2. Smoke-Developed Index: [50] [450] <Insert value> or less.

2.2 LINEAR METAL CEILING PANS

Retain "Acoustical Metal Pan Standard" Paragraph below if ceiling pans are specified by referencing ASTM E 1264 for purposes of specifying type, acoustical ratings, and light reflectance.

A. Acoustical Metal Pan Standard: Provide manufacturer's standard linear metal pans of configuration indicated that comply with ASTM E 1264.

"Mounting Method for Measuring NRC" Subparagraph below represents standard mounting referenced in ASTM E 1264.

1. Mounting Method for Measuring NRC: Type E-400.

B. Sheet Metal Characteristics: For metal components exposed to view in the completed Work, provide materials with smooth, flat surfaces without blemishes. Do not use materials with exposed pitting, seam marks, roller marks, roughness, stains, or discolorations.

Retain applicable sheet metal material(s) from "Aluminum Sheet," "Steel Sheet," and "Stainless-Steel Sheet" subparagraphs below.

1. Aluminum Sheet: Roll-formed aluminum sheet, complying with ASTM B 209 (ASTM B 209M); alloy and temper recommended by aluminum producer and finisher for type of use and finish indicated.

2. Steel Sheet: Commercial-quality, cold-rolled, carbon-steel sheet; stretcher leveled; with protective coating complying with ASTM C 635/C 635M.

ASTM C 635/C 635M includes requirements for coatings and finishes for suspension system components.

Retain or revise "Painted Finishes" Subparagraph for painted finishes or "Chemical/Mechanical Finishes" Subparagraph below for chemical/mechanical finishes. See Table 2 in the Evaluations, and verify availability of finishes with manufacturers.

a. Painted Finishes: Electrolytic zinc-coated steel complying with ASTM A 879/A 879M, G12 ((Z40)) coating; surface treatment as recommended by finish manufacturer for type of use and finish indicated.

b. Chemical/Mechanical Finishes: Uncoated steel sheet complying with ASTM A 1008/A 1008M with luster or bright finish as required by finisher for applying electroplating or other metallic-finishing processes.

C. Pan Fabrication: Manufacturer's standard units of size, profile, and edge treatment indicated, formed from metal indicated to snap on and be securely retained on carriers without separate fasteners, and finished to comply with requirements indicated.

D. Pan Splices: Construction same as pans, in lengths 8 to 12 inches (200 to 300 mm); with manufacturer's standard finish.

E. End Caps: [Metal matching pans] [Plastic] [Manufacturer's standard material]; fabricated to fit and conceal exposed ends of pans.

F. Filler Strips: [Metal matching pans] [Plastic] [Manufacturer's standard material]; fabricated to uninterruptedly close voids between pans.

G. Moldings and Trim: Provide manufacturer's standard moldings and trim for exposed members, and as indicated or required, for edges and penetrations of ceiling, around fixtures, at changes in ceiling height, and for other conditions; of same metal and finish as linear metal ceiling pans.

Retain "Sound-Absorbent Fabric Layer" Paragraph below for sound-absorbent fabric; retain second paragraph for pads to reduce noise within a closed space. Coordinate with acoustical performance requirements if any.

H. Sound-Absorbent Fabric Layer: Provide fabric layer, sized to fit concealed surface of pan, and consisting of black, nonwoven, nonflammable, sound-absorbent material with surface-burning characteristics for flame-spread index of 25 or less and smoke-developed index of 50 or less, as determined by testing per ASTM E 84.

I. Sound-Absorbent Pads: Provide width and length to completely fill between carriers, joined at center of panel, with surface-burning characteristics for flame-spread index of 25 or less and smoke-developed index of 50 or less, as determined by testing per ASTM E 84, and to comply with the following requirements:

2.3 METAL SUSPENSION SYSTEMS

A. Metal Suspension Systems Standard: Provide ceiling manufacturer's standard metal suspension systems of types and finishes indicated that comply with applicable ASTM C 635/C 635M requirements.

B. Attachment Devices: Size for five times the design load indicated in ASTM C 635/C 635M, Table 1, Direct Hung, unless otherwise indicated.

"Cast-in-Place and Postinstalled Anchors in Concrete" Subparagraph below does not apply to power-actuated fasteners. Delete if no anchorage to concrete is required or if power-actuated fasteners are acceptable. Verify safety factor with Project's structural engineer. Revise testing methods below if required by authorities having jurisdiction.

1. Cast-in-Place and Postinstalled Anchors in Concrete: Anchors of type and material indicated below, with holes or loops for attaching hangers of type indicated and with capability to sustain, without failure, a load equal to [five] <Insert safety factor> times that imposed by ceiling construction, as determined by testing per ASTM E 488/E 488M or ASTM E 1512 as applicable, conducted by a qualified testing and inspecting agency.

Retain type of anchors from options in "Type" Subparagraph below; verify suitability with Project's structural engineer.

a. Type: [Cast-in-place] [Postinstalled expansion] [Postinstalled bonded] anchors.

b. Corrosion Protection: Carbon-steel components zinc plated to comply with ASTM B 633, Class Fe/Zn 5 (0.005 mm) for Class SC service condition (mild).

Delete "Power-Actuated Fasteners in Concrete" Subparagraph below if power-actuated fasteners are not allowed. Verify safety factor with Project's structural engineer.

2. Power-Actuated Fasteners in Concrete: Fastener system of type suitable for application indicated, fabricated from corrosion-resistant materials, with clips or other accessory devices for attaching hangers of type indicated, and with capability to sustain, without failure, a load equal to [10] <Insert safety factor> times that imposed by ceiling construction, as determined by testing per ASTM E 1190, conducted by a qualified testing and inspecting agency.

C. Wire Hangers, Braces, and Ties: Zinc-Coated Carbon-Steel Wire; ASTM A 641/A 641M, Class 1 zinc coating, soft temper

1. Size: Select wire diameter so its stress at 3 times the hanger design load indicated in ASTM C 635/C 635M, Table 1, Direct Hung is less than yield stress of wire, but provide not less than 0.106-inch- (2.69-mm-) diameter wire.

D. Carriers: Factory finished [with matte-black baked finish] <Insert finish description>.

1. Main Carriers: Aluminum, not less than 0.240-inch (6.0-mm) rolled sheet, alloy and temper recommended by aluminum producer and finisher for type of use and finish indicated, complying with ASTM B 209 (ASTM B 209M).

2. Main Carriers: Steel, not less than 0.0209-inch (0.53-mm) nominal thickness, cold-rolled sheet, with factory-applied protective coating, complying with ASTM C 635/C 635M.

3. .

Retain "Flexible Radial Carriers" Subparagraph below for radiused applications.

4. Flexible Radial Carriers: Manufacturer's standard radial carriers.

Retain "Expansion Carriers" Subparagraph below if ceiling size is not dimensioned in standard nominal increments of 4 inches (100 mm).

5. Expansion Carriers: Manufacturer's standard carriers allowing for irregularities or other unusual space conditions.

E. Carrier Splices: Same metal, profile, and finish as for carriers.

F. Stabilizer Channels, Tees, and Bars: Manufacturer's standard components for stabilizing main carriers at regular intervals and spaced as standard with manufacturer for use indicated; and factory finished with matte-black baked finish.

Retain "Seismic Struts" Paragraph below if required. Coordinate with manufacturer's requirements and authorities having jurisdiction.

G. Seismic Struts: Manufacturer's standard.

Retain "Edge Moldings and Trim" Paragraph below if nonstandard edge moldings are required to suit Project. Describe products here and insert names of products and manufacturers. Indicate profiles and locations on Drawings.

H. Edge Moldings and Trim: Provide exposed members as indicated or required to comply with seismic requirements of authorities having jurisdiction, to conceal edges of penetrations through ceiling, to conceal ends of pans and carriers, for fixture trim and adapters, for fasciae at changes in ceiling height, and for other conditions; of metal and finish matching linear metal pans or extruded plastic unless otherwise indicated.

2.4 ALUMINUM PANS AND SUSPENSION SYSTEM FOR LINEAR METAL CEILING <Insert drawing designation>

See the tables at the end of the Evaluations for a list of manufacturers' products. Use these tables in combination with manufacturers' catalogs or product data to specify series, type, model, and designations of other characteristics.

Copy this article and re-edit for each product.

Insert drawing designation. Use same designation for both the aluminum pans and the suspension system selected that together make up the ceiling. Use these designations on Drawings to identify each ceiling.

A. Aluminum Pans and Suspension System:

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. American Decorative Ceilings.

b. Ceilings Plus.

c. Chicago Metallic Corporation.

d. Hunter Douglas Architectural Products, Inc.
e. Simplex Ceilings; Armstrong World Industries, Inc.

f. USG Interiors, Inc.

g. <Insert manufacturer's name>.

B. Classification: Units complying with ASTM E 1264 for [Type XIII, aluminum strips with mineral- or glass-fiber-base backing; Form 1, perforated] [Type XIII, aluminum strips with mineral- or glass-fiber-base backing; Form 2, unperforated] [Type XX, other types described as perforated aluminum strips with sound-absorbent fabric backing] <Insert Type XX description>.

1. Pattern: <Insert pattern designation for perforated pans and any requirements for perforation alignment, hole shape and size, holes per square foot or inch, and percent open area>.

C. Pan Thickness: Not less than [0.018 inch (0.46 mm)] [0.022 inch (0.56 mm)] [0.024 inch (0.6 mm)] [0.025 inch (0.65 mm)] [0.027 inch (0.7 mm)] [0.032 inch (0.8 mm)] [0.040 inch (1.0 mm)] <Insert dimension>.

D. Pan Edge Detail: [Beveled] [Square] [Round] [Manufacturer's standard edge detail].

E. Linear Module Width and Pan Face Width: [2-inch (51-mm) module width and 1-1/4-inch (32-mm) face width] [4-inch (102-mm) module width and 3-1/4-inch (83-mm) face width] [6-inch (152-mm) module width and 5-1/4-inch (133-mm) face width] [8-inch (203-mm) module width and 7-1/4-inch (184-mm) face width] [100-mm module width and 80-mm face width] [200-mm module width and 180-mm face width] [300-mm module width and 280-mm face width] [As indicated on Drawings] <Insert dimensions>.

F. Pan Depth: [5/8 inch (16 mm) deep] [3/4 inch (19 mm) deep] [Not less than 1 to 1-1/2 inches (25 to 38 mm) deep] [15 mm deep] [As indicated] <Insert depth>.

G. Pan Face Finish: [Mill] [Lacquered mill] [Clear anodized] [Clear mirror-anodized] [Painted white] [Painted to match color indicated by product designation] [Painted to match Architect's sample] [Painted in color selected from manufacturer's full range] [High-performance organic coating in color selected from manufacturer's full range] [Bright-reflective finish selected from manufacturer's full range] <Insert finish>.

H. End Cap, Finish of Exposed Portions: [Matte black] [To match pan] [Manufacturer's standard finish].

I. Filler Strip Design: [Recessed] [Flush] [An integral extension of pan profile] [Expansion, for use with expansion carriers] [Slotted, for air diffusion].

J. Filler Strip, Finish of Exposed Portions: [Matte black] [To match pan].

Retain "LR" Paragraph below if applicable. Values are examples of units with baked white finish.

K. LR: Not less than [0.70] [0.75] <Insert LR>.

Retain "NRC" Paragraph below if perforated pans are specified. Coordinate option retained with perforation pattern and sound absorber selected.

L. NRC: Not less than [0.65] [0.75] [0.95] <Insert NRC>.

M. Suspension-System Main-Carrier Material: [Aluminum] [Electrolytic zinc-coated steel] [Hot-dip galvanized steel] [Manufacturer's standard material and protective finish].

2.5 STEEL PANS AND SUSPENSION SYSTEM FOR LINEAR METAL CEILING <Insert drawing designation>

See the tables at the end of the Evaluations for a list of manufacturers' products. Use these tables in combination with manufacturers' catalogs or product data to specify series, type, model, and designations of other characteristics.

Copy this article and re-edit for each product.

Insert drawing designation. Use same designation for both the steel pans and the suspension system selected that together make up the ceiling. Use these designations on Drawings to identify each ceiling.

A. Steel Pans and Suspension System:

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Ceilings Plus.

b. Chicago Metallic Corporation.

c. Hunter Douglas Architectural Products, Inc.
d. USG Interiors, Inc.
e. <Insert manufacturer's name>.

B. Classification: Units complying with ASTM E 1264 for [Type XIII, steel strips with mineral- or glass-fiber-base backing; Form 1, perforated] [Type XIII, steel strips with mineral- or glass-fiber-base backing; Form 2, unperforated] [Type XX, other types described as perforated steel strips with sound-absorbent fabric backing] <Insert Type XX description>.

1. Pattern: <Insert pattern designation for perforated pans and any requirements for perforation alignment, hole shape and size, holes per square foot or inch, and percent open area>.

C. Pan Thickness: Not less than [0.015 inch (0.4 mm)] [0.020 inch (0.5 mm)] [0.024 inch (0.6 mm)] [0.030 inch (0.75 mm)] <Insert dimension>.

D. Pan Edge Detail: [Beveled] [Square] [Round] [Manufacturer's standard edge detail].

E. Linear Module Width and Pan Face Width: [2-inch (51-mm) module width and 1-1/4-inch (32-mm) face width] [4-inch (102-mm) module width and 3-1/4-inch (83-mm) face width] [6-inch (152-mm) module width and 5-1/4-inch (133-mm) face width] [8-inch (203-mm) module width and 7-1/4-inch (184-mm) face width] [As indicated on Drawings] <Insert dimensions>.

F. Pan Depth: [5/8 inch (16 mm) deep] [3/4 inch (19 mm) deep] [Not less than 1 to 1-1/2 inches (25 to 38 mm) deep] [15 mm deep] [As indicated] <Insert depth>.

G. Pan Face Finish: [Painted white] [Painted to match color indicated by product designation] [Painted to match Architect's sample] [Painted in color selected from manufacturer's full range] [Electroplated finish selected from manufacturer's full range] <Insert finish>.

H. End Cap, Finish of Exposed Portions: [Matte black] [To match pan] [Manufacturer's standard finish].

I. Filler Strip Design: [Recessed] [Flush] [An integral extension of pan profile] [Expansion, for use with expansion carriers] [Slotted, for air diffusion].

J. Filler Strip, Finish of Exposed Portions: [Matte black] [To match pan].

Retain "LR" Paragraph below if applicable. Values are examples of units with baked white finish.

K. LR: Not less than [0.70] [0.75] <Insert LR>.

Retain "NRC" Paragraph below if perforated pans are specified. Coordinate option retained with perforation pattern and sound absorber selected.

L. NRC: Not less than [0.65] [0.75] [0.95] <Insert NRC>.

M. Suspension-System Main-Carrier Material: [Aluminum] [Electrolytic zinc-coated steel] [Hot-dip galvanized steel] [Manufacturer's standard material and protective finish].

2.6 ALUMINUM FINISHES

Retain this article to suit Project. If retaining more than one finish in paragraphs below, indicate location of each on Drawings or by inserts. Revise mechanical finish if custom anodized finish is required and availability is verified.

A. Mill Finish: AA-M10C10.

B. Lacquered Mill Finish: AA-M10C10R1x with manufacturer's standard clear, organic coating.

C. Clear Anodic Finish: AAMA 611, AA-M12C22A31, Class II, 0.010 mm or thicker.

D. Clear Mirror Anodic Finish: AA-M21C12A212, 0.005 mm or thicker.

E. Color-Coated Finish: Manufacturer's standard[ powder-coat] baked paint.

F. High-Performance Organic Finish: Two-coat fluoropolymer finish complying with [AAMA 2604] [AAMA 2605] and containing not less than [50] [70] percent PVDF resin by weight.

G. Bright-Reflective Finish: Manufacturer's standard chemical/mechanical, bright-reflective metallic finish free of blisters, pits, roughness, nodules, burning, cracks, unfinished areas, and other visible defects.

2.7 GALVANIZED-STEEL SHEET FINISHES

A. Color-Coated Finish: Manufacturer's standard[ powder-coat] baked paint finish.

2.8 STEEL SHEET FINISHES

A. Electroplated Finish: Uniform in appearance and free of blisters, pits, roughness, nodules, burning, cracks, unplated areas, and other visible defects.

B. Bright-Reflective Finish: Uniform in appearance and free of blisters, pits, roughness, nodules, burning, cracks, unfinished areas, and other visible defects.

PART 3 -  EXECUTION

3.1 INSTALLATION

A. Comply with ASTM C 636/C 636M and seismic requirement indicated, per manufacturer's written instructions and CISCA's "Ceiling Systems Handbook."

B. Suspend ceiling hangers from building's structural members and as follows:

1. Install hangers plumb and free from contact with insulation or other objects within ceiling plenum.

2. Splay hangers only where required to miss obstructions; offset resulting horizontal forces by bracing, countersplaying, or other equally effective means.

3. Where width of ducts and other construction within ceiling plenum produces hanger spacings that interfere with location of hangers at spacings required, install trapezes or equivalent devices.

Retain subparagraphs below applicable to construction.

Revise first subparagraph below if power-actuated fasteners are not allowed.

4. Do not support ceilings directly from permanent metal forms or floor deck. Fasten hangers to cast-in-place hanger inserts, postinstalled mechanical or adhesive anchors, or power-actuated fasteners that extend through forms into concrete.

5. When steel framing does not permit installation of hanger wires at spacing required, install carrying channels or other supplemental support for attachment of hanger wires.

6. Do not attach hangers to steel deck tabs or to steel roof deck.

C. Install edge moldings and trim of type indicated at perimeter of linear metal ceiling area and where necessary to conceal edges and ends of linear metal pans.

1. Screw attach moldings to substrate at intervals not more than 16 inches (400 mm) o.c. and not more than 3 inches (75 mm) from ends, leveling with ceiling suspension system to a tolerance of 1/8 inch in 12 feet (3.2 mm in 3.6 m). Miter corners accurately and connect securely.

D. Install suspension system carriers so they are aligned and securely interlocked with one another. Remove and replace dented, bent, or kinked members.

E. Cut linear metal pans for accurate fit at borders and at interruptions and penetrations by other work through ceilings. Stiffen edges of cut units as required to eliminate evidence of buckling or variations in flatness exceeding referenced standards for stretcher-leveled metal sheet.

F. Install linear metal pans in coordination with suspension system and exposed moldings and trim.

Revise first subparagraph below if joints are not parallel to room axis.

1. Align joints in adjacent courses to form uniform, straight joints parallel to room axis in both directions unless otherwise indicated.

2. Fit adjoining units to form flush, tight joints. Scribe and cut units for accurate fit at borders and around construction penetrating ceiling.

3. Install pans with butt joints using internal pan splices and in the following joint configuration:

Retain one of five subparagraphs below.

a. Aligned.

b. Aligned, every other pan length.

c. Staggered a minimum of 12 inches (300 mm).

d. Random.

e. As indicated.

4. Where metal pan ends are visible, install end caps unless trim is indicated.

5. Install filler strips where indicated.

Usually retain subparagraph below if specifying perforated patterns.

6. Install sound-absorbent pads at right angle to perforated metal pans so pads do not hang unsupported.

END OF SECTION 095423

	LINEAR METAL CEILINGS
	095423 - 1



