Copyright 2010 AIA
MasterSpec Professional
02/10

Copyright 2010 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 095443 - STRETCHED-FABRIC CEILING SYSTEMS
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section includes site-upholstered ceiling systems.

1.2 PREINSTALLATION MEETINGS

A. Preinstallation Conference: Conduct conference at [Project site] <Insert location>.

1.3 ACTION SUBMITTALS

A. Product Data: For each type of product.

B. LEED Submittals:

1. Product Data for Credit MR 4.1[ and MR 4.2]: For products having recycled content, documentation indicating percentages by weight of postconsumer and preconsumer recycled content. Include statement indicating cost for each product having recycled content.

"Product Data for Credit EQ 4.1" Subparagraph below applies to LEED-NC, LEED-CI, and LEED-CS; coordinate with requirements for adhesives.

2. Product Data for Credit EQ 4.1: For installation adhesives, documentation including printed statement of VOC content.

"Laboratory Test Reports for Credit EQ 4" Subparagraph below applies to LEED for Schools.

3. Laboratory Test Reports for Credit EQ 4: For [adhesives] [and] [stretched-fabric systems], documentation indicating that products comply with the testing and product requirements of the California Department of Health Services'' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

C. Shop Drawings: For each stretched-fabric system. Include installation and system details.

D. Samples: For each exposed product and for each color and texture specified.

1.4 INFORMATIONAL SUBMITTALS

Retain "Coordination Drawings" Paragraph below for situations where limited space necessitates maximum utilization for efficient installation of different components or if coordination is required for installation of products and materials by separate installers.

A. Coordination Drawings: Reflected ceiling plans and other details, drawn to scale and coordinated with each other, using input from installers of the items involved.

B. Product certificates.

1.5 CLOSEOUT SUBMITTALS

A. Maintenance data.

1.6 QUALITY ASSURANCE

A. Installer Qualifications: Manufacturer's authorized representative who is trained and approved for installation of systems required for this Project.

B. Mockups: Build mockup of typical wall area[ as shown on Drawings] [ as directed by Architect] <Insert requirement>.

1.7 FIELD CONDITIONS

Retain "Lighting" Paragraph below if appearance of stretched fabric is susceptible to lighting conditions. Uneven tension causes uneven light reflection and may falsely appear as sags or wrinkles in the fabric facing.

A. Lighting: Do not install stretched-fabric systems until [a permanent level of lighting] [a lighting level of not less than 50 fc (538 lux)] <Insert requirement> is provided on surfaces to receive stretched-fabric systems.

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

2.1 MANUFACTURERS

Retain "Manufacturers" Paragraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

A. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Paragraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed.

B. Basis-of-Design Product: Subject to compliance with requirements, provide product indicated or comparable product by one of the following:

1. Accutrack Systems.

2. Acoustical Solutions, Inc.

3. Architectural Fabric Systems, Inc.

4. FabriTrak Systems, Inc.

5. Golterman & Sabo.

6. Novawall Systems, Inc.

7. Snap-Tex International LLC.

8. SoftWalls, Inc.

9. Wall Technology, Inc.; an Owens Corning company.

10. Whisper Walls.

11. <Insert manufacturer's name>.

2.2 PERFORMANCE REQUIREMENTS

"General Requirements for Stretched-Fabric Ceiling Systems" Paragraph below applies to LEED for Schools.

A. General Requirements for Stretched-Fabric Ceiling Systems: Provide systems that comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

Revise "Fire-Test-Response Characteristics" Paragraph below as required by governing code for stretched-fabric system location, occupancy classification, and whether sprinklered or not.

B. Fire-Test-Response Characteristics: Provide stretched-fabric systems meeting the following requirements as determined by testing identical products by UL or another testing and inspecting agency acceptable to authorities having jurisdiction:

1. Surface-Burning Characteristics: Comply with ASTM E 84; testing by a qualified testing agency. Identify products with appropriate markings of applicable testing agency.

a. Flame-Spread Index: [25] <Insert value> or less.

b. Smoke-Developed Index: [450] <Insert value> or less.

Retain first option in "Fire Growth Contribution" Subparagraph below for textile finishes; retain second option for finishes other than textiles.

2. Fire Growth Contribution: Comply with acceptance criteria of local code and authorities having jurisdiction when tested according to [NFPA 265] [NFPA 286].

2.3 STRETCHED-FABRIC CEILING SYSTEMS

Copy "Stretched-Fabric Ceiling System <Insert drawing designation>" Paragraph below and re-edit for each type of system. It is intended as a guide if Project requires systems of varying sizes or characteristics. Insert drawing designation for each product. Use these designations on Drawings to identify each product.

A. Stretched-Fabric Ceiling System <Insert drawing designation>: Manufacturer's standard system consisting of facing material stretched taught over a frame[ and core material] and secured in the frame.

Retain "Basis-of-Design Product" Subparagraph below if retaining "Basis-of-Design Product" Paragraph above.

1. Basis-of-Design Product: [Indicated on Drawings] <Insert manufacturer's name; product name or designation>.

Retain "Core" Subparagraph below if system includes a core material.

2. Core: [Manufacturer's standard] [Glass-fiber board] [Glass-fiber blanket] [Mineral-fiber board] [Cementitious-fiber board] <Insert requirement>.

Consider deleting "Frame-Edge" Subparagraph below if frame-edge profile is fully detailed on Drawings.

3. Frame-Edge: [Chamfered (beveled)] [Radiused (bullnosed)] [Square] <Insert profile> profile.

a. Fabric-Insertion Point: [Bottom-load] <Insert requirement>.

b. Nominal Frame Thickness: [Match core thickness] [1/2 inch (13 mm)] [3/4 inch (19 mm)] [1 inch (25 mm)] [1-1/2 inches (38 mm)] [2 inches (51 mm)] [As indicated on Drawings] <Insert dimension>.

4. Reveals between Panels: [Recessed] [Flush] [Projecting] reveals [as selected by Architect from manufacturer's full range] [as indicated on Drawings] <Insert requirement>.

Generally indicate facing material on Drawings or insert, in "Facing Material" Subparagraph below, drawing designation of facing material specified in "Materials" Article.

5. Facing Material: [Owner-furnished material] [As indicated on Drawings] <Insert drawing designation>.

Verify with manufacturer that NRC or SAA range retained in "Acoustical Performance" Subparagraph below is possible and practical for products. Manufacturers generally report NRC values only. Replace range with a single minimum or maximum value if required for Project's acoustical design. Revise mounting type to suit Project if required.

6. Acoustical Performance: Sound absorption [NRC] [or] [SAA] of [0.50 to 0.90] [0.60 to 0.70] [0.65 to 0.75] [not less than 0.65] [not more than 0.35] <Insert range or single value> according to ASTM C 423 for [Type A] <Insert mounting> mounting according to ASTM E 795.

2.4 MATERIALS

A. General:

Retain "Minimum Recycled Content" Paragraph below to specify recycled content if applying for LEED Credit MR 4.1 and Credit MR 4.2. An alternative method of dealing with these credit requirements is to retain requirement in Section 018113.13 "Sustainable Design Requirements - LEED for New Construction and Major Renovations," Section 018113.16 "Sustainable Design Requirements - LEED for Commercial Interiors," Section 018113.19 "Sustainable Design Requirements - LEED for Core and Shell Development," and Section 018113.23 "Sustainable Design Requirements - LEED for Schools" that gives Contractor the option and responsibility to determine how these credit requirements will be met.

1. Minimum Recycled Content: Provide stretched-fabric systems with postconsumer recycled content plus one-half of preconsumer recycled content of <Insert number> percent by weight.

"Stretched-Fabric Systems" Paragraph below applies to LEED for Schools.

2. Stretched-Fabric Systems: Stretched-fabric systems shall comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

B. Frame-Edge Construction: Manufacturer's standard extruded plastic frame.

Copy "Facing Material <Insert drawing designation>" Paragraph below and re-edit for each facing material required.

Insert drawing designation for facing material required. Use these designations on Drawings to identify each facing material.

C. Facing Material <Insert drawing designation>: Fabric from same dye lot; color and pattern [as selected by Architect from manufacturer's full range] [as indicated on Drawings] <Insert requirement>.

1. Applied Treatments: [Stain resistance] <Insert treatment>.

2. Lining Material: [Manufacturer standard fabric for each use indicated] <Insert material designation>.

Retain "Lining Material <Insert material designation>" Paragraph below to identify a lining material, if required, by material designation. Copy paragraph and re-edit for each lining material required.

Insert number to complete material designation for lining material required. Use these designations in the "Facing Material" Paragraph to identify lining material.

D. Lining Material <Insert material designation>: Fabric [as selected by Architect from manufacturer's full range] [as indicated on Drawings] <Insert requirement>.

2.5 INSTALLATION MATERIALS

A. Installation Products, General: Concealed on back of system, recommended by stretched-fabric system manufacturer to support weight of system, fabric tension, and as follows:

Retain one of two "Adhesives" paragraphs below; revise VOC content to suit Project if LEED is not a requirement.

Retain first "Adhesives" Paragraph below if required for LEED-NC, LEED-CI, or LEED-CS Credit EQ 4.1. VOC content limit is that for multipurpose construction adhesives. Revise VOC content limit based on application; see Section 018113.13 "Sustainable Design Requirements - LEED for New Construction and Major Renovations," Section 018113.16 "Sustainable Design Requirements - LEED for Commercial Interiors," Section 018113.19 "Sustainable Design Requirements - LEED for Core and Shell Development," and Section 018113.23 "Sustainable Design Requirements - LEED for Schools" for a list of adhesive types and corresponding VOC content limits.

B. Adhesives: As recommended by stretched-fabric system manufacturer and with a VOC content of [70 g/L] <Insert value> g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

Retain "Adhesives" Paragraph below if required for LEED for Schools.

C. Adhesives: As recommended by stretched-fabric system manufacturer and that comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

D. Fasteners: [Manufacturer's standard] <Insert requirement>.

PART 3 -  EXECUTION

3.1 PREPARATION

A. Measure each area and establish layout of panels and joints of sizes indicated on Drawings within a given area.

B. Before installation, allow fabric to adjust and become stable in spaces where it will be installed in accordance with stretched-fabric system manufacturer's written instructions. Acclimatize fabric for minimum of [24] <Insert number> hours at ambient temperature and humidity conditions indicated for spaces when occupied for their intended use.

3.2 INSTALLATION

A. General: Install stretched-fabric systems in accordance with system manufacturer's written instructions.

1. Provide continuous perimeter frames of each profile indicated, designed to be inconspicuous when covered by fabric facing, with smooth edges, and with surface finish that will not telegraph through fabric facing.

2. Install framing around penetrations.

3. Tightly fit framing to adjacent construction and securely attach to substrate.

4. Install core material with full coverage, flush with face of stretched-fabric system frame.

5. Attach frame and core to substrate with adhesive or fasteners or both to support system and prevent deformation of components.

Retain option in subparagraph below if fabric seams are permitted.

6. Install stretched-fabric systems vertical and plumb, unless otherwise indicated; true in plane; and with fabric square to the grain[ with straight, parallel seams].

B. Fabric Installation: Apply fabric monolithically in continuous run over area, without joints or reveals, except where panel joints or midspan frames are indicated.

Generally retain only one "Fabric Seams" Subparagraph below. If retaining more than one, indicate locations of each on Drawings or by inserts.

1. Fabric Seams: Sewn seams are not permitted.

2. Fabric Seams: [Manufacturer's standard] <Insert description> sewn seams[; seam dimensions and locations as indicated on Drawings].

3. Stretch and secure fabric to frame edges and so frame and frame attachment method are concealed by fabric unless otherwise indicated.

4. Stretch fabric taught and square without puckers, ripples, or distortions. Acclimatize and restretch if recommended by stretched-fabric system manufacturer. Repair distortions, wrinkles, and sagging.

C. Clip loose threads; remove pills and extraneous materials.

D. Clean panels on completion of installation to remove dust and other foreign materials according to manufacturer's written instructions.

END OF SECTION 095443

	STRETCHED-FABRIC CEILING SYSTEMS
	095443 - 1



