Copyright 2012 AIA
MasterSpec Professional
02/12

Copyright 2012 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 096340 - STONE FLOORING
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section Includes:

1. Dimension stone exterior flooring.

2. Dimension stone interior flooring.

3. Dimension stone stair treads[ and risers].

4. Dimension stone thresholds.

B. Related Requirements:

Retain subparagraphs below to cross-reference requirements Contractor might expect to find in this Section but are specified in other Sections.

1. Section 093033 "Stone Tiling."

2. Section 321400 "Unit Paving" for stone pavers.

1.2 ACTION SUBMITTALS

A. Product Data: For each[ variety of stone,] stone accessory, and manufactured product.

B. LEED Submittals:

First "Product Certificates for Credit MR 5" Subparagraph below applies to LEED-NC, LEED-CS, and LEED for Schools.

1. Product Certificates for Credit MR 5: For products and materials required to comply with requirements for regional materials, certificates indicating location of material manufacturer and point of extraction, harvest, or recovery for each raw material. Include statement indicating distance to Project, cost for each regional material, and fraction by weight that is considered regional.

"Product Certificates for Credit MR 5" Subparagraph below applies to LEED-CI. Retain option for Credit MR 5, Option 2.

2. Product Certificates for Credit MR 5: For products and materials required to comply with requirements for regionally manufactured[ and regionally extracted and manufactured] materials. Include statement indicating cost for each regionally manufactured material.

First subparagraph below applies to LEED-CI Credit MR 5, Option 1 and Option 2.

a. Include statement indicating location of manufacturer and distance to Project for each regionally manufactured material.

First subparagraph below applies to LEED-CI Credit MR 5, Option 2.

b. Include statement indicating location of manufacturer and point of extraction, harvest, or recovery for each raw material used in regionally extracted and manufactured materials. Indicate distance to Project and fraction by weight of each regionally manufactured material that is regionally extracted.

"Product Data for Credit IEQ 4.1" Subparagraph below applies to LEED-NC, LEED-CI, and LEED-CS; coordinate with requirements for adhesives.

3. Product Data for Credit IEQ 4.1: For adhesives, documentation including printed statement of VOC content.

"Laboratory Test Reports for Credit IEQ 4.1" Subparagraph below applies to LEED for Schools.

4. Laboratory Test Reports for Credit IEQ 4.1: For adhesives, documentation indicating that products comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

First "Product Data for Credit IEQ 4.3" Subparagraph below applies to LEED-NC, LEED-CI, and LEED-CS; coordinate with requirements for stone for floors.

5. Product Data for Credit IEQ 4.3: For interior stone flooring, documentation from an independent testing agency indicating compliance with the FloorScore Standard.

"Product Data for Credit IEQ 4.3" Subparagraph below applies to LEED-NC, LEED-CI, and LEED-CS; coordinate with requirements for adhesives.

6. Product Data for Credit IEQ 4.3: For adhesives, documentation including printed statement of VOC content.

"Laboratory Test Reports for Credit IEQ 4.3" Subparagraph below applies to LEED for Schools.

7. Laboratory Test Reports for Credit IEQ 4.3: For interior stone flooring systems, documentation indicating that products comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

Usually retain "Shop Drawings" Paragraph below for most projects.

C. Shop Drawings: Include plans, sections, details, and attachments to other work.

Generally retain "Samples" Paragraph below, especially for more variable varieties where Samples may serve to define acceptable range of colors, patterns, etc.

D. Samples:

Section 013300 "Submittal Procedures" requires that Samples for verification "show the full range of color and texture variations expected"; however, this requirement may be inadequate for stone varieties that exhibit variations in color and veining. First subparagraph below may provide better control.

1. For each stone type indicated. Include at least [two] [three] [four] [five] <Insert number> or more Samples in each set and show the full range of color and other visual characteristics in completed Work.

2. For each color of [grout] [pointing mortar] required.

1.3 CLOSEOUT SUBMITTALS

A. Maintenance Data: For stone flooring to include in maintenance manuals.

1.4 QUALITY ASSURANCE

A. Mockups: Build mockups to demonstrate aesthetic effects and to set quality standards for fabrication and execution.

1. Build mockup of typical interior floor area [as shown on Drawings] [about 96 inches (2400 mm) square] <Insert size>.

2. Build mockup of typical exterior pavement area [as shown on Drawings] [about 96 inches (2400 mm) square] <Insert size>.

Retain subparagraph below if the intention is to make an exception to the default requirement in Section 014000 "Quality Requirements" for demolishing and removing mockups.

3. Subject to compliance with requirements, approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

1.5 FIELD CONDITIONS

A. Maintain air and material temperatures not less than 50 deg F (10 deg C)during installation and for seven days after completion.

B. Cold-Weather Requirements for Exterior Stone Flooring: Comply with cold-weather construction requirements contained in ACI 530.1/ASCE 6/TMS 602.

C. Hot-Weather Requirements for Stone Flooring: Comply with hot-weather construction requirements contained in ACI 530.1/ASCE 6/TMS 602 and with the following:

Usually retain subparagraphs below. Hot weather affects stone flooring more than masonry because a horizontal surface absorbs more solar energy. Adjust requirements to suit local conditions.

1. Maintain temperature of materials and substrates below 100 deg F (38 deg C).

2. When the ambient temperature exceeds 90 deg F (32 deg C), fog spray installed stone flooring until damp at least three times a day until flooring is three days old.

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

2.1 STONE

Retain "Varieties and Sources" Paragraph below and delete stone type articles below if stone varieties and sources are specified in Section 044200 "Exterior Stone Cladding."

A. Varieties and Sources: Subject to compliance with requirements, provide stone of varieties and from sources complying with Section 044200 "Exterior Stone Cladding."

Retain "FloorScore Compliance" Paragraph below if required for LEED-NC, LEED-CS, or LEED-CI Credit IEQ 4.3; before retaining, verify availability of materials that comply.

B. FloorScore Compliance: Stone for floors shall comply with requirements of FloorScore Standard.

Retain "Low-Emitting Materials" Paragraph below if required for LEED for Schools Credit IEQ 4, Option 3.

C. Low-Emitting Materials: Interior stone flooring systems shall comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

Retain first "Regional Materials" Paragraph below for LEED-NC, LEED-CS, or LEED for Schools Credit MR 5 and LEED-CI Credit MR 5, Option 2; before retaining, verify availability of materials that comply.

D. Regional Materials: Stone shall be extracted and fabricated within 500 miles (800 km) of Project site.

Retain "Regional Materials" Paragraph below for LEED-CI Credit MR 5, Option 1; before retaining, verify availability of materials that comply.

E. Regional Materials: Stone shall be fabricated within 500 miles (800 km) of Project site.

2.2 GRANITE <Insert drawing designation>

Some granite varieties that are suitable for interior floors do not comply with ASTM C 615; verify that granite selected complies before retaining "Material Standard" Paragraph below.

A. Material Standard: Comply with ASTM C 615.

B. Varieties and Sources: Subject to compliance with requirements, [provide the following] [provide one of the following] [available stone varieties that may be incorporated into the Work include, but are not limited to, the following]:

1. <Insert, in separate subparagraphs, names of varieties and producers, distributors, or importers>.

C. Finish: [Polished] [Honed] [Thermal] [As indicated] [Match Architect's sample] <Insert finish>.

2.3 LIMESTONE <Insert drawing designation>

A. Material Standard: Comply with ASTM C 568.

Consider retaining "Stone Abrasion Resistance" Subparagraph below. ASTM C 568 requires a value of 10 for floors. Verify that limestone selected complies before retaining.

1. Stone Abrasion Resistance: Minimum value of [10] <Insert value>, based on testing according to ASTM C 241/C 241M or ASTM C 1353.

B. Varieties and Sources: Subject to compliance with requirements, [provide the following] [provide one of the following] [available stone varieties that may be incorporated into the Work include, but are not limited to, the following]:

1. <Insert, in separate subparagraphs, names of varieties and producers, distributors, or importers>.

C. Finish: [Smooth finish] [Sand rubbed] [As indicated] [Match Architect's sample] <Insert finish>.

2.4 MARBLE <Insert drawing designation>

Many marble varieties that are suitable for interior floors do not comply with ASTM C 503; verify that marble selected complies before retaining option in "Material Standard" Paragraph below.

A. Material Standard: Comply with ASTM C 503.

Consider retaining "Stone Abrasion Resistance" Subparagraph below. ASTM C 503 requires a value of 10 for floors. Verify that marble selected complies before retaining.

1. Stone Abrasion Resistance: Minimum value of [10] <Insert value>, based on testing according to ASTM C 241/C 241M or ASTM C 1353.

B. Varieties and Sources: Subject to compliance with requirements, [provide the following] [provide one of the following] [available stone varieties that may be incorporated into the Work include, but are not limited to, the following]:

1. <Insert, in separate subparagraphs, names of varieties and producers, distributors, or importers>.

C. Finish: [Polished] [Honed] [As indicated] [Match Architect's sample] <Insert finish>.

2.5 QUARTZ-BASED STONE <Insert drawing designation>

A. Material Standard: Comply with ASTM C 616, [Classification I Sandstone] [Classification II Quartzitic Sandstone] [Classification III Quartzite].

Consider retaining "Stone Abrasion Resistance" Subparagraph below. ASTM C 616 requires a value of 10 for floors. Verify that quartz-based stone selected complies before retaining.

1. Stone Abrasion Resistance: Minimum value of [10] <Insert value>, based on testing according to ASTM C 241/C 241M or ASTM C 1353.

B. Varieties and Sources: Subject to compliance with requirements, [provide the following] [provide one of the following] [available stone varieties that may be incorporated into the Work include, but are not limited to, the following]:

1. <Insert, in separate subparagraphs, names of varieties and producers, distributors, or importers>.

C. Finish: [Sand rubbed] [Natural cleft] [Thermal] [As indicated] [Match Architect's sample] <Insert finish>.

2.6 SERPENTINE <Insert drawing designation>

If retaining this article, retain one of two options in "Material Standard" Paragraph below. Verify that serpentine selected complies with Classification I Exterior before retaining.

A. Material Standard: Comply with ASTM C 1526, [Classification I Exterior] [Classification II Interior].

Consider retaining "Stone Abrasion Resistance" Subparagraph below. ASTM C 1526 requires a value of 10 for floors. Verify that serpentine selected complies before retaining.

1. Stone Abrasion Resistance: Minimum value of [10] <Insert value>, based on testing according to ASTM C 241/C 241M or ASTM C 1353.

B. Varieties and Sources: Subject to compliance with requirements, [provide the following] [provide one of the following] [available stone varieties that may be incorporated into the Work include, but are not limited to, the following]:

1. <Insert, in separate subparagraphs, names of varieties and producers, distributors, or importers>.

C. Finish: [Polished] [Honed] [As indicated] [Match Architect's sample] <Insert finish>.

2.7 SLATE <Insert drawing designation>

If retaining this article, retain one of two options in "Material Standard" Paragraph below. Verify that slate selected complies with Classification I Exterior before retaining.

A. Material Standard: Comply with ASTM C 629, [Classification I Exterior] [Classification II Interior].

Consider retaining "Stone Abrasion Resistance" Subparagraph below. ASTM C 629 requires a value of 8 for floors. Verify that slate selected complies before retaining.

1. Stone Abrasion Resistance: Minimum value of [8] <Insert value>, based on testing according to ASTM C 241/C 241M or ASTM C 1353.

"Description" Paragraph below is an example of a generic description that can be retained and revised for a nonproprietary specification.

B. Description: [Black] [Blue-black] [Gray] [Blue-gray] [Green] [Purple] [Mottled purple and green] [Red] slate with a fine, even grain[ and unfading color,] from clear, sound stock.

C. Varieties and Sources: Subject to compliance with requirements, [provide the following] [provide one of the following] [available stone varieties that may be incorporated into the Work include, but are not limited to, the following]:

1. <Insert, in separate subparagraphs, names of varieties and producers, distributors, or importers>.

D. Finish: [Honed] [Sand rubbed] [Natural cleft] [As indicated] [Match Architect's sample] <Insert finish>.

2.8 TRAVERTINE <Insert drawing designation>

If retaining this article, retain one of two options in "Material Standard" Paragraph below. Verify that travertine selected complies with Classification I Exterior before retaining.

A. Material Standard: Comply with ASTM C 1527, [Classification I Exterior] [Classification II Interior].

Consider retaining "Stone Abrasion Resistance" Subparagraph below. ASTM C 1527 requires a value of 10 for floors. Verify that travertine selected complies before retaining.

1. Stone Abrasion Resistance: Minimum value of [10] <Insert value>, based on testing according to ASTM C 241/C 241M or ASTM C 1353.

B. Varieties and Sources: Subject to compliance with requirements, [provide the following] [provide one of the following] [available stone varieties that may be incorporated into the Work include, but are not limited to, the following]:

1. <Insert, in separate subparagraphs, names of varieties and producers, distributors, or importers>.

Do not use fleuri-cut, also called "cross-cut," travertine on floors because it contains voids just beneath the surface, which will eventually fracture.

C. Cut: Vein.

When used on floors, fill pores in travertine to prevent them from accumulating dirt.

D. Filling: Fill pores on faces of stone with cementitious filler of color [selected by Architect] [matching Architect's sample].

E. Finish: [Polished] [Honed] [As indicated] [Match Architect's sample] <Insert finish>.

2.9 OTHER STONE <Insert drawing designation>

Usually replace "Other Stone" in title of this article with common name or varietal name of stone, as used on Drawings.

A. Material Standards:

Retain appropriate subparagraphs below and insert values based on test data for acceptable stone varieties, or delete all for proprietary specification. Absorption and compressive strength are often indicative of ability to resist freezing and thawing. Absorption is also indicative of a stone's ability to resist soiling and staining.

1. Maximum Absorption per ASTM C 97/C 97M: <Insert required value>.

2. Minimum Compressive Strength per ASTM C 170/C 170M: <Insert required value>.

Abrasion resistance is indicative of ability to resist wear. A value of 10 is recommended for most floors, with 12 recommended for stairs and floors with heavy foot traffic. Verify that selected stone complies with specified value.

3. Stone Abrasion Resistance: Minimum value of [10] [12] <Insert number>, based on testing according to ASTM C 241/C 241M or ASTM C 1353.

B. Varieties and Sources: Subject to compliance with requirements, [provide the following] [provide one of the following] [available stone varieties that may be incorporated into the Work include, but are not limited to, the following]:

1. <Insert, in separate subparagraphs, names of varieties and producers, distributors, or importers>.

C. Finish: [Polished] [Honed] [Sand rubbed] [Natural cleft] [As indicated] [Match Architect's sample] <Insert finish>.

2.10 MORTAR MATERIALS

Retain "Regional Materials" Paragraph below for LEED-NC, LEED-CS, or LEED for Schools Credit MR 5; before retaining, verify availability of materials that comply.

A. Regional Materials: Aggregate for mortar and grout[, cement, and lime] shall be extracted, harvested, or recovered, as well as manufactured, within 500 miles (800 km) of Project site.

Retain listed products in this article for mortar types used: setting or pointing mortar, or both. Use pointing mortar rather than grout for joints 3/16 inch (5 mm) or wider. Use unsanded grout with polished stone, especially softer stones such as marble; sand can scratch the stone when grout is spread and wiped.

Delete option in "Portland Cement" Paragraph below if using grout rather than pointing mortar.

B. Portland Cement: ASTM C 150, Type I or Type II.[ Provide natural color or white cement as required to produce mortar color indicated.]

Retain "Low-Alkali Cement" Subparagraph below to limit staining if recommended by stone source.

1. Low-Alkali Cement: Not more than 0.60 percent total alkali when tested according to ASTM C 114.

C. Hydrated Lime: ASTM C 207, Type S.

Retain "Mortar Pigments" Paragraph below for colored cement or for pigments added at Project site.

D. Mortar Pigments: Natural and synthetic iron oxides and chromium oxides, compounded for use in mortar mixes and complying with ASTM C 979. Use only pigments with a record of satisfactory performance in stone masonry mortar.

Retain "Products" Subparagraph and list of manufacturers and products below to require specific products or a comparable product from other manufacturers.

1. Products: Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Davis Colors; True Tone Mortar Colors.

b. Lanxess Corporation; Bayferrox Iron Oxide Pigments.

c. Solomon Colors; SGS Mortar Colors.

d. <Insert manufacturer's name; product name or designation>.

E. Aggregate: ASTM C 144; except for [joints narrower than 1/4 inch (6 mm)] [and] [pointing mortar], use aggregate graded with 100 percent passing No. 16 (1.18-mm) sieve.

Retain "White Aggregates" Subparagraph below for white mortar. Delete if using grout rather than pointing mortar.

1. White Aggregates: Natural white sand or ground white stone.

Retain "Colored Aggregates" Subparagraph below for colored-aggregate mortar. Delete if using grout rather than pointing mortar.

2. Colored Aggregates: Natural-colored sand or ground marble, granite, or other durable stone; of color necessary to produce required mortar color.

Retain "Latex Additive" Paragraph below if required for mortar-bed bond coat, slurry bond coat, or latex-modified portland cement mortar bed. Additive is available in either concentrated or prediluted form.

F. Latex Additive: Manufacturer's standard water emulsion, serving as replacement for part of or all gaging water, of type specifically recommended by latex-additive manufacturer for use with field-mixed portland cement mortar bed, and not containing a retarder.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. Boiardi Products; a QEP company.

b. Bostik, Inc.

c. C-Cure.

d. Custom Building Products.

e. Laticrete International, Inc.

f. MAPEI Corporation.

g. Mer-Krete Systems; ParexLahabra, Inc.

h. ProSpec; Bonsal American; a division of Oldcastle Architectural Products Group.

i. Southern Grouts & Mortars, Inc.

j. Summitville Tiles, Inc.

k. TEC, Specialty Construction Brands, Inc.; an H. B. Fuller company.

l. <Insert manufacturer's name>.

Retain "Thin-Set Mortar" Paragraph below if required for setting thresholds.

G. Thin-Set Mortar:

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. Boiardi Products; a QEP company.

b. Bostik, Inc.

c. C-Cure.

d. Custom Building Products.

e. DAP Inc.

f. Jamo Inc.

g. Laticrete International, Inc.

h. MAPEI Corporation.

i. Mer-Krete Systems; ParexLahabra, Inc.

j. Prospec; Bonsal American; a division of Oldcastle Architectural Products Group.

k. Southern Grouts & Mortars, Inc.

l. Summitville Tiles, Inc.

m. TEC, Specialty Construction Brands, Inc.; an H. B. Fuller company.

n. <Insert manufacturer's name>.

2. Dry-Set Portland Cement Mortar: ANSI A118.1.

Retain "Dry-Set Portland Cement Mortar" Subparagraph above or "Latex-Portland Cement Mortar" Subparagraph below.

3. Latex-Portland Cement Mortar: ANSI A118.4.

H. Water: Potable.

2.11 GROUT

For joints wider than 3/16 inch (5 mm), grout should be recommended by manufacturer for joint width used, or joints should be pointed with mortar instead.

A. Grout Colors: [Match stone] [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range].

Retain grout types required from "Sand-Portland Cement Grout," "Standard Cement Grout," and "Polymer-Modified Cement Grout" paragraphs below. Coordinate with installation requirements. Insert colors required for each grout type or indicate in a schedule.

Grout in "Sand-Portland Cement Grout" Paragraph below is field-mixed portland cement and fine-graded sand. Delete if only prepackaged products are acceptable or if sanded grout is not required.

B. Sand-Portland Cement Grout: ANSI A108.10, composed of white or gray cement and white or colored aggregate to produce required color.

C. Standard Cement Grout: ANSI A118.6.

Retain one or both subparagraphs below to suit joint widths specified. Do not use sanded grout for joints with polished stone, especially softer stones such as marble; sand can scratch the stone when grout is spread and wiped.

1. Unsanded grout mixture for joints 1/8 inch (3 mm) and narrower.

2. Sanded grout mixture for joints wider than 1/8 inch (3 mm).

D. Polymer-Modified Cement Grout: ANSI A118.7.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. Bostik, Inc.

b. C-Cure.

c. Custom Building Products.

d. DAP Inc.

e. Jamo Inc.

f. Laticrete International, Inc.

g. MAPEI Corporation.

h. Mer-Krete Systems; ParexLahabra, Inc.

i. Prospec; Bonsal American; a division of Oldcastle Architectural Products Group.

j. Southern Grouts & Mortars, Inc.

k. Summitville Tiles, Inc.

l. TEC, Specialty Construction Brands, Inc.; an H. B. Fuller company.

m. <Insert manufacturer's name>.

Retain one or both subparagraphs below to suit joint widths specified. Do not use sanded grout for joints with polished stone, especially softer stones such as marble; sand can scratch the stone when grout is spread and wiped.

2. Unsanded grout mix for joints 1/8 inch (3 mm) and narrower.

3. Sanded grout mix for joints wider than 1/8 inch (3 mm).

2.12 WATERPROOF MEMBRANES

ANSI A118.10 specifies waterproof membranes for use under thin-set tile installations. These products can also be used under thick-set stone installations.

A. General: Manufacturer's standard product[, selected from the following,] that complies with ANSI A118.10 and is recommended by the manufacturer for the application indicated. Include reinforcement and accessories recommended by manufacturer.

B. Chlorinated Polyethylene Sheet: Nonplasticized, chlorinated polyethylene faced on both sides with nonwoven polyester fabric; 0.030-inch (0.76-mm) nominal thickness.

Retain "Products" Subparagraph and list of manufacturers and products below to require specific products or a comparable product from other manufacturers.

1. Products: Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Noble Company (The); Nobleseal TS.

b. <Insert manufacturer's name; product name or designation>.

C. PVC Sheet: Two layers of PVC sheet heat-fused together and to facings of nonwoven polyester; 0.040-inch (1.01-mm) nominal thickness.

Retain "Products" Subparagraph and list of manufacturers and products below to require specific products or a comparable product from other manufacturers.

1. Products: Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. Compotite Corporation; Composeal Gold.

b. <Insert manufacturer's name; product name or designation>.

2.13 ACCESSORIES

Adhesive in "Water-Cleanable Epoxy Adhesive" Paragraph below is preferred setting material for certain stone types that are prone to warping due to water absorption from various mortar types and from water-emulsion organic adhesives. (Although below is water cleanable, it contains little water.) Retain second option below if required for LEED-NC, LEED-CI, or LEED-CS Credit IEQ 4.1 or Credit IEQ 4.3. Retain third option if required for LEED for Schools Credit IEQ 4.1.

A. Water-Cleanable Epoxy Adhesive: ANSI A118.3[.][, with a VOC content of 65 g/L or less.][, that complies with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."]

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1.  Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. Bonstone Materials Corporation.

b. Bostik, Inc.

c. C-Cure.

d. Custom Building Products.

e. Jamo Inc.

f. Laticrete International, Inc.

g. MAPEI Corporation.

h. Mer-Krete Systems; ParexLahabra, Inc.

i. Prospec; Bonsal American; a division of Oldcastle Architectural Products Group.

j. Summitville Tiles, Inc.

k. TEC, Specialty Construction Brands, Inc.; an H.B. Fuller company.

l. <Insert manufacturer's name>.

Retain "Cleavage Membrane" Paragraph below for large stone units or if concrete substrate is subject to movement and deflection. Asphalt felt may be unsuitable for some marble varieties. Consult fabricator or producer.

B. Cleavage Membrane: Polyethylene sheeting, ASTM D 4397, 4.0 mils (0.1 mm) thick[; or unperforated asphalt felt, ASTM D 226/D 226M, Type I (No. 15)].

Always reinforce mortar bed if using a cleavage membrane.

C. Reinforcing Wire: Galvanized, welded, 0.062-inch- (1.57-mm-) diameter wire; 2-by-2-inch (50-by-50-mm) mesh; comply with ASTM A 185/A 185M and ASTM A 82/A 82M except for minimum wire size.

Retain "Divider Strips and Edging" Paragraph below if required by Project.

D. Divider Strips and Edging: Metal or combination of metal and PVC or neoprene base, designed specifically for flooring applications, in longest lengths available, and as follows:

1. Exposed-Edge Material: [Half-hard brass] [White zinc alloy] [Nickel silver] [Stainless steel; ASTM A 666, Type 302].

2. Cross-Section Profile: [Angle or L-shape] [T-shape, single or two part] [Straight shape].

3. Height: [Match stone thickness] [Equal to stone thickness plus depth of setting bed].

4. Exposed-Edge Width: [0.063 inch (1.6 mm)] [1/8 inch (3.2 mm)] [1/4 inch (6.4 mm)] [3/8 inch (10 mm)].

5. Control-Joint Filler: Neoprene.

E. Abrasive Inserts for Stair Treads: Abrasive strips consisting of aluminum oxide, silicon carbide, or a combination of both, in an epoxy-resin binder, fabricated for installing in routed grooves of stair treads to provide slip resistance. Provide epoxy-resin installation adhesive compatible with inserts.

1. Width: [1/4 inch (6.4 mm)] <Insert dimension>.

2. Depth: [1/2 inch (12.7 mm)] <Insert dimension>.

3. Length: [4 inches (100 mm) less than stair width] [As indicated].

Retain "Cork Joint Filler" Paragraph below if required for joints in exterior flooring or for locations where exterior stone flooring abuts curbs, vertical surfaces, or other paving types.

F. Cork Joint Filler: Preformed strips complying with ASTM D 1752, Type II.

G. Cleaner: Stone cleaner specifically formulated for stone types, finishes, and applications indicated, as recommended by stone producer[ and by sealer manufacturer]. Do not use cleaning compounds containing acids, caustics, harsh fillers, or abrasives.

See Evaluations for information on use of floor sealers.

H. Floor Sealer: Colorless, slip- and stain-resistant sealer that does not affect color or physical properties of stone surfaces, as recommended by stone producer for application indicated.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. Bostik, Inc.

b. Custom Building Products.

c. Hillyard, Inc.

d. HMK Stone Care System.

e. Miracle Sealants Company.

f. Stone Care International.

g. Summitville Tiles, Inc.

h. <Insert manufacturer's name>.

2.14 MORTAR [AND GROUT ]MIXES

A. Mortar: Comply with referenced standards and with manufacturers' written instructions to produce mortar of uniform quality and with optimum performance characteristics.

1. Do not use admixtures unless otherwise indicated. Do not use calcium chloride.

Retain "Mixing Pointing Mortar" Subparagraph below for prehydrating pointing mortar if required. Prehydrating mortar allows most of initial shrinkage to occur before mortar is placed in joint. Delete if using grout rather than pointing mortar.

2. Mixing Pointing Mortar: Thoroughly mix cementitious and aggregate materials together before adding any water. Add only enough water to produce a damp, unworkable mix that retains its form when pressed into a ball. Maintain mortar in this dampened condition for one to two hours. Add remaining water in small portions until mortar reaches desired consistency. Use mortar within 30 minutes of final mixing; do not retemper or use partially hardened material.

Retain "Portland Cement-Lime Setting Mortar" or "Latex-Modified Portland Cement Setting Mortar" Paragraph below. Using latex-modified portland cement mortar can make curing times undesirably long. See Evaluations.

B. Portland Cement-Lime Setting Mortar: ASTM C 270, Proportion Specification, [Type N] [Type S] [Type N for interior applications and Type S for exterior applications].

C. Latex-Modified Portland Cement Setting Mortar: Proportion and mix portland cement, aggregate, and latex additive to comply with latex-additive manufacturer's written instructions and to produce a stiff mixture with a moist surface when bed is ready to receive stone.

Retain "Mortar-Bed Bond Coat" Paragraph below if mortar bed is installed directly over concrete. Use first option only with unmodified portland cement mortar; second option may be used with either latex-modified mortar or unmodified portland cement mortar.

D. Mortar-Bed Bond Coat: Mix neat cement and [water] [latex additive] to a creamy consistency.

Retain "Cement-Paste Bond Coat" or "Latex-Modified Portland Cement Bond Coat" Paragraph below. Retain second paragraph with either latex-modified mortar or unmodified portland cement mortar; retain first paragraph only with unmodified portland cement mortar.

E. Cement-Paste Bond Coat: Mix either neat cement or cement and sand with water to a consistency similar to that of thick cream.

F. Latex-Modified Portland Cement Bond Coat: Proportion and mix portland cement, aggregate, and latex additive to comply with latex-additive manufacturer's written instructions.

G. Pointing Mortar: Comply with requirements indicated above for setting mortar, including type and the following:

Retain "Pigmented Pointing Mortar," "Packaged Portland Cement-Lime Mix Mortar," or "Colored-Aggregate Pointing Mortar" Subparagraph below. Ratio in first subparagraph applies only to pigment types listed in "Mortar Materials" Article. Other pigments, if inserted, may require different limitations.

1. Pigmented Pointing Mortar: Select and proportion pigments with other ingredients to produce color required. Do not exceed pigment-to-cement ratio of 1:10, by weight.

2. Packaged Portland Cement-Lime Mix Mortar: Use portland cement-lime mix of selected color.

3. Colored-Aggregate Pointing Mortar: Produce color required by combining colored aggregates with portland cement of selected color.

H. Joint Grout: Comply with mixing requirements in referenced ANSI standards and with manufacturer's written instructions.

2.15 STONE FABRICATION

Delete this article if all stone used is natural-cleft, random-sized, untrimmed material.

A. Select stone for intended use to prevent fabricated units from containing cracks, seams, and starts that could impair structural integrity or function.

B. Cut stone to produce pieces of thickness, size, and shape indicated.

Retain option from "Stone Thickness" Subparagraph below or revise to suit Project. 3/4 inch (20 mm) is minimum thickness for granite, marble, and serpentine, and is typical for most flooring. Minimum thickness of limestone depends on the variety used; typically 1-1/4 inches (32 mm) for dolomitic limestone and 2 inches (50 mm) for oolitic limestone. Large units require thicker stone.

1. Stone Thickness: [3/4 inch (20 mm)] [7/8 inch (21 mm)] [1 inch (25 mm)] [1-1/4 inches (32 mm)] [2 inches (50 mm)] unless otherwise indicated.

2. Stone Edges: [Square cut with top corner slightly eased to prevent snipping] [Square cut with 1/16-inch- (1.5-mm-) wide bevel at top corner] [Rough split] [As indicated].

3. Joint Width: [1/16 inch (1.5 mm)] [1/8 inch (3 mm)] [1/4 inch (6 mm)] [3/8 inch (10 mm)] <Insert dimension>.

Delete "Pattern Arrangement" Paragraph below if not using marble or other stone with natural markings that allow pattern arrangement.

C. Pattern Arrangement: Fabricate and arrange stone units with veining and other natural markings to comply with the following requirements:

1. Cut stone from one block or contiguous, matched blocks in which natural markings occur.

First option in subparagraph below applies to vein-cut stone (cut perpendicular to bedding plane); second applies to fleuri-cut stone (cut parallel to bedding plane) but may also be used with vein-cut stone.

2. Arrange units [with veining as indicated on Drawings] [in blend pattern].

Retain first paragraph below if thresholds are required. Show threshold profiles on Drawings. Ensure that thresholds are accessible to people with disabilities.

D. Fabricate stone thresholds in sizes and profiles as indicated or required to provide transition between adjacent floor finishes.

Retain paragraph below if stair treads are required. Show tread profiles and details of abrasive inserts or grooves on Drawings.

E. Fabricate stone stair treads in sizes and profiles indicated.[ Rout grooves into treads to receive abrasive strips and install strips to comply with manufacturer's written instructions.][ Cut grooves about 1/8 inch (3 mm) wide by 1/16 inch (1.5 mm) deep in stair treads as indicated.]

PART 3 -  EXECUTION

3.1 PREPARATION

Coordinate first paragraph below with requirements in other Sections in which substrates are specified. For concrete substrates, retain requirement in Section 033000 "Cast-in-Place Concrete" that forbids use of curing and sealing compounds on surfaces covered by ceramic tile, but revise to include stone flooring.

A. [Vacuum] [Sweep] concrete substrates to remove dirt, dust, debris, and loose particles.

B. Remove substances from concrete substrates that could impair mortar bond, including curing and sealing compounds, form oil, and laitance.

C. Where indicated, prepare substrates to receive waterproofing by applying a reinforced mortar bed that complies with ANSI A108.1A and is sloped 1/4 inch per foot (1:50) toward drains.

D. Clean dirty or stained stone surfaces by removing soil, stains, and foreign materials.

3.2 INSTALLATION, GENERAL

Retain or revise requirements in this article to suit Project; delete others.

A. Do necessary field cutting as stone is set. Cut lines straight and true and finish field-cut edges to match shop-cut edges.

1. Use power saws with diamond blades to cut stone[ except for stone that is specified to have rough-split edges].

B. Scribe and field cut stone as necessary to fit at obstructions.

C. Provide control and expansion joints of widths and at locations indicated. Keep control and expansion joints free of mortar, grout, and other rigid materials.

3.3 INSTALLATION TOLERANCES

A. Variation in Joint Width: Do not vary from average joint width more than plus or minus 1/16 inch (1.5 mm) or one-fourth of nominal joint width, whichever is less.

Tolerances in "Variation in Surface Plane" and "Variation in Plane between Adjacent Units (Lipping)" paragraphs below are generally appropriate for smooth-finished stone flooring. Revise for natural-cleft, thermal, and similar finishes. Revise to suit Project.

B. Variation in Surface Plane: Do not exceed 1/8 inch in 10 feet (3 mm in 3 m), 1/4 inch in 20 feet (6 mm in 6 m), or 3/8 inch (10 mm) maximum from level or slope indicated.

C. Variation in Plane between Adjacent Units (Lipping): Do not exceed 1/32-inch (0.8-mm) difference between planes of adjacent units.

3.4 INSTALLATION OF STONE BONDED TO CONCRETE

Delete this article if all stone is installed over a cleavage membrane or over waterproofing.

A. Saturate concrete with clean water several hours before placing setting bed. Remove surface water about one hour before placing setting bed.

B. Apply mortar-bed bond coat to damp concrete and broom to provide an even coating that completely covers the concrete. Do not exceed 1/16-inch (1.5-mm) thickness. Limit area of mortar-bed bond coat to avoid its drying out before placing setting bed.

C. Apply mortar bed immediately after applying mortar-bed bond coat. Spread, tamp, and screed to uniform thickness at elevations required for setting stone to finished elevations indicated.

D. Mix and place only that amount of mortar bed that can be covered with stone before initial set. Cut back, bevel edge, and discard material that has reached initial set before stone can be placed.

E. Place stone before initial set of mortar occurs. Immediately before placing stone on setting bed, apply uniform 1/16-inch- (1.5-mm-) thick bond coat to mortar bed or to back of each stone unit.

F. Tamp and beat stone with a wooden block or rubber mallet to obtain full contact with mortar bed and to bring finished surfaces within indicated tolerances. Set each unit in a single operation before initial set of mortar; do not return to areas already set and disturb stone for purposes of realigning finished surfaces or adjusting joints.

G. Rake out joints to depth required to receive [grout] [pointing mortar] as units are set.

Delete paragraph below if joints are grouted rather than pointed.

H. Point joints after setting. Tool joints flat, uniform, and smooth, without visible voids.

3.5 INSTALLATION OF STONE OVER [CLEAVAGE MEMBRANE] [WATERPROOFING]

Retain one of first three paragraphs below.

A. Place cleavage membrane over substrates indicated to receive stone, lapped at least 4 inches (100 mm) at joints.

Retain first paragraph below for waterproofing specified in a waterproofing Section.

B. See waterproofing Section for installation of waterproofing[ and protection board].

Cork filler in subparagraph below will protect waterproofing against stone and will form an expansion joint.

1. Provide cork joint filler, at waterproofing that is turned up on vertical surfaces.

Retain first paragraph below for waterproof membrane specified in this Section.

C. Install waterproof membrane to comply with ANSI A108.13 and manufacturer's written instructions.

D. Place reinforcing wire fabric over [cleavage membrane] [waterproofing] [protection board], lapped at least one full mesh at joints and supported so mesh becomes embedded in middle of mortar bed. Hold edges back from vertical surfaces and control and expansion joints about 1/2 inch (13 mm).

E. Place mortar bed over [cleavage membrane] [waterproofing] [protection board] with reinforcing wire fabric fully embedded in middle of mortar bed. Spread, tamp, and screed to uniform thickness at elevations required for setting stone to finished elevations indicated.

F. Mix and place only that amount of mortar bed that can be covered with stone before initial set. Cut back, bevel edge, and discard material that has reached initial set before stone can be placed.

G. Place stone before initial set of mortar occurs. Immediately before placing stone on setting bed, apply uniform 1/16-inch- (1.5-mm-) thick bond coat to mortar bed or to back of each stone unit.

H. Tamp and beat stone with a wooden block or rubber mallet to obtain full contact with mortar bed and to bring finished surfaces within indicated tolerances. Set each unit in a single operation before initial set of mortar; do not return to areas already set and disturb stone for purposes of realigning finished surfaces or adjusting joints.

I. Rake out joints to depth required to receive [grout] [pointing mortar] as units are set.

Delete paragraph below if joints are grouted rather than pointed.

J. Point joints after setting. Tool joints flat, uniform, and smooth, without visible voids.

3.6 STONE THRESHOLD INSTALLATION

A. At locations adjacent to stone flooring, install stone thresholds in same type of setting bed as abutting stone flooring unless otherwise indicated.

Retain subparagraph below if required.

1. Set thresholds in thin-set, latex-portland cement mortar to comply with ANSI A108.5 at locations where mortar bed would otherwise be exposed above other adjacent flooring.

B. At locations not adjacent to stone flooring, install stone thresholds in [thin-set, latex-portland cement mortar to comply with ANSI A108.5] [water-cleanable epoxy adhesive to comply with ANSI A108.4].

3.7 STONE STAIR TREAD[ AND RISER] INSTALLATION

Retain one of two paragraphs below.

A. Install stone stair treads [and risers ]to comply with "Installation of Stone Bonded to Concrete" Article.

B. Install stone stair treads [and risers ]in [thin-set, latex-portland cement mortar to comply with ANSI A108.5] [water-cleanable epoxy adhesive to comply with ANSI A108.4].

3.8 GROUTING

Delete this article if joints are pointed with mortar rather than grouted. Grouts may be used for stone joints less than 3/16 inch (5 mm) wide; point wider joints with mortar unless grout manufacturer recommends product for joints wider than 3/16 inch (5 mm).

A. Grout stone joints to comply with ANSI A108.10 and with manufacturer's written instructions.

Usually retain first subparagraph below. See Evaluations.

1. Do not use sanded grout for polished stone.

2. Grout joints as soon as possible after initial set of setting bed. After initial set of grout, finish joints by tooling to produce a slightly concave polished joint, free of drying cracks.

3.9 ADJUSTING AND CLEANING

A. In-Progress Cleaning: Clean stonework as work progresses. Remove [mortar fins and smears] [grout smears] before tooling joints.

Revise first paragraph below to suit Project.

B. Clean stonework after setting and [pointing] [grouting] are complete. Use procedures recommended by stone fabricator for application types.

Retain paragraph below if sealer is required.

C. Apply sealer to cleaned stonework according to sealer manufacturer's written instructions.

3.10 PROTECTION

A. Prohibit traffic from installed stone for a minimum of 72 hours.

B. Protect installed stonework during construction with nonstaining kraft paper. Where adjoining areas require construction work access, cover stonework with a minimum of 3/4-inch (20-mm) untreated plywood over nonstaining kraft paper.

END OF SECTION 096340

	STONE FLOORING
	096340 - 1



