Copyright 2012 AIA
MasterSpec Professional
02/12

Copyright 2012 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 096613 - PORTLAND CEMENT TERRAZZO FLOORING
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section includes poured-in-place portland cement terrazzo flooring[ and base].

1.2 ACTION SUBMITTALS

A. Product Data: For each type of product.

B. LEED Submittals:

1. Product Data for Credit MR 4: For products having recycled content, documentation indicating percentages by weight of postconsumer and preconsumer recycled content. Include statement indicating cost for each product having recycled content.

"Product Data for Credit IEQ 4.1" Subparagraph below applies to LEED-NC, LEED-CI, and LEED-CS; coordinate with requirements for adhesives.

2. Product Data for Credit IEQ 4.1: For adhesives, documentation including printed statement of VOC content.

"Product Data for Credit IEQ 4.3" Subparagraph below applies to LEED-NC, LEED-CI, and LEED-CS; coordinate with requirements for sealers.

3. Product Data for Credit IEQ 4.3: For sealers, documentation including printed statement of VOC content.

"Product Data for Credit IEQ 4.3" Subparagraph below applies to LEED-NC, LEED-CI, and LEED-CS; coordinate with requirements for flooring system.

4. Product Data for Credit IEQ 4.3: For terrazzo flooring, documentation from an independent testing agency indicating compliance with the FloorScore Standard.

"Laboratory Test Reports for Credit IEQ 4" Subparagraph below applies to LEED for Schools.

5. Laboratory Test Reports for Credit IEQ 4: For [adhesives] [and] [flooring system], documentation indicating that products comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

C. Shop Drawings: Include terrazzo installation requirements. Include plans, elevations, sections, component details, and attachments to other work.

D. Samples: For each exposed product and for each color and texture specified.

1.3 CLOSEOUT SUBMITTALS

A. Maintenance data.

1.4 QUALITY ASSURANCE

If applicable for Project location and if contractor membership is required, retain "Installer Qualifications" Paragraph below. See "Installer Considerations" Article in the Evaluations in Section 096600 "Terrazzo Flooring." Consult NTMA for list of contractor members.

A. Installer Qualifications: An installer who is a contractor member of NTMA.

B. Mockups: Build mockups to verify selections made under Sample submittals and to demonstrate aesthetic effects and set quality standards for materials and execution.

1.5 FIELD CONDITIONS

A. Environmental Limitations: Maintain temperature above 50 deg F (10 deg C) for 48 hours before and during terrazzo installation.

B. Control and collect water and dust produced by grinding operations. Protect adjacent construction from detrimental effects of grinding operations.

PART 2 -  PRODUCTS

2.1 PERFORMANCE REQUIREMENTS

A. NTMA Standards: Comply with NTMA's "Terrazzo Specifications and Design Guide" and with written recommendations for terrazzo type indicated unless more stringent requirements are specified.

Retain "FloorScore Compliance" Paragraph below if required for LEED-NC, LEED-CS, or LEED-CI Credit IEQ 4.3.

B. FloorScore Compliance: Terrazzo floors shall comply with requirements of FloorScore Standard.

Retain "Low-Emitting Materials" Paragraph below if required for LEED for Schools Credit IEQ 4.

C. Low-Emitting Materials: Flooring system shall comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

2.2 PORTLAND CEMENT TERRAZZO

Copy and re-edit "Portland Cement Terrazzo System" Paragraph below if more than one type is required; insert a unique designation for each type and indicate locations on Drawings.

A. Portland Cement Terrazzo System <Insert designation>: [Sand cushion] [Bonded] [Monolithic].

Retain "Underbed" Subparagraph below for sand-cushion and bonded terrazzo; delete if using only monolithic terrazzo on Project.

1. Underbed: Comply with NTMA's "Terrazzo Specifications and Design Guide" for terrazzo system indicated for component proportions and mixing.

2. Topping: Comply with NTMA's "Terrazzo Specifications and Design Guide" for terrazzo system indicated for matrix and aggregate proportions and mixing.

a. Terrazzo Topping Thickness: [As indicated] <Insert dimension>.

Retain "Mix Color and Pattern" Subparagraph below for NTMA-formulated design mixes.

b. Mix Color and Pattern: [As selected by Architect from NTMA standard-terrazzo plates] [As selected by Architect from NTMA Venetian-terrazzo plates] <Insert NTMA color plate designation> <Insert custom design-mix attributes>.

B. Materials:

1. Portland Cement: ASTM C 150, Type 1.

Retaining second or third option in "Color for Exposed Matrix" Subparagraph below limits NTMA plate selections. Coordinate with mix specified or retain default requirement. White cement is uniform in color. Gray cement may not be uniform in color and may produce matrix shade variations.

a. Color for Exposed Matrix: [As required by mix indicated] [White] [Gray] <Insert requirements>.

2. Water: Potable.

Retain "Sand" Subparagraph below for sand-cushion or bonded portland cement terrazzo.

3. Sand: ASTM C 33/C 33M.

4. Aggregates: Comply with NTMA gradation standards for mix indicated and contain no deleterious or foreign matter.

Retain option in "Abrasion and Impact Resistance" Subparagraph below for large-size marble chips Nos. 5 through 8. Large-size marble chips are used with Venetian terrazzo. See "Terrazzo Matrices" Article in the Evaluations in Section 096600 "Terrazzo Flooring" for a discussion of granular materials.

a. Abrasion and Impact Resistance: Less than 40 percent loss per ASTM C 131[ and ASTM C 535].

b. 24-Hour Absorption Rate: Less than 0.75 percent.

c. Dust Content: Less than 1.0 percent by weight.

Retain "Recycled Content of Portland Cement Terrazzo Flooring" Subparagraph below to specify recycled content if applying for LEED Credit MR 4. An alternative method of dealing with these credit requirements is to retain requirement in Section 018113.13 "Sustainable Design Requirements - LEED for New Construction and Major Renovations," Section 018113.16 "Sustainable Design Requirements - LEED for Commercial Interiors," Section 018113.19 "Sustainable Design Requirements - LEED for Core and Shell Development," Section 018113.23 "Sustainable Design Requirements - LEED for Schools" that gives Contractor the option and responsibility to determine how these credit requirements will be met.

d. Recycled Content of Portland Cement Terrazzo Flooring: Postconsumer recycled content plus one-half of preconsumer recycled content not less than <Insert number> percent.

5. Matrix Pigments: Pure mineral or synthetic pigments, alkali resistant, durable under exposure to sunlight, and compatible with terrazzo matrix.

Retain "Bonding Agent" Subparagraph below for monolithic portland cement terrazzo.

6. Bonding Agent: Neat portland cement, or epoxy or acrylic bonding agents formulated for use with topping indicated.

Retain "Underbed Reinforcement" Subparagraph below for sand-cushion portland cement terrazzo.

7. Underbed Reinforcement: Galvanized welded-wire reinforcement, wire 2 by 2 inches (51 by 51 mm) by 0.062 inch (1.57 mm) in diameter, complying with ASTM A 185/A 185M and ASTM A 82/A 82M, except for minimum wire size.

Retain "Isolation Membrane" Subparagraph below for sand-cushion portland cement terrazzo.

8. Isolation Membrane: Polyethylene sheeting, ASTM D 2103, Type 13300, 4 mils (0.1 mm) thick; or unperforated asphalt felt, ASTM D 226, Type I (No. 15).

2.3 STRIP MATERIALS

See "Strip Materials" Article in the Evaluations in Section 018113.13 "Sustainable Design Requirements - LEED for New Construction and Major Renovations," Section 018113.16 "Sustainable Design Requirements - LEED for Commercial Interiors," Section 018113.19 "Sustainable Design Requirements - LEED for Core and Shell Development," Section 018113.23 "Sustainable Design Requirements - LEED for Schools" for discussion of strip-material types, finishes, and placement. Heavy-top divider strips and heavy-top angle divider strips have a more visible top-section width than standard divider strips.

A. Standard Divider Strips: One-piece, flat-type strips for grouting into sawed joints prepared in substrate.

1. Material: [As indicated] [White-zinc alloy] [Brass] <Insert requirements>.

2. Depth: [As indicated] [3/4 inch (19 mm)] [1-1/4 inches (32 mm)] [2 inches (51 mm)] <Insert dimension>.

3. Width: [As indicated] [0.05 inch (1.27 mm)] [1/8 inch (3.2 mm)] [1/4 inch (6.4 mm)] <Insert dimension>.

B. Heavy-Top Divider Strips: One-piece, flat-type strips for grouting into sawed joints prepared in substrate.

1. Base-Section Material: [As indicated] [White-zinc alloy] [Galvanized steel] <Insert requirements>.

2. Top-Section Material: [As indicated] [White-zinc alloy] [Brass] [Plastic, in color selected from full range of industry colors] <Insert requirements>.

3. Depth: [As indicated] [3/4 inch (19 mm)] [1-1/4 inches (32 mm)] [2 inches (51 mm)] <Insert dimension>.

4. Top-Section Width: [As indicated] [1/8 inch (3.2 mm)] [1/4 inch (6.4 mm)] [1/2 inch (12.7 mm)] <Insert dimension>.

C. Heavy-Top Angle Divider Strips: One-piece, L-type angle strips with anchoring device and in depth required for topping thickness indicated.

1. Material: [As indicated] [White-zinc alloy] [Brass] [Plastic, in color selected from full range of industry colors] <Insert requirements>.

2. Top-Section Width: [As indicated] [1/8 inch (3.2 mm)] [1/4 inch (6.4 mm)] [3/8 inch (9.5 mm)] [1/2 inch (12.7 mm)] <Insert dimension>.

D. Control-Joint Strips: Separate, double L-type angles, positioned back to back, that match material and color of divider strips and in depth required for topping thickness indicated.

E. Accessory Strips: Match divider-strip width, material, and color unless otherwise indicated. Use the following types of accessory strips as required to provide a complete installation:

1. Base-bead strips for exposed top edge of terrazzo base.

2. Edge-bead strips for exposed edges of terrazzo.

3. Nosings for terrazzo stair treads and landings.

4. <Insert requirements>.

Retain "Abrasive Strips" Paragraph below for terrazzo stair treads and landings.

F. Abrasive Strips: [Three-line] [Two-line] [One-line] [Abrasive nosing strip and two-line] <Insert requirements> abrasive inserts at nosings. Silicon carbide or aluminum oxide, or combination of both, in epoxy-resin binder and set in channel.

1. Width: [1/2 inch (12.7 mm)] <Insert dimension>.

2. Depth: As required by terrazzo thickness.

3. Length: [4 inches (100 mm) less than stair width] [As indicated] <Insert dimension>.

4. Color: [As selected by Architect from full range of industry colors] <Insert requirements>.

2.4 MISCELLANEOUS ACCESSORIES

A. Strip Adhesive: Recommended by manufacturer for this use.

Retain first subparagraph below if required for LEED-NC, LEED-CI, or LEED-CS Credit IEQ 4.1. VOC content limit is that for multipurpose construction adhesives.

1. Adhesives shall have a VOC content of 70 g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

Retain subparagraph below if required for LEED for Schools Credit IEQ 4.

2. Adhesives shall comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

B. Strip Anchoring Devices: Provide mechanical anchoring devices or adhesives for strip materials as recommended by manufacturer and as required for secure attachment to substrate.

C. Isolation and Expansion-Joint Material: Closed-cell polyethylene foam, nonabsorbent to liquid water and gas, and non-outgassing in unruptured state; butyl rubber; rubber; or cork; [in width indicated] [minimum 1/2 inch (12.7 mm) wide] <Insert dimension>.

D. Portland Cement Terrazzo Cleaner: Chemically neutral cleaner with pH factor between 7 and 10 that is biodegradable, phosphate free, and recommended by cleaner manufacturer for use on terrazzo type indicated.

E. Sealer: Slip- and stain-resistant, penetrating-type sealer that is chemically neutral; does not affect terrazzo color or physical properties; is recommended by sealer manufacturer; and complies with NTMA's "Terrazzo Specifications and Design Guide" for terrazzo type indicated.

1. Surface Friction: Not less than 0.6 according to ASTM D 2047.

2. Acid-Base Properties: With pH factor between 7 and 10.

Retain subparagraph below if required for LEED-NC, LEED-CI, or LEED-CS Credit IEQ 4.3.

3. Sealers shall have a VOC content of 200 g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

PART 3 -  EXECUTION

3.1 PREPARATION

A. Clean substrates of substances, including oil, grease, and curing compounds, that might impair terrazzo bond. Provide clean, dry, and neutral substrate for terrazzo application.

Retain subparagraph below for smooth concrete substrates or insert requirements for other substrates such as wood or quarry tile; consult manufacturers for recommendations.

1. Roughen concrete substrates before installing terrazzo system according to NTMA's written recommendations.

B. Verify that concrete substrates are dry and moisture-vapor emissions are within acceptable levels according to manufacturer's written instructions.

1. Moisture Testing: Test for moisture content by [method recommended in writing by terrazzo manufacturer] [calcium chloride test] [in-situ probe test] <Insert test method>. Proceed with installation only after substrates pass testing.

3.2 INSTALLATION

A. Comply with NTMA's written recommendations for terrazzo and accessory installation.

Coordinate concrete-slab flatness and levelness tolerances with NTMA recommendations, especially for monolithic portland cement terrazzo. See Section 033000 "Cast-in-Place Concrete" for floor and slab tolerances.

B. Installation Tolerance: Limit variation in terrazzo surface from level to [1/4 inch in 10 feet (6.4 mm in 3 m)] <Insert dimensions>; noncumulative.

Retain "Underbed" Paragraph below for sand-cushion or bonded portland cement terrazzo.

C. Underbed:

1. Comply with NTMA's "Terrazzo Specifications and Design Guide" for underbed installation.

Retain first three subparagraphs below for sand-cushion portland cement terrazzo only.

2. Cover entire surface to receive terrazzo with dusting of sand.

3. Install isolation membrane over sand, overlapping ends and edges a minimum of 3 inches (75 mm).

4. Install welded-wire reinforcement, overlapping at edges and ends at least two squares.[ Stop mesh a minimum of 1 inch (25 mm) short of expansion joints.]

5. Place underbed and screed to elevation indicated below finished floor elevation.

Revise "Strip Materials" Paragraph below to suit Project. Indicate location and spacing of strip materials on Drawings or insert below.

D. Strip Materials:

1. Divider and Control-Joint Strips:

a. Locate divider strips [over each edge of steel beams and girders] [centered over steel beams and joists] [directly over control joints, breaks, and saw cuts in concrete slabs] [in locations indicated] <Insert requirements>.

b. Install control-joint strips [back to back and directly above concrete-slab control joints] [in locations indicated] <Insert requirements>.

c. Install control-joint strips with [1/4-inch (6.4-mm)] <Insert dimension> gap between strips, and install sealant in gap.

d. Install strips in adhesive setting bed without voids below strips, or mechanically anchor strips as required to attach strips to substrate, as recommended by strip manufacturer.

Retain "Accessory Strips" Subparagraph below for accessory strips.

2. Accessory Strips: Install as required to provide a complete installation.

Retain "Abrasive Strips" Subparagraph below for abrasive strips.

3. Abrasive Strips: Install with surface of abrasive strip positioned [1/16 inch (1.6 mm)] <Insert dimension> higher than terrazzo surface.

E. Terrazzo Installation: Pour in place and seed additional aggregates in matrix to uniformly distribute granular material and produce a surface with a minimum of 70 percent aggregate exposure. Cure and finish portland cement terrazzo according to NTMA's "Terrazzo Specifications and Design Guide" for terrazzo type indicated.

F. Repair: Cut out and replace terrazzo areas that evidence lack of bond with substrate or underbed, including areas that emit a "hollow" sound if tapped. Cut out terrazzo areas in panels defined by strips and replace to match adjacent terrazzo, or repair panels according to NTMA's written recommendations, as approved by Architect.

3.3 CLEANING AND PROTECTION

A. Terrazzo Cleaning:

1. Remove grinding dust from installation and adjacent areas.

2. Wash surfaces with cleaner immediately after final cleaning of terrazzo flooring according to NTMA's written recommendations and manufacturer's written instructions; rinse surfaces with water and allow them to dry thoroughly.

B. Sealing:

1. Seal surfaces according to NTMA's written recommendations.

2. Apply sealer according to sealer manufacturer's written instructions.

C. Protection: Provide final protection and maintain conditions, in a manner acceptable to Installer, that ensure that terrazzo is without damage or deterioration at time of Substantial Completion.

END OF SECTION 096613

	PORTLAND CEMENT TERRAZZO FLOORING
	096613 - 1



