Copyright 2012 AIA
MasterSpec Professional
05/12

Copyright 2012 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 097200 - WALL COVERINGS
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section Includes:

1. Vinyl wall covering.

2. Textile wall covering.

3. Wallpaper.

1.2 ACTION SUBMITTALS

A. Product Data: For each type of product.

B. LEED Submittals:

"Product Data for Credit IEQ 4.1" Subparagraph below applies to LEED-NC, LEED-CI, and LEED-CS; coordinate with requirements for adhesives.

1. Product Data for Credit IEQ 4.1: For adhesives, documentation including printed statement of VOC content.

"Laboratory Test Reports for Credit IEQ 4.1" Subparagraph below applies to LEED for Schools.

2. Laboratory Test Reports for Credit IEQ 4.1: For adhesives, documentation indicating that products comply with the testing and product requirements of the California Department of Public Health's (formerly, the California Department of Health Services') "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers."

"Product Data for Credit IEQ 4.2" Subparagraph below applies to LEED-NC, LEED-CI, and LEED-CS; coordinate with requirements for paints and coatings.

3. Product Data for Credit IEQ 4.2: For paints and coatings, documentation including printed statement of VOC content.

"Laboratory Test Reports for Credit IEQ 4.4" Subparagraph below applies to LEED for Schools.

4. Laboratory Test Reports for Credit IEQ 4.4: For [wall-covering systems] [adhesives] [and] [paints and coatings], documentation indicating that products comply with the testing and product requirements of the California Department of Public Health's (formerly, the California Department of Health Services') "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers."

C. Samples: For each type of wall covering and for each color, pattern, texture, and finish specified, full width by [36-inch- (914-mm-)] <Insert dimension> long in size.

1.3 INFORMATIONAL SUBMITTALS

A. Product test reports.

1.4 CLOSEOUT SUBMITTALS

A. Maintenance data.

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

2.1 PERFORMANCE REQUIREMENTS

Retain "Low-Emitting Materials" Paragraph below if required for LEED for Schools Credit IEQ 4.4.

A. Low-Emitting Materials: Wall-covering system shall comply with the testing and product requirements of the California Department of Public Health's (formerly, the California Department of Health Services') "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers."

The IBC exempts materials less than 0.036 inch (0.9 mm) thick applied directly to wall or ceiling surfaces from fire testing. Verify requirements of authorities having jurisdiction and revise "Fire-Test-Response Characteristics" Paragraph below to suit Project.

B. Fire-Test-Response Characteristics: As determined by testing identical wall coverings applied with identical adhesives to substrates according to test method indicated below by a qualified testing agency. Identify products with appropriate markings of applicable testing agency.

1. Surface-Burning Characteristics: Comply with ASTM E 84; testing by a qualified testing agency. Identify products with appropriate markings of applicable testing agency.

a. Flame-Spread Index: [25] <Insert value> or less.

b. Smoke-Developed Index: [50] [450] <Insert value> or less.

Retain "Fire-Growth Contribution" Subparagraph below if spaces are not protected by automatic sprinkler system or if combination of testing per ASTM E 84 and sprinkler protection is not an acceptable alternative to comply with requirements of authorities having jurisdiction. NFPA 265 is for textile and expanded-vinyl wall covering; NFPA 286 is for any wall covering. Verify requirements of authorities having jurisdiction.

2. Fire-Growth Contribution: No flashover and heat and smoke release according to [NFPA 265] [NFPA 286].

2.2 VINYL WALL COVERING <Insert drawing designation>

Retain this article if required for Project.

See the table at the end of the Evaluations for a list of manufacturers' products. Use this table in combination with manufacturers' catalogs or product data to insert series, type, model, and designations of other characteristics.

Copy this article and re-edit for each product.

Insert drawing designation. Use these designations on Drawings to identify each product.

Retain "Manufacturers" Paragraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

A. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Paragraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

B. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

1. Arc-Com Fabrics, Inc.

2. Blue Mountain Wallcoverings, Inc.

3. Brewster Wallcovering Company.

4. DesignTex Inc.; a Steelcase company.

5. D. L. Couch; Wallcovering Source.

6. Eykon; Wallcovering Source.

7. Fidelity Industries, Inc.

8. F. Schumacher & Co.

9. Gilford.

10. Innovations in Wallcoverings, Inc.

11. Knoll, Inc.

12. Len-Tex Corporation.

13. MDC Wallcoverings.

14. RJF International Corporation.

15. Roysons Corporation.

16. Source One Wallcovering.

17. U.S. Vinyl Manufacturing Corporation.

18. Versa.

19. Vescom America.

20. Warner Company (The).

21. Wolf-Gordon.

22. York Wallcoverings.

23. <Insert manufacturer's name>.

Both FS CCC-W-408D and ASTM F 793 include the same criteria and test for mildew resistance.

C. Description: Provide[ mildew-resistant] products in rolls from same production run and complying with the following:

Retain one type option in first subparagraph below. See Evaluations for descriptions of FS CCC-W-408D and CFFA-W-101-D Types.

1. [FS CCC-W-408D and ]CFFA-W-101-D for [Type I, Light] [Type II, Medium] [Type III, Heavy]-Duty products.

Retain subparagraph below for products tested for compliance with ASTM F 793. See Evaluations for descriptions of categories, and coordinate requirements with CFFA-W-101-D Type.

2. ASTM F 793 for [peelable] [strippable] wall coverings.

a. Category: [I, Decorative Only] [II, Decorative with Medium Serviceability] [III, Decorative with High Serviceability] [IV, Type I, Commercial Serviceability] [V, Type II, Commercial Serviceability] [VI, Type III, Commercial Serviceability].

Coordinate "Total Weight" Paragraph below with CFFA-W-101-D Type.

D. Total Weight: <Insert weight>, excluding coatings.

E. Width: [27 inches (686 mm)] [54 inches (1372 mm)] <Insert dimension>.

Retain "Backing" Paragraph below for vinyl wall covering with fabric backing. Coordinate backing material with CFFA-W-101-D Type. Verify availability of backing with manufacturer.

F. Backing: [Scrim] [Osnaburg] [Drill] [Nonwoven] fabric.

1. Fiber Content: [Cotton] [Polyester] [Polycotton] [Polyester cellulose] <Insert fiber content>.

G. Repeat: [Random] <Insert horizontal and vertical dimensions of repeat>.

H. Stain-Resistant Coating: <Insert coating manufacturer's name; product name or designation>.

Retain "Colors, Textures, and Patterns" Paragraph below unless manufacturer's product name or designation indicates color, texture, and pattern.

I. Colors, Textures, and Patterns: [Match Architect's samples] [As selected by Architect from manufacturer's full range].

2.3 TEXTILE WALL COVERING <Insert drawing designation>

Retain this article if required for Project.

See the table at the end of the Evaluations for a list of manufacturers' products. Use this table in combination with manufacturers' catalogs or product data to insert series, type, model, and designations of other characteristics.

Copy this article and re-edit for each product.

Insert drawing designation. Use these designations on Drawings to identify each product.

Retain "Manufacturers" Paragraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

A. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Paragraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

B. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

1. Blue Mountain Wallcoverings, Inc.

2. Brewster Wallcovering Company.

3. Carnegie Fabrics.

4. DesignTex Inc.; a Steelcase company.

5. D. L. Couch; Wallcovering Source.

6. Eykon; Wallcovering Source.

7. Fibreworks Corporation.

8. F. Schumacher & Co.

9. Gilford.

10. Hytex Industries, Inc.

11. Innovations in Wallcoverings, Inc.

12. Knoll, Inc.

13. Maharam.

14. MDC Wallcoverings.

15. RJF International Corporation.

16. Source One Wallcovering.

17. Vescom America.

18. Wolf-Gordon.

19. <Insert manufacturer's name>.

Revise "Description" Paragraph below if manufacturers do not test their products for compliance with ASTM F 793.

C. Description: Provide [mildew-resistant,] [peelable] [strippable] wall coverings in rolls from same production run and that comply with ASTM F 793.

1. Category: [I, Decorative Only] [II, Decorative with Medium Serviceability] [III, Decorative with High Serviceability] [IV, Type I, Commercial Serviceability] [V, Type II, Commercial Serviceability] [VI, Type III, Commercial Serviceability].

D. Test Responses:

1. Colorfastness to Wet and Dry Crocking: Passes AATCC 8, Grade 3, minimum.

2. Colorfastness to Light: Passes AATCC 16, Test Option 1 or 3, Grade 4, minimum, at 40 hours.

E. Total Weight: <Insert weight>, excluding coatings.

F. Width: <Insert width>.

G. Repeat: [Random] <Insert horizontal and vertical dimensions of repeat>.

H. Applied Backing Material: [Acrylic] [Paper].

I. Stain-Resistant Coating: <Insert coating manufacturer's name; product name or designation>.

Retain "Colors, "Textures, and Patterns" Paragraph below unless manufacturer's product name or designation indicates color, texture, and pattern.

J. Colors, Textures, and Patterns: [Match Architect's samples] [As selected by Architect from manufacturer's full range].

2.4 WALLPAPER <Insert drawing designation>

Retain this article if required for Project.

See the table at the end of the Evaluations for a list of manufacturers' products. Use this table in combination with manufacturers' catalogs or product data to insert series, type, model, and designations of other characteristics.

Copy this article and re-edit for each product.

Insert drawing designation. Use these designations on Drawings to identify each product.

Retain "Manufacturers" Paragraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

A. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Paragraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

B. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

1. Blue Mountain Wallcoverings, Inc.

2. Brewster Wallcovering Company.

3. F. Schumacher & Co.

4. RJF International Corporation.

5. Roysons Corporation.

6. Warner Company (The).

7. York Wallcoverings.

8. <Insert manufacturer's name>.

Revise "Description" Paragraph below if manufacturers do not test their products for compliance with ASTM F 793.

C. Description: Provide [mildew-resistant] [peelable] [strippable] wallpaper in rolls from same production run and that complies with ASTM F 793.

1. Category: [I, Decorative Only] [II, Decorative with Medium Serviceability] [III, Decorative with High Serviceability].

D. Total Weight: <Insert weight>.

E. Width: [20-1/2 inches (520.7 mm)] [28 inches (711.2 mm)] <Insert dimension>.

F. Repeat: [Random] <Insert horizontal and vertical dimensions of repeat>.

Retain "Colors, Textures, and Patterns" Paragraph below unless manufacturer's product name or designation indicates color, texture, and pattern.

G. Colors, Textures, and Patterns: [Match Architect's samples] [As selected by Architect from manufacturer's full range].

2.5 ACCESSORIES

A. Adhesive: Mildew-resistant, nonstaining[, strippable] adhesive, for use with specific wall covering and substrate application indicated and as recommended in writing by wall-covering manufacturer.

Retain first subparagraph below if required for LEED-NC, LEED-CI, or LEED-CS Credit IEQ 4.1. VOC content limit is that for adhesives for porous materials other than wood.

1. Adhesive shall have a VOC content of [50] <Insert value> g/L or less.

Retain subparagraph below if required for LEED for Schools Credit IEQ 4.1.

2. Adhesive shall comply with the testing and product requirements of the California Department of Public Health's (formerly, the California Department of Health Services') "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers."

Retain "Primer/Sealer" Paragraph below if required by substrate conditions, and insert primer requirements in the appropriate painting Section or revise and insert requirements here.

B. Primer/Sealer: Mildew resistant, complying with requirements in [Section 099123 "Interior Painting"] and recommended in writing by primer/sealer and wall-covering manufacturers for intended substrate.

Revise "Metal Primer" Paragraph below to suit metal surfaces over which wall coverings are applied.

C. Metal Primer: Interior ferrous metal primer complying with [Section 099123 "Interior Painting"] and recommended in writing by primer and wall-covering manufacturers for intended substrate.

PART 3 -  EXECUTION

3.1 PREPARATION

A. Comply with manufacturer's written instructions for surface preparation.

B. Clean substrates of substances that could impair bond of wall covering, including dirt, oil, grease, mold, mildew, and incompatible primers.

C. Prepare substrates to achieve a smooth, dry, clean, structurally sound surface free of flaking, unsound coatings, cracks, and defects.

1. Moisture Content: Maximum of 5 percent on new plaster, concrete, and concrete masonry units when tested with an electronic moisture meter.

2. Plaster: Allow new plaster to cure. Neutralize areas of high alkalinity. Prime with primer recommended in writing by primer/sealer manufacturer and wall-covering manufacturer.

3. Metals: If not factory primed, clean and apply primer recommended in writing by primer/sealer manufacturer and wall-covering manufacturer.

Retain "Gypsum Board" Subparagraph below if priming of gypsum-board surfaces is not performed as Work of another Section.

4. Gypsum Board: Prime with primer as recommended in writing by primer/sealer manufacturer and wall-covering manufacturer.

5. Painted Surfaces: Treat areas susceptible to pigment bleeding.

D. Check painted surfaces for pigment bleeding. Sand gloss, semigloss, and eggshell finish with fine sandpaper.

E. Remove hardware and hardware accessories, electrical plates and covers, light fixture trims, and similar items.

F. Acclimatize wall-covering materials by removing them from packaging in the installation areas not less than 24 hours before installation.

3.2 WALL-COVERING INSTALLATION

A. Comply with wall-covering manufacturers' written installation instructions applicable to products and applications indicated.

B. Cut wall-covering strips in roll number sequence. Change the roll numbers at partition breaks and corners.

C. Install strips in same order as cut from roll.

D. Install wall covering without lifted or curling edges and without visible shrinkage.

Retain first paragraph below for patterns that require matching; revise to suit Project.

E. Match pattern [72 inches (1830 mm)] <Insert dimension> above the finish floor.

Revise first paragraph below if railroading (horizontal application) is required.

F. Install seams vertical and plumb at least 6 inches (150 mm) from outside corners and [3 inches (75 mm)] [6 inches (150 mm)] from inside corners unless a change of pattern or color exists at corner. Horizontal seams are not permitted.

G. Trim edges and seams for color uniformity, pattern match, and tight closure. Butt seams without overlaps or gaps between strips.

H. Fully bond wall covering to substrate. Remove air bubbles, wrinkles, blisters, and other defects.

I. Remove excess adhesive at seams, perimeter edges, and adjacent surfaces.

J. Reinstall hardware and hardware accessories, electrical plates and covers, light fixture trims, and similar items.

END OF SECTION 097200

	WALL COVERINGS
	097200 - 1



