Copyright 2011 AIA
MasterSpec Professional
02/11

Copyright 2011 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 099123 - INTERIOR PAINTING
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section includes surface preparation and the application of paint systems on [interior substrates.] [the following interior substrates:]

1. Concrete.

2. Clay masonry.

3. Concrete masonry units (CMU).

4. Steel.

5. Cast iron.

6. Galvanized metal.

7. Aluminum (not anodized or otherwise coated).

8. Wood.

9. Gypsum board.

10. Plaster.

11. Spray-textured ceilings.

12. Cotton or canvas insulation covering.

13. ASJ insulation covering.

1.2 DEFINITIONS

Definitions of gloss levels below are from "MPI Architectural Painting Specification Manual" (hereafter, "MPI Manual").

Retain terms that remain after this Section has been edited for a project.

A. Gloss Level 1: Not more than 5 units at 60 degrees and 10 units at 85 degrees, according to ASTM D 523.

B. Gloss Level 2: Not more than 10 units at 60 degrees and 10 to 35 units at 85 degrees, according to ASTM D 523.

C. Gloss Level 3: 10 to 25 units at 60 degrees and 10 to 35 units at 85 degrees, according to ASTM D 523.

D. Gloss Level 4: 20 to 35 units at 60 degrees and not less than 35 units at 85 degrees, according to ASTM D 523.

E. Gloss Level 5: 35 to 70 units at 60 degrees, according to ASTM D 523.

F. Gloss Level 6: 70 to 85 units at 60 degrees, according to ASTM D 523.

G. Gloss Level 7: More than 85 units at 60 degrees, according to ASTM D 523.

1.3 ACTION SUBMITTALS

A. Product Data: For each type of product. Include preparation requirements and application instructions.

B. LEED Submittals:

"Product Data for Credit EQ 4.2" Subparagraph below applies to LEED-NC, LEED-CI, and LEED-CS. Coordinate with requirements for paints and coatings.

1. Product Data for Credit EQ 4.2: For paints and coatings, including printed statement of VOC content.

"Laboratory Test Reports for Credit EQ 4" Subparagraph below applies to LEED for Schools.

2. Laboratory Test Reports for Credit EQ 4: For paints and coatings, documentation indicating that they meet the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

C. Samples: For each type of paint system and in each color and gloss of topcoat.

D. Product List: For each product indicated. Include printout of current "MPI Approved Products List" for each product category specified in Part 2, with the proposed product highlighted.

1.4 MAINTENANCE MATERIAL SUBMITTALS

A. Furnish extra materials[, from the same product run,] that match products installed and that are packaged with protective covering for storage and identified with labels describing contents.

Retain "Paint" Subparagraph below for projects that require only limited quantities of extra materials. If necessary, replace percentage with a specific number of gallons (liters) or cases and include an expanded description of the quantity of each material and color.

1. Paint: [5] <Insert number> percent, but not less than [1 gal. (3.8 L)] <Insert number> of each material and color applied.

1.5 QUALITY ASSURANCE

A. Mockups: Apply mockups of each paint system indicated and each color and finish selected to verify preliminary selections made under Sample submittals and to demonstrate aesthetic effects and set quality standards for materials and execution.

1. Architect will select one surface to represent surfaces and conditions for application of each paint system specified in Part 3.

a. Vertical and Horizontal Surfaces: Provide samples of at least 100 sq. ft. (9 sq. m).

b. Other Items: Architect will designate items or areas required.

2. Final approval of color selections will be based on mockups.

a. If preliminary color selections are not approved, apply additional mockups of additional colors selected by Architect at no added cost to Owner.

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations in SECTION 099100 "Painting" for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

2.1 MANUFACTURERS

Retain "Products" Paragraph and insert lists of manufacturers and products in other Part 2 articles to require specific products or a comparable product from other manufacturers.

See lists of products currently approved by MPI in its "MPI Approved Products List," www.paintinfo.com. See "Writing Guide" Article in the Evaluations in Section 099100 "Painting" for further discussion.

A. Products: Subject to compliance with requirements, [provide product] [provide one of the products] [available products that may be incorporated into the Work include, but are not limited to products] listed in other Part 2 articles for the paint category indicated.

2.2 PAINT, GENERAL

A. MPI Standards: Provide products that comply with MPI standards indicated and that are listed in its "MPI Approved Products List."

B. Material Compatibility:

Systems could fail if paints used for individual coats are incompatible. MPI's paint systems match primers and topcoats and take compatibility into consideration.

1. Provide materials for use within each paint system that are compatible with one another and substrates indicated, under conditions of service and application as demonstrated by manufacturer, based on testing and field experience.

2. For each coat in a paint system, provide products recommended in writing by manufacturers of topcoat for use in paint system and on substrate indicated.

Retain option in "VOC Content" Paragraph below if required for LEED-NC, LEED-CI, or LEED-CS Credit EQ 4.2; coordinate with products. For names of products that comply, see products listed as complying with LEED VOC limits on "MPI Approved Products List" (available at www.paintinfo.com).

C. VOC Content: Products shall comply with VOC limits of authorities having jurisdiction[ and, for interior paints and coatings applied at Project site, the following VOC limits, exclusive of colorants added to a tint base, when calculated according to 40 CFR 59, Subpart D (EPA Method 24)].

1. Flat Paints and Coatings: 50 g/L.

2. Nonflat Paints and Coatings: 150 g/L.

3. Dry-Fog Coatings: 400 g/L.

4. Primers, Sealers, and Undercoaters: 200 g/L.

5. Anticorrosive and Antirust Paints Applied to Ferrous Metals: 250 g/L.

6. Zinc-Rich Industrial Maintenance Primers: 340 g/L.

7. Pretreatment Wash Primers: 420 g/L.

8. Floor Coatings: 100 g/L.

9. Shellacs, Clear: 730 g/L.

10. Shellacs, Pigmented: 550 g/L.

Retain "Low-Emitting Materials" Paragraph below if required for LEED for Schools.

D. Low-Emitting Materials: Interior paints and coatings shall comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

E. Colors: [As selected by Architect from manufacturer's full range] [Match Architect's samples] [As indicated in a color schedule] <Insert requirements>.

1. [10] [20] [30] <Insert number> percent of surface area will be painted with deep tones.

Manufacturers' names and product designations can be inserted in subsequent articles. Paints in these articles are specified by reference to MPI paint categories and optional MPI numbers. Note that each paint category below is unique within this Section and is identical to that used in the Interior Painting Schedule at the end of Part 3.

If retaining subsequent articles, first revise the Interior Painting Schedule; then retain, delete, and insert appropriate products in subsequent articles to correspond with paint systems specified in the Interior Painting Schedule.

2.3 BLOCK FILLERS

A. Block Filler, Latex, Interior/Exterior:[ MPI #4.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

2.4 PRIMERS/SEALERS

A. Primer Sealer, Latex, Interior:[ MPI #50.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

B. Primer, Alkali Resistant, Water Based:[ MPI #3.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

C. Primer Sealer, Interior, Institutional Low Odor/VOC:[ MPI #149.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

D. Primer, Latex, for Interior Wood:[ MPI #39.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

E. Primer Sealer, Alkyd, Interior:[ MPI #45.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

F. Primer, Bonding, Water Based:[ MPI #17.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

G. Primer, Bonding, Solvent Based:[ MPI #69.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

H. Wood-Knot Sealer: Sealer recommended in writing by topcoat manufacturer for use in paint systems indicated.

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

2.5 METAL PRIMERS

A. Primer, Rust-Inhibitive, Water Based:[ MPI #107.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

B. Primer, Alkyd, Anti-Corrosive, for Metal:[ MPI #79.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

C. Primer, Alkyd, Quick Dry, for Metal:[ MPI #76.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

D. Primer, Galvanized, Water Based:[ MPI #134.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

E. Primer, Vinyl Wash:[ MPI #80.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

F. Primer, Quick Dry, for Aluminum:[ MPI #95.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

2.6 WATER-BASED PAINTS

A. Latex, Interior, Flat, (Gloss Level 1):[ MPI #53.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

B. Latex, Interior, (Gloss Level 2):[ MPI #44.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

C. Latex, Interior, (Gloss Level 3):[ MPI #52.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

D. Latex, Interior, (Gloss Level 4):[ MPI #43.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

E. Latex, Interior, Semi-Gloss, (Gloss Level 5):[ MPI #54.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

F. Latex, Interior, Gloss, (Gloss Level 6, except minimum gloss of 65 units at 60 degrees):[ MPI #114.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

G. Latex, Interior, Institutional Low Odor/VOC, Flat (Gloss Level 1):[ MPI #143.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

H. Latex, Interior, Institutional Low Odor/VOC, (Gloss Level 2):[ MPI #144.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

I. Latex, Interior, Institutional Low Odor/VOC, (Gloss Level 3):[ MPI #145.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

J. Latex, Interior, Institutional Low Odor/VOC, Semi-Gloss (Gloss Level 5):[ MPI #147.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

K. Latex, Interior, High Performance Architectural, (Gloss Level 2):[ MPI #138.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

L. Latex, Interior, High Performance Architectural, (Gloss Level 3):[ MPI #139.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

M. Latex, Interior, High Performance Architectural, (Gloss Level 4):[ MPI #140.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

N. Latex, Interior, High Performance Architectural, Semi-Gloss (Gloss Level 5):[ MPI #141.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

O. Light Industrial Coating, Interior, Water Based (Gloss Level 3):[ MPI #151.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

P. Light Industrial Coating, Interior, Water Based, Semi-Gloss (Gloss Level 5):[ MPI #153.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

Q. Light Industrial Coating, Interior, Water Based, Gloss (Gloss Level 6):[ MPI #154.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

2.7 SOLVENT-BASED PAINTS

A. Alkyd, Interior, Flat (Gloss Level 1):[ MPI #49.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

B. Alkyd, Interior, (Gloss Level 3):[ MPI #51.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

C. Alkyd, Interior, Semi-Gloss (Gloss Level 5):[ MPI #47.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

D. Alkyd, Interior, Gloss (Gloss Level 6):[ MPI #48.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

E. Alkyd, Quick Dry, Semi-Gloss (Gloss Level 5):[ MPI #81.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

F. Alkyd, Quick Dry, Gloss (Gloss Level 7):[ MPI #96.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

2.8 TEXTURED COATING

A. Primer for Textured Coating, Latex, Flat: As recommended in writing by topcoat manufacturer.

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

B. Intermediate Coat for Textured Coating, Latex, Flat: As recommended in writing by topcoat manufacturer.

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

C. Textured Coating, Latex, Flat:[ MPI #42.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

2.9 DRY FOG/FALL COATINGS

A. Dry Fall, Latex, Flat:[ MPI #118.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

B. Dry Fall, Water Based, for Galvanized Steel, Flat (Gloss Level 1):[ MPI #133.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

C. Dry Fall, Alkyd, Flat:[ MPI #55.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

2.10 ALUMINUM PAINT

A. Aluminum Paint:[ MPI #1.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

2.11 FLOOR COATINGS

A. Stain, Interior, for Concrete Floors:[ MPI #58.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

B. Sealer, Water Based, for Concrete Floors:[ MPI #99.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

C. Sealer, Solvent Based, for Concrete Floors:[ MPI #104.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

D. Floor Paint, Latex, Low Gloss (Maximum Gloss Level 3):[ MPI #60.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

E. Floor Enamel, Alkyd, Gloss (Gloss Level 6):[ MPI #27.]

1. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine substrates and conditions, with Applicator present, for compliance with requirements for maximum moisture content and other conditions affecting performance of the Work.

B. Maximum Moisture Content of Substrates: When measured with an electronic moisture meter as follows:

Percentages in five subparagraphs below are based on "MPI Manual."

1. Concrete: 12 percent.

2. Masonry (Clay and CMU): 12 percent.

3. Wood: 15 percent.

4. Gypsum Board: 12 percent.

5. Plaster: 12 percent.

C. Verify suitability of substrates, including surface conditions and compatibility with existing finishes and primers.

D. Proceed with coating application only after unsatisfactory conditions have been corrected.

1. Application of coating indicates acceptance of surfaces and conditions.

3.2 PREPARATION

For renovation projects, consult "MPI Maintenance Repainting Manual" and revise first paragraph below and paint systems specified in the Interior Painting Schedule.

A. Comply with manufacturer's written instructions and recommendations in "MPI Manual" applicable to substrates indicated.

B. Remove hardware, covers, plates, and similar items already in place that are removable and are not to be painted. If removal is impractical or impossible because of size or weight of item, provide surface-applied protection before surface preparation and painting.

1. After completing painting operations, use workers skilled in the trades involved to reinstall items that were removed. Remove surface-applied protection if any.

C. Clean substrates of substances that could impair bond of paints, including dust, dirt, oil, grease, and incompatible paints and encapsulants.

Coordination of shop-applied prime coats with topcoats is critical.

1. Remove incompatible primers and reprime substrate with compatible primers or apply tie coat as required to produce paint systems indicated.

3.3 APPLICATION

A. Apply paints according to manufacturer's written instructions and to recommendations in "MPI Manual."

B. Apply paints to produce surface films without cloudiness, spotting, holidays, laps, brush marks, roller tracking, runs, sags, ropiness, or other surface imperfections. Cut in sharp lines and color breaks.

3.4 CLEANING AND PROTECTION

A. Protect work of other trades against damage from paint application. Correct damage to work of other trades by cleaning, repairing, replacing, and refinishing, as approved by Architect, and leave in an undamaged condition.

B. At completion of construction activities of other trades, touch up and restore damaged or defaced painted surfaces.

3.5 INTERIOR PAINTING SCHEDULE

Paint systems in this article are based on "MPI Manual." For renovation projects, consult "MPI Maintenance Repainting Manual" and revise paint systems accordingly.

A. Concrete Substrates, Nontraffic Surfaces:

1. Latex System:

Retain one of two "Prime Coat" subparagraphs below. First corresponds to MPI INT 3.1A; second corresponds to MPI INT 3.1E.

a. Prime Coat: Primer sealer, latex, interior[, MPI #50].

b. Prime Coat: Latex, interior, matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

c. Intermediate Coat: Latex, interior, matching topcoat.

Retain one of six "Topcoat" subparagraphs below.

d. Topcoat: Latex, interior, flat, (Gloss Level 1)[, MPI #53].

e. Topcoat: Latex, interior, (Gloss Level 2)[, MPI #44].

f. Topcoat: Latex, interior, (Gloss Level 3)[, MPI #52].

g. Topcoat: Latex, interior, (Gloss Level 4)[, MPI #43].

h. Topcoat: Latex, interior, semi-gloss, (Gloss Level 5)[, MPI #54].

i. Topcoat: Latex, interior, gloss, (Gloss Level 6, except minimum gloss of 65 units at 60 degrees)[, MPI #114].

"Latex over Latex Aggregate System" Subparagraph below corresponds to MPI INT 3.1B.

2. Latex over Latex Aggregate System:

a. Prime Coat: Textured coating, latex, flat[, MPI #42].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Latex, interior, matching topcoat.

Retain one of six "Topcoat" subparagraphs below.

c. Topcoat: Latex, interior, flat, (Gloss Level 1)[, MPI #53].

d. Topcoat: Latex, interior, (Gloss Level 2)[, MPI #44].

e. Topcoat: Latex, interior, (Gloss Level 3)[, MPI #52].

f. Topcoat: Latex, interior, (Gloss Level 4)[, MPI #43].

g. Topcoat: Latex, interior, semi-gloss, (Gloss Level 5)[, MPI #54].

h. Topcoat: Latex, interior, gloss, (Gloss Level 6, except minimum gloss of 65 units at 60 degrees)[, MPI #114].

"Institutional Low-Odor/VOC Latex System" Subparagraph below corresponds to MPI INT 3.1M.

3. Institutional Low-Odor/VOC Latex System:

a. Prime Coat: Primer sealer, interior, institutional low odor/VOC[, MPI #149].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Latex, interior, institutional low odor/VOC, matching topcoat.

Retain one of four "Topcoat" subparagraphs below.

c. Topcoat: Latex, interior, institutional low odor/VOC, flat (Gloss Level 1)[, MPI #143].

d. Topcoat: Latex, interior, institutional low odor/VOC, (Gloss Level 2)[, MPI #144].

e. Topcoat: Latex, interior, institutional low odor/VOC, (Gloss Level 3)[, MPI #145].

f. Topcoat: Latex, interior, institutional low odor/VOC, semi-gloss (Gloss Level 5)[, MPI #147].

"High-Performance Architectural Latex System" Subparagraph below corresponds to MPI INT 3.1C. It is recommended for use in high-traffic and high-contact areas (e.g., public corridors in institutional buildings).

4. High-Performance Architectural Latex System:

a. Prime Coat: Primer, alkali resistant, water based[, MPI #3].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Latex, interior, high performance architectural, matching topcoat.

Retain one of four "Topcoat" subparagraphs below.

c. Topcoat: Latex, interior, high performance architectural, (Gloss Level 2)[, MPI #138].

d. Topcoat: Latex, interior, high performance architectural, (Gloss Level 3)[, MPI #139].

e. Topcoat: Latex, interior, high performance architectural, (Gloss Level 4)[, MPI #140].

f. Topcoat: Latex, interior, high performance architectural, semi-gloss (Gloss Level 5)[, MPI #141].

"Water-Based Light Industrial Coating System" Subparagraph below corresponds to MPI INT 3.1L.

5. Water-Based Light Industrial Coating System:

a. Prime Coat: Primer, alkali resistant, water based[, MPI #3].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Light industrial coating, interior, water based, matching topcoat.

Retain one of three "Topcoat" subparagraphs below.

c. Topcoat: Light industrial coating, interior, water based (Gloss Level 3)[, MPI #151].

d. Topcoat: Light industrial coating, interior, water based, semi-gloss (Gloss Level 5)[, MPI #153].

e. Topcoat: Light industrial coating, interior, water based, gloss (Gloss Level 6)[, MPI #154].

"Alkyd System" Subparagraph below corresponds to MPI INT 3.1D.

6. Alkyd System:

a. Prime Coat: Primer, alkali resistant, water based[, MPI #3].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Alkyd, interior, matching topcoat.

Retain one of four "Topcoat" subparagraphs below.

c. Topcoat: Alkyd, interior, flat (Gloss Level 1)[, MPI #49].

d. Topcoat: Alkyd, interior, (Gloss Level 3)[, MPI #51].

e. Topcoat: Alkyd, interior, semi-gloss (Gloss Level 5)[, MPI #47].

f. Topcoat: Alkyd, interior, gloss (Gloss Level 6)[, MPI #48].

B. Concrete Substrates, Traffic Surfaces:

"Latex Floor Enamel System" Subparagraph below corresponds to MPI INT 3.2A.

1. Latex Floor Enamel System:

a. Prime Coat: Floor paint, latex, low gloss (maximum Gloss Level 3)[, MPI #60].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Floor paint, latex, low gloss (maximum Gloss Level 3)[, MPI #60].

c. Topcoat: Floor paint, latex, low gloss (maximum Gloss Level 3)[, MPI #60].

"Alkyd Floor Enamel System" Subparagraph below corresponds to MPI INT 3.2B.

2. Alkyd Floor Enamel System:

a. Prime Coat: Floor enamel, alkyd, gloss (Gloss Level 6)[, MPI #27].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Floor enamel, alkyd, gloss (Gloss Level 6)[, MPI #27].

c. Topcoat: Floor enamel, alkyd, gloss (Gloss Level 6)[, MPI #27].

"Concrete Stain System" Subparagraph below corresponds to MPI INT 3.2E.

3. Concrete Stain System:

For a Premium Grade system, "MPI Manual" requires first coat; delete first coat for a Custom Grade system.

a. First Coat: Stain, interior, for concrete floors[, MPI #58].

b. Topcoat: Stain, interior, for concrete floors[, MPI #58].

"Water-Based Clear Sealer System" Subparagraph below corresponds to MPI INT 3.2G.

4. Water-Based Clear Sealer System:

For a Custom Grade system, "MPI Manual" requires first coat; "MPI Manual" does not include a Premium Grade system.

a. First Coat: Sealer, water based, for concrete floors[, MPI #99].

b. Topcoat: Sealer, water based, for concrete floors[, MPI #99].

"Solvent-Based Clear Sealer System" Subparagraph below corresponds to MPI INT 3.2F.

5. Solvent-Based Clear Sealer System:

For a Custom Grade system, "MPI Manual" requires first coat; "MPI Manual" does not include a Premium Grade system.

a. First Coat: Sealer, solvent based, for concrete floors[, MPI #104].

b. Topcoat: Sealer, solvent based, for concrete floors[, MPI #104].

C. Clay-Masonry Substrates:

"Latex System" Subparagraph below corresponds to MPI INT 4.1A.

1. Latex System:

a. Prime Coat: Latex, interior, matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Latex, interior, matching topcoat.

Retain one of six "Topcoat" subparagraphs below.

c. Topcoat: Latex, interior, flat, (Gloss Level 1)[, MPI #53].

d. Topcoat: Latex, interior, (Gloss Level 2)[, MPI #44].

e. Topcoat: Latex, interior, (Gloss Level 3)[, MPI #52].

f. Topcoat: Latex, interior, (Gloss Level 4)[, MPI #43].

g. Topcoat: Latex, interior, semi-gloss, (Gloss Level 5)[, MPI #54].

h. Topcoat: Latex, interior, gloss, (Gloss Level 6, except minimum gloss of 65 units at 60 degrees)[, MPI #114].

"Latex Aggregate System" Subparagraph below corresponds to MPI INT 4.1B.

2. Latex Aggregate System:

"MPI Manual" states that application procedures and products used in this system vary; therefore, it relies on manufacturer's written recommendations for primers and number of coats for a Premium Grade system and does not include a Custom Grade system.

a. Prime Coat: Primer for textured coating, latex, flat[, as recommended in writing by topcoat manufacturer].

b. Intermediate Coat: Intermediate coat for textured coating, latex, flat[, as recommended in writing by topcoat manufacturer].

c. Topcoat: Textured coating, latex, flat[, MPI #42].

"Institutional Low-Odor/VOC Latex System" Subparagraph below corresponds to MPI INT 4.1M.

3. Institutional Low-Odor/VOC Latex System:

a. Prime Coat: Primer sealer, interior, institutional low odor/VOC[, MPI #149].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Latex, interior, institutional low odor/VOC, matching topcoat.

Retain one of four "Topcoat" Subparagraphs below.

c. Topcoat: Latex, interior, institutional low odor/VOC, flat (Gloss Level 1)[, MPI #143].

d. Topcoat: Latex, interior, institutional low odor/VOC, (Gloss Level 2)[, MPI #144].

e. Topcoat: Latex, interior, institutional low odor/VOC, (Gloss Level 3)[, MPI #145].

f. Topcoat: Latex, interior, institutional low odor/VOC, semi-gloss (Gloss Level 5)[, MPI #147].

"High-Performance Architectural Latex System" Subparagraph below corresponds to MPI INT 4.1L. It is recommended for use in high-traffic and high-contact areas (e.g., public corridors in institutional buildings).

4. High-Performance Architectural Latex System:

a. Prime Coat: Primer, alkali resistant, water based[, MPI #3].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Latex, interior, high performance architectural, matching topcoat.

Retain one of four "Topcoat" subparagraphs below.

c. Topcoat: Latex, interior, high performance architectural, (Gloss Level 2)[, MPI #138].

d. Topcoat: Latex, interior, high performance architectural, (Gloss Level 3)[, MPI #139].

e. Topcoat: Latex, interior, high performance architectural, (Gloss Level 4)[, MPI #140].

f. Topcoat: Latex, interior, high performance architectural, semi-gloss (Gloss Level 5)[, MPI #141].

"Water-Based Light Industrial Coating System" Subparagraph below corresponds to MPI INT 4.1C.

5. Water-Based Light Industrial Coating System:

a. Prime Coat: Primer, alkali resistant, water based[, MPI #3].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Light industrial coating, interior, water based, matching topcoat.

Retain one of three "Topcoat" subparagraphs below.

c. Topcoat: Light industrial coating, interior, water based (Gloss Level 3)[, MPI #151].

d. Topcoat: Light industrial coating, interior, water based, semi-gloss (Gloss Level 5)[, MPI #153].

e. Topcoat: Light industrial coating, interior, water based, gloss (Gloss Level 6)[, MPI #154].

"Alkyd System" Subparagraph below corresponds to MPI INT 4.1D.

6. Alkyd System:

a. Prime Coat: Primer sealer, latex, interior[, MPI #50].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Alkyd, interior, matching topcoat.

Retain one of four "Topcoat" subparagraphs below.

c. Topcoat: Alkyd, interior, flat (Gloss Level 1)[, MPI #49].

d. Topcoat: Alkyd, interior, (Gloss Level 3)[, MPI #51].

e. Topcoat: Alkyd, interior, semi-gloss (Gloss Level 5)[, MPI #47].

f. Topcoat: Alkyd, interior, gloss (Gloss Level 6)[, MPI #48].

D. CMU Substrates:

"Latex System" Subparagraph below corresponds to MPI INT 4.2A.

1. Latex System:

a. Block Filler: Block filler, latex, interior/exterior[, MPI #4].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Latex, interior, matching topcoat.

Retain one of six "Topcoat" subparagraphs below.

c. Topcoat: Latex, interior, flat, (Gloss Level 1)[, MPI #53].

d. Topcoat: Latex, interior, (Gloss Level 2)[, MPI #44].

e. Topcoat: Latex, interior, (Gloss Level 3)[, MPI #52].

f. Topcoat: Latex, interior, (Gloss Level 4)[, MPI #43].

g. Topcoat: Latex, interior, semi-gloss, (Gloss Level 5)[, MPI #54].

h. Topcoat: Latex, interior, gloss, (Gloss Level 6, except minimum gloss of 65 units at 60 degrees)[, MPI #114].

"Institutional Low-Odor/VOC Latex System" Subparagraph below corresponds to MPI INT 4.2E.

2. Institutional Low-Odor/VOC Latex System:

a. Block Filler: Block filler, latex, interior/exterior[, MPI #4].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Latex, interior, institutional low odor/VOC, matching topcoat.

Retain one of four "Topcoat" subparagraphs below.

c. Topcoat: Latex, interior, institutional low odor/VOC, flat (Gloss Level 1)[, MPI #143].

d. Topcoat: Latex, interior, institutional low odor/VOC, (Gloss Level 2)[, MPI #144].

e. Topcoat: Latex, interior, institutional low odor/VOC, (Gloss Level 3)[, MPI #145].

f. Topcoat: Latex, interior, institutional low odor/VOC, semi-gloss (Gloss Level 5)[, MPI #147].

"High-Performance Architectural Latex System" Subparagraph below corresponds to MPI INT 4.2D. It is recommended for use in high-traffic and high-contact areas (e.g., public corridors in institutional buildings).

3. High-Performance Architectural Latex System:

a. Block Filler: Block filler, latex, interior/exterior[, MPI #4].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Latex, interior, high performance architectural, matching topcoat.

Retain one of four "Topcoat" subparagraphs below.

c. Topcoat: Latex, interior, high performance architectural, (Gloss Level 2)[, MPI #138].

d. Topcoat: Latex, interior, high performance architectural, (Gloss Level 3)[, MPI #139].

e. Topcoat: Latex, interior, high performance architectural, (Gloss Level 4)[, MPI #140].

f. Topcoat: Latex, interior, high performance architectural, semi-gloss (Gloss Level 5)[, MPI #141].

"Water-Based Light Industrial Coating System" Subparagraph below corresponds to MPI INT 4.2K.

4. Water-Based Light Industrial Coating System:

a. Block Filler: Block filler, latex, interior/exterior[, MPI #4].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Light industrial coating, interior, water based, matching topcoat.

Retain one of three "Topcoat" subparagraphs below.

c. Topcoat: Light industrial coating, interior, water based (Gloss Level 3)[, MPI #151].

d. Topcoat: Light industrial coating, interior, water based, semi-gloss (Gloss Level 5)[, MPI #153].

e. Topcoat: Light industrial coating, interior, water based, gloss (Gloss Level 6)[, MPI #154].

5. Alkyd System:

a. Block Filler: Block filler, latex, interior/exterior[, MPI #4].

Retain "Sealer Coat" Subparagraph below for MPI INT 4.2N; delete for MPI INT 4.2C.

b. Sealer Coat: Primer sealer, latex, interior[, MPI #50].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

c. Intermediate Coat: Alkyd, interior, matching topcoat.

Retain one of four "Topcoat" subparagraphs below.

d. Topcoat: Alkyd, interior, flat (Gloss Level 1)[, MPI #49].

e. Topcoat: Alkyd, interior, (Gloss Level 3)[, MPI #51].

f. Topcoat: Alkyd, interior, semi-gloss (Gloss Level 5)[, MPI #47].

g. Topcoat: Alkyd, interior, gloss (Gloss Level 6)[, MPI #48].

For areas subject to wetting, consider inserting epoxy system, MPI INT 4.2G; see Section 099600 "High-Performance Coatings" for system description and products.

E. Steel Substrates:

"Latex over Alkyd Primer System" Subparagraph below corresponds to MPI INT 5.1Q.

1. Latex over Alkyd Primer System:

Retain one of four "Prime Coat" subparagraphs below. If retaining fourth, specify primer complying with MPI #79 in Section where substrate is specified.

a. Prime Coat: Primer, alkyd, anti-corrosive, for metal[, MPI #79].

b. Prime Coat: Primer, alkyd, quick dry, for metal[, MPI #76].

c. Prime Coat: Primer, alkyd, anti-corrosive, for metal[, MPI #79] or primer, alkyd, quick dry, for metal[, MPI #76].

d. Prime Coat: Shop primer specified in Section where substrate is specified.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

e. Intermediate Coat: Latex, interior, matching topcoat.

Retain one of six "Topcoat" subparagraphs below.

f. Topcoat: Latex, interior, flat, (Gloss Level 1)[, MPI #53].

g. Topcoat: Latex, interior, (Gloss Level 2)[, MPI #44].

h. Topcoat: Latex, interior, (Gloss Level 3)[, MPI #52].

i. Topcoat: Latex, interior, (Gloss Level 4)[, MPI #43].

j. Topcoat: Latex, interior, semi-gloss, (Gloss Level 5)[, MPI #54].

k. Topcoat: Latex, interior, gloss, (Gloss Level 6, except minimum gloss of 65 units at 60 degrees)[, MPI #114].

"Water-Based Dry-Fall System" Subparagraph below corresponds to MPI INT 5.1C.

2. Water-Based Dry-Fall System:

For a Custom Grade system, "MPI Manual" requires prime coat and topcoat; "MPI Manual" does not include a Premium Grade system.

Retain one of four "Prime Coat" subparagraphs below. If retaining fourth, specify primer complying with MPI #79 in Section where substrate is specified.

a. Prime Coat: Primer, alkyd, anti-corrosive, for metal[, MPI #79].

b. Prime Coat: Primer, alkyd, quick dry, for metal[, MPI #76].

c. Prime Coat: Primer, alkyd, anti-corrosive, for metal[, MPI #79] or primer, alkyd, quick dry, for metal[, MPI #76].

d. Prime Coat: Shop primer specified in Section where substrate is specified.

e. Topcoat: Dry fall, latex, flat[, MPI #118].

f. Topcoat: Dry fall, water based, for galvanized steel, flat (Gloss Level 1)[, MPI #133].

"Institutional Low-Odor/VOC Latex System" Subparagraph below corresponds to MPI INT 5.1S.

3. Institutional Low-Odor/VOC Latex System:

a. Prime Coat: Primer, rust-inhibitive, water based[ MPI #107].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Latex, interior, institutional low odor/VOC, matching topcoat.

Retain one of four "Topcoat" subparagraphs below.

c. Topcoat: Latex, interior, institutional low odor/VOC, flat (Gloss Level 1)[, MPI #143].

d. Topcoat: Latex, interior, institutional low odor/VOC, (Gloss Level 2)[, MPI #144].

e. Topcoat: Latex, interior, institutional low odor/VOC, (Gloss Level 3)[, MPI #145].

f. Topcoat: Latex, interior, institutional low odor/VOC, semi-gloss (Gloss Level 5)[, MPI #147].

"High-Performance Architectural Latex System" Subparagraph below corresponds to MPI INT 5.1R. It is recommended for use in high-traffic and high-contact areas (e.g., public corridors in institutional buildings).

4. High-Performance Architectural Latex System:

Retain one of four "Prime Coat" subparagraphs below. If retaining fourth, specify primer complying with MPI #79 in Section where substrate is specified.

a. Prime Coat: Primer, alkyd, anti-corrosive, for metal[, MPI #79].

b. Prime Coat: Primer, alkyd, quick dry, for metal[, MPI #76].

c. Prime Coat: Primer, alkyd, anti-corrosive, for metal[, MPI #79] or primer, alkyd, quick dry, for metal[, MPI #76].

d. Prime Coat: Shop primer specified in Section where substrate is specified.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

e. Intermediate Coat: Latex, interior, high performance architectural, matching topcoat.

Retain one of four "Topcoat" subparagraphs below.

f. Topcoat: Latex, interior, high performance architectural, (Gloss Level 2)[, MPI #138].

g. Topcoat: Latex, interior, high performance architectural, (Gloss Level 3)[, MPI #139].

h. Topcoat: Latex, interior, high performance architectural, (Gloss Level 4)[, MPI #140].

i. Topcoat: Latex, interior, high performance architectural, semi-gloss (Gloss Level 5)[, MPI #141].

"Water-Based Light Industrial Coating System" Subparagraph below corresponds to MPI INT 5.1B.

5. Water-Based Light Industrial Coating System:

a. Prime Coat: Primer, rust-inhibitive, water based[ MPI #107].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Light industrial coating, interior, water based, matching topcoat.

Retain one of three "Topcoat" subparagraphs below.

c. Topcoat: Light industrial coating, interior, water based (Gloss Level 3)[, MPI #151].

d. Topcoat: Light industrial coating, interior, water based, semi-gloss (Gloss Level 5)[, MPI #153].

e. Topcoat: Light industrial coating, interior, water based, gloss (Gloss Level 6)[, MPI #154].

"Alkyd System" Subparagraph below corresponds to MPI INT 5.1E.

6. Alkyd System:

Retain one of four "Prime Coat" subparagraphs below. If retaining fourth, specify primer complying with MPI #79 in Section where substrate is specified.

a. Prime Coat: Primer, alkyd, anti-corrosive, for metal[, MPI #79].

b. Prime Coat: Primer, alkyd, quick dry, for metal[, MPI #76].

c. Prime Coat: Primer, alkyd, anti-corrosive, for metal[, MPI #79] or primer, alkyd, quick dry, for metal[, MPI #76].

d. Prime Coat: Shop primer specified in Section where substrate is specified.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

e. Intermediate Coat: Alkyd, interior, matching topcoat.

Retain one of four "Topcoat" subparagraphs below.

f. Topcoat: Alkyd, interior, flat (Gloss Level 1)[, MPI #49].

g. Topcoat: Alkyd, interior, (Gloss Level 3)[, MPI #51].

h. Topcoat: Alkyd, interior, semi-gloss (Gloss Level 5)[, MPI #47].

i. Topcoat: Alkyd, interior, gloss (Gloss Level 6)[, MPI #48].

"Quick-Drying Enamel System" Subparagraph below corresponds to MPI INT 5.1A.

7. Quick-Drying Enamel System:

a. Prime Coat: Primer, alkyd, quick dry, for metal[, MPI #76].

For a Premium Grade system, "MPI Manual" requires intermediate coat; "MPI Manual" does not include a Custom Grade system.

b. Intermediate Coat: Alkyd, quick dry, matching topcoat.

Retain one of two "Topcoat" subparagraphs below.

c. Topcoat: Alkyd, quick dry, semi-gloss (Gloss Level 5)[, MPI #81].

d. Topcoat: Alkyd, quick dry, gloss (Gloss Level 7)[, MPI #96].

"Alkyd Dry-Fall System" Subparagraph below corresponds to MPI INT 5.1D.

8. Alkyd Dry-Fall System:

For a Custom Grade system, "MPI Manual" requires prime coat and topcoat; "MPI Manual" does not include a Premium Grade system.

Retain one of four "Prime Coat" subparagraphs below. If retaining fourth, specify primer complying with MPI #79 in Section where substrate is specified.

a. Prime Coat: Primer, alkyd, anti-corrosive, for metal[, MPI #79].

b. Prime Coat: Primer, alkyd, quick dry, for metal[, MPI #76].

c. Prime Coat: Primer, alkyd, anti-corrosive, for metal[, MPI #79] or primer, alkyd, quick dry, for metal[, MPI #76].

d. Prime Coat: Shop primer specified in Section where substrate is specified.

e. Topcoat: Dry fall, alkyd, flat[, MPI #55].

"Aluminum Paint System" Subparagraph below corresponds to MPI INT 5.1M.

9. Aluminum Paint System:

Retain one of four "Prime Coat" subparagraphs below. If retaining fourth, specify primer complying with MPI #79 in Section where substrate is specified.

a. Prime Coat: Primer, alkyd, anti-corrosive, for metal[, MPI #79].

b. Prime Coat: Primer, alkyd, quick dry, for metal[, MPI #76].

c. Prime Coat: Primer, alkyd, anti-corrosive, for metal[, MPI #79] or primer, alkyd, quick dry, for metal[, MPI #76].

d. Prime Coat: Shop primer specified in Section where substrate is specified.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

e. Intermediate Coat: Aluminum paint[, MPI #1].

f. Topcoat: Aluminum paint[, MPI #1].

Galvanized-metal substrates should not be chromate passivated if primers are field applied. If galvanized metal is chromate passivated, consult manufacturers for appropriate primers.

F. Galvanized-Metal Substrates:

"Latex over Waterborne Primer System" Subparagraph below corresponds to MPI INT 5.3J.

1. Latex over Waterborne Primer System:

a. Prime Coat: Primer, galvanized, water based[, MPI #134].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Latex, interior, matching topcoat.

Retain one of six "Topcoat" subparagraphs below.

c. Topcoat: Latex, interior, flat, (Gloss Level 1)[, MPI #53].

d. Topcoat: Latex, interior, (Gloss Level 2)[, MPI #44].

e. Topcoat: Latex, interior, (Gloss Level 3)[, MPI #52].

f. Topcoat: Latex, interior, (Gloss Level 4)[, MPI #43].

g. Topcoat: Latex, interior, semi-gloss, (Gloss Level 5)[, MPI #54].

h. Topcoat: Latex, interior, gloss, (Gloss Level 6, except minimum gloss of 65 units at 60 degrees)[, MPI #114].

"Water-Based Dry-Fall System" Subparagraph below corresponds to MPI INT 5.3H.

2. Water-Based Dry-Fall System:

For a Custom Grade system, "MPI Manual" requires prime coat and topcoat; "MPI Manual" does not include a Premium Grade system.

a. Prime Coat: Dry fall, water based, for galvanized steel, flat (Gloss Level 1)[, MPI #133].

b. Topcoat: Dry fall, water based, for galvanized steel, flat (Gloss Level 1)[, MPI #133].

"Institutional Low-Odor/VOC Latex System" Subparagraph below corresponds to MPI INT 5.3N.

3. Institutional Low-Odor/VOC Latex System:

a. Prime Coat: Primer, galvanized, water based[, MPI #134].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Latex, interior, institutional low odor/VOC, matching topcoat.

Retain one of four "Topcoat" subparagraphs below.

c. Topcoat: Latex, interior, institutional low odor/VOC, flat (Gloss Level 1)[, MPI #143].

d. Topcoat: Latex, interior, institutional low odor/VOC, (Gloss Level 2)[, MPI #144].

e. Topcoat: Latex, interior, institutional low odor/VOC, (Gloss Level 3)[, MPI #145].

f. Topcoat: Latex, interior, institutional low odor/VOC, semi-gloss (Gloss Level 5)[, MPI #147].

"High-Performance Architectural Latex System" Subparagraph below corresponds to MPI INT 5.3M. It is recommended for use in high-traffic and high-contact areas (e.g., public corridors in institutional buildings).

4. High-Performance Architectural Latex System:

a. Prime Coat: Primer, galvanized, water based[, MPI #134].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Latex, interior, high performance architectural, matching topcoat.

Retain one of four "Topcoat" subparagraphs below.

c. Topcoat: Latex, interior, high performance architectural, (Gloss Level 2)[, MPI #138].

d. Topcoat: Latex, interior, high performance architectural, (Gloss Level 3)[, MPI #139].

e. Topcoat: Latex, interior, high performance architectural, (Gloss Level 4)[, MPI #140].

f. Topcoat: Latex, interior, high performance architectural, semi-gloss (Gloss Level 5)[, MPI #141].

"Water-Based Light Industrial Coating System" Subparagraph below corresponds to MPI INT 5.3K.

5. Water-Based Light Industrial Coating Over Waterborne Primer System:

a. Prime Coat: Primer, galvanized, water based[, MPI #134].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Light industrial coating, interior, water based, matching topcoat.

Retain one of three "Topcoat" subparagraphs below.

c. Topcoat: Light industrial coating, interior, water based (Gloss Level 3)[, MPI #151].

d. Topcoat: Light industrial coating, interior, water based, semi-gloss (Gloss Level 5)[, MPI #153].

e. Topcoat: Light industrial coating, interior, water based, gloss (Gloss Level 6)[, MPI #154].

6. Aluminum Paint System:

a. Prime Coat: Primer, galvanized metal, as recommended in writing by topcoat manufacturer for use on galvanized-metal substrates with topcoat indicated.

b. Intermediate Coat: Aluminum paint[, MPI #1].

c. Topcoat: Aluminum paint[, MPI #1].

G. Aluminum (Not Anodized or Otherwise Coated) Substrates:

"Latex System" Subparagraph below corresponds to MPI INT 5.4H.

1. Latex System:

a. Prime Coat: Primer, quick dry, for aluminum[, MPI #95].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Latex, interior, matching topcoat.

Retain one of six "Topcoat" subparagraphs below.

c. Topcoat: Latex, interior, flat, (Gloss Level 1)[, MPI #53].

d. Topcoat: Latex, interior, (Gloss Level 2)[, MPI #44].

e. Topcoat: Latex, interior, (Gloss Level 3)[, MPI #52].

f. Topcoat: Latex, interior, (Gloss Level 4)[, MPI #43].

g. Topcoat: Latex, interior, semi-gloss, (Gloss Level 5)[, MPI #54].

h. Topcoat: Latex, interior, gloss, (Gloss Level 6, except minimum gloss of 65 units at 60 degrees)[, MPI #114].

"Institutional Low-Odor/VOC Latex System" Subparagraph below corresponds to MPI INT 5.4G.

2. Institutional Low-Odor/VOC Latex System:

a. Prime Coat: Primer, quick dry, for aluminum[, MPI #95].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Latex, interior, institutional low odor/VOC, matching topcoat.

Retain one of four "Topcoat" subparagraphs below.

c. Topcoat: Latex, interior, institutional low odor/VOC, flat (Gloss Level 1)[, MPI #143].

d. Topcoat: Latex, interior, institutional low odor/VOC, (Gloss Level 2)[, MPI #144].

e. Topcoat: Latex, interior, institutional low odor/VOC, (Gloss Level 3)[, MPI #145].

f. Topcoat: Latex, interior, institutional low odor/VOC, semi-gloss (Gloss Level 5)[, MPI #147].

"High-Performance Architectural Latex System" Subparagraph below corresponds to MPI INT 5.4F. It is recommended for use in high-traffic and high-contact areas (e.g., public corridors in institutional buildings).

3. High-Performance Architectural Latex System:

a. Prime Coat: Primer, quick dry, for aluminum[, MPI #95].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Latex, interior, high performance architectural, matching topcoat.

Retain one of four "Topcoat" subparagraphs below.

c. Topcoat: Latex, interior, high performance architectural, (Gloss Level 2)[, MPI #138].

d. Topcoat: Latex, interior, high performance architectural, (Gloss Level 3)[, MPI #139].

e. Topcoat: Latex, interior, high performance architectural, (Gloss Level 4)[, MPI #140].

f. Topcoat: Latex, interior, high performance architectural, semi-gloss (Gloss Level 5)[, MPI #141].

"Water-Based Light Industrial Coating System" Subparagraph below corresponds to MPI INT 5.4E.

4. Water-Based Light Industrial Coating System:

a. Prime Coat: Primer, quick dry, for aluminum[, MPI #95].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Light industrial coating, interior, water based, matching topcoat.

Retain one of three "Topcoat" subparagraphs below.

c. Topcoat: Light industrial coating, interior, water based (Gloss Level 3)[, MPI #151].

d. Topcoat: Light industrial coating, interior, water based, semi-gloss (Gloss Level 5)[, MPI #153].

e. Topcoat: Light industrial coating, interior, water based, gloss (Gloss Level 6)[, MPI #154].

5. Alkyd System:

Retain one of two "Prime Coat" subparagraphs below. First corresponds to MPI INT 5.4A; second corresponds to MPI INT 5.4J.

a. Prime Coat: Primer, vinyl wash[, MPI #80].

b. Prime Coat: Primer, quick dry, for aluminum[, MPI #95].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

c. Intermediate Coat: Alkyd, interior, matching topcoat.

Retain one of four "Topcoat" subparagraphs below.

d. Topcoat: Alkyd, interior, flat (Gloss Level 1)[, MPI #49].

e. Topcoat: Alkyd, interior, (Gloss Level 3)[, MPI #51].

f. Topcoat: Alkyd, interior, semi-gloss (Gloss Level 5)[, MPI #47].

g. Topcoat: Alkyd, interior, gloss (Gloss Level 6)[, MPI #48].

"Aluminum Paint System" Subparagraph below corresponds to MPI INT 5.4D.

6. Aluminum Paint System:

a. Prime Coat: Primer, vinyl wash[, MPI #80].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Aluminum paint[, MPI #1].

c. Topcoat: Aluminum paint[, MPI #1].

H. Wood Substrates: Including [wood trim] [architectural woodwork] [doors] [windows] [wood-based panel products] [glued-laminated construction] [exposed joists] [exposed beams] <Insert description>.

"Latex System" Subparagraph below corresponds to MPI INT 6.1M, MPI INT 6.2D, MPI INT 6.3T, and MPI INT 6.4R.

1. Latex System:

a. Prime Coat: Primer, latex, for interior wood[, MPI #39].

For a Premium Grade system, "MPI Manual" requires intermediate coat; "MPI Manual" does not include a Custom Grade system.

b. Intermediate Coat: Latex, interior, matching topcoat.

Retain one of six "Topcoat" subparagraphs below.

c. Topcoat: Latex, interior, flat, (Gloss Level 1)[, MPI #53].

d. Topcoat: Latex, interior, (Gloss Level 2)[, MPI #44].

e. Topcoat: Latex, interior, (Gloss Level 3)[, MPI #52].

f. Topcoat: Latex, interior, (Gloss Level 4)[, MPI #43].

g. Topcoat: Latex, interior, semi-gloss, (Gloss Level 5)[, MPI #54].

h. Topcoat: Latex, interior, gloss, (Gloss Level 6, except minimum gloss of 65 units at 60 degrees)[, MPI #114].

"Latex over Alkyd Primer System" Subparagraph below corresponds to MPI INT 6.1A, MPI INT 6.2A, MPI INT 6.3U, and MPI INT 6.4A.

2. Latex over Alkyd Primer System:

a. Prime Coat: Primer sealer, alkyd, interior[, MPI #45].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Latex, interior, matching topcoat.

Retain one of six "Topcoat" subparagraphs below.

c. Topcoat: Latex, interior, flat, (Gloss Level 1)[, MPI #53].

d. Topcoat: Latex, interior, (Gloss Level 2)[, MPI #44].

e. Topcoat: Latex, interior, (Gloss Level 3)[, MPI #52].

f. Topcoat: Latex, interior, (Gloss Level 4)[, MPI #43].

g. Topcoat: Latex, interior, semi-gloss, (Gloss Level 5)[, MPI #54].

h. Topcoat: Latex, interior, gloss, (Gloss Level 6, except minimum gloss of 65 units at 60 degrees)[, MPI #114].

"Institutional Low-Odor/VOC Latex System" Subparagraph below corresponds to MPI INT 6.1Q, MPI INT 6.2L, MPI INT 6.3V, and MPI INT 6.4T.

3. Institutional Low-Odor/VOC Latex System:

a. Prime Coat: Primer, latex, for interior wood[, MPI #39].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Latex, interior, institutional low odor/VOC, matching topcoat.

Retain one of four "Topcoat" subparagraphs below.

c. Topcoat: Latex, interior, institutional low odor/VOC, flat (Gloss Level 1)[, MPI #143].

d. Topcoat: Latex, interior, institutional low odor/VOC, (Gloss Level 2)[, MPI #144].

e. Topcoat: Latex, interior, institutional low odor/VOC, (Gloss Level 3)[, MPI #145].

f. Topcoat: Latex, interior, institutional low odor/VOC, semi-gloss (Gloss Level 5)[, MPI #147].

"High-Performance Architectural Latex System" Subparagraph below corresponds to MPI INT 6.1N, MPI INT 6.2B, MPI INT 6.3A, and MPI INT 6.4S. It is recommended for use in high-traffic and high-contact areas (e.g., public corridors in institutional buildings).

4. High-Performance Architectural Latex System:

a. Prime Coat: Primer, latex, for interior wood[, MPI #39].

For a Premium Grade system, "MPI Manual" requires intermediate coat; "MPI Manual" does not include a Custom Grade system.

b. Intermediate Coat: Latex, interior, high performance architectural, matching topcoat.

Retain one of four "Topcoat" subparagraphs below.

c. Topcoat: Latex, interior, high performance architectural, (Gloss Level 2)[, MPI #138].

d. Topcoat: Latex, interior, high performance architectural, (Gloss Level 3)[. MPI #139].

e. Topcoat: Latex, interior, high performance architectural, (Gloss Level 4)[, MPI #140].

f. Topcoat: Latex, interior, high performance architectural, semi-gloss (Gloss Level 5)[, MPI #141].

"Alkyd System" Subparagraph below corresponds to MPI INT 6.1B, MPI INT 6.2C, MPI INT 6.3B, and MPI INT 6.4B.

5. Alkyd System:

a. Prime Coat: Primer sealer, alkyd, interior[, MPI #45].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Alkyd, interior, matching topcoat.

Retain one of four "Topcoat" subparagraphs below.

c. Topcoat: Alkyd, interior, flat (Gloss Level 1)[, MPI #49].

d. Topcoat: Alkyd, interior, (Gloss Level 3)[, MPI #51].

e. Topcoat: Alkyd, interior, semi-gloss (Gloss Level 5)[, MPI #47].

f. Topcoat: Alkyd, interior, gloss (Gloss Level 6)[, MPI #48].

I. Wood Substrates, Traffic Surfaces:

"Latex Floor Paint System" Subparagraph below corresponds to MPI INT 6.5G.

1. Latex Floor Paint System:

a. Prime Coat: Primer sealer, alkyd, interior[, MPI #45].

For a Premium Grade system, "MPI Manual" requires intermediate coat; "MPI Manual" does not include a Custom Grade system.

b. Intermediate Coat: Floor paint, latex, low gloss (maximum Gloss Level 3)[, MPI #60].

c. Topcoat: Floor paint, latex, low gloss (maximum Gloss Level 3)[, MPI #60].

"Alkyd Floor Enamel System" Subparagraph below corresponds to MPI INT 6.5A.

2. Alkyd Floor Enamel System:

a. Prime Coat: Floor enamel, alkyd, gloss (Gloss Level 6)[, MPI #27].

For a Premium Grade system, "MPI Manual" requires intermediate coat; "MPI Manual" does not include a Custom Grade system.

b. Intermediate Coat: Floor enamel, alkyd, gloss (Gloss Level 6)[, MPI #27].

c. Topcoat: Floor enamel, alkyd, gloss (Gloss Level 6)[, MPI #27].

J. Fiberglass and Plastic Substrates:

"Latex System" Subparagraph below corresponds to MPI INT 6.7A and MPI INT 6.8E.

1. Latex System:

Retain one of two "Prime Coat" subparagraphs below. MPI recommends either one for fiberglass, but only solvent-based bonding primer (MPI #69) for plastic.

a. Prime Coat: Primer, bonding, water based[, MPI #17].

b. Prime Coat: Primer, bonding, solvent based[, MPI #69].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

c. Intermediate Coat: Latex, interior, matching topcoat.

Retain one of six "Topcoat" subparagraphs below.

d. Topcoat: Latex, interior, flat, (Gloss Level 1)[, MPI #53].

e. Topcoat: Latex, interior, (Gloss Level 2)[, MPI #44].

f. Topcoat: Latex, interior, (Gloss Level 3)[, MPI #52].

g. Topcoat: Latex, interior, (Gloss Level 4)[, MPI #43].

h. Topcoat: Latex, interior, semi-gloss, (Gloss Level 5)[, MPI #54].

i. Topcoat: Latex, interior, gloss, (Gloss Level 6, except minimum gloss of 65 units at 60 degrees)[, MPI #114].

"Institutional Low-Odor/VOC Latex System" Subparagraph below corresponds to MPI INT 6.7J and MPI INT 6.8F.

2. Institutional Low-Odor/VOC Latex System:

Retain one of two "Prime Coat" subparagraphs below. MPI recommends either one for fiberglass, but only solvent-based bonding primer (MPI #69) for plastic.

a. Prime Coat: Primer, bonding, water based[, MPI #17].

b. Prime Coat: Primer, bonding, solvent based[, MPI #69].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

c. Intermediate Coat: Latex, interior, institutional low odor/VOC, matching topcoat.

Retain one of four "Topcoat" subparagraphs below.

d. Topcoat: Latex, interior, institutional low odor/VOC, flat (Gloss Level 1)[, MPI #143].

e. Topcoat: Latex, interior, institutional low odor/VOC, (Gloss Level 2)[, MPI #144].

f. Topcoat: Latex, interior, institutional low odor/VOC, (Gloss Level 3)[, MPI #145].

g. Topcoat: Latex, interior, institutional low odor/VOC, semi-gloss (Gloss Level 5)[, MPI #147].

"High-Performance Architectural Latex System" Subparagraph below corresponds to MPI INT 6.7H and MPI INT 6.8A.

3. High-Performance Architectural Latex System:

Retain one of two "Prime Coat" subparagraphs below. MPI recommends either one for fiberglass, but only solvent-based bonding primer (MPI #69) for plastic.

a. Prime Coat: Primer, bonding, water based[, MPI #17].

b. Prime Coat: Primer, bonding, solvent based[, MPI #69].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

c. Intermediate Coat: Latex, interior, high performance architectural, matching topcoat.

Retain one of four "Topcoat" subparagraphs below.

d. Topcoat: Latex, interior, high performance architectural, (Gloss Level 2)[, MPI #138].

e. Topcoat: Latex, interior, high performance architectural, (Gloss Level 3)[, MPI #139].

f. Topcoat: Latex, interior, high performance architectural, (Gloss Level 4)[, MPI #140].

g. Topcoat: Latex, interior, high performance architectural, semi-gloss (Gloss Level 5)[, MPI #141].

"Water-Based Light Industrial Coating System" Subparagraph below corresponds to MPI INT 6.7C and MPI INT 6.8C.

4. Water-Based Light Industrial Coating System:

Retain one of two "Prime Coat" subparagraphs below. MPI recommends either one for fiberglass, but only solvent-based bonding primer (MPI #69) for plastic.

a. Prime Coat: Primer, bonding, water based[, MPI #17].

b. Prime Coat: Primer, bonding, solvent based[, MPI #69].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

c. Intermediate Coat: Light industrial coating, interior, water based, matching topcoat.

Retain one of three "Topcoat" subparagraphs below.

d. Topcoat: Light industrial coating, interior, water based (Gloss Level 3)[, MPI #151].

e. Topcoat: Light industrial coating, interior, water based, semi-gloss (Gloss Level 5)[, MPI #153].

f. Topcoat: Light industrial coating, interior, water based, gloss (Gloss Level 6)[, MPI #154].

"Alkyd System" Subparagraph below corresponds to MPI INT 6.7B and MPI INT 6.8B.

5. Alkyd System:

Retain one of two "Prime Coat" subparagraphs below. MPI recommends either one for fiberglass, but only solvent-based bonding primer (MPI #69) for plastic.

a. Prime Coat: Primer, bonding, water based[, MPI #17].

b. Prime Coat: Primer, bonding, solvent based[, MPI #69].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

c. Intermediate Coat: Alkyd, interior, matching topcoat.

Retain one of four "Topcoat" subparagraphs below.

d. Topcoat: Alkyd, interior, flat (Gloss Level 1)[, MPI #49].

e. Topcoat: Alkyd, interior, (Gloss Level 3)[, MPI #51].

f. Topcoat: Alkyd, interior, semi-gloss (Gloss Level 5)[, MPI #47].

g. Topcoat: Alkyd, interior, gloss (Gloss Level 6)[, MPI #48].

K. [Gypsum Board] [Plaster] Substrates:

"Latex System" Subparagraph below corresponds to MPI INT 9.2A.

1. Latex System:

Retain one of two "Prime Coat" subparagraphs below. Retain first for a Premium Grade system.

a. Prime Coat: Primer sealer, latex, interior[, MPI #50].

b. Prime Coat: Latex, interior, matching topcoat.

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

c. Intermediate Coat: Latex, interior, matching topcoat.

Retain one of six "Topcoat" subparagraphs below.

d. Topcoat: Latex, interior, flat, (Gloss Level 1)[, MPI #53].

e. Topcoat: Latex, interior, (Gloss Level 2)[, MPI #44].

f. Topcoat: Latex, interior, (Gloss Level 3)[, MPI #52].

g. Topcoat: Latex, interior, (Gloss Level 4)[, MPI #43].

h. Topcoat: Latex, interior, semi-gloss, (Gloss Level 5)[, MPI #54].

i. Topcoat: Latex, interior, gloss, (Gloss Level 6, except minimum gloss of 65 units at 60 degrees)[, MPI #114].

"Institutional Low-Odor/VOC Latex Primer System" Subparagraph below corresponds to MPI INT 9.2M.

2. Institutional Low-Odor/VOC Latex System:

a. Prime Coat: Primer sealer, interior, institutional low odor/VOC[, MPI #149].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Latex, interior, institutional low odor/VOC, matching topcoat.

Retain one of four "Topcoat" subparagraphs below.

c. Topcoat: Latex, interior, institutional low odor/VOC, flat (Gloss Level 1)[, MPI #143].

d. Topcoat: Latex, interior, institutional low odor/VOC, (Gloss Level 2)[, MPI #144].

e. Topcoat: Latex, interior, institutional low odor/VOC, (Gloss Level 3)[, MPI #145].

f. Topcoat: Latex, interior, institutional low odor/VOC, semi-gloss (Gloss Level 5)[, MPI #147].

"High-Performance Architectural Latex System" Subparagraph below corresponds to MPI INT 9.2B. It is recommended for use in high-traffic and high-contact areas (e.g., public corridors in institutional buildings).

3. High-Performance Architectural Latex System:

a. Prime Coat: Primer sealer, latex, interior[, MPI #50].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Latex, interior, high performance architectural, matching topcoat.

Retain one of four "Topcoat" subparagraphs below.

c. Topcoat: Latex, interior, high performance architectural, (Gloss Level 2)[, MPI #138].

d. Topcoat: Latex, interior, high performance architectural, (Gloss Level 3)[, MPI #139].

e. Topcoat: Latex, interior, high performance architectural, (Gloss Level 4)[, MPI #140].

f. Topcoat: Latex, interior, high performance architectural, semi-gloss (Gloss Level 5)[, MPI #141].

"Water-Based Light Industrial Coating System" Subparagraph below corresponds to MPI INT 9.2L.

4. Water-Based Light Industrial Coating System:

a. Prime Coat: Primer sealer, latex, interior[, MPI #50].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Light industrial coating, interior, water based, matching topcoat.

Retain one of three "Topcoat" subparagraphs below.

c. Topcoat: Light industrial coating, interior, water based (Gloss Level 3)[, MPI #151].

d. Topcoat: Light industrial coating, interior, water based, semi-gloss (Gloss Level 5)[, MPI #153].

e. Topcoat: Light industrial coating, interior, water based, gloss (Gloss Level 6)[, MPI #154].

"Alkyd over Latex Primer System" Subparagraph below corresponds to MPI INT 9.2C.

5. Alkyd over Latex Primer System:

a. Prime Coat: Primer sealer, latex, interior[, MPI #50].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Alkyd, interior, matching topcoat.

Retain one of four "Topcoat" subparagraphs below.

c. Topcoat: Alkyd, interior, flat (Gloss Level 1)[, MPI #49].

d. Topcoat: Alkyd, interior, (Gloss Level 3)[, MPI #51].

e. Topcoat: Alkyd, interior, semi-gloss (Gloss Level 5)[, MPI #47].

f. Topcoat: Alkyd, interior, gloss (Gloss Level 6)[, MPI #48].

L. Spray-Textured Ceiling Substrates:

"Latex (Flat) System" Subparagraph below corresponds to MPI INT 9.1A.

1. Latex (Flat) System: Spray applied.

For a Premium Grade system, "MPI Manual" requires prime coat and topcoat; "MPI Manual" does not include a Custom Grade system.

a. Prime Coat: Latex, interior, flat, (Gloss Level 1)[, MPI #53].

b. Topcoat: Latex, interior, flat, (Gloss Level 1)[, MPI #53].

"Latex System" Subparagraph below corresponds to MPI INT 9.1E.

2. Latex System: Spray applied.

a. Prime Coat: Latex, interior, matching topcoat.

For Custom and Premium Grade systems, "MPI Manual" requires intermediate coat.

b. Intermediate Coat: Latex, interior, matching topcoat.

Retain one of six "Topcoat" subparagraphs below.

c. Topcoat: Latex, interior, flat, (Gloss Level 1)[, MPI #53].

d. Topcoat: Latex, interior, (Gloss Level 2)[, MPI #44].

e. Topcoat: Latex, interior, (Gloss Level 3)[, MPI #52].

f. Topcoat: Latex, interior, (Gloss Level 4)[, MPI #43].

g. Topcoat: Latex, interior, semi-gloss, (Gloss Level 5)[, MPI #54].

h. Topcoat: Latex, interior, gloss, (Gloss Level 6, except minimum gloss of 65 units at 60 degrees)[, MPI #114].

"Latex over Alkyd Primer System" Subparagraph below corresponds to MPI INT 9.1B.

3. Latex over Alkyd Primer System:

For a Premium Grade system, "MPI Manual" requires prime coat and topcoat; "MPI Manual" does not include a Custom Grade system.

a. Prime Coat: Primer sealer, alkyd, interior[, MPI #45].

Retain one of six "Topcoat" subparagraphs below.

b. Topcoat: Latex, interior, flat, (Gloss Level 1)[, MPI #53].

c. Topcoat: Latex, interior, (Gloss Level 2)[, MPI #44].

d. Topcoat: Latex, interior, (Gloss Level 3)[, MPI #52].

e. Topcoat: Latex, interior, (Gloss Level 4)[, MPI #43].

f. Topcoat: Latex, interior, semi-gloss, (Gloss Level 5)[, MPI #54].

g. Topcoat: Latex, interior, gloss, (Gloss Level 6, except minimum gloss of 65 units at 60 degrees)[, MPI #114].

"Alkyd (Flat) System" Subparagraph below corresponds to MPI INT 9.1C.

4. Alkyd (Flat) System:

For a Premium Grade system, "MPI Manual" requires prime coat and topcoat; "MPI Manual" does not include a Custom Grade system.

a. Prime Coat: Alkyd, interior, flat (Gloss Level 1)[, MPI #49].

b. Topcoat: Alkyd, interior, flat (Gloss Level 1)[, MPI #49].

"Alkyd System" Subparagraph below corresponds to MPI INT 9.1D.

5. Alkyd System:

a. Prime Coat: Primer sealer, alkyd, interior[, MPI #45].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Alkyd, interior, matching topcoat.

Retain one of four "Topcoat" subparagraphs below.

c. Topcoat: Alkyd, interior, flat (Gloss Level 1)[, MPI #49].

d. Topcoat: Alkyd, interior, (Gloss Level 3)[, MPI #51].

e. Topcoat: Alkyd, interior, semi-gloss (Gloss Level 5)[, MPI #47].

f. Topcoat: Alkyd, interior, gloss (Gloss Level 6)[, MPI #48].

M. [Cotton or Canvas] [and] [ASJ] Insulation-Covering Substrates: Including [pipe and duct coverings] <Insert description>.

"Latex System" Subparagraph below corresponds to MPI INT 10.1A.

1. Latex System:

a. Prime Coat: Primer sealer, latex, interior[, MPI #50].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Latex, interior, matching topcoat.

Retain one of six "Topcoat" subparagraphs below.

c. Topcoat: Latex, interior, flat, (Gloss Level 1)[, MPI #53].

d. Topcoat: Latex, interior, (Gloss Level 2)[, MPI #44].

e. Topcoat: Latex, interior, (Gloss Level 3)[, MPI #52].

f. Topcoat: Latex, interior, (Gloss Level 4)[, MPI #43].

g. Topcoat: Latex, interior, semi-gloss, (Gloss Level 5)[, MPI #54].

h. Topcoat: Latex, interior, gloss, (Gloss Level 6, except minimum gloss of 65 units at 60 degrees)[, MPI #114].

"Institutional Low-Odor/VOC Latex System" Subparagraph below corresponds to MPI INT 10.1D.

2. Institutional Low-Odor/VOC Latex System:

a. Prime Coat: Primer sealer, latex, interior[, MPI #50].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Latex, interior, institutional low odor/VOC, matching topcoat.

Retain one of four "Topcoat" subparagraphs below.

c. Topcoat: Latex, interior, institutional low odor/VOC, flat (Gloss Level 1)[, MPI #143].

d. Topcoat: Latex, interior, institutional low odor/VOC, (Gloss Level 2)[, MPI #144].

e. Topcoat: Latex, interior, institutional low odor/VOC, (Gloss Level 3)[, MPI #145].

f. Topcoat: Latex, interior, institutional low odor/VOC, semi-gloss (Gloss Level 5)[, MPI #147].

"Alkyd over Latex Primer System" Subparagraph below corresponds to MPI INT 10.1B.

3. Alkyd over Latex Primer System:

a. Prime Coat: Primer sealer, latex, interior[, MPI #50].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Alkyd, interior, matching topcoat.

Retain one of four "Topcoat" subparagraphs below.

c. Topcoat: Alkyd, interior, flat (Gloss Level 1)[, MPI #49].

d. Topcoat: Alkyd, interior, (Gloss Level 3)[, MPI #51].

e. Topcoat: Alkyd, interior, semi-gloss (Gloss Level 5)[, MPI #47].

f. Topcoat: Alkyd, interior, gloss (Gloss Level 6)[, MPI #48].

"Aluminum Paint System" Subparagraph below corresponds to MPI INT 10.1C.

4. Aluminum Paint System:

a. Prime Coat: Primer sealer, latex, interior[, MPI #50].

For a Premium Grade system, "MPI Manual" requires intermediate coat; delete intermediate coat for a Custom Grade system.

b. Intermediate Coat: Aluminum paint[, MPI #1].

c. Topcoat: Aluminum paint[, MPI #1].

END OF SECTION 099123

	INTERIOR PAINTING
	099123 - 1



