Copyright 2010 AIA
MasterSpec Professional
02/10

Copyright 2010 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 101426 - POST AND PANEL/PYLON SIGNAGE
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section Includes:

1. Nonilluminated post and panel signs.

2. Internally illuminated post and panel signs.

3. Nonilluminated pylon signs.

4. Internally illuminated pylon signs.

1.2 ACTION SUBMITTALS

A. Product Data: For each type of product.

B. Shop Drawings: For post and panel/pylon signage.

1. Include fabrication and installation details and attachments to other work.

2. Show sign mounting heights, locations of supplementary supports to be provided by others, and accessories.

3. Show message list, typestyles, graphic elements, and layout for each sign at least [half size] <Insert scale>.

Retain two subparagraphs below if signs are internally illuminated.

4. Show locations of electrical service connections.

5. Include diagrams for power, signal, and control wiring.

C. Samples: For each exposed product and for each color and texture specified.

D. Sign Schedule: Use same designations specified or indicated on Drawings or in a sign schedule.

Retain "Delegated-Design Submittal" Paragraph below if design services have been delegated to Contractor.

E. Delegated-Design Submittal: For [signs indicated in "Performance Requirements" Article] <Insert sign designations>.

1. Include structural analysis calculations for signs indicated to comply with design loads; signed and sealed by the qualified professional engineer responsible for their preparation.

1.3 INFORMATIONAL SUBMITTALS

A. Sample warranty.

1.4 CLOSEOUT SUBMITTALS

A. Maintenance data.

1.5 WARRANTY

A. Special Warranty: Manufacturer agrees to repair or replace components of signs that fail in materials or workmanship within specified warranty period.

Verify available warranties and warranty periods for units and components.

1. Warranty Period: [Five] <Insert number> years from date of Substantial Completion.

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

2.1 PERFORMANCE REQUIREMENTS

Retain "Delegated Design" Paragraph below if Contractor is required to assume responsibility for design.

A. Delegated Design: Engage a qualified professional engineer, as defined in Section 014000 "Quality Requirements," to design sign structure and anchorage of [post and panel] [pylon] <Insert description> sign type(s) <Insert drawing designation of sign(s)> to withstand design loads <Insert loads>.

B. Thermal Movements: For exterior signs, allow for thermal movements from ambient and surface temperature changes.

Differential values in "Temperature Change" Subparagraph below (for aluminum in particular) are suitable for most of the U.S.

1. Temperature Change: [120 deg F (67 deg C), ambient; 180 deg F (100 deg C), material surfaces] <Insert temperature change>.

C. Accessibility Standard: Comply with applicable provisions in [the U.S. Architectural & Transportation Barriers Compliance Board's ADA-ABA Accessibility Guidelines for Buildings and Facilities] [and] [ICC A117.1] for signs.

D. Electrical Components, Devices, and Accessories: Listed and labeled as defined in NFPA 70, by a qualified testing agency, and marked for intended location and application.

2.2 POST AND PANEL/PYLON SIGNS

Retain "Manufacturers" Paragraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

A. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Paragraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain "Basis-of-Design Product" subparagraphs in remainder of this article if retaining paragraph below.

B. Basis-of-Design Product: Subject to compliance with requirements, provide product indicated or comparable product by one of the following:

Manufacturers listed below offer standard or custom-fabricated, post and panel and pylon signs.

1. Ace Sign Systems, Inc.

2. Allen Industries, Inc.

3. APCO Graphics, Inc.

4. ASI Sign Systems, Inc.

5. Bunting Graphics, Inc.

6. Charleston Industries, Inc.

7. Clarke Systems.

8. Diskey Sign Company.

9. Fossil Industries, Inc.

10. Nelson-Harkins Industries.

11. Poblocki Sign Company, LLC.

12. Supersine Company (The); Division of Stamp-Rite, Inc.

13. Vista System.

14. Vomar Products, Inc.

15. <Insert manufacturer's name>.

C. Post and Panel Sign <Insert drawing designation>: Sign of [single-panel] [hollow-box] <Insert description> configuration; with smooth, uniform surfaces and support assembly; with message and characters having uniform faces, sharp corners, and precisely formed lines and profiles; and as follows:

1. Basis-of-Design Product: [Indicated on Drawings] <Insert manufacturer's name; product name or designation>.

Retain "Illuminated Sign" Subparagraph below if required.

2. Illuminated Sign: Backlighted construction with [fluorescent tube] [fiber-optic] [LED] [neon tube] <Insert requirement> lighting including transformers, insulators, and other accessories for operability, with provision for servicing and concealing connections to building electrical system. Use tight or sealed joint construction to prevent unintentional light leakage. Space lamps apart from each other and away from sign surfaces as needed to illuminate evenly.

a. Power: [As indicated on electrical Drawings] [120 V, 60 Hz, 1 phase, 15 A] <Insert requirement>.

Available sign materials, constructions, and assemblies vary with manufacturer. Consult manufacturers for materials suitable for the exposure and required performance. Insert requirements for sign returns or edges and back if required and different than sign face.

3. Solid-Sheet Sign Panels[ and Returns][, Returns, and Back]: [Aluminum] [Stainless-steel] [Acrylic] [Fiberglass] [Polycarbonate] <Insert material> sheet with finish specified in "Sign-Panel-Face Finish and Applied Graphics" Subparagraph below and as follows:

Retain one or more of "Surface-Applied Graphics," "Etched and Filled Graphics," and "Inset, Cutout Characters" subparagraphs below to suit Project.

a. Surface-Applied Graphics: Applied [vinyl film] [baked enamel or powder coat] [paint] [photo image] <Insert requirement>.

b. Etched and Filled Graphics: Sign face etched or routed to receive enamel-paint infill.

c. Inset, Cutout Characters: Sign face routed to receive push-through acrylic graphics.

4. Laminated, Aluminum-Sheet Sign Panels: Aluminum sheet laminated to both sides of [acrylic] [phenolic] <Insert material> core sheet[ with painted edges].

a. Surface-Applied Graphics: Applied [vinyl film] [paint] [photo image] <Insert requirement>.

Retain "Single-Panel Sign Frame" Subparagraph below for framed, single-panel signs.

5. Single-Panel Sign Frame: [Entire perimeter] [Horizontal retainers] [Vertical retainers] <Insert description>.

a. Material: [Aluminum] [Stainless steel] <Insert material>.

b. Profile: [Square] [Beveled] [Rounded] <Insert requirement>.

c. Corner Condition in Elevation: [Square] [Mitered] [Rounded to radius indicated] <Insert requirement>.

d. Finish and Color: [Mill] [Black baked enamel or powder coat] [Match sign-panel face] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert requirement>.

Retain "Hollow-Box Sign Frame" Subparagraph below for framed, hollow-box signs.

6. Hollow-Box Sign Frame: Entire perimeter framed with formed-aluminum sheet or extruded-aluminum, hollow-box-type frame with vertical edges attached to supports with aluminum fittings. Close top and bottom edges of panels with manufacturer's standard welded seams or extrusions.

a. Hollow-Box Depth: [2 inches (50 mm)] [6 inches (150 mm)] [Same depth as posts] <Insert requirement>.

b. Profile: [Square] [Beveled] [Rounded] <Insert requirement>.

c. Corner Condition in Elevation: [Square] [Mitered] [Rounded to radius indicated] <Insert requirement>.

d. Finish and Color: [Mill] [Black baked enamel or powder coat] [Match sign-panel face] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert requirement>.

Retain "Multiple-Message Bars and Inserts" Subparagraph below for changeable-message bars; indicate layout on Drawings.

7. Multiple-Message Bars and Inserts: Fixed message bars capable of receiving changeable messages in the form of slide-in, [aluminum] [acrylic-sheet] <Insert material> changeable inserts.[ Provide initial messages as indicated.]

Retain applicable options in "Posts" Subparagraph below if not indicated on Drawings. Aluminum posts are standard with most sign manufacturers. Revise to suit standard construction of manufacturers.

8. Posts: [Aluminum] [Steel] <Insert material>.

Insert thickness of post material if sign requires greater thickness than specified in "Fabrication" Article.

a. Shape: [Round] [Square] [Rectangular] [Semicircular].

b. Size: [2-inch (50-mm) diameter] [3-inch (75-mm) diameter] [4-inch (100-mm) diameter] [2 by 2 inches (50 by 50 mm)] [3 by 3 inches (75 by 75 mm)] [4 by 4 inches (100 by 100 mm)] [2 by 4 inches (50 by 100 mm)] [1-3/4 by 3 inches (44 by 75 mm)] <Insert dimension(s)>.

c. Installation Method: [Direct burial] [Baseplate] [Sleeve] [Reverse sleeve] <Insert requirement>.

d. Finish and Color: [Mill] [Black baked enamel or powder coat] [Match sign-panel face] [Match sign-panel frame] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert requirement>.

Retain "Sign-Panel-Face Finish and Applied Graphics" Subparagraph below if this information is not fully indicated on Drawings. Consider using Drawings except for the simplest signs.

9. Sign-Panel-Face Finish and Applied Graphics:

Retain "Integral Aluminum Finish" Subparagraph below for integral finishes on aluminum.

a. Integral Aluminum Finish: [Clear anodized] [Light bronze anodized] [Medium bronze anodized] [Match Architect's sample] [Anodized color as selected by Architect from full range of industry colors and color densities] <Insert finish>.

Retain "Integral Stainless-Steel Finish" Subparagraph below for integral finishes on stainless steel.

b. Integral Stainless-Steel Finish: [No. 4] [No. 8] [Match Architect's sample] [As selected by Architect from full range of industry finishes] <Insert description>.

c. Integral [Acrylic] [Fiberglass] [Polycarbonate] Sheet Color: [As indicated by manufacturer's designation] [Match Architect's sample] [As selected by Architect from full range of industry colors] <Insert color>.

Retain "Baked-Enamel or Powder-Coat Finish and Graphics," "Painted Finish and Graphics," and "Photo-Image Graphics" subparagraphs below for applied finish and graphics; revise to suit Project.

d. Baked-Enamel or Powder-Coat Finish and Graphics: Manufacturer's standard, in color [as indicated by manufacturer's designation] [match Architect's sample] [as selected by Architect from manufacturer's full range] <Insert color>.

e. Painted Finish and Graphics: Manufacturer's standard, factory-applied [exterior-grade sign paint] [acrylic polyurethane] <Insert requirement>, in color [as indicated by manufacturer's designation] [matching Architect's sample] [as selected by Architect from manufacturer's full range] <Insert color>.

f. Photo-Image Graphics: Manufacturer's standard [black-and-white] [multicolor], [600-dpi] <Insert value> halftone or dot-screen image.

D. Pylon Sign <Insert drawing designation>: Sign with smooth, uniform surfaces and support assembly; with message and characters having uniform faces, sharp corners, and precisely formed lines and profiles; and as follows:

1. Basis-of-Design Product: [Indicated on Drawings] <Insert manufacturer's name; product name or designation>.

Retain "Illuminated Sign" Subparagraph below if required.

2. Illuminated Sign: Backlighted construction with [fluorescent tube] [fiber-optic] [LED] [neon tube] <Insert requirement> lighting including transformers, insulators, and other accessories for operability, with provision for servicing and concealing connections to building electrical system. Use tight or sealed joint construction to prevent unintentional light leakage. Space lamps apart from each other and away from sign surfaces as needed to illuminate evenly.

a. Power: [As indicated on electrical Drawings] [120 V, 60 Hz, 1 phase, 15 A] <Insert requirement>.

Available sign materials, constructions, and assemblies vary with manufacturer. Consult manufacturers for materials suitable for the exposure and required performance. Insert requirements for sign returns or edges and back if required and different than sign face.

3. Solid-Sheet Sign Panels[ and Returns][, Returns, and Back]: [Aluminum] [Stainless-steel] [Acrylic] [Fiberglass] [Polycarbonate] <Insert material> sheet with finish specified in "Sign-Panel-Face Finish and Applied Graphics" Subparagraph below and as follows:

Retain one or more of "Surface-Applied Graphics," "Etched and Filled Graphics," and "Inset, Cutout Characters" subparagraphs below to suit Project.

a. Surface-Applied Graphics: Applied [vinyl film] [baked enamel or powder coat] [paint] [photo image] <Insert requirement>.

b. Etched and Filled Graphics: Sign face etched or routed to receive enamel-paint infill.

c. Inset, Cutout Characters: Sign face routed to receive push-through acrylic graphics.

4. Laminated, Aluminum-Sheet Sign Panels: Aluminum sheet laminated to both sides of [acrylic] [phenolic] <Insert material> core sheet[ with painted edges].

a. Surface-Applied Graphics: Applied [vinyl film] [paint] [photo image] <Insert requirement>.

Retain "Single-Panel Sign Frame" Subparagraph below for framed, single-panel signs.

5. Single-Panel Sign Frame: [Entire perimeter] [Horizontal retainers] [Vertical retainers] <Insert description>.

a. Material: [Aluminum] [Stainless steel] <Insert material>.

b. Profile: [Square] [Beveled] [Rounded] <Insert requirement>.

c. Corner Condition in Elevation: [Square] [Mitered] [Rounded to radius indicated] <Insert requirement>.

d. Finish and Color: [Mill] [Black baked enamel or powder coat] [Match sign-panel face] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert requirement>.

Retain "Hollow-Box Sign Frame" Subparagraph below for framed, hollow-box signs.

6. Hollow-Box Sign Frame: Entire perimeter framed with formed-aluminum sheet or extruded-aluminum, hollow-box-type frame with vertical edges attached to supports with aluminum fittings. Close top and bottom edges of panels with manufacturer's standard welded seams or extrusions.

a. Hollow-Box Depth: [2 inches (50 mm)] [6 inches (150 mm)] [Same depth as external pylon frame] <Insert requirement>.

b. Profile: [Square] [Beveled] [Rounded] <Insert requirement>.

c. Corner Condition in Elevation: [Square] [Mitered] [Rounded to radius indicated] <Insert requirement>.

d. Finish and Color: [Mill] [Black baked enamel or powder coat] [Match sign-panel face] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert requirement>.

Retain "Multiple-Message Bars and Inserts" Subparagraph below for changeable-message bars; indicate layout on Drawings.

7. Multiple-Message Bars and Inserts: Fixed message bars capable of receiving changeable messages in the form of slide-in, [aluminum] [acrylic-sheet] <Insert material> changeable inserts.[ Provide initial messages as indicated.]

Retain applicable options in "Pylon Structure" Subparagraph below if not indicated on Drawings.

8. Pylon Structure: [Internal] [External] frame.

a. Pylon Shape: [Rectangular] [Square] [Triangular] [Circular] <Insert requirement>.

b. External-Frame Finish and Color: [Mill] [Black baked enamel or powder coat] [Match sign-panel face] [Match sign-panel frame] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert requirement>.

Retain "Sign-Panel-Face Finish and Applied Graphics" Subparagraph below if this information is not fully indicated on Drawings. Consider using Drawings except for the simplest signs.

9. Sign-Panel-Face Finish and Applied Graphics:

Retain "Integral Aluminum Finish" Subparagraph below for integral finishes on aluminum.

a. Integral Aluminum Finish: [Clear anodized] [Light bronze anodized] [Medium bronze anodized] [Match Architect's sample] [Anodized color as selected by Architect from full range of industry colors and color densities] <Insert finish>.

Retain "Integral Stainless-Steel Finish" Subparagraph below for integral finishes on stainless steel.

b. Integral Stainless-Steel Finish: [No. 4] [No. 8] [Match Architect's sample] [As selected by Architect from full range of industry finishes] <Insert description>.

c. Integral [Acrylic] [Fiberglass] [Polycarbonate] Sheet Color: [As indicated by manufacturer's designation] [Match Architect's sample] [As selected by Architect from full range of industry colors] <Insert color>.

Retain "Baked-Enamel or Powder-Coat Finish and Graphics," "Painted Finish and Graphics," and "Photo-Image Graphics" subparagraphs below for applied finish and graphics; revise to suit Project.

d. Baked-Enamel or Powder-Coat Finish and Graphics: Manufacturer's standard, in color [as indicated by manufacturer's designation] [match Architect's sample] [as selected by Architect from manufacturer's full range] <Insert color>.

e. Painted Finish and Graphics: Manufacturer's standard, factory-applied [exterior-grade sign paint] [acrylic polyurethane] <Insert requirement>, in color [as indicated by manufacturer's designation] [matching Architect's sample] [as selected by Architect from manufacturer's full range] <Insert color>.

f. Photo-Image Graphics: Manufacturer's standard [black-and-white] [multicolor], [600-dpi] <Insert value> halftone or dot-screen image.

2.3 MATERIALS

Generally retain one option in "Stainless-Steel Sheet" Paragraph below. Type 316 is more corrosion resistant and more expensive than Type 304.

A. Stainless-Steel Sheet: [Type 304] [Type 316].

B. Acrylic Sheet: ASTM D 4802, Type UVF (UV filtering).

C. Polycarbonate Sheet: Coated, mar-resistant, UV-stabilized polycarbonate, with coating on both sides.

D. Vinyl Film: UV-resistant vinyl film of nominal thickness indicated, with pressure-sensitive, permanent adhesive on back; die cut to form characters or images as indicated and suitable for exterior applications.

2.4 ACCESSORIES

A. Fasteners and Anchors: Manufacturer's standard as required for secure anchorage of signage, noncorrosive and compatible with each material joined, and complying with the following:

1. Use concealed fasteners and anchors unless indicated to be exposed.

2. For exterior exposure, furnish [nonferrous-metal] [stainless-steel] [or] [hot-dip galvanized] <Insert requirement> devices unless otherwise indicated.

3. Exposed Metal-Fastener Components, General:

a. Fabricated from same basic metal and finish of fastened metal unless otherwise indicated.

B. Bituminous Paint: Cold-applied asphalt emulsion complying with ASTM D 1187.

C. Anchoring Materials:

Retain one of or both "Nonshrink, Nonmetallic Grout" and "Anchoring Cement" subparagraphs below to suit Project.

1. Nonshrink, Nonmetallic Grout: Factory-packaged, nonstaining, noncorrosive, nongaseous grout complying with ASTM C 1107/C 1107M. Provide grout specifically recommended by manufacturer for interior and exterior applications.

2. Anchoring Cement: Factory-packaged, nonshrink, nonstaining, hydraulic-controlled expansion cement formulation for mixing with water at Project site to create pourable anchoring, patching, and grouting compound.

a. Water-Resistant Product: At exterior locations, provide formulation that is resistant to erosion from water exposure without needing protection by a sealer or waterproof coating and that is recommended by manufacturer for exterior use.

2.5 FABRICATION

A. General: Provide manufacturer's standard sign assemblies according to requirements indicated.

1. Mill joints to tight, hairline fit. Form joints exposed to weather to resist water penetration and retention.

2. Provide welds and brazes behind finished surfaces without distorting or discoloring exposed side. Clean exposed welded and brazed joints of flux, and dress exposed and contact surfaces.

3. Conceal fasteners and anchors unless indicated to be exposed; locate exposed fasteners where they will be inconspicuous.

4. Internally brace signs for stability and for securing fasteners.

Retain "Post Fabrication" Paragraph below for post-mounted signs.

B. Post Fabrication: Fabricate posts designed to withstand wind pressure indicated for Project location and of lengths required for installation method indicated for each sign.

Retain "Aluminum Posts" Subparagraph below if required. Aluminum posts are standard with most sign manufacturers.

1. Aluminum Posts: Manufacturer's standard 0.125-inch- (3.18-mm-) thick, extruded-aluminum tubing unless otherwise indicated, with brackets or slots to engage sign panels.

Retain "Steel Posts" Subparagraph below if required.

2. Steel Posts: Hot-dip galvanize post assemblies after fabrication according to ASTM A 123/A 123M.

Retain "Direct Burial" Subparagraph below if permanent sign installation by direct-burial method is required.

3. Direct Burial: Fabricate posts 36 inches (910 mm) longer than height of sign to permit direct burial or embedment in concrete foundations or concrete-filled postholes.

Retain "Baseplates" Subparagraph below if baseplate installation method is required.

4. Baseplates: Fabricate posts with baseplates welded to bottom of posts. Drill holes in baseplate for anchor-bolt connection.

a. Provide [preset] [drilled-in-place] anchor bolts of size required for connecting posts to concrete foundations.

Retain "Sleeves" Subparagraph below if sleeve installation method is required.

5. Sleeves: Fabricate posts [12 inches (300 mm)] <Insert dimension> longer than height of sign to permit embedment in sleeves cast in concrete foundations or concrete-filled postholes. Provide sleeves by manufacturer, sized to receive outside diameter of posts. Size sleeves for direct embedment in concrete foundations or concrete-filled postholes and to prevent sign movement, but not less than [24 inches (610 mm)] [36 inches (910 mm)] <Insert dimension> for embedment.

Retain "Reverse Sleeves" Subparagraph below if reverse-sleeve installation method is required. This method permits easier sign removal. Not all manufacturers offer this installation method because reverse-sleeve setting requires greater accuracy than sleeve setting to prevent wobbling of posts.

6. Reverse Sleeves: Provide inserts by sign manufacturer, sized for close fit inside posts. Size inserts for direct embedment in concrete foundations and to attach sign posts securely and prevent sign movement, but of a height not less than one-third of post height plus 36 inches (910 mm) for embedment.

a. Provide through bolts to fasten posts to inserts.

C. Pylon Fabrication: Fabricate pylon signs with integral base consisting of channels, angles, plates, or other fittings. Design and fabricate pylon and anchorage to withstand wind pressure indicated for Project location. Detail anchorage so that water can drain out of assembly without obstruction. Drill holes in members for anchor-bolt connection. Provide anchor bolts of size required for connecting base to concrete foundations.

Retain "Internal Frames" Subparagraph below for concealed internal framing. Internal frames are usually made of steel.

1. Internal Frames: Manufacturer's standard internal steel framing system and anchorage, modified as required for Project requirements. Provide welded construction. Cut, drill, and tap units to receive hardware, bolts, and similar items.

a. Hot-dip galvanize steel framing system after fabrication according to ASTM A 123/A 123M.

Retain "External Frames" Subparagraph below for signs with visible side or corner frames. External frames are usually made of aluminum.

2. External Frames: Manufacturer's standard external [aluminum] [steel] framing system and anchorage for direct attachment of sign message panels, modified as required for Project requirements. Provide welded construction using mitered joints. Cut, drill, and tap units to receive hardware, bolts, and similar items.

Retain subparagraph below if steel framing is required.

a. Hot-dip galvanize steel framing system after fabrication according to ASTM A 123/A 123M.

PART 3 -  EXECUTION

3.1 INSTALLATION

Retain installation methods in this article that coordinate with mounting requirements in sign-description paragraphs retained in Part 2.

A. General: Install signs using installation methods indicated and according to manufacturer's written instructions.

1. Install signs level, plumb, and at locations and heights indicated, with sign surfaces free of distortion and other defects in appearance.

2. Install signs so they do not protrude or obstruct according to accessibility standard.

3. Before installation, verify that sign components are clean and free of materials or debris that would impair installation.

4. Corrosion Protection: Coat concealed surfaces of exterior aluminum in contact with grout, concrete, masonry, wood, or dissimilar metals, with a heavy coat of bituminous paint.

3.2 INSTALLING POSTS

A. Direct-Burial Method:

1. Excavation: Excavate posthole to dimensions indicated. Reconstruct subgrade that is not firm, undisturbed, or compacted soil, or that is damaged by freezing temperatures, frost, rain, accumulated water, or construction activities by excavating an additional [12 inches (300 mm)] <Insert dimension>, backfilling with satisfactory soil or well-graded aggregate, and compacting to original subgrade elevation.

2. Setting in Earth: Set post in position, support to prevent movement, and backfill with satisfactory soil or well-graded aggregate as recommended in writing by manufacturer. Place and compact backfill in 6-inch (150-mm) lifts, compacting each lift.

3. Setting in Cast-in-Place Concrete: Set post in position, support to prevent movement, and place concrete [in posthole] [or] [for concrete foundation] as indicated.

4. Setting in Preformed Hole in Concrete Foundation: Form or core drill holes in concrete foundation not less than 3/4 inch (20 mm) larger than outside dimension of post for installing posts in concrete. Set post in position, shim to prevent movement, and fill annular space between post and hole with [nonshrink, nonmetallic grout] [or] [anchoring cement], mixed and placed to comply with manufacturer's written instructions.

Retain one of two subparagraphs below.

a. Cover anchorage joint in concrete foundations with flange of same metal and finish as post, [welded to post after placing anchoring material] [attached to post with set screws].

b. Leave anchorage joint exposed with [1/8-inch (3-mm) anchoring material sloped away from post] [anchoring material flush with adjacent surface].

B. Baseplate Method:

1. Preset Anchor Bolts: Set post baseplate in position over anchor bolts projecting from concrete foundation, shim and support post to prevent movement, place washers and nuts, and tighten. Fill shim space with nonshrink, nonmetallic grout, mixed and placed to comply with manufacturer's written instructions.

2. Drilled-in-Place Anchor Bolts: Set post baseplate in position over concrete foundation, locate and drill anchor holes, shim and support post to prevent movement, place washers and anchor bolts, and tighten. Fill shim space with nonshrink, nonmetallic grout, mixed and placed to comply with manufacturer's written instructions.

C. Sleeve Method: Set post in position in sleeve and support post to prevent movement, fill annular space between post and sleeve with [nonshrink, nonmetallic grout] [or] [anchoring cement], mixed and placed to comply with manufacturer's written instructions.

Retain one of two subparagraphs below.

1. Cover anchorage joint with flange of same metal and finish as post, [welded to post after placing anchoring material] [attached to post with set screws].

2. Leave anchorage joint exposed with [1/8-inch (3-mm) anchoring material sloped away from post] [anchoring material flush with adjacent surface].

D. Reverse-Sleeve Method: Set post in position over the projecting insert and support post to prevent movement, drill posts and inserts for through bolts, and install and tighten through bolts.

3.3 INSTALLING PYLONS

A. Attachment with Preset Anchor Bolts: Set pylon base in position over anchor bolts projecting from concrete foundation, shim and support pylon to prevent movement, place washers and nuts, and tighten. Fill shim space with nonshrink, nonmetallic grout, mixed and placed to comply with manufacturer's written instructions.

B. Attachment with Drilled-in-Place Anchor Bolts: Set pylon base in position over concrete foundation, locate and drill anchor holes, shim and support pylon to prevent movement, place washers and anchor bolts, and tighten. Fill shim space with nonshrink, nonmetallic grout, mixed and placed to comply with manufacturer's written instructions.

END OF SECTION 101426

	POST AND PANEL/PYLON SIGNAGE
	101426 - 1



