Copyright 2011 AIA
MasterSpec Professional
02/11

Copyright 2011 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 102113 - TOILET COMPARTMENTS
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section Includes:

1. Steel toilet compartments configured as [toilet enclosures] [entrance screens] [and] [urinal screens].

2. Stainless-steel toilet compartments configured as [toilet enclosures] [entrance screens] [and] [urinal screens].

3. Plastic-laminate-faced toilet compartments configured as [toilet enclosures] [entrance screens] [and] [urinal screens].

4. Phenolic-core toilet compartments configured as [toilet enclosures] [entrance screens] [and] [urinal screens].

5. Solid-polymer toilet compartments configured as [toilet enclosures] [entrance screens] [and] [urinal screens].

1.2 ACTION SUBMITTALS

A. Product Data: For each type of product indicated.

B. LEED Submittals:

"Product Data for Credit IEQ 4.4" Subparagraph below applies to LEED-NC, LEED-CI, and LEED-CS.

1. Product Data for Credit IEQ 4.4: For particleboard, documentation indicating that product contains no urea formaldehyde.

"Laboratory Test Reports for Credit IEQ 4" Subparagraph below applies to LEED for Schools.

2. Laboratory Test Reports for Credit IEQ 4: For [adhesives] [and] [composite wood products], documentation indicating that products comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

C. Shop Drawings: For toilet compartments. Include plans, elevations, sections, details, and attachments to other work.

D. Samples for each exposed product and for each color and texture specified.

1.3 INFORMATIONAL SUBMITTALS

A. Product certificates.

1.4 CLOSEOUT SUBMITTALS

A. Maintenance data.

1.5 QUALITY ASSURANCE

Retain first paragraph below if Owner or authorities having jurisdiction require that toilet compartments made of combustible materials comply with surface-burning requirements. Metal units are inherently noncombustible.

A. Surface-Burning Characteristics: As determined by testing identical products according to ASTM E 84, or another standard acceptable to authorities having jurisdiction, by a qualified testing agency. Identify products with appropriate markings of applicable testing agency.

1. Flame-Spread Index: [25] [75] [200] or less.

2. Smoke-Developed Index: 450 or less.

B. Regulatory Requirements: Comply with applicable provisions in [the U.S. Architectural & Transportation Barriers Compliance Board's "Americans with Disabilities Act (ADA) and Architectural Barriers Act (ABA) Accessibility Guidelines for Buildings and Facilities"] [and] [ICC/ANSI A117.1] for toilet compartments designated as accessible.

PART 2 -  PRODUCTS

2.1 MATERIALS

A. Steel Sheet: Commercial steel sheet for exposed applications; mill phosphatized and selected for smoothness.

For zinc coating applied by the electrolytic process, retain 01Z (03G) in first subparagraph below or revise to a heavier coating weight because the minimum coating weight in ASTM A 879/A 879M is "no coating."

1. Electrolytically Zinc Coated: ASTM A 879/A 879M, 01Z (03G).

2. Hot-Dip Galvanized: ASTM A 653/A 653M, either hot-dip galvanized or galvannealed.

B. Zamac: ASTM B 86, commercial zinc-alloy die castings.

Retain second option in "Particleboard" Paragraph below if required for LEED-NC, LEED-CI, or LEED-CS Credit IEQ 4.4. Retain third option if required for LEED for Schools Credit IEQ 4.

C. Particleboard: ANSI A208.1, Grade M-2 with 45-lb (20.4-kg) density[.][, made with binder containing no urea formaldehyde.][, that complies with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."]

Revise first paragraph below if flame-retardant HGF grade is required for surface-burning characteristics and is acceptable to authorities having jurisdiction.

D. Plastic Laminate: NEMA LD 3, general-purpose HGS grade, 0.048-inch (1.2-mm) nominal thickness.

Retain "Adhesives" Paragraph below if required for LEED for Schools Credit IEQ 4.

E. Adhesives: Manufacturer's standard product that complies with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

2.2 STEEL UNITS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of first two paragraphs and list of manufacturers below. See SECTION 016000 "Product Requirements."

A. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

B. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

1. Accurate Partitions Corporation.

2. All American Metal Corp.

3. American Sanitary Partition Corporation.

4. Ampco, Inc.

5. Bradley Corporation; Mills Partitions.

6. Flush Metal Partition Corp.

7. General Partitions Mfg. Corp.

8. Global Steel Products Corp.

9. Hadrian Manufacturing Inc.

10. Knickerbocker Partition Corporation.

11. Metpar Corp.

12. Rockville Partitions Incorporated.

13. Sanymetal; a Crane Plumbing company.

14. Shanahan's Limited.

15. <Insert manufacturer's name>.

C. Toilet-Enclosure Style: [Overhead braced] [Floor anchored] [Ceiling hung] [Floor and ceiling anchored].

D. Entrance-Screen Style: [Overhead braced] [Floor anchored] [Ceiling hung] [Floor and ceiling anchored].

E. Urinal-Screen Style: [Wall hung, flat panel] [Wall hung with integral flanges] [Wall hung, wedge shaped] [Floor anchored] [Overhead braced] [Post to ceiling].

Before retaining option in first paragraph below, verify availability with manufacturers selected.

F. Door, Panel, and Pilaster Construction: Seamless, metal facing sheets pressure laminated to core material; with continuous, interlocking molding strip or lapped-and-formed edge closures; corners secured by welding or clips and exposed welds ground smooth.[ Provide with no-sightline system.] Exposed surfaces shall be free of pitting, seam marks, roller marks, stains, discolorations, telegraphing of core material, or other imperfections.

1. Core Material: Manufacturer's standard sound-deadening honeycomb of resin-impregnated kraft paper in thickness required to provide finished thickness of 1 inch (25 mm) for doors and panels and 1-1/4 inches (32 mm) for pilasters.

2. Grab-Bar Reinforcement: Provide concealed internal reinforcement for grab bars mounted on units.

3. Tapping Reinforcement: Provide concealed reinforcement for tapping (threading) at locations where machine screws are used for attaching items to units.

G. Urinal-Screen Construction:

Retain one or more of three subparagraphs below; if retaining more than one, indicate locations of each type on Drawings or by inserts. Retain second subparagraph for government-style metal screens; coordinate with manufacturers selected.

1. Flat-Panel Urinal Screen: Matching panel construction.

2. Integral-Flange, Wall-Hung Urinal Screen: Similar to panel construction, with integral full-height flanges for wall attachment, and maximum 1-1/4 inches (32 mm) thick.

3. Wedge-Shaped, Wall-Hung Urinal Screen: Similar to panels, V-shaped, fabricated for concealed wall attachment, and maximum 6 inches (152 mm) wide at wall and minimum 1 inch (25 mm) wide at protruding end.

H. Facing Sheets and Closures: [Electrolytically coated steel] [Hot-dip galvanized-steel] [Electrolytically coated or hot-dip galvanized-steel] sheet with nominal base-metal (uncoated) thicknesses standard with manufacturer.

I. Pilaster [Shoes] [and] [Sleeves (Caps)]: Stainless-steel sheet, not less than 3 inches (76 mm) high, finished to match hardware.

Retain first paragraph below for floor-anchored, overhead-braced, and post-to-ceiling urinal screens.

J. Urinal-Screen Post: Manufacturer's standard post design of [material matching the thickness and construction of pilasters] [or] [1-3/4-inch- (44-mm-) square, aluminum tube with satin finish] <Insert requirement>; with shoe[ and sleeve (cap)] matching that on the pilaster.

K. Brackets (Fittings):

Retain one or both subparagraphs below; if retaining both, indicate locations of each type of fitting on Drawings or by inserts. If necessary, revise to indicate fitting requirements for specific applications, e.g., "heavy-duty" urinal-screen brackets.

1. Stirrup Type: Ear or U-brackets; [chrome-plated zamac] [clear-anodized aluminum] [stainless steel] [chrome-plated brass].

2. Full-Height (Continuous) Type: Manufacturer's standard design; [stainless steel] [aluminum].

L. Steel-Sheet Finish: Manufacturer's standard baked-on finish, with [one color] [two colors] in each room.

1. Color: [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range] <Insert color>.

2.3 STAINLESS-STEEL UNITS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of first two paragraphs and list of manufacturers below. See Section 016000 "Product Requirements."

A. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

B. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

1. Accurate Partitions Corporation.

2. All American Metal Corp.

3. American Sanitary Partition Corporation.

4. Ampco, Inc.

5. Bradley Corporation; Mills Partitions.

6. Flush Metal Partition Corp.

7. General Partitions Mfg. Corp.

8. Global Steel Products Corp.

9. Hadrian Manufacturing Inc.

10. Knickerbocker Partition Corporation.

11. Metpar Corp.

12. Rockville Partitions Incorporated.

13. Sanymetal; a Crane Plumbing company.

14. Shanahan's Limited.

15. Weis-Robart Partitions, Inc.

16. <Insert manufacturer's name>.

C. Toilet-Enclosure Style: [Overhead braced] [Floor anchored] [Ceiling hung] [Floor and ceiling anchored].

D. Entrance-Screen Style: [Overhead braced] [Floor anchored] [Ceiling hung] [Floor and ceiling anchored].

E. Urinal-Screen Style: [Wall hung flat panel] [Wall hung with integral flanges] [Wall hung, wedge shaped] [Floor anchored] [Overhead braced] [Post to ceiling].

Before retaining option in first paragraph below, verify availability with manufacturers selected.

F. Door, Panel, and Pilaster Construction: Seamless, metal facing sheets pressure laminated to core material; with continuous, interlocking molding strip or lapped-and-formed edge closures; corners secured by welding or clips and exposed welds ground smooth.[ Provide with no-sightline system.] Exposed surfaces shall be free of pitting, seam marks, roller marks, stains, discolorations, telegraphing of core material, or other imperfections.

1. Core Material: Manufacturer's standard sound-deadening honeycomb of resin-impregnated kraft paper in thickness required to provide finished thickness of 1 inch (25 mm) for doors and panels and 1-1/4 inches (32 mm) for pilasters.

2. Grab-Bar Reinforcement: Provide concealed internal reinforcement for grab bars mounted on units.

3. Tapping Reinforcement: Provide concealed reinforcement for tapping (threading) at locations where machine screws are used for attaching items to units.

G. Urinal-Screen Construction:

Retain one or more of three subparagraphs below; if retaining more than one, indicate locations of each type on Drawings or by inserts. Retain second subparagraph for government-style metal screens; coordinate with manufacturers selected.

1. Flat-Panel Urinal Screen: Matching panel construction.

2. Integral-Flange, Wall-Hung Urinal Screen: Similar to panel construction, with integral full-height flanges for wall attachment, and maximum 1-1/4 inches (32 mm) thick.

3. Wedge-Shaped, Wall-Hung Urinal Screen: Similar to panels, V-shaped, fabricated for concealed wall attachment, and maximum 6 inches (152 mm) wide at wall and minimum 1 inch (25 mm) wide at protruding end.

H. Facing Sheets and Closures: Stainless-steel sheet of nominal thicknesses standard with manufacturer:

I. Pilaster [Shoes] [and] [Sleeves (Caps)]: Stainless-steel sheet, not less than 3 inches (76 mm) high, finished to match hardware.

Retain first paragraph below for floor-anchored, overhead-braced, and post-to-ceiling urinal screens.

J. Urinal-Screen Post: Manufacturer's standard post design of [material matching the thickness and construction of pilasters] [or] [1-3/4-inch- (44-mm-) square, aluminum tube with satin finish] <Insert requirement>; with shoe[ and sleeve (cap)] matching that on the pilaster.

K. Brackets (Fittings):

Retain one or both subparagraphs below; if retaining both, indicate locations of each type of fitting on Drawings or by inserts. If necessary, revise to indicate fitting requirements for specific applications, e.g., "heavy-duty" urinal-screen brackets.

1. Stirrup Type: Ear or U-brackets; [chrome-plated zamac] [clear-anodized aluminum] [stainless steel] [chrome-plated brass].

2. Full-Height (Continuous) Type: Manufacturer's standard design; [stainless steel] [aluminum].

Textured finishes are available from some manufacturers, but textures vary.

L. Stainless-Steel Finish: [No. 4 bright, directional polish] [Manufacturer's standard textured finish] <Insert finish> on exposed faces. Protect exposed surfaces from damage by application of strippable, temporary protective covering before shipment.

2.4 PLASTIC-LAMINATE-FACED UNITS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of first two paragraphs and list of manufacturers below. See Section 016000 "Product Requirements."

A. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

B. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

1. Accurate Partitions Corporation.

2. All American Metal Corp.

3. American Sanitary Partition Corporation.

4. Ampco, Inc.

5. Bobrick Washroom Equipment, Inc.

6. Bradley Corporation; Mills Partitions.

7. Flush Metal Partition Corp.

8. General Partitions Mfg. Corp.

9. Global Steel Products Corp.

10. Knickerbocker Partition Corporation.

11. Marlite.

12. Metpar Corp.

13. Rockville Partitions Incorporated.

14. Sanymetal; a Crane Plumbing company.

15. Shanahan's Limited.

16. Tex-Lam Manufacturing, Inc.

17. Weis-Robart Partitions, Inc.

18. <Insert manufacturer's name>.

C. Toilet-Enclosure Style: [Overhead braced] [Floor anchored] [Ceiling hung] [Floor and ceiling anchored].

D. Entrance-Screen Style: [Overhead braced] [Floor anchored] [Ceiling hung] [Floor and ceiling anchored].

E. Urinal-Screen Style: [Wall hung] [Floor anchored] [Overhead braced] [Post to ceiling].

Second option in first paragraph below is available from Bobrick. Before retaining last option, verify availability with manufacturers selected.

F. Door, Panel[, Screen], and Pilaster Construction: One-piece, plastic-laminate facing sheets pressure laminated to core material without splices or joints in facings or cores; with [laminate] [stainless-steel edge trim] applied to edges before faces to seal edges and prevent laminate from being pried loose. Seal exposed core material at cutouts to protect core from moisture.[ Provide with no-sightline system.]

1. Core Material: Particleboard.

2. Doors and Panels: Finished to not less than [7/8 inch (22 mm)] [1 inch (25 mm)] thick.

Retain option in subparagraph below if more than one type of pilaster construction is acceptable; coordinate with manufacturers selected.

3. Pilasters: Provide construction to comply with[ one of] the following:

Listed manufacturers offer 1-1/4-inch- (32-mm-) thick pilasters with particleboard cores as the predominant standard. Steel reinforcement is usually an upgrade; before retaining option in first subparagraph below, verify availability with manufacturers selected.

a. Finished to not less than 1-1/4 inches (32 mm) thick[ and with internal, nominal 0.134-inch- (3.42-mm-) thick, steel-sheet reinforcement].

American Sanitary provides construction described in first subparagraph below as standard.

b. Finished to 1-1/4 inches (32 mm) thick and with manufacturer's standard steel-sheet core laminated to both sides of honeycomb of resin-impregnated kraft paper in lieu of particleboard core.

Bobrick provides construction described in subparagraph below as standard.

c. Finished to not less than 1 inch (25 mm) thick and with internal, nominal 0.120-inch- (3.04-mm-) thick, steel-sheet reinforcement.

G. Pilaster [Shoes] [and] [Sleeves (Caps)]: Formed from stainless-steel sheet, not less than 3 inches (76 mm) high, finished to match hardware.

Retain first paragraph below for floor-anchored, overhead-braced, and post-to-ceiling urinal screens. Bobrick advertises stainless-steel tube option.

H. Urinal-Screen Post: Manufacturer's standard post design of [material matching the thickness and construction of pilasters] [or] [1-3/4-inch- (44-mm-) square, aluminum tube with satin finish] [1-1/4-inch- (32-mm-) square, stainless-steel tube with satin finish] <Insert requirement>; with shoe[ and sleeve (cap)] matching that on the pilaster.

I. Brackets (Fittings):

Retain one or both subparagraphs below; if retaining both, indicate locations of each type of fitting on Drawings or by inserts. If necessary, revise to indicate fitting requirements for specific applications, e.g., "heavy-duty" urinal-screen brackets.

1. Stirrup Type: Ear or U-brackets, [chrome-plated zamac] [clear-anodized aluminum] [stainless steel] [chrome-plated brass].

2. Full-Height (Continuous) Type: Manufacturer's standard design; [stainless steel] [aluminum].

J. Plastic-Laminate Finish: [One color and pattern] [Two colors and patterns] in each room.

1. Color and Pattern: [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range] <Insert color and pattern>.

2.5 PHENOLIC-CORE UNITS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of first two paragraphs and list of manufacturers below. See Section 016000 "Product Requirements."

A. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

B. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

1. Accurate Partitions Corporation.

2. American Sanitary Partition Corporation.

3. Ampco, Inc.

4. Bobrick Washroom Equipment, Inc.

5. Bradley Corporation; Mills Partitions.

6. Flush Metal Partition Corp.

7. General Partitions Mfg. Corp.

8. Global Steel Products Corp.

9. Knickerbocker Partition Corporation.

10. Metpar Corp.

11. Partition Systems Incorporated of South Carolina.

12. Rockville Partitions Incorporated.

13. Sanymetal; a Crane Plumbing company.

14. Shanahan's Limited.

15. Tex-Lam Manufacturing, Inc.

16. Weis-Robart Partitions, Inc.

17. Young Group Ltd. (The); Fabricated Products Division; DesignRite Partitions.

18. <Insert manufacturer's name>.

Sanymetal does not recommend ceiling-hung and floor-anchored mounting styles for phenolic-core units.

C. Toilet-Enclosure Style: [Overhead braced] [Floor anchored] [Ceiling hung] [Floor and ceiling anchored].

D. Entrance-Screen Style: [Overhead braced] [Floor anchored] [Ceiling hung] [Floor and ceiling anchored].

E. Urinal-Screen Style: [Wall hung] [Floor anchored] [Overhead braced] [Post to ceiling].

Before retaining option in first paragraph below, verify availability with manufacturers selected.

F. Door, Panel[, Screen], and Pilaster Construction: Solid phenolic-core panel material with melamine facing on both sides fused to substrate during panel manufacture (not separately laminated), and with eased and polished edges[ and no-sightline system]. Provide minimum 3/4-inch- (19-mm-) thick doors and pilasters and minimum 1/2-inch- (13-mm-) thick panels.

G. Pilaster [Shoes] [and] [Sleeves (Caps)]: Fabricated from stainless-steel sheet, not less than 3 inches (76 mm) high, finished to match hardware.

Retain first paragraph below for floor-anchored, overhead-braced, and post-to-ceiling urinal screens. First option is sometimes used with floor-mounted, phenolic-core urinal screens; verify, with manufacturers selected, availability and cut-out design.

H. Urinal-Screen Post: Manufacturer's standard post design of [monolithic phenolic urinal screen cut out at bottom to form a post] [material matching the thickness and construction of pilasters] [or] [1-3/4-inch- (44-mm-) square, aluminum tube with satin finish] <Insert requirement>; with shoe[ and sleeve (cap)] matching that on the pilaster.

I. Brackets (Fittings):

Retain one or both subparagraphs below; if retaining both, indicate locations of each type of fitting on Drawings or by inserts. If necessary, revise to indicate fitting requirements for specific applications, e.g., "heavy-duty" urinal-screen brackets.

1. Stirrup Type: Ear or U-brackets, [chrome-plated zamac] [clear-anodized aluminum] [stainless steel] [chrome-plated brass].

2. Full-Height (Continuous) Type: Manufacturer's standard design; [stainless steel] [aluminum].

J. Phenolic-Panel Finish: Facing sheet of [one color and pattern] [two colors and patterns] in each room.

Solid "through-color" phenolic panels described by last option in subparagraph below are available from Global and, perhaps, from other manufacturers; verify availability with manufacturers selected.

1. Color and Pattern: [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range] <Insert color and pattern>, with manufacturer's standard [dark-color core] [through-color core matching face sheet].

2.6 SOLID-POLYMER UNITS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of first two paragraphs and list of manufacturers below. See Section 016000 "Product Requirements."

A. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

B. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

Standard height for doors and panels offered by most manufacturers is 55 inches (1397 mm); few offer 58-inch- (1473-mm-) high doors and panels. If this dimension is critical, verify the height of standard units with manufacturers selected.

1. Accurate Partitions Corporation.

2. Ampco, Inc.

3. Bradley Corporation; Mills Partitions.

4. Comtec Industries/Capitol Partitions.

5. General Partitions Mfg. Corp.

6. Global Steel Products Corp.

7. Hadrian Manufacturing Inc.

8. Knickerbocker Partition Corporation.

9. Metpar Corp.

10. Partition Systems Incorporated of South Carolina.

11. Rockville Partitions Incorporated.

12. Santana Products, Inc.

13. Sanymetal; a Crane Plumbing company.

14. Weis-Robart Partitions, Inc.

15. <Insert manufacturer's name>.

C. Toilet-Enclosure Style: [Overhead braced] [Floor and ceiling anchored].

D. Entrance-Screen Style: [Overhead braced] [Floor and ceiling anchored].

E. Urinal-Screen Style: [Wall hung] [Overhead braced] [Post to ceiling].

Retain HDPE or PP option in first paragraph below where required to maximize competition among listed manufacturers. Currently, PP is advertised only by Hadrian, which does not offer HDPE units. PP and most formulations of HDPE do not comply with Class A or B flame-spread and smoke-developed index requirements; if required, verify with manufacturers selected.

Before retaining "no-sightline system" option in first paragraph below, verify availability with manufacturers selected.

F. Door, Panel[, Screen], and Pilaster Construction: Solid, [high-density polyethylene (HDPE)] [or] [polypropylene (PP)] panel material, not less than 1 inch (25 mm) thick, seamless, with eased edges,[ no-sightline system,] and with homogenous color and pattern throughout thickness of material.

If retaining first subparagraph below, retain integral hinge option for hinges in "Accessories" Article.

1. Integral Hinges: Configure doors and pilasters to receive integral hinges.

2. Heat-Sink Strip: Manufacturer's standard continuous, [extruded-aluminum] [or] [stainless-steel] strip fastened to exposed bottom edges of solid-polymer components to prevent burning.

3. Polymer Panel Finish: [One color and pattern] [Two colors and patterns] in each room.

a. Color and Pattern: [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range] <Insert color and pattern>.

G. Pilaster [Shoes] [and] [Sleeves (Caps)]: Manufacturer's standard design; [polymer] [or] [stainless steel].

Retain subparagraph below if retaining "polymer" option in paragraph above.

1. Polymer Color and Pattern: [Matching pilaster] [Contrasting with pilaster, as indicated by manufacturer's designations] [Contrasting with pilaster, as selected by Architect from manufacturer's full range] <Insert color and pattern>.

Retain first paragraph below for floor-anchored, overhead-braced, and post-to-ceiling urinal screens.

H. Urinal-Screen Post: Manufacturer's standard post design of [material matching the thickness and construction of pilasters] [or] [1-3/4-inch- (44-mm-) square, aluminum tube with satin finish] <Insert requirement>; with shoe[ and sleeve (cap)] matching that on the pilaster.

I. Brackets (Fittings):

Retain one or both subparagraphs below; if retaining both, indicate locations of each type of fitting on Drawings or by inserts. If necessary, revise to indicate fitting requirements for specific applications, e.g., "heavy-duty" urinal-screen brackets.

1. Stirrup Type: Ear or U-brackets, [chrome-plated zamac] [clear-anodized aluminum] [stainless steel] [chrome-plated brass].

2. Full-Height (Continuous) Type: Manufacturer's standard design; [polymer or extruded aluminum] [polymer] [extruded aluminum] [stainless steel].

Retain subparagraph below with first or second option in subparagraph above.

a. Polymer Color and Pattern: [Matching panel] [Contrasting with panel, as indicated by manufacturer's designations] [Contrasting with panel, as selected by Architect from manufacturer's full range] <Insert color and pattern>.

2.7 ACCESSORIES

Before revising first paragraph below, verify requirements of authorities having jurisdiction for accessible toilet facilities.

A. Hardware and Accessories: Manufacturer's standard design, heavy-duty operating hardware and accessories.

1. Material: [Chrome-plated zamac] [Clear-anodized aluminum] [Stainless steel] [Chrome-plated brass].

Hinge types vary in availability among manufacturers; most offer paired hinges listed below. Paired hinges can be either preset or adjustable; for preset, insert requirements in first subparagraph below for hold-open angle. Retain last option only if retaining solid-polymer doors and pilasters configured to receive integral hinges.

2. Hinges: Manufacturer's standard [paired, self-closing type that can be adjusted to hold doors open at any angle up to 90 degrees] [continuous, cam type that swings to a closed or partially open position] [continuous, spring-loaded type] [integral hinge for solid-polymer doors] <Insert requirement>.

Recessed latch-operating devices that are accessible to people with disabilities are available. Verify requirements of authorities having jurisdiction.

3. Latch and Keeper: Manufacturer's standard [recessed] [surface-mounted] latch unit designed for emergency access and with combination rubber-faced door strike and keeper. Provide units that comply with regulatory requirements for accessibility at compartments designated as accessible.

4. Coat Hook: Manufacturer's standard combination hook and rubber-tipped bumper, sized to prevent in-swinging door from hitting compartment-mounted accessories.

5. Door Bumper: Manufacturer's standard rubber-tipped bumper at out-swinging doors[ and entrance-screen doors].

6. Door Pull: Manufacturer's standard unit at out-swinging doors that complies with regulatory requirements for accessibility. Provide units on both sides of doors at compartments designated as accessible.

Retain first paragraph below for overhead-braced units. Revise if specific finish is required. Generally, clear-anodized finish is provided.

B. Overhead Bracing: Manufacturer's standard continuous, extruded-aluminum head rail with antigrip profile and in manufacturer's standard finish.

C. Anchorages and Fasteners: Manufacturer's standard exposed fasteners of stainless steel or chrome-plated steel or brass, finished to match the items they are securing, with theft-resistant-type heads. Provide sex-type bolts for through-bolt applications. For concealed anchors, use stainless steel, hot-dip galvanized steel, or other rust-resistant, protective-coated steel.

2.8 FABRICATION

A. Overhead-Braced Units: Provide manufacturer's standard corrosion-resistant supports, leveling mechanism, and anchors at pilasters to suit floor conditions. Provide shoes at pilasters to conceal supports and leveling mechanism.

B. Floor-Anchored Units: Provide manufacturer's standard corrosion-resistant anchoring assemblies with leveling adjustment nuts at pilasters for structural connection to floor. Provide shoes at pilasters to conceal anchorage.

C. Ceiling-Hung Units: Provide manufacturer's standard corrosion-resistant anchoring assemblies with leveling adjustment nuts at pilasters for connection to structural support above finished ceiling. Provide assemblies that support pilasters from structure without transmitting load to finished ceiling. Provide sleeves (caps) at tops of pilasters to conceal anchorage.

D. Floor-and-Ceiling-Anchored Units: Provide manufacturer's standard corrosion-resistant anchoring assemblies with leveling adjustment at tops and bottoms of pilasters. Provide shoes and sleeves (caps) at pilasters to conceal anchorage.

E. Urinal-Screen Posts: Provide manufacturer's standard corrosion-resistant anchoring assemblies with leveling adjustment at[ tops and] bottoms of posts. Provide shoes[ and sleeves (caps)] at posts to conceal anchorage.

Retain paragraph below and revise to suit Project if door sizes and swings are not shown on Drawings; verify requirements of authorities having jurisdiction.

F. Door Size and Swings: Unless otherwise indicated, provide 24-inch- (610-mm-) wide, in-swinging doors for standard toilet compartments and 36-inch- (914-mm-) wide, out-swinging doors with a minimum 32-inch- (813-mm-) wide, clear opening for compartments designated as accessible.

PART 3 -  EXECUTION

3.1 INSTALLATION

A. General: Comply with manufacturer's written installation instructions. Install units rigid, straight, level, and plumb. Secure units in position with manufacturer's recommended anchoring devices.

B. Clearances: Maximum 1/2 inch (13 mm) between pilasters and panels; 1 inch (25 mm) between panels and walls.

Retain paragraph below for stirrup brackets. For solid-polymer units, three brackets are recommended for panel-to-wall and panel-to-pilaster connections to prevent sagging of panel.

C. Stirrup Brackets: Secure panels to walls and to pilasters with no fewer than [two brackets attached] [three brackets attached at midpoint and] near top and bottom of panel. Locate wall brackets so holes for wall anchors occur in masonry or tile joints. Align brackets at pilasters with brackets at walls.

3.2 ADJUSTING

Revise hinge adjustment requirements in this article to suit Project. Verify accessibility requirements of authorities having jurisdiction.

A. Hardware Adjustment: Adjust and lubricate hardware according to hardware manufacturer's written instructions for proper operation. Set hinges on in-swinging doors to hold doors open approximately 30 degrees from closed position when unlatched. Set hinges on out-swinging doors[ and doors in entrance screens] to return doors to fully closed position.

END OF SECTION 102113

	TOILET COMPARTMENTS
	102113 - 1



