Copyright 2012 AIA
MasterSpec Professional
02/12

Copyright 2012 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 102213 - WIRE MESH PARTITIONS
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section Includes:

1. Standard-duty wire mesh partitions.

2. Heavy-duty wire mesh partitions.

3. Wire mesh ceilings.

1.2 ACTION SUBMITTALS

A. Product Data: For each type of product.

B. LEED Submittals:

1. Product Data for Credit MR 4: For products having recycled content, documentation indicating percentages by weight of postconsumer and preconsumer recycled content. Include statement indicating cost for each product having recycled content.

"Laboratory Test Reports for Credit IEQ 4.2" Subparagraph below applies to LEED for Schools.

2. Laboratory Test Reports for Credit IEQ 4.2: For paints and coatings, documentation indicating that products comply with the testing and product requirements of the California Department of Public Health's (formerly, the California Department of Health Services') "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers."

C. Shop Drawings:

1. Include plans, elevations, sections, details, and attachments to other work.

Retain "Samples" Paragraph below if colors are not preselected and specified or scheduled.

D. Samples: For units with factory-applied color finishes.

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

2.1 MANUFACTURERS

Retain "Manufacturers" Paragraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

A. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Paragraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

B. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

1. Acorn Wire & Iron Works, LLC.

2. American Woven Wire Corporation.

3. California Wire Products Corporation.

4. Central Wire and Iron.

5. Folding Guard Corporation.

6. G-S Company (The).

7. Indiana Wire Products, Inc.

8. Jesco Industries, Inc.

9. Kenco Wire and Iron Products Inc.

10. King Wire Partitions, Inc.

11. Miller Wire Works, Inc.

12. Newark Wire Works Inc.

13. R. J. Donaldson, Inc.

14. SpaceGuard Products.

15. Standard Wire & Steel Works.

16. Wire Crafters, LLC.

17. <Insert manufacturer's name>.

2.2 MATERIALS

Retain "Recycled Content of Steel Products" Paragraph below to specify recycled content if required for LEED Credit MR 4. USGBC allows a default value of 25 percent to be used for steel without documentation; higher percentages can be claimed if they are supported by appropriate documentation.

A. Recycled Content of Steel Products: Postconsumer recycled content plus one-half of preconsumer recycled content not less than [25] <Insert number> percent.

B. Steel Wire: ASTM A 510 (ASTM A 510M).

C. Steel Plates, Channels, Angles, and Bars: ASTM A 36/A 36M.

D. Steel Sheet: Cold-rolled steel sheet, ASTM A 1008/A 1008M, Commercial Steel (CS), Type B.

E. Steel Pipe: ASTM A 53/A 53M, Schedule 40, unless another weight is indicated or required by structural loads.

Steel tubing and pipe are sized differently. Pipe is designated by nominal pipe size and weight or schedule number. Tubing is designated by OD and wall thickness.

F. Steel Tubing: ASTM A 500/A 500M, cold-formed structural-steel tubing or ASTM A 513, Type 5, mandrel-drawn mechanical tubing.

G. Metallic-Coated Steel Sheet: ASTM A 653/A 653M, Commercial Steel (CS), Type B; with G60 (Z180) zinc (galvanized) or A60 (ZF180) zinc-iron-alloy (galvannealed) coating designation.

"Seismic Bracing" Paragraph below is an example only. Revise to suit Project.

H. Seismic Bracing: Angles with legs not less than 1-1/4 inch (32 mm) wide, formed from 0.040-inch- (1.0-mm-) thick, metallic-coated steel sheet; with bolted connections and 1/4-inch- (6-mm-) diameter bolts.

Retain "Low-Emitting Coatings" Paragraph below if required for LEED for Schools. Note that below applies to shop finishes as well as shop primers.

I. Low-Emitting Coatings: Paints and coatings shall comply with the testing and product requirements of the California Department of Public Health's (formerly, the California Department of Health Services') "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers."

Retain one or more of "Shop Primers," "Universal Shop Primer," and "Zinc-Rich Primer" paragraphs below. Retain first paragraph if primers are specified in another Section. Retain second for a typical shop primer for painted finishes that provide minimum protection to steel. Retain third for a typical primer for high-performance coating. If retaining second or third paragraph, indicate location of each primer on Drawings or in a schedule.

J. Shop Primers: Provide primers that comply with [Section 099113 "Exterior Painting"] [and] [Section 099123 "Interior Painting."]

K. Universal Shop Primer: Fast-curing, lead- and chromate-free, universal modified-alkyd primer, complying with MPI#79.

Retain "Galvanizing Repair Paint" Paragraph below for galvanized fabrications.

L. Galvanizing Repair Paint: High-zinc-dust-content paint for regalvanizing welds in steel, complying with SSPC-Paint 20.

2.3 STANDARD-DUTY WIRE MESH PARTITIONS

Mesh in "Mesh" Paragraph below is industry standard for standard-duty wire mesh. Revise to suit mesh with different wire diameter or different pattern.

A. Mesh: 0.135-inch- (3.5-mm-) diameter, intermediate-crimp steel wire woven into 1-1/2-inch (38-mm) diamond mesh.

B. Vertical Panel Framing: 1-1/4-by-5/8-by-0.080-inch (32-by-16-by-2.0-mm) cold-rolled, C-shaped steel channels with holes for 1/4-inch- (6-mm-) diameter bolts not more than 12 inches (300 mm) o.c.

C. Horizontal Panel Framing: 1-by-1/2-by-1/8-inch (25-by-13-by-3.2-mm) cold-rolled steel channels.

D. Horizontal Panel Stiffeners: Two cold-rolled steel channels, 3/4 by 3/8 by 1/8 inch (19 by 9.5 by 3.2 mm), bolted or riveted toe to toe through mesh or one 1-by-1/2-by-1/8-inch (25-by-13-by-3.2-mm) cold-rolled steel channel with wire mesh woven through channel.

E. Top Capping Bars: 2-1/4-by-1-inch (57-by-25-mm) cold-rolled steel channels.

F. Posts for 90-Degree Corners: 1-1/4-by-1-1/4-by-1/8-inch (32-by-32-by-3.2-mm) steel angles or square tubes with holes for 1/4-inch- (6-mm-) diameter bolts aligning with bolt holes in vertical framing; with floor anchor clips.

Retain "Posts for Other-Than-90-Degree Corners" or "Adjustable Corner Posts" Paragraph below if other-than-90-degree corners are required.

G. Posts for Other-Than-90-Degree Corners: Steel pipe or tubing with holes for 1/4-inch- (6-mm-) diameter bolts aligning with bolt holes in vertical framing; with floor anchor clips.

1. Partitions up to 12 Feet (3.7 m) High: 1-1/4-inch (32-mm) OD by 1/8 inch (3.2 mm).

2. Partitions up to 20 Feet (6.1 m) High: 2-1/2-inch (65-mm) OD by 1/8 inch (3.2 mm).

H. Adjustable Corner Posts: Two 1-1/4-by-5/8-by-0.080-inch (32-by-16-by-2.0-mm) cold-rolled, C-shaped steel channels connected by steel hinges at 36 inches (900 mm) o.c., with holes for 1/4-inch- (6-mm-) diameter bolts aligning with bolt holes in vertical framing.

I. Line Posts: 3-inch-by-4.1-lb (76-mm-by-1.9-kg) or 3-1/2-by-1-1/4-by-0.127-inch (89-by-32-by-3.2-mm) steel channels; with 1/4-inch (6.4-mm) steel base plates.

J. Three-Way Intersection Posts: 1-1/4-by-1-1/4-by-1/8-inch (32-by-32-by-3.2-mm) steel tubes or channels, with holes for 1/4-inch- (6-mm-) diameter bolts aligned for bolting to adjacent panels.

K. Four-Way Intersection Posts: 1-1/4-by-1-1/4-by-1/8-inch (32-by-32-by-3.2-mm) steel tubes, with holes for 1/4-inch- (6-mm-) diameter bolts aligned for bolting to adjacent panels.

L. Floor Shoes: Metal, not less than 2 inches (50 mm) high; sized to suit vertical framing, drilled for attachment to floor, and with set screws for leveling adjustment.

M. Swinging[ Dutch] Doors: Fabricated from same mesh as partitions, with framing fabricated from 1-1/4-by-1/2-by-1/8-inch (32-by-13-by-3.2-mm) steel channels or 1-1/4-by-5/8-by-0.080-inch (32-by-16-by-2.0-mm) cold-rolled, C-shaped steel channels, banded with 1-1/4-by-1/8-inch (32-by-3.2-mm) flat steel bar cover plates on [three] [four] sides, and with 1/8-inch- (3.2-mm-) thick angle strike bar and cover on strike jamb.

1. Hinges: Full-surface type, 3-by-3-inch (76-by-76-mm) steel, three per door; bolted, riveted, or welded to door and jamb framing.

Retain "Padlock Lug" or "Cylinder Lock" Subparagraph below. In "Cylinder Lock" Subparagraph, recessed turn knob in fourth option is prevalent but may not comply with accessibility requirements if applicable.

2. Padlock Lug: Mortised into door framing and enclosed with steel cover.

3. Cylinder Lock: Mortise type with [manufacturer's standard cylinder] [cylinder specified in Section 087100 "Door Hardware"] [cylinder specified in Section 087111 "Door Hardware (Descriptive Specification)"]; operated by key outside and [recessed turn knob] [knob] [lever] inside.

N. Sliding Doors: Fabricated from same mesh as partitions, with framing fabricated from 1-1/2-by-3/4-by-1/8-inch (38-by-19-by-3.2-mm) steel channels, banded with 1-1/2-by-1/8-inch (38-by-3.2-mm) flat steel bar cover plates on four sides.

1. Hardware: Two, four-wheel roller-bearing carriers, box track, and bottom guide channel for each door.

Retain "Padlock Lug" or "Cylinder Lock" Subparagraph below. In "Cylinder Lock" Subparagraph, recessed turn knob in fourth option is prevalent but may not comply with accessibility requirements if applicable.

2. Padlock Lug: Mortised into door framing and enclosed with steel cover.

3. Cylinder Lock: Mortise type with [manufacturer's standard cylinder] [cylinder specified in Section 087100 "Door Hardware"] [cylinder specified in Section 087111 "Door Hardware (Descriptive Specification)"]; operated by key outside and [recessed turn knob] [knob] [lever] inside.

O. Vertically Sliding Service Windows: Fabricated from same mesh and framing as panels and equipped with [a spring catch] [slide bolts] on each jamb to lock window in open position and a padlock lug to lock window in closed position. Include opening frame in partition fabricated from 1-1/4-by-1/2-by-1/8-inch (32-by-13-by-3.2-mm) steel channels.

P. Swinging Service Windows: Fabricated from same mesh and framing as panels and equipped with spring catch on strike jamb that locks window in closed position. Include opening frame in partition fabricated from 1-1/4-by-1/2-by-1/8-inch (32-by-13-by-3.2-mm) steel channels.

Q. Accessories:

"Sheet Metal Base" Subparagraph below is for wainscot panels.

1. Sheet Metal Base: [0.060-inch- (1.5-mm-)] [0.035-inch- (0.9-mm-)] thick steel sheet.

2. Adjustable Filler Panels: 0.060-inch- (1.5-mm-) thick steel sheet, capable of filling openings from 2 to 12 inches (50 to 300 mm).

R. Finish: [Hot-dip galvanized] [Shop primed for field painting] [Enamel finish] [Powder-coated finish] unless otherwise indicated.

1. Color: [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

2.4 HEAVY-DUTY WIRE MESH PARTITIONS

A. Mesh: 0.192-inch- (4.9-mm-) diameter steel wire woven into 2-inch (50-mm) diamond mesh or welded into 1-1/2-by-2-1/2-inch (38-mm-by-65-mm) rectangular mesh.

B. Vertical and Horizontal Panel Framing: 1-1/2-by-3/4-by-1/8-inch (38-by-19-by-3.2-mm) cold-rolled steel channels; with holes for 3/8-inch- (9.5-mm-) diameter bolts not more than 12 inches (300 mm) o.c.

C. Horizontal Panel Stiffeners: Two cold-rolled steel channels, 1 by 1/2 by 1/8 inch (25 by 13 by 3.2 mm), bolted or riveted toe to toe through mesh.

D. Top Capping Bars: 3-by-1-inch (76-by-25-mm) steel channels.

Option in "Posts for 90-Degree Corners" Paragraph below allows use of an alternative material that is standard with several manufacturers.

E. Posts for 90-Degree Corners: 1-1/2-by-1-1/2-by-1/8-inch (38-by-38-by-3.2-mm) steel angles or tubes[ or 2-by-2-by-0.075-inch (50-by-50-by-1.9-mm) cold-rolled steel angles or tubes], with holes for 3/8-inch- (9.5-mm-) diameter bolts aligning with bolt holes in vertical framing; with 1/4-inch (6.4-mm) steel base plates.

Retain "Posts for Other-Than-90-Degree Corners" or "Adjustable Corner Posts" Paragraph below if other-than-90-degree corners are required.

F. Posts for Other-Than-90-Degree Corners: 2-inch- (50-mm) OD by 1/8-inch (3.2-mm) steel pipe or round tube, with holes for 3/8-inch- (9.5-mm-) diameter bolts aligning with bolt holes in vertical framing; with 1/4-inch (6.4-mm) steel base plates.

G. Adjustable Corner Posts: Two 1-1/2-by-3/4-by-1/8-inch (38-by-19-by-3.2-mm) cold-rolled, steel channels or 2-by-2-by-0.075-inch (50-by-50-by-1.9-mm) steel tubes connected by steel hinges at 36 inches (900 mm) o.c. attached to posts; with 1/4-inch- (6-mm-) diameter bolt holes aligning with bolt holes in vertical framing; with 1/4-inch (6.4-mm) steel base plates.

H. Line Posts: 3-inch-by-4.1-lb (76-mm-by-1.9-kg) or 3-1/2-by-1-1/4-by-1/8-inch (89-by-32-by-3.2-mm) steel channels; with 1/4-inch (6.4-mm) steel base plates.

I. [Three-] [and] [Four-]Way Intersection Posts: 2-by-2-by-0.075-inch (50-by-50-by-1.9-mm) steel tubes, with holes for 3/8-inch- (9.5-mm-) diameter bolts aligned for bolting to adjacent panels; with 1/4-inch (6.4-mm) steel base plates.

J. Floor Shoes: Metal, not less than 2 inches (50 mm) high; sized to suit vertical framing, drilled for attachment to floor, and with set screws for leveling adjustment.

K. Swinging[ Dutch] Doors: Fabricated from same mesh as partitions, with framing fabricated from 1-1/2-by-3/4-by-1/8-inch (38-by-19-by-3.2-mm) steel channels, banded with 1-1/2-by-1/8-inch (38-by-3.2-mm) flat steel bar cover plates on four sides, and with 1/8-inch- (3.2-mm-) thick angle strike bar and cover on strike jamb.

1. Hinges: Full-surface type, 3-1/2-by-3-1/2-inch (89-by-89-mm) steel, three per door; bolted, riveted, or welded to door and jamb framing.

Retain "Padlock Lug" or "Cylinder Lock" Subparagraph below. In "Cylinder Lock" Subparagraph, recessed turn knob in fourth option is prevalent but may not comply with accessibility requirements if applicable.

2. Padlock Lug: Mortised into door framing and enclosed with steel cover.

3. Cylinder Lock: Mortise type with [manufacturer's standard cylinder] [cylinder specified in Section 087100 "Door Hardware"] [cylinder specified in Section 087111 "Door Hardware (Descriptive Specification)"]; operated by key outside and [recessed turn knob] [knob] [lever] inside; mounted in lower section of door.

L. Sliding Doors: Fabricated from same mesh as partitions, with framing fabricated from 1-1/2-by-3/4-by-1/8-inch (38-by-19-by-3.2-mm) steel channels, banded with 1-1/2-by-1/8-inch (38-by-3.2-mm) flat steel bar cover plates on four sides.

1. Hardware: Two, four-wheel roller-bearing carriers, box track, and bottom guide channel for each door.

Retain "Padlock Lug" or "Cylinder Lock" Subparagraph below. In "Cylinder Lock" Subparagraph, recessed turn knob in fourth option is prevalent but may not comply with accessibility requirements if applicable.

2. Padlock Lug: Mortised into door framing and enclosed with steel cover.

3. Cylinder Lock: Mortise type with [manufacturer's standard cylinder] [cylinder specified in Section 087100 "Door Hardware"] [cylinder specified in Section 087111 "Door Hardware (Descriptive Specification)"]; operated by key outside and [recessed turn knob] [knob] [lever] inside; mounted in lower section of door.

M. Vertically Sliding Service Windows: Fabricated from same mesh and framing as panels and equipped with [a spring catch] [slide bolts] on each jamb to lock window in open and closed positions. Include opening frame in partition fabricated from 1-1/4-by-1/2-by-1/8-inch (32-by-13-by-3.2-mm) steel channels.

N. Swinging Service Windows: Fabricated from same mesh and framing as panels and equipped with spring catch on strike jamb that locks window in closed position. Include opening frame in partition fabricated from 1-1/4-by-1/2-by-1/8-inch (32-by-13-by-3.2-mm) steel channels.

O. Accessories:

"Sheet Metal Base" Subparagraph below is for wainscot panels.

1. Sheet Metal Base: 0.060-inch- (1.5-mm-) thick, steel sheet.

2. Adjustable Filler Panels: 0.060-inch- (1.5-mm-) thick steel sheet, capable of filling openings from 2 to 12 inches (50 to 300 mm).

P. Finish: [Hot-dip galvanized] [Shop primed for field painting] [Enamel finish] [Powder-coated finish] unless otherwise indicated.

1. Color: [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range] <Insert color>.

2.5 WIRE MESH CEILINGS

Wire mesh ceilings are typically installed along with wire mesh partitions. Revise this article if wire mesh ceilings are required to suit Project but wire mesh partitions are not. Consult manufacturers for recommendations.

A. Mesh, Framing, and Stiffeners: Fabricated from same mesh and framing as wire mesh partition panels.

B. Perimeter Partition Supports: [1-1/2-by-1-1/2-by-1/8-inch (38-by-38-by-3.2-mm)] [1-1/2-by-1-1/2-by-0.075-inch (38-by-38-by-1.9-mm)] steel angle, with holes for 1/4-inch- (6-mm-) diameter bolts aligned for bolting to top of wire mesh partitions and to sides of wire mesh ceiling panels.

C. Wall Supports: [1-1/2-by-1-1/2-by-1/8-inch (38-by-38-by-3.2-mm)] [1-1/2-by-1-1/2-by-0.075-inch (38-by-38-by-1.9-mm)] steel angle punched for attachment to wall and wire mesh ceiling panels.

D. Intermediate Supports: Steel I-beams or rectangular tubes, as recommended by manufacturer.

E. Intermediate Support Posts: [2-by-2-by-1/8-inch (50-by-50-by-3.2-mm)] [2-by-2-by-0.075-inch (50-by-50-by-1.9-mm)] steel tubes.

F. Finishes: Match adjacent wire mesh partitions.

2.6 FABRICATION

A. General: Fabricate wire mesh items from components of sizes not less than those indicated. Use larger-sized components as recommended by wire mesh item manufacturer. Furnish bolts, hardware, and accessories required for complete installation with manufacturer's standard finishes.

1. Fabricate wire mesh items to be readily disassembled.

Retain one of four options in "Welding" Subparagraph below; options are listed with best appearance and highest cost first.

2. Welding: Weld corner joints of framing and [grind smooth, leaving no evidence of joint] [finish sand] [remove spatter] [leave as applied].

B. [Standard-] [and] [Heavy-]Duty Wire Mesh Partitions: Fabricate wire mesh partitions with cutouts for pipes, ducts, beams, and other items indicated. Finish edges of cutouts to provide a neat, protective edge.

1. Mesh: [Securely clinch] [Weld] mesh to framing.

2. Framing: Fabricate framing with mortise and tenon corner construction.

a. Provide horizontal stiffeners as indicated or, if not indicated, as required by panel height and as recommended by wire mesh partition manufacturer. Weld horizontal stiffeners to vertical framing.

Retain one of first two subparagraphs below.

3. Fabricate wire mesh partitions with 3 to 4 inches (75 to 100 mm) of clear space between finished floor and bottom horizontal framing.

4. Fabricate wire mesh partitions with bottom horizontal framing flush with finished floor.

5. Doors: Align bottom of door with bottom of adjacent panels.

a. For doors that do not extend full height of partition, provide transom over door, fabricated from same mesh and framing as partition panels.

6. Hardware Preparation: Mortise, reinforce, drill, and tap doors and framing as required to install hardware.

C. Wire Mesh Ceilings: Fabricate wire mesh partitions with cutouts for pipes, ducts, beams, and other items indicated. Finish edges of cutouts to provide a neat, protective edge.

1. Mesh: [Securely clinch] [Weld] mesh to framing.

2. Framing: Fabricate framing with [mortise and tenon] [welded] corner construction.

a. Provide stiffeners as indicated or, if not indicated, as required by panel span and as recommended by wire mesh ceiling manufacturer. Weld stiffeners to framing.

2.7 STEEL AND IRON FINISHES

A. Galvanizing: Hot-dip galvanize items as indicated to comply with ASTM A 153/A 153M for steel and iron hardware and with ASTM A 123/A 123M for other steel and iron products.

B. Preparation for Shop Priming: Prepare surfaces to comply with [SSPC-SP 6/NACE No. 3, "Commercial Blast Cleaning."] [SSPC-SP 3, "Power Tool Cleaning."]

Retain "Shop Priming," "Enamel Finish," or "Powder-Coat Finish" Paragraph below or insert another. Paint finish options for wire mesh units vary widely. For exact finish, insert names of coating manufacturers and products.

C. Shop Priming: Apply shop primer to uncoated surfaces of wire mesh units unless otherwise indicated. Comply with SSPC-PA 1, "Paint Application Specification No. 1: Shop, Field, and Maintenance Painting of Steel," for shop painting.

D. Enamel Finish: Immediately after cleaning and pretreating, apply manufacturer's standard enamel finish, suitable for use indicated, with a minimum dry film thickness of [2 mils (0.05 mm)] <Insert dimension>.

1. Color and Gloss: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and gloss>.

E. Powder-Coat Finish: Immediately after cleaning and pretreating, apply manufacturer's standard baked-on powder-coat finish, suitable for use indicated, with a minimum dry film thickness of [2 mils (0.05 mm)] <Insert dimension>.

1. Color and Gloss: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and gloss>.

PART 3 -  EXECUTION

3.1 WIRE MESH PARTITIONS ERECTION

Retain one of first two paragraphs below. Installation method in second paragraph allows vertical adjustment.

A. Anchor wire mesh partitions to floor with 3/8-inch- (9.5-mm-) diameter postinstalled expansion anchors at 12 inches (300 mm) o.c. through anchor clips located at each post and corner. Shim anchor clips as required to achieve level and plumb installation.

B. Anchor wire mesh partitions to floor with 3/8-inch- (9.5-mm-) diameter postinstalled expansion anchors at 12 inches (305 mm) o.c. through floor shoes located at each post and corner. Adjust wire mesh partition posts in floor shoes to achieve level and plumb installation.

C. Anchor wire mesh partitions to walls at 12 inches (305 mm) o.c. through back corner panel framing.

D. Secure top capping bars to top framing channels with 1/4-inch- (6-mm-) diameter "U" bolts spaced not more than 28 inches (700 mm) o.c.

E. Provide line posts at locations indicated.

Retain first paragraph below if required.

F. Provide seismic supports and bracing as indicated or, if not indicated, as recommended by manufacturer and as required for stability, extending and fastening members to supporting structure.

Retain first paragraph below if custom-width wire mesh partition panels are not required and dimensions are not indicated on Drawings.

G. Where standard-width wire mesh partition panels do not fill entire length of run, provide adjustable filler panels to fill openings.

H. Install doors complete with door hardware.

I. Install service windows complete with window hardware.

J. Weld or bolt sheet metal bases to [wire mesh partitions] [and] [doors] [where indicated].

3.2 WIRE MESH CEILINGS ERECTION

A. Anchor wall support angle to walls at 12 inches (300 mm) o.c.

B. Attach wire mesh ceiling panels to wall support angles with bolts at 12 inches (305 mm) o.c.

C. Attach wire mesh ceiling panels to wire mesh partitions with slotted angles bolted to sides of ceiling panels and to top of partitions at 12 inches (305 mm) o.c.

D. Attach wire mesh ceiling panels to intermediate supports as recommended by manufacturer.

Retain paragraph below if required.

E. Provide seismic supports and bracing as indicated or, if not indicated, as recommended by manufacturer and as required for stability, extending and fastening members to supporting structure.

3.3 ADJUSTING AND CLEANING

A. Adjust [doors] [gates] [service windows] to operate smoothly and easily, without binding or warping. Adjust hardware to function smoothly. Confirm that latches and locks engage accurately and securely without forcing or binding.

B. Touchup Painting: Immediately after erection, clean field welds, bolted connections, and abraded areas. Paint uncoated and abraded areas with the same material as used for shop painting to comply with SSPC-PA 1 for touching up shop-painted surfaces.

C. Galvanized Surfaces: Clean field welds, bolted connections, and abraded areas, and repair galvanizing to comply with ASTM A 780/A 780M.

END OF SECTION 102213

	WIRE MESH PARTITIONS
	102213 - 1



