Copyright 2012 AIA
MasterSpec Professional
05/12

Copyright 2012 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 105500.13 - USPS-DELIVERY POSTAL SPECIALTIES
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section Includes:

1. Mail receptacles.

2. Cluster box units.

3. Parcel lockers.

4. Collection boxes.

5. Accessories.

1.2 ACTION SUBMITTALS

A. Product Data: For each type of product.

B. Shop Drawings: For postal specialties. Include plans, elevations, sections, and attachment details.

C. Samples: For each type of exposed finish.

1.3 INFORMATIONAL SUBMITTALS

A. Sample warranty.

1.4 DELIVERY, STORAGE, AND HANDLING

A. Furnish lock keys according to USPS requirements; with temporary identification for their respective locks, bagged, and securely taped inside the collection compartment for shipping.

1.5 WARRANTY

A. Special Warranty: Manufacturer agrees to repair or replace components of postal specialties that fail in materials or workmanship within specified warranty period.

Verify available warranties and warranty periods for units and components.

1. Warranty Period: [Five] <Insert number> years from date of Substantial Completion.

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

2.1 MAIL RECEPTACLES

Copy paragraphs below and re-edit for each product.

Insert drawing designation. Use these designations on Drawings to identify each product.

A. Front-Loading Mail Receptacles <Insert drawing designation>: USPS-STD-4C; consisting of multiple compartments with fixed, solid compartment backs, enclosed within a recessed wall box.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. 2B Global Inc.

b. American Eagle Mailbox; Division of Postal Products Unlimited, Inc.

c. Bommer Industries, Inc.

d. Charnstrom, W. A. Company.

e. Florence Corporation; a Gibraltar Industries company.

f. Jayco Industries.

g. Jensen Mailboxes; SCC Architectural Building Products.

h. National Mailboxes; a division of NMHP, Inc.

i. Postal Products Unlimited, Inc.

j. Salsbury Industries.

k. Security Manufacturing Corporation.

l. <Insert manufacturer's name>.

3. Front-Loading Master Door: Fabricated from extruded aluminum and braced and framed to hold compartment doors; prepared to receive master-door lock.

a. Master-Door Lock: Door prepared to receive lock provided by local postmaster.

4. Compartments: [Number and size as follows:] [As indicated on Drawings, of the following sizes:] [As indicated on Drawings.]

If retaining first option in "Compartments" Subparagraph above, also retain option in first five subparagraphs below or insert number of compartments to suit Project.

a. Type I: A group of mail receptacles in single-column configuration with single master door, [three] <Insert number up to eight> mail compartments not less than 3 inches high by 12 inches wide by 15 inches deep (76 mm high by 305 mm wide by 381 mm deep), one outgoing mail collection compartment prepared for master-door lock, and one parcel-locker compartment 15 inches high by 12 inches wide by 15 inches deep (381 mm high by 305 mm wide by 381 mm deep).

b. Type II: A group of mail receptacles in double-column configuration with double master door, [three] <Insert number up to 16> mail compartments not less than 3 inches high by 12 inches wide by 15 inches deep (76 mm high by 305 mm wide by 381 mm deep), one outgoing mail collection compartment prepared for master-door lock, and [one] [two] parcel-locker compartment(s): [15 inches high by 12 inches wide by 15 inches deep (381 mm high by 305 mm wide by 381 mm deep)] [and] [18 inches high by 12 inches wide by 15 inches deep (457 mm high by 305 mm wide by 381 mm deep)].

c. Type III: A group of mail receptacles in double-column configuration with single master door, [three] <Insert number up to 16> mail compartments not less than 3 inches high by 12 inches wide by 15 inches deep (76 mm high by 305 mm wide by 381 mm deep), one outgoing mail collection compartment prepared for master-door lock, and [one] [two] parcel-locker compartment(s): [15 inches high by 12 inches wide by 15 inches deep (381 mm high by 305 mm wide by 381 mm deep)] [and] [18 inches high by 12 inches wide by 15 inches deep (457 mm high by 305 mm wide by 381 mm deep)].

d. Type VI (No Parcel-Locker Compartment): A group of mail receptacles in single-column configuration with single master door, [three] <Insert number up to nine> mail compartments not less than 3 inches high by 12 inches wide by 15 inches deep (76 mm high by 305 mm wide by 381 mm deep), and one outgoing mail collection compartment prepared for master-door lock.

e. Type VIII (No Parcel-Locker Compartment): A group of mail receptacles in double-column configuration with double master door, [three] <Insert number up to 19> mail compartments not less than 3 inches high by 12 inches wide by 15 inches deep (76 mm high by 305 mm wide by 381 mm deep), and one outgoing mail collection compartment prepared for master-door lock.

5. Compartment Doors: Fabricated from extruded aluminum. Equip each with lock and tenant identification as required by USPS-STD-4C.[ Provide mail slot in the compartment with master-door lock.]

a. Compartment-Door Locks: USPS-L-1172C; with three keys for each compartment door.

b. Parcel-Locker-Compartment-Door Locks: Two-key security system in which control key provides access to parcel-locker-compartment key, which opens compartment and is retained once opened.

6. Frames: Extruded aluminum or aluminum sheet; ganged and nested units, with cardholder and blank cards for tenant's identification within each compartment.

7. Concealed Components and Mounting Frames: Aluminum or steel sheet.

8. Exposed Aluminum Finish:

a. Baked-Enamel or Powder-Coated Finish: [Silver] [Black] [Medium bronze] [Dark bronze] [Gold] [Color as indicated by manufacturer's designations] [Color as selected by Architect from manufacturer's full range] <Insert color>.

B. Rear-Loading Mail Receptacles <Insert drawing designation>: USPS-STD-4C; consisting of multiple compartments enclosed within a recessed wall box.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. 2B Global Inc.

b. American Eagle Mailbox; Division of Postal Products Unlimited, Inc.

c. Bommer Industries, Inc.

d. Charnstrom, W. A. Company.

e. Florence Corporation; a Gibraltar Industries company.

f. Jayco Industries.

g. Jensen Mailboxes; SCC Architectural Building Products.

h. National Mailboxes; a division of NMHP, Inc.

i. Postal Products Unlimited, Inc.

j. Salsbury Industries.

k. Security Manufacturing Corporation.

l. <Insert manufacturer's name>.

3. Compartments: [Number and size as follows:] [As indicated on Drawings, of the following sizes:] [As indicated on Drawings.]

If retaining first option in "Compartments" Subparagraph above, also retain option in first four subparagraphs below or insert number of compartments to suit Project.

a. Type IV: A group of mail receptacles in single-column configuration with a rear-access cover, [three] <Insert number up to eight> mail compartments not less than 3 inches high by 12 inches wide by 15 inches deep (76 mm high by 305 mm wide by 381 mm deep), one outgoing mail collection compartment, and one parcel-locker compartment 15 inches high by 12 inches wide by 15 inches deep (381 mm high by 305 mm wide by 381 mm deep).

b. Type V: A group of mail receptacles in double-column configuration with a rear-access cover, [three] <Insert number up to 16> mail compartments not less than 3 inches high by 12 inches wide by 15 inches deep (76 mm high by 305 mm wide by 381 mm deep), one outgoing mail collection compartment, and [one] [two] parcel-locker compartment(s) [15 inches high by 12 inches wide by 15 inches deep (381 mm high by 305 mm wide by 381 mm deep)] [and] [18 inches high by 12 inches wide by 15 inches deep (457 mm high by 305 mm wide by 381 mm deep)].

c. Type VII (No Parcel-Locker Compartment): A group of mail receptacles in single-column configuration with a rear-access cover, [three] <Insert number up to nine> mail compartments not less than 3 inches high by 12 inches wide by 15 inches deep (76 mm high by 305 mm wide by 381 mm deep), and one outgoing mail collection compartment.

d. Type IX (No Parcel-Locker Compartment): A group of mail receptacles in double-column configuration with a rear-access cover, [three] <Insert number up to 19> mail compartments not less than 3 inches high by 12 inches wide by 15 inches deep (76 mm high by 305 mm wide by 381 mm deep), and one outgoing mail collection compartment.

Retain "Rear-Loading Cover" or "Rear-Loading Door" Subparagraph below.

4. Rear-Loading Cover: [Not required] [Lift-off rear cover fabricated from extruded aluminum or aluminum sheet, finished to match front of unit].

5. Rear-Loading Door: Side hinged, fabricated from extruded aluminum or aluminum sheet, finished to match front of unit; with full-length, stainless-steel piano hinge on one side and positive-latching mechanism on the other.

Retain option in "Compartment Doors" Subparagraph below to enable one compartment to serve as outgoing mail receptacle. Insert additional door requirements to suit Project.

6. Compartment Doors: Fabricated from extruded aluminum. Equip each with lock and tenant identification as required by USPS-STD-4C.[ One compartment with outgoing mail slot.]

a. Compartment-Door Locks: USPS-L-1172C; with three keys for each compartment door.

b. Parcel-Locker-Compartment-Door Locks: Two-key security system in which control key provides access to parcel-locker-compartment key, which opens compartment and is retained once opened.

7. Frames: Extruded aluminum or aluminum sheet; ganged and nested units, with cardholder and blank cards for tenant's identification behind each compartment.

8. Snap-on Trim: Fabricated from same material and finish as compartment doors.

9. Concealed Components and Mounting Frames: Aluminum or steel sheet.

10. Exposed Aluminum Finish:

a. Baked-Enamel or Powder-Coated Finish: [Silver] [Black] [Medium bronze] [Dark bronze] [Gold] [Color as indicated by manufacturer's designations] [Color as selected by Architect from manufacturer's full range] <Insert color>.

2.2 CLUSTER BOX UNITS (CBUs) <Insert drawing designation>

Copy this article and re-edit for each product.

Insert drawing designation. Use these designations on Drawings to identify each product.

A. Cluster Box Units (CBUs): USPS-B-1118G; consisting of multiple compartments enclosed within a freestanding, pedestal-mounted enclosure.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. American Eagle Mailbox; Division of Postal Products Unlimited, Inc.

b. Florence Corporation; a Gibraltar Industries company.

c. Jensen Mailboxes; SCC Architectural Building Products.

d. National Mailboxes; a division of NMHP, Inc.

e. Postal Products Unlimited, Inc.

f. Salsbury Industries.

g. <Insert manufacturer's name>.

B. Compartment Enclosure: Aluminum sheet with aluminum mounting pedestal and weather-protection hood, with the following number and size of compartments:

1. Type I: Eight compartments 12 inches wide by 3 inches high by 15 inches deep (305 mm wide by 76 mm high by 381 mm deep), one outgoing mail compartment 12 inches wide by 3 inches high by 15 inches deep (305 mm wide by 76 mm high by 381 mm deep), one parcel-locker compartment 12 inches wide by 10 inches high by 15 inches deep (305 mm wide by 254 mm high by 381 mm deep), and another parcel-locker compartment 12 inches wide by 13-1/2 inches high by 15 inches deep (305 mm wide by 343 mm high by 381 mm deep).

2. Type II: 12 compartments 12 inches wide by 3 inches high by 15 inches deep (305 mm wide by 76 mm high by 381 mm deep), one outgoing mail compartment 12 inches wide by 3 inches high by 15 inches deep (305 mm wide by 76 mm high by 381 mm deep), and one parcel-locker compartment 12 inches wide by 10 inches high by 15 inches deep (305 mm wide by 254 mm high by 381 mm deep).

3. Type III: 16 compartments 12 inches wide by 3 inches high by 15 inches deep (305 mm wide by 76 mm high by 381 mm deep), one outgoing mail compartment 12 inches wide by 3 inches high by 15 inches deep (305 mm wide by 76 mm high by 381 mm deep), one parcel-locker compartment 12 inches wide by 10 inches high by 15 inches deep (305 mm wide by 254 mm high by 381 mm deep), and another parcel-locker compartment 12 inches wide by 13-1/2 inches high by 15 inches deep (305 mm wide by 343 mm high by 381 mm deep).

4. Type IV: 13 compartments 12 inches wide by 4-3/4 inches high by 15 inches deep (305 mm wide by 121 mm high by 381 mm deep), one outgoing mail compartment 12 inches wide by 4-3/4 inches high by 15 inches deep (305 mm wide by 121 mm high by 381 mm deep), and one parcel-locker compartment 12 inches wide by 10 inches high by 15 inches deep (305 mm wide by 254 mm high by 381 mm deep).

C. Compartment Doors and Frames: One-piece extruded aluminum or aluminum sheet. Equip each compartment door with lock, tenant identification, and concealed, full-length, flush hinge on one side. Provide outgoing mail slot with weather protection flap.

1. Tenant Identification: Number [engraved into face] [applied into recess] of compartment door.

2. Compartment-Door Locks: USPS-L-1172C; with three keys for each compartment door.

3. Parcel-Locker-Compartment-Door Locks: Two-key security system in which control key provides access to parcel-locker-compartment key, which opens compartment and is retained once opened.

D. Pedestal: Aluminum, with same finish as compartment enclosure and attached with theft-resistant fasteners.

E. Exposed Aluminum Finish: Finish surfaces exposed to view with powder-coated finish in postal gray (light gray).

2.3 PARCEL LOCKERS

Copy paragraphs below and re-edit for each product.

Insert drawing designation. Use these designations on Drawings to identify each product.

A. Front-Loading Parcel Lockers, Recessed <Insert drawing designation>: USPS-STD-4C; consisting of single or multiple compartments enclosed within a larger enclosure of type indicated below.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. American Eagle Mailbox; Division of Postal Products Unlimited, Inc.

b. Bommer Industries, Inc.

c. Charnstrom, W. A. Company.

d. Florence Corporation; a Gibraltar Industries company.

e. Jayco Industries.

f. Jensen Mailboxes; SCC Architectural Building Products.

g. National Mailboxes; a division of NMHP, Inc.

h. Postal Products Unlimited, Inc.

i. Salsbury Industries.

j. Security Manufacturing Corporation.

k. <Insert manufacturer's name>.

3. Enclosure Type: Recessed.

Coordinate "Compartments" Subparagraph below with "Mail Receptacles" Article for USPS-STD-4C group types that include both mail and parcel-locker compartments.

4. Compartments: [Number and size as follows:] [As indicated on Drawings, of the following sizes:] [As indicated on Drawings.]

If retaining first option in "Compartments" Subparagraph above, retain number of compartments in second and third subparagraphs below to suit Project.

a. Type X, Parcel Only: Single parcel receptacle [15 inches high by 12 inches wide by 15 inches deep (381 mm high by 305 mm wide by 381 mm deep)] [18 inches high by 12 inches wide by 15 inches deep (457 mm high by 305 mm wide by 381 mm deep)] without a master door.

b. Type X, Parcel Only: A group of parcel receptacles in single-column configuration without a master door; [one] [two] compartment(s) 18 inches high by 12 inches wide by 15 inches deep ((457 mm high by 305 mm wide by 381 mm deep))[and] [one compartment 15 inches high by 12 inches wide by 15 inches deep (381 mm high by 305 mm wide by 381 mm deep)].

c. Type XI, Parcel Only: A group of parcel receptacles in single-column configuration with single master door prepared for master-door lock; [one] [two] [compartment(s) 15 inches high by 12 inches wide by 15 inches deep (381 mm high by 305 mm wide by 381 mm deep)] [and] [one] [two] [compartment(s) 18 inches high by 12 inches wide by 15 inches deep (457 mm high by 305 mm wide by 381 mm deep)].

Retain "Front-Loading Master Door" Subparagraph below for USPS-STD-4C parcel-locker Type XI configuration, which has a master door.

5. Front-Loading Master Door: Fabricated to hold compartment doors; prepared to receive master-door lock provided by local postmaster.

6. Compartment Doors and Frames: Fabricated from [same material and finish as adjacent mail receptacles] [extruded aluminum] [aluminum sheet] [metallic-coated steel sheet]. Equip each compartment door with lock; identification; and concealed, full-length, spring-loaded, flush hinge on right side.

a. Compartment Identification: Black, sequential numbers [engraved into] [stamped onto] recess in face of compartment door.

b. Compartment-Door Locks: Dual-lock security system in which master lock provides access to customer lock (USPS-L-1172C) and parcel-locker key opens compartment and is retained once opened.

7. Aluminum Finish:

a. Baked-Enamel or Powder-Coated Finish: [Silver] [Black] [Medium bronze] [Dark bronze] [Gold] [Color as indicated by manufacturer's designations] [Color as selected by Architect from manufacturer's full range] <Insert color>.

B. Rear-Loading Parcel Lockers, Recessed <Insert drawing designation>: USPS-STD-4C; consisting of single or multiple compartments enclosed within a recessed wall box.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. American Eagle Mailbox; Division of Postal Products Unlimited, Inc.

b. Bommer Industries, Inc.

c. Charnstrom, W. A. Company.

d. Florence Corporation; a Gibraltar Industries company.

e. Jayco Industries.

f. Jensen Mailboxes; SCC Architectural Building Products.

g. Postal Products Unlimited, Inc.

h. Salsbury Industries.

i. Security Manufacturing Corporation.

j. <Insert manufacturer's name>.

Coordinate "Compartments" Subparagraph below with "Mail Receptacles" Article for USPS-STD-4C group types that include both mail and parcel-locker compartments.

3. Compartments: [Number and size as follows:] [As indicated on Drawings, of the following sizes:] [As indicated on Drawings.]

a. Type XII, Parcel Only: A group of parcel receptacles in single-column configuration with a rear-access cover; [one] [two] [compartment(s) 15 inches high by 12 inches wide by 15 inches deep (381 mm high by 305 mm wide by 381 mm deep)] [and] [one] [two] [compartment(s) 18 inches high by 12 inches wide by 15 inches deep (457 mm high by 305 mm wide by 381 mm deep)].

4. Rear-Loading Cover: [Not required] [Lift-off rear cover fabricated from extruded aluminum or aluminum sheet, finished to match front of unit].

5. Rear-Loading Door: Side hinged, fabricated from extruded aluminum or aluminum sheet, finished to match front of unit; with full-length, stainless-steel piano hinge on one side and positive-latching mechanism on the other.

6. Compartment Doors and Frames: Fabricated from [same material and finish as adjacent mail receptacles] [extruded aluminum] [aluminum sheet] [metallic-coated steel sheet] [aluminum or metallic-coated steel sheet]. Equip each compartment door with lock; identification; and concealed, full-length, spring-loaded, flush hinge on one side.

a. Compartment Identification: Black, sequential numbers [engraved into] [stamped onto] recess in face of compartment door.

b. Compartment-Door Locks: Dual-lock security system in which master lock provides access to customer lock (USPS-L-1172C) and parcel-locker key opens compartment and is retained once opened.

7. Exposed Aluminum Finish:

a. Baked-Enamel or Powder-Coated Finish: [Silver] [Black] [Medium bronze] [Dark bronze] [Gold] [Color as indicated by manufacturer's designations] [Color as selected by Architect from manufacturer's full range] <Insert color>.

2.4 COLLECTION BOXES

Copy paragraphs below and re-edit for each product.

Insert drawing designation. Use these designations on Drawings to identify each product.

Revise first paragraph below if more than one compartment is needed. Manufacturers offer units with up to three compartments.

A. Collection Boxes <Insert drawing designation>: Consisting of single compartment with fire-resistant cushion bottom, enclosed within wall box, with [mail slot] [hopper door] to receive mail. Provide door for collecting mail from [front] [rear] of unit.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. American Eagle Mailbox; Division of Postal Products Unlimited, Inc.

b. Bommer Industries, Inc.

c. Charnstrom, W. A. Company.

d. Florence Corporation; a Gibraltar Industries company.

e. Jayco Industries.

f. Jensen Mailboxes; SCC Architectural Building Products.

g. National Mailboxes; a division of NMHP, Inc.

h. Postal Products Unlimited, Inc.

i. Salsbury Industries.

j. Security Manufacturing Corporation.

k. <Insert manufacturer's name>.

3. Mounting: [Recessed] [Semirecessed] [Surface mounted].

Retain one of two "Height" subparagraphs below.

4. Height: Sized to match height of [four] [five] [six] [seven] <Insert number> mail receptacles.

5. Height: [As indicated on Drawings] <Insert dimension>.

Retain "Front-Loading Compartment Doors and Frames" Subparagraph below for front-loading units.

6. Front-Loading Compartment Doors and Frames: Fabricated from 1/4-inch- (6-mm-) thick aluminum, with opening not less than 12 by 20 inches (305 by 508 mm) and not more than 18 by 30 inches (457 by 762 mm). Equip door with lock and concealed, full-length, flush hinge on one side.

a. Door Lock: Door prepared to receive lock provided by local postmaster.

b. Identification: Engrave face of compartment door with 1-inch- (25-mm-) high letters as follows: "U.S. MAIL LETTER BOX" on two lines at top or bottom of unit.

c. Door Style: [Set door within face frame] [Extend door full width and height of unit, with no exposed frame].

Retain "Rear-Loading Enclosure" or "Rear-Loading Door" Subparagraph below for rear-loading units.

7. Rear-Loading Enclosure: Lift-off rear cover fabricated from same material and finish as front of unit.

8. Rear-Loading Door: Side hinged, with opening not less than 12 by 20 inches (305 by 508 mm) and not more than 18 by 30 inches (457 by 762 mm), from same material and finish as front of unit; with full-length, stainless-steel piano hinge on one side and positive-latching mechanism on the other. Fabricate rear-loading door to remain open while mail is collected.

Retain "Mail Slot" or "Hopper Door" Subparagraph below.

9. Mail Slot: Fabricated from 1/4-inch- (6-mm-) thick aluminum, with 11-inch-wide by 1-1/4-inch- (279-mm-wide by 32-mm-) high opening, protected by inside hood and hinge flap, and with inside baffle to prevent removal of mail from box.

10. Hopper Door: Fabricated from 1/4-inch- (6-mm-) thick aluminum, with opening that allows a bundle measuring 6-1/2 inches wide by 11-1/2 inches long by 4 inches high (165 mm wide by 292 mm long by 102 mm high) to be deposited, and with inside baffle to prevent removal of mail from box. Equip door with door pull and concealed, full-length bottom hinge.

a. Identification: Engrave face of hopper door with 1-inch- (25-mm-) high letters as follows: "LETTERS AND LETTER MAIL TIED IN BUNDLES."

b. Door Style: [Set door within face frame] [Extend door full width and height of unit, with no exposed frame].

11. Exposed Materials:

a. Anodic Finish: [Clear] <Insert color>.

b. Baked-Enamel or Powder-Coated Finish: <Insert color>.

12. Concealed Components and Mounting Frames: Aluminum or steel sheet.

13. Schedule-Card Holder: Recessed or surface-mounted holder for pickup schedule card in center of bottom front portion of unit. Same material and finish as front of unit.

14. Mailbag Hooks: Two aluminum or stainless-steel hooks at exterior front edge of bottom of surface-mounted units, spaced 15 to 17-1/2 inches (381 to 445 mm) apart, for supporting mailbags.

15. Mailbag Rack: Internal rack system for supporting mailbags within unit.

2.5 ACCESSORIES

A. Key Keeper <Insert drawing designation>: Consisting of single compartment with door; interior compartment size not less than [4-3/4 inches wide by 2-1/4 inches high by 1-1/2 inches deep (121 mm wide by 57 mm high by 38 mm deep)] <Insert dimensions>, USPS approved.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. American Eagle Mailbox; Division of Postal Products Unlimited, Inc.

b. Bommer Industries, Inc.

c. Jayco Industries.

d. Jensen Mailboxes; SCC Architectural Building Products.

e. Florence Corporation; a Gibraltar Industries company.

f. Knox Company.

g. Postal Products Unlimited, Inc.

h. Salsbury Industries.

i. Security Manufacturing Corporation.

j. <Insert manufacturer's name>.

3. Mounting: [Recessed] [Surface mounted].

4. Style: Compartment door [set within face frame] [extending full width and height of unit, with no exposed frame].

5. Type of Operation: [Loose key in box] [Retractor reel with minimum 20-inch- (508-mm-) long chain] [Push-button, 24-V switch in box].

6. Door Lock: Door prepared to receive lock furnished by local postmaster.

7. Exposed Materials:

a. Anodic Finish: [Clear] <Insert color>.

b. Baked-Enamel or Powder-Coated Finish: <Insert color>.

2.6 FABRICATION

A. Form postal specialties to required shapes and sizes, with true lines and angles, square, rigid, and without warp, and with metal faces flat and free of dents or distortion. Make exposed metal edges and corners free of sharp edges and burrs and safe to touch. Fabricate doors of postal specialties to preclude binding, warping, or misalignment.

B. Preassemble postal specialties in shop to greatest extent possible to minimize field assembly.

C. Where dissimilar metals contact each other, protect against galvanic action by painting contact surfaces with bituminous coating or by applying other permanent separation as recommended by manufacturers of dissimilar metals.

PART 3 -  EXECUTION

3.1 INSTALLATION

A. Mail Receptacles: Install mail receptacles with center of tenant-door lock cylinders and bottom of compartments at the maximum and minimum heights above finished floor established by the USPS and manufacturer's written instructions.

B. Pedestal-Mounted Postal Specialties: Anchor units with 1/2-inch- (13-mm-) diameter, stainless-steel anchor bolts with hooked ends.

C. Collection Boxes: Install collection boxes with [centerline of mail slots] [handle of hopper doors] not more than 48 inches (1219 mm) above finished floor.

3.2 FIELD QUALITY CONTROL

A. Arrange for USPS personnel to examine and test postal specialties served by the USPS after they have been installed according to USPS regulations.

END OF SECTION 105500.13

	USPS-DELIVERY POSTAL SPECIALTIES
	105500.13 - 1



