Copyright 2012 AIA
MasterSpec Professional
02/12

Copyright 2012 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 111316 - LOADING DOCK SEALS AND SHELTERS
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section Includes:

1. Foam-pad dock seals.

2. Frame-type dock shelters.

3. Transparent-strip door curtains.

1.2 ACTION SUBMITTALS

A. Product Data: For each type of product.

B. Shop Drawings:

1. Include plans, elevations, sections, details, and attachments to other work.

C. Samples: For each exposed product and for each color and texture specified.

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

2.1 FOAM-PAD DOCK SEALS

A. General: Dock seals consisting of fabric-covered foam pads designed to compress 4 to 5 inches (102 to 127 mm) under pressure of truck body.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Beacon Industries, Inc.

b. Blue Giant Equipment Corporation.

c. Chalfant Sewing Fabricators, Inc.

d. DLM.

e. Fairborn U.S.A., Inc.

f. Hugger Dock Equipment Company; Division of Columbus Foam Products, Inc.

g. Kelley; 4Front Engineered Solutions, Inc.

h. McGuire; a division of Systems, Inc.

i. Nordock.

j. NOVA Technology International.

k. Pentalift Equipment Corporation.

l. Pioneer Dock Equipment.

m. Rite-Hite Holding Corporation.

n. Rotary Products Inc.

o. Serco; 4Front Engineered Solutions, Inc.

p. Super Seal Mfg. Ltd.

q. Vestil Manufacturing Corp.

r. <Insert manufacturer's name>.

Retain "Stationary Head Pad" or "Adjustable Head Pad" Paragraph below.

Retain fifth option in "Stationary Head Pad" Paragraph below if needed to reduce height of oversize door openings.

B. Stationary Head Pad: [8 inches (203 mm)] [12 inches (305 mm)] [18 inches (457 mm)] [24 inches (610 mm)] high and same depth as jamb pads[; beveled]; sized for opening width.

C. Adjustable Head Pad: [18 inches (457 mm)] [24 inches (610 mm)] [30 inches (762 mm)] high and same depth as jamb pads; sized for opening width; with manufacturer's standard hardware and tension spring or counterweight mechanism for adjusting pad height.

D. Jamb Pads: [Square] [Beveled; tapered to reduce opening width].

1. Nominal Size: [12 inches (305 mm) wide] [As indicated on Drawings] <Insert size> and sized for opening height.

E. Construction: Consisting of single- or double-ply, coated, fabric-covered, urethane-foam core with supporting frame.

Retain "Wood Support Frame" or "Steel Support Frame" Subparagraph below.

1. Wood Support Frame: Factory-painted[, pressure-treated] wood; with steel mounting hardware.

2. Steel Support Frame: Steel channel frame of manufacturer's standard weight, shape, and finish; with steel mounting hardware.

3. Tapered Side Panels: Taper side panels to angle required to accommodate sloped loading dock approach grades, and make sealing edge of dock shelter parallel to back edge of truck. Taper for [declined] [inclined] approach.

F. Materials:

Retain one of four "Cover Fabric" subparagraphs below.

1. Cover Fabric: Vinyl-coated nylon or polyester with minimum total weight of [22 oz./sq. yd. (746 g/sq. m)] [40 oz./sq. yd. (1356 g/sq. m)].

2. Cover Fabric: Neoprene-coated nylon with minimum total weight of [16 oz./sq. yd. (543 g/sq. m)] [40 oz./sq. yd. (1356 g/sq. m)] [45 oz./sq. yd. (1526 g/sq. m)].

3. Cover Fabric: Hypalon-coated nylon with minimum total weight of [16 oz./sq. yd. (543 g/sq. m)] [40 oz./sq. yd. (1356 g/sq. m)].

4. Cover Fabric: Manufacturer's proprietary cover fabric.

5. Fabric Color: [Black] [Green] [Blue] [Brown] [Tan] [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color>.

Retain "Guide Strips" or "Pleated Protectors" Subparagraph below if required.

6. Guide Strips: 4-inch- (102-mm-) wide, coated, nylon guide strips on jamb pads.

7. Pleated Protectors: On face of jamb pads of overlapping layers of coated fabric attached to base fabric; [4-inch (102-mm)] [8-inch (203-mm)] [16-inch (406-mm)] wear exposure.

8. Wood: DOC PS 20 dimension lumber, select structural grade, kiln dried.

9. Pressure-Treated Wood: DOC PS 20 dimension lumber, select structural grade, kiln dried, and pressure treated with waterborne preservatives to comply with AWPA U1; Use Category UC3.

a. Preservative Chemicals: Acceptable to authorities having jurisdiction and containing no arsenic or chromium.

G. Steel Finish: Hot-dip galvanize components to comply with the following:

1. ASTM A 123/A 123M for iron and steel support framing.

2. ASTM A 153/A 153M or ASTM F 2329 for iron and steel hardware and anchors.

2.2 FRAME-TYPE DOCK SHELTERS

A. General: Dock shelters designed to form a seal with sides and top of truck body while leaving entire width and height of truck's rear opening unobstructed.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Beacon Industries, Inc.

b. Chalfant Sewing Fabricators, Inc.

c. DLM.

d. Fairborn U.S.A., Inc.

e. Hugger Dock Equipment Company; Division of Columbus Foam Products, Inc.

f. Kelley; 4Front Engineered Solutions, Inc.

g. McGuire; a division of Systems, Inc.

h. Nordock.

i. NOVA Technology International.

j. Pentalift Equipment Corporation.

k. Pioneer Dock Equipment.

l. Rite-Hite Holding Corporation.

m. Rotary Products Inc.

n. Serco; 4Front Engineered Solutions, Inc.

o. Super Seal Mfg. Ltd.

p. Vestil Manufacturing Corp.

q. <Insert manufacturer's name>.

Retain "Rigid-Frame Type" or "Flexible-Frame Type" Paragraph below.

B. Rigid-Frame Type: Fabricated from [fabric-covered] [fiberglass] side and top panels attached to fixed supporting framework. Provide head and side curtains with built-in flexible stays, wind straps between head curtain and side frame, pleated protectors on head curtain, and a yellow aim patch on side curtains. Slope head frame from center for drainage. Provide replaceable, fabric-covered, tapered, foam-bottom pads and protective steel bumpers of size and type required for application shown.

C. Flexible-Frame Type: Fabricated from fabric-covered side and top panels attached to retractable supporting framework with independent spring-tension extension arms. Provide head and side curtains with built-in flexible stays, pleated protectors on head curtain, and a yellow aim patch on side curtains. Provide replaceable, fabric-covered, tapered, foam-bottom pads of size and type required for application shown.

D. Head-Pad Height: [12 inches (305 mm)] [18 inches (457 mm)] [24 inches (610 mm)] [30 inches (762 mm)].

E. Construction: Fabricate to sizes and shapes indicated or required to fit door-opening sizes shown, and allow for not less than 18 inches (457 mm) of truck-body penetration when truck is docked.

Retain "Wood Framework" or "Steel Framework" Subparagraph below.

1. Wood Framework: Factory painted, mechanically fastened together using nails and lag bolts or metal connectors to form a rigid assembly.

2. Steel Framework: Zinc-plated steel tubing of size and thickness standard with manufacturer, with joints welded.

Retain one of two "Top and Side Panels" subparagraphs below.

3. Top and Side Panels: White, translucent fiberglass, 0.045 inch (1.1 mm) thick, weighing 6 oz./sq. ft. (1831 g/sq. m).

4. Top and Side Panels: White, translucent vinyl, weighing 14 oz./sq. ft. (4272 g/sq. m).

Retain "Tapered Side Panels" Subparagraph below if loading dock approach grades require tapered side frames.

5. Tapered Side Panels: Taper side panels to angle required to accommodate sloped loading dock approach grades, and make sealing edge of dock shelter parallel to back edge of truck. Taper for [declined] [inclined] approach.

F. Materials:

Retain one of five "Cover Fabric" subparagraphs below.

1. Cover Fabric: Vinyl-coated nylon with minimum total weight of [22 oz./sq. yd. (746 g/sq. m)] [40 oz./sq. yd. (1356 g/sq. m)].

2. Cover Fabric: Polyurethane-coated nylon with minimum total weight of 25 oz./sq. yd. (848 g/sq. m).

3. Cover Fabric: Neoprene-coated nylon with minimum total weight of [16 oz./sq. yd. (543 g/sq. m)] [40 oz./sq. yd. (1356 g/sq. m)] [45 oz./sq. yd. (1526 g/sq. m)].

4. Cover Fabric: Hypalon-coated nylon with minimum total weight of [16 oz./sq. yd. (543 g/sq. m)] [40 oz./sq. yd. (1356 g/sq. m)].

5. Cover Fabric: Manufacturer's proprietary cover fabric.

6. Fabric Color: [Black] [Green] [Blue] [Brown] [Tan] [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color>.

7. Pleated Protectors: Overlapping layers of same fabric as cover.

G. Steel Finish: Hot-dip galvanize components to comply with the following:

1. ASTM A 123/A 123M for iron and steel support framing.

2. ASTM A 153/A 153M or ASTM F 2329 for iron and steel hardware and anchors.

H. Accessories:

1. Buffer flaps.

2. Bottom filler curtain.

3. Bottom seal pads.

2.3 TRANSPARENT-STRIP DOOR CURTAINS

A. General: Door curtains consisting of overlapping strips suspended from top of opening to form a sealed door curtain.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. American Floor Products Company, Inc.

b. Chalfant Sewing Fabricators, Inc.

c. Chase Doors.

d. Hugger Dock Equipment Company; Division of Columbus Foam Products, Inc.

e. Rotary Products Inc.

f. Super Seal Mfg. Ltd.

g. Verilon Vinyl.

h. Vestil Manufacturing Corp.

i. <Insert manufacturer's name>.

B. Strip Material: Curved, clear, transparent, extruded PVC. Fabricate strips for manufacturer's standard method of attachment to overhead mounting system indicated.

Retain "Standard Grade" or "Low-Temperature Grade" Subparagraph below.

1. Standard Grade: Designed to withstand temperature range of zero to plus 150 deg F (minus 18 to plus 66 deg C).

Product in "Low-Temperature Grade" Subparagraph below may be used for exterior applications but is intended for use only in interior openings and is designed to meet FDA requirements for food-handling industry.

2. Low-Temperature Grade: USDA accepted, designed to withstand temperature range of minus 30 to plus 150 deg F (minus 34 to plus 66 deg C).

Retain one of four "Strip Width and Thickness" subparagraphs below.

3. Strip Width and Thickness: 6 inches (152 mm) wide and 0.060 inch (1.5 mm) thick.

4. Strip Width and Thickness: 8 inches (203 mm) wide and 0.080 inch (2 mm) thick.

5. Strip Width and Thickness: 12 inches (305 mm) wide and 0.120 inch (3 mm) thick.

6. Strip Width and Thickness: 16 inches (406 mm) wide and 0.160 inch (4 mm) thick.

7. Overlap: [None] [One-third] [One-half] [Two-thirds] [Three-quarters] [Full].

Retain one of four mounting paragraphs below.

C. Header Mounting: Angle bolted or welded to opening lintel with permanently attached mounting pins and a steel-angle or -plate retaining strip attached to angle with wing nuts.

D. Wall Surface Mounting: Steel plate bolted to side of lintel with permanently attached, threaded, mounting pins and steel-angle or -plate retaining strip attached to plate with wing nuts.

E. Wall Surface Mounting: Steel pipe attached to side of lintel by winged-U-type suspension brackets.

F. Wall Surface Mounting: Rigid, vinyl, wall-mounting unit bolted to side of lintel above opening with rigid, vinyl retainer attached to unit with wing nuts.

G. Steel Finish: Hot-dip galvanize components to comply with the following:

1. ASTM A 123/A 123M for iron and steel support mounting.

2. ASTM A 153/A 153M or ASTM F 2329 for iron and steel hardware and anchors.

PART 3 -  EXECUTION

3.1 INSTALLATION

A. Dock Seals: Attach dock-seal support frames securely to building structure in proper relation to openings, dock bumpers, and dock levelers to ensure compression of dock seals when trucks are positioned against dock bumpers.

B. Dock Shelters: Attach dock shelters securely to building structure in proper relation to openings, dock bumpers, and dock levelers to ensure an effective seal of dock-shelter curtains with sides and top of truck body when trucks are positioned against dock bumpers.

C. After completing installation, inspect exposed factory finishes and repair damaged finishes.

END OF SECTION 111316

	LOADING DOCK SEALS AND SHELTERS
	111316 - 1



