Copyright 2012 AIA
MasterSpec Professional
02/12

Copyright 2012 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 111319 - STATIONARY LOADING DOCK EQUIPMENT
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section Includes:

1. Recessed dock levelers.

2. Edge-of-dock levelers.

3. Truck restraints.

1.2 ACTION SUBMITTALS

A. Product Data: For each type of product.

B. Shop Drawings: For stationary loading dock equipment.

1. Include plans, elevations, sections, details, and attachments to other work.

1.3 INFORMATIONAL SUBMITTALS

A. Product test reports.

B. Sample warranty.

1.4 CLOSEOUT SUBMITTALS

A. Operation and maintenance data.

1.5 WARRANTY

"Manufacturer's Special Warranty" Paragraph below is an example for dock levelers.

A. Manufacturer's Special Warranty: Manufacturer agrees to repair or replace dock levelers that fail in materials or workmanship within specified warranty period.

Verify available warranties and warranty periods for units and components.

1. Warranty Period for Structural Assembly: [10] <Insert number> years from date of Substantial Completion.

2. Warranty Period for Hydraulic System: [Five] <Insert number> years from date of Substantial Completion.

3. Warranty shall be for unlimited usage of leveler for the specified rated capacity over the term of the warranty.

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

2.1 PERFORMANCE REQUIREMENTS

A. Electrical Components, Devices, and Accessories: Listed and labeled as defined in NFPA 70.

2.2 RECESSED DOCK LEVELERS

A. General: Recessed, hinged-lip-type dock levelers for permanent installation in concrete pits preformed in the edge of loading platform.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Beacon Industries, Inc.

b. Blue Giant Equipment Corporation.

c. Chalfant Sewing Fabricators, Inc.

d. DLM.

e. Kelley; 4Front Engineered Solutions, Inc.

f. McGuire; a division of Systems, Inc.

g. Nordock.

h. NOVA Technology International.

i. Pentalift Equipment Corporation.

j. Pioneer Dock Equipment.

k. Power& a division of Systems, Inc.

l. Rite-Hite Holding Corporation.

m. Rotary Products Inc.

n. Serco; 4Front Engineered Solutions, Inc.

o. Vestil Manufacturing Corp.

p. <Insert manufacturer's name>.

B. Standard: Comply with MH 30.1.

C. Rated Capacity: Capable of supporting total gross load of <Insert load> without permanent deflection or distortion.

D. Platform: Not less than [3/16-inch- (5-mm-)] [1/4-inch- (6-mm-)] [3/8-inch- (9.5-mm-)] <Insert dimension> thick, nonskid steel plate.

1. Platform Size: [As indicated on Drawings] <Insert size>.

Retain second option in "Frame" Subparagraph below for clean-pit framing used in the food industry. Clean pits are designed for easy wash down. Verify availability with manufacturers.

2. Frame: [Manufacturer's standard] [Clean-pit type, designed to support leveler at sides of pit, with no supports at front of pit floor].

3. Toe Guards: Equip open sides of dock leveler over range indicated with metal toe guards for entire upper [operating] [working] range.

E. Hinged Lip: Not less than [1/2-inch- (13-mm-)] [5/8-inch- (16-mm-)] [3/4-inch- (19-mm-)] [1-inch- (25-mm-)] <Insert dimension> thick, nonskid steel plate.

1. Hinge: Full-width, piano-type hinge with heavy-wall hinge tube[ and grease fittings], with gussets on lip and ramp for support.

2. Safety Barrier Lip: Designed to protect material-handling equipment from an accidental fall from loading platform edge of the dock leveler when the leveler is not in use.

F. Function: Dock levelers shall compensate for differences in height between truck bed and loading platform.

1. Vertical Travel: Operating range above platform level of sufficient height to enable lip to extend and clear truck bed before contact with the following minimum working range:

a. Above Adjoining Platform: [12 inches (305 mm)] [18 inches (457 mm)] [As indicated on Drawings] <Insert dimension>.

b. Below Adjoining Platform: [12 inches (305 mm)] [14 inches (356 mm)] [As indicated on Drawings] <Insert dimension>.

Retain one of or both "Automatic Vertical Compensation" and "Automatic Lateral Compensation" subparagraphs below.

2. Automatic Vertical Compensation: Floating travel of ramp with lip extended and resting on truck bed shall compensate automatically for upward or downward movement of truck bed during loading and unloading.

3. Automatic Lateral Compensation: Tilting of ramp with lip extended and resting on truck bed shall compensate automatically for canted truck beds of up to 4 inches (102 mm) over width of ramp.

4. Lip Operation: Manufacturer's standard mechanism, which automatically extends and supports hinged lip on ramp edge with lip resting on truck bed over dock leveler's working range, allows lip to yield under impact of incoming truck and automatically retracts lip when truck departs.

First option in "Length of Lip Extension" Subparagraph below is standard. Third option may be needed for refrigerated or other special trucks with steps on back of tailgate.

a. Length of Lip Extension: [16 inches (406 mm)] [18 inches (457 mm)] [20 inches (508 mm)] [As indicated on Drawings] <Insert dimension>.

Retain "Automatic Ramp Return" Subparagraph below for hydraulic levelers.

5. Automatic Ramp Return: Automatic return of unloaded ramp, from raised or lowered positions to stored position, level with platform, as truck departs.

6. Interlock: Leveler does not operate while [overhead door is in closed position] [leveler night lock is engaged] [truck restraint is not engaged] [inflatable dock seal is not inflated] [and] [inflatable dock shelter is not inflated] <Insert equipment and condition>.

Retain one of four operating system paragraphs below.

G. Mechanical Operating System: Manual control; counterbalance and spring operation. Spring-operated raising and walk-down lowering of unloaded ramp. Equip leveler with an upward-biased-spring counterbalancing mechanism controlled by a hold-down device. Ramp raises to top limit of operating range by operating recessed control handle in ramp to disengage hold-down device. Ramp lowers below platform level with lip retracted by operating auxiliary, recessed control handle to release support legs.

1. Free-Fall Protection: Manufacturer's standard protection system to limit free fall of loaded ramps with front edge supported by truck bed.

H. Hydraulic Operating System: Electric control from a remote-control station; fully hydraulic operation. Electric-powered hydraulic raising and hydraulic lowering of ramp. Equip leveler with a packaged unit including a unitized, totally enclosed, nonventilated electric motor, pump, manifold reservoir, and valve assembly of proper size, type, and operation for capacity of leveler indicated. Include means for lowering ramp below platform level with lip retracted behind dock bumpers. Provide a hydraulic velocity fuse connected to main hydraulic cylinder to limit loaded ramp's free fall to not more than 3 inches (76 mm).

Retain "Remote-Control Station" or "Remote-Control Station with Emergency Stop" Subparagraph below and revise if additional control functions are required. Type 4 boxes are "watertight and dust tight - indoor and outdoor." Type 12 boxes are "industrial use, dust tight, and drip tight - indoor."

1. Remote-Control Station: [Weatherproof single] [Single]-button station of the constant-pressure type, enclosed in NEMA ICS 6, [Type 4] [Type 12] <Insert type> box. Ramp raises by depressing and holding button; ramp lowers at a controlled rate by releasing button.

2. Remote-Control Station with Emergency Stop: [Weatherproof multibutton] [Multibutton] control station with an UP button of the constant-pressure type and an emergency STOP button of the momentary-contact type, enclosed in NEMA ICS 6, [Type 4] [Type 12] <Insert type> box. Ramp raises by depressing and holding UP button; ramp lowers at a controlled rate by releasing UP button. All ramp movement stops, regardless of position of ramp or lip, by depressing STOP button. Normal operation resumes by engaging a manual reset button or by pulling out STOP button.

Retain "Dual-Panel Control Station" or "Master Panel" Subparagraph below with either remote-control station subparagraph above, or delete if not required.

a. Dual-Panel Control Station: Remote-control station for operating side-by-side dock levelers.

b. Master Panel: Control panel with integral fused disconnecting means for operating dock leveler, dock door, and truck restraints.

3. Independent Lip Operation: Electric-powered hydraulic raising and hydraulic lowering of lip, controlled independent of raising and lowering of ramp.

I. Electric Operating System: Electric control from a remote-control station; motorized operation. Electric activation for raising of ramp and automatic extending of lip. Equip leveler with a packaged unit including a unitized electric motor and shaft assembly of proper size, type, and operation for capacity of leveler indicated. Include means for lowering ramp below platform level with lip retracted behind dock bumpers.

Retain "Remote-Control Station" or "Remote-Control Station with Emergency Stop" Subparagraph below.

1. Remote-Control Station: [Weatherproof single] [Single]-button station of the constant-pressure type, enclosed in NEMA ICS 6, [Type 4] [Type 12] <Insert type> box. Ramp raises by depressing and holding button; ramp lowers at a controlled rate by releasing button.

2. Remote-Control Station with Emergency Stop: [Weatherproof multibutton] [Multibutton] control station with an UP button of the constant-pressure type and an emergency STOP button of the momentary-contact type, enclosed in NEMA ICS 6, [Type 4] [Type 12] <Insert type> box. Ramp raises by depressing and holding UP button; ramp lowers at a controlled rate by releasing UP button. All ramp movement stops, regardless of position of ramp or lip, by depressing STOP button. Normal operation resumes by engaging a manual reset button or by pulling out STOP button.

J. Air-Bag Operating System: Electric control from a remote-control station; pneumatic operation. High-volume, low-pressure lifting of ramp. Equip leveler with a packaged unit including a PVC-coated, reinforced polyester lifting bag and two-stage, single-speed electric fan of proper size, type, and operation for capacity of leveler indicated. Include dock-leveler supports controlled by release chain for lowering ramp below platform level without extending lip.

1. Remote-Control Station: [Weatherproof single] [Single]-button station of the constant-pressure type, enclosed in NEMA ICS 6, [Type 4] <Insert type> box. Ramp raises by depressing and holding button; ramp lowers at a controlled rate by releasing button.

K. Construction: Fabricate dock-leveler frame, platform supports, and lip supports from structural- or formed-steel shapes. Weld platform and hinged lip to supports. Fabricate entire assembly to withstand deformation during both operating and stored phases of service. Chamfer lip edge to minimize obstructing wheels of material-handling vehicles.

1. Cross-Traffic Support: Manufacturer's standard method of supporting ramp at platform level in stored position with lip retracted. Provide a means to release supports to allow ramp to descend below platform level.

2. Maintenance Strut: Integral strut to positively support ramp in up position during maintenance of dock leveler.

Retain "Integral Molded-Rubber Dock Bumpers" or "Integral Laminated-Tread Dock Bumpers" Paragraph below if bumpers are integral part of dock leveler and are not specified in Section 111313 "Loading Dock Bumpers."

L. Integral Molded-Rubber Dock Bumpers: Fabricated from [4-inch- (102-mm-)] [6-inch- (152-mm-)] <Insert dimension> thick, heavy molded-rubber compound reinforced with nylon, rayon, or polyester cord; with Type A Shore durometer hardness of 80, plus or minus 5, when tested according to ASTM D 2240. Provide two dock bumpers for each recessed dock leveler, attached to face of loading dock with expansion bolts.

M. Integral Laminated-Tread Dock Bumpers: Fabricated from [4-1/2-inch- (114-mm-)] [6-inch- (152-mm-)] <Insert dimension> thick, multiple, uniformly thick plies cut from fabric-reinforced rubber tires. Laminate plies under pressure on not less than two 3/4-inch- (19-mm-) diameter, steel supporting rods that are welded at one end to 1/4-inch- (6-mm-) thick, structural-steel end angle and secured with a nut and angle at the other end. Fabricate angles with predrilled anchor holes and sized to provide not less than 1 inch (25 mm) of tread plies extending beyond the face of closure angles.

N. Materials:

1. Steel Plates, Shapes, and Bars: ASTM 36/A 36M.

2. Rolled-Steel Floor Plate: ASTM A 786/A 786M, rolled from steel plate complying with ASTM A 572/A 572M, Grade 55 (380).

3. Steel Tubing: ASTM A 500/A 500M, cold formed.

4. Welding Rods and Bare Electrodes: Select according to AWS specifications for metal alloy welded.

O. Dock-Leveler Finish: Manufacturer's standard finish. Paint toe guards to comply with ANSI Z535.1.

P. Accessories:

Retain "Curb Angles" Subparagraph below if curb angles are required to be furnished and installed by equipment Installer and are not specified in Section 055000 "Metal Fabrications."

1. Curb Angles: 3-by-3-by-1/4-inch (76-by-76-by-6-mm) galvanized-steel curb angles for edge of recessed leveler pit, with 1/2-inch- (13-mm-) diameter by 6-inch- (152-mm-) long concrete anchors welded to angle at 6 inches (152 mm) o.c.

2. Self-Forming Pan: Manufacturer's standard prefabricated, self-forming steel form system for poured-in-place construction of concrete pit.

Retain "Night Locks" Subparagraph below if buildings are susceptible to theft.

3. Night Locks: Manufacturer's standard means to prevent extending lip and lowering ramp when overhead doors are locked.

4. Side and rear weatherseals.

5. Foam insulation under dock-leveler platform.

6. [Abrasive skid-resistant] [Smooth] surface.

2.3 EDGE-OF-DOCK LEVELERS

A. General: Surface-mounted, hinged-lip-type, edge-of-dock levelers designed for permanent installation on face of loading dock platform.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Beacon Industries, Inc.

b. Blue Giant Equipment Corporation.

c. Bluff Manufacturing, Inc.

d. Chalfant Sewing Fabricators, Inc.

e. DLM.

f. Kelley; 4Front Engineered Solutions, Inc.

g. McGuire; a division of Systems, Inc.

h. Nordock.

i. NOVA Technology International.

j. Pentalift Equipment Corporation.

k. Pioneer Dock Equipment.

l. Power& a division of Systems, Inc.

m. Rotary Products Inc.

n. Serco; 4Front Engineered Solutions, Inc.

o. Vestil Manufacturing Corp.

p. <Insert manufacturer's name>.

B. Standard: Comply with MH 30.1[, except for structural testing to establish rated capacity].

C. Rated Capacity: Capable of supporting total gross load of <Insert load> without permanent deflection or distortion.

D. Platform Ramp Width: [66 inches (1676 mm)] [72 inches (1829 mm)] [78 inches (1981 mm)] [84 inches (2134 mm)] [As indicated on Drawings] <Insert dimension>.

E. Hinged Lip: Not less than [3/8-inch- (9.5-mm-)] [7/16-inch- (11-mm-)] [1/2-inch- (13-mm-)] <Insert dimension> thick, nonskid steel tread plate.

1. Hinge: Full-width, piano-type hinge with heavy-wall hinge tube[ and grease fittings], with gussets on lip and ramp for support.

F. Function: Dock levelers shall compensate for differences in height between truck bed and loading platform.

1. Vertical Travel: Operating range above platform level of sufficient height to enable lip to extend and clear truck bed before contact with the following minimum working range:

a. Above Adjoining Platform: [5 inches (127 mm)] [6 inches (152 mm)] [As indicated on Drawings] <Insert dimension>.

b. Below Adjoining Platform: [5 inches (127 mm)] [As indicated on Drawings] <Insert dimension>.

Retain one of or both "Automatic Vertical Compensation" or "Automatic Lateral Compensation" Subparagraph below.

2. Automatic Vertical Compensation: Floating travel of ramp with lip extended and resting on truck bed shall compensate automatically for upward or downward movement of truck bed during loading and unloading.

3. Automatic Lateral Compensation: Tilting of ramp with lip extended and resting on truck bed shall compensate automatically for canted truck beds of up to 3 inches (76 mm) over width of ramp.

4. Lip Operation: Manufacturer's standard mechanism, which automatically extends and supports hinged lip on ramp edge with lip resting on truck bed over dock leveler's working range, allows lip to yield under impact of incoming truck and automatically retracts lip when truck departs.

First option in "Length of Lip Extension" Subparagraph below is standard.

a. Length of Lip Extension: [15 inches (381 mm)] [17 inches (432 mm)] [As indicated on Drawings] <Insert dimension>.

Retain "Automatic Ramp Return" Subparagraph below for hydraulic levelers.

5. Automatic Ramp Return: Automatic return of unloaded ramp, from raised or lowered positions to stored position, level with platform, as truck departs. Leveler shall be capable of retracting to stored position while truck is at loading dock.

Retain "Mechanical Operation System" or "Hydraulic Operating System" Paragraph below.

G. Mechanical Operating System: Manual control; counterbalance and spring operation. Spring-operated raising and walk-down lowering of unloaded ramp. Equip leveler with a torsion-spring counterbalancing mechanism controlled by a hold-down device.

Retain "Lever Handle" or "Removable Lifting Handle" Subparagraph below.

1. Lever Handle: Self-storing lever handle for raising unloaded ramp with minimal lifting force by pulling lever back to extend lip and pushing lever forward to lower ramp and lip.

2. Removable Lifting Handle: For raising unloaded ramp by lifting action.

H. Hydraulic Operating System: Electric control from a remote-control station; fully hydraulic operation. Electric-powered hydraulic raising and hydraulic lowering of ramp. Equip leveler with a packaged unit including a unitized, totally enclosed, nonventilated electric motor, pump, manifold reservoir, and valve assembly of proper size, type, and operation for capacity of leveler indicated. Provide a hydraulic velocity fuse connected to main hydraulic cylinder to limit loaded ramp's free fall to not more than 3 inches (76 mm).

1. Remote-Control Station: [Weatherproof single] [Single]-button station of the constant-pressure type, enclosed in NEMA ICS 6, [Type 12] <Insert type> box. Ramp and lip raise to vertical position and extend to truck bed by depressing and holding button.

Construction of supports in "Construction" Paragraph below varies between mechanical and hydraulic units and for different rated capacities.

I. Construction: Fabricate dock-leveler frame, platform supports, and lip supports from structural- and formed-steel shapes. Weld platform and hinged lip to supports. Fabricate entire assembly to withstand deformation during both operating and stored phases of service. Chamfer lip edge to minimize obstructing wheels of material-handling vehicles.

1. Cross-Traffic Support: Manufacturer's standard method of supporting ramp at platform level in stored position with lip retracted. Provide a means to release supports to allow ramp to descend below platform level.

2. Maintenance Strut: Integral strut to positively support ramp in up position during maintenance of dock leveler.

Retain "Integral Molded-Rubber Dock Bumpers" or "Integral Laminated-Tread Dock Bumpers" Paragraph below.

J. Integral Molded-Rubber Dock Bumpers: Fabricated from [4-inch- (102-mm-)] [6-inch- (152-mm-)] <Insert dimension> thick, heavy molded-rubber compound reinforced with nylon, rayon, or polyester cord; with Type A Shore durometer hardness of 80, plus or minus 5, when tested according to ASTM D 2240. Provide two dock bumpers for each recessed dock leveler, attached to face of loading dock with expansion bolts.

K. Integral Laminated-Tread Dock Bumper: Fabricated from [4-1/2-inch- (114-mm-)] [6-inch- (152-mm-)] <Insert dimension> thick, multiple, uniformly thick plies cut from fabric-reinforced rubber tires. Laminate plies under pressure on not less than two 3/4-inch- (19-mm-) diameter, steel supporting rods that are welded at one end to 1/4-inch- (6-mm-) thick, structural-steel end angle and secured with a nut and angle at the other end. Fabricate angles with predrilled anchor holes and sized to provide not less than 1 inch (25 mm) of tread plies extending beyond the face of closure angles.

L. Materials:

1. Steel Plates, Shapes, and Bars: ASTM 36/A 36M.

2. Rolled-Steel Floor Plate: ASTM A 786/A 786M, rolled from steel plate complying with ASTM A 572/A 572M, Grade 55 (380).

3. Steel Tubing: ASTM A 500/A 500M, cold formed.

4. Welding Rods and Bare Electrodes: Select according to AWS specifications for metal alloy welded.

M. Dock-Leveler Finish: Manufacturer's standard finish.

N. Accessories:

1. Self-forming pan.

2. Cast-in-place design.

3. Run-off guards.

4. Ramp approach plate.

2.4 TRUCK RESTRAINTS

A. General: Manufacturer's standard device designed to engage truck's rear-impact guard and hold truck at loading dock.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following [provide products by one of the following]] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Beacon Industries, Inc.

b. Blue Giant Equipment Corporation.

c. Chalfant Sewing Fabricators, Inc.

d. DLM.

e. Kelley; 4Front Engineered Solutions, Inc.

f. McGuire; a division of Systems, Inc.

g. Nordock.

h. NOVA Technology International.

i. Pentalift Equipment Corporation.

j. Pioneer Dock Equipment.

k. Power& a division of Systems, Inc.

l. Rite-Hite Holding Corporation.

m. Rotary Products Inc.

n. Serco; 4Front Engineered Solutions, Inc.

o. Vestil Manufacturing Corp.

p. <Insert manufacturer's name>.

B. Standard: Comply with MH 30.3.

C. Rated Capacity: Capable of supporting total gross load of <Insert load> without permanent deflection or distortion.

D. Operating Range: Capable of restraining rear-impact guards within a range from:

1. Vertical: [12 inches (305 mm)] [30 inches (762 mm)] [As indicated on Drawings] <Insert dimension> above driveway.

2. Horizontal: [12 inches (305 mm)] [As indicated on Drawings] <Insert dimension> in front of dock bumpers.

Retain "Power Operating System" or "Mechanical Operation System" Paragraph below.

E. Power Operating System: Manufacturer's standard electromechanical or hydraulic unit.

1. Remote-Control Station: Single-button station of the constant-pressure type, enclosed in NEMA ICS 6, [Type 12] <Insert type> box. Restraint is engaged by depressing and holding button; restraint is released by releasing button.

2. Interlock: Leveler does not operate while truck restraint is not engaged.

F. Mechanical Operating System: Restraint operates by use of a lifting rod or hook to raise engagement device.

G. Rear-Impact-Guard Sensor: Detects presence of rear-impact guard[ and automatically returns to stored position if rear-impact guard is not engaged].

H. Caution Signs: Exterior, surface mounted; designed to inform both dock attendant and truck driver; with sign copy as follows. Provide one sign at each truck-restraint location.

1. Sign Copy in Forward and Reverse Text: [Manufacturer's standard text permitting truck movement with green light] <Insert text>.

2. Interior Sign Copy: [Manufacturer's standard text permitting truck movement with green light] <Insert text>.

I. Light-Communication System: Red and green illuminated signal-light sets, with lens approximately 4 inches (102 mm) in diameter, designed to indicate status to both dock attendant and truck driver. Equip system with steel control panel located at interior of dock that [includes illuminated lights indicating] [indicates] status of exterior signal lights. Provide signal-light set and control panel at each location indicated for light-communication system. Enclose exterior signal-light sets in steel or plastic housing with sunshade.

1. Manual Operation: System is activated by push button or switch located on [interior] [truck-restraint] control panel.

2. Automatic Operation: System is activated automatically by [limit switch] [photoelectric sensor] [magnetic switch] mounted on overhead door track. Provide on-off switch located on [light-communication system] [truck-restraint] control panel.

3. Automatic Operation: System is activated automatically when device engages rear-impact guard. Provide on-off switch located on truck-restraint control panel.

4. Mounting: [Wall] [Driveway] [Pit].

J. Alarm: [Audible] [and] [visual] system indicating that rear-impact guard is not engaged, with manual reset.

K. Materials:

1. Steel Plates, Shapes, and Bars: ASTM 36/A 36M.

2. Rolled-Steel Floor Plate: ASTM A 786/A 786M, rolled from steel plate complying with ASTM A 572/A 572M, Grade 55 (380).

3. Steel Tubing: ASTM A 500/A 500M, cold formed.

4. Welding Rods and Bare Electrodes: Select according to AWS specifications for metal alloy welded.

L. Truck-Restraint Finish: Manufacturer's standard finish.

M. Accessories: [Interlock to dock leveler] [Key switch].

2.5 FINISH REQUIREMENTS

A. Galvanizing: Hot-dip galvanize components to comply with the following:

1. ASTM A 123/A 123M for iron and steel loading dock equipment.

2. ASTM A 153/A 153M or ASTM F 2329 for iron and steel hardware for loading dock equipment.

PART 3 -  EXECUTION

3.1 INSTALLATION

A. Recessed Dock Levelers: Attach dock levelers securely to loading dock platform, flush with adjacent loading dock surfaces and square to recessed pit.

B. Edge-of-Dock Levelers: Attach dock levelers to loading dock platform in a manner that complies with requirements indicated for arrangement and position relative to top of platform.

1. Weld anchor holes in contact with continuous embedded loading dock edge channel. Weld or bolt bumper blocks to face of loading dock.

C. Truck Restraints: Attach truck restraints in a manner that complies with requirements for arrangement and height required for device to engage vehicle rear-impact guard.[ Interconnect control panel and signals with dock leveler.]

Retain one of four subparagraphs below.

1. Wall-Mounted Units: Weld truck restraints to steel [curb angle] [edge channel] [mounting plate] embedded in loading dock edge.

2. Wall-Mounted Units: Anchor truck restraints to face of loading dock with expansion anchors and bolts.

3. Driveway-Mounted Units: Anchor truck restraints to driveway with expansion anchors and bolts.

4. Pit-Mounted Units: Anchor truck restraints to concrete pit with expansion anchors and bolts.

D. Adjust loading dock equipment to function smoothly and safely, and lubricate as recommended by manufacturer.

E. Test dock levelers for vertical travel within operating range indicated.

F. After completing installation of exposed, factory-finished loading dock equipment, inspect exposed finishes and repair damaged finishes.

3.2 DEMONSTRATION

A. [Engage a factory-authorized service representative to train] [Train] Owner's maintenance personnel to adjust, operate, and maintain loading dock equipment.

END OF SECTION 111319

	STATIONARY LOADING DOCK EQUIPMENT
	111319 - 1



