Copyright 2012 AIA
MasterSpec Professional
02/12

Copyright 2012 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 111323 - PORTABLE DOCK EQUIPMENT
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section includes dock lifts (scissors lifts).

1.2 ACTION SUBMITTALS

A. Product Data: For each type of product.

B. Shop Drawings: For portable dock equipment.

1. Include plans, elevations, sections, details, and attachments to other work.

1.3 INFORMATIONAL SUBMITTALS

A. Product test reports.

1.4 CLOSEOUT SUBMITTALS

A. Operation and maintenance data.

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

2.1 PERFORMANCE REQUIREMENTS

A. Electrical Components, Devices, and Accessories: Listed and labeled as defined in NFPA 70, by a qualified testing agency, and marked for intended location and application.

2.2 DOCK LIFTS

A. General: Built-in, scissors-type, single-leg, hydraulic dock lift of capacity, size, and construction indicated; complete with controls, safety devices, and accessories required.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Advance Lifts, Inc.

b. Autoquip Corporation.

c. Beacon Industries, Inc.

d. Blue Giant Equipment Corporation.

e. ECOA Industrial Products, Inc.

f. Kelley; 4Front Engineered Solutions, Inc.

g. Material Flow & Conveyor Systems, Inc.

h. Pentalift Equipment Corporation.

i. Vestil Manufacturing Corp.

B. Standard: MH 29.1.

C. Rated Capacity: Lifting capacity of not less than [8000 lb (3629 kg) with 6500-lb (2948-kg)] [indicated on Drawings] <Insert load> axle load at ends and [5000-lb (2268-kg)] [indicated on Drawings] <Insert load> axle load at sides.

D. Platform: [Nonskid, safety-tread] [Smooth-surface] heavy steel deck plate.

1. Platform Size: [As indicated on Drawings] <Insert size>.

2. Platform Guarding: [Bevel toe guards] [Toe sensor] [Indicator bar] [Skirts] [Enclosure] to comply with requirements in MH 29.1.

3. [Removable] [Fixed] Handrails: Equip lift with handrails on two sides of platform with a single, removable chain across each end. Provide handrails not less than 39 inches (991 mm) high with midrail and 4-inch- (102-mm-) high kick plate at bottom.[ Mount rail sockets flush with platform surface.]

E. Bridge: [Nonskid, safety-tread steel] [High-tensile aluminum] plate.

1. Hinged Bridge: Hinged, throw-over bridge bolted to full-length, heavy-duty, piano-type hinge welded to toe guard at end of platform. Provide bridge complete with heavy-duty lifting chains. Chamfer edge of bridge to minimize obstructing wheels of material-handling vehicles.

2. Size: [18 inches (457 mm) long by 60 inches (1524 mm) wide] [18 inches (457 mm) long by 72 inches (1829 mm) wide] [As indicated on Drawings] <Insert size>.

3. Locations: [Ends] [Sides] [As indicated on Drawings].

F. Function: Dock lifts shall compensate for differences in height between truck bed and loading platform.

"Vertical Travel" Subparagraph below is an example only.

1. Vertical Travel: Maximum of [60 inches (1524 mm)] <Insert dimension> from a lowered height of [12 inches (305 mm)] <Insert dimension> for a total raised height of [72 inches (1829 mm)] <Insert dimension>.

2. Travel Speed: Nominal raising speed of [8 fpm (0.04 m/s)] [10 fpm (0.05 m/s)] [12 fpm (0.06 m/s)] <Insert speed>.

Retain "Vertical Travel" and "Travel Speed" subparagraphs above, or delete both and retain "Vertical Travel and Travel Speed" Subparagraph below.

3. Vertical Travel and Travel Speed: As indicated on Drawings.

4. Hinged Throw-Over Bridge Operation: [Manual] [Manual-assist bridge winch] [Automatic powered].

G. Hydraulic Operating System: Self-contained, electric, hydraulic power unit for raising and lowering lift; of size, type, and operation needed for capacity of lift indicated; controlled from a remotely located push-button station.

1. Power Unit: Consisting of continuous-duty motor, high-pressure gear pump, valve manifold, oil-line filters, and oil reservoir.

a. Equip manifold with relief valve, check valve, pressure-compensated flow-control valve, and solenoid valve and with provisions for lowering lift manually if power fails.

b. Equip reservoir, valve manifold, and pressure line with oil-line filters.

2. Cylinders: Equip lift with not less than two heavy-duty, high-pressure, hydraulic, ram-type cylinders. Rams shall be manufacturer's standard, either direct-displacement plunger or rod-and-piston type with positive internal stops. Cylinder rods shall be chrome plated and polished.

a. Rate of Descent Protection: Pressure-compensated flow control or hydraulic velocity fuse to limit down speed for each cylinder.

Type 12 boxes are "industrial use, dust tight, and drip tight - indoor."

3. Remote-Control Station: Multibutton control station of the constant-pressure type with UP and DOWN push buttons. Controller shall consist of magnetic motor starter with three-pole adjustable overloads and 24-V control transformer with 4-A, fused secondary prewired to terminal strips and enclosed in NEMA ICS 6, [Type 12] <Insert type> box.

a. Upper-Travel-Limit Switch: Equip unit with manufacturer's standard, adjustable, upper-travel-limit switch.

H. Construction: Fabricate lift from structural-steel shapes rigidly welded and reinforced for maximum strength, safety, and stability. Design assembly to withstand deformation during both operating and stored phases of service. Provide mounting brackets and removable lifting eyes for ease of installation.

1. Scissors Mechanism: Fabricate leg members from heavy, steel-formed tube or plate members to provide maximum strength and rigidity.

2. Scissors Configuration: [Single leg] [Multiple width] [Multiple length].

3. Bearings: Pivot points with permanently lubricated antifriction bushings or sealed ball bearings for minimum maintenance.

4. Maintenance Leg: Removable, safety maintenance leg or hinged, safety maintenance bars.

5. Mounting: [Surface] [Pit].

I. Materials:

1. Steel Plates, Shapes, and Bars: ASTM 36/A 36M.

2. Rolled-Steel Floor Plate: ASTM A 786/A 786M, rolled from steel plate complying with ASTM A 572/A 572M, Grade 55 (380).

3. Steel Tubing: ASTM A 500/A 500M, cold formed.

J. Finish:

1. Toe Guards: Paint to comply with ANSI Z535.1.

2. Galvanizing: Hot-dip galvanize components to comply with the following:

a. ASTM A 123/A 123M for iron and steel portable dock equipment.

b. ASTM A 153/A 153M or ASTM F 2329 for iron and steel hardware for portable dock equipment.

PART 3 -  EXECUTION

3.1 INSTALLATION

A. General: Install portable dock equipment as required for a complete installation.

Retain "Dock Lifts" Paragraph below if lifts are to be fixed in place.

B. Dock Lifts: Attach dock lifts securely to [loading platform] [floor of recessed pit] [surface of driveway].

C. Adjust portable dock equipment to function smoothly and safely, and lubricate as recommended by manufacturer.

D. Test lifts for vertical travel within operating range indicated.

E. After completing installation of exposed, factory-finished portable dock equipment, inspect exposed finishes and repair damaged finishes.

3.2 DEMONSTRATION

A. [Engage a factory-authorized service representative to train] [Train] Owner's maintenance personnel to adjust, operate, and maintain portable dock equipment.

END OF SECTION 111323

	PORTABLE DOCK EQUIPMENT
	111323 - 1



