Copyright 2012 AIA
MasterSpec Professional
05/12

Copyright 2012 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 118226 - FACILITY WASTE COMPACTORS
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. This Section includes waste compactors.

1.2 ACTION SUBMITTALS

A. Product Data: For each type of product indicated.

B. Shop Drawings: For each installation and for special components not dimensioned or detailed in manufacturer's product data. Include plans, elevations, sections, details, and attachments to other work.

Retain first two subparagraphs below for chute-fed compactors.

1. Dimensions locating chutes that interface with waste compactors.

2. Location and installation details of automatic sprinkler in hopper of each chute-fed compactor.

3. Equipment access points and required space for equipment service and operation.

1.3 INFORMATIONAL SUBMITTALS

A. Product certificates.

B. Field quality-control reports.

1.4 CLOSEOUT SUBMITTALS

A. Operation and maintenance data.

1.5 QUALITY ASSURANCE

A. Installer Qualifications: Manufacturer's authorized representative who is trained and approved for installation and maintenance of units required for this Project.

Generally retain option in first paragraph below; annexes to ANSI Z245.21 are informative, not mandatory unless specified. See Evaluations.

B. Waste-Compactor Standards: ANSI Z245.21[ including annexes] and NFPA 82.

C. Waste-Container Standards: ANSI Z245.30 and ANSI Z245.60.

1.6 MAINTENANCE SERVICE

Consider deleting this article for light or residential use; usually retain for critical units.

A. Initial Maintenance Service: Beginning at Substantial Completion, provide [12] <Insert number> months' full maintenance by skilled employees of waste-compactor Installer. Include [monthly] <Insert frequency> preventive maintenance, repair, or replacement of worn or defective components, lubrication, cleaning, and adjusting as required for proper waste-compactor operation at rated speed and capacity. Provide parts and supplies the same as those used in the manufacture and installation of original equipment.

PART 2 -  PRODUCTS

2.1 WASTE COMPACTORS

Copy first paragraph below and re-edit for each product.

Insert number to complete drawing designation for each product required. Use these designations on Drawings to identify each product.

First five options in first paragraph are the most common types of compactors; insert other type descriptions to suit Project. See Evaluations.

A. Waste Compactor <Insert drawing designation>: Manufacturer's standard [stationary-horizontal] [self-contained horizontal] [combination-container] [vertical] [pivoting-ram] <Insert type>-type stationary compactor, complying with requirements[, liquidtight], and with components, options, and accessories needed to provide a complete, functional system.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of first two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Chicago Trashpacker Company, LLC.

b. Galbreath, Inc.; a Wastequip company.

c. Harmony Enterprises, Inc.

d. Holt Specialty Equipment, Inc.; a Wastequip company.

e. J. V. Manufacturing, Inc.

f. K-PAC Equipment; Division of Krause Corporation.

g. Marathon Equipment Company; a Dover company.

h. Precision Machinery Systems, Inc.

i. PTR Baler & Compactor Company.

j. Rudco Products, Inc.

k. Sebright Products Inc.

l. SP Industries, Inc.

m. Wastequip, Inc.

n. Western Chutes; Division of Buchanan Company, Inc.

o. Wilkinson Hi-Rise.

p. <Insert manufacturer's name>.

Values in subparagraphs below vary with manufacturer, type of compactor, and model.

3. WASTEC-Rated Size (Volume): Minimum [0.14 cu. yd. (0.11 cu. m)] [1.00 cu. yd. (0.77 cu. m)] [1.50 cu. yd. (1.15 cu. m)] [2.00 cu. yd. (1.53 cu. m)] [3.50 cu. yd. (2.68 cu. m)] [5.00 cu. yd. (3.82 cu. m)] [7.50 cu. yd. (5.73 cu. m)] [10.00 cu. yd. (7.65 cu. m)] <Insert volume>.

4. Clear Top Opening (Length by Width): Minimum [20 by 28 inches (508 by 711 mm)] [24 by 36 inches (610 by 914 mm)] [30 by 48 inches (762 by 1219 mm)] [60 by 48 inches (1524 by 1219 mm)] [108 by 72 inches (2743 by 1829 mm)] <Insert dimensions>.

5. Scale Weight: Maximum [2500 lb (1134 kg)] [6000 lb (2722 kg)] [12,000 lb (5443 kg)] [20,000 lb (9072 kg)] <Insert value>.

6. Motor Size: [3] [10] [15] [20] [30] [50] <Insert number> hp.

Retain first subparagraph below to suit Project. Consult manufacturer for electrical requirements and availability and coordinate with Project electrical engineer. Retain 1 phase if retaining 120 V.

7. Electrical Power Supply: [120] [208] [240] [480] <Insert value> V, [1] [3] phase, 60 Hz.

Some manufacturers offer as many as 20 standard colors; consult manufacturer for availability.

8. Finish: [Manufacturer's standard] [Manufacturer's standard primer for field painting] <Insert requirement>.

a. Color: [White] [Black] [Gray] [Dark green] [Yellow] [As selected by Architect from manufacturer's full range] <Insert color>.

9. <Insert requirement>.

Retain paragraph below, if required, only for containers that separate from the waste compactor. Multiple containers may be used for storage until pickup and to separate waste for recycling purposes.

B. Number of Extra Storage Containers: [One] [Two] <Insert number>.

2.2 FABRICATION

Retain paragraph below for liquidtight compactors intended for wet waste.

A. Fabricate liquidtight compactor baffles to stop liquid from leaking out.

PART 3 -  EXECUTION

3.1 INSTALLATION

Generally retain option in first paragraph below; annexes to ANSI Z245.21 are informative, not mandatory unless specified. See Evaluations.

A. Install each waste compactor according to manufacturer's written instructions, ANSI Z245.2, and ANSI Z245.21[ including annexes].

Retain paragraph below for chute-fed compactors.

B. Install automatic sprinkler in hopper of each chute-fed compactor according to NFPA 82.

3.2 FIELD QUALITY CONTROL

Retain first paragraph below to require Contractor to perform tests and inspections.

A. Perform tests and inspections.

Retain subparagraph below to require a factory-authorized service representative to assist Contractor with inspections, tests, and adjustments.

1. Manufacturer's Field Service: Engage a factory-authorized service representative to inspect components, assemblies, and equipment installations, including connections, and to assist in testing.

Retain first paragraph below to describe tests and inspections to be performed.

B. Tests and Inspections:

1. Perform installation and startup checks according to manufacturer's written instructions.

2. Test and adjust controls, alarms, and safeties. Replace damaged and malfunctioning controls and equipment.

See Section 014000 "Quality Requirements" for retesting and reinspecting requirements and Section 017300 "Execution" for requirements for correcting the Work.

C. A waste compactor will be considered defective if it does not pass tests and inspections.

D. Prepare test and inspection reports.

3.3 DEMONSTRATION

A. Engage a factory-authorized service representative to train Owner's maintenance personnel to adjust, operate, and maintain waste compactors according to manufacturer's requirements and ANSI Z245.2.

END OF SECTION 118226

	FACILITY WASTE COMPACTORS
	118226 - 1



