Copyright 2011 AIA
MasterSpec Professional
02/11

Copyright 2011 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 122113 - HORIZONTAL LOUVER BLINDS
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section Includes:

1. Horizontal louver blinds with [aluminum] [wood] [polymer] slats.

1.2 ACTION SUBMITTALS

A. Product Data: For each type of product.

B. Shop Drawings: Show fabrication and installation details for horizontal louver blinds.

1. Motorized Operators: Include details of installation in headrails and diagrams for power, signal, and control wiring.

"Samples" Paragraph below assumes manufacturer's standard-size Samples are acceptable. Revise to suit Project.

C. Samples: For each exposed product and for each color and texture specified.

1.3 INFORMATIONAL SUBMITTALS

A. Product certificates.

B. Product test reports.

1.4 CLOSEOUT SUBMITTALS

A. Maintenance data.

1.5 QUALITY ASSURANCE

A. Mockups: Build mockups to verify selections made under Sample submittals and to demonstrate aesthetic effects and set quality standards for fabrication and installation.

1. Approval of mockups does not constitute approval of deviations from the Contract Documents contained in mockups unless Architect specifically approves such deviations in writing.

Retain subparagraph below if the intention is to make an exception to the default requirement in SECTION 014000 "Quality Requirements" for demolishing and removing mockups.

2. Subject to compliance with requirements, approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

2.1 HORIZONTAL LOUVER BLINDS

Retain "Manufacturers" Paragraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

A. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Paragraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

B. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

1. Comfortex Window Fashions.

2. Hunter Douglas Contract.

3. Levolor Contract; a Newell Rubbermaid company.

4. Springs Window Fashions.

5. <Insert manufacturer's name>.

Retain one of "Aluminum Slats," "Wood Slats," and "Polymer Slats" paragraphs below.

C. Aluminum Slats:

1. Width: [1/2 to 5/8 inch (13 to 16 mm)] [1 inch (25 mm)] [2 inches (51 mm)] <Insert width>.

2. Thickness: [Manufacturer's standard] [Not less than 0.006 inch (0.15 mm)] [Not less than 0.008 inch (0.20 mm)] <Insert thickness>.

3. Spacing: [Manufacturer's standard] <Insert dimension>.

D. Wood Slats: Hardwood.

1. Width: [1 inch (25 mm)] [1-3/8 inches (35 mm)] [2 inches (51 mm)] [2-3/8 inches (60 mm)] <Insert width>.

2. Profile: [Flat] [Flat with beaded edges] [Flat with double beaded edges] <Insert profile>.

3. Corners: [Square] [Radius].

Retain "Flame-Resistance Rating" Subparagraph below if needed to comply with requirements of authorities having jurisdiction. If retaining, verify with manufacturers that products comply with requirements.

4. Flame-Resistance Rating: Comply with NFPA 701; testing by a qualified testing agency. Identify products with appropriate markings of applicable testing agency.

E. Polymer Slats: Lead free, UV stabilized.

1. Width: [2 inches (51 mm)] [2-1/2 inches (64 mm)] <Insert width>.

2. Profile: [Crowned] [Manufacturer's standard] <Insert profile>.

Retain "Flame-Resistance Rating" Subparagraph below if needed to comply with requirements of authorities having jurisdiction. If retaining, verify with manufacturers that products comply with requirements.

3. Flame-Resistance Rating: Comply with NFPA 701; testing by a qualified

F. Slat Features:

Retain "Lift-Cord Rout Holes" Subparagraph below for blinds with improved light-blocking capability. Aluminum slats are not available without lift-cord rout holes.

1. Lift-Cord Rout Holes: [Minimum size required for lift cord and located near back (outside) edge of slat to maximize slat overlap and minimize light gaps between slats] [None].

Perforated slats are available for aluminum and polymer slats only; perforated slats limit color selection. Darker colors have less effect on the visible image seen through slats. Perforated slats are not available with minimum-size rout holes in "Lift-Cord Rout Holes" Subparagraph above.

2. Perforated Slats: Openness factor of [6 to 7] <Insert number> percent.

3. <Insert feature>.

G. Headrail:

Retain "Motorized Operating Mechanisms" Subparagraph below for motor-operated blinds.

1. Motorized Operating Mechanisms: Provide factory-assembled blind-operator systems of size and capacity and with features, characteristics, and accessories suitable for conditions indicated and recommended by motorized operator and blind manufacturers for use with blinds indicated.

a. Function: [Lift] [and] [tilt].

b. Electrical Components: Listed and labeled as defined in NFPA 70, by a qualified testing agency, and marked for intended location and application.

c. Electrical Characteristics: Single phase, [24] [110] [220] <Insert voltage rating> V, 60 Hz.

d. Remote Controls: [Keyed] [Individual wall-switch] [Group wall-switch] [Individual/Group wall-switch] <Insert type> control stations.

e. Limit Switches: Adjustable switches, interlocked with motor controls and set to stop blind automatically at fully raised and fully lowered positions.

Retain "Manual Lift Mechanism," "Manual Tilt Mechanism," "Manual Lift-Operator and Tilt-Operator Lengths," and "Manual Lift-Operator and Tilt-Operator Locations" subparagraphs below for manually operated blinds.

2. Manual Lift Mechanism:

If retaining second option in "Lift-Cord Lock" Subparagraph below, revise stop positions or length of ring pull to suit Project. If top-locking, cord-lock blinds are operated improperly, ring pull prevents blind from dropping and damaging itself or sill.

a. Lift-Cord Lock: [Variable; stops lift cord at user-selected position within blind full operating range] [Top locking; stops lift cord when blind is in fully opened or fully closed positions only; equipped with ring pull not more than 4 inches (100 mm) long].

b. Operator: Extension of lift cord(s) through lift-cord lock mechanism to form cord pull.

3. Manual Tilt Mechanism: Enclosed worm-gear mechanism and linkage rod that adjusts ladders.

Retain one of two "Tilt" subparagraphs below. To prevent heat buildup, GANA's "Glazing Manual" recommends limiting tilt to 60 degrees from horizontal where blind installations do not meet certain minimum clearance recommendations unless heat-strengthened glass is specified. See "Product Characteristics" Article in the Evaluations. Tilt limits also help coordinate appearance of blinds with different colors on inside and outside faces of slats or with slats of two different colors.

a. Tilt: Full.

b. Tilt: [One] [Two]-direction, positive stop or lockout limited at an angle of [20] [60] [80] <Insert number> degrees from horizontal[, both directions].

c. Operator: [Clear-plastic wand] [Corrosion-resistant steel rod] [Dual cord] <Insert description>.

4. Manual Lift-Operator and Tilt-Operator Lengths: [Manufacturer's standard] [Full length of blind when blind is fully closed] [Length required to extend to 48 inches (1219 mm) above floor level when blind is fully closed] [As indicated on Drawings] <Insert length>.

Verify availability of control positions with manufacturers. Industry standard is to reference positions relative to the headrail as operators face blinds. Center tilt control is generally required for small-width blinds.

5. Manual Lift-Operator and Tilt-Operator Locations: [Manufacturer's standard] [Right side and left side of headrail, respectively] [Left side and right side of headrail, respectively] [Right side of headrail] [Left side of headrail] [Left side of headrail and center blind, respectively] [Right side of headrail and center blind, respectively] unless otherwise indicated.

H. Bottom Rail: Matching slats.

1. Type: [Manufacturer's standard] [Bottom contoured to minimize light gaps] <Insert description>.

Reinforced tape options in "Ladders" Paragraph below are available only for slats that are 1 inch (25 mm) wide or wider. Vinyl tape option is only available with aluminum slats.

I. Ladders: [Braided cord] [Reinforced vinyl tape, manufacturer's standard width] [Cloth tape, manufacturer's standard width] <Insert description>.

J. Valance: [Manufacturer's standard] <Insert description>.

K. Mounting Brackets: With spacers and shims required for blind placement and alignment indicated.

1. Type: [Wall] [Overhead] [End] [Wall extension] [Two piece for pocket installation] [As indicated] <Insert description>.

2. Intermediate Support: Provide intermediate support brackets to produce support spacing recommended by blind manufacturer for weight and size of blind.

Retain "Hold-Down Brackets and Hooks or Pins" Paragraph below to prevent blinds from swaying from air movement or for blinds used on doors. If only certain blinds need hold-down brackets and hooks or pins, indicate locations on Drawings or in a window-treatment schedule.

L. Hold-Down Brackets and Hooks or Pins: Manufacturer's standard.

Side channels and perimeter light gap seals are available with aluminum slats only. If only certain blinds need side channels and perimeter light gap seals, indicate locations on Drawings or in a window-treatment schedule.

M. Side Channels and Perimeter Light Gap Seals: Manufacturer's standard.

N. Colors, Textures, Patterns, and Gloss:

1. Slats: [Match Architect's samples] [Match Architect's samples for custom color and other characteristics] [As selected by Architect from manufacturer's full range] [As indicated on Drawings] <Insert description>.

2. Components: [Provide rails, cords, ladders, and materials exposed to view matching or coordinating with slat color unless otherwise indicated] <Insert description>.

2.2 HORIZONTAL LOUVER BLIND FABRICATION

A. Product Safety Standard: Fabricate horizontal louver blinds to comply with WCMA A 100.1 including requirements for corded, flexible, looped devices; lead content of components; and warning labels.

B. Unit Sizes: Fabricate units in sizes to fill window and other openings as follows, measured at 74 deg F (23 deg C):

Retain "Between (Inside) Jamb Installation" or "Outside of Jamb Installation" Subparagraph below and coordinate with mounting bracket requirements above. Coordinate clearance requirements with distance between blinds and glass, tilt limits, glass type, and placement of heating/cooling air supplies to avoid heat buildup and possible damage to glass.

If retaining "Between (Inside) Jamb Installation" Subparagraph below, revise clearances to comply with GANA "Glazing Manual" recommendations where slat tilt of blinds is not limited to 60 degrees from horizontal in both directions or where heat-strengthened glass is not specified. See "Product Characteristics" Article in the Evaluations.

1. Between (Inside) Jamb Installation: Width equal to jamb-to-jamb dimension of opening in which blind is installed less 1/4 inch (6 mm) per side or 1/2 inch (13 mm) total, plus or minus 1/8 inch (3.1 mm). Length equal to head-to-sill dimension of opening in which blind is installed less 1/4 inch (6 mm), plus or minus 1/8 inch (3.1 mm).

If retaining "Outside of Jamb Installation" Subparagraph below, indicate locations of blinds relative to openings and widths and lengths of blinds on Drawings or in a window-treatment schedule.

2. Outside of Jamb Installation: Width and length as indicated, with terminations between blinds of end-to-end installations at centerlines of mullion or other defined vertical separations between openings.

PART 3 -  EXECUTION

3.1 INSTALLATION

A. Examine substrates, areas, and conditions, with Installer present, for compliance with requirements for installation tolerances, operational clearances, [locations of connections to building electrical system,] and other conditions affecting performance.

1. Proceed with installation only after unsatisfactory conditions have been corrected.

If retaining "Outside of Jamb Installation" Subparagraph in "Horizontal Louver Blind Fabrication" Article, indicate locations of blinds relative to openings and widths and lengths of blinds on Drawings or in a window-treatment schedule.

B. Install horizontal louver blinds level and plumb, aligned and centered on openings, and aligned with adjacent units according to manufacturer's written instructions.

Coordinate requirements for distance between blinds and glass in first subparagraph below with clearances between blind perimeter and surrounding construction, tilt limits, glass type, and placement of heating/cooling air supplies to avoid heat buildup and possible damage to glass. Retain 1-inch (25-mm) clearance from glass and 1/2-inch (13-mm) clearance from glazing frames only if tilt is limited; verify extent of tilt limit required with manufacturers. Retain 2-inch (51-mm) clearance from glass and 1-1/2 (38-mm) inch clearance from glazing frame to comply with requirements in GANA's "Glazing Manual" for slats that can be tilted fully closed.

1. Locate so exterior slat edges are not closer than [1 inch (25 mm)] [2 inches (51 mm)] <Insert dimension> from interior faces of glass and not closer than [1/2 inch (13 mm)] [1-1/2 inches (38 mm)] <Insert dimension> from interior faces of glazing frames through full operating ranges of blinds.

2. Install mounting and intermediate brackets to prevent deflection of headrails.

3. Install with clearances that prevent interference with adjacent blinds, adjacent construction, and operating hardware of glazed openings, other window treatments, and similar building components and furnishings.

Retain "Electrical Connections" Paragraph below for motorized operators.

C. Electrical Connections: Connect motorized operators to building electrical system.

D. Adjust horizontal louver blinds to operate free of binding or malfunction through full operating ranges.

E. Clean horizontal louver blind surfaces after installation according to manufacturer's written instructions.

END OF SECTION 122113

	HORIZONTAL LOUVER BLINDS
	122113 - 1



