Copyright 2010 AIA
MasterSpec Professional
05/10

Copyright 2010 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 124813 - ENTRANCE FLOOR MATS AND FRAMES
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section Includes:

1. Roll-up rail mats.

2. Resilient entrance mats.

3. [Recessed] [Surface-mounted] frames.

1.2 ACTION SUBMITTALS

A. Product Data: For each type of product.

B. Shop Drawings:

1. Items penetrating floor mats and frames, including door control devices.

2. Divisions between mat sections.

3. Perimeter floor moldings.

4. Custom Graphics: Scale drawing indicating colors.

C. Samples: For each floor mat[, tread rail,] and frame member.

1.3 CLOSEOUT SUBMITTALS

A. Maintenance data.

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

2.1 ENTRANCE FLOOR MATS AND FRAMES, GENERAL

A. Regulatory Requirements: Comply with applicable provisions in [the U.S. Architectural & Transportation Barriers Compliance Board's ADA-ABA Accessibility Guidelines for Buildings and Facilities] [and] [ICC A117.1] <Insert regulation>.

2.2 ROLL-UP RAIL MATS

Retain "Manufacturers" Paragraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

A. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Paragraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

B. Basis-of-Design Product: Subject to compliance with requirements, provide [the product indicated on Drawings] <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

1. American Floor Products Company, Inc.

2. American Mat & Rubber Company.

3. Arden Architectural Specialties, Inc.

4. Balco, Inc.

5. Cactus Mat Mfg. Co.

6. Crowder, K. N. Manufacturing, Inc.

7. C/S Group.

8. Durable Corporation.

9. J. L. Industries, Inc.

10. Kadee Industries, Inc.

11. Mats Inc.

12. Musson Rubber Company.

13. Pawling Corporation; Architectural Products Division.

14. Reese Enterprises, Inc.

15. <Insert manufacturer's name>.

C. Roll-up, Aluminum-Rail Hinged Mats: Extruded-aluminum tread rails [1-1/2 inches (38 mm)] [2 inches (50 mm)] <Insert dimension> wide by 3/8 inch (9.5 mm) thick, sitting on continuous vinyl cushions.

1. Tread Inserts: [Plain serrated aluminum treads] [Textured-surface, resilient vinyl] [Ribbed-design-surface, resilient vinyl] [Mineral abrasive particles bonded to or embedded in vinyl] [Aluminum-oxide or silicon-carbide grit in epoxy matrix] [1/4-inch- (6.4-mm-) high, 28-oz./sq. yd. (950-g/sq. m) weight, level-cut, nylon-pile, fusion-bonded carpet] <Insert tread inserts>.

2. Colors, Textures, and Patterns of Inserts: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from full range of industry colors].

3. Rail Color: [Mill finish] [Clear] [Light bronze] [Medium bronze] [Dark bronze] [Black] [Match Architect's sample] [As selected by Architect from full range of industry colors and color densities].

4. Hinges: [Plastic] [Aluminum].

5. Mat Size: [As indicated] <Insert size>.

D. Roll-up, Vinyl-Rail Hinged Mats: Vinyl-acrylic tread rails [1-1/2 inches (38 mm)] [2 inches (50 mm)] <Insert dimension> wide by 3/8 inch (9.5 mm) thick, with slotted or perforated hinges.

1. Tread Inserts: [Textured-surface, resilient vinyl] [Ribbed-design-surface, resilient vinyl] [Mineral abrasive particles bonded to or embedded in vinyl] [Aluminum-oxide or silicon-carbide grit in epoxy matrix] [1/4-inch- (6.4-mm-) high, 28-oz./sq. yd. (950-g/sq. m) weight, level-cut, nylon-pile, fusion-bonded carpet] <Insert tread inserts>.

2. Colors, Textures, and Patterns of Inserts: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from full range of industry colors].

3. Rail Color: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from full range of industry colors].

4. Hinges: [Vinyl] [Aluminum].

5. Mat Size: [As indicated] <Insert size>.

2.3 RESILIENT ENTRANCE MATS

Retain "Manufacturers" Paragraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

A. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Paragraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

B. Basis-of-Design Product: Subject to compliance with requirements, provide [the product indicated on Drawings] <Insert manufacturer's name; product name or designation> or a comparable product by one of the following:

1. American Floor Products Company, Inc.
2. American Mat & Rubber Company.
3. Arden Architectural Specialties, Inc.

4. Balco, Inc.
5. Cactus Mat Mfg. Co.
6. Consolidated Plastics Company, Inc.
7. C/S Group.
8. Durable Corporation.
9. Flexco.
10. Mats Inc.
11. Musson Rubber Company.
12. Pawling Corporation; Architectural Products Division.
13. Sbemco International Inc.; Matting by Design.
14. Tennessee Mat Company, Inc.
15. Tepromark International, Inc.
16. U.S. Mat & Rubber Corporation.
17. <Insert manufacturer's name>.

C. Resilient Link Mats: Reversible [vinyl] [rubber] [rubber-tire] link mats, [3/8 inch (9.5 mm)] [or] [7/16 inch (11 mm)] thick, with [galvanized-spring] [stainless]-steel wire link rods, vulcanized edge-nosing trim, steel-reinforced end trim, and links consisting of rectangular units or continuous strips in a [heel-proof, solid-weave pattern with no openings between links] [heel-proof, close-weave pattern with openings between links not exceeding 1/8 inch (3.2 mm) wide by 1 inch (25.4 mm) long] [open-weave pattern].

1. Color: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from full range of industry colors].

2. Mat Size: [As indicated] <Insert size>.

D. [Rubber] [or] [Vinyl] Mats: [1/4-inch- (6.4-mm-)] [3/8-inch- (9.5-mm-)] [7/16-inch- (11-mm-)] [1/2-inch- (13-mm-)] <Insert dimension> thick mats; with [square edges for recessed installations] [beveled edges for surface applications] and with [solid-sheet (no perforations) style] [perforated style, 1/4-inch (6.4-mm) diameter on standard spacing] [perforated style, 3/16 by 3/4 inch (5 by 19 mm) on standard spacing], [standard pyramid design] [standard wide-wale corrugated] [hi-rib, narrow-wale corrugated] top profile, and [low-rib, narrow-wale corrugated] [standard knob-base] [flat-base] bottom surface.

1. Color: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from full range of industry colors].

2. Mat Size: [As indicated] <Insert size>.

E. Cocoa Mats: Constructed from cocoa fiber yarn permanently bonded to PVC backing for dimensional stability and resistance to shedding; [5/8- to 3/4-inch (16- to 19-mm) overall thickness; 1.5-lb/sq. ft. (7.3-kg/sq. m)] [1-inch (25.4-mm) overall thickness; 2.0-lb/sq. ft. (10-kg/sq. m)] [1-1/4-inch (32-mm) overall thickness; 2.5-lb/sq. ft. (12-kg/sq. m)] weight.

1. Color: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from full range of industry colors].

2. Mat Size: [As indicated] <Insert size>.

F. Rubber-Tire Mats: Units of edge-grain-laminated and chenille-buffed, rubber-tire wall cuts; bonded to sheet rubber or other durable flexible backing sheet to form 3/8- to 7/16-inch- (9.5- to 11-mm-) thick, 12-inch- (300-mm-) wide, continuous linear strip up to 25 feet (7.6 m) long.

1. Mat Size: [As indicated] <Insert size>.

G. Carpet-Type Mats: [Nylon] [Polypropylene] [Olefin] [Polyester] carpet bonded to 1/8- to 1/4-inch- (3.2- to 6.4-mm-) thick, flexible vinyl backing to form mats 3/8 or 7/16 inch (9.5 or 11 mm) thick with nonraveling edges.

1. Colors, Textures, and Patterns: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from full range of industry colors].

2. Mat Size: [As indicated] <Insert size>.

H. Graphics: Custom inlaid or woven-in graphic [design,] [logo,] [emblem,] [characters,] as indicated.

2.4 FRAMES

A. Surface-Mounted Frames: Tapered [flexible vinyl edge-][aluminum ]frame members, not less than [2 inches (50 mm)] [1-1/2 inches (38 mm)] wide[, attached to mat at all four edges,] with welded mitered corners.

1. Vinyl Color: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from full range of industry colors].

2. Aluminum Color: [Mill finish] [Clear] [Light bronze] [Medium bronze] [Dark bronze] [Black] [Match Architect's sample] [As selected by Architect from full range of industry colors and color densities].

B. Recessed Frames: ASTM B 221 (ASTM B 221M). Manufacturer's standard extrusion.

1. Color: [Mill finish] [Clear] [Light bronze] [Medium bronze] [Dark bronze] [Black] [Match Architect's sample] [As selected by Architect from full range of industry colors and color densities].

2.5 FABRICATION

A. Floor Mats: Shop fabricate units to greatest extent possible in sizes indicated. Unless otherwise indicated, provide single unit for each mat installation; do not exceed manufacturer's recommended maximum sizes for units that are removed for maintenance and cleaning. Where joints in mats are necessary, space symmetrically and away from normal traffic lanes. Miter corner joints in framing elements with hairline joints or provide prefabricated corner units without joints.

B. Coat concealed surfaces of aluminum frames that contact cementitious material with manufacturer's standard protective coating.

PART 3 -  EXECUTION

3.1 INSTALLATION

A. Install recessed mat frames to comply with manufacturer's written instructions. Set mat tops at height recommended by manufacturer for most effective cleaning action; coordinate tops of mat surfaces with bottoms of doors that swing across mats to provide clearance between door and mat.

B. Install surface-type units to comply with manufacturer's written instructions at locations indicated; coordinate with entrance locations and traffic patterns.

3.2 PROTECTION

A. After completing frame installation and concrete work, provide temporary filler of plywood or fiberboard in recesses and cover frames with plywood protective flooring. Maintain protection until construction traffic has ended and Project is near Substantial Completion.

END OF SECTION 124813

	ENTRANCE FLOOR MATS AND FRAMES
	124813 - 1



