Copyright 2011 AIA
MasterSpec Professional
08/11

Copyright 2011 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 133419 - METAL BUILDING SYSTEMS
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section Includes:

1. Structural-steel framing.

2. Metal roof panels.

3. Metal wall panels.

4. Metal soffit panels.

5. Thermal insulation.

6. Doors and frames.

7. Windows.

8. Accessories.

1.2 ACTION SUBMITTALS

A. Product Data: For each type of metal building system component.

B. LEED Submittals:

"Product Test Reports for Credit SS 7.2" Subparagraph below applies to LEED-NC, LEED-CS, and LEED for Schools; coordinate with requirements selected in Part 2 for roof finishes.

1. Product Test Reports for Credit SS 7.2: For roof panels, documentation indicating that panels comply with Solar Reflectance Index requirement.

2. Product Data for Credit MR 4: For products having recycled content, documentation indicating percentages by weight of postconsumer and preconsumer recycled content. Include statement indicating cost for each product having recycled content.

C. Shop Drawings: For metal building system components. Include plans, elevations, sections, details, and attachments to other work.

First paragraph below assumes manufacturer's standard-size Samples are acceptable. Revise to suit Project.

D. Samples: For each type of exposed finish required.

Paragraph below is defined in SECTION 013300 "Submittal Procedures" as a "Delegated-Design Submittal." Retain if Work of this Section is required to withstand specific design loads and design responsibilities have been delegated to Contractor or if structural data are required as another way to verify compliance with performance requirements. Professional engineer qualifications are specified in Section 014000 "Quality Requirements."

E. Delegated-Design Submittal: For metal building systems indicated to comply with performance requirements and design criteria, including analysis data and calculations signed and sealed by the qualified professional engineer responsible for their preparation.

1.3 INFORMATIONAL SUBMITTALS

A. Welding certificates.

B. Manufacturer Accreditation: Statement that metal building system and components were designed and produced by a manufacturer accredited according to the International Accreditation Service's AC472.

C. Metal Building System Certificates: For each type of metal building system, from manufacturer.

Letter of Design Certification in subparagraph below is useful in ensuring compliance with requirements and in comparing competitive quotes from several manufacturers. MBMA's "Metal Building Systems Manual" expressly excludes compliance with codes except as noted in Letter of Design Certification.

1. Letter of Design Certification: Signed and sealed by a qualified professional engineer. Include the following:

a. Name and location of Project.

b. Order number.

c. Name of manufacturer.

d. Name of Contractor.

e. Building dimensions including width, length, height, and roof slope.

f. Indicate compliance with AISC standards for hot-rolled steel and AISI standards for cold-rolled steel, including edition dates of each standard.

g. Governing building code and year of edition.

h. Design Loads: Include dead load, roof live load, collateral loads, roof snow load, deflection, wind loads/speeds and exposure, seismic design category or effective peak velocity-related acceleration/peak acceleration, and auxiliary loads (cranes).

i. Load Combinations: Indicate that loads were applied acting simultaneously with concentrated loads, according to governing building code.

j. Building-Use Category: Indicate category of building use and its effect on load importance factors.

D. Material test reports.

E. Source quality-control reports.

F. Field quality-control reports.

G. Warranties: Sample of special warranties.

1.4 CLOSEOUT SUBMITTALS

A. Maintenance data.

1.5 QUALITY ASSURANCE

A. Manufacturer Qualifications: A qualified manufacturer[ and member of MBMA].

1. Accreditation: According to the International Accreditation Service's AC472.

2. Engineering Responsibility: Preparation of comprehensive engineering analysis and Shop Drawings by a professional engineer who is legally qualified to practice in jurisdiction where Project is located.

B. Erector Qualifications: An experienced erector who specializes in erecting and installing work similar in material, design, and extent to that indicated for this Project and who is acceptable to manufacturer.

Retain "Welding Qualifications" Paragraph below if shop or field welding is required. If retaining, also retain "Welding certificates" Paragraph in "Informational Submittals" Article.

C. Welding Qualifications: Qualify procedures and personnel according to the following:

1. AWS D1.1/D1.1M, "Structural Welding Code - Steel."

2. AWS D1.3, "Structural Welding Code - Sheet Steel."

D. Structural Steel: Comply with AISC 360, "Specification for Structural Steel Buildings," for design requirements and allowable stresses.

E. Cold-Formed Steel: Comply with AISI's "North American Specification for the Design of Cold-Formed Steel Structural Members" for design requirements and allowable stresses.

F. Preinstallation Conference: Conduct conference at [Project site] <Insert location>.

1.6 WARRANTY

A. Special Warranty on Metal Panel Finishes: Manufacturer's standard form in which manufacturer agrees to repair finish or replace metal panels that show evidence of deterioration of factory-applied finishes within specified warranty period.

Verify available warranties and warranty periods for units and components with manufacturers listed in Part 2. 20-year period is common for fluoropolymer finish; 25- and 30-year periods are available from some manufacturers. 10-year period is usually available for siliconized polyester.

1. Finish Warranty Period: [20] [10] <Insert number> years from date of Substantial Completion.

B. Special Weathertightness Warranty for Standing-Seam Metal Roof Panels: Manufacturer's standard form in which manufacturer agrees to repair or replace standing-seam metal roof panel assemblies that leak or otherwise fail to remain weathertight within specified warranty period.

Verify available warranties and warranty periods for units and components with manufacturers listed in Part 2.

1. Warranty Period: [20] <Insert number> years from date of Substantial Completion.

Insert requirements for extra materials such as metal roof and wall panels, trim, and accessories if required. Verify with Owner because these materials can present storage difficulties.

PART 2 -  PRODUCTS

2.1 MANUFACTURERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of two paragraphs and list of manufacturers in this article. See Section 016000 "Product Requirements."

A. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Because there are significant differences between manufacturers' systems, metal building system specifications are usually developed to suit design requirements of a single manufacturer. Evaluate other manufacturers' systems to verify suitability for Project.

B. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

Manufacturers in list below are a sampling of those offering a complete line of metal building systems and components, not an exhaustive list. Insert other manufacturers whose systems are also acceptable.

1. A&S Building Systems, Inc.; Division of NCI Building Systems, L.P.

2. Alliance Steel, Inc.

3. American Buildings Company; Division of Magnatrax Corp.

4. American Steel Building Co., Inc.

5. BC Steel Buildings, Inc.

6. Behlen Mfg. Co.

7. Bigbee Steel Buildings, Inc.

8. Butler Manufacturing Company; a BlueScope Steel company.

9. CBC Steel Buildings; Division of Magnatrax Corp.

10. Ceco Building Systems; Division of NCI Building Systems, L.P.

11. Chief Buildings; Division of Chief Industries, Inc.

12. Elite Structures, Inc.

13. Garco Building Systems; Division of NCI Building Systems, L.P.

14. Gulf States Manufacturers, Inc.; Division of Magnatrax Corp.

15. Inland Buildings; Subsidiary of Behlen Mfg. Co.

16. Kirby Building Systems; Division of Magnatrax Corp.

17. Mesco Building Solutions; Division of NCI Building Systems, L.P.

18. Metallic Building Company; Division of NCI Building Systems, L.P.

19. Metco Metal Supply.

20. Mid-West Steel Building Company; Division of NCI Building Systems, L.P.

21. Nucor Building Systems.

22. Oakland Metal Buildings, Inc.

23. Olympia Steel Building Systems.

24. Package Industries, Inc.

25. Pinnacle Structures, Inc.

26. Robertson Building Systems; an NCI company.

27. Ruffin Building Systems, Inc.

28. Schulte Building Systems, LLP.

29. Spirco Manufacturing.

30. Star Building Systems; an NCI company.

31. Tyler Building Systems, L.P.

32. USA, Inc.

33. VP Buildings; a United Dominion company.

34. Vulcan Steel Structures, Inc.

35. Whirlwind Building Systems.

36. <Insert manufacturer's name>.

2.2 METAL BUILDING SYSTEM PERFORMANCE

Retain first paragraph below if Contractor is required to assume responsibility for design.

A. Delegated Design: Design metal building system, including comprehensive engineering analysis by a qualified professional engineer, using performance requirements and design criteria indicated.

Retain first paragraph below or indicate structural-performance requirements on Drawings. If requirements in MBMA's "Metal Building Systems Manual" are used as design criteria, verify that they meet local building code requirements.

B. Structural Performance: Metal building systems shall be designed according to procedures in MBMA's "Metal Building Systems Manual."

Retain one of first two subparagraphs below. If retaining first subparagraph, indicate minimum live, dead, snow, collateral, seismic, wind, and uplift loads and load combinations on Drawings as applicable.

1. Design Loads: As indicated on Drawings.

2. Design Loads: As required by [MBMA's "Metal Building Systems Manual."] [ASCE/SEI 7.] <Insert applicable code requirement.>

Retain first subparagraph below if required.

3. Deflection Limits: Design metal building system assemblies to withstand design loads with deflections no greater than the following:

Deflections in first four subparagraphs below are examples only. Masonry walls may require deflection limits of 1/600 or 1/720. Verify limits with authorities having jurisdiction; manufacturers' standards are typically less stringent.

a. Purlins and Rafters: Vertical deflection of [1/180] [1/240] <Insert limit> of the span.

b. Girts: Horizontal deflection of [1/180] [1/240] <Insert limit> of the span.

c. Metal Roof Panels: Vertical deflection of [1/180] [1/240] <Insert limit> of the span.

d. Metal Wall Panels: Horizontal deflection of [1/180] [1/240] <Insert limit> of the span.

Retain first subparagraph below with one or more of four subparagraphs above.

e. Design secondary-framing system to accommodate deflection of primary framing and construction tolerances, and to maintain clearances at openings.

Retain first subparagraph below if required.

4. Drift Limits: Engineer building structure to withstand design loads with drift limits no greater than the following:

Lateral drifts in first subparagraph below are examples only. See Evaluations for discussion.

a. Lateral Drift: Maximum of [1/200] [1/400] <Insert limit> of the building height.

Although ASTM E 1592 in subparagraph below applies to all types of single-sheet metal roof panels, from most manufacturers only the standing-seam metal roof panels can meet requirement below. The test is also used for single-sheet metal wall panels.

5. Metal panel assemblies shall withstand the effects of gravity loads and loads and stresses within limits and under conditions indicated according to ASTM E 1592.

Revise first paragraph below to indicate specific loads determined by Project's structural engineer or see loads indicated on Drawings. Model building codes and ASCE/SEI 7 establish criteria for buildings subject to earthquake motions. Verify requirements of authorities having jurisdiction.

C. Seismic Performance: Metal building systems shall withstand the effects of earthquake motions determined according to [ASCE/SEI 7] <Insert requirement>.

D. Thermal Movements: Allow for thermal movements resulting from the following maximum change (range) in ambient and surface temperatures by preventing buckling, opening of joints, overstressing of components, failure of joint sealants, failure of connections, and other detrimental effects. Base engineering calculations on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.

Differential values in subparagraph below are suitable for most of the U.S. Revise to suit local conditions.

1. Temperature Change (Range): [120 deg F (67 deg C), ambient; 180 deg F (100 deg C)] <Insert temperature range>, material surfaces.

Pressure differences in first two paragraphs below are examples only. Revise to suit Project. Value shown for test-pressure difference for metal roof panels is for roofs with slope less than or equal to 30 degrees.

E. Air Infiltration for Metal Roof Panels: Air leakage through assembly of not more than [0.06 cfm/sq. ft. (0.3 L/s per sq. m)] <Insert value> of roof area when tested according to ASTM E 1680 at negative test-pressure difference of [1.57 lbf/sq. ft. (75 Pa)] <Insert value>.

Value in first paragraph below is ASTM E 283 default; revise to suit Project.

F. Air Infiltration for Metal Wall Panels: Air leakage through assembly of not more than [0.06 cfm/sq. ft. (0.3 L/s per sq. m)] <Insert value> of wall area when tested according to ASTM E 283 at static-air-pressure difference of [1.57 lbf/sq. ft. (75 Pa)] <Insert value>.

Pressure differences in first two paragraphs below are examples only. Revise to suit Project. Value shown for test-pressure difference for metal roof panels is for roofs with slope less than or equal to 30 degrees. Locations where high winds and heavy rains frequently occur simultaneously require higher test pressures.

G. Water Penetration for Metal Roof Panels: No water penetration when tested according to ASTM E 1646 at test-pressure difference of [2.86 lbf/sq. ft. (137 Pa)] <Insert value>.

Value in first paragraph below is ASTM E 331 default; revise to suit Project.

H. Water Penetration for Metal Wall Panels: No water penetration when tested according to ASTM E 331 at a wind-load design pressure of not less than [2.86 lbf/sq. ft. (137 Pa)] <Insert value>.

Retain first paragraph below if UL class roof is not required. Verify that products are listed in UL's "Roofing Materials and Systems Directory."

I. Wind-Uplift Resistance: Provide metal roof panel assemblies that comply with UL 580 for [Class 30] [Class 60] [Class 90].

Retain one of three paragraphs below to specify cool-roof performance if required.

Retain "Solar Reflectance Index" Paragraph below if required for LEED-NC, LEED-CS, or LEED for Schools Credit SS 7.2. First option is minimum for roofs with slopes of 2:12 or less; second option is minimum for roofs with slopes steeper than 2:12.

J. Solar Reflectance Index: Not less than [78] [29] when calculated according to ASTM E 1980 based on testing identical products by a qualified testing agency.

Retain first paragraph below for roofs that must comply with ENERGY STAR requirements. ENERGY STAR Roof Products Qualified Product List is available in PDF at www.energystar.gov. First option below is for roofs with slopes of 2:12 or less; second option is for roofs with slopes steeper than 2:12.

K. Energy Performance: Provide roof panels that are listed on the DOE's ENERGY STAR Roof Products Qualified Product List for [low] [steep]-slope roof products.

Usually retain paragraph below for roofs that must comply with CEC-Title 24. Options are values required for low-slope roofs by prescriptive approach; insert other values if required for building-envelope trade-off approach or for whole building performance approach. Low-slope roofs are those with slopes of 2:12 or less. A list of products tested according to CRRC, with their test values, is available in PDF at www.coolroofs.org.

L. Energy Performance: Provide roof panels with initial solar reflectance not less than [0.70] <Insert value> and emissivity not less than [0.75] <Insert value> when tested according to CRRC.

2.3 STRUCTURAL-STEEL FRAMING

Review this article for compliance with design concept and revise to suit Project. Consult manufacturers for standard framing details.

A. Primary Framing: Manufacturer's standard primary-framing system, designed to withstand required loads and specified requirements. Primary framing includes transverse and lean-to frames; rafter, rake, and canopy beams; sidewall, intermediate, end-wall, and corner columns; and wind bracing.

1. General: Provide frames with attachment plates, bearing plates, and splice members. Factory drill for field-bolted assembly.

Retain first subparagraph below if Drawings do not adequately indicate requirements.

2. Frame Configuration: [Single gable] [One-directional sloped] [Lean to, with high side connected to and supported by another structure] [Multiple gable] [Load-bearing-wall type] [Multistory].

3. Exterior Column Type: [Uniform depth] [Tapered].

4. Rafter Type: [Uniform depth] [Tapered].

Retain first paragraph below if required or delete if using half-load primary frames.

B. End-Wall Framing: Manufacturer's standard primary end-wall framing fabricated for field-bolted assembly.

C. Secondary Framing: Manufacturer's standard secondary framing, including purlins, girts, eave struts, flange bracing, base members, gable angles, clips, headers, jambs, and other miscellaneous structural members. Unless otherwise indicated, fabricate framing from either cold-formed, structural-steel sheet or roll-formed, metallic-coated steel sheet, prepainted with coil coating.

D. Bolts: Provide plain-finish bolts for structural-framing components that are primed or finish painted. Provide zinc-plated or hot-dip galvanized bolts for structural-framing components that are galvanized.

Retain "Recycled Content of Steel Products" Paragraph below to specify recycled content if applying for LEED Credit MR 4. The USGBC allows a default value of 25 percent to be used for steel, without documentation; higher percentages can be claimed if they are supported by appropriate documentation. The Steel Recycling Institute indicates that hollow structural shapes and steel plates typically have 23 percent postconsumer recycled content and 1.5 percent preconsumer recycled content; rolled structural shapes typically have 57.5 percent postconsumer recycled content and 6.5 percent preconsumer recycled content.

E. Recycled Content of Steel Products: Postconsumer recycled content plus one-half of preconsumer recycled content not less than [25] <Insert number> percent.

F. Finish: Factory primed. Apply specified primer immediately after cleaning and pretreating.

2.4 METAL ROOF PANELS

Profile requirements in this article are often better described graphically than verbally. If profiles are indicated on Drawings, delete profile descriptions and retain types of metals and metal thicknesses.

Retain one or both of two paragraphs below.

A. [Vertical-Rib,] [Trapezoidal-Rib,] Standing-Seam Metal Roof Panels <Insert drawing designation>: Formed with ribs at panel edges and [intermediate stiffening ribs symmetrically spaced] [flat pan] between ribs; designed for sequential installation by mechanically attaching panels to supports using concealed clips located under one side of panels and engaging opposite edge of adjacent panels.

Metal thickness options in first subparagraph below correspond to obsolete 26, 24, and 22 gage, respectively.

1. Material: [Zinc-coated (galvanized)] [Aluminum-zinc alloy-coated] steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] nominal thickness.

a. Exterior Finish: [Two-coat fluoropolymer] [Three-coat fluoropolymer] [Siliconized polyester].

b. Color: [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range] <Insert color>.

2. Clips: Manufacturer's standard, [fixed type] [floating type to accommodate thermal movement]; fabricated from [zinc-coated (galvanized) steel] [aluminum-zinc alloy-coated steel] [stainless-steel] [zinc-coated (galvanized) steel, aluminum-zinc alloy-coated steel, or stainless-steel] sheet.

Retain one of first two subparagraphs below.

3. Joint Type: Panels snapped together.

4. Joint Type: Mechanically seamed, [single folded] [double folded] [folded according to manufacturer's standard].

5. Panel Coverage: [16 inches (406 mm)] <Insert dimension>.

6. Panel Height: [2 inches (51 mm)] <Insert dimension>.

7. Uplift Rating: [UL 30] [UL 60] [UL 90].

B. Tapered-Rib-Profile, Lap-Seam Metal Roof Panels <Insert drawing designation>: Formed with raised, trapezoidal major ribs and [intermediate stiffening ribs symmetrically spaced] [flat pan] between major ribs; designed to be installed by lapping side edges of adjacent panels and mechanically attaching panels to supports using exposed fasteners in side laps.

Metal thickness options in first subparagraph below correspond to obsolete 26, 24, and 22 gage, respectively.

1. Material: [Zinc-coated (galvanized)] [Aluminum-zinc alloy-coated] steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] nominal thickness.

a. Exterior Finish: [Two-coat fluoropolymer] [Three-coat fluoropolymer] [Siliconized polyester].

b. Color: [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range] <Insert color>.

2. Major-Rib Spacing: [6 inches (152 mm)] [12 inches (305 mm)] <Insert dimension> o.c.

3. Panel Coverage: [36 inches (914 mm)] <Insert dimension>.

4. Panel Height: [0.75 inch (19 mm)] [1.125 inches (29 mm)] [1.188 inches (30 mm)] [1.25 inches (32 mm)] [1.5 inches (38 mm)] <Insert dimension>.

2.5 METAL WALL PANELS

Profile requirements in this article are often better described graphically than verbally. If profiles are indicated on Drawings, delete profile descriptions and retain types of metals and metal thicknesses.

Revise paragraph below to suit Project, such as adding yield strength.

A. [Tapered-Rib-Profile,] [Reverse-Rib-Profile,] Exposed-Fastener Metal Wall Panels <Insert drawing designation>: Formed with raised, trapezoidal major ribs and [intermediate stiffening ribs symmetrically spaced] [flat pan] between major ribs; designed to be installed by lapping side edges of adjacent panels and mechanically attaching panels to supports using exposed fasteners in side laps.

Metal thickness options in first subparagraph below correspond to obsolete 26, 24, and 22 gage, respectively.

1. Material: [Zinc-coated (galvanized)] [Aluminum-zinc alloy-coated] steel sheet, [0.022-inch (0.56-mm)] [0.028-inch (0.71-mm)] [0.034-inch (0.86-mm)] nominal thickness.

a. Exterior Finish: [Two-coat fluoropolymer] [Three-coat fluoropolymer] [Siliconized polyester].

b. Color: [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range] <Insert color>.

2. Major-Rib Spacing: [6 inches (152 mm)] [12 inches (305 mm)] <Insert dimension> o.c.

3. Panel Coverage: [36 inches (914 mm)] <Insert dimension>.

4. Panel Height: [0.75 inch (19 mm)] [1.125 inches (29 mm)] [1.188 inches (30 mm)] [1.25 inches (32 mm)] [1.5 inches (38 mm)] <Insert dimension>.

2.6 METAL SOFFIT PANELS

Profile requirements in this article are often better described graphically than verbally. If profiles are indicated on Drawings, delete profile descriptions and retain types of metals and metal thicknesses.

A. General: Provide factory-formed metal soffit panels designed to be installed by lapping and interconnecting side edges of adjacent panels and mechanically attaching through panel to supports using concealed fasteners[ and factory-applied sealant] in side laps. Include accessories required for weathertight installation.

B. Metal Soffit Panels: Match profile and material of metal [roof] [wall] panels.

1. Finish: [Match finish and color of metal roof panels] [Match finish and color of metal wall panels] [As indicated on Drawings].

2.7 THERMAL INSULATION

Retain one of two paragraphs below. Many metal building system manufacturers do not provide insulation as part of their metal building package; verify availability.

Metal building insulation in two paragraphs below is most common type of insulation used for metal building systems, especially if it is to be exposed on the interior.

A. Faced Metal Building Insulation: ASTM C 991, Type II, glass-fiber-blanket insulation; 0.5-lb/cu. ft. (8-kg/cu. m) density; 2-inch- (51-mm-) wide, continuous, vapor-tight edge tabs; with a flame-spread index of 25 or less.

B. Unfaced Metal Building Insulation: ASTM C 991, Type I, or NAIMA 202, glass-fiber-blanket insulation; 0.5-lb/cu. ft. (8-kg/cu. m) density; 2-inch- (51-mm-) wide, continuous, vapor-tight edge tabs; with a flame-spread index of 25 or less.

Vapor-retarder facing in subparagraph below for blanket insulation is often provided separately and may be laminated to insulation before arriving at Project site, or it may be installed concurrently with insulation. NAIMA recommends that metal building insulation have a vapor-retarder facing with a permeance not greater than 0.10 perm (5.75 ng/Pa x s x sq. m). Facing selection may also be affected by light reflectivity and cold-weather workability.

1. Vapor-Retarder Facing: ASTM C 1136, with permeance not greater than 0.02 perm (1.15 ng/Pa x s x sq. m) when tested according to ASTM E 96/E 96M, Desiccant Method.

2.8 DOORS AND FRAMES

Personnel doors in first paragraph below are standard with metal building system manufacturers.

A. Swinging Personnel Doors and Frames: Metal building system manufacturer's standard doors and frames; prepared and reinforced at strike and at hinges to receive factory- and field-applied hardware according to BHMA A156 Series.

Hardware in subparagraph below is minimum usually provided by manufacturers. Revise to suit Project. Establish hardware sets if required.

1. Hardware:

a. Provide hardware for each door leaf, as follows:

1) Hinges: BHMA A156.1. Three [plain] [antifriction]-bearing, standard-weight, full-mortise, stainless-steel or bronze, template-type hinges; 4-1/2 by 4-1/2 inches (114 by 114 mm), with nonremovable pin.

2) Lockset: BHMA A156.2. [Key-in-lever cylindrical] [Mortise, with lever handle] type.

3) Exit Device: BHMA A156.3. Touch- or push-bar type.

4) Threshold: BHMA A156.21. Extruded aluminum.

5) Silencers: Pneumatic rubber; three silencers on strike jambs of single door frames and two silencers on heads of double door frames.

6) Closer: BHMA A156.4. Surface-applied, standard-duty hydraulic type.

7) Weather Stripping: Vinyl applied to head and jambs, with vinyl sweep at sill.

B. Finishes for Personnel Doors and Frames:

Retain one of two finish subparagraphs below.

1. Prime Finish: Factory-apply manufacturer's standard primer immediately after cleaning and pretreating.

2. Factory-Applied Paint Finish: Manufacturer's standard, complying with SDI A250.3 for performance and acceptance criteria.

a. Color and Gloss: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and gloss>.

2.9 WINDOWS

A. Aluminum Windows: Metal building system manufacturer's standard, with self-flashing mounting fins, and as follows:

1. Type, Performance Class, and Performance Grade: Comply with AAMA/WDMA/CSA 101/I.S.2/A440 and as follows:

Retain one or more types of units from first three subparagraphs below. Revise performance class and grade to suit Project.

a. Horizontal-Sliding Units: [HS-LC25] [HS-C30] <Insert designation>.

b. Single-Hung Units: [H-LC25] [H-C30] <Insert designation>.

c. Fixed Units: [F-LC25] [F-C30] <Insert designation>.

2. Hardware: Manufacturer's standard; of aluminum, stainless steel, die-cast steel, malleable iron, or bronze; including the following:

Retain applicable hardware types from list below.

a. Cam-action sweep sash lock and keeper at meeting rails.

b. Spring-loaded, snap-type lock at jambs.

c. Pole-operated, cam-action locking device on meeting rail where rail is more than 72 inches (1830 mm) above floor.

d. Lift handles for single-hung units.

e. Nylon sash rollers for horizontal-sliding units.

f. Steel or bronze operating arms.

Retain two subparagraphs below for horizontal-sliding and single-hung units.

3. Sliding-Type Weather Stripping: Woven-pile weather stripping of wool, polypropylene, or nylon pile and resin-impregnated backing fabric; complying with AAMA 702/112.

4. Insect Screens: Provide removable insect screen on each operable exterior sash, with screen frame finished to match window unit.

If needed, insert requirements for steel windows. Aluminum windows are most common with manufacturers.

Retain one of two paragraphs below.

B. Glazing: Comply with requirements specified in Section 088000 "Glazing."

C. Finish:

Retain one of two subparagraphs below or revise to suit Project.

1. Mill finish.

2. Baked-Enamel Finish: Organic Coating: Thermosetting, modified-acrylic enamel primer/topcoat system complying with AAMA 2603 except with a minimum dry film thickness of 0.7 mil (0.02 mm), medium gloss.

Metal building system manufacturers' standard color for baked-enamel finish is bronze.

a. Color: [As indicated by manufacturer's designations] [As selected by Architect from manufacturer's full range] <Insert color>.

2.10 ACCESSORIES

This article includes metal building system manufacturers' standard accessories. Retain accessories required to suit Project. If more stringent requirements are needed for some accessories, revise descriptions.

A. General: Provide accessories as standard with metal building system manufacturer and as specified. Fabricate and finish accessories at the factory to greatest extent possible, by manufacturer's standard procedures and processes. Comply with indicated profiles and with dimensional and structural requirements.

1. Form exposed sheet metal accessories that are without excessive oil-canning, buckling, and tool marks and that are true to line and levels indicated, with exposed edges folded back to form hems.

B. Roof Panel Accessories: Provide components required for a complete metal roof panel assembly including copings, fasciae, corner units, ridge closures, clips, sealants, gaskets, fillers, closure strips, and similar items. Match material and finish of metal roof panels unless otherwise indicated.

C. Wall Panel Accessories: Provide components required for a complete metal wall panel assembly including copings, fasciae, mullions, sills, corner units, clips, sealants, gaskets, fillers, closure strips, and similar items. Match material and finish of metal wall panels unless otherwise indicated.

D. Flashing and Trim: Formed from 0.022-inch (0.56-mm) nominal-thickness, metallic-coated steel sheet or aluminum-zinc alloy-coated steel sheet prepainted with coil coating; finished to match adjacent metal panels.

E. Gutters: Formed from 0.022-inch (0.56-mm) nominal-thickness, metallic-coated steel sheet or aluminum-zinc alloy-coated steel sheet prepainted with coil coating; finished to match roof fascia and rake trim. Match profile of gable trim, complete with end pieces, outlet tubes, and other special pieces as required. Fabricate in minimum 96-inch- (2438-mm-) long sections, sized according to SMACNA's "Architectural Sheet Metal Manual."

1. Gutter Supports: Fabricated from same material and finish as gutters.

2. Strainers: Bronze, copper, or aluminum wire ball type at outlets.

F. Downspouts: Formed from 0.022-inch (0.56-mm) nominal-thickness, zinc-coated (galvanized) steel sheet or aluminum-zinc alloy-coated steel sheet prepainted with coil coating; finished to match metal wall panels. Fabricate in minimum 10-foot- (3-m-) long sections, complete with formed elbows and offsets.

1. Mounting Straps: Fabricated from same material and finish as gutters.

G. Roof Ventilators: Gravity type, complete with hardware, flashing, closures, and fittings.

Retain one of two subparagraphs below for type.

1. Circular-Revolving Type: Minimum 20-inch- (508-mm-) diameter throat opening; finished to match metal roof panels; with matching base and rain cap.

a. Type: [Directional] [Stationary] revolving.

b. Bird Screening: Galvanized steel or aluminum.

Retain first subparagraph below if required.

c. Dampers: Spring-loaded, butterfly type; pull-chain operation; with pull chain of length required to reach within 36 inches (914 mm) of floor.

2. Continuous or Sectional-Ridge Type: Factory-engineered and -fabricated, continuous unit; fabricated from 0.022-inch (0.56-mm) nominal-thickness, metallic-coated steel sheet or aluminum-zinc alloy-coated steel sheet prepainted with coil coating; finished to match metal roof panels. Fabricated in minimum 10-foot- (3-m-) long sections. Provide throat size and total length indicated, complete with side baffles, ventilator assembly, end caps, splice plates, and reinforcing diaphragms.

a. Bird Screening: Galvanized steel or aluminum.

Retain first subparagraph below if required.

b. Dampers: Manually operated, spring-loaded, vertically rising type; chain and worm gear operator; with pull chain of length required to reach within 36 inches (914 mm) of floor.

c. Throat Size: 9 or 12 inches (229 or 305 mm), as standard with manufacturer, and as required to comply with ventilation requirements.

Retain first paragraph below if roof curbs are not specified in Section 077200 "Roof Accessories." Not all manufacturers provide roof curbs; verify availability.

H. Roof Curbs: Fabricated from minimum 0.052-inch (1.32-mm) nominal-thickness, metallic-coated steel sheet or aluminum-zinc alloy-coated steel sheet prepainted with coil coating; finished to match metal roof panels; capable of withstanding loads of size and height indicated.

I. Pipe Flashing: Premolded, EPDM pipe collar with flexible aluminum ring bonded to base.

If needed, insert requirements for other accessories.

2.11 SOURCE QUALITY CONTROL

Retain first paragraph below if required. Independent certification may be acceptable to authorities having jurisdiction without further monitoring of plant's quality-control and testing program by Owner.

A. Testing Agency: [Owner will engage] [Engage] a qualified testing agency to evaluate product.

Some model codes require that special inspections be performed for steel frame construction. Revise first paragraph below to suit requirements of authorities having jurisdiction. The term "Special Inspector" is consistent with the International Building Code; change this term to match that used to identify the entity as defined by authorities having jurisdiction.

B. Special Inspector: Owner will engage a qualified special inspector to perform the following tests and inspections and to submit reports. Special inspector will verify that manufacturer maintains detailed fabrication and quality-control procedures and will review the completeness and adequacy of those procedures to perform the Work.

Retain subparagraph below and delete "Tests and Inspections" Paragraph in "Field Quality Control" Article if requiring IAS-accredited manufacturers and if authorities having jurisdiction approve fabrication work without special inspections. If retaining subparagraph, also retain "Manufacturer Qualifications" Paragraph in "Quality Assurance" Article.

1. Special inspections will not be required if fabrication is performed by manufacturer registered and approved by authorities having jurisdiction to perform such Work without special inspection.

a. After fabrication, submit copy of certificate of compliance to authorities having jurisdiction, certifying that Work was performed according to Contract requirements.

C. Testing: Test and inspect shop connections for metal buildings according to the following:

RCSC prescribes inspection for snug-tightened joints and testing and inspection for each method of pretensioning joints.

1. Bolted Connections: Shop-bolted connections shall be[ tested and] inspected according to RCSC's "Specification for Structural Joints Using ASTM A 325 or A 490 Bolts."

2. Welded Connections: In addition to visual inspection, shop-welded connections shall be tested and inspected according to AWS D1.1/D1.1M and the following inspection procedures, at inspector's option:

Retain applicable nondestructive testing methods in four subparagraphs below. Revise to indicate extent of weld inspections if applicable and to insert alternative acceptance criteria to AWS D1.1/D1.1M if required.

a. Liquid Penetrant Inspection: ASTM E 165.

b. Magnetic Particle Inspection: ASTM E 709; performed on root pass and on finished weld. Cracks or zones of incomplete fusion or penetration will not be accepted.

c. Ultrasonic Inspection: ASTM E 164.

d. Radiographic Inspection: ASTM E 94.

See Section 014000 "Quality Requirements" for retesting and reinspecting requirements and Section 017300 "Execution" for requirements for correcting the Work.

D. Product will be considered defective if it does not pass tests and inspections.

E. Prepare test and inspection reports.

2.12 FABRICATION

A. General: Design components and field connections required for erection to permit easy assembly.

1. Mark each piece and part of the assembly to correspond with previously prepared erection drawings, diagrams, and instruction manuals.

2. Fabricate structural framing to produce clean, smooth cuts and bends. Punch holes of proper size, shape, and location. Members shall be free of cracks, tears, and ruptures.

B. Tolerances: Comply with MBMA's "Metal Building Systems Manual" for fabrication and erection tolerances.

C. Primary Framing: Shop fabricate framing components to size and section, with baseplates, bearing plates, stiffeners, and other items required for erection welded into place. Cut, form, punch, drill, and weld framing for bolted field assembly.

D. Secondary Framing: Shop fabricate framing components to size and section by roll-forming or break-forming, with baseplates, bearing plates, stiffeners, and other plates required for erection welded into place. Cut, form, punch, drill, and weld secondary framing for bolted field connections to primary framing.

E. Metal Panels: Fabricate and finish metal panels at the factory to greatest extent possible, by manufacturer's standard procedures and processes, as necessary to fulfill indicated performance requirements. Comply with indicated profiles and with dimensional and structural requirements.

PART 3 -  EXECUTION

3.1 ERECTION OF STRUCTURAL FRAMING

A. Erect metal building system according to manufacturer's written erection instructions and erection drawings.

B. Do not field cut, drill, or alter structural members without written approval from metal building system manufacturer's professional engineer.

C. Set structural framing accurately in locations and to elevations indicated, according to AISC specifications referenced in this Section. Maintain structural stability of frame during erection.

D. Base and Bearing Plates: Clean concrete- and masonry-bearing surfaces of bond-reducing materials, and roughen surfaces prior to setting plates. Clean bottom surface of plates.

1. Set plates for structural members on wedges, shims, or setting nuts as required.

2. Tighten anchor rods after supported members have been positioned and plumbed. Do not remove wedges or shims but, if protruding, cut off flush with edge of plate before packing with grout.

3. Promptly pack grout solidly between bearing surfaces and plates so no voids remain. Neatly finish exposed surfaces; protect grout and allow to cure. Comply with manufacturer's written installation instructions for shrinkage-resistant grouts.

E. Align and adjust structural framing before permanently fastening. Before assembly, clean bearing surfaces and other surfaces that will be in permanent contact with framing. Perform necessary adjustments to compensate for discrepancies in elevations and alignment.

1. Level and plumb individual members of structure.

Review subparagraph below with structural engineer and revise to suit Project. Delete if not required.

2. Make allowances for difference between temperature at time of erection and mean temperature when structure will be completed and in service.

F. Primary Framing and End Walls: Erect framing level, plumb, rigid, secure, and true to line. Level baseplates to a true even plane with full bearing to supporting structures, set with double-nutted anchor bolts. Use grout to obtain uniform bearing and to maintain a level base-line elevation. Moist-cure grout for not less than seven days after placement.

In turn-of-the-nut method described in publication referenced in subparagraph below, bolts must first be snug tight, defined as the full effect of a man using an ordinary spud wrench. Nuts are then turned an additional one-third of a turn to produce minimum allowed tension. See RCSC for specific requirements.

1. Make field connections using high-strength bolts installed according to RCSC's "Specification for Structural Joints Using ASTM A 325 or A 490 Bolts" for bolt type and joint type specified.

a. Joint Type: Snug tightened or pretensioned.

G. Secondary Framing: Erect framing level, plumb, rigid, secure, and true to line. Field bolt secondary framing to clips attached to primary framing.

1. Provide rake or gable purlins with tight-fitting closure channels and fasciae.

2. Locate and space wall girts to suit openings such as doors and windows.

Retain first subparagraph below if canopies are required.

3. Locate canopy framing as indicated.

4. Provide supplemental framing at entire perimeter of openings, including doors, windows, louvers, ventilators, and other penetrations of roof and walls.

Retain first paragraph below if steel joist purlins are required; otherwise, delete.

H. Steel Joists: Install joists and accessories plumb, square, and true to line; securely fasten to supporting construction according to SJI's "Standard Specifications and Load Tables for Steel Joists and Joist Girders," joist manufacturer's written instructions, and requirements in this Section.

1. Before installation, splice joists delivered to Project site in more than one piece.

2. Space, adjust, and align joists accurately in location before permanently fastening.

3. Install temporary bracing and erection bridging, connections, and anchors to ensure that joists are stabilized during construction.

4. Bolt joists to supporting steel framework using carbon-steel bolts unless high-strength structural bolts are required by the manufacturer.

5. Comply with RCSC's "Specification for Structural Joints Using ASTM A 325 or A 490 Bolts" for high-strength structural bolt installation and tightening requirements.

6. Install and connect bridging concurrently with joist erection, before construction loads are applied. Anchor ends of bridging lines at top and bottom chords if terminating at walls or beams.

I. Bracing: Install bracing in roof and sidewalls where indicated on erection drawings.

1. Tighten rod and cable bracing to avoid sag.

2. Locate interior end-bay bracing only where indicated.

J. Framing for Openings: Provide shapes of proper design and size to reinforce openings and to carry loads and vibrations imposed, including equipment furnished under mechanical and electrical work. Securely attach to structural framing.

K. Erection Tolerances: Maintain erection tolerances of structural framing within AISC 303.

3.2 METAL PANEL INSTALLATION, GENERAL

A. General: Anchor metal panels and other components of the Work securely in place, with provisions for thermal and structural movement.

1. Field cut metal panels as required for doors, windows, and other openings. Cut openings as small as possible, neatly to size required, and without damage to adjacent metal panel finishes.

a. Field cutting of metal panels by torch is not permitted unless approved in writing by manufacturer.

2. Install metal panels perpendicular to structural supports unless otherwise indicated.

3. Flash and seal metal panels with weather closures at perimeter of openings and similar elements. Fasten with self-tapping screws.

4. Locate and space fastenings in uniform vertical and horizontal alignment.

5. Locate metal panel splices over, but not attached to, structural supports with end laps in alignment.

6. Lap metal flashing over metal panels to allow moisture to run over and off the material.

B. Lap-Seam Metal Panels: Install screw fasteners using power tools with controlled torque adjusted to compress EPDM washers tightly without damage to washers, screw threads, or metal panels. Install screws in predrilled holes.

1. Arrange and nest side-lap joints so prevailing winds blow over, not into, lapped joints. Lap ribbed or fluted sheets one full rib corrugation. Apply metal panels and associated items for neat and weathertight enclosure. Avoid "panel creep" or application not true to line.

C. Metal Protection: Where dissimilar metals contact each other or corrosive substrates, protect against galvanic action by painting contact surfaces with corrosion-resistant coating, by applying rubberized-asphalt underlayment to each contact surface, or by other permanent separation as recommended by metal roof panel manufacturer.

D. Joint Sealers: Install gaskets, joint fillers, and sealants where indicated and where required for weatherproof performance of metal panel assemblies. Provide types of gaskets, fillers, and sealants recommended by metal panel manufacturer.

1. Seal metal panel end laps with double beads of tape or sealant the full width of panel. Seal side joints where recommended by metal panel manufacturer.

Retain subparagraph below if joint-sealant work is part of this Section.

2. Prepare joints and apply sealants to comply with requirements in Section 079200 "Joint Sealants."

3.3 METAL ROOF PANEL INSTALLATION

A. General: Provide metal roof panels of full length from eave to ridge unless otherwise indicated or restricted by shipping limitations.

1. Install ridge[ and hip] caps as metal roof panel work proceeds.

2. Flash and seal metal roof panels with weather closures at eaves and rakes. Fasten with self-tapping screws.

B. Standing-Seam Metal Roof Panels: Fasten metal roof panels to supports with concealed clips at each standing-seam joint, at location and spacing and with fasteners recommended by manufacturer.

1. Install clips to supports with self-drilling or self-tapping fasteners.

2. Install pressure plates at locations indicated in manufacturer's written installation instructions.

Retain one of first two subparagraphs below; coordinate with products selected in Part 2.

3. Snap Joint: Nest standing seams and fasten together by interlocking and completely engaging factory-applied sealant.

4. Seamed Joint: Crimp standing seams with manufacturer-approved motorized seamer tool so that clip, metal roof panel, and factory-applied sealant are completely engaged.

5. Rigidly fasten eave end of metal roof panels and allow ridge end free movement due to thermal expansion and contraction. Predrill panels for fasteners.

6. Provide metal closures at [peaks] [rake edges] [rake walls] [and] each side of ridge[ and hip] caps.

C. Lap-Seam Metal Roof Panels: Fasten metal roof panels to supports with exposed fasteners at each lapped joint, at location and spacing recommended by manufacturer.

1. Provide metal-backed sealing washers under heads of exposed fasteners bearing on weather side of metal roof panels.

2. Provide sealant tape at lapped joints of metal roof panels and between panels and protruding equipment, vents, and accessories.

3. Apply a continuous ribbon of sealant tape to weather-side surface of fastenings on end laps and on side laps of nesting-type metal panels, on side laps of ribbed or fluted metal panels, and elsewhere as needed to make metal panels weatherproof to driving rains.

4. At metal panel splices, nest panels with minimum 6-inch (152-mm) end lap, sealed with butyl-rubber sealant and fastened together by interlocking clamping plates.

D. Metal Fascia Panels: Align bottom of metal panels and fasten with blind rivets, bolts, or self-drilling or self-tapping screws. Flash and seal metal panels with weather closures where fasciae meet soffits, along lower panel edges, and at perimeter of all openings.

3.4 METAL WALL PANEL INSTALLATION

A. General: Install metal wall panels in orientation, sizes, and locations indicated on Drawings. Install panels perpendicular to girts, extending full height of building, unless otherwise indicated. Anchor metal wall panels and other components of the Work securely in place, with provisions for thermal and structural movement.

1. Unless otherwise indicated, begin metal panel installation at corners with center of rib lined up with line of framing.

2. Shim or otherwise plumb substrates receiving metal wall panels.

3. When two rows of metal panels are required, lap panels 4 inches (102 mm) minimum.

4. When building height requires two rows of metal panels at gable ends, align lap of gable panels over metal wall panels at eave height.

5. Rigidly fasten base end of metal wall panels and allow eave end free movement due to thermal expansion and contraction. Predrill panels.

6. Flash and seal metal wall panels with weather closures at eaves, rakes, and at perimeter of all openings. Fasten with self-tapping screws.

7. Install screw fasteners in predrilled holes.

8. Install flashing and trim as metal wall panel work proceeds.

9. Apply elastomeric sealant continuously between metal base channel (sill angle) and concrete, and elsewhere as indicated; or, if not indicated, as necessary for waterproofing.

10. Align bottom of metal wall panels and fasten with blind rivets, bolts, or self-drilling or self-tapping screws.

11. Provide weatherproof escutcheons for pipe and conduit penetrating exterior walls.

B. Metal Wall Panels: Install metal wall panels on exterior side of girts. Attach metal wall panels to supports with fasteners as recommended by manufacturer.

3.5 METAL SOFFIT PANEL INSTALLATION

A. Provide metal soffit panels the full width of soffits. Install panels perpendicular to support framing.

B. Flash and seal metal soffit panels with weather closures where panels meet walls and at perimeter of all openings.

3.6 THERMAL INSULATION INSTALLATION

Retain this article if insulation is required; delete if using only factory-assembled, insulated metal panels.

A. General: Install insulation concurrently with metal panel installation, in thickness indicated to cover entire surface, according to manufacturer's written instructions.

Retain first two subparagraphs below if units are furnished with vapor-retarder faces.

1. Set vapor-retarder-faced units with vapor retarder toward warm side of construction unless otherwise indicated. Do not obstruct ventilation spaces except for firestopping.

2. Tape joints and ruptures in vapor retarder, and seal each continuous area of insulation to the surrounding construction to ensure airtight installation.

3. Install factory-laminated, vapor-retarder-faced blankets straight and true in one-piece lengths, with both sets of facing tabs sealed, to provide a complete vapor retarder.

B. Blanket Roof Insulation: Comply with the following installation method:

Retain one of first four subparagraphs below.

1. Over-Framing Installation: Extend insulation and vapor retarder over and perpendicular to top flange of secondary framing. Hold in place by metal roof panels fastened to secondary framing.

First subparagraph below accommodates thicker insulation with no compression at purlins; however, thermal bridging occurs through metal roof panels in direct contact with structure.

2. Between-Purlin Installation: Extend insulation and vapor retarder between purlins. Carry vapor-retarder-facing tabs up and over purlin, overlapping adjoining facing of next insulation course and maintaining continuity of retarder. Hold in place with bands and crossbands below insulation.

Thermal spacer blocks in first two subparagraphs below can retard heat transfer at purlins. Blocks are typically used with standing-seam systems attached to structural members by clips instead of lap-seam systems attached by screw fasteners.

First subparagraph below accommodates thicker insulation with compression occurring at structure.

3. Over-Purlin-with-Spacer-Block Installation: Extend insulation and vapor retarder over and perpendicular to top flange of secondary framing. Install layer of filler insulation over first layer to fill space formed by metal roof panel standoffs. Hold in place by panels fastened to standoffs.

a. Thermal Spacer Blocks: Where metal roof panels attach directly to purlins, install thermal spacer blocks.

First subparagraph below accommodates thicker insulation with no compression.

4. Two-Layers-between-Purlin-with-Spacer-Block Installation: Extend insulation and vapor retarder between purlins. Carry vapor-retarder-facing tabs up and over purlin, overlapping adjoining facing of next insulation course and maintaining continuity of retarder. Install layer of filler insulation over first layer to fill space between purlins formed by thermal spacer blocks. Hold in place with bands and crossbands below insulation.

a. Thermal Spacer Blocks: Where metal roof panels attach directly to purlins, install thermal spacer blocks.

5. Retainer Strips: Install retainer strips at each longitudinal insulation joint, straight and taut, nesting with secondary framing to hold insulation in place.

C. Blanket Wall Insulation: Extend insulation and vapor retarder over and perpendicular to top flange of secondary framing. Hold in place by metal wall panels fastened to secondary framing.

1. Retainer Strips: Install retainer strips at each longitudinal insulation joint, straight and taut, nesting with secondary framing to hold insulation in place.

2. Sound-Absorption Insulation: Where sound-absorption requirement is indicated for metal liner panels, cover insulation with polyethylene film and provide inserts of wire mesh to form acoustical spacer grid.

3.7 DOOR AND FRAME INSTALLATION

Retain door types in this article that are specified in Part 2.

A. General: Install doors and frames plumb, rigid, properly aligned, and securely fastened in place according to manufacturers' written instructions. Coordinate installation with wall flashings and other components. Seal perimeter of each door frame with elastomeric sealant used for metal wall panels.

B. Personnel Doors and Frames: Install doors and frames according to SDI A250.8.

Retain first paragraph below if doors are not preglazed.

C. Field Glazing: Comply with installation requirements in Section 088000 "Glazing."

Retain paragraph below if hardware is not specified in Section 087100 "Door Hardware" and Section 087111 "Door Hardware (Descriptive Specification)"

D. Door Hardware: Mount units at heights indicated in DHI's "Recommended Locations for Architectural Hardware for Standard Steel Doors and Frames."

1. Install surface-mounted items after finishes have been completed on substrates involved.

2. Set units level, plumb, and true to line and location. Adjust and reinforce attachment substrates as necessary for proper installation and operation.

3. Drill and countersink units that are not factory prepared for anchorage fasteners. Space fasteners and anchors according to industry standards.

4. Set thresholds for exterior doors in full bed of butyl-rubber sealant complying with requirements specified in Section 079200 "Joint Sealants."

3.8 WINDOW INSTALLATION

Retain this article if window installation is not specified elsewhere.

A. General: Install windows plumb, rigid, properly aligned, without warp or rack of frames or sash, and securely fasten in place according to manufacturer's written instructions. Coordinate installation with wall flashings and other components. Seal perimeter of each window frame with elastomeric sealant used for metal wall panels.

1. Separate dissimilar materials from sources of corrosion or electrolytic action at points of contact with other materials by complying with requirements specified in AAMA/WDMA/CSA 101/I.S.2/A440.

B. Set sill members in bed of sealant or with gaskets, as indicated, for weathertight construction.

C. Install windows and components to drain condensation, water penetrating joints, and moisture migrating within windows to the exterior.

D. Mount screens directly to frames with tapped screw clips.

Retain paragraph below for windows not factory glazed.

E. Field Glazing: Comply with installation requirements in Section 088000 "Glazing."

3.9 ACCESSORY INSTALLATION

A. General: Install accessories with positive anchorage to building and weathertight mounting, and provide for thermal expansion. Coordinate installation with flashings and other components.

1. Install components required for a complete metal roof panel assembly, including trim, copings, ridge closures, seam covers, flashings, sealants, gaskets, fillers, closure strips, and similar items.

2. Install components for a complete metal wall panel assembly, including trim, copings, corners, seam covers, flashings, sealants, gaskets, fillers, closure strips, and similar items.

3. Where dissimilar metals contact each other or corrosive substrates, protect against galvanic action by painting contact surfaces with corrosion-resistant coating, by applying rubberized-asphalt underlayment to each contact surface, or by other permanent separation as recommended by manufacturer.

B. Flashing and Trim: Comply with performance requirements, manufacturer's written installation instructions, and SMACNA's "Architectural Sheet Metal Manual." Provide concealed fasteners where possible, and set units true to line and level as indicated. Install work with laps, joints, and seams that will be permanently watertight and weather resistant.

1. Install exposed flashing and trim that is without excessive oil-canning, buckling, and tool marks and that is true to line and levels indicated, with exposed edges folded back to form hems. Install sheet metal flashing and trim to fit substrates and to result in waterproof and weather-resistant performance.

2. Expansion Provisions: Provide for thermal expansion of exposed flashing and trim. Space movement joints at a maximum of 10 feet (3 m) with no joints allowed within 24 inches (600 mm) of corner or intersection. Where lapped or bayonet-type expansion provisions cannot be used or would not be sufficiently weather resistant and waterproof, form expansion joints of intermeshing hooked flanges, not less than 1 inch (25 mm) deep, filled with mastic sealant (concealed within joints).

C. Gutters: Join sections with riveted-and-soldered or lapped-and-sealed joints. Attach gutters to eave with gutter hangers spaced as required for gutter size, but not more than 36 inches (914 mm) o.c. using manufacturer's standard fasteners. Provide end closures and seal watertight with sealant. Provide for thermal expansion.

D. Downspouts: Join sections with 1-1/2-inch (38-mm) telescoping joints. Provide fasteners designed to hold downspouts securely 1 inch (25 mm) away from walls; locate fasteners at top and bottom and at approximately 60 inches (1524 mm) o.c. in between.

Retain one of two subparagraphs below.

1. Provide elbows at base of downspouts to direct water away from building.

2. Tie downspouts to underground drainage system indicated.

E. Circular Roof Ventilators: Set ventilators complete with necessary hardware, anchors, dampers, weather guards, rain caps, and equipment supports. Mount ventilators on flat level base. Install preformed filler strips at base to seal ventilator to metal roof panels.

F. Continuous Roof Ventilators: Set ventilators complete with necessary hardware, anchors, dampers, weather guards, rain caps, and equipment supports. Join sections with splice plates and end-cap skirt assemblies where required to achieve indicated length. Install preformed filler strips at base to seal ventilator to metal roof panels.

G. Roof Curbs: Install curbs at locations indicated on Drawings. Install flashing around bases where they meet metal roof panels.

H. Pipe Flashing: Form flashing around pipe penetration and metal roof panels. Fasten and seal to panel as recommended by manufacturer.

3.10 FIELD QUALITY CONTROL

Retain first option in first paragraph below if Owner engages special inspector. Consider retaining second option if authorities having jurisdiction allow Contractor to engage special inspector. If retaining second option, retain "Field quality-control reports" Paragraph in "Informational Submittals" Article. See "Testing and Inspecting Considerations" Article in the Evaluations.

A. Special Inspections: [Owner will engage] [Engage] a qualified special inspector to perform special inspections.

Retain first paragraph below, with or without paragraph above, to identify who shall perform tests and inspections. If retaining second option in first paragraph, retain "Field quality-control reports" Paragraph in "Informational Submittals" Article.

B. Testing Agency: [Owner will engage] [Engage] a qualified testing agency to perform tests and inspections.

Revise first paragraph below to describe tests and inspections to be performed.

C. Tests and Inspections:

RCSC prescribes inspection for snug-tightened joints and testing and inspection for each method of pretensioning joints.

1. High-Strength, Field-Bolted Connections: Connections shall be[ tested and] inspected during installation according to RCSC's "Specification for Structural Joints Using ASTM A 325 or A 490 Bolts."

2. Welded Connections: In addition to visual inspection, field-welded connections shall be tested and inspected according to AWS D1.1/D1.1M and the following inspection procedures, at inspector's option:

Retain applicable nondestructive testing methods in four subparagraphs below. Revise to indicate extent of weld inspections if applicable and to insert alternative acceptance criteria to AWS D1.1/D1.1M if required.

a. Liquid Penetrant Inspection: ASTM E 165.

b. Magnetic Particle Inspection: ASTM E 709; performed on root pass and on finished weld. Cracks or zones of incomplete fusion or penetration will not be accepted.

c. Ultrasonic Inspection: ASTM E 164.

d. Radiographic Inspection: ASTM E 94.

See Section 014000 "Quality Requirements" for retesting and reinspecting requirements and Section 017300 "Execution" for requirements for correcting the Work.

D. Product will be considered defective if it does not pass tests and inspections.

E. Prepare test and inspection reports.

END OF SECTION 133419

	METAL BUILDING SYSTEMS
	133419 - 1



