Copyright 2012 AIA
MasterSpec Professional
03/12

Copyright 2012 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 224223 - COMMERCIAL SHOWERS
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section Includes:

1. Individual showers.

2. Shower faucets.

3. Grout.

1.2 ACTION SUBMITTALS

A. Product Data: For each type of product.

B. LEED Submittals:

Retain "Product Data for Prerequisite WE 1 ( and Credit WE 3) (, Credit WE 2, and Credit WE 3)" Subparagraph below for LEED-NC, LEED-CS, and LEED for Schools for fixtures and equipment that consume water.

1. Product Data for Prerequisite WE 1[ and Credit WE 3] [, Credit WE 2, and Credit WE 3]: Documentation indicating flow and water consumption requirements.

Retain "Product Data for Prerequisite WE 1" Subparagraph below for LEED-CI for fixtures and equipment that consume water.

2. Product Data for Prerequisite WE 1: Documentation indicating flow and water consumption requirements.

Retain "Product Data for Prerequisite WE 1( and Credit WE 2)" Subparagraph below for LEED-EB for fixtures and equipment that consume water.

3. Product Data for Prerequisite WE 1[ and Credit WE 2]: Documentation indicating flow and water consumption requirements.

1.3 CLOSEOUT SUBMITTALS

A. Maintenance data.

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

Do not use same shower designation as is used for another shower in Section 224100 "Residential Plumbing Fixtures," Section 224300 "Medical Plumbing Fixtures," Section 224500 "Emergency Plumbing Fixtures," and Section 224600 "Security Plumbing Fixtures."

2.1 INDIVIDUAL SHOWERS

Copy "Individual FRP Showers" Paragraph below and re-edit for each type of individual, FRP, shower required.

Insert number to complete drawing designation. Use these designations on Drawings to identify each shower.

A. Individual FRP Showers <Insert drawing designation>:

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Aqua Glass Corporation.

b. Clarion Bathware.

c. Florestone Products Co., Inc.

d. LASCO Bathware.

e. MAAX.

f. MAAX; Aker Division.

g. Praxis Industries, LLC.; Aquarius Bathware.

h. Sterling; a Kohler company.

i. Swan Corporation (The).

j. <Insert manufacturer's name>.

3. General: FRP[, accessible,] shower enclosure with faucet and receptor[ and appurtenances].

4. Standard: ANSI Z124.1.2.

5. Type: [One-piece unit with top] [One-piece unit without top] [Sectional unit with top] [Sectional unit without top].

6. Style: [Standard residential] [Handicapped/wheelchair].

Coordinate "Faucet" Subparagraph below with "Shower Faucets" Article.

7. Faucet: <Insert faucet designation from "Shower Faucets" Article>.

8. Nominal Size and Shape: [30 by 30 inches (762 by 762 mm) square] [32 by 32 inches (813 by 813 mm) square] [34 by 34 inches (864 by 864 mm) square] [36 by 36 inches (915 by 915 mm) square] [48 by 34 to 36 inches (1219 by 864 to 915 mm) rectangular] [60 by 34 to 36 inches (1524 by 864 to 915 mm) rectangular] [36 inches (915 mm) neo-corner (two walls)] [36 inches (915 mm) neo-corner (four walls)] [38 inches (965 mm) neo-corner (two walls)] [38 inches (965 mm) neo-corner (four walls)] [42 inches (1067 mm) neo-corner (two walls)] [42 inches (1067 mm) neo-corner (four walls)] <Insert dimensions>.

9. Color: [White] <Insert color>.

10. Bathing Surface: Slip resistant according to ASTM F 462.

11. Outlet: Drain with [NPS 2 (DN 50)] <Insert size> outlet.

"Shower Rod and Curtain" and "Grab Bar" subparagraphs below are useful appurtenances.

12. Shower Rod and Curtain: [Not required] [Required].

13. Grab Bar: [ASTM F 446, mounted on support area back wall] [Not required].

Copy "Individual PMMA Showers" Paragraph below and re-edit for each type of individual, PMMA, shower required.

Insert number to complete drawing designation. Use these designations on Drawings to identify each shower.

B. Individual PMMA Showers <Insert drawing designation>:

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Acryline USA, Inc.

b. Aqua Bath Company, Inc.

c. Aqua Glass Corporation.

d. Aquatic Industries, Inc.

e. Clarion Bathware.

f. Crane Plumbing, L.L.C.

g. Jacuzzi Inc.

h. Kohler Co.

i. LASCO Bathware.

j. MAAX.

k. Praxis Industries, LLC.; Aquarius Bathware.

l. <Insert manufacturer's name>.

3. General: PMMA shower enclosure with faucet and receptor[ and appurtenances].

4. Standard: ANSI Z124.1.2.

5. Type: [One-piece unit with top] [One-piece unit without top] [Sectional unit with top] [Sectional unit without top].

6. Style: [Standard residential] [Handicapped/wheelchair].

Coordinate "Faucet" Subparagraph below with "Shower Faucets" Article.

7. Faucet: <Insert faucet designation from "Shower Faucets" Article>.

8. Nominal Size and Shape: [30 by 30 inches (762 by 762 mm) square] [32 by 32 inches (813 by 813 mm) square] [34 by 34 inches (864 by 864 mm) square] [36 by 36 inches (915 by 915 mm) square] [48 by 34 to 36 inches (1219 by 864 to 915 mm) rectangular] [60 by 34 to 36 inches (1524 by 864 to 915 mm) rectangular] [36 inches (915 mm) neo-corner (two walls)] [36 inches (915 mm) neo-corner (four walls)] [38 inches (965 mm) neo-corner (two walls)] [38 inches (965 mm) neo-corner (four walls)] [42 inches (1067 mm) neo-corner (two walls)] [42 inches (1067 mm) neo-corner (four walls)] <Insert dimensions>.

9. Color: [White] <Insert color>.

10. Bathing Surface: Slip resistant according to ASTM F 462.

11. Outlet: Drain with [NPS 2 (DN 50)] <Insert size> outlet.

"Shower Rod and Curtain" and "Grab Bar" subparagraphs below are useful appurtenances.

12. Shower Rod and Curtain: [Not required] [Required].

13. Grab Bar: [ASTM F 446, mounted on support area back wall] [Not required].

2.2 SHOWER FAUCETS

A. NSF Standard: Comply with NSF 61, "Drinking Water System Components - Health Effects," for shower materials that will be in contact with potable water.

Copy "Shower Faucets" Paragraph below and re-edit for each type of shower faucet required.

Insert number to complete drawing designation. Use these designations on Drawings to identify each shower faucet.

B. Shower Faucets <Insert drawing designation>:

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. American Standard America.

b. Chicago Faucets.

c. Ferguson Enterprises, Inc.; ProFlo Brand.

d. Kohler Co.

e. Lawler Manufacturing Co., Inc.

f. Leonard Valve Company.

g. Matco-Norca.

h. Moen Incorporated.

i. Powers; a division of Watts Water Technologies, Inc.

j. Speakman Company.

k. Zurn Industries, LLC; AquaSpec Commercial Faucet Products.

l. <Insert manufacturer's name>.

3. Description: Single-handle, pressure-balance mixing valve with hot- and cold-water indicators; check stops; and shower head.

4. Faucet:

a. Standards: ASME A112.18.1/CSA B125.1 and ASSE 1016.

b. Body Material: Solid brass.

c. Finish: Polished chrome plate.

d. Maximum Flow Rate: [2.5 gpm (9.5 L/min.)] <Insert value> unless otherwise indicated.

e. Mounting: [Concealed] [Exposed].

f. Operation: Single-handle, [push-pull] [or] [twist or rotate] control.

g. Antiscald Device: [Integral with mixing valve] [Separate unit] [Not required].

h. Check Stops: Check-valve type, integral with or attached to body; on hot- and cold-water supply connections.

5. Supply Connections: NPS 1/2 (DN 15).

6. Shower Head:

a. Standard: ASME A112.18.1/CSA B125.1.

b. Type: [Ball joint with arm and flange] [Without ball joint, but with arm and flange] [Ball joint and head integral with mounting flange] [Integral with mounting flange] <Insert type>.

c. Shower Head Material: Metallic with chrome-plated finish.

d. Spray Pattern: [Adjustable] [Fixed].

e. Integral Volume Control: [Not required] [Required].

Retain "Shower-Arm, Flow-Control Fitting" Subparagraph below only if option retained in "Type" Subparagraph above includes arm and flange.

f. Shower-Arm, Flow-Control Fitting: [Not required] [1.5 gpm (5.7 L/min.)] [2.0 gpm (7.6 L/min.)].

Verify availability of feature in "Temperature Indicator" Subparagraph below if required.

g. Temperature Indicator: [Integral with faucet] [Not required].

Insert number to complete drawing designation. Use these designations on Drawings to identify each shower faucet.

C. Shower Faucets <Insert drawing designation>:

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Chicago Faucets.

b. Lawler Manufacturing Co., Inc.

c. Leonard Valve Company.

d. Powers; a division of Watts Water Technologies, Inc.

e. <Insert manufacturer's name>.

3. Description: Single-handle, thermostatic mixing valve with hot- and cold-water indicators; check stops; and shower head.

4. Faucet:

a. Standards: ASME A112.18.1/CSA B125.1 and ASSE 1016.

b. Body Material: Solid brass.

c. Finish: Polished chrome plate.

d. Maximum Flow Rate: [2.5 gpm (9.5 L/min.)] <Insert value> unless otherwise indicated.

e. Mounting: [Concealed] [Exposed].

f. Operation: Single-handle, [push-pull] [or] [twist or rotate] control.

g. Antiscald Device: [Integral with mixing valve] [Separate unit] [Not required].

h. Check Stops: Check-valve type, integral with or attached to body; on hot- and cold-water supply connections.

5. Supply Connections: NPS 1/2 (DN 15).

6. Shower Head:

a. Standard: ASME A112.18.1/CSA B125.1.

b. Type: [Ball joint with arm and flange] [Without ball joint, but with arm and flange] [Ball joint and head integral with mounting flange] [Integral with mounting flange] <Insert type>.

c. Shower Head Material: Metallic with chrome-plated finish.

d. Spray Pattern: [Adjustable] [Fixed].

e. Integral Volume Control: [Not required] [Required].

Retain "Shower-Arm, Flow-Control Fitting" Subparagraph below only if option retained in "Type" Subparagraph above includes arm and flange.

f. Shower-Arm, Flow-Control Fitting: [Not required] [1.5 gpm (5.7 L/min.)] [2.0 gpm (7.6 L/min.)].

Verify availability of feature in "Temperature Indicator" Subparagraph below if required.

g. Temperature Indicator: [Integral with faucet] [Not required].

2.3 GROUT

A. Standard: ASTM C 1107/C 1107M, Grade B, post-hardening and volume-adjusting, dry, hydraulic-cement grout.

B. Characteristics: Nonshrink; recommended for interior and exterior applications.

C. Design Mix: 5000-psi (34.5-MPa), 28-day compressive strength.

D. Packaging: Premixed and factory packaged.

PART 3 -  EXECUTION

3.1 INSTALLATION

A. Assemble shower components according to manufacturers' written instructions.

B. Install showers level and plumb according to roughing-in drawings.

C. Install water-supply piping with stop on each supply to each shower faucet.

1. Exception: Use ball, gate, or globe valves if supply stops are not specified with shower. Comply with valve requirements specified in Section 220523 "General-Duty Valves for Plumbing Piping."

2. Install stops in locations where they can be easily reached for operation.

D. Install shower flow-control fittings with specified maximum flow rates in shower arms.

E. Set shower receptors in leveling bed of cement grout.

F. Install wall flanges or escutcheons at piping wall penetrations in exposed, finished locations. Use deep-pattern escutcheons if required to conceal protruding fittings. Comply with escutcheons requirements specified in Section 220518 "Escutcheons for Plumbing Piping."

Retain paragraph below if sealants are not specified in Section 079200 "Joint Sealants."

G. Seal joints between showers and floors and walls using sanitary-type, one-part, mildew-resistant silicone sealant. Match sealant color to fixture color. Comply with sealant requirements specified in Section 079200 "Joint Sealants."

3.2 CONNECTIONS

Coordinate piping installations and specialty arrangements with schematics on Drawings and with requirements specified in piping systems. If Drawings are explicit enough, these requirements may be reduced or omitted.

A. Connect fixtures with water supplies, stops, and risers, and with traps, soil, waste, and vent piping. Use size fittings required to match fixtures.

B. Comply with water piping requirements specified in Section 221116 "Domestic Water Piping."

C. Comply with traps and soil and waste piping requirements specified in Section 221316 "Sanitary Waste and Vent Piping."

3.3 ADJUSTING

A. Operate and adjust showers and controls. Replace damaged and malfunctioning showers, fittings, and controls.

B. Adjust water pressure at faucets to produce proper flow.

3.4 CLEANING AND PROTECTION

A. After completing installation of showers, inspect and repair damaged finishes.

B. Clean showers, faucets, and other fittings with manufacturers' recommended cleaning methods and materials.

C. Provide protective covering for installed fixtures and fittings.

D. Do not allow use of showers for temporary facilities unless approved in writing by Owner.

END OF SECTION 224223

	COMMERCIAL SHOWERS
	224223 - 1



