Copyright 2010 AIA
MasterSpec Professional
03/10

Copyright 2010 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 224716 - PRESSURE WATER COOLERS
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section includes pressure water coolers and related components.

1.2 ACTION SUBMITTALS

A. Product Data: For each type of pressure water cooler.

B. LEED Submittals:

Retain "Product Data for Prerequisite WE 1( and Credit WE 3) (, Credit WE 2, and Credit WE 3)" Subparagraph below for LEED-NC, LEED-CS, and LEED for Schools for fixtures and equipment that consume water.

1. Product Data for Prerequisite WE 1[ and Credit WE 3] [, Credit WE 2, and Credit WE 3]: Documentation indicating flow and water consumption requirements.

C. Shop Drawings: Include diagrams for power, signal, and control wiring.

1.3 CLOSEOUT SUBMITTALS

A. Maintenance Data: For pressure water coolers to include in maintenance manuals.

1.4 MAINTENANCE MATERIAL SUBMITTALS

A. Furnish extra materials that match products installed and that are packaged with protective covering for storage and identified with labels describing contents.

1. Filter Cartridges: Equal to <Insert number> percent of quantity installed for each type and size indicated, but no fewer than <Insert number> of each.

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

2.1 PRESSURE WATER COOLERS

Copy "Pressure Water Coolers" Paragraph below and re-edit for each type of pressure water cooler required.

Insert number to complete drawing designation. Use these designations on Drawings to identify each pressure water cooler.

A. Pressure Water Coolers <Insert drawing designation>: [Freestanding] [Flush to wall].

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Elkay Manufacturing Co.

b. Halsey Taylor.

c. Haws Corporation.

d. Larco Inc.

e. Tri Palm International, LLC; Oasis Brand.

f. Tri Palm International, LLC; Sunroc Brand.

g. <Insert manufacturer's name>.

3. Standards:

a. Comply with NSF 61.

b. Comply with ASHRAE 34, "Designation and Safety Classification of Refrigerants," for water coolers. Provide HFC 134a (tetrafluoroethane) refrigerant unless otherwise indicated.

4. Cabinet: [All stainless steel] [Steel with powder-coat finish] [Vinyl-covered steel with stainless-steel top] <Insert material>.

5. Bubbler: One, with adjustable stream regulator, located on deck.

6. Control: [Push button] [Foot pedal] <Insert control>.

7. Drain: Grid with NPS 1-1/4 (DN 32) tailpiece.

8. Supply: NPS 3/8 (DN 10) with shutoff valve.

9. Waste Fitting: ASME A112.18.2/CSA B125.2, NPS 1-1/4 (DN 32) brass P-trap.

Retain "Filter" Subparagraph below only if required.

10. Filter: One or more water filters complying with NSF 42 and NSF 53 for cyst and lead reduction to below EPA standards; with capacity sized for unit peak flow rate.

11. Cooling System: Electric, with[ precooler,] hermetically sealed compressor, cooling coil, air-cooled condensing unit, corrosion-resistant tubing, refrigerant, corrosion-resistant-metal storage tank, and adjustable thermostat.

a. Electrical Components, Devices, and Accessories: Listed and labeled as defined in NFPA 70, by a qualified testing agency, and marked for intended location and application.

12. Capacities and Characteristics:

a. Cooled Water: [5 gph (0.0053 L/s)] [8 gph (0.0084 L/s)] [10 gph (0.0105 L/s)] [14 gph (0.0147 L/s)] <Insert value>.

b. Ambient-Air Temperature: 90 deg F (32 deg C).

c. Inlet-Water Temperature: 80 deg F (27 deg C.)
d. Cooled-Water Temperature: 50 deg F (10 deg C).

e. Cooled-Water Storage: <Insert value>.

f. Electrical Characteristics:

1) Motor Horsepower: [1/6] [1/5] [1/4] <Insert value>.

2) Volts: 120-V ac.

3) Phase: Single.

4) Hertz: 60.

5) Full-Load Amperes: <Insert value>.

6) Minimum Circuit Ampacity: <Insert value>.

7) Maximum Overcurrent Protection: <Insert amperage>.

Copy "Pressure Water Coolers" Paragraph below and re-edit for each type of wall-mounted pressure water cooler required.

Insert number to complete drawing designation. Use these designations on Drawings to identify each pressure water cooler.

B. Pressure Water Coolers <Insert drawing designation>: Wall mounted[, standard] [, wheelchair accessible].

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Elkay Manufacturing Co.

b. Halsey Taylor.

c. Haws Corporation.

d. Larco Inc.

e. Tri Palm International, LLC; Oasis Brand.

f. Tri Palm International, LLC; Sunroc Brand.

g. <Insert manufacturer's name>.

3. Cabinet: [Single] [Bi-level with two attached cabinets] [Bi-level with two attached cabinets and with a bi-level skirt kit], [all stainless steel] [vinyl-covered steel with stainless-steel top] <Insert material>.

4. Bubbler: One, with adjustable stream regulator, located on each cabinet deck.

5. Control: [Push button] [Push bar] <Insert control>.

6. Drain: Grid with NPS 1-1/4 (DN 32) tailpiece.

7. Supply: NPS 3/8 (DN 10) with shutoff valve.

8. Waste Fitting: ASME A112.18.2/CSA B125.2, NPS 1-1/4 (DN 32) brass P-trap.

Retain "Filter" Subparagraph below only if required.

9. Filter: One or more water filters complying with NSF 42 and NSF 53 for cyst and lead reduction to below EPA standards; with capacity sized for unit peak flow rate.

10. Cooling System: Electric, with hermetically sealed compressor, cooling coil, air-cooled condensing unit, corrosion-resistant tubing, refrigerant, corrosion-resistant-metal storage tank, and adjustable thermostat.

a. Electrical Components, Devices, and Accessories: Listed and labeled as defined in NFPA 70, by a qualified testing agency, and marked for intended location and application.

11. Capacities and Characteristics:

a. Cooled Water: [5 gph (0.0053 L/s)] [8 gph (0.0084 L/s)] <Insert value>.

b. Ambient-Air Temperature: 90 deg F (32 deg C).

c. Inlet-Water Temperature: 80 deg F (27 deg C).

d. Cooled-Water Temperature: 50 deg F (10 deg C).

e. Cooled-Water Storage: <Insert value>.

f. Electrical Characteristics:

1) Motor Horsepower: [1/6] [1/5] [1/4] [1/3] <Insert value>.

2) Volts: 120-V ac.

3) Phase: Single.

4) Hertz: 60.

5) Full-Load Amperes: <Insert value>.

6) Minimum Circuit Ampacity: <Insert value>.

7) Maximum Overcurrent Protection: <Insert amperage>.

12. Support: ASME A112.6.1M, Type I water-cooler carrier.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine roughing-in for water-supply and sanitary drainage and vent piping systems to verify actual locations of piping connections before fixture installation.

B. Examine walls and floors for suitable conditions where fixtures will be installed.

C. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 INSTALLATION

A. Install fixtures level and plumb according to roughing-in drawings. For fixtures indicated for children, install at height required by authorities having jurisdiction.

B. Set freestanding pressure water coolers on floor.

C. Install off-the-floor carrier supports, affixed to building substrate, for wall-mounted fixtures.

D. Install water-supply piping with shutoff valve on supply to each fixture to be connected to domestic-water distribution piping. Use ball, gate, or globe valve. Install valves in locations where they can be easily reached for operation. Valves are specified in Section 220523 "General-Duty Valves for Plumbing Piping."

E. Install trap and waste piping on drain outlet of each fixture to be connected to sanitary drainage system.

F. Install wall flanges or escutcheons at piping wall penetrations in exposed, finished locations. Use deep-pattern escutcheons where required to conceal protruding fittings. Comply with escutcheon requirements specified in Section 220518 "Escutcheons for Plumbing Piping."

G. Seal joints between fixtures and walls using sanitary-type, one-part, mildew-resistant, silicone sealant. Match sealant color to fixture color. Comply with sealant requirements specified in Section 079200 "Joint Sealants."

3.3 CONNECTIONS

Coordinate piping installations and specialty arrangements with Drawings and with requirements specified in piping systems. If Drawings are explicit enough, these requirements may be reduced or omitted.

A. Connect fixtures with water supplies, stops, and risers, and with traps, soil, waste, and vent piping. Use size fittings required to match fixtures.

B. Comply with water piping requirements specified in Section 221116 "Domestic Water Piping."

C. Install ball, gate, or globe shutoff valve on water supply to each fixture.[ Install valve upstream from filter for water cooler.] Comply with valve requirements specified in Section 220523 "General-Duty Valves for Plumbing Piping."

D. Comply with soil and waste piping requirements specified in Section 221316 "Sanitary Waste and Vent Piping."

3.4 ADJUSTING

A. Adjust fixture flow regulators for proper flow and stream height.

B. Adjust pressure water-cooler temperature settings.

3.5 CLEANING

A. After installing fixture, inspect unit. Remove paint splatters and other spots, dirt, and debris. Repair damaged finish to match original finish.

B. Clean fixtures, on completion of installation, according to manufacturer's written instructions.

C. Provide protective covering for installed fixtures.

D. Do not allow use of fixtures for temporary facilities unless approved in writing by Owner.

END OF SECTION 224716

	PRESSURE WATER COOLERS
	224716 - 1



