Copyright 2010 AIA
MasterSpec Professional
08/10

Copyright 2006 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 316216 - STEEL PILES
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section includes steel H piles.

1.2 UNIT PRICES

Coordinate with bidding and proposal forms as well as Section 012200 "Unit Prices."

A. The Contract Sum: Base the Contract Sum on number and dimensions of piles indicated from tip to cutoff, plus not less than 12 inches (305 mm) of overlength.

B. Work of this Section is affected as follows:

Retain first subparagraph below for unit prices based on pile length.

1. Additional payment for pile lengths in excess of that indicated, and credit for pile lengths less than that indicated, will be calculated at unit prices stated in the Contract, based on net addition or deduction to total pile length as determined by Architect measured to nearest 12 inches (305 mm).

a. Additional payment for splices required to extend pile lengths in excess of that indicated will be calculated at unit prices stated in the Contract.

Retain first subparagraph below for unit prices based on number of piles.

2. Additional payment for number of piles in excess of that indicated, and credit for number of piles less than that indicated, will be calculated at unit prices stated in the Contract.

3. Unit prices include labor, materials, tools, equipment, and incidentals for furnishing, driving, cutting off, capping, and disposing of cutoffs.

4. Test piles that become part of permanent foundation system will be considered as an integral part of the Work.

5. No payment will be made for rejected piles, including piles driven out of tolerance, defective piles, or piles damaged during handling or driving.

1.3 ACTION SUBMITTALS

A. Product Data: For each type of product indicated.

B. Shop Drawings: Show fabrication and installation details for piles, including details of driving points, splices, and pile caps.

1. Indicate welds by standard AWS symbols, distinguishing between shop and field welds, and show size, length, and type of each weld.

1.4 INFORMATIONAL SUBMITTALS

A. Welding certificates.

B. Mill test reports.

C. Pile-Driving Equipment Data: Include type, make, and rated energy range; weight of striking part of hammer; weight of drive cap; and, type, size, and properties of hammer cushion.

D. Pile-driving records.

E. Field quality-control reports.

1.5 QUALITY ASSURANCE

Retain "Welding Qualifications" Paragraph below if shop or field welding is required. If retaining, also retain "Welding certificates" Paragraph in "Informational Submittals" Article.

A. Welding Qualifications: Qualify procedures and personnel according to AWS D1.1/D1.1M, "Structural Welding Code - Steel."

B. Handle and store piles at Project site to prevent buckling or physical damage.

PART 2 -  PRODUCTS

2.1 STEEL H PILES

Retain one or more of three paragraphs below. Indicate locations and lengths on Drawings if more than one steel type is proposed, e.g., for permanently immersed and marine splash zones.

ASTM A 572/A 572M, Grade 50 (Grade 345) in first paragraph below is the most commonly used type of steel for H piles.

A. High-Strength, Low-Alloy, Columbium-Vanadium Structural Steel: ASTM A 572/A 572M, [Grade 50 (Grade 345)] [Grade 60 (Grade 415)] <Insert grade>.

Steel types in both paragraphs below have greater corrosion resistance but also have higher costs and longer delivery time. Both types have yield strengths of 50 ksi (345 MPa). Verify availability with manufacturers.

B. High-Strength, Low-Alloy, Nickel, Copper, Phosphorous Steel H Piles: ASTM A 690/A 690M.

C. High-Strength, Low-Alloy, Structural Steel: ASTM A 588/A 588M.

2.2 PILE ACCESSORIES

A. Driving Points: Manufacturer's standard one-piece driving point, fabricated from steel castings as follows to provide full bearing of web and flange of pile tip:

B. Splice Unit: Manufacturer's standard splice unit, fabricated from two connected steel plates, of same material as H pile or material of equal strength, shaped to encase web and part of each flange.

2.3 FABRICATION

A. Pile-Length Markings: Mark each pile with horizontal lines at 12-inch (305-mm) intervals; label the distance from pile tip at 60-inch (1.52-m) intervals.

Retain one of first two paragraphs below. Piles less than 60 feet (18 m) long should not need splices unless lengths of different steel material are required.

B. Fabricate full-length piles to eliminate splicing during driving, with ends square.

C. Fabricate full-length piles by splicing lengths of H pile together. Accurately mill meeting ends of piles and bevel for welding. Maintain axial alignment of pile lengths.

D. Fit and weld driving points to tip of pile according to manufacturer's written instructions and AWS D1.1/D1.1M for procedures, appearance and quality of welds, and methods used in correcting welding work.

PART 3 -  EXECUTION

3.1 DRIVING PILES

Indicate tip elevations and limiting penetration resistance on Drawings or insert here.

A. General: Continuously drive piles to elevations or penetration resistance indicated. Establish and maintain axial alignment of leads and piles before and during driving.

B. Heaved Piles: Redrive heaved piles to tip elevation at least as deep as original tip elevation with a driving resistance at least as great as original driving resistance.

C. Driving Tolerances: Drive piles without exceeding the following tolerances, measured at pile heads:

Review tolerances in three subparagraphs below and revise to suit Project or office standards.

1. Location: 4 inches (102 mm) from location indicated after initial driving, and 6 inches (152 mm) after pile driving is completed.

2. Plumb: Maintain 1 inch (25 mm) in 4 feet (1.2 m) from vertical, or a maximum of 4 inches (102 mm), measured when pile is aboveground in leads.

3. Batter Angle: Maximum 1 inch (25 mm) in 4 feet (1.2 m) from required angle, measured when pile is aboveground in leads.

D. Withdraw damaged or defective piles and piles that exceed driving tolerances and install new piles within driving tolerances. Fill holes left by withdrawn piles as directed by Architect.

E. Cutting Off: Cut off tops of driven piles square with pile axis and at elevations indicated.

F. Pile-Driving Records: Maintain accurate driving records for each pile[, compiled and attested to by a qualified professional engineer].

3.2 FIELD QUALITY CONTROL

A. Special Inspections: [Owner will engage] [Engage] a qualified special inspector to perform the following special inspections:

1. Pile foundations.

2. <Insert special inspections>.

B. Testing Agency: [Owner will engage] [Engage] a qualified independent testing agency to perform tests and inspections.

C. Tests and Inspections:

1. Dynamic Pile Testing: High-strain dynamic monitoring shall be performed and reported according to ASTM D 4945 during initial driving and during restriking on [five single] [3 percent of] <Insert number or percent of> piles.

2. Weld Testing: In addition to visual inspection, welds shall be tested and inspected according to AWS D1.1/D1.1M.

END OF SECTION 316216

	STEEL PILES
	316216 - 1



