Copyright 2012 AIA
MasterSpec Professional
02/12

Copyright 2012 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 316329 - DRILLED CONCRETE PIERS AND SHAFTS
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section Includes:

1. Dry-installed drilled piers.

1.2 UNIT PRICES

Retain this article if Work specified in this Section is measured and paid for under the provisions of unit prices. Do not include amounts. Insert descriptions of items in Part 2 or 3 to provide information affecting the cost of the Work that is not included under the unit price.

A. Drilled Piers: Actual net volume of drilled piers in place and approved. Actual length, shaft diameter, and bell diameter if applicable, may vary, to coincide with elevations where satisfactory bearing strata are encountered. These dimensions may also vary with actual bearing value of bearing strata determined by an independent testing and inspecting agency. Adjustments are made on net variation of total quantities, based on design dimensions for shafts and bells.

1. Base bids on indicated number of drilled piers and, for each pier, the design length from top elevation to bottom of shaft, extended through the bell, if applicable, and the diameter of shaft and bell.

Separate unit-price items for shaft and bell volumes, if applicable, because costs of belling are much higher than shaft construction.

2. Unit prices include labor, materials, tools, equipment, and incidentals required for excavation, trimming, shoring, casings, dewatering, reinforcement, concrete fill, testing and inspecting, and other items for complete drilled-pier installation.

Retain "Rock Measurement" Paragraph below for classified excavation.

B. Rock Measurement: Volume of rock actually removed, measured in original position, but not to exceed outside dimensions of drilled piers cast against rock. Unit prices for rock excavation include replacement with approved materials.

1.3 PREINSTALLATION MEETINGS

A. Preinstallation Conference: Conduct conference at [Project site] <Insert location>.

1.4 ACTION SUBMITTALS

A. Product Data: For each type of product.

B. Design Mixtures: For each concrete mixture.

Retain "Shop Drawings" Paragraph below if drilled piers are reinforced.

C. Shop Drawings: For concrete reinforcement.

1.5 INFORMATIONAL SUBMITTALS

A. Welding certificates.

B. Material certificates.

C. Material test reports.

D. Field quality-control reports.

1.6 CLOSEOUT SUBMITTALS

A. Record drawings.

1.7 QUALITY ASSURANCE

A. Welding Qualifications: Qualify procedures and personnel according to the following:

1. AWS D1.1/D1.1M, "Structural Welding Code - Steel."

2. AWS D1.4/D1.4M, "Structural Welding Code - Reinforcing Steel."

1.8 FIELD CONDITIONS

If office practice differs from "Project-Site Information" Paragraph below, revise below to suit Project or delete.

A. Project-Site Information: A geotechnical report has been prepared for this Project and is available for information only. The opinions expressed in this report are those of geotechnical engineer and represent interpretations of subsoil conditions, tests, and results of analyses conducted by geotechnical engineer. Owner is not responsible for interpretations or conclusions drawn from this data.

1. Make additional test borings and conduct other exploratory operations necessary for drilled piers.

2. The geotechnical report is [included] [referenced] elsewhere in the Project Manual.

B. Survey Work: Engage a qualified land surveyor or professional engineer to perform surveys, layouts, and measurements for drilled piers. Before excavating, lay out each drilled pier to lines and levels required. Record actual measurements of each drilled pier's location, shaft diameter, bottom and top elevations, deviations from specified tolerances, and other specified data.

1. Record and maintain information pertinent to each drilled pier and indicate on record Drawings.

PART 2 -  PRODUCTS

2.1 PERFORMANCE REQUIREMENTS

A. Drilled-Pier Standard: ACI 336.1 except as modified in this Section.

2.2 STEEL REINFORCEMENT

Retain this article if reinforced-concrete drilled piers are used. Retain type and grade of reinforcement required or revise to suit Project. See the Evaluations in Section 033000 "Cast-in-Place Concrete" for discussion of steel reinforcement.

A. Reinforcing Bars: ASTM A 615/A 615M, Grade 60 (Grade 420), deformed.

Retain "Low-Alloy-Steel Reinforcing Bars" Paragraph below for reinforcement that is welded or if added ductility is sought.

B. Low-Alloy-Steel Reinforcing Bars: ASTM A 706/A 706M, deformed.

C. Plain-Steel Wire: ASTM A 82/A 82M, [as drawn] [galvanized].

2.3 CONCRETE MATERIALS

See the Evaluations in Section 033000 "Cast-in-Place Concrete" for discussion of concrete materials.

A. Cementitious Material: Use the following cementitious materials, of same type, brand, and source, throughout Project:

1. Portland Cement: ASTM C 150/C 150M, [Type I] [Type II] [Type I/II] [Type III] [Type V].[ Supplement with the following:]

a. Fly Ash: ASTM C 618, [Class C] [Class F].

b. Ground Granulated Blast-Furnace Slag: ASTM C 989, Grade 100 or 120.

2. Blended Hydraulic Cement: ASTM C 595/C 595M, [Type IS, portland blast-furnace slag] [Type IP, portland-pozzolan] [Type I (PM), pozzolan-modified portland] [Type I (SM), slag-modified portland] cement.

B. Normal-Weight Aggregate: ASTM C 33/C 33M, graded, [3/4-inch- (19-mm-)] <Insert dimension> nominal maximum coarse-aggregate size.

Retain "Fine Aggregate" Subparagraph below if optional restriction for fine aggregate in ASTM C 33/C 33M is required.

1. Fine Aggregate: Free of materials with deleterious reactivity to alkali in cement.

C. Water: ASTM C 94/C 94M[ and potable].

D. Chemical Admixtures: Provide admixtures certified by manufacturer to be compatible with other admixtures and that do not contribute water-soluble chloride ions exceeding those permitted in hardened concrete. Do not use calcium chloride or admixtures containing calcium chloride.

1. Water-Reducing Admixture: ASTM C 494/C 494M, Type A.

2. Water-Reducing and Retarding Admixture: ASTM C 494/C 494M, Type D.

3. High-Range, Water-Reducing and Retarding Admixture: ASTM C 494/C 494M, Type G.

4. Plasticizing and Retarding Admixture: ASTM C 1017/C 1017M, Type II.

5. <Insert admixture>.

2.4 STEEL CASINGS

Retain this article if permanent steel casings are required.

A. Steel Pipe Casings: ASTM A 283/A 283M, Grade C, or ASTM A 36/A 36M, carbon-steel plate, with joints full-penetration welded according to AWS D1.1/D1.1M.

2.5 CONCRETE MIXTURES AND MIXING

A. Prepare design mixtures for each type and strength of concrete, proportioned on the basis of laboratory trial mixture or field test data, or both, according to ACI 301 (ACI 301M).

B. Cementitious Materials: Limit percentage, by weight, of cementitious materials other than portland cement according to ACI 301 (ACI 301M) limits as if concrete were exposed to deicing chemicals.

Retain first option in first paragraph below if drilled piers are exposed to chlorides in service; retain second option for situations that are not dry or protected from moisture in service. Percentages are from ACI 301 (ACI 301M).

C. Limit water-soluble, chloride-ion content in hardened concrete to [0.15] [0.30] percent by weight of cement.

If different concrete mixtures are required, copy first paragraph below and re-edit to suit Project; indicate locations of each concrete mixture here or on Drawings.

D. Proportion normal-weight concrete mixture as follows:

Retain strength from six options in "Compressive Strength (28 Days)" Subparagraph below.

1. Compressive Strength (28 Days): [6000 psi (41.4 MPa)] [5000 psi (34.5 MPa)] [4500 psi (31 MPa)] [4000 psi (27.6 MPa)] [3500 psi (24.1 MPa)] [3000 psi (20.7 MPa)] <Insert value>.

E. Ready-Mixed Concrete: Measure, batch, mix, and deliver concrete according to ASTM C 94/C 94M, and furnish batch ticket information.

PART 3 -  EXECUTION

3.1 EXCAVATION

Retain "Unclassified Excavation" or "Classified Excavation" Paragraph below. "Unclassified Excavation" Paragraph might be preferred if extensive site investigation reduces risk of facing unanticipated soil conditions. Retain "Classified Excavation" Paragraph if excavation is classified and adjustments in the Contract Sum and, if applicable, in the Contract Time are authorized for excavation for obstructions. Coordinate with unit prices in Part 1.

A. Unclassified Excavation: Excavate to bearing elevations regardless of character of surface and subsurface conditions encountered.

B. Classified Excavation: Excavation is classified as standard excavation, special excavation, and obstruction removal and includes excavation to bearing elevations as follows:

Regional practices described in first two subparagraphs below may vary. Revise to establish more detailed criteria for Project.

In first subparagraph below, insert geotechnical engineer's recommended minimum values for power, torque, and downthrust of drilling equipment if required.

1. Standard excavation includes excavation accomplished with conventional augers fitted with soil or rock teeth, drilling buckets, or underreaming tools attached to drilling equipment of size, power, torque, and downthrust necessary for the Work.

Rock properties in first subparagraph below could be defined by specifying a maximum rate of penetration to define refusal.

2. Special excavation includes excavation that requires special equipment or procedures where drilled-pier excavation equipment used in standard excavation, operating at maximum power, torque, and downthrust, cannot advance the shaft.

3. Obstructions: Payment for removing unanticipated boulders, concrete, masonry, or other subsurface obstructions that cannot be removed by conventional augers fitted with soil or rock teeth, drilling buckets, or underreaming tools attached to drilling equipment of size, power, torque, and downthrust necessary for the Work is according to Contract provisions for changes in the Work.

C. Excavate shafts for drilled piers to indicated elevations. Remove loose material from bottom of excavation.

D. Notify and allow testing and inspecting agency to test and inspect bottom of excavation. If unsuitable bearing stratum is encountered, make adjustments to drilled piers as determined by Architect.

1. Do not excavate shafts deeper than elevations indicated unless approved by Architect.

2. Payment for additional authorized excavation is according to Contract provisions for changes in the Work.

Retain "End-Bearing Drilled Piers" Paragraph below if further exploration below bearing elevation is required for end-bearing piers or if soft soils are suspected. Use of auger probe varies regionally. Delete or revise depth of probe if water-bearing strata may be encountered.

E. End-Bearing Drilled Piers: Probe with auger to a depth below bearing elevation, equal to diameter of the bearing area of drilled pier. Determine whether voids, clay seams, or solution channels exist.

Retain "Temporary Casings" Paragraph below if permanent casings are not required. Temporary casings may not be required if permanent casings are not used.

F. Temporary Casings: Install watertight steel casings of sufficient length and thickness to prevent water seepage into shaft; to withstand compressive, displacement, and withdrawal stresses; and to maintain stability of shaft walls.

1. Remove temporary casings, maintained in plumb position, during concrete placement and before initial set of concrete[, or leave temporary casings in place].

Retain "Bells" Paragraph below if bells are required. Examine soil stability and constructability before designing drilled piers with bells.

G. Bells: Excavate bells for drilled piers to shape, base thickness, and slope angle indicated. Excavate bottom of bells to level plane and remove loose material before placing concrete.

Review ACI 336.1 tolerances and revise "Tolerances" Paragraph below to insert exceptions if applicable.

H. Tolerances: Construct drilled piers to remain within ACI 336.1 tolerances.

3.2 INSTALLATION

Retain this article if installing permanent casings by dry method.

A. Install steel casings of minimum wall thickness indicated and of diameter not less than diameter of drilled pier.

B. Comply with recommendations in CRSI's "Manual of Standard Practice" for fabricating, placing, and supporting reinforcement.

C. Place concrete in continuous operation and without segregation immediately after inspection and approval of shaft by a qualified [Special Inspector] [testing agency].

Revise methods or restrictions in first paragraph below to suit Project. ACI 336.1 permits free-fall concreting, but in its "Optional Requirements Checklist" it cautions against permitting free-fall concreting for pier diameters less than 30 inches (750 mm). Insert any special requirements for tremie placement or pumping concrete if free-fall concrete is unacceptable.

D. Place concrete to fall vertically down the center of drilled pier without striking sides of shaft or steel reinforcement.

E. Coordinate withdrawal of temporary casings with concrete placement to maintain at least a 60-inch (1500-mm) head of concrete above bottom of casing. Vibrate top 60 inches (1500 mm) of concrete after withdrawal of temporary casing.

3.3 FIELD QUALITY CONTROL

Retain first option in "Special Inspections" Paragraph below if Owner engages special inspector. Consider retaining second option if authorities having jurisdiction allow Contractor to engage special inspector. See "Testing and Inspecting" Article in the Evaluations.

A. Special Inspections: [Owner will engage] [Engage] a qualified special inspector to perform the following special inspections:

1. Drilled piers.

2. Excavation.

3. Concrete.

4. Steel reinforcement welding.

5. <Insert special inspections>.

Retain "Testing Agency" Paragraph below, with or without "Special Inspections" Paragraph above, to identify who shall perform tests and inspections. Typically, first option below is retained for drilled piers.

B. Testing Agency: [Owner will engage] [Engage] a qualified testing agency to perform tests and inspections.

Retain "Drilled-Pier Tests and Inspections" Paragraph below to describe tests and inspections to be performed.

C. Drilled-Pier Tests and Inspections: For each drilled pier, before concrete placement.

1. Soil Testing: Bottom elevations, bearing capacities, and lengths of drilled piers indicated have been estimated from available soil data. Actual elevations and drilled-pier lengths and bearing capacities are determined by testing and inspecting agency. Final evaluations and approval of data are determined by Architect.

D. Concrete Tests and Inspections: ACI 301 (ACI 301M).

3.4 DISPOSAL OF SURPLUS AND WASTE MATERIALS

A. Disposal: Remove surplus satisfactory soil and waste material, including unsatisfactory soil, trash, and debris, and legally dispose of it off Owner's property.

END OF SECTION 316329

	DRILLED CONCRETE PIERS AND SHAFTS
	316329 - 1



