Copyright 2011 AIA
MasterSpec Professional
11/11

Copyright 2011 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 321443 - POROUS UNIT PAVING
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section Includes:

1. Concrete grid pavers [with aggregate fill] [with soil fill planted with grass seed] [for planting with ground cover plants].

2. Solid concrete pavers with openings between pavers filled with aggregate.

3. Aggregate setting bed for pavers.

Delete subparagraph below if edge restraints are specified in SECTION 321400 "Unit Paving."

4. Edge restraints.

1.2 ACTION SUBMITTALS

A. Product Data: For materials other than aggregates.

B. LEED Submittals:

"Product Certificates for Credit MR 5" Subparagraph below applies to LEED-NC, LEED-CS, and LEED for Schools.

1. Product Certificates for Credit MR 5: For products and materials required to comply with requirements for regional materials, certificates indicating location of material manufacturer and point of extraction, harvest, or recovery for each raw material. Include statement indicating distance to Project, cost for each regional material, and fraction by weight that is considered regional.

C. Sieve Analyses: For aggregate materials, according to ASTM C 136.

D. Samples:

1. Full-size units of each type of unit paver indicated.

2. Exposed edge restraints.

3. Aggregate fill.

4. Aggregate setting bed materials.

1.3 QUALITY ASSURANCE

A. Mockups: Build mockups to verify selections made under Sample submittals and to demonstrate aesthetic effects and set quality standards for materials and execution.

Retain subparagraph below if the intention is to make an exception to the default requirement in Section 014000 "Quality Requirements" for demolishing and removing mockups.

1. Subject to compliance with requirements, approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

2.1 CONCRETE UNIT PAVERS

Retain "Regional Materials" Paragraph below for LEED-NC, LEED-CS, or LEED for Schools Credit MR 5; before retaining, verify availability of materials that comply.

A. Regional Materials: Pavers shall be manufactured within 500 miles (800 km) of Project site from aggregates[ and cement] that have been extracted, harvested, or recovered, as well as manufactured, within 500 miles (800 km) of Project site.

"Concrete Grid Pavers" Paragraph below applies to most standard grid paving units. ASTM C 1319 requires compressive strength of 5000 psi (35 MPa) and minimum thickness of 3-1/8 inches (80 mm). ASTM C 1319 contains no requirement for freeze-thaw resistance, only a requirement for durability based on three years' "proven field performance" in "the same general type of environment, temperature range, and traffic volume."

B. Concrete Grid Pavers: Grid paving units complying with ASTM C 1319, made from normal-weight aggregates.

See the "Manufacturers" Article in the Evaluations and ICPI's and NCMA's Web sites for names of concrete paver manufacturers. It is not economical to ship pavers long distances, so manufacturers named should have plants in Project's vicinity; note that manufacturers may have locations in addition to those listed in the Evaluations.

Retain "Products" Subparagraph and list of manufacturers and products below to require specific products or a comparable product from other manufacturers.

1. Products: Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. <Insert manufacturer's name; product name or designation>.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. <Insert manufacturer's name>.

Retain one thickness from options in "Thickness" Subparagraph below. Minimum thickness for pavers complying with ASTM C 1319 is 3-1/8 inches (80 mm). If grass or ground covers are used with pavers, units should be thick enough to provide adequate depth of soil fill.

3. Thickness: [3-1/8 inches (80 mm)] [3-1/2 inches (90 mm)] [4 inches (100 mm)] <Insert dimension>.

4. Face Size and Shape: [As indicated] <Insert size and shape>.

5. Color: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color>.

"Solid Concrete Pavers for Porous Paving" Paragraph below applies to standard solid concrete pavers that are shaped to provide drainage holes in the assembled pavement. Units complying with paragraph below will not provide as much open area as grid paving units complying with paragraph above and do not comply with requirements for porous paving for LEED-NC, LEED-CS, or LEED for Schools Credit SS 7.1, but they may help comply with LEED-NC, LEED-CS, or LEED for Schools Credit SS 6.1 and Credit SS 6.2. ASTM C 936/C 936M limits length-to-thickness ratio to no more than 4 (to provide interlocking effect); it limits face area to no more than 101 sq. in. (0.065 sq. m) and requires compressive strength of 8000 psi (55 MPa). ASTM C 936/C 936M requires units to be freeze-thaw resistant but gives manufacturer the option of either "proven field performance," which it does not define, or laboratory tests according to ASTM C 67. Revise paragraph below if units made from lightweight aggregates are required.

C. Solid Concrete Pavers for Porous Paving: Solid interlocking paving units of shapes that provide openings between units, complying with ASTM C 936/C 936M[, resistant to freezing and thawing when tested according to ASTM C 67], and made from normal-weight aggregates.

See the "Manufacturers" Article in the Evaluations and ICPI's and NCMA's Web sites for names of concrete paver manufacturers. It is not economical to ship pavers long distances, so manufacturers named should have plants in Project's vicinity; note that manufacturers may have locations in addition to those listed in the Evaluations.

Retain "Products" Subparagraph and list of manufacturers and products below to require specific products or a comparable product from other manufacturers.

1. Products: Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. <Insert manufacturer's name; product name or designation>.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. <Insert manufacturer's name>.

Retain one thickness from options in "Thickness" Subparagraph below. If grass or ground covers are used with pavers, units should be thick enough to provide adequate depth of soil fill.

3. Thickness: [2-3/8 inches (60 mm)] [3-1/8 inches (80 mm)] [3-1/2 inches (90 mm)] [4 inches (100 mm)] <Insert dimension>.

4. Face Size and Shape: [As indicated] <Insert size and shape>.

5. Color: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color>.

2.2 ACCESSORIES

Delete this article if no edge restraints or if these items are specified in other Sections. Other sizes and configurations are available besides those indicated below. See manufacturers' catalogs.

Second option in "Plastic Edge Restraints" Paragraph below describes Pave Tech's "Industrial" edging. Plastic edge restraints are installed below grade, so color is not a concern.

A. Plastic Edge Restraints: Triangular PVC extrusions, [1-3/4 inches (45 mm) high by 3-1/2 inches (90 mm) wide] [3-1/8 inches (80 mm) high by 9-1/2 inches (240 mm) wide], designed to serve as edge restraints for unit pavers; rigid type for straight edges and flexible type for curved edges, with pipe connectors and 3/8-inch- (9.5-mm-) diameter by 12-inch- (300-mm-) long steel spikes.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. BrickStop Corporation.

b. Cambridge Pavers, Inc.

c. Dimex Corporation.

d. Oly-Ola Edgings, Inc.

e. Pave Tech Inc.

f. <Insert manufacturer's name>.

B. Steel Edge Restraints: Painted steel edging, [3/16 inch (4.8 mm) thick by 4 inches (100 mm) high] [1/4 inch (6.4 mm) thick by 5 inches (125 mm) high], with loops pressed from or welded to face to receive stakes at 36 inches (900 mm) o.c., and with steel stakes 15 inches (380 mm) long for each loop.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. Border Concepts, Inc.

b. Collier Metal Specialties, Inc.

c. Russell, J. D., Company (The).

d. Sure-loc Edging Corporation.

e. <Insert manufacturer's name>.

Retain "Color" Subparagraph below if edge restraints are installed above grade and color is a concern.

2. Color: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color>.

Aluminum edge restraints are generally installed below grade, so color is usually not a concern. Aluminum edging normally has a mill finish.

C. Aluminum Edge Restraints: [Straight, 1/8 inch (3.2 mm) thick by 4 inches (100 mm) high] [Straight, 3/16 inch (4.8 mm) thick by 4 inches (100 mm) high] [L-shaped, 1/8 inch (3.2 mm) thick by 1-3/8 inches (35 mm) high] [L-shaped, 3/16 inch (4.8 mm) thick by 2-1/4 inches (57 mm) high] extruded-aluminum edging, with loops pressed from face to receive stakes at 12 inches (300 mm) o.c., and with aluminum stakes 12 inches (300 mm) long for each loop.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. BrickStop Corporation.

b. Curv-Rite, Inc.

c. Permaloc Corporation.

d. Sure-loc Edging Corporation.

e. <Insert manufacturer's name>.

2.3 AGGREGATE SETTING-BED MATERIALS

Retain "Regional Materials" Paragraph below for LEED-NC, LEED-CS, or LEED for Schools Credit MR 5; verify availability of materials that comply before retaining.

A. Regional Materials: Aggregate[ and soil] shall be extracted, harvested, or recovered, as well as manufactured, within 500 miles (800 km) of Project site.

"Graded Aggregate for Subbase" and "Graded Aggregate for Base Course" paragraphs below are examples of aggregate types and gradations that could be used where two layers are placed beneath leveling course. For heavy-duty applications, consult highway-department requirements and revise to suit Project. See Evaluations.

First option in "Graded Aggregate for Subbase" Paragraph below is for light-traffic uses; second is for stormwater infiltration and storage; third is for heavy-duty applications. Delete paragraph if subbase is not required.

B. Graded Aggregate for Subbase: Sound crushed stone or gravel complying with [ASTM D 448 for Size No. 57] [ASTM D 448 for Size No. 5] [ASTM D 2940/D 2940M, subbase material] [requirements in Section 312000 "Earth Moving" for subbase material].

First option in "Graded Aggregate for Base Course" Paragraph below is for light-traffic uses; second is for stormwater infiltration and storage; third is for heavy-duty applications.

C. Graded Aggregate for Base Course: Sound crushed stone or gravel complying with [ASTM D 448 for Size No. 8] [ASTM D 448 for Size No. 57] [ASTM D 2940/D 2940M, base-course material] [requirements in Section 312000 "Earth Moving" for base-course material].

Usually retain "Sand for Leveling Course" or "Soil Mix for Leveling Course" Paragraph below for grid paving units planted with grass or ground cover. Soil mix will not drain as well as sand, and may not support heavy loads as well as sand, but it will provide a better environment for plants.

D. Sand for Leveling Course: Sound, sharp, washed, natural sand or crushed stone complying with gradation requirements in ASTM C 33/C 33M for fine aggregate.

E. Soil Mix for Leveling Course: Sound, sharp, washed, natural sand or crushed stone complying with gradation requirements in ASTM C 33/C 33M for fine aggregate blended with planting soil <Insert drawing designation> according to [Section 329113 "Soil Preparation."] [Section 329115 "Soil Preparation (Performance Specification)."] Use blend consisting of [1/2 sand and 1/2 soil mix] [2/3 sand and 1/3 soil mix] <Insert proportions>.

"Graded Aggregate for Leveling Course" Paragraph below is recommended instead of "Sand for Leveling Course" and "Soil Mix for Leveling Course" paragraphs above for pavers used with aggregate fill. No. 8 stone is 1/2 inch (12.5 mm) and smaller; No. 9 is 3/8 inch (9.5 mm) and smaller.

F. Graded Aggregate for Leveling Course: Sound crushed stone or gravel complying with ASTM D 448 for Size No. [8] [9].

Retain "Drainage Geotextile" Paragraph below if nonwoven geotextile is used between aggregate base and leveling course. Also retain for use below aggregate base and subbase if porous paving is intended to provide stormwater infiltration into subgrade. Geotechnical report may also include geotextile recommendations.

G. Drainage Geotextile: Nonwoven needle-punched geotextile, manufactured for subsurface drainage applications, made from polyolefins or polyesters; with elongation greater than 50 percent; complying with AASHTO M 288 and the following, measured according to test methods referenced:

Retain "Survivability" Subparagraph below if AASHTO M 288 survivability classification is required. Survivability classification rates a geotextile's ability to withstand installation stresses and is divided into three classes by AASHTO M 288. Class 2 is default class recommended by AASHTO M 288 for subsurface drainage applications. Revise to Class 1 if higher strength is required or to Class 3 if lower strength is permitted.

1. Survivability: Class 2; AASHTO M 288.

Requirements in "Apparent Opening Size" and "Permittivity" subparagraphs below correspond to default values in AASHTO M 288 for Class 2 drainage geotextiles.

2. Apparent Opening Size: No. 40 (0.425-mm) sieve, maximum; ASTM D 4751.

3. Permittivity: 0.5 per second, minimum; ASTM D 4491.

2.4 FILL MATERIALS

Retain "Soil Fill for Porous Paving" Paragraph below for pavers planted with grass or ground cover.

A. Soil Fill for Porous Paving: Planting soil mix complying with requirements in [Section 329200 "Turf and Grasses."] [Section 329300 "Plants."]

Retain "Aggregate Fill for Porous Paving" Paragraph below for solid concrete pavers and for grid paving units used without planting. No. 8 stone is 1/2 inch (12.5 mm) and smaller; No. 9 is 3/8 inch (9.5 mm) and smaller.

B. Aggregate Fill for Porous Paving: Graded, sound crushed stone or gravel complying with ASTM D 448 for Size No. [8] [9].

Retain "Color" Subparagraph below if a particular color is required.

1. Color: [As indicated] [Match Architect's sample].

Retain "Grass Seed" Paragraph below for grid paving units used with grass.

C. Grass Seed: Comply with requirements in Section 329200 "Turf and Grasses."

PART 3 -  EXECUTION

3.1 INSTALLATION, GENERAL

A. Do not use unit pavers with chips, cracks, voids, discolorations, and other defects that might be structurally unsound or visible in finished work.

B. Cut unit pavers with motor-driven masonry saw equipment[ or a block splitter] to provide clean, sharp, unchipped edges. Cut units to provide pattern indicated and to fit adjoining work neatly. Use full units without cutting where possible. Hammer cutting is not acceptable.

C. Tolerances:

1. Variation in Plane between Adjacent Units (Lipping): Do not exceed 1/16-inch (1.5-mm) unit-to-unit offset from flush.

2. Variation from Level or Indicated Slope: Do not exceed 1/8 inch in 24 inches (3 mm in 600 mm) and 1/4 inch in 10 feet (6 mm in 3 m) or a maximum of 1/2 inch (13 mm).

D. Provide edge restraints as indicated. Install edge restraints before placing unit pavers.

3.2 SETTING-BED INSTALLATION

Retain first paragraph below if compaction is not specified in Section 312000 "Earth Moving." Coordinate with that Section to ensure that compaction for subgrade under concrete pavers is correctly specified. Paragraph below is an example only; revise to suit Project.

A. Compact subgrade uniformly to at least [95] <Insert number> percent of [ASTM D 698] [ASTM D 1557] laboratory density.

Revise overlap in first paragraph below to 24 or 36 inches (600 or 900 mm) for weak subgrade. Delete if geotextile is not required.

B. Place drainage geotextile over prepared subgrade, overlapping ends and edges at least 12 inches (300 mm).

C. Place aggregate [subbase] [and] [base], compact by tamping with plate vibrator, and screed to depth indicated.

Retain first paragraph above or below or both unless subbase and base are specified in another Section. Retain above for light-traffic uses; retain below for heavy-duty applications. Delete subbase if not required. Paragraph below is an example only, although 100 percent compaction is usually easily achieved with highly granular materials used for base and subbase material with porous paving; revise to suit Project. ASTM D 1557 is generally used instead of ASTM D 698 for highly granular material when maximum compaction is required.

D. Place aggregate [subbase] [and] [base], compact to [100] <Insert number> percent of ASTM D 1557 maximum laboratory density, and screed to depth indicated.

Retain first paragraph below if needed for open-graded subbase material to prevent base course from washing into subbase.

E. Place drainage geotextile over compacted subbase, overlapping ends and edges at least 12 inches (300 mm).

Retain first paragraph below for open-graded base-course material to prevent leveling course from washing into base course.

F. Place drainage geotextile over compacted base course, overlapping ends and edges at least 12 inches (300 mm).

G. Place leveling course and screed to a thickness of [1 to 1-1/2 inches (25 to 38 mm)] [2 to 2-1/2 inches (50 to 64 mm)] [3 inches (76 mm)] <Insert dimension>, taking care that moisture content remains constant and density is loose and constant until pavers are set and compacted.

3.3 PAVER INSTALLATION

A. Set unit pavers on leveling course, being careful not to disturb leveling base. If pavers have lugs or spacer bars to control spacing, place pavers hand tight against lugs or spacer bars. If pavers do not have lugs or spacer bars, place pavers with a 1/16-inch- (1.6-mm-) minimum and 1/8-inch- (3.2-mm-) maximum joint width.

B. Compact pavers into leveling course with a low-amplitude plate vibrator capable of a 3500- to 5000-lbf (16- to 22-kN) compaction force at 80 to 90 Hz.

Retain first two paragraphs below if porous paving is planted with grass. Retain first paragraph below if ground cover is used (ground covers are specified in Section 329300 "Plants").

C. Place soil fill immediately after vibrating pavers into leveling course. Spread and screed soil fill level with tops of pavers. Vibrate pavers and add soil fill until porous paving is filled to about 3/4 inch (19 mm) from top surface; remove excess soil fill if any.

D. After filling pavers with soil, sow seed according to Section 329200 "Turf and Grasses," except sow seed at half the rate specified for seeding lawns. Sweep seed from surfaces of pavers into voids and water with fine spray. Spread an additional 3/16 inch (4.8 mm) of uncompacted soil fill over seed and soak with water

Retain first paragraph below if aggregate fill is used.

E. Place graded aggregate fill immediately after vibrating pavers into leveling course. Spread and screed aggregate fill level with tops of pavers.

F. As work progresses, remove and replace pavers that are loose, chipped, broken, stained, or otherwise damaged or that do not match adjoining units. Provide new units to match adjoining units and install in same manner as original units, with same joint treatment and with no evidence of replacement.

3.4 MAINTENANCE AND PROTECTION

Retain this article if porous paving is planted with grass or ground cover. Retain first paragraph below only if pavers are planted with grass. Maintenance of ground covers after planting is specified in Section 329300 "Plants."

A. Water newly planted grass and keep moist until grass is established. Maintain grass that is planted in paving to comply with requirements in Section 329200 "Turf and Grasses."

B. Erect barricades and warning signs as required to protect newly planted areas from traffic. Maintain barricades for [60] <Insert number> days after planting.

END OF SECTION 321443
	POROUS UNIT PAVING
	321443 - 1



