Copyright 2010 AIA
MasterSpec Professional
08/10

Copyright 2010 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 321723 - PAVEMENT MARKINGS
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section includes painted markings applied to [asphalt] [and] [concrete] pavement.

1.2 PREINSTALLATION MEETINGS

A. Preinstallation Conference: Conduct conference at [Project site] <Insert location>.

1.3 ACTION SUBMITTALS

A. Product Data: For each type of product.

B. LEED Submittals:

"Product Data for Credit IEQ 4.2" Subparagraph below applies to LEED-NC and LEED-CS. Coordinate with requirements for paints and coatings.

1. Product Data for Credit IEQ 4.2: For interior, field-applied, pavement-marking paints, documentation including printed statement of VOC content.

C. Samples: For each exposed product and for each color and texture specified.

PART 2 -  PRODUCTS

See Editing Instruction No. 1 in the Evaluations for cautions about named manufacturers and products. For an explanation of options and Contractor's product selection procedures, see Section 016000 "Product Requirements."

2.1 MANUFACTURERS

Retain "Manufacturers" Paragraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

A. Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain "Basis-of-Design Product" Paragraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

B. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

1. Aexcel Inc.

2. Benjamin Moore & Co.

3. Color Wheel Paints & Coatings.

4. Columbia Paint & Coatings.

5. Conco Paints.

6. Coronado Paint; Division of INSL-X Products Corporation.

7. Diamond Vogel Paints.

8. Dunn-Edwards Corporation.

9. Ennis Traffic Safety Solutions, Inc.

10. Frazee Paint.

11. General Paint.

12. Kwal Paint.

13. M.A.B. Paints.

14. McCormick Paints.

15. Miller Paint.

16. Parker Paint Mfg. Co. Inc.

17. PPG Industries.

18. Pratt & Lambert.

19. Rodda Paint Co.

20. Rohm and Haas Company; a subsidiary of The Dow Chemical Company.

21. Scott Paint Company.

22. Sherwin-Williams Company (The).

23. <Insert manufacturer's name>.

2.2 PAVEMENT-MARKING PAINT

Retain one of two "Pavement-Marking Paint" paragraphs below. Verify availability with marking-paint manufacturers.

A. Pavement-Marking Paint: MPI #32, alkyd traffic-marking paint.

Retain required color(s) in "Color" Subparagraph below. If more than one color is required, indicate locations of each on Drawings or by inserts.

1. Color: [White] [Yellow] [Blue] [As indicated] <Insert color>.

B. Pavement-Marking Paint: MPI #97, latex traffic-marking paint.

Retain required color(s) in "Color" Subparagraph below. If more than one color is required, indicate locations of each on Drawings or by inserts.

1. Color: [White] [Yellow] [Blue] [As indicated] <Insert color>.

Retain "Glass Beads" Paragraph below if reflectorized pavement markings are required. Retain option if required.

C. Glass Beads: AASHTO M 247, Type 1[ made of 100 percent recycled glass].

Retain "VOC Content" Paragraph below if required for LEED-NC or LEED-CS Credit IEQ 4.2 and product is used inside the weatherproofing system such as for underground parking. VOC content limit is that for traffic- or zone-marking coatings. Coordinate product selection to ensure that products comply.

D. VOC Content: Pavement markings used on building interior shall have a VOC content of 150 g/L or less.

PART 3 -  EXECUTION

3.1 PAVEMENT MARKING

A. Do not apply pavement-marking paint until layout, colors, and placement have been verified with Architect.

Marking-paint manufacturers caution that paint will bleed or tear surface of new asphalt unless asphalt is aged before painting. This aging period may vary from 30 to 90 days. If pavement marking must proceed immediately, consider revising text to a phased application of a thin first coat followed by a thicker second coat once asphalt has aged. Verify that two-coat application is recommended by marking-paint manufacturer.

B. Allow paving to age for a minimum of [30] [90] <Insert number> days before starting pavement marking.

C. Sweep and clean surface to eliminate loose material and dust.

D. Apply paint with mechanical equipment to produce pavement markings, of dimensions indicated, with uniform, straight edges. Apply at manufacturer's recommended rates to provide a minimum wet film thickness of 15 mils (0.4 mm).

Retain first subparagraph below if graphic symbols or lettering is required.

1. Apply graphic symbols and lettering with paint-resistant, die-cut stencils. Apply paint so that it cannot run beneath the stencil.

Retain subparagraph below if glass beads are required for reflectivity.

2. Broadcast glass beads uniformly into wet markings at a rate of 6 lb/gal. (0.72 kg/L).

END OF SECTION 321723

	PAVEMENT MARKINGS
	321723 - 1



