Copyright 2010 AIA
MasterSpec Professional
02/10

Copyright 2010 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 328400 - PLANTING IRRIGATION
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section Includes:

1. Piping.

2. Manual valves.

3. Automatic control valves.

4. Automatic drain valves.

5. Sprinklers.

6. Quick couplers.

7. Controllers.

8. Boxes for automatic control valves.

1.2 PERFORMANCE REQUIREMENTS

Select one option from first paragraph below. If selecting first option, retain controller, wiring, and automatic control valves. Manual control requires a gate valve for each zone.

A. Irrigation zone control shall be [automatic operation with controller and automatic control] [manual operation with manual] valves.

Retain one of first two paragraphs below. Retain first paragraph if complete system design and calculations are in the Contract Documents.

B. Location of Sprinklers and Specialties: Design location is approximate. Make minor adjustments necessary to avoid plantings and obstructions such as signs and light standards. Maintain 100 percent irrigation coverage of areas indicated.

Retain first paragraph below if Contractor is required to assume responsibility for design.

C. Delegated Design: Design 100 percent coverage irrigation system, including comprehensive engineering analysis by a qualified professional engineer, using performance requirements and design criteria indicated.

Retain applicable soil conditions in subparagraph below.

1. Available land records indicate the following soil conditions:

a. Type: [Coarse] [Medium] [Fine] <Insert type>.

b. Texture:

1) Sand: <Insert number> percent.

2) Silt: <Insert number> percent.

3) Clay: <Insert number> percent.

c. Particle Size:

1) Sand: <Insert number> mm.

2) Silt: <Insert number> mm.

3) Clay: <Insert number> mm.

d. Structure: [Single grained] [Granular] [Platy] [Blocky] <Insert structure>.

e. Density: <Insert lb/cu. ft. (kg./cu. m)>.

f. Moisture Content: <Insert number> percent.

g. Infiltration Rate: <Insert gph (L/s)>.

Retain paragraph below with one of last two paragraphs above.

D. Minimum Working Pressures: The following are minimum pressure requirements for piping, valves, and specialties unless otherwise indicated:

1. Irrigation Main Piping: [200 psig (1380 kPa)] <Insert value>.

2. Circuit Piping: [150 psig (1035 kPa)] <Insert value>.

1.3 ACTION SUBMITTALS

A. Product Data: For each type of product indicated. Include rated capacities, operating characteristics,[ electrical characteristics,] and furnished specialties and accessories.

Retain first paragraph below if equipment includes wiring.

B. Wiring Diagrams: For power, signal, and control wiring.

Paragraph below is defined in Section 013300 "Submittal Procedures" as a "Delegated-Design Submittal." Retain if Work of this Section is required to withstand specific design loads and design responsibilities have been delegated to Contractor or if structural data are required as another way to verify compliance with performance requirements. Professional engineer qualifications are specified in Section 014000 "Quality Requirements."

C. Delegated-Design Submittal: For irrigation systems indicated to comply with performance requirements and design criteria, including analysis data signed and sealed by the qualified professional engineer responsible for their preparation.

1.4 INFORMATIONAL SUBMITTALS

A. Zoning Chart: Show each irrigation zone and its control valve.

B. Controller Timing Schedule: Indicate timing settings for each automatic controller zone.

C. Field quality-control reports.

1.5 CLOSEOUT SUBMITTALS

A. Operation and maintenance data.

1.6 QUALITY ASSURANCE

A. Electrical Components, Devices, and Accessories: Listed and labeled as defined in NFPA 70, by a qualified testing agency, and marked for intended location and application.

PART 2 -  PRODUCTS

2.1 PIPES, TUBES, AND FITTINGS

See "Writing Guide" Article in the Evaluations for a discussion of how this Section is organized and the most efficient way to edit this Section. See "Piping Materials and Standards" Article in the Evaluations for a discussion of piping materials covered by referenced standards.

A. Comply with requirements in the piping schedule for applications of pipe, tube, and fitting materials, and for joining methods for specific services, service locations, and pipe sizes.

Pipe in first paragraph below is available in NPS 1/8 to NPS 26 (DN 6 to DN 650).

B. Galvanized-Steel Pipe: ASTM A 53/A 53M, Standard Weight, Type E, Grade B.

Nipples in first subparagraph below are available in NPS 1/8 to NPS 12 (DN 6 to DN 300).

1. Galvanized-Steel Pipe Nipples: ASTM A 733, made of ASTM A 53/A 53M or ASTM A 106/A 106M, Standard Weight, seamless-steel pipe with threaded ends.

Fittings in first subparagraph below are available in NPS 1/4 to NPS 12 (DN 8 to DN 300).

2. Galvanized, Gray-Iron Threaded Fittings: ASME B16.4, Class 125, standard pattern.

Unions in first subparagraph below are available in NPS 1/8 to NPS 4 (DN 6 to DN 100).

3. Malleable-Iron Unions: ASME B16.39, Class 150, hexagonal-stock body with ball-and-socket, metal-to-metal, bronze seating surface, and female threaded ends.

Flanges in subparagraph below are available in NPS 1 to NPS 96 (DN 25 to DN 2400).

4. Cast-Iron Flanges: ASME B16.1, Class 125.

Pipe in first paragraph below is available in NPS 3 to NPS 64 (DN 80 to DN 1600).

C. Ductile-Iron Pipe with Push-on Joint: AWWA C151, with push-on-joint bell and spigot ends.

Fittings in subparagraph below are available in NPS 3 to NPS 64 (DN 80 to DN 1600).

1. Push-on-Joint, Ductile-Iron Fittings: AWWA C110, ductile- or gray-iron standard pattern or AWWA C153, ductile-iron compact pattern.

a. Gaskets: AWWA C111, rubber.

Tube in first paragraph below is available in NPS 1/8 to NPS 12 (DN 6 to DN 300).

D. Soft Copper Tube: ASTM B 88, Type L (ASTM B 88M, Type B), water tube, annealed temper.

Cast-copper-alloy fittings in first subparagraph below are available in NPS 1/4 to NPS 12 (DN 8 to DN 300); wrought-copper fittings are available in NPS 1/4 to NPS 8 (DN 8 to DN 200).

1. Copper Pressure Fittings: ASME B16.18, cast-copper-alloy or ASME B16.22, wrought-copper solder-joint fittings. Furnish wrought-copper fittings if indicated.

Flanges in first subparagraph below are available in NPS 1/2 to NPS 12 (DN 15 to DN 300).

2. Bronze Flanges: ASME B16.24, Class 150, with solder-joint end.

Unions in subparagraph below are available in NPS 1/4 to NPS 4 (DN 8 to DN 100).

3. Copper Unions: MSS SP-123, cast-copper-alloy, hexagonal-stock body, with ball-and-socket, metal-to-metal seating surfaces and solder-joint or threaded ends.

Tube in first paragraph below is available in NPS 1/8 to NPS 12 (DN 6 to DN 300).

E. Hard Copper Tube: [ASTM B 88, Type L (ASTM B 88M, Type B),] [and] [ASTM B 88, Type M (ASTM B 88M, Type C),] water tube, drawn temper.

Fittings in first subparagraph below are available in NPS 1/4 to NPS 12 (DN 8 to DN 300).

1. Copper Pressure Fittings: ASME B16.18, cast-copper-alloy or ASME B16.22, wrought-copper solder-joint fittings. Furnish wrought-copper fittings if indicated.

Flanges in first subparagraph below are available in NPS 1/2 to NPS 12 (DN 15 to DN 300).

2. Bronze Flanges: ASME B16.24, Class 150, with solder-joint end.

Unions in subparagraph below are available in NPS 1/2 to NPS 4 (DN 15 to DN 100).

3. Copper Unions: MSS SP-123, cast-copper-alloy, hexagonal-stock body, with ball-and-socket, metal-to-metal seating surfaces and solder-joint or threaded ends.

Pipe in first paragraph below is available in NPS 1/2 to NPS 6 (DN 15 to DN 150).

F. PE Pipe with Controlled ID: ASTM F 771, PE 3408 compound; [SIDR 11.5] [and] [SIDR 15].

Fittings in subparagraph below are available in NPS 1/2 to NPS 4 (DN 15 to DN 100).

1. Insert Fittings for PE Pipe: ASTM D 2609, nylon or propylene plastic with barbed ends. Include bands or other fasteners.

Pipe in first paragraph below is available in NPS 1/8 to NPS 24 (DN 6 to DN 600). Select last option if retaining both thicknesses in the piping schedule.

G. PVC Pipe: ASTM D 1785, PVC 1120 compound, [Schedule 40] [Schedule 80] [Schedules 40 and 80].

Fittings in first subparagraph below are available in NPS 1/2 to NPS 12 (DN 15 to DN 300). Select last option if retaining both thicknesses in the piping schedule.

1. PVC Socket Fittings: ASTM D 2466, [Schedule 40] [Schedule 80] [Schedules 40 and 80].

Fittings in first subparagraph below are available in NPS 1/2 to NPS 2 (DN 15 to DN 50).

2. PVC Threaded Fittings: ASTM D 2464, Schedule 80.

Unions in subparagraph below are available in NPS 1/2 to NPS 2 (DN 15 to DN 50).

3. PVC Socket Unions: Construction similar to MSS SP-107, except both headpiece and tailpiece shall be PVC with socket ends.

Pipe in paragraph below is available in NPS 3/4 to NPS 36 (DN 20 to DN 900).

H. PVC Pipe, Pressure Rated: ASTM D 2241, PVC 1120 compound, [SDR 21] [and] [SDR 26].

Fittings in first subparagraph below are available in NPS 1/8 to NPS 12 (DN 6 to DN 300).

1. PVC Socket Fittings: ASTM D 2467, Schedule 80.

Unions in subparagraph below are available in NPS 1/2 to NPS 2 (DN 15 to DN 50).

2. PVC Socket Unions: Construction similar to MSS SP-107, except both headpiece and tailpiece shall be PVC with socket or threaded ends.

2.2 PIPING JOINING MATERIALS

A. Pipe-Flange Gasket Materials: AWWA C110, rubber, flat face, 1/8 inch (3.2 mm) thick unless otherwise indicated; full-face or ring type unless otherwise indicated.

B. Metal, Pipe-Flange Bolts and Nuts: ASME B18.2.1, carbon steel unless otherwise indicated.

C. Brazing Filler Metals: AWS A5.8/A5.8M, BCuP Series, copper-phosphorus alloys for general-duty brazing unless otherwise indicated.

D. Solder Filler Metals: ASTM B 32, lead-free alloys. Include water-flushable flux according to ASTM B 813.

E. Solvent Cements for Joining PVC Piping: ASTM D 2564. Include primer according to ASTM F 656.

F. Plastic, Pipe-Flange Gasket, Bolts, and Nuts: Type and material recommended by piping system manufacturer unless otherwise indicated.

2.3 MANUAL VALVES

A. Curb Valves:

1. Description:

a. Standard: AWWA C800.

b. NPS 1 (DN 25) and Smaller Pressure Rating: [100 psig (690 kPa) minimum] [150 psig (1035 kPa)].

c. NPS 1-1/4 to NPS 2 (DN 32 to DN 50) Pressure Rating: [80 psig (550 kPa) minimum] [150 psig (1035 kPa)].

d. Body Material: Brass or bronze with ball or ground-key plug.

e. End Connections: Matching piping.

f. Stem: With wide-tee head.

Retain first paragraph below with "Curb Valves" Paragraph above. "Casing" is the AWWA term. Most manufacturers simply call them "valve boxes."

B. Curb-Valve Casing:

1. Standard: Similar to AWWA M44 for cast-iron valve casings.

2. Top Section: Telescoping, of length required for depth of burial of curb valve.

3. Barrel: Approximately 3-inch (75-mm) diameter.

4. Plug: With lettering "WATER."

5. Bottom Section: With base of size to fit over valve.

6. Base Support: Concrete collar[ or wood frame].

C. Shutoff Rods for Curb-Valve Casings: Furnish [one] [two] <Insert number> steel, tee-handle shutoff rod(s) with one pointed end, stem of length to operate deepest buried valve, and slotted end matching curb valve for Project.

D. Brass Ball Valves:

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of first two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain option in first subparagraph below if manufacturer's name and model number are indicated in schedules or plans on Drawings; delete option and insert manufacturer's name and model number if not included on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Crane Co.; Crane Valve Group; Crane Valves.

b. Crane Co.; Crane Valve Group; Jenkins Valves.

c. DynaQuip Controls.

d. Flow-Tek, Inc.; a subsidiary of Bray International, Inc.

e. Hammond Valve.

f. Jamesbury; a subsidiary of Metso Automation.

g. Jomar International, LTD.

h. KITZ Corporation.

i. Legend Valve.

j. Marwin Valve; a division of Richards Industries.

k. Milwaukee Valve Company.

l. NIBCO INC.

m. Red-White Valve Corporation.

n. RuB Inc.

o. <Insert manufacturer's name>.

3. Description:

a. Standard: MSS SP-110.

b. SWP Rating: 150 psig (1035 kPa).

c. CWP Rating: 600 psig (4140 kPa).

d. Body Design: Two piece.

e. Body Material: Forged brass.

f. Ends: Threaded or solder joint if indicated.

g. Seats: PTFE or TFE.

h. Stem: Brass.

i. Ball: Chrome-plated brass.

j. Port: Full[ or regular, but not reduced].

E. Bronze Ball Valves:

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of first two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain option in first subparagraph below if manufacturer's name and model number are indicated in schedules or plans on Drawings; delete option and insert manufacturer's name and model number if not included on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. American Valve, Inc.

b. Conbraco Industries, Inc.; Apollo Valves.

c. Crane Co.; Crane Valve Group; Crane Valves.

d. Hammond Valve.

e. Lance Valves; a division of Advanced Thermal Systems, Inc.

f. Legend Valve.

g. Milwaukee Valve Company.

h. NIBCO INC.

i. Red-White Valve Corporation.

j. Watts Regulator Co.; a division of Watts Water Technologies, Inc.

k. <Insert manufacturer's name>.

3. Description:

a. Standard: MSS SP-110.

b. SWP Rating: 150 psig (1035 kPa).

c. CWP Rating: 600 psig (4140 kPa).

d. Body Design: Two piece.

e. Body Material: Bronze.

f. Ends: Threaded or solder joint if indicated.

g. Seats: PTFE or TFE.

h. Stem: Bronze.

i. Ball: Chrome-plated brass.

j. Port: Full[ or regular, but not reduced].

F. Iron Ball Valves:

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of first two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain option in first subparagraph below if manufacturer's name and model number are indicated in schedules or plans on Drawings; delete option and insert manufacturer's name and model number if not included on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. American Valve, Inc.

b. Conbraco Industries, Inc.; Apollo Valves.

c. KITZ Corporation.

d. Sure Flow Equipment Inc.

e. Watts Regulator Co.; a division of Watts Water Technologies, Inc.

f. <Insert manufacturer's name>.

3. Description:

a. Standard: MSS SP-72.

b. CWP Rating: 200 psig (1380 kPa).

c. Body Design: Split body.

d. Body Material: ASTM A 126, gray iron.

e. Ends: Flanged.

f. Seats: PTFE or TFE.

g. Stem: Stainless steel.

h. Ball: Stainless steel.

i. Port: Full.

G. Plastic Ball Valves:

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain first subparagraph and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. American Valve, Inc.

b. Asahi/America, Inc.

c. Colonial Engineering, Inc.

d. Fischer, George Inc.

e. Hayward Flow Control Systems; Hayward Industrial Products, Inc.

f. IPEX Inc.

g. Jomar International, LTD.

h. KBI (King Bros. Industries).

i. Legend Valve.

j. NIBCO INC.

k. Sloane, George Fischer, Inc.

l. Spears Manufacturing Company.

m. Thermoplastic Valves Inc.

n. Watts Regulator Co.; a division of Watts Water Technologies, Inc.

o. <Insert manufacturer's name>.

2. Description:

a. Standard: MSS SP-122.

b. Pressure Rating: [125 psig (860 kPa) minimum] [150 psig (1035 kPa)].

c. Body Material: PVC.

d. Type: Union.

e. End Connections: Socket or threaded.

f. Port: Full.

H. Iron Gate Valves, Resilient Seated:

1. Description:

a. Standard: AWWA C509.

b. Pressure Rating: [200 psig (1380 kPa)] [250 psig (1725 kPa)] minimum.

c. Body Material: Ductile or gray iron with bronze trim.

d. End Connections: Mechanical joint or push-on joint.

e. Interior Coating: Comply with AWWA C550.

f. Body Design: Nonrising stem.

g. Operator: Stem nut.

h. Disc: Solid wedge with resilient coating.

Retain first paragraph below with "Iron Gate Valves, Resilient Seated" Paragraph above. "Casing" is the AWWA term. Most manufacturers simply call them "valve boxes."

I. Iron Gate Valve Casings:

1. Standard: AWWA M44 for cast-iron valve casings.

2. Top Section: Adjustable extension of length required for depth of burial of valve.

3. Barrel: Approximately 5-inch (125-mm) diameter.

4. Plug: With lettering "WATER."

5. Bottom Section: With base of size to fit over valve.

6. Base Support: Concrete collar[ or wood frame].

J. Operating Wrenches for Iron Gate Valve Casings: Furnish [one] [two] <Insert number> steel, tee-handle operating wrench(es) with one pointed end, stem of length to operate deepest buried valve, and socket matching valve operating nut for Project.

2.4 AUTOMATIC CONTROL VALVES

Valves in this article are typically available as "normally closed" valves that open on signal from the controller and are the recommended type. "Normally open" valves that automatically close if power failure occurs are also available.

A. Bronze, Automatic Control Valves:

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of first two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain option in first subparagraph below if manufacturer's name and model number are indicated in schedules or plans on Drawings; delete option and insert manufacturer's name and model number if not included on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Buckner; a division of Storm Manufacturing Group Inc.

b. Ceres Products Company.

c. Champion Irrigation Products.

d. Netafim USA.

e. Superior Controls Co., Inc.

f. Toro Company (The); Irrigation Division.

g. Weathermatic.

h. <Insert manufacturer's name>.

3. Description: Cast-bronze body, normally closed, diaphragm type with manual-flow adjustment, and operated by 24-V ac solenoid.

B. Plastic, Automatic Control Valves:

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of first two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain option in first subparagraph below if manufacturer's name and model number are indicated in schedules or plans on Drawings; delete option and insert manufacturer's name and model number if not included on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Buckner; a division of Storm Manufacturing Group Inc.

b. Ceres Products Company.

c. Champion Irrigation Products.

d. Dig Corporation.

e. Greenlawn Sprinkler Company.

f. Hit Products Corporation.

g. Hunter Industries Incorporated.

h. Irritrol Systems.

i. Nelson, L. R. Corporation.

j. Netafim USA.

k. Olson Irrigation Systems.

l. Orbit Irrigation Products, Inc.

m. Rain Bird Corporation.

n. Superior Controls Co., Inc.

o. Toro Company (The); Irrigation Division.

p. Weathermatic.

q. <Insert manufacturer's name>.

3. Description: Molded-plastic body, normally closed, diaphragm type with manual-flow adjustment, and operated by 24-V ac solenoid.

2.5 AUTOMATIC DRAIN VALVES

A. Description: Spring-loaded-ball type of corrosion-resistant construction and designed to open for drainage if line pressure drops below 2-1/2 to 3 psig (17 to 20 kPa).

2.6 SPRINKLERS

Revise this article to suit Project. Materials and finishes are not uniform among manufacturers. Use a legend on Drawings to show type, pressure requirement, and flow capacity of each sprinkler.

A. General Requirements: Designed for uniform coverage over entire spray area indicated at available water pressure.

B. Plastic, Exposed, Impact-Drive Rotary Sprinklers:

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of first two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain option in first subparagraph below if manufacturer's name and model number are indicated in schedules or plans on Drawings; delete option and insert manufacturer's name and model number if not included on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Champion Irrigation Products.

b. K-RAIN Manufacturing Corporation.

c. Nelson, L. R. Corporation.

d. Orbit Irrigation Products, Inc.

e. Senninger Irrigation, Inc.

f. <Insert manufacturer's name>.

3. Description:

a. Construction: ABS and corrosion-resistant metals.

b. Mounting: Aboveground, exposed on riser.

If Project has more than one type or configuration of plastic, exposed, impact-drive rotary sprinkler, delete subparagraph below and schedule plastic, exposed, impact-drive rotary sprinklers on Drawings.

4. Capacities and Characteristics:

a. Flow: <Insert gpm (L/s)>.

b. Arc: [Full] [Half] [Quarter] <Insert arc> circle.

c. Radius: <Insert feet (m)>.

d. Inlet: [NPS 1/2 (DN 15)] [NPS 1/2 or NPS 3/4 (DN 15 or DN 20)] [NPS 3/4 (DN 20)] <Insert size>.

C. Plastic, Pop-up, Gear-Drive Rotary Sprinklers:

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of first two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain option in first subparagraph below if manufacturer's name and model number are indicated in schedules or plans on Drawings; delete option and insert manufacturer's name and model number if not included on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Buckner; a division of Storm Manufacturing Group Inc.

b. Champion Irrigation Products.

c. Hunter Industries Incorporated.

d. Irritrol Systems.

e. K-RAIN Manufacturing Corporation.

f. Nelson, L. R. Corporation.

g. Rain Bird Corporation.

h. Toro Company (The); Irrigation Division.

i. Weathermatic.

j. <Insert manufacturer's name>.

3. Description:

a. Body Material: ABS.

b. Nozzle: [ABS] [Brass].

c. Retraction Spring: Stainless steel.

d. Internal Parts: Corrosion resistant.

If Project has more than one type or configuration of plastic, pop-up, gear-drive rotary sprinkler, delete subparagraph below and schedule plastic, pop-up, gear-drive rotary sprinklers on Drawings.

4. Capacities and Characteristics:

a. Flow: <Insert gpm (L/s)>.

b. Pop-up Height: <Insert inches (mm)> aboveground to nozzle.

c. Arc: [Full] [Half] [Quarter] <Insert arc> circle.

d. Radius: <Insert feet (m)>.

e. Inlet: [NPS 1/2 (DN 15)] [NPS 1/2 or NPS 3/4 (DN 15 or DN 20)] [NPS 3/4 (DN 20)].

D. Plastic, Pop-up, Impact-Drive Rotary Sprinklers:

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of first two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain option in first subparagraph below if manufacturer's name and model number are indicated in schedules or plans on Drawings; delete option and insert manufacturer's name and model number if not included on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Buckner; a division of Storm Manufacturing Group Inc.

b. Ceres Products Company.

c. Champion Irrigation Products.

d. Nelson, L. R. Corporation.

e. Toro Company (The); Irrigation Division.

f. <Insert manufacturer's name>.

3. Description:

a. Case: ABS.

b. Pop-up Height: Approximately 3 inches (75 mm).

c. Sprinkler Construction: ABS and other corrosion-resistant metals.

If Project has more than one type or configuration of plastic, pop-up, impact-drive rotary sprinkler, delete subparagraph below and schedule plastic, pop-up, impact-drive rotary sprinklers on Drawings.

4. Capacities and Characteristics:

a. Nozzle: [ABS] [Brass].

b. Flow: <Insert gpm (L/s)>.

c. Arc: [Full] [Half] [Quarter] <Insert arc> circle.

d. Radius: <Insert feet (m)>.

e. Inlet: [NPS 3/4 (DN 20)] [NPS 1-1/4 (DN 32)].

E. Plastic, Surface Spray Sprinklers:

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of first two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain option in first subparagraph below if manufacturer's name and model number are indicated in schedules or plans on Drawings; delete option and insert manufacturer's name and model number if not included on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Ceres Products Company.

b. Champion Irrigation Products.

c. Hit Products Corporation.

d. <Insert manufacturer's name>.

3. Description:

a. Body Material and Flange: ABS.

b. Pattern: Fixed, with flow adjustment.

If Project has more than one type or configuration of plastic, surface spray sprinkler, delete subparagraph below and schedule plastic, surface spray sprinklers on Drawings.

4. Capacities and Characteristics:

a. Nozzle: [ABS] [Brass].

b. Flow: <Insert gpm (L/s)>.

c. Arc: [Full] [Half] [Quarter] <Insert arc> circle.

d. Radius: <Insert feet (m)>.

e. Inlet: [NPS 1/2 (DN 15)] [NPS 1/2 or NPS 3/4 (DN 15 or DN 20)] [NPS 3/4 (DN 20)].

F. Plastic, Surface, Pop-up Spray Sprinklers:

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of first two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain option in first subparagraph below if manufacturer's name and model number are indicated in schedules or plans on Drawings; delete option and insert manufacturer's name and model number if not included on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Ceres Products Company.

b. Champion Irrigation Products.

c. Hit Products Corporation.

d. <Insert manufacturer's name>.

3. Description:

a. Body Material and Flange: ABS.

b. Pattern: Fixed, with flow adjustment.

If Project has more than one type or configuration of plastic, surface, pop-up spray sprinkler, delete subparagraph below and schedule plastic, surface, pop-up spray sprinklers on Drawings.

4. Capacities and Characteristics:

a. Pop-up Height: [1-1/4 or 1-1/2 inches (32 or 38 mm)] [1-3/4 or 2 inches (44 or 51 mm)] <Insert value>.

b. Nozzle: [ABS] [Brass].

c. Flow: <Insert gpm (L/s)>.

d. Arc: [Full] [Half] [Quarter] <Insert arc> circle.

e. Radius: <Insert feet (m)>.

f. Inlet: [NPS 1/2 (DN 15)] [NPS 1/2 or NPS 3/4 (DN 15 or DN 20)] [NPS 3/4 (DN 20)].

G. Plastic, Pop-up Spray Sprinklers:

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of first two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain option in first subparagraph below if manufacturer's name and model number are indicated in schedules or plans on Drawings; delete option and insert manufacturer's name and model number if not included on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Buckner; a division of Storm Manufacturing Group Inc.

b. Ceres Products Company.

c. Champion Irrigation Products.

d. Hit Products Corporation.

e. Hunter Industries Incorporated.

f. K-RAIN Manufacturing Corporation.

g. Nelson, L. R. Corporation.

h. Orbit Irrigation Products, Inc.

i. Rain Bird Corporation.

j. Toro Company (The); Irrigation Division.

k. Weathermatic.

l. <Insert manufacturer's name>.

3. Description:

a. Body Material: ABS.

b. Nozzle: [ABS] [Brass].

c. Retraction Spring: Stainless steel.

d. Internal Parts: Corrosion resistant.

e. Pattern: Fixed, with flow adjustment.

If Project has more than one type or configuration of plastic, pop-up spray sprinkler, delete subparagraph below and schedule plastic, pop-up spray sprinklers on Drawings.

4. Capacities and Characteristics:

a. Nozzle: [ABS] [Brass].

b. Flow: <Insert gpm (L/s)>.

c. Pop-up Height: <Insert inches (mm)> aboveground to nozzle.

d. Arc: [Full] [Half] [Quarter] <Insert arc> circle.

e. Radius: <Insert feet (m)>.

f. Inlet: [NPS 1/2 (DN 15)] [NPS 1/2 or NPS 3/4 (DN 15 or DN 20)] [NPS 3/4 (DN 20)].

H. Plastic Shrub Sprinklers:

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of first two subparagraphs and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain option in first subparagraph below if manufacturer's name and model number are indicated in schedules or plans on Drawings; delete option and insert manufacturer's name and model number if not included on Drawings.

2. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

a. Buckner; a division of Storm Manufacturing Group Inc.

b. Ceres Products Company.

c. Champion Irrigation Products.

d. Dig Corporation.

e. Hunter Industries Incorporated.

f. Orbit Irrigation Products, Inc.

g. Senninger Irrigation, Inc.

h. Toro Company (The); Irrigation Division.

i. Weathermatic.

j. <Insert manufacturer's name>.

3. Description:

a. Body Material: ABS or other plastic.

b. Pattern: Fixed, with flow adjustment.

If Project has more than one type or configuration of plastic shrub sprinkler, delete subparagraph below and schedule plastic shrub sprinklers on Drawings.

4. Capacities and Characteristics:

a. Configuration: <Insert description>.

b. Flow: <Insert gpm (L/s)>.

c. Arc: [Full] [Half] [Quarter] <Insert arc> circle.

d. Radius: <Insert feet (m)>.

e. Mounting Height: <Insert inches (mm)> aboveground to nozzle.

f. Inlet: [NPS 1/2 (DN 15)] [NPS 1/2 or NPS 3/4 (DN 15 or DN 20)] [NPS 3/4 (DN 20)].

2.7 QUICK COUPLERS

A. Description: Factory-fabricated, bronze or brass, two-piece assembly. Include coupler water-seal valve; removable upper body with spring-loaded or weighted, rubber-covered cap; hose swivel with ASME B1.20.7, 3/4-11.5NH threads for garden hose on outlet; and operating key.

Retain subparagraph below if required.

1. Locking-Top Option: Vandal-resistant locking feature. Include [one] [two] <Insert number> matching key(s).

2.8 CONTROLLERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain one of first two paragraphs and list of manufacturers below. See Section 016000 "Product Requirements."

A. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Retain option in first paragraph below if manufacturer's name and model number are indicated in schedules or plans on Drawings; delete option and insert manufacturer's name and model number if not included on Drawings.

B. Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

1. Buckner; a division of Storm Manufacturing Group Inc.

2. Champion Irrigation Products.

3. Hit Products Corporation.

4. Hunter Industries Incorporated.

5. Irritrol Systems.

6. K-RAIN Manufacturing Corporation.

7. Nelson, L. R. Corporation.

8. Netafim USA.

9. Orbit Irrigation Products, Inc.

10. Rain Bird Corporation.

11. Superior Controls Co., Inc.

12. Toro Company (The); Irrigation Division.

13. Weathermatic.

14. <Insert manufacturer's name>.

C. Description:

Increase station time settings in first subparagraph below as required for drip applications.

1. Controller Stations for Automatic Control Valves: Each station is variable from approximately [5 to 60] <Insert numbers> minutes. Include switch for manual or automatic operation of each station.

Retain first subparagraph below if exterior controllers are required. Insert special mounting to suit Project.

2. Exterior Control Enclosures: NEMA 250, Type 4, weatherproof, with locking cover and [two] <Insert number> matching keys; include provision for grounding.

a. Body Material: [Enameled-steel sheet metal] [Stainless-steel sheet metal] [Molded plastic].

b. Mounting: [Freestanding type for concrete base] [Surface type for wall].

Retain first subparagraph below if interior controllers are required. Insert special mounting to suit Project.

3. Interior Control Enclosures: NEMA 250, Type 12, dripproof, with locking cover and [two] <Insert number> matching keys.

a. Body Material: [Enameled-steel sheet metal] [Stainless-steel sheet metal] [Molded plastic].

b. Mounting: [Freestanding type for concrete base] [Surface type for wall].

4. Control Transformer: 24-V secondary, with primary fuse.

5. Timing Device: Adjustable, 24-hour, 14-day clock, with automatic operations to skip operation any day in timer period, to operate every other day, or to operate two or more times daily.

a. Manual or Semiautomatic Operation: Allows this mode without disturbing preset automatic operation.

b. Nickel-Cadmium Battery and Trickle Charger: Automatically powers timing device during power outages.

c. Surge Protection: Metal-oxide-varistor type on each station and primary power.

6. Moisture Sensor: Adjustable from one to seven days, to shut off water flow during rain.

7. Wiring: UL 493, Type UF multiconductor, with solid-copper conductors; insulated cable; suitable for direct burial.

a. Feeder-Circuit Cables: No. 12 AWG minimum, between building and controllers.

b. Low-Voltage, Branch-Circuit Cables: No. 14 AWG minimum, between controllers and automatic control valves; color-coded different from feeder-circuit-cable jacket color; with jackets of different colors for multiple-cable installation in same trench.

c. Splicing Materials: Manufacturer's packaged kit consisting of insulating, spring-type connector or crimped joint and epoxy resin moisture seal; suitable for direct burial.

Retain subparagraph below for exterior mounting of controller.

8. Concrete Base: Reinforced precast concrete not less than 36 by 24 by 4 inches (900 by 600 by 100 mm) thick, and 6 inches (150 mm) greater in each direction than overall dimensions of controller. Include opening for wiring.

2.9 BOXES FOR AUTOMATIC CONTROL VALVES

Boxes in first paragraph should be used only in grass or paved areas subject to pedestrian traffic.

A. Plastic Boxes:

1. Description: Box and cover, with open bottom and openings for piping; designed for installing flush with grade.

a. Size: As required for valves and service.

b. Shape: [Round] [Square] [Rectangular].

c. Sidewall Material: [PE] [PE, ABS, or FRP] <Insert material>.

d. Cover Material: [PE] [PE, ABS, or FRP] <Insert material>.

Revise subparagraph below for specific lettering required and verify availability, or delete subparagraph.

1) Lettering: "[VALVE BOX] [IRRIGATION] <Insert lettering>."

Retain paragraph below for drain pockets.

B. Drainage Backfill: Cleaned gravel or crushed stone, graded from 3/4 inch (19 mm) minimum to 3 inches (75 mm) maximum.

PART 3 -  EXECUTION

3.1 EARTHWORK

A. Excavating, trenching, and backfilling are specified in Section 312000 "Earth Moving."

B. Install warning tape directly above pressure piping, [12 inches (300 mm)] <Insert value> below finished grades, except 6 inches (150 mm) below subgrade under pavement and slabs.

Revise first paragraph below to suit Project.

C. Drain Pockets: Excavate to sizes indicated. Backfill with cleaned gravel or crushed stone, graded from [3/4 to 3 inches (19 to 75 mm)] <Insert value>, to [12 inches (300 mm)] <Insert value> below grade. Cover gravel or crushed stone with sheet of asphalt-saturated felt and backfill remainder with excavated material.

D. Provide minimum cover over top of underground piping according to the following:

Revise cover depths in subparagraphs below to suit Project and to ensure that pipes are below depth of frost penetration. Depth is not critical if system will be drained during freezing conditions.

1. Irrigation Main Piping: Minimum depth of [36 inches (900 mm)] <Insert value> below finished grade, or not less than [18 inches (450 mm)] <Insert value> below average local frost depth, whichever is deeper.

2. Circuit Piping: [12 inches (300 mm)] <Insert value>.

3. Drain Piping: [12 inches (300 mm)] <Insert value>.

4. Sleeves: [24 inches (600 mm)] <Insert value>.

3.2 PIPING INSTALLATION

A. Location and Arrangement: Drawings indicate location and arrangement of piping systems. Install piping as indicated unless deviations are approved on Coordination Drawings.

B. Install piping at minimum uniform slope of 0.5 percent down toward drain valves.

C. Install piping free of sags and bends.

D. Install groups of pipes parallel to each other, spaced to permit valve servicing.

E. Install fittings for changes in direction and branch connections.

F. Install unions adjacent to valves and to final connections to other components with NPS 2 (DN 50) or smaller pipe connection.

G. Install flanges adjacent to valves and to final connections to other components with NPS 2-1/2 (DN 65) or larger pipe connection.

Option in first paragraph below may be withdrawn. If selecting, verify availability.

H. Install underground thermoplastic piping according to ASTM D 2774[ and ASTM F 690].

I. Install expansion loops in control-valve boxes for plastic piping.

J. Lay piping on solid subbase, uniformly sloped without humps or depressions.

K. Install ductile-iron piping according to AWWA C600.

L. Install PVC piping in dry weather when temperature is above 40 deg F (5 deg C). Allow joints to cure at least 24 hours at temperatures above 40 deg F (5 deg C) before testing.

3.3 JOINT CONSTRUCTION

A. Ream ends of pipes and tubes and remove burrs. Bevel plain ends of steel pipe.

B. Remove scale, slag, dirt, and debris from inside and outside of pipe and fittings before assembly.

C. Threaded Joints: Thread pipe with tapered pipe threads according to ASME B1.20.1. Cut threads full and clean using sharp dies. Ream threaded pipe ends to remove burrs and restore full ID. Join pipe fittings and valves as follows:

1. Apply appropriate tape or thread compound to external pipe threads unless dry seal threading is specified.

2. Damaged Threads: Do not use pipe or pipe fittings with threads that are corroded or damaged. Do not use pipe sections that have cracked or open welds.

D. Flanged Joints: Select rubber gasket material, size, type, and thickness for service application. Install gasket concentrically positioned. Use suitable lubricants on bolt threads.

E. Ductile-Iron Piping Gasketed Joints: Comply with AWWA C600 and AWWA M41.

F. Copper-Tubing Brazed Joints: Construct joints according to CDA's "Copper Tube Handbook," using copper-phosphorus brazing filler metal.

G. Copper-Tubing Soldered Joints: Apply ASTM B 813 water-flushable flux to tube end unless otherwise indicated. Construct joints according to ASTM B 828 or CDA's "Copper Tube Handbook," using lead-free solder alloy (0.20 percent maximum lead content) complying with ASTM B 32.

H. PE Piping Fastener Joints: Join with insert fittings and bands or fasteners according to piping manufacturer's written instructions.

I. PVC Piping Solvent-Cemented Joints: Clean and dry joining surfaces. Join pipe and fittings according to the following:

1. Comply with ASTM F 402 for safe-handling practice of cleaners, primers, and solvent cements.

2. PVC Pressure Piping: Join schedule number, ASTM D 1785, PVC pipe and PVC socket fittings according to ASTM D 2672. Join other-than-schedule-number PVC pipe and socket fittings according to ASTM D 2855.

3. PVC Nonpressure Piping: Join according to ASTM D 2855.

3.4 VALVE INSTALLATION

A. Underground Curb Valves: Install in curb-valve casings with tops flush with grade.

B. Underground Iron Gate Valves, Resilient Seat: Comply with AWWA C600 and AWWA M44. Install in valve casing with top flush with grade.

An alternative to restrained joints in subparagraph below is thrust blocks detailed on Drawings.

1. Install valves and PVC pipe with restrained, gasketed joints.

C. Aboveground Valves: Install as components of connected piping system.

D. Throttling Valves: Install in underground piping in boxes for automatic control valves.

E. Drain Valves: Install in underground piping in boxes for automatic control valves.

3.5 SPRINKLER INSTALLATION

Revise or delete first paragraph below to suit Project.

A. Install sprinklers after hydrostatic test is completed.

B. Install sprinklers at manufacturer's recommended heights.

C. Locate part-circle sprinklers to maintain a minimum distance of 4 inches (100 mm) from walls and 2 inches (50 mm) from other boundaries unless otherwise indicated.

3.6 AUTOMATIC IRRIGATION-CONTROL SYSTEM INSTALLATION

Retain one of first two paragraphs below.

A. Equipment Mounting: Install interior controllers on [floor] [concrete bases] [wall].

1. Place and secure anchorage devices. Use setting drawings, templates, diagrams, instructions, and directions furnished with items to be embedded.

2. Install anchor bolts to elevations required for proper attachment to supported equipment.

B. Equipment Mounting: Install exterior freestanding controllers on precast concrete bases.

1. Place and secure anchorage devices. Use setting drawings, templates, diagrams, instructions, and directions furnished with items to be embedded.

2. Install anchor bolts to elevations required for proper attachment to supported equipment.

C. Install control cable in same trench as irrigation piping and at least 2 inches (51 mm) below[ or beside] piping. Provide conductors of size not smaller than recommended by controller manufacturer. Install cable in separate sleeve under paved areas.

3.7 IDENTIFICATION

A. Identify system components. Comply with requirements for identification specified in Section 220553 "Identification for Plumbing Piping and Equipment."

B. Equipment Nameplates and Signs: Install engraved plastic-laminate equipment nameplates and signs on each automatic controller.

1. Text: In addition to identifying unit, distinguish between multiple units, inform operator of operational requirements, indicate safety and emergency precautions, and warn of hazards and improper operations.

C. Warning Tapes: Arrange for installation of continuous, underground, detectable warning tapes over underground piping during backfilling of trenches. See Section 312000 "Earth Moving" for warning tapes.

3.8 FIELD QUALITY CONTROL

A. Perform tests and inspections.

B. Tests and Inspections:

1. Leak Test: After installation, charge system and test for leaks. Repair leaks and retest until no leaks exist.

Retain first subparagraph below for controllers and automatic control valves.

2. Operational Test: After electrical circuitry has been energized, operate controllers and automatic control valves to confirm proper system operation.

3. Test and adjust controls and safeties. Replace damaged and malfunctioning controls and equipment.

See Section 014000 "Quality Requirements" for retesting and reinspecting requirements and Section 017300 "Execution" for requirements for correcting the Work.

C. Any irrigation product will be considered defective if it does not pass tests and inspections.

D. Prepare test and inspection reports.

3.9 ADJUSTING

Revise this article to suit Project. Retain first two paragraphs below for controllers and automatic control valves.

A. Adjust settings of controllers.

B. Adjust automatic control valves to provide flow rate at rated operating pressure required for each sprinkler circuit.

C. Adjust sprinklers and devices, except those intended to be mounted aboveground, so they will be flush with, or not more than [1/2 inch (13 mm)] <Insert value> above, finish grade.

3.10 PIPING SCHEDULE

Retain and revise applicable piping applications. Coordinate with materials specified in Part 2.

A. Install components having pressure rating equal to or greater than system operating pressure.

B. Piping in control-valve boxes and aboveground may be joined with flanges or unions instead of joints indicated.

Retain " one of" option in first paragraph below to allow Contractor to select piping materials from those retained.

C. Aboveground irrigation main piping, [NPS 4 (DN 100) and smaller] <Insert pipe size range>, shall be[ one of] the following:

1. Galvanized-steel pipe and galvanized-steel pipe nipples; galvanized, gray-iron threaded fittings; and threaded joints.

2. [Type L (Type B)] [Type M (Type C)] hard copper tube, wrought- or cast-copper fittings, and [brazed] [soldered] joints.

3. [Schedule 40] [Schedule 80], PVC pipe; socket-type PVC fittings; and solvent-cemented joints.

4. Schedule 80, PVC pipe; Schedule 80, threaded PVC fittings; and threaded joints.

Retain " one of" option in first paragraph below to allow Contractor to select piping materials from those retained.

D. Underground irrigation main piping, [NPS 4 (DN 100) and smaller] <Insert pipe size range>, shall be[ one of] the following:

1. NPS 3 and NPS 4 (DN 80 and DN 100) ductile-iron, push-on-joint pipe; ductile-iron, push-on-joint fittings and gaskets; and gasketed joints.

2. Type L (Type B) soft copper tube, wrought-copper fittings, and brazed joints.

3. [Schedule 40] [Schedule 80], PVC pipe and socket fittings, and solvent-cemented joints.

4. Schedule 80, PVC pipe; Schedule 80, threaded PVC fittings; and threaded joints.

5. SDR 21, PVC, pressure-rated pipe; Schedule 80, PVC socket fittings; and solvent-cemented joints.

Retain " one of" option in first paragraph below to allow Contractor to select piping materials from those retained.

E. Circuit piping, [NPS 2 (DN 50) and smaller] <Insert pipe size range>, shall be[ one of] the following:

1. [SIDR 7] [SIDR 9], PE, controlled ID pipe; insert fittings for PE pipe; and fastener joints.

2. Schedule 40, PVC pipe and socket fittings; and solvent-cemented joints.

3. SDR 26, PVC, pressure-rated pipe; Schedule 40, PVC socket fittings; and solvent-cemented joints.

Retain " one of" option in first paragraph below to allow Contractor to select piping materials from those retained.

F. Circuit piping, [NPS 2-1/2 to NPS 4 (DN 65 to DN 100)] <Insert pipe size range>, shall be[ one of] the following:

1. [SIDR 7] [SIDR 9], PE, controlled ID pipe; insert fittings for PE pipe; and banded or fastener joints.

2. Schedule 40, PVC pipe and socket fittings; and solvent-cemented joints.

3. SDR 26, PVC, pressure-rated pipe; Schedule 40, PVC socket fittings; and solvent-cemented joints.

G. Underground Branches and Offsets at Sprinklers and Devices: Schedule 80, PVC pipe; threaded PVC fittings; and threaded joints.

1. Option: Plastic swing-joint assemblies, with offsets for flexible joints, manufactured for this application.

Retain one of first two paragraphs below.

H. Risers to Aboveground Sprinklers and Specialties: [Type L (Type B)] [Type M (Type C)] hard copper tube, wrought-copper fittings, and [brazed] [soldered] joints.

I. Risers to Aboveground Sprinklers and Specialties: Schedule 80, PVC pipe and socket fittings; and solvent-cemented joints.

Retain " one of" option in paragraph below to allow Contractor to select piping materials from those retained.

J. Drain piping shall be[ one of] the following:

1. SIDR 9, 11.5, or 15, PE, controlled ID pipe; insert fittings for PE pipe; and banded or fastener joints.

2. Schedule 40, PVC pipe and socket fittings; and solvent-cemented joints.

3. SDR 21, 26, or 32.5, PVC, pressure-rated pipe; Schedule 40, PVC socket fittings; and solvent-cemented joints.

3.11 VALVE SCHEDULE

A. Underground, Shutoff-Duty Valves: Use the following:

1. NPS 2 (DN 50) and Smaller: Curb valve, curb-valve casing, and shutoff rod.

2. NPS 3 (DN 80) and Larger: Iron gate valve, resilient seated; iron gate valve casing; and operating wrench(es).

B. Aboveground, Shutoff-Duty Valves:

1. NPS 2 (DN 50) and Smaller: [Brass] [Brass or bronze] [Bronze] [Plastic] ball valve.

2. NPS 2-1/2 (DN 65) and Larger: Iron ball valve.

Valves in first paragraph below are to be installed in control-valve boxes.

C. Throttling-Duty Valves:

Retain one of first two subparagraphs below.

1. NPS 2 (DN 50) and Smaller: [Bronze] [Plastic] automatic control valve.

2. NPS 2 (DN 50) and Smaller: [Brass] [Brass or bronze] [Bronze] [Plastic] ball valve.

Retain one of two subparagraphs below.

3. NPS 2-1/2 and NPS 3 (DN 65 and DN 80): [Bronze] [Plastic] automatic control valve.

4. NPS 2-1/2 and NPS 3 (DN 65 and DN 80): Iron ball valve.

D. Drain Valves:

Retain one of first two subparagraphs below.

1. NPS 1/2 and NPS 3/4 (DN 15 and DN 20): Automatic drain valve.

2. NPS 1/2 and NPS 3/4 (DN 15 and DN 20): [Brass] [Brass or bronze] [Bronze] [Plastic] ball valve.

3. NPS 1 to NPS 2 (DN 25 to DN 50): [Brass] [Brass or bronze] [Bronze] [Plastic] ball valve.

END OF SECTION 328400

	PLANTING IRRIGATION
	328400 - 1



