Copyright 2010 AIA
MasterSpec Professional
02/10

Copyright 2010 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 334713 - POND AND RESERVOIR LINERS
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on Masterworks/Single‑File Formatting/Toggle/Editor's Notes.
To read detailed research, technical information about products and materials, and coordination checklists, click on Masterworks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section includes geomembrane liners[ and floating covers] for ponds and reservoirs.

1.2 PERFORMANCE REQUIREMENTS

A. Provide geomembrane liners[ and floating covers] that prevent the passage of water[ and gas].

1.3 ACTION SUBMITTALS

A. Product Data: For each type of product indicated.

B. Shop Drawings: Show fabrication and installation details for geomembrane liners. Show panel layout, seams, penetrations, perimeter anchorage, [floating cover, ]and methods of attachment and sealing to other construction. Differentiate between factory and field seams and joints.

C. Samples: For each type of geomembrane panel, provide not less than one 12-inch (300-mm) seam length for factory-bonded sheets, and one 12-inch (300-mm) seam length for field-bonded sheets.

1.4 INFORMATIONAL SUBMITTALS

A. Product certificates.

B. Product test reports.

C. Source quality-control reports.

Retain first paragraph below if Contractor is responsible for field quality-control testing and inspecting.

D. Field quality-control reports.

E. Sample warranty.

1.5 CLOSEOUT SUBMITTALS

A. Maintenance data.

1.6 QUALITY ASSURANCE

A. Installer Qualifications: [Fabricator of products] [An employer of workers trained and approved by manufacturer].

B. Preinstallation Conference: Conduct conference at [Project site] <Insert location>.

1.7 WARRANTY

A. Special Warranty: Specified form in which geomembrane manufacturer, geomembrane liner[ and floating cover] fabricator, and geomembrane liner[ and floating cover] Installer agree to repair or replace geomembrane liner[ and floating cover] that fail(s) in materials or workmanship or that deteriorate(s) under conditions of normal weather within specified warranty period. Warranty does not include deterioration or failure of geomembrane liner[ and floating cover] due to exposure to harmful chemicals, gases or vapors, abnormal and severe weather phenomena, fire, earthquakes, floods, vandalism, or abuse by persons, animals, or equipment.

1. Failures include, but are not limited to, the following:

First three subparagraphs below are examples only; revise to suit Project.

a. Leaks in geomembrane liner[ and floating cover].

b. Defects in seams.

c. Cracks and holes in floating cover.

Verify available warranties and warranty periods for liners and covers with manufacturers listed in Part 2 articles.

2. Warranty Period: [One] [Five] [10] <Insert number> year(s) from date of Substantial Completion.

PART 2 -  PRODUCTS

2.1 CSPE SHEET MATERIALS

A. CSPE Sheet: Formulated from CSPE for use in hydraulic structures and formed into uniform, flexible sheets.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain first subparagraph and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. Burke Environmental Products; Division of Burke Industries.

b. Stevens Geomembranes; Division of JPS Elastomerics.

c. Watersaver Company, Inc.

d. <Insert manufacturer's name>.

Retain first subparagraph below if applicable. Revise if another construction is required.

2. Reinforcing Scrim: One-ply polyester fabric totally encapsulated between two sheets.

"Construction" in first subparagraph below refers to weave, number of fibers per inch in perpendicular directions, and weight (denier) of filament fiber.

a. Construction: [6 x 6 - 1000 d] [8 x 8 - 250 d] [10 x 10 - 1000 d] <Insert value(s)>.

Values in first 11 subparagraphs below are examples that apply to some 45-mil (1.14-mm), reinforced, industrial-grade geomembranes manufactured by Burke and Stevens. Revise values or insert additional performance requirements to suit Project and geomembrane selected.

3. Nominal Thickness: [45-mil- (1.14-mm-)] <Insert dimension> thick sheet per ASTM D 5199 or ASTM D 751, Optical Method.

4. Nominal Thickness over Scrim: [11-mil- (0.28-mm-)] <Insert dimension> thick sheet per ASTM D 5199 or ASTM D 751, Optical Method.

5. Breaking Strength: Not less than [200 lbf (0.89 kN)] <Insert value> minimum average per ASTM D 751, Procedure A.

6. Tear Strength, Initial: Not less than [70 lbf (0.31 kN)] <Insert value> minimum average per ASTM D 5884 or ASTM D 751, Procedure B.

7. Tear Strength, after Aging: Not less than [35 lbf (0.16 kN)] <Insert value> minimum average per ASTM D 5884 or ASTM D 751, Procedure B.

8. Puncture Resistance: Not less than [200 lbf (0.89 kN)] <Insert value> minimum average per ASTM D 4833.

9. Hydrostatic Resistance: Not less than [250-psi (1725-kPa)] <Insert value> minimum average resistance per ASTM D 5514, Procedure A or ASTM D 751, Method A, Procedure 1.

10. Dimensional Stability, Reinforced Sheet: Not more than plus or minus 2 percent per ASTM D 1204.

11. Low-Temperature Flexibility: Pass, 1/8-inch (3-mm) mandrel, four hours at minus 40 deg F (minus 40 deg C), and per ASTM D 2136.

12. UV-Light Resistance: Pass, 4000 hours at 176 deg F (80 deg C), per ASTM G 155.

13. Ply Adhesion: Not less than [7 lbf/in. (1.2 kN/m)] [10 lbf/in. (1.75 kN/m)] <Insert value> of seam width, or film tearing bond, according to ASTM D 413, Machine Method.

Retain subparagraph below only for low-water-absorption CSPE.

14. Water Absorption: Not more than 2 percent at 70 deg F (21 deg C) and not more than 30 percent at 158 deg F (70 deg C) for 30 days each per ASTM D 471, 30-mil- (0.76-mm-) thick sheet.

2.2 PE SHEET MATERIALS

A. PE Sheet: Formulated from virgin PE, compounded for use in hydraulic structures, and formed into uniform sheets.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain first subparagraph and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. Agru America, Inc.

b. Carlisle SynTec Incorporated.

c. Cooley Group.

d. GSE Lining Technology, Inc.; Div. of Gundle/SLT Environmental, Inc.

e. Integra Plastics, Inc.

f. Plastic Fusion Fabricators, Inc.

g. Poly-Flex, Inc.

h. Raven Industries, Inc.

i. Reef Industries, Inc.

j. Yunker Plastics, Inc.

k. <Insert manufacturer's name>.

Revise first subparagraph below if first side is not smooth. Verify availability with manufacturers.

2. Sheet Texture: One side smooth; other side [smooth] [textured].

Retain one of four options in first subparagraph below or insert another density. Delete options not applicable.

3. Nominal Density: [Low density, 0.910 to 0.925 g/cu. cm] [Linear low density, 0.919 to 0.925 g/cu. cm] [Medium density, 0.926 to 0.939 g/cu. cm] [High density, 0.940 to 0.959 g/cu. cm], per ASTM D 1505.

Values in 11 subparagraphs below are examples that apply to some 60-mil (1.5-mm), smooth, unreinforced, high-density geomembranes manufactured by GSE and Poly-Flex. Revise values or insert additional performance requirements to suit Project and geomembrane selected.

In first subparagraph below, retain "ASTM D 5199" option for smooth geomembrane; retain "ASTM D 5994" option for textured geomembrane.

4. Nominal Thickness: [60-mil- (1.5-mm-)] <Insert dimension> thick sheet per [ASTM D 5199] [ASTM D 5994].

5. Melt Flow Index: Not more than 0.035 oz./10 minutes (1.0 g/10 minutes) per ASTM D 1238, Condition 190/2.16.

6. Carbon Black Content: 2 to 3 percent per ASTM D 1603 or ASTM D 4218.

7. Carbon Black Dispersion: Per ASTM D 5596, Category 1 and 2.

8. Oxidation Induction Time: Not less than 100 minutes per ASTM D 3895.

9. Tensile Properties: Not less than indicated for each direction, per ASTM D 638, Type IV or ASTM D 6693, Type IV.

a. Strength at Yield: Not less than [126 lbf/in. (22 kN/m) and 2100 psi (14.5 MPa)] <Insert values> minimum average.

b. Strength at Break: Not less than [228 lbf/in. (40 kN/m) and 3800 psi (26.2 MPa)] <Insert values> minimum average.

c. Elongation at Yield: Not less than [12] <Insert number> percent minimum average.

d. Elongation at Break: Not less than [700] <Insert number> percent minimum average.

10. Tear Resistance: Not less than [39 lbf (0.18 kN)] <Insert value> minimum average per ASTM D 1004.

11. Puncture Resistance: Not less than [108 lbf (0.48 kN)] <Insert value> minimum average per ASTM D 4833.

12. Dimensional Stability, Reinforced Sheet: Not more than plus or minus 2 percent per ASTM D 1204.

13. Low-Temperature Brittleness: Four hours at minus 76 deg F (minus 60 deg C) per ASTM D 746.

14. Environmental Stress Cracking Resistance: Not less than 1500 hours per ASTM D 1693, Condition B.

2.3 PP SHEET MATERIALS

A. PP Sheet: Formulated from virgin PP, compounded for use in hydraulic structures, and formed into uniform, flexible sheets.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain first subparagraph and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. Cooley Group.

b. Lange Containment Systems, Inc.

c. Raven Industries, Inc.

d. Stevens Geomembranes; Division of JPS Elastomerics.

e. Watersaver Company, Inc.

f. <Insert manufacturer's name>.

Retain first subparagraph below if applicable. Revise if another construction is required.

2. Reinforcing Scrim: One-ply polyester fabric totally encapsulated between two sheets.

"Construction" in first subparagraph below refers to weave, number of fibers per inch in perpendicular directions, and weight (denier) of filament fiber.

a. Construction: [9 x 9 - 1000 d] [10 x 10 - 1000 d] <Insert value(s)>.

Revise first subparagraph below if first side is not smooth. Verify availability with manufacturers.

3. Sheet Texture: One side smooth; other side [smooth] [textured].

Values in eight subparagraphs below are examples that apply to some 45-mil (1.14-mm), reinforced geomembranes manufactured by Cooley and Stevens. Revise values or insert additional performance requirements to suit Project and geomembrane selected.

In first subparagraph below, retain "ASTM D 5199 or ASTM D 751, Optical Method" option for smooth geomembrane; retain "ASTM D 5994" option for textured geomembrane.

4. Nominal Thickness: [45-mil- (1.14-mm-)] <Insert dimension> thick sheet per [ASTM D 5199 or ASTM D 751, Optical Method] [ASTM D 5994].

5. Tensile Strength: Not less than [250 lbf (1.1 kN)] <Insert value> minimum average per ASTM D 412, ASTM D 7003, ASTM D 6693, or ASTM D 751, Procedure A.

6. Tear Resistance: Not less than [55 lbf (0.24 kN)] <Insert value> minimum average per ASTM D 1004, ASTM D 5884, ASTM D 7003, or ASTM D 751, Procedure B.

7. Puncture Resistance: Not less than [200 lbf (0.88 kN)] <Insert value> minimum average per ASTM D 4833 or ASTM D 7003.

8. Low-Temperature Flexibility: Pass, 1/8-inch (3-mm) mandrel, four hours at minus 40 deg F (minus 40 deg C), and per ASTM D 2136.

9. Hydrostatic Resistance: Not less than [250-psi (1725-kPa)] <Insert value> minimum average resistance per ASTM D 5514, Procedure A or ASTM D 751, Method A, Procedure 1.

10. Dimensional Stability, Reinforced Sheet: Not more than plus or minus 1 percent per ASTM D 1204.

11. Ply Adhesion: Not less than [20 lbf/in. (3.5 kN/m)] <Insert value> of seam width, or film tearing bond, according to ASTM D 413, Machine Method.

2.4 PVC SHEET MATERIALS

A. PVC Sheet: Formulated from virgin PVC with plasticizers and other modifiers, compounded for use in hydraulic structures, and formed into uniform, flexible sheets with material properties complying with [ASTM D 7176] [PGI 1104, "Specification for PVC Geomembranes,"] for nominal thickness indicated.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers. Retain first subparagraph and list of manufacturers below. See Section 016000 "Product Requirements."

1. Manufacturers: Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

a. Environmental Protection, Inc.

b. Integra Plastics, Inc.

c. Lange Containment Systems, Inc.

d. Watersaver Company, Inc.

e. <Insert manufacturer's name>.

2. Nominal Thickness: [10 mils (0.25 mm)] [20 mils (0.51 mm)] [30 mils (0.76 mm)] [40 mils (1.02 mm)] [50 mils (1.3 mm)] [60 mils (1.5 mm)].

Revise subparagraph below if first side is not smooth. Verify availability with manufacturers.

3. Sheet Texture: One side smooth; other side [smooth] [matte] [faille textured].

2.5 FLOATING COVER ACCESSORIES

A. Screened Scupper Hoses: Manufacturer's standard.

B. Flotation Blocks: Closed-cell polyethylene foam blocks approximately 4 by 12 inches (102 by 300 mm), 2.2 lb/cu. ft. (35.2 kg/cu. m).

C. Access Hatch: Manufacturer's standard, in size indicated.

2.6 MISCELLANEOUS MATERIALS

Retain first three paragraphs below if applicable and revise to suit Project.

A. Adhesives: Provide types of adhesive primers, compounds, solvents, and tapes recommended in writing by geomembrane liner manufacturer

Penetration assemblies in first paragraph below include pipes, ventilation assemblies, access hatches in cover, and structural members.

B. Penetration Assemblies: Provide manufacturer's standard factory-fabricated assemblies for sealing penetrations. Include joint sealant recommended in writing by geomembrane liner manufacturer and compatible with geomembrane liner, containment conditions, and materials.

C. Battens: Manufacturer's standard. Fabricate battens with sharp projections removed and edges eased and then predrilled or punched for anchors. Provide anchors, or other type of attachment, of type and spacing recommended in writing by geomembrane liner manufacturer for attaching geomembrane liner system to substrate and as indicated.

Retain paragraph below if sand-filled ballast tubes are required for floating covers.

D. Sand: ASTM C 33; fine aggregate, natural or manufactured sand.

2.7 FABRICATION

A. Fabricate geomembrane liner[ and floating cover] panels from sheets in sizes as large as possible with factory-sealed seams, consistent with limitations of weight and installation procedures. Minimize field seaming.

Retain three paragraphs below if floating covers are required; revise to suit Project.

B. Fabricate flotation blocks, wrap in geomembrane, and attach to underside of floating cover according to manufacturer's written instructions.

C. Fabricate ballast tubes of sand-filled geomembrane and attach to top surface of floating cover according to manufacturer's written instructions.

D. Install built-in accessories, hatches, access panels, vents, and walkways on geomembrane floating cover.

2.8 SOURCE QUALITY CONTROL

A. Testing Agency: [Owner will engage] [Engage] a qualified testing agency to evaluate geomembrane seams.

Retain first paragraph below or insert requirements if another testing protocol is preferred, such as that in GRI test methods and standards or in manufacturer's quality-control procedures.

B. Destructive Testing: Test for bonded seam strength and peel adhesion [every 3000 feet (915 m) or once per panel, whichever is more frequent] <Insert requirement>.

Retain applicable paragraphs below to coordinate with type of sheet material selected. Options for bonded-seam-strength values in subparagraphs below are examples coordinated with type of sheet, nominal thickness of geomembrane, and presence of fabric reinforcement. Retain options or insert another value coordinated with previously selected characteristics.

C. CSPE Liner[ and Floating Cover]: Test and inspect factory seams, according to ASTM D 4545, for peel adhesion not less than 10 lbf/in. (1.75 kN/m) of seam width and for bonded seam strength not less than [180 lbf/in. (32 kN/m) of seam width for seams constructed from two scrim-reinforced sheets, each with nominal sheet thickness of not less than 45 mils (1.14 mm)] <Insert requirements>.

D. PE Liner: Test and inspect factory seams, according to ASTM D 4545, for peel adhesion and for bonded seam strength indicated.

Retain one of first two subparagraphs below or revise to suit Project.

1. Peel Adhesion/Extrusion: Film tear bond and not less than 78 lbf/in. (13.7 kN/m) of extrusion-bonded seam width.

2. Peel Adhesion/Fusion: Film tear bond and not less than 90 lbf/in. (15.8 kN/m) of fused seam width.

3. Bonded Seam Strength: Not less than 120 lbf/in. (21 kN/m) of seam width for seams constructed from two scrim-reinforced sheets, each with nominal sheet thickness of not less than 45 mils (1.14 mm).

4. <Insert requirements>.

E. PP Liner[ and Floating Cover]: Test and inspect factory seams, according to ASTM D 4545, for peel adhesion not less than 20 lbf/in. (3.5 kN/m) of seam width and for bonded seam strength not less than [200 lbf/in. (35 kN/m) of seam width for seams constructed from two scrim-reinforced sheets, each with nominal sheet thickness of not less than 45 mils (1.14 mm)] <Insert requirements>.

F. PVC Liner[ and Floating Cover]: Test and inspect factory seams, according to ASTM D 4545, for peel adhesion not less than 10 lbf/in. (1.75 kN/m) of seam width and for bonded seam strength not less than that indicated below for seams constructed from two sheets of minimum nominal thickness indicated for each:

1. Bonded Seam Strength for 10-mil- (0.25-mm-) Thick Sheets: [20 lbf/in. (3.5 kN/m)] <Insert value> of seam width.

2. Bonded Seam Strength for 20-mil- (0.51-mm-) Thick Sheets: [38.5 lbf/in. (6.7 kN/m)] <Insert value> of seam width.

3. Bonded Seam Strength for 30-mil- (0.76-mm-) Thick Sheets: [58.4 lbf/in. (10.2 kN/m)] <Insert value> of seam width.

4. Bonded Seam Strength for 40-mil- (1.02-mm-) Thick Sheets: [77.6 lbf/in. (13.6 kN/m)] <Insert value> of seam width.

5. Bonded Seam Strength for 50-mil- (1.3-mm-) Thick Sheets: [96 lbf/in. (16.8 kN/m)] <Insert value> of seam width.

6. Bonded Seam Strength for 60-mil- (1.5-mm-) Thick Sheets: [116 lbf/in. (20.3 kN/m)] <Insert value> of seam width.

PART 3 -  EXECUTION

3.1 INSTALLATION

A. Examine substrates, with Installer present, for compliance with requirements for soil compaction and grading; for subgrade free from angular rocks, rubble, roots, vegetation, debris, voids, protrusions, and ground water; and for other conditions affecting performance of geomembrane liner.

B. Examine anchor [trench excavation] [concrete perimeter], where geomembrane liner[ and floating cover] will be secured, for substrate conditions indicated above and for correct location and configuration.

C. Proceed with installation only after unsatisfactory conditions have been corrected.

D. Provide temporary ballast, until edges are permanently secured, that does not damage geomembrane liner or substrate, to prevent uplift of geomembrane liner in areas with prevailing winds.

E. Prepare surfaces of construction penetrating through geomembrane liner according to geomembrane liner manufacturer's written instructions.

F. Remove curing compounds and coatings from concrete surfaces to be sealed to geomembrane liner.

G. Place geomembrane liner over prepared surfaces to ensure minimum handling. Install according to Shop Drawings and in compliance with geomembrane liner manufacturer's written instructions. Begin placing geomembrane liner at Project's upwind direction and proceed downwind. Install geomembrane liner in a relaxed condition, free from stress and with minimum wrinkles, and in full contact with subgrade. Do not bridge over voids or low areas in the subgrade. Fit closely and seal around inlets, outlets, and other projections through geomembrane liner. Permanently secure edges.

H. Field Seams: Comply with geomembrane liner[ and floating cover] manufacturer's written instructions.

Retain one of first two paragraphs below or insert another method of anchorage to suit Project. Anchor trench or concrete attachment is suitable for geomembrane liner and floating cover.

I. Installation in Anchor Trench: Install geomembrane liner[ and floating cover] in trench according to manufacturer's written instructions. Backfill and compact to lock liner into trench.

J. Attachment to Concrete: Use manufacturer's standard system to suit Project conditions. Support adhesive and geomembrane on minimum 8-inch- (200-mm-) wide concrete substrate unless otherwise indicated.

K. Protect installed geomembrane liner[ and floating cover] according to manufacturer's written instructions. Repair or replace areas of geomembrane liner damaged by scuffing, punctures, traffic, rough subgrade, or other unacceptable conditions.

L. Before initial filling of pond or placement of earth cover, inspect seams and patched areas to ensure tight, continuously bonded installation. Repair damaged geomembrane and seams and reinspect repaired work.

3.2 FIELD QUALITY CONTROL

Retain first paragraph below to identify who shall perform tests and inspections. If retaining second option, retain "Field quality-control reports" Paragraph in "Informational Submittals" Article.

A. Testing Agency: [Owner will engage] [Engage] a qualified testing agency to perform tests and inspections.

Revise first paragraph below if manufacturer's procedures must be followed for warranty coverage or if other testing is required.

B. Nondestructive Testing: Visually inspect seams and patches. Comply with ASTM D 4437 for Air Lance Test, Vacuum Box Testing, or Ultrasonic (High Frequency) Pulse Echo Testing or with GRI Test Method GM6, as applicable to geomembrane liner[ and floating cover] and seam construction. Record locations of failed seams and patches. Individually number and date occurrences and details of leak and remedial action. Repair leaking seams and patches.

C. Prepare test and inspection reports.

END OF SECTION 334713

	POND AND RESERVOIR LINERS
	334713 - 1



