Copyright 2005 AIA
MASTERSPEC Full Length
02/05 (R 05/06)

Copyright 2005 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 03410 - PLANT-PRECAST STRUCTURAL CONCRETE
Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. Section Includes:

1. Precast structural concrete.

2. Precast structural concrete with [thin-brick] [stone] facings.

3. Precast structural concrete with commercial architectural finish.

B. Related Sections:

Retain Sections in subparagraphs below that contain requirements Contractor might expect to find in this Section but are specified in other Sections.

1. Division 3 Section "Cast-in-Place Concrete" for [concrete topping and ]placing connection anchors in concrete.

2. Division 4 Section "Unit Masonry Assemblies" for inserts or anchorages required for precast concrete slab connections.

3. Division 4 Section "Dimension Stone Cladding" for preconstruction testing of stone anchors and determination of anchor spacing.

4. Division 5 Section "Structural Steel" for furnishing and installing connections attached to structural-steel framing.

5. Division 5 Section "Metal Fabrications" for kickers and other miscellaneous steel shapes.

6. Division 7 Section "Sheet Metal Flashing and Trim" for flashing receivers and reglets.

7. Division 7 Section "Through-Penetration Firestop Systems" for joint-filler materials for fire-resistance-rated construction.

8. Division 7 Section "Joint Sealants" for elastomeric joint sealants and sealant backings.

1.3 DEFINITION

Retain this article if a design reference sample has been preapproved by Architect for precast structural concrete units with architectural finish.

A. Design Reference Sample:  Sample of approved precast structural concrete color, finish, and texture, preapproved by Architect.

1.4 PERFORMANCE REQUIREMENTS

Retain this article if Contractor is required to assume responsibility for design.

A. Delegated Design:  Design precast structural concrete, including comprehensive engineering analysis by a qualified professional engineer, using performance requirements and design criteria indicated.

B. Structural Performance:  Precast structural concrete units and connections shall withstand design loads indicated within limits and under conditions indicated.

Retain paragraph below if including design loads here.  See Evaluations for discussion of loads.  Revise requirements below to suit Project, and add other performance and design criteria if applicable.

C. Structural Performance:  Provide precast structural concrete units and connections capable of withstanding the following design loads within limits and under conditions indicated:

1. Dead Loads:  <Insert loads>.

2. Concrete Topping Load:  <Insert load>.

3. Live Loads:  <Insert loads>.

4. Roof Loads:  <Insert loads>.

5. Snow Loads:  <Insert loads>.

6. Seismic Loads:  <Insert seismic design data including seismic performance category, importance factor, use group, seismic design category, seismic zone, site classification, site coefficient, and drift criteria>.

7. Wind Loads:  <Insert wind loads or wind-loading criteria, positive and negative for various parts of the building as required by applicable building code or SEI/ASCE 7, including basic wind speed, importance factor, exposure category, and pressure coefficient>.

8. <Insert loads or load combinations>.

Show locations here or on Drawings if different movements are anticipated for different building elements.  Specify deflection limits stricter than ACI 318 (ACI 318M).

9. Design precast structural concrete framing system and connections to maintain clearances at openings, to allow for fabrication and construction tolerances, to accommodate live-load deflection, shrinkage and creep of primary building structure, and other building movements.  Maintain precast structural concrete deflections within limits of ACI 318 (ACI 318M).

Revise first subparagraph below to suit exposure and local conditions.  Temperature data are available from National Climatic Data Center, www.ncdc.noaa.gov.

a. Thermal Movements:  Allow for in-plane thermal movements resulting from annual ambient temperature changes of [minus 18 to plus 120 deg F (minus 10 to plus 67 deg C)] [120 deg F (67 deg C)] <Insert temperature>.

Retain first subparagraph below if fire-resistance rating is required.  Fire ratings depend on occupancy and building construction type, and are generally a building code requirement.

10. Fire-Resistance Rating:  Select material and minimum thicknesses to provide indicated fire rating.

Retain first subparagraph below only if stone-faced precast concrete is used on Project.

11. Stone to Precast Anchorages:  Provide anchors, as determined through Owner's or stone supplier testing, in numbers, types, and locations as required to satisfy performance criteria specified, but not less than the following:

a. Minimum Anchorage Requirement:  Not less than 2 anchors per unit of less than 2 sq. ft. (0.19 sq. m) in area and 4 anchors per unit of less than 12 sq. ft. (1.1 sq. m) in area and for units larger than 12 sq. ft. (1.1 sq. m) in area, provide anchors spaced not more than 24 inches (600 mm) o.c. both horizontally and vertically, all located a minimum of 6 inches (150 mm) from stone edge.

Retain subparagraph below if precast units are used in parking structures to resist impact load.  Revise loads to suit Project.  Loads are based on PCI recommendations.

12. Vehicular Impact Loads:  Design spandrel beams acting as vehicular barriers for passenger cars to resist a single [6000-lbf (26.7-kN)] <Insert load> service load and [10,000-lbf (44.5-kN)] <Insert load> ultimate load applied horizontally in any direction to the spandrel beam, with anchorages or attachments capable of transferring this load to the structure.  Design spandrel beams assuming the load to act at a height of 18 inches (460 mm) above the floor or ramp surface on an area not to exceed 1 sq. ft. (0.93 sq. m).

1.5 SUBMITTALS

First four paragraphs below are defined in Division 1 Section "Submittal Procedures" as "Action Submittals."

A. Product Data:  For each type of product indicated.

B. LEED Submittals:

Retain first subparagraph below if recycled content is required for LEED-NC or LEED-CI Credits MR 4.1 and MR 4.2.  An alternative method of complying with Credit MR 4.1 and MR 4.2 requirements is to retain requirement in Division 1 Section "LEED Requirements" that gives Contractor the option and responsibility for determining how Credit MR 4.1 and MR 4.2 requirements will be met.

1. Product Data for Credit MR 4.1[ and Credit MR 4.2]:  For products having recycled content, documentation indicating percentages by weight of postconsumer and preconsumer recycled content.

a. Include statement indicating costs for each product having recycled content.

Retain subparagraph below if fly ash, ground granulated blast-furnace slag, silica fume, or other materials are used as portland cement replacements for LEED-NC Credit ID 1.1.  To achieve this credit, replacement materials must be substituted for at least 40 percent of the portland cement that would otherwise be used.

2. Design Mixtures for Credit ID 1.1:  For each concrete mixture containing fly ash as a replacement for portland cement or other portland cement replacements and for equivalent concrete mixtures that do not contain portland cement replacements.

C. Design Mixtures:  For each precast concrete mixture.  Include compressive strength and water-absorption tests.

D. Shop Drawings:  Include member locations, plans, elevations, dimensions, shapes and sections, openings, support conditions, and types of reinforcement, including special reinforcement.  Detail fabrication and installation of precast structural concrete units.

Delete subparagraphs below not applicable to Project.

1. Indicate joints, reveals, and extent and location of each surface finish.

2. Indicate separate face and backup mixture locations and thicknesses.

3. Indicate welded connections by AWS standard symbols.  Show size, length, and type of each weld.

4. Detail loose and cast-in hardware, lifting and erection inserts, connections, and joints.

5. Indicate locations, tolerances, and details of anchorage devices to be embedded in or attached to structure or other construction.

6. Include and locate openings larger than by 10 inches (250 mm).

7. Indicate location of each precast structural concrete unit by same identification mark placed on panel.

8. Indicate relationship of precast structural concrete units to adjacent materials.

9. Indicate locations and details of brick units, including corner units and special shapes, and joint treatment.

10. Indicate locations and details of stone facings, anchors, and joint widths.

11. Indicate estimated camber for precast floor slabs with concrete toppings.

12. Indicate shim sizes and grouting sequence.

13. Design Modifications:  If design modifications are proposed to meet performance requirements and field conditions, submit design calculations and Shop Drawings.  Do not adversely affect the appearance, durability, or strength of units when modifying details or materials and maintain the general design concept.

E. Samples:

Retain first subparagraph below if architectural finishes, colors, and textures are preselected, specified, or scheduled.  Coordinate with sample panels in "Quality Assurance" Article.

1. For each type of finish indicated on exposed surfaces of precast structural concrete units with architectural finish, in sets of 3, illustrating full range of finish, color, and texture variations expected; approximately 12 by 12 by 2 inches (300 by 300 by 50 mm).

a. Where other faces of precast concrete unit are exposed, include Samples illustrating workmanship, color, and texture of backup concrete as well as facing concrete.

Retain first subparagraph below if thin-brick facing samples are required.

2. Samples for each thin- or half-brick unit required, showing full range of color and texture expected.  Include Samples showing color and texture of joint treatment.

Retain one or both subparagraphs below if joints for thin-brick facings are grouted.

a. Grout Samples for Initial Selection:  Color charts consisting of actual sections of grout showing manufacturer's full range of colors.

b. Grout Samples for Verification:  Showing color and texture of joint treatment.

First paragraph below is defined in Division 1 Section "Submittal Procedures" as a "Delegated-Design Submittal."  Retain if Work of this Section is required to withstand specific design loads and design responsibilities have been delegated to Contractor or if structural data are required as another way to verify compliance with performance requirements.  Professional engineer qualifications are specified in Division 1 Section "Quality Requirements."

F. Delegated-Design Submittal:  For precast structural concrete indicated to comply with performance requirements and design criteria, including analysis data signed and sealed by the qualified professional engineer responsible for their preparation.

Remaining paragraphs are defined in Division 1 Section "Submittal Procedures" as "Informational Submittals."

Coordinate first paragraph below with qualification requirements in Division 1 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

G. Qualification Data:  For [Installer] [fabricator] [testing agency].

Retain first paragraph below if retaining procedures for welder certification in "Quality Assurance" Article.

H. Welding certificates.

Retain first paragraph below for material certificates from manufacturers.

I. Material Certificates:  For the following, from manufacturer:

Revise list below to suit Project.

1. Cementitious materials.

2. Reinforcing materials and prestressing tendons.

3. Admixtures.

4. Bearing pads.

5. Structural-steel shapes and hollow structural sections.

Retain one or both subparagraphs below if thin-brick or stone facings are required.

6. Brick units and accessories.

7. Stone anchors and accessories.

Retain first paragraph below for material test reports that are Contractor's responsibility.

J. Material Test Reports:  For aggregates.

K. Source quality-control reports.

Retain paragraph below if Contractor is responsible for field quality-control testing and inspecting.  Include option if Contractor is responsible for special inspections.

L. Field quality-control[ and special inspection] reports.

1.6 QUALITY ASSURANCE

A. Fabricator Qualifications: A firm that assumes responsibility for engineering precast structural concrete units to comply with performance requirements.  Responsibility includes preparation of Shop Drawings and comprehensive engineering analysis by a qualified professional engineer.

Usually retain first subparagraph below and select category to qualify a fabricator.  A precast concrete plant certified to produce products in Category C2A, for example, is also certified to produce products in Categories C1, C1A, and C2 but not in Category C3, C3A, C4, or C4A.  See Evaluations for discussion of PCI's Groups C and CA categories.

1. Participates in PCI's Plant Certification program[ at time of bidding] and is designated a PCI-certified plant as follows:

Retain first subparagraph and appropriate option if Group C products without architectural finishes are required.  Retain second subparagraph and appropriate option if Group CA products with architectural finishes are required.

a. Group C, [Category C1 - Precast Concrete Products (no prestressed reinforcement)] [Category C2 - Prestressed Hollowcore and Repetitively Produced Products] [Category C3 - Prestressed Straight Strand Structural Members] [Category C4 - Prestressed Deflected Strand Structural Members].

b. Group CA, [Category C1A - Precast Concrete Products (no prestressed reinforcement)] [Category C2A - Prestressed Hollowcore and Repetitively Produced Products] [Category C3A - Prestressed Straight-Strand Structural Members] [Category C4A - Prestressed Deflected-Strand Structural Members].

Retain one of first two paragraphs below if qualifying installers.  Retain first if PCI-certified erector is required.  See PCI's Web site, www.pci.org, for current listing of erectors.

B. Installer Qualifications:  A precast concrete erector qualified[ at time of bidding], as evidenced by PCI's Certificate of Compliance, to erect [Category S1 - Simple Structural Systems] [Category S2 - Complex Structural Systems].

Retain first paragraph below to qualify erector by PCI evaluation if PCI-certified erector is not required or is not available in Project location.

C. Installer Qualifications:  An experienced precast concrete erector who, before erection of precast concrete, has retained a "PCI-Certified Field Auditor" to conduct a field audit of a project installed by erector in [Category S1 - Simple Structural Systems] [Category S2 - Complex Structural Systems] and who produces an Erectors' Post Audit Declaration, according to PCI MNL 127, "PCI Erector's Manual - Standards and Guidelines for the Erection of Precast Concrete Products."

Retain first paragraph below if Contractor selects testing agency for testing in addition to that required under PCI's certification program.  Testing agency is normally engaged by Owner.

D. Testing Agency Qualifications:  Qualified according to ASTM C 1077 and ASTM E 329 for testing indicated.

E. Design Standards:  Comply with ACI 318 (ACI 318M) and design recommendations in PCI MNL 120, "PCI Design Handbook - Precast and Prestressed Concrete," applicable to types of precast structural concrete units indicated.

F. Quality-Control Standard:  For manufacturing procedures and testing requirements, quality-control recommendations, and dimensional tolerances for types of units required, comply with PCI MNL 116, "Manual for Quality Control for Plants and Production of Structural Precast Concrete Products."

Retain "Welding Qualifications" Paragraph below if shop or field welding is required.  If retaining, also retain "Welding certificates" Paragraph in "Submittals" Article.

G. Welding Qualifications:  Qualify procedures and personnel according to the following:

1. AWS D1.1/D.1.1M, "Structural Welding Code - Steel."

2. AWS D1.4, "Structural Welding Code - Reinforcing Steel."

Retain first paragraph below if fire-resistance calculations for units or assemblies are required.  Select either calculation option, or both, if acceptable to authorities having jurisdiction.

H. Fire-Resistance Calculations:  Where indicated, provide precast structural concrete units whose fire resistance meets the prescriptive requirements of authorities having jurisdiction or has been calculated according to [ACI 216.1/TMS 0216.1, "Standard Method for Determining Fire Resistance of Concrete and Masonry Construction Assemblies,"] [PCI MNL 124, "Design for Fire Resistance of Precast Prestressed Concrete,"] and is acceptable to authorities having jurisdiction.

Consider retaining first paragraph below for precast structural concrete units with architectural finish or with thin-brick or stone facings.  PCI recommends review of preproduction sample panels to establish range of finish, color, and texture to be expected.  Revise number and size of sample panels in paragraph to suit Project.

I. Sample Panels:  After sample approval and before fabricating precast structural concrete units with [architectural finish] [thin-brick facing] [stone facing], produce a minimum of [2] <Insert number> sample panels approximately [16 sq. ft. (1.5 sq. m)] <Insert size> in area for review by Architect.  Incorporate full-scale details of architectural features, finishes, textures, and transitions in sample panels.

1. Locate panels where indicated or, if not indicated, as directed by Architect.

2. Damage part of an exposed-face surface for each finish, color, and texture, and demonstrate adequacy of repair techniques proposed for repair of surface blemishes.

3. After approval of repair technique, maintain one sample panel at fabricator's plant and one at Project site in an undisturbed condition as a standard for judging the completed Work.

4. Demolish and remove sample panels when directed.

Consider retaining first paragraph below for precast structural concrete units with architectural finish or with thin-brick or stone facings.  Delete if sample panels in paragraph above will suffice and added expense of mockups is not required.

J. Mockups:  After sample panel approval but before production of precast structural concrete units with [architectural finish] [thin-brick facing] [stone facing], construct full-sized mockups to verify selections made under sample submittals and to demonstrate aesthetic effects and set quality standards for materials and execution.

Revise or delete three subparagraphs below to suit Project.

1. Build mockup as indicated on Drawings including [sealants] <Insert construction> and precast structural concrete units with an architectural finish complete with anchors, connections, flashings, and joint fillers.

Retain first subparagraph below if mockups are not only for establishing appearance factors.

2. Approval of mockups does not constitute approval of deviations from the Contract Documents contained in mockups unless Architect specifically approves such deviations in writing.

Retain subparagraph below if mockups are installed as part of building rather than erected separately and the intention is to make an exception to the default requirement in Division 1 Section "Quality Requirements" for demolishing and removing mockups when directed unless otherwise indicated.

3. Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

Retain paragraph below if Work of this Section is extensive or complex enough to justify a preinstallation conference.

K. Preinstallation Conference:  Conduct conference at [Project site] <Insert location>.

1.7 DELIVERY, STORAGE, AND HANDLING

A. Support units during shipment on nonstaining shock-absorbing material in same position as during storage.

B. Store units with adequate bracing and protect units to prevent contact with soil, to prevent staining, and to prevent cracking, distortion, warping or other physical damage.

1. Store units with dunnage across full width of each bearing point unless otherwise indicated.

2. Place adequate dunnage of even thickness between each unit.

3. Place stored units so identification marks are clearly visible, and units can be inspected.

C. Handle and transport units in a position consistent with their shape and design in order to avoid excessive stresses that would cause cracking or damage.

D. Lift and support units only at designated points shown on Shop Drawings.

1.8 COORDINATION

A. Furnish loose connection hardware and anchorage items to be embedded in or attached to other construction before starting that Work.  Provide locations, setting diagrams, templates, instructions, and directions, as required, for installation.

PART 2 -  PRODUCTS

2.1 MANUFACTURERS

Retain this article and one of two options below if naming fabricators.  See PCI's magazine "Ascent" or its Web site, www.pci.org, for current PCI-certified plant listings.

A. Fabricators:  Subject to compliance with requirements, [provide products by one of the following] [available fabricators offering products that may be incorporated into the Work include, but are not limited to, the following]:

1. <Insert fabricators' names>.

2.2 MOLD MATERIALS

A. Molds:  Rigid, dimensionally stable, non-absorptive material, warp and buckle free, that will provide continuous and true precast concrete surfaces within fabrication tolerances indicated; nonreactive with concrete and suitable for producing required finishes.

1. Mold-Release Agent:  Commercially produced liquid-release agent that will not bond with, stain or adversely affect precast concrete surfaces and will not impair subsequent surface or joint treatments of precast concrete.

Retain first paragraph below if using form liners for precast structural concrete with architectural finish or thin-brick facings.  Form liners may be used to achieve a special off-the-form finish or to act as a template for thin-brick facings.  Revise to add description of selected form liner if required.

B. Form Liners:  Units of face design, texture, arrangement, and configuration [indicated] [to match those used for precast concrete design reference sample].  Furnish with manufacturer's recommended liquid-release agent that will not bond with, stain, or adversely affect precast concrete surfaces and will not impair subsequent surface or joint treatments of precast concrete.

Retain paragraph below if surface retarder is applied to molds to help obtain exposed-aggregate finish for precast structural concrete with architectural finish.

C. Surface Retarder:  Chemical set retarder, capable of temporarily delaying final hardening of newly placed concrete mixture to depth of reveal specified.

2.3 REINFORCING MATERIALS

Retain one or more paragraphs in this article to suit steel reinforcement requirements.  Distinguish locations of each type of reinforcement here or on Drawings.  If retaining "Performance Requirements" Article, consider reviewing selections with fabricators.

Retain first paragraph below if recycled content is required for LEED-NC or LEED-CI Credits MR 4.1 and MR 4.2.  USGBC allows a default value of 25 percent to be used for steel, without documentation; higher percentages can be claimed if they are supported by appropriate documentation.  The Steel Recycling Institute indicates that reinforcing bars are made by the electric arc furnace method, which typically has 57.5 percent postconsumer recycled content and 6.5 percent preconsumer recycled content.

A. Recycled Content of Steel Products:  Provide products with an average recycled content of steel products so postconsumer recycled content plus one-half of preconsumer recycled content is not less than [25] [60] <Insert number> percent.

B. Reinforcing Bars:  ASTM A 615/A 615M, Grade 60 (Grade 420), deformed.

Retain first paragraph below for reinforcement that is welded or if added ductility is sought.

C. Low-Alloy-Steel Reinforcing Bars:  ASTM A 706/A 706M, deformed.

Retain galvanized reinforcing bars in first paragraph below where corrosive environment or severe exposure conditions justify extra cost.  Presence of chromate film on the surface of galvanized coating is usually visible as light yellow tint on the surface.  ASTM B 201 describes a test method for determining presence of chromate coatings.

D. Galvanized Reinforcing Bars:  [ASTM A 615/A 615M, Grade 60 (Grade 420)] [ASTM A 706/A 706M], deformed bars, ASTM A 767/A 767M, Class II zinc coated, hot-dip galvanized[, and chromate wash treated after fabrication and bending].

Consider using epoxy coating where corrosive environment or severe exposure conditions justify extra cost.  In first paragraph below, retain ASTM A 775/A 775M for a bendable epoxy coating; retain ASTM A 934/A 934M for a nonbendable epoxy coating.

E. Epoxy-Coated Reinforcing Bars:  [ASTM A 615/A 615M, Grade 60 (Grade 420)] [ASTM A 706/A 706M], deformed bars, [ASTM A 775/A 775M] [or] [ASTM A 934/A 934M] epoxy coated, with less than 2 percent damaged coating in each 12-inch (300-mm) bar length.

F. Steel Bar Mats:  ASTM A 184/A 184M, fabricated from [ASTM A 615/A 615M, Grade 60 (Grade 420)] [ASTM A 706/A 706M], deformed bars, assembled with clips.

G. Plain-Steel Welded Wire Reinforcement:  ASTM A 185, fabricated from [as-drawn steel] [galvanized-steel] wire into flat sheets.

H. Deformed-Steel Welded Wire Reinforcement:  ASTM A 497/A 497M, flat sheet.

I. Epoxy-Coated-Steel Wire:  ASTM A 884/A 884M, Class A coated, [plain] [deformed], flat sheet, [Type 1 bendable] [Type 2 nonbendable] coating.

J. Supports:  Suspend reinforcement from back of mold or use bolsters, chairs, spacers, and other devices for spacing, supporting, and fastening reinforcing bars and welded wire reinforcement in place according to PCI MNL 116.

2.4 PRESTRESSING TENDONS

Retain this article if precast concrete units will be prestressed, either pretensioned or post-tensioned.

A. Pretensioning Strand:  [ASTM A 416/A 416M, Grade 250 (Grade 1720) or Grade 270 (Grade 1860), uncoated, 7-wire] [or] [ASTM A 886/A 886M, Grade 270 (Grade 1860), indented, 7-wire], low-relaxation strand.

B. Unbonded Post-Tensioning Strand:  ASTM A 416/A 416M, Grade 270 (Grade 1860), uncoated, 7-wire, low-relaxation strand.

For aggressive climates, revise subparagraph below by adding an anchorage device encapsulation system consisting of caps and sleeves.

1. Coat unbonded post-tensioning strand with post-tensioning coating complying with ACI 423.6 and sheath with polypropylene tendon sheathing complying with ACI 423.6.  Include anchorage devices and coupler assemblies.

C. Post-Tensioning Bars: ASTM A 722, uncoated high-strength steel bar.

2.5 CONCRETE MATERIALS

Retain materials in this article as required; revise to suit Project.

A. Portland Cement:  ASTM C 150, Type I or Type III, gray, unless otherwise indicated.

Retain subparagraph below if mixing white and gray cement will improve color uniformity of precast structural concrete with architectural finish.  White cement has greater color consistency than gray cement and can be used for pastel colors.  For darker colors, variations of gray cement have less effect on final color hue.

1. For surfaces exposed to view in finished structure, mix gray with white cement, of same type, brand, and mill source.

B. Supplementary Cementitious Materials:

Retain mineral or cementitious admixtures in four subparagraphs below.  Because fly ash, gray silica fume, and ground slag affect color uniformity, they are not recommended by PCI where appearance is important.

1. Fly Ash:  ASTM C 618, Class C or F, with maximum loss on ignition of 3 percent.

2. Metakaolin Admixture:  ASTM C 618, Class N.

3. Silica Fume Admixture:  ASTM C 1240, with optional chemical and physical requirement.

4. Ground Granulated Blast-Furnace Slag:  ASTM C 989, Grade 100 or 120.

ASTM C 33 limits deleterious substances in coarse aggregate depending on climate severity and in-service location of concrete.  Class 5S is the most restrictive designation for architectural concrete exposed to severe weathering.  PCI MNL 116 also establishes strict limits on deleterious substances for fine and coarse aggregates.

C. Normal-Weight Aggregates:  Except as modified by PCI MNL 116, ASTM C 33, with coarse aggregates complying with [Class 5S] [Class 5M] [Class 4S] [Class 4M].  Stockpile fine and coarse aggregates for each type of exposed finish from a single source (pit or quarry) for Project.

Retain two subparagraphs below for face mixtures for precast structural concrete with architectural finish.  Revise to add descriptions of selected coarse- and fine-face aggregate colors and sources if required.

1. Face-Mixture-Coarse Aggregates:  Selected, hard, and durable; free of material that reacts with cement or causes staining; to match selected finish sample.

Retain one option in first subparagraph below or insert gradation and maximum aggregate size if known.  Fine and coarse aggregates are not always from same source.

a. Gradation:  [Uniformly graded] [Gap graded] [To match design reference sample].

2. Face-Mixture-Fine Aggregates:  Selected, natural or manufactured sand of same material as coarse aggregate unless otherwise approved by Architect.

Lightweight aggregates in a face mixture are not recommended by PCI in cold or humid climates (if exposed to the weather) unless their performance has been verified by tests or records of previous satisfactory usage in similar environments.  If normal-weight aggregates are used in face mixture, PCI does not recommend lightweight aggregates in backup mixture due to bowing potential.

D. Lightweight Aggregates:  Except as modified by PCI MNL 116, ASTM C 330, with absorption less than 11 percent.

Retain first paragraph below if coloring admixture is required for precast structural concrete with architectural finish.  Add color selection if known.

E. Coloring Admixture:  ASTM C 979, synthetic or natural mineral-oxide pigments or colored water-reducing admixtures, temperature stable, and nonfading.

F. Water:  Potable; free from deleterious material that may affect color stability, setting, or strength of concrete and complying with chemical limits of PCI MNL 116.

G. Air-Entraining Admixture:  ASTM C 260, certified by manufacturer to be compatible with other required admixtures.

H. Chemical Admixtures:  Certified by manufacturer to be compatible with other admixtures and to not contain calcium chloride, or more than 0.15 percent chloride ions or other salts by weight of admixture.

Retain one or more chemical admixtures in seven subparagraphs below if chemical admixtures are permitted; limit chemical admixture types if required.  Water-reducing admixtures, Types A, D, and E, or a high-range water reducer, Type F, predominate.

1. Water-Reducing Admixtures:  ASTM C 494/C 494M, Type A.

2. Retarding Admixture:  ASTM C 494/C 494M, Type B.

3. Water-Reducing and Retarding Admixture:  ASTM C 494/C 494M, Type D.

4. Water-Reducing and Accelerating Admixture:  ASTM C 494/C 494M, Type E.

5. High-Range, Water-Reducing Admixture:  ASTM C 494/C 494M, Type F.

6. High-Range, Water-Reducing and Retarding Admixture:  ASTM C 494/C 494M, Type G.

7. Plasticizing and Retarding Admixture:  ASTM C 1017/C 1017M.

I. Corrosion-Inhibiting Admixture:  Commercially formulated, anodic inhibitor or mixed cathodic and anodic inhibitor; capable of forming a protective barrier and minimizing chloride reactions with steel reinforcement in concrete.

2.6 STEEL CONNECTION MATERIALS

Revise this article to suit Project.  Add other materials as required.

A. Carbon-Steel Shapes and Plates:  ASTM A 36/A 36M.

B. Carbon-Steel-Headed Studs:  ASTM A 108, AISI 1018 through AISI 1020, cold finished, AWS D1.1/D1.1M, Type A or B, with arc shields and with minimum mechanical properties of PCI MNL 116.

C. Carbon-Steel Plate:  ASTM A 283/A 283M.

D. Malleable-Iron Castings:  ASTM A 47/A 47M.

E. Carbon-Steel Castings:  ASTM A 27/A 27M, Grade 60-30 (Grade 415-205).

F. High-Strength, Low-Alloy Structural Steel:  ASTM A 572/A 572M.

G. Carbon-Steel Structural Tubing:  ASTM A 500, Grade B.

H. Wrought Carbon-Steel Bars:  ASTM A 675/A 675M, Grade 65 (Grade 450).

I. Deformed-Steel Wire or Bar Anchors:  ASTM A 496 or ASTM A 706/A 706M.

ASTM A 307 defines the term "studs" to include stud stock and threaded rods.

J. Carbon-Steel Bolts and Studs:  ASTM A 307, Grade A (ASTM F 568M, Property Class 4.6); carbon-steel, hex-head bolts and studs; carbon-steel nuts, ASTM A 563 (ASTM A 563M); and flat, unhardened steel washers, ASTM F 844.

High-strength bolts are used for friction-type connections between steel members and are not recommended by PCI between steel and concrete because concrete creep and crushing of concrete during bolt tightening reduce effectiveness.

K. High-Strength Bolts and Nuts:  ASTM A 325 (ASTM A 325M) or ASTM A 490 (ASTM A 490M), Type 1, heavy hex steel structural bolts; heavy hex carbon-steel nuts, ASTM A 563 (ASTM A 563M); and hardened carbon-steel washers, ASTM F 436 (ASTM F 436M).

1. Do not zinc coat ASTM A 490 (ASTM A 490M) bolts.

Retain first paragraph below if galvanized finish is required.  Revise locations of galvanized items if required.  Field welding is generally not permitted on galvanized elements unless galvanizing is removed or acceptable welding procedures are submitted.  Hot-dip galvanized finish provides greater corrosion resistance than electrodeposited zinc coating.  Electrodeposition is usually limited to threaded fasteners.

L. Zinc-Coated Finish:  For exterior steel items[, steel in exterior walls,] and items indicated for galvanizing, apply zinc coating by [hot-dip process according to ASTM A 123/A 123M or ASTM A 153/A 153M] [electrodeposition according to ASTM B 633, SC 3, Types 1 and 2].

1. For steel shapes, plates, and tubing to be galvanized, limit silicon content of steel to less than 0.03 percent or to between 0.15 and 0.25 percent or limit sum of silicon and 2.5 times phosphorous content to 0.09 percent.

2. Galvanizing Repair Paint:  High-zinc-dust-content paint with dry film containing not less than 94 percent zinc dust by weight, and complying with DOD-P-21035B or SSPC-Paint 20.

Retain first paragraph below if paint finish is required.  Revise locations of priming if required.  MPI 79 in first option provides some corrosion protection, while SSPC-Paint 25, without topcoating, provides minimal corrosion protection.

M. Shop-Primed Finish:  Prepare surfaces of nongalvanized-steel items, except those surfaces to be embedded in concrete, according to requirements in SSPC-SP 3, and shop apply [lead- and chromate-free, rust-inhibitive primer, complying with performance requirements in MPI 79] [SSPC-Paint 25] according to SSPC-PA 1.

N. Welding Electrodes:  Comply with AWS standards.

O. Precast Accessories:  Provide clips, hangers, plastic or steel shims, and other accessories required to install precast structural concrete units.

2.7 STAINLESS-STEEL CONNECTION MATERIALS

Retain this article when resistance to staining merits extra cost in parking structures and other high-moisture or corrosive areas.

A. Stainless-Steel Plate:  ASTM A 666, Type 304, of grade suitable for application.

B. Stainless-Steel Bolts and Studs:  ASTM F 593, Alloy 304 or 316, hex-head bolts and studs; stainless-steel nuts; and flat, stainless-steel washers.  Lubricate threaded parts of stainless-steel bolts with an antiseize thread lubricant during assembly.

C. Stainless-Steel-Headed Studs:  ASTM A 276, with minimum mechanical properties of PCI MNL 116.

2.8 BEARING PADS

Retain this article if applicable.  Coordinate selection of bearing pad with fabricator.

A. Provide one of the following bearing pads for precast structural concrete units[ as recommended by precast fabricator for application]:

1. Elastomeric Pads:  AASHTO M 251, plain, vulcanized, 100 percent polychloroprene (neoprene) elastomer, molded to size or cut from a molded sheet, 50 to 70 Shore, Type A durometer hardness, ASTM D 2240; minimum tensile strength 2250 psi (15.5 MPa), ASTM D 412.

2. Random-Oriented, Fiber-Reinforced Elastomeric Pads:  Preformed, randomly oriented synthetic fibers set in elastomer.  70 to 90 Shore, Type A durometer hardness, ASTM D 2240; capable of supporting a compressive stress of 3000 psi (20.7 MPa) with no cracking, splitting, or delaminating in the internal portions of pad.  Test 1 specimen for every 200 pads used in Project.

3. Cotton-Duck-Fabric-Reinforced Elastomeric Pads:  Preformed, horizontally layered cotton-duck fabric bonded to an elastomer; 80 to 100 Shore, Type A durometer hardness, ASTM D 2240; complying with AASHTO's "AASHTO Load and Resistance Factor Design (LRFD) Bridge Specifications," Division II, Section 18.10.2; or with MIL-C-882E.

4. Frictionless Pads:  Tetrafluoroethylene, glass-fiber reinforced, bonded to stainless- or mild-steel plate, of type required for in-service stress.

5. High-Density Plastic:  Multimonomer, nonleaching, plastic strip.

2.9 GROUT MATERIALS

Add other proprietary grout systems to suit Project.  Show locations of each grout in this article or on Drawings if retaining more than one type.  Sand-cement grout in first paragraph below is commonly used in keyed joints between hollow-core floor and roof slabs and wall units.

A. Sand-Cement Grout:  Portland cement, ASTM C 150, Type I, and clean, natural sand, ASTM C 144 or ASTM C 404.  Mix at ratio of 1 part cement to 2-1/2 parts sand, by volume, with minimum water required for placement and hydration.

Retain first paragraph below if nonshrink grout is required or if cement-grout shrinkage could cause structural deficiency.  For critical installations, require manufacturer to provide field supervision.

B. Nonmetallic, Nonshrink Grout:  Premixed, nonmetallic, noncorrosive, nonstaining grout containing selected silica sands, portland cement, shrinkage-compensating agents, plasticizing and water-reducing agents, complying with ASTM C 1107, Grade A for drypack and Grades B and C for flowable grout and of consistency suitable for application within a 30-minute working time.

C. Epoxy-Resin Grout:  Two-component, mineral-filled epoxy resin; ASTM C 881/C 881M, of type, grade, and class to suit requirements.

2.10 THIN-BRICK UNITS AND ACCESSORIES

Retain this article if specifying thin-brick-faced, precast structural concrete panels.  Type TBX brick units feature the tightest dimensional tolerances but may be too dimensionally variable to fit securely within form-liner templates.

A. Thin-Brick Units:  ASTM C 216, Type FBX or ASTM C 1088, Grade Exterior, Type TBX, [not less than 1/2 inch (13 mm)] [3/4 inch (19 mm)] [1 inch (25 mm)] thick with a tolerance of plus or minus 1/16 inch (1.6 mm), and as follows:

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

1. Products:  Subject to compliance with requirements, [provide the following] [provide one of the following] [available products that may be incorporated into the Work include, but are not limited to, the following]:

a. <Insert, in separate subparagraphs, manufacturer's name; product name or designation>.

Revise first subparagraph below to suit Project or delete if brick is specified in subparagraph above by product name.  Options are examples of descriptive requirements for appearance where a proprietary specification cannot be used.  If approving a color range for brick, view sufficient area of loose bricks or a completed building to make an informed determination.

2. Face Color and Texture:  [Match Architect's samples] [Medium brown, wire cut] [Full-range red, sand molded] [Gray, velour].

Retain one of first five subparagraphs below for nonmetric face sizes with equivalent metric dimensions; retain sixth subparagraph for inserting another face size.  Verify availability of sizes with manufacturer.

3. Face Size:  2-1/4 inches (57 mm) high by 8 inches (203 mm) long.

4. Face Size:  2-1/4 inches (57 mm) high by 7-1/2 to 7-5/8 inches (190 to 194 mm) long.

5. Face Size:  2-3/4 to 2-13/16 inches (70 to 71 mm) high by 7-1/2 to 7-5/8 inches (190 to 194 mm) long.

6. Face Size:  3-1/2 to 3-5/8 inches (89 to 92 mm) high by 7-1/2 to 7-5/8 inches (190 to 194 mm) long.

7. Face Size:  3-1/2 to 3-5/8 inches (89 to 92 mm) high by 11-1/2 to 11-5/8 inches (292 to 295 mm) long.

8. Face Size: <Insert dimensions>.

9. [Where indicated to "match existing," ]provide thin brick matching color, texture, and face size of existing adjacent brick work.

a. <Insert information on existing brick if known>.

Retain one of first four subparagraphs below for products manufactured to metric face sizes; retain fifth subparagraph for inserting another face size.  Verify availability of sizes with manufacturer.

10. Face Size:  57 mm high by 190 mm long.

11. Face Size:  70 mm high by 190 mm long.

12. Face Size:  90 mm high by 190 mm long.

13. Face Size:  90 mm high by 290 mm long.

14. Face Size: <Insert dimensions>.

Show details of special conditions and shapes on Drawings if required.

15. Special Shapes:  Include corners, edge corners, and end edge corners.

PCI states that thin-brick units with higher rates of absorption than values in first subparagraph below should be wetted before placing concrete to improve bond.  Before retaining below, verify that thin brick selected complies with requirements.

16. Initial Rate of Absorption:  Less than 30 g/30 sq. in. (30 g/194 sq. cm) per minute; ASTM C 67.

17. Efflorescence:  Tested according to ASTM C 67 and rated "not effloresced."

Retain first subparagraph below if surface-coated thin brick is used.

18. Surface Coating:  Thin brick with colors or textures applied as coatings shall withstand 50 cycles of freezing and thawing; ASTM C 67 with no observable difference in applied finish when viewed from 10 feet (3 m).

Retain subparagraph below, deleting inapplicable descriptions if required.

19. Back Surface Texture:  Scored, combed, wire roughened, ribbed, keybacked, or dovetailed.

Retain first paragraph below if mortar setting brick joints before placing precast concrete mix.

B. Sand-Cement Mortar:  Portland cement, ASTM C 150, Type I, and clean, natural sand, ASTM C 144.  Mix at ratio of 1 part cement to 4 parts sand, by volume, with minimum water required for placement.

Retain paragraph below if filling thin-brick joints with pointing grout after precast concrete panel production.

C. Latex-Portland Cement Pointing Grout:  ANSI A118.6 and as follows:

Retain one or both types of grout in first two subparagraphs below.

1. Dry-grout mixture, factory prepared, of portland cement, graded aggregate, and dry, redispersible, ethylene-vinyl-acetate additive for mixing with water; uniformly colored.

2. Commercial portland cement grout, factory prepared, with liquid styrene-butadiene rubber or acrylic-resin latex additive; uniformly colored.

3. Colors:  [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range].

2.11 STONE MATERIALS AND ACCESSORIES

Retain this article if stone facing is required.  Performance criteria, preconstruction material testing, material quality, fabrication, and finish requirements are usually specified in Division 4 Section "Dimension Stone Cladding." Replace first paragraph below with stone requirements if preferred.

A. Stone facing for precast structural concrete is specified in Division 4 Section "Dimension Stone Cladding."

Anchors are generally supplied by stone fabricator or, in some cases, by precaster.  Specify supplier.  Anchors may be toe in, toe out, or dowels.

B. Anchors:  Stainless steel, ASTM A 666, Type 304, of temper and diameter required to support loads without exceeding allowable design stresses.

Grommets will usually be required if filling dowel holes with rigid epoxy.

1. Fit each anchor leg with neoprene grommet collar of width at least twice the diameter and of length at least five times the diameter of anchor.

C. Sealant Filler:  ASTM C 920, low-modulus, multicomponent, nonsag urethane sealant complying with requirements in Division 7 Section "Joint Sealants" and that is nonstaining to stone substrate.

Dowel hole filling is used to prevent water intrusion into stone and future discoloration at anchor locations.  Retain paragraph above for flexible filler or first paragraph below for rigid filler.

D. Epoxy Filler:  ASTM C 881/C 881M, 100 percent solids, sand-filled nonshrinking, nonstaining of type, class, and grade to suit application.

1. Elastomeric Anchor Sleeve:  1/2 inch (13 mm) long; 60 Shore, Type A durometer hardness; ASTM D 2240.

E. Bond Breaker:  [Preformed, compressible, resilient, nonstaining, nonwaxing, closed-cell polyethylene foam pad, nonabsorbent to liquid and gas, 1/8 inch (3.2 mm) thick] [Polyethylene sheet, ASTM D 4397, 6 to 10 mils (0.15 to 0.25 mm) thick].

2.12 INSULATED FLAT WALL PANEL ACCESSORIES

Retain this article if insulated flat wall panels are required.  Retain insulation material in one of first three paragraphs below; if using more then one type, identify location of each on Drawings.

A. Molded-Polystyrene Board Insulation:  ASTM C 578, [Type I, 0.90 lb/cu. ft. (15 kg/cu. m)] [Type VIII, 1.15 lb/cu. ft. (18 kg/cu. m)] [Type II, 1.35 lb/cu. ft. (22 kg/cu. m)]; [square] [ship-lap] edges; with R-value of <Insert value> and thickness of <Insert dimension>.

B. Extruded-Polystyrene Board Insulation:  ASTM C 578, [Type IV, 1.60 lb/cu. ft. (26 kg/cu. m)] [Type X, 1.30 lb/cu. ft. (21 kg/cu. m)] [Type VI, 1.80 lb/cu. ft. (29 kg/cu. m)]; [square] [ship-lap] edges; with R-value of <Insert value> and thickness of <Insert dimension>.

C. Polyisocyanurate Board Insulation:  ASTM C 591, [Type I, 1.8 lb/cu. ft. (29 kg/cu. m)] [Type IV, 2 lb/cu. ft. (32 kg/cu. m)] [Type II, 2.5 lb/cu. ft. (40 kg/cu. m)] unfaced, with R-value of <Insert value> and thickness of <Insert dimension>.

Retain one or more wythe connectors in paragraph below.

D. Wythe Connectors:  [Glass-fiber connectors] [Vinyl-ester polymer connectors] [Polypropylene pin connectors] [Stainless-steel pin connectors] [Bent galvanized reinforcing bars] [Galvanized welded wire trusses] [Galvanized bent wire connectors] [Cylindrical metal sleeve anchors] manufactured to connect wythes of precast concrete panels.

2.13 CONCRETE MIXTURES

A. Prepare design mixtures for each type of precast concrete required.

Retain first subparagraph below if required for LEED-NC Credit ID 1.1.  This credit can be achieved by replacing at least 40 percent of the portland cement, which would otherwise be used in concrete, with other cementitious materials.  40 percent replacement value applies to the average of all concrete used for Project; requirement below can be reduced if requirement for other concrete on Project is increased sufficiently to make up for the reduction.

1. Use fly ash, pozzolan, ground granulated blast-furnace slag, and silica fume as needed to reduce the total amount of portland cement, which would otherwise be used, by not less than 40 percent.

Retain subparagraph below if fly ash, granulated blast-furnace slag, or metakaolin and silica fume are permitted.  Percentages are PCI examples; revise to suit Project.

2. Limit use of fly ash to 25 percent replacement of portland cement by weight and granulated blast-furnace slag to 40 percent of portland cement by weight; metakaolin and silica fume to 10 percent of portland cement by weight.

B. Design mixtures may be prepared by a qualified independent testing agency or by qualified precast plant personnel at precast structural concrete fabricator's option.

C. Limit water-soluble chloride ions to maximum percentage by weight of cement permitted by ACI 318 (ACI 318M) or PCI MNL 116 when tested according to ASTM C 1218/C 1218M.

Precast structural concrete with architectural finish may be manufactured with a separate face mixture and a structural backup mixture.  Face and backup mixtures require similar shrinkage and expansion coefficients.  Similar water-cementitious materials ratios and cement-aggregate ratios are recommended by PCI to limit bowing or warping.

Retain first option in first paragraph below if lightweight backup concrete mix is required; second option if normal-weight face and backup mixtures are required; third option if full-depth, normal-weight mixture is required; or fourth option if choice of normal-weight face and backup mixtures or full-depth mixtures is fabricator's option.

D. Normal-Weight Concrete Mixtures:  Proportion [face mixtures] [face and backup mixtures] [full-depth mixture] [face and backup mixtures or full-depth mixtures, at fabricator's option] by either laboratory trial batch or field test data methods according to ACI 211.1, with materials to be used on Project, to provide normal-weight concrete with the following properties:

Retain first subparagraph below or revise to suit Project.  Higher-strength mixtures may be available; verify availability with fabricators.

1. Compressive Strength (28 Days):  5000 psi (34.5 MPa).

Water-cementitious materials ratio of 0.40 to 0.45 is usual for precast structural concrete.  Lower ratios may be possible with use of high-range water reducers.  Revise ratio in subparagraph below to suit Project.

2. Maximum Water-Cementitious Materials Ratio:  0.45.

Water absorption indicates susceptibility to weather staining.  PCI states that limits in first paragraph below are suitable for average exposures.  Different parts of a single panel cannot be produced with different absorptions.  Verify that fabricators can produce units with lower water absorption because special consolidation techniques to increase concrete density are required.

E. Water Absorption:  6 percent by weight or 14 percent by volume, tested according to PCI MNL 116.

To minimize bowing or warping, PCI does not recommend lightweight backup mixtures with normal-weight face mixtures.  Retain first paragraph below if required or as an option if satisfactory durability and in-service performance are verified by fabricator.  Coordinate with selection of normal-weight face mixture option above.

F. Lightweight Concrete Backup Mixtures:  Proportion mixtures by either laboratory trial batch or field test data methods according to ACI 211.2, with materials to be used on Project, to provide lightweight concrete with the following properties:

Retain first subparagraph below or revise to suit Project.  Higher-strength mixtures may be available; verify availability with fabricators.

1. Compressive Strength (28 Days):  5000 psi (34.5 MPa).

Increase or decrease unit weight in subparagraph below to suit Project.  Coordinate with lightweight-aggregate supplier and precast structural concrete fabricator.  Lightweight concretes with lightweight and normal-weight aggregate in mixture will usually be heavier than unit weight below.

2. Unit Weight:  Calculated equilibrium unit weight of 115 lb/cu. ft. (1842 kg/cu. m), plus or minus 3 lb/cu. ft. (48 kg/cu. m), according to ASTM C 567.

G. Add air-entraining admixture at manufacturer's prescribed rate to result in concrete at point of placement having an air content complying with PCI MNL 116.

H. When included in design mixtures, add other admixtures to concrete mixtures according to manufacturer's written instructions.

I. Concrete Mix Adjustments:  Concrete mix design adjustments may be proposed if characteristics of materials, Project conditions, weather, test results, or other circumstances warrant.

2.14 MOLD FABRICATION

A. Molds:  Accurately construct molds, mortar tight, of sufficient strength to withstand pressures due to concrete-placement operations and temperature changes and for prestressing and detensioning operations.  Coat contact surfaces of molds with release agent before reinforcement is placed.  Avoid contamination of reinforcement and prestressing tendons by release agent.

Retain form liners in subparagraph below if needed to produce exposed surface finish on precast structural concrete with architectural finish.

1. Place form liners accurately to provide finished surface texture indicated.  Provide solid backing and supports to maintain stability of liners during concrete placement.  Coat form liner with form-release agent.

B. Maintain molds to provide completed precast structural concrete units of shapes, lines, and dimensions indicated, within fabrication tolerances specified.

Retain first subparagraph below for precast structural concrete with architectural finishes.

1. Form joints are not permitted on faces exposed to view in the finished work.

Retain one option from subparagraph below; show details on Drawings or revise description to add dimensions.  Sharp edges or corners of precast concrete units are vulnerable to chipping.

2. Edge and Corner Treatment:  Uniformly [chamfered] [radiused].

2.15 THIN-BRICK FACINGS

Retain this article if using thin-brick facings on precast structural concrete units.

A. Place form-liner templates accurately to provide grid for thin-brick facings.  Provide solid backing and supports to maintain stability of liners while placing thin bricks and during concrete placement.

B. Securely place thin-brick units face down into form-liner pockets and place concrete backing mixture.

Retain first two paragraphs below if using mortar instead of bonding back of thin brick directly to precast concrete.

C. Completely fill joint cavities between thin-brick units with sand-cement mortar, and place precast concrete backing mixture while sand-cement mortar is still fluid enough to ensure bond.

Retain first paragraph below if pointing grouting is required.  Delete if joints will remain fully recessed as cast.

D. Mix and install pointing grout according to ANSI A108.10.  Completely fill joint cavities between thin-brick units with pointing grout, and compress into place without spreading pointing grout onto faces of thin-brick units.  Remove excess pointing grout immediately to prevent staining of brick.

Retain one or more joint profiles in subparagraph below or revise to suit Project.  Joints are placed in order of decreasing weathertightness according to BIA Technical Note 21C.

1. Tool joints to a [slightly concave] [grapevine] [V-]shape when pointing grout is thumbprint hard.

E. Clean faces and joints of brick facing.

2.16 STONE FACINGS

Retain this article if stone facing of precast structural concrete is required.

A. Clean stone surfaces before placing in molds to remove soil, stains, and foreign materials.  Use cleaning methods and materials recommended by stone supplier.

B. Accurately position stone facings to comply with requirements and in locations indicated on Shop Drawings.  Install anchors, supports, and other attachments indicated or necessary to secure stone in place.  Keep concrete reinforcement a minimum of 3/4 inch (19 mm) from the back surface of stone.  Use continuous spacers to obtain uniform joints of widths indicated and with edges and faces aligned according to established relationships and indicated tolerances.

Retain subparagraph below and revise anchor spacing if required as a result of preconstruction testing of stone anchors for shear and tension specified in Division 4 Section "Dimension Stone Cladding."

1. Stone to Precast Anchorages:  Provide anchors in numbers, types and locations required to satisfy specified performance criteria, but not less than 2 anchors per stone unit of less than 2 sq. ft. (0.19 sq. m) in area and 4 anchors per unit of less than 12 sq. ft. (1.1 sq. m) in area; for units larger than 12 sq. ft. (1.1 sq. m) in area, provide anchors spaced not more than 24 inches (600 mm) o.c. horizontally and vertically.  Locate anchors a minimum of 6 inches (150 mm) from stone edge.

Retain one of two options in paragraph below if sealing dowel holes.  Use sealant if flexible filler is required; use epoxy if rigid filler is required.

C. Fill anchor holes with [sealant filler and install anchors] [epoxy filler and install anchors with elastomeric anchor sleeve at back surface of stone].

Retain one of two subparagraphs below.  PCI recommends stone facing not bond with precast concrete to minimize bowing, cracking, and staining of stone.

1. Install polyethylene sheet to prevent bond between back of stone facing and concrete substrate and to ensure no passage of precast matrix to stone surface.

2. Install 1/8-inch (3-mm) polyethylene-foam bond breaker to prevent bond between back of stone facing and concrete substrate and to ensure no passage of precast matrix to stone surface.  Maintain minimum projection requirements of stone anchors into concrete substrate.

2.17 FABRICATION

A. Cast-in Anchors, Inserts, Plates, Angles, and Other Anchorage Hardware:  Fabricate anchorage hardware with sufficient anchorage and embedment to comply with design requirements.  Accurately position for attachment of loose hardware, and secure in place during precasting operations.  Locate anchorage hardware where it does not affect position of main reinforcement or concrete placement.

1. Weld-headed studs and deformed bar anchors used for anchorage according to AWS D1.1/D1.1M and AWS C5.4, "Recommended Practices for Stud Welding."

Coordinate first paragraph below with Division 5 Section "Metal Fabrications" for furnishing and installing loose hardware items.

B. Furnish loose hardware items including steel plates, clip angles, seat angles, anchors, dowels, cramps, hangers, and other hardware shapes for securing precast structural concrete units to supporting and adjacent construction.

C. Cast-in reglets, slots, holes, and other accessories in precast structural concrete units as indicated on the Contract Drawings.

Retain first paragraph below if applicable.

D. Cast-in openings larger than 10 inches (250 mm) in any dimension.  Do not drill or cut openings or prestressing strand without Architect's approval.

E. Reinforcement:  Comply with recommendations in PCI MNL 116 for fabricating, placing, and supporting reinforcement.

1. Clean reinforcement of loose rust and mill scale, earth, and other materials that reduce or destroy the bond with concrete.  When damage to epoxy-coated reinforcement exceeds limits specified, repair with patching material compatible with coating material and epoxy coat bar ends after cutting.

2. Accurately position, support, and secure reinforcement against displacement during concrete-placement and consolidation operations.  Completely conceal support devices to prevent exposure on finished surfaces.

3. Place reinforcement to maintain at least 3/4-inch (19-mm) minimum coverage.  Increase cover requirements according to ACI 318 (ACI 318M) when units are exposed to corrosive environment or severe exposure conditions.  Arrange, space, and securely tie bars and bar supports to hold reinforcement in position while placing concrete.  Direct wire tie ends away from finished, exposed concrete surfaces.

4. Place reinforcing steel and prestressing strand to maintain at least 3/4-inch (19-mm) minimum concrete cover.  Increase cover requirements for reinforcing steel to 1-1/2 inches (38 mm) when units are exposed to corrosive environment or severe exposure conditions.  Arrange, space, and securely tie bars and bar supports to hold reinforcement in position while placing concrete.  Direct wire tie ends away from finished, exposed concrete surfaces.

5. Install welded wire fabric in lengths as long as practicable.  Lap adjoining pieces at least one full mesh spacing and wire tie laps, where required by design.  Offset laps of adjoining widths to prevent continuous laps in either direction.

F. Reinforce precast structural concrete units to resist handling, transportation, and erection stresses.

Retain first paragraph below if precast, prestressed structural concrete units are required.  Decision to prestress may be left to fabricator if objective is to aid handling and to control cracking of units during installation.

G. Prestress tendons for precast structural concrete units by either pretensioning or post-tensioning methods.  Comply with PCI MNL 116.

Revise release or post-tensioning strength in first subparagraph below to an actual compressive strength if required.  PCI permits a release strength as low as 2500 psi (17.2 MPa) for normal-weight concrete and 3000 psi (20.7 MPa) for lightweight concrete.

1. Delay detensioning or post-tensioning of precast, prestressed structural concrete units until concrete has reached its indicated minimum design release compressive strength as established by test cylinders cured under same conditions as concrete.

2. Detension pretensioned tendons either by gradually releasing tensioning jacks or by heat cutting tendons, using a sequence and pattern to prevent shock or unbalanced loading.

3. If concrete has been heat cured, detension while concrete is still warm and moist to avoid dimensional changes that may cause cracking or undesirable stresses.

4. Protect strand ends and anchorages with bituminous, zinc-rich, or epoxy paint to avoid corrosion and possible rust spots.

Retain subparagraph below only when appearance of member ends is critical or when exposed to severe environment.

5. Protect strand ends and anchorages with a minimum of 1-inch- (25-mm-) thick, nonmetallic, nonshrink, grout mortar and sack rub surface.  Coat or spray the inside surfaces of pocket with bonding agent before installing grout.

H. Comply with requirements in PCI MNL 116 and in this Section for measuring, mixing, transporting, and placing concrete.  After concrete batching, no additional water may be added.

Retain first paragraph below if a separate face mixture is proposed for precast structural concrete with architectural finish.

I. Place face mixture to a minimum thickness after consolidation of the greater of 1 inch (25 mm) or 1.5 times the maximum aggregate size, but not less than the minimum reinforcing cover specified.

J. Place concrete in a continuous operation to prevent seams or planes of weakness from forming in precast concrete units.

Retain subparagraph below if a separate face mixture is proposed for precast structural concrete with architectural finish.

1. Place backup concrete mixture to ensure bond with face-mixture concrete.

K. Thoroughly consolidate placed concrete by internal and external vibration without dislocating or damaging reinforcement and built-in items, and minimize pour lines, honeycombing, or entrapped air on surfaces.  Use equipment and procedures complying with PCI MNL 116.

Retain subparagraph below if permitting self-consolidating concrete.

1. Place self-consolidating concrete without vibration according to PCI TR-6, "Interim Guidelines for the Use of Self-Consolidating Concrete in Precast/Prestressed Concrete Institute Member Plants."

L. Comply with ACI 306.1 procedures for cold-weather concrete placement.

M. Comply with PCI MNL 116 procedures for hot-weather concrete placement.

N. Identify pickup points of precast structural concrete units and orientation in structure with permanent markings, complying with markings indicated on Shop Drawings.  Imprint or permanently mark casting date on each precast structural concrete unit on a surface that will not show in finished structure.

O. Cure concrete, according to requirements in PCI MNL 116, by moisture retention without heat or by accelerated heat curing using low-pressure live steam or radiant heat and moisture.  Cure units until compressive strength is high enough to ensure that stripping does not have an effect on performance or appearance of final product.

P. Discard and replace precast structural concrete units that do not comply with requirements, including structural, manufacturing tolerance, and appearance, unless repairs meet requirements in PCI MNL 116 and meet Architect's approval.

2.18 CASTING INSULATED WALL PANELS

Retain this article if integrally insulated wall panels are required.

A. Cast and screed wythe supported by mold.

B. Place insulation boards abutting edges and ends of adjacent boards.  Insert wythe connectors through insulation, and consolidate concrete around connectors according to connector manufacturer's written instructions.

C. Cast and screed top wythe to meet required finish.

2.19 FABRICATION TOLERANCES

A. Fabricate precast structural concrete units straight and true to size and shape with exposed edges and corners precise and true so each finished unit complies with PCI MNL 116 product dimension tolerances.

Retain first paragraph below for brick-faced precast structural concrete units.  Tolerances are based on product tolerances of PCI MNL 117.

B. Brick-Faced Precast Structural Concrete Units:  Restrict the following misalignments to 2 percent of number of bricks in a unit:

1. Alignment of Mortar Joints:

a. Jog in Alignment:  1/8 inch (3 mm).

b. Alignment with Panel Centerline:  Plus or minus 1/8 inch (3 mm).

2. Variation in Width of Exposed Mortar Joints:  Plus or minus 1/8 inch (3 mm).

3. Tipping of Individual Bricks from the Panel Plane of Exposed Brick Surface:  Plus 1/16 inch (1.6 mm); minus 1/4 inch (6 mm) less than or equal to depth of form-liner joint.

4. Exposed Brick Surface Parallel to Primary Control Surface of Panel:  Plus 1/4 inch (6 mm); minus 1/8 inch (3 mm).

5. Individual Brick Step in Face from Panel Plane of Exposed Brick Surface:  Plus 1/16 inch (1.6 mm); minus 1/4 inch (6 mm) less than or equal to depth of form-liner joint.

Retain paragraph below for stone veneer-faced precast structural concrete units.  Tolerances are based on product tolerances of PCI MNL 117.

C. Stone Veneer-Faced Precast Structural Concrete Units:

Tolerances in three subparagraphs below are generally appropriate for smooth-finished stone.  Retain, delete, or revise to suit Project.

1. Variation in Cross-Sectional Dimensions:  For thickness of walls from dimensions indicated:  Plus or minus 1/4 inch (6 mm).

2. Variation in Joint Width:  1/8 inch in 36 inches (3 mm in 900 mm) or a quarter of nominal joint width, whichever is less.

Revise or delete subparagraph below for natural-cleft, thermal, and similar finishes.

3. Variation in Plane between Adjacent Stone Units (Lipping):  1/16-inch (1.6-mm) difference between planes of adjacent units.

2.20 COMMERCIAL FINISHES

Retain type of commercial structural finish, grouped by PCI as a "C" designation, in one or more of first four paragraphs below.  If more than one finish is required, create a finish schedule, add locations to finish descriptions, or indicate on Drawings.  Finishes below are in ascending order of finish quality and cost.  Insert other specific finish requirements to suit Project.

Retain "Commercial Grade" Paragraph below when product will not be visible in completed structure or when function of structure does not require an enhanced surface.  This finish is essentially an "as-cast" one.

A. Commercial Grade:  Remove fins and large protrusions and fill large holes.  Rub or grind ragged edges.  Faces must have true, well-defined surfaces.  Air holes, water marks, and color variations are permitted.  Limit form joint offsets to 3/16 inch (5 mm).

Retain "Standard Grade" Paragraph below where products are exposed to view but function of structure does not require a special finish.  Surface is suitable for an applied textured coating but not necessarily suitable for painting.  This finish is typical for structural products.

B. Standard Grade:  Normal plant-run finish produced in molds that impart a smooth finish to concrete.  Surface holes smaller than 1/2 inch (13 mm) caused by air bubbles, normal color variations, form joint marks, and minor chips and spalls are permitted.  Fill air holes greater than 1/4 inch (6 mm) in width that occur more than once per 2 sq. in (1300 sq. mm).  Major or unsightly imperfections, honeycombs, or structural defects are not permitted.  Limit joint offsets to 1/8 inch (3 mm).

Retain "Grade B Finish" Paragraph below for visually exposed structural members such as columns or walls.

C. Grade B Finish:  Fill air pockets and holes larger than 1/4 inch (6 mm) in diameter with sand-cement paste matching color of adjacent surfaces.  Fill air holes greater than 1/8 inch (3 mm) in width that occur more than once per 2 sq. in. (1300 sq. mm).  Grind smooth form offsets or fins larger than 1/8 inch (3 mm).  Repair surface blemishes due to holes or dents in molds.  Discoloration at form joints is permitted.

Retain "Grade A Finish" Paragraph below where surface will be painted or coated with a textured or sanded coating; some surface blemishes will be visible.  If a surface with fewer imperfections than permitted Grade A finish is needed, retain a finish from "Commercial Architectural Finishes" Article.  Grade A finish is not applicable to extruded precast structural concrete products using zero-slump concrete in their process.

D. Grade A Finish:  Fill surface blemishes with the exception of air holes 1/16 inch (1.6 mm) in width or smaller, and form marks where the surface deviation is less than 1/16 inch (1.6 mm).  Float apply a neat cement-paste coating to exposed surfaces.  Rub dried paste coat with burlap to remove loose particles.  Discoloration at form joints is permitted.  Grind smooth all form joints.

Retain one of first two paragraphs below.  Screed or float finish in first paragraph is standard with PCI for unformed surfaces.  Revise to describe extent to which float or trowel marks, variations of texture, or other surface blemishes will be permitted.  Require samples to establish acceptance criteria for any exposed finish.  Revise finish below to light-broom or as-cast finish if float finish is unnecessary.

E. Screed or float finish unformed surfaces.  Strike off and consolidate concrete with vibrating screeds to a uniform finish.  Hand screed at projections.  Normal color variations, minor indentations, minor chips, and spalls are permitted.  Major imperfections, honeycombing, or defects are not permitted.

Retain first paragraph below if upgrading unformed surfaces to smooth, steel trowel finish.

F. Smooth, steel trowel finish unformed surfaces.  Consolidate concrete, bring to proper level with straightedge, float, and trowel to a smooth, uniform finish.

Retain paragraph below if composite concrete topping is required.

G. Apply roughened surface finish according to ACI 318 (ACI 318M) to precast concrete units that will receive concrete topping after installation.

2.21 COMMERCIAL ARCHITECTURAL FINISHES

Retain this article if precast structural concrete receives an architectural finish.  Indicate on Drawings which members require architectural finish.

A. Manufacture member faces free of joint marks, grain, and other obvious defects with corners, including false joints, uniform, straight, and sharp.  Finish exposed-face surfaces of precast concrete units to match approved [design reference sample] [sample panels] [mockups] and as follows:

Retain first subparagraph below if Architect has preapproved one or more design reference samples.  Include complete description of design reference sample here.  If preapproving fabricators, coordinate with "Manufacturers" Article.  Revise if multiple samples are approved.

1. Design Reference Sample:  <Insert description and identify fabricator and code number of sample>.

Retain first subparagraph below if required.  If retaining, revise and add reference number; PCI publishes numbered, color photographs of hundreds of precast concrete finishes; see PCI's Web site, www.pci.org.  Add reference number combinations if more than one finish is required.

2. PCI's "Architectural Precast Concrete - Color and Texture Selection Guide," of plate numbers indicated.

Select type of finish from nine subparagraphs below if needed.  If more than one finish is required, create a finish schedule, add locations to finish descriptions, or indicate on Drawings.  Add more-detailed descriptions of finishes outlined below if greater definition, such as light, medium, or deep reveal to finishes that expose the aggregate, is required.  See PCI MNL 117 for more information on architectural finishes.

Retain first subparagraph below if a smooth-surface finish, an as-cast finish, which generally results in a mottled surface or non-uniform finish, is required.

3. Smooth-Surface Finish:  Provide surfaces free of excessive air voids, sand streaks, and honeycombs, with uniform color and texture.

4. Textured-Surface Finish:  Impart by form liners or inserts to provide surfaces free of pockets, streaks, and honeycombs, with uniform color and texture.

5. Bushhammer Finish:  Use power or hand tools to remove matrix and fracture coarse aggregates.

6. Exposed-Aggregate Finish:  Use chemical-retarding agents applied to concrete molds and washing and brushing procedures to expose aggregate and surrounding matrix surfaces after form removal.

7. Abrasive-Blast Finish:  Use abrasive grit, equipment, application techniques, and cleaning procedures to expose aggregate and surrounding matrix surfaces.

8. Acid-Etched Finish:  Use acid and hot-water solution, equipment, application techniques, and cleaning procedures to expose aggregate and surrounding matrix surfaces.  Protect hardware, connections, and insulation from acid attach.

9. Honed Finish:  Use continuous mechanical abrasion with fine grit, followed by filling and rubbing procedures.

10. Polished Finish:  Use continuous mechanical abrasion with fine grit, followed by filling and rubbing procedures.

11. Sand-Embedment Finish:  Use selected stones placed in a sand bed in bottom of mold, with sand removed after curing.

2.22 SOURCE QUALITY CONTROL

Retain first paragraph below if required.  PCI-plant certification may be acceptable to authorities having jurisdiction without further monitoring of plant's quality-control and testing program by Owner.

A. Testing Agency: [Owner will engage] [Engage] a qualified testing agency to evaluate precast structural concrete fabricator's quality-control and testing methods.

1. Allow testing agency access to material storage areas, concrete production equipment, concrete placement, and curing facilities.  Cooperate with testing agency and provide samples of materials and concrete mixtures as may be requested for additional testing and evaluation.

Retain first paragraph below if establishing a minimum standard of plant testing and inspecting.  PCI MNL 116 mandates source testing requirements and a plant "Quality Systems Manual."  PCI plant certification also ensures periodic auditing of plants complying with PCI MNL 116.

B. Testing:  Test and inspect precast structural concrete according to PCI MNL 116 requirements.

Retain subparagraph below if permitting self-consolidating concrete.

1. Test and inspect self-consolidating concrete according to PCI TR-6.

C. Strength of precast structural concrete units will be considered deficient if units fail to comply with ACI 318 (ACI 318M) requirements for concrete strength.

Revise testing and acceptance criteria in first paragraph below if required.  Revise to add criteria for load tests if required.

D. If there is evidence that strength of precast concrete units may be deficient or may not comply with ACI 318 (ACI 318M) requirements, employ a qualified testing agency to obtain, prepare, and test cores drilled from hardened concrete to determine compressive strength according to ASTM C 42/C 42M.

1. A minimum of three representative cores will be taken from units of suspect strength, from locations directed by Architect.

2. Cores will be tested in an air-dry condition or, if units will be wet under service conditions, test cores after immersion in water in a wet condition.

PCI's recommendations in first subparagraph below are more stringent than ACI's.

3. Strength of concrete for each series of 3 cores will be considered satisfactory if average compressive strength is equal to at least 85 percent of 28-day design compressive strength and no single core is less than 75 percent of 28-day design compressive strength.

4. Test results will be made in writing on same day that tests are performed, with copies to Architect, Contractor, and precast concrete fabricator.  Test reports will include the following:

a. Project identification name and number.

b. Date when tests were performed.

c. Name of precast concrete fabricator.

d. Name of concrete testing agency.

e. Identification letter, name, and type of precast concrete unit(s) represented by core tests; design compressive strength; type of break; compressive strength at breaks, corrected for length-diameter ratio; and direction of applied load to core in relation to horizontal plane of concrete as placed.

E. Patching:  If core test results are satisfactory and precast structural concrete units comply with requirements, clean and dampen core holes and solidly fill with same precast concrete mixture that has no coarse aggregate, and finish to match adjacent precast concrete surfaces.

F. Defective Units:  Discard and replace precast structural concrete units that do not comply with requirements, including strength, manufacturing tolerances, and color and texture range.  Chipped, spalled, or cracked units may be repaired, subject to Architect's approval.  Architect reserves the right to reject precast units that do not match approved samples, sample panels, and mockups.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine supporting structural frame or foundation and conditions for compliance with requirements for installation tolerances, true and level bearing surfaces, and other conditions affecting performance of the Work.

B. Proceed with installation only after unsatisfactory conditions have been corrected.

C. Do not install precast concrete units until supporting, cast-in-place, building structural framing has attained minimum allowable design compressive strength or until supporting steel or other structure is complete.

3.2 INSTALLATION

A. Install clips, hangers, bearing pads, and other accessories required for connecting precast structural concrete units to supporting members and backup materials.

B. Erect precast structural concrete level, plumb, and square within specified allowable tolerances.  Provide temporary structural framing, supports, and bracing as required to maintain position, stability, and alignment of units until permanent connection.

1. Install temporary steel or plastic spacing shims or bearing pads as precast structural concrete units are being erected.  Tack weld steel shims to each other to prevent shims from separating.

2. Maintain horizontal and vertical joint alignment and uniform joint width as erection progresses.

3. Remove projecting lifting devices and grout fill voids within recessed lifting devices flush with surface of adjacent precast surfaces when recess is exposed.

Retain subparagraph below if voids of hollow-core slabs are used for electrical raceways or mechanical ducts.

4. For hollow-core slab voids used as electrical raceways or mechanical ducts, align voids between units and tape butt joint at end of slabs.

C. Connect precast structural concrete units in position by bolting, welding, grouting, or as otherwise indicated on Shop Drawings.  Remove temporary shims, wedges, and spacers as soon as practical after connecting and grouting are completed.

1. Do not permit connections to disrupt continuity of roof flashing.

D. Field cutting of precast units is not permitted without approval of the Architect.

First paragraph below refers to fastening under the control of precast concrete erector.  Coordinate with and repeat warning in other Sections if additional construction will be fastened to precast, prestressed concrete units.

E. Fasteners:  Do not use drilled or powder-actuated fasteners for attaching accessory items to precast, prestressed concrete units.

F. Welding:  Comply with applicable AWS D1.1/D1.1M and AWS D1.4 for welding, welding electrodes, appearance, quality of welds, and methods used in correcting welding work.

1. Protect precast structural concrete units and bearing pads from damage by field welding or cutting operations, and provide noncombustible shields as required.

2. Clean weld-affected steel surfaces with chipping hammer followed by brushing, and apply a minimum 4.0-mil- (0.1-mm-) thick coat of galvanized repair paint to galvanized surfaces according to ASTM A 780.

Retain subparagraph above or first subparagraph below.

3. Clean weld-affected steel surfaces with chipping hammer followed by brushing, and reprime damaged painted surfaces.

4. Remove, reweld, or repair incomplete and defective welds.

G. At bolted connections, use lock washers, tack welding, or other approved means to prevent loosening of nuts after final adjustment.

1. Where slotted connections are used, verify bolt position and tightness.  For sliding connections, properly secure bolt but allow bolt to move within connection slot.  For friction connections, apply specified bolt torque and check 25 percent of bolts at random by calibrated torque wrench.

In paragraph below, revise locations and extent of grouting if required.

H. Grouting:  Grout connections and joints and open spaces at keyways, connections, and joints where required or indicated on Shop Drawings.  Retain grout in place until hard enough to support itself.  Pack spaces with stiff grout material, tamping until voids are completely filled.

1. Place grout to finish smooth, level, and plumb with adjacent concrete surfaces.

2. Fill joints completely without seepage to other surfaces.

3. Trowel top of grout joints on roofs smooth and uniform.  Finish transitions between different surface levels not steeper than 1 to 12.

Retain first subparagraph below if end grouting hollow-core slabs is required.

4. Place grout end cap or dam in voids at ends of hollow-core slabs.

5. Promptly remove grout material from exposed surfaces before it affects finishes or hardens.

6. Keep grouted joints damp for not less than 24 hours after initial set.

3.3 ERECTION TOLERANCES

A. Erect precast structural concrete units level, plumb, square, true, and in alignment without exceeding the noncumulative erection tolerances of PCI MNL 135.

B. Minimize variations between adjacent slab members by jacking, loading, or other method recommended by fabricator and approved by Architect.

3.4 FIELD QUALITY CONTROL

Retain first option in first paragraph below if Owner engages special inspector.  Consider retaining second option if authorities having jurisdiction allow Contractor to engage special inspector.  If retaining second option, retain "Field quality-control reports" Paragraph in "Submittals" Article.

A. Special Inspections:  [Owner will engage] [Engage] a qualified special inspector to perform the following special inspections:

1. Erection of precast structural concrete members.

2. <Insert special inspections>.

Retain first paragraph below, with or without paragraph above, to identify who shall perform tests and inspections.  If retaining second option in first paragraph, retain "Field quality-control reports" Paragraph in "Submittals" Article.

B. Testing Agency:  [Owner will engage] [Engage] a qualified testing agency to perform tests and inspections.

C. Field welds will be visually inspected and nondestructive tested according to ASTM E 165 or ASTM E 709.  High-strength bolted connections will be subject to inspections.

D. Testing agency will report test results promptly and in writing to Contractor and Architect.

E. Repair or remove and replace work where tests and inspections indicate that it does not comply with specified requirements.

F. Additional testing and inspecting, at Contractor's expense, will be performed to determine compliance of replaced or additional work with specified requirements.

G. Prepare test and inspection reports.

3.5 REPAIRS

Blemishes occurring after delivery are normally repaired after erecting units.  Repairs of production chips, cracks, and spalls take place at manufacturer's plant.

A. Repair precast structural concrete units if permitted by Architect.

1. Repairs may be permitted if structural adequacy, serviceability, durability, and appearance of units has not been impaired.

Precast concrete manufacturer develops appropriate repair mixtures and techniques during production sample approval process.

B. Mix patching materials and repair units so cured patches blend with color, texture, and uniformity of adjacent exposed surfaces and show no apparent line of demarcation between original and repaired work, when viewed in typical daylight illumination from a distance of 20 feet (6 m).

C. Prepare and repair damaged galvanized coatings with galvanizing repair paint according to ASTM A 780.

Retain paragraph above if using galvanized anchors, connections, and other items; retain first paragraph below if items are prime painted.

D. Wire brush, clean, and paint damaged prime-painted components with same type of shop primer.

E. Remove and replace damaged precast structural concrete units that cannot be repaired or when repairs do not comply with requirements as determined by Architect.

3.6 CLEANING

A. Clean mortar, plaster, fireproofing, weld slag, and other deleterious material from concrete surfaces and adjacent materials immediately.

B. Clean exposed surfaces of precast concrete units after erection and completion of joint treatment to remove weld marks, other markings, dirt, and stains.

1. Perform cleaning procedures, if necessary, according to precast concrete fabricator's written recommendations.  Clean soiled precast concrete surfaces with detergent and water, using stiff fiber brushes and sponges, and rinse with clean water.  Protect other work from staining or damage due to cleaning operations.

2. Do not use cleaning materials or processes that could change the appearance of exposed concrete finishes or damage adjacent materials.

END OF SECTION 03410

PLANT-PRECAST STRUCTURAL CONCRETE
03410 - 1

