Copyright 2002 AIA
MASTERSPEC
05/02

Copyright 2002, The American Institute of Architects (AIA)

SECTION 03532 - CONCRETE FLOOR TOPPING
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following:

Adjust list below to suit Project.

1. Emery-aggregate concrete floor topping.

2. Iron-aggregate concrete floor topping.

B. Related Sections include the following:

List below only products and construction that the reader might expect to find in this Section but are specified elsewhere.

1. Division 3 Section "Cast-in-Place Concrete" for concrete slab construction and finish and concrete [topping slabs] [underbeds] [overlays] [and] [fills].

2. Division 3 Section "Cement-Based Underlayment" for polymer-modified, cementitious, self-leveling underlayments.

3. Division 9 Section "Ceramic Tile" for medium-set and thickset mortar beds for tile.

1.3 SUBMITTALS

A. Product Data:  For each type of product indicated.

Retain paragraph below if Contractor is responsible for field quality-control testing.

B. Field quality-control test reports.

Delete paragraph below if not required.

C. Product Test Reports:  Based on evaluation of comprehensive tests performed by [manufacturer and witnessed by a qualified testing agency] [a qualified testing agency], for concrete floor toppings.

Delete paragraph below if no preinstallation conference.

D. Minutes of preinstallation conference.

1.4 QUALITY ASSURANCE

Retain paragraph below if Contractor or manufacturer selects testing agency.

A. Testing Agency Qualifications:  An independent agency qualified according to ASTM C 1077 and ASTM E 329 for testing indicated, as documented according to ASTM E 548.

Delete paragraph and subparagraphs below if not required.  If retaining, indicate location, size, and details of mockups on Drawings or by inserts.  Revise wording if only one mockup is required.

B. Mockups:  Place concrete floor topping mockups to demonstrate typical joints, surface finish, bonding, texture, tolerances, and standard of workmanship.

Revise size of mockups in first subparagraph below if required.

1. Build mockups approximately 100 sq. ft. (9.3 sq. m) in the location indicated or, if not indicated, as directed by Architect.

2. If Architect determines that mockups do not meet requirements, demolish and remove them from the site and cast others until mockups are approved.

Retain subparagraph below if approved mockups will be permitted to remain.

3. Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

Delete paragraph below if Work of this Section is not extensive or complex enough to justify a preinstallation conference.  If retaining, coordinate with Division 1.

C. Preinstallation Conference:  Conduct conference at Project site to comply with requirements in Division 1 Section "Project Meetings."

1.5 DELIVERY, STORAGE, AND HANDLING

A. Deliver materials in original packages and containers, with seals unbroken, bearing manufacturer's labels indicating brand name and directions for storage, mixing with other components, and application.

B. Store materials to comply with manufacturer's written instructions to prevent deterioration from moisture or other detrimental effects.

1.6 PROJECT CONDITIONS

A. Environmental Limitations:  Comply with manufacturer's written instructions for substrate temperature and moisture content, ambient temperature and humidity, ventilation, and other conditions affecting concrete floor topping performance.

1. Place concrete floor topping only when ambient temperature and temperature of base slabs are between 50 and 86 deg F (10 and 30 deg C).

B. Close areas to traffic during topping application and, after application, for time period recommended in writing by manufacturer.

PART 2 -  PRODUCTS

2.1 MANUFACTURERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

A. Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 1 Section "Product Requirements."

B. Products:  Subject to compliance with requirements, provide one of the following:

1. Emery-Aggregate Concrete Floor Topping:

a. Anti-Hydro International, Inc.; A-H Emery A-1 Premix.

b. Dayton Superior Corporation; Emery Tuff Top.

c. Emeri-Crete, Inc.; Emeri-Crete.

d. L&M Construction Chemicals, Inc.; Emerytop 400.

e. Metalcrete Industries; Met-Top E.

f. Vexcon Chemicals, Inc.; Emeri-Crete SH.

g. <Insert manufacturer's name; product name or designation.>

2. Iron-Aggregate Concrete Floor Topping:

a. Anti-Hydro International, Inc.; A-H Irontop.

b. Burke by Edeco; Iron Topping.

c. Conspec Marketing & Manufacturing Co., Inc.; Conplate Floor Topping.

d. Euclid Chemical Company (The); Super Euco-Top.

e. MBT Protection and Repair, Div. of ChemRex; Mastertop Anvil-Top 300.

f. Metalcrete Industries; Metalcrete.

g. <Insert manufacturer's name; product name or designation.>

2.2 CONCRETE FLOOR TOPPINGS

A. Emery-Aggregate Concrete Floor Topping:  Factory-prepared and dry-packaged mixture of graded, crushed emery aggregate containing not less than 50 percent aluminum oxide, not less than 24 percent ferric oxide, and not more than 8 percent silica; portland cement or blended hydraulic cement; plasticizers; and other admixtures to which only water needs to be added at Project site.

Revise compressive strength in subparagraph below if required.  Some manufacturers report strengths exceeding 10,000 psi (69 MPa).  Add other properties such as flexural strength and abrasion resistance if required.

1. Compressive Strength (28 Days):  [7000 psi (48 MPa)] <Insert strength>; ASTM C 109/C 109M.

B. Iron-Aggregate Concrete Floor Topping:  Factory-prepared and dry-packaged mixture of graded iron aggregate, portland cement, plasticizers, and other admixtures to which only water needs to be added at Project site.

Revise compressive strength in subparagraph below if required.  Some manufacturers report strengths exceeding 13,000 psi (90 MPa).  Add other properties such as flexural strength and abrasion resistance if required.

1. Compressive Strength (28 Days):  [10,000 psi (69 MPa)] <Insert strength>; ASTM C 109/C 109M.

2.3 CURING MATERIALS

Evaporation retarder below temporarily reduces moisture loss from topping surface awaiting finishing in hot, dry, and windy conditions.

A. Evaporation Retarder:  Waterborne, monomolecular film forming; manufactured for application to fresh concrete.

Select curing materials from remaining paragraphs.

B. Absorptive Cover:  AASHTO M 182, Class 2, burlap cloth made from jute or kenaf, weighing approximately 9 oz./sq. yd. (305 g/sq. m) when dry.

C. Moisture-Retaining Cover:  ASTM C 171, polyethylene film or white burlap-polyethylene sheet.

D. Water:  Potable.

Material in paragraph below is a waterborne, membrane-forming curing compound.  Verify that curing compounds comply with maximum VOC emission limits of authorities having jurisdiction.

E. Clear, Waterborne, Membrane-Forming Curing Compound:  ASTM C 309, Type 1, Class B, 25 percent solids content, minimum.

2.4 RELATED MATERIALS

Retain paragraph below for joint filler to fill contraction joints and, if required, construction joints.

A. Semirigid Joint Filler:  Two-component, semirigid, 100 percent solids, [epoxy resin with a Type A Shore durometer hardness of 80] [aromatic polyurea with a Type A Shore durometer hardness range of 90 to 95] per ASTM D 2240.

Select type of joint-filler strips from options in paragraph below if used in isolation joints.

B. Joint-Filler Strips:  [ASTM D 1751, asphalt-saturated cellulosic fiber] [or] [ASTM D 1752, cork or self-expanding cork].

Retain four paragraphs below if bonding slurry is used on new, hardened concrete.  Slurry recommendations of topping manufacturers include neat cement and water; cement, sand, and water; and cement, sand, water, and acrylic-bonding agent.

C. Portland Cement:  ASTM C 150, Type I or II.

D. Sand:  ASTM C 404, fine aggregate passing No. 16 (1.18-mm) sieve.

E. Water:  Potable.

F. Acrylic-Bonding Agent:  ASTM C 1059, Type II, non-redispersible, acrylic emulsion or styrene butadiene.

Retain paragraph below if epoxy adhesive is used for bonding topping to dry new concrete or dry old concrete.

G. Epoxy Adhesive:  ASTM C 881, Type V, two-component epoxy resin, capable of humid curing and bonding to damp surfaces, of class and grade to suit requirements.

2.5 MIXING

Retain one of first two paragraphs below if bonding slurry is used to bond topping to new, hardened concrete.  Delete both if epoxy adhesive is required for existing, aged concrete or if topping is monolithically placed on plastic concrete.  Retain first paragraph if mixing a neat-cement slurry.  Retain second paragraph if mixing a sand-cement slurry alone or in combination with an acrylic-bonding agent.

A. Bonding Slurry:  Mix portland cement with water to a thick paint consistency.

B. Bonding Slurry:  Mix 1 part portland cement and [1-1/2] [2] [2-1/2] parts sand with water[ and an acrylic-bonding agent according to manufacturer's written instructions] to a thick paint consistency.

C. Floor Topping:  Mix concrete floor topping materials and water in appropriate drum-type batch machine mixer or truck mixer according to manufacturer's written instructions.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine substrates, with Installer present, for conditions affecting performance of concrete floor topping.

Retain paragraph below for deferred floor topping placed over new, hardened concrete slab.  Coordinate finish with Division 3 Section "Cast-in-Place Concrete."

B. Verify that base concrete slabs comply with scratch finish requirements specified in Division 3 Section "Cast-in-Place Concrete."

Retain first paragraph below if placing topping over existing, aged concrete slab.  Test method below requires at least 16 hours.  Add other methods of moisture testing if required.

C. Verify that base slabs are visibly dry and free of moisture.  Test for capillary moisture by the plastic sheet method according to ASTM D 4263.

D. Proceed with application only after unsatisfactory conditions have been corrected.

3.2 PREPARATION

Delete first paragraph and subparagraphs below if concrete base slabs are new.

A. Existing Concrete:  Remove existing surface treatments and deteriorated and unsound concrete.  Mechanically abrade base slabs to produce a heavily scarified surface profile with an amplitude of 1/4 inch (6 mm.)
1. Prepare and clean existing base slabs according to concrete floor topping manufacturer's written instructions.  Fill voids, cracks, and cavities in base slabs.

2. Mechanically remove contaminants from existing concrete that might impair bond of floor topping.

Retain subparagraph below if existing joints are not already filled with a semirigid joint filler.

3. Saw cut contraction and construction joints in existing concrete to a depth of 1/2 inch (13 mm) and fill with semirigid joint filler.

Retain subparagraph below to minimize edge curling and delamination of concrete floor topping at joints and perimeter.  Select option recommended by concrete floor topping manufacturer.

4. To both sides of joint edges and at perimeter of existing base slab [mechanically remove a 4-inch- (100-mm-) wide and 0- to 1-inch (0- to 25-mm-) deep, tapered wedge of concrete and retexture surface] [install concrete nails in manufacturer's recommended staggered pattern].

B. Install joint-filler strips where topping abuts vertical surfaces, such as column pedestals, foundation walls, grade beams, and other locations, as indicated.

1. Extend joint-filler strips full width and depth of joint, terminating flush with topping surface, unless otherwise indicated.

Select subparagraph above or first subparagraph below or, if both are required, indicate location of each on Drawings.

2. Terminate full-width, joint-filler strips 1/2 inch (13 mm) below topping surface where joint sealants, specified in Division 7 Section "Joint Sealants," are indicated.

3. Install joint-filler strips in lengths as long as practicable.  Where more than one length is required, lace or clip sections together.

3.3 FLOOR TOPPING APPLICATION

Retain paragraph below unless application is not critical or does not justify cost of manufacturer's representative.  A technical representative can help with preinstallation conference, mockups, examination, preparation, and early installation phases of a project.

A. Start floor topping application in presence of manufacturer's technical representative.

Select application method from one of first two paragraphs below.  Retain both paragraphs if decision is left to Contractor's option.  See Evaluations for further discussion.

Retain paragraph below if bonding floor topping monolithically to plastic concrete.

B. Monolithic Floor Topping:  After textured-float finish is applied to fresh concrete of base slabs specified in Division 3 Section "Cast-in-Place Concrete," place concrete floor topping while concrete is still plastic.

Retain paragraph below for bonding floor topping to new, hardened concrete.  Revise time limit if required.

C. Deferred Floor Topping:  Within 72 hours of placing base slabs, mix and scrub bonding slurry into dampened concrete to a thickness of 1/16 to 1/8 inch (1.6 to 3 mm), without puddling.  Place floor topping while slurry is still tacky.

Retain first paragraph below if using epoxy-bonding adhesive over existing base slabs.

D. Existing Concrete:  Apply epoxy-bonding adhesive, mixed according to manufacturer's written instructions, and scrub into dry base slabs to a thickness of 1/16 to 1/8 inch (1.6 to 3 mm), without puddling.  Place floor topping while adhesive is still tacky.

E. Place concrete floor topping continuously in a single layer, tamping and consolidating to achieve tight contact with bonding surface.  Do not permit cold joints or seams to develop within pour strip.

1. Screed surface with a straightedge and strike off to correct elevations.

2. Slope surfaces uniformly where indicated.

3. Begin initial floating using bull floats to form a uniform and open-textured surface plane free of humps or hollows.

F. Finishing:  Consolidate surface with power-driven floats as soon as concrete floor topping can support equipment and operator.  Restraighten, cut down high spots, and fill low spots.  Repeat float passes and restraightening until concrete floor topping surface has a uniform, smooth, granular texture.

1. Hard Trowel Finish:  After floating surface, apply first trowel finish and consolidate concrete floor topping by power-driven trowel without allowing blisters to develop.  Continue troweling passes and restraighten until surface is smooth and uniform in texture.

Delete surface plane tolerances in two subparagraphs below if not needed or revise to suit Project if different tolerances are required.  Retain first subparagraph if measurement according to F-number system is required.  Retain second subparagraph if measurement by straightedge method is required.  See Evaluations in Division 3 Section "Cast-in-Place Concrete" for description of F-number system.

a. Finish surfaces to specified overall values of flatness, F(F) 25; and levelness, F(L) 20; with minimum local values of flatness, F(F) 17; and levelness, F(L) 15, and [measure] [notify independent testing agency to permit measurement] within 24 hours according to ASTM E 1155 (ASTM E 1155M) for a randomly trafficked floor surface.

Value in subparagraph below is roughly equivalent to F(F) 25.

b. Finish and measure surface so gap at any point between surface and an unleveled freestanding 10-foot- (3-m-) long straightedge, resting on 2 high spots and placed anywhere on the surface, does not exceed 1/4 inch (6 mm).

Revise criteria for locating construction joints, in first paragraph and subparagraph below, to suit Project.

G. Construction Joints:  Construct joints true to line with faces perpendicular to surface plane of concrete floor topping, at locations indicated or as approved by Architect.

1. Coat face of construction joint with epoxy adhesive at locations where concrete floor topping is placed against hardened or partially hardened concrete floor topping.

H. Contraction Joints:  Form weakened-plane contraction joints with power saws equipped with shatterproof abrasive or diamond-rimmed blades.  Cut 1/8-inch- (3-mm-) wide joints into concrete floor topping when cutting action will not tear, abrade, or otherwise damage surface and before random contraction cracks develop.

Insert spacing of contraction joints in subparagraph below or on Drawings if joint spacing of existing base slabs is not suitable.

1. Form joints in concrete floor topping over contraction joints in base slabs, unless otherwise indicated.

Retain subparagraph below for monolithic floor topping placement.

2. Construct contraction joints for a combined depth equal to topping thickness and not less than one-fourth of base-slab thickness.

Retain subparagraph below for deferred floor topping placement or if topping existing base slabs.  Retain first subparagraph above with below if Contractor may choose installation method for new, hardened concrete.

3. Construct contraction joints for a depth equal to one-half of concrete floor topping thickness, but not less than 1/2 inch (13 mm) deep.

3.4 PROTECTING AND CURING

A. General:  Protect freshly placed concrete floor topping from premature drying and excessive cold or hot temperatures.

B. Evaporation Retarder:  Apply evaporation retarder to concrete floor topping surfaces in hot, dry, or windy conditions before and during finishing operations.  Apply according to manufacturer's written instructions after placing, screeding, and bull floating or darbying floor topping, but before float finishing.

C. Begin curing immediately after finishing concrete floor topping.  Cure by one or a combination of the following methods, according to concrete floor topping manufacturer's written instructions:

Select curing methods from three subparagraphs below.  Moisture curing or moisture-retaining-cover curing of iron-aggregate topping is discouraged by concrete floor topping manufacturers.

1. Moisture Curing:  Keep surfaces continuously moist for not less than 7 days with [water] [continuous water-fog spray] [or] [absorptive cover, water saturated and kept continuously wet.  Cover topping surfaces and edges with 12-inch (300-mm) lap over adjacent absorptive covers].

2. Moisture-Retaining-Cover Curing:  Cover concrete surfaces with moisture-retaining cover for curing concrete, placed in widest practicable width, with sides and ends lapped at least 12 inches (300 mm), and sealed by waterproof tape or adhesive.  Cure for not less than seven days.  Immediately repair any holes or tears during curing period using cover material and waterproof tape.

3. Curing Compound:  Apply uniformly in two coats in continuous operations by power spray or roller according to manufacturer's written instructions.  Recoat areas subjected to heavy rainfall within three hours after initial application.  Maintain continuity of coating and repair damage during curing period.

3.5 JOINT FILLING

A. Prepare and clean contraction joints and install semirigid joint filler, according to manufacturer's written instructions, once topping has fully cured.

B. Remove dirt, debris, saw cuttings, curing compounds, and sealers from joints; leave contact faces of joint clean and dry.

C. Install semirigid joint filler full depth of contraction joints.  Overfill joint and trim semirigid joint filler flush with top of joint after hardening.

3.6 REPAIRS

A. Defective Topping:  Repair and patch defective concrete floor topping areas, including areas that have not bonded to concrete substrate.

3.7 FIELD QUALITY CONTROL

Retain first option in first paragraph below if Owner engages agency; retain second option if Contractor engages agency.  If retaining second option, retain requirement for field quality-control test reports in Part 1 "Submittals" Article.

A. Testing Agency:  [Owner will engage] [Engage] a qualified independent testing and inspecting agency to perform field tests and inspections and prepare test reports.

B. Testing Services:  Testing and inspecting of completed applications of concrete floor toppings shall take place in successive stages, in areas of extent and using methods as follows:

Revise frequency of sampling in first subparagraph below to suit Project.  Because there are no industry recommendations, frequency below is an example only.  Cubes are 2 inches (50 mm) square.

1. Sample Sets:  At point of placement, a set of 3 molded-cube samples shall be taken from the topping mix for the first 1000 sq. ft. (93 sq. m), plus 1 set of samples for each subsequent 5000 sq. ft. (464 sq. m) of topping, or fraction thereof, but not less than 6 samples for each day's placement.  Samples shall be tested according to ASTM C 109/C 109M for compliance with compressive-strength requirements.

2. Concrete floor topping shall be tested for delamination by dragging a steel chain over the surface.

3. Concrete floor topping shall be tested for compliance with surface flatness and levelness tolerances.

C. Remove and replace applications of concrete floor topping where test results indicate that it does not comply with specified requirements.

D. Additional testing and inspecting, at Contractor's expense, will be performed to determine compliance of replaced or additional work with specified requirements.

END OF SECTION 03532

CONCRETE FLOOR TOPPING
03532 - 10

