Copyright 2003 AIA
MASTERSPEC Full Length
02/03 (R 05/06)

Copyright 2003 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 08630 - METAL-FRAMED SKYLIGHTS
This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes aluminum-framed skylights with the following characteristics:

Adjust list below to suit Project.

1. Glazing is [glass] [plastic].

2. Glazing is retained by [field-installed pressure caps on four sides] [field-installed structural sealant at horizontal members (purlins) and pressure caps at rafters] [factory-installed structural sealant on four sides].

B. Related Sections include the following:

List below only products and construction that the reader might expect to find in this Section but are specified elsewhere.

Delete subparagraph below if not applicable; revise if separate support system is specified in another Section.

1. Division 5 Section "Structural Steel" for steel framing that supports skin-system assemblies.

Before specifying field-installed insulation materials, see "Energy Considerations" Article in the Evaluations.

2. Division 7 Section "Building Insulation" for insulation materials field installed with metal-framed skylights.

3. Division 7 Section "Sheet Metal Flashing and Trim" for metal flashings installed at perimeters of assemblies.

4. Division 7 Section "Joint Sealants" for sealants installed at perimeters of metal-framed skylights.

5. Division 8 Section "Roof Windows" for fixed and operable windows installed in roof areas.

6. Division 8 Section "Unit Skylights" for standard, factory-assembled skylight units.

7. Division 8 Section "Glazing" for glass units installed in metal-framed skylights.

8. Division 8 Section "Plastic Glazing" for plastic glazing installed in metal-framed skylights.

1.3 PERFORMANCE REQUIREMENTS

A. Provide metal-framed skylights, including anchorage, capable of withstanding, without failure, the effects of the following:

1. Structural loads.

2. Thermal movements.

3. Movements of supporting structure.

Specify dimensional tolerances for support system and adjacent construction in other Sections of this Project's Specifications.

4. Dimensional tolerances of building frame and other adjacent construction.

B. Failure includes the following:

1. Deflection exceeding specified limits.

2. Water leakage.

3. Thermal stresses transferred to building structure.

4. Noise or vibration created by wind and thermal and structural movements.

5. Framing members transferring stresses, including those caused by thermal and structural movements, to glazing.

6. Loosening or weakening of fasteners, attachments, and other components.

7. Sealant failure.

C. Structural Loads:

Show structural design data determined by Project's structural engineer on Drawings or insert loads in applicable subparagraphs below.  Verify requirements of authorities having jurisdiction.  See "Design Loads, General" Article in the Evaluations.

1. Wind Loads:  [As indicated by structural design data on Drawings] <Insert specific loads>.

Model building codes require sloped glazing to resist snow loads or roof live loads, whichever are greater.

2. Snow Loads:  [As indicated by structural design data on Drawings] <Insert specific loads>.

Concentrated live loads usually represent weight of personnel performing maintenance on metal-framed skylights or adjacent roof areas.  Skylights with glazing that cannot support concentrated live loads may require protective screens or covers; see "Protection" Article in the Evaluations.

3. Concentrated Live Loads:  [250 lbf (1112 N)] <Insert load> applied to framing members at locations that will produce greatest stress or deflection.

4. Seismic Loads:  [As indicated by earthquake design data on Drawings] <Insert specific seismic-design requirements>.

Indicate code that must be used to calculate load combinations on Drawings or insert requirements in subparagraph below.

5. Load Combinations:  Calculate according to [requirements of applicable code indicated on Drawings] <Insert requirements>.

D. Deflection of Framing Members:

1. Deflection Normal to Glazing Plane:

a. Spans Up to 20 Feet (6 m):  Limited to [1/175] [1/180] <Insert deflection> of clear span or 1 inch (25.4 mm), whichever is smaller.

If same deflection criteria apply to every framing member regardless of span, revise subparagraph above and delete subparagraph below.  Based on Project conditions, more stringent deflection criteria than specified in options in both subparagraphs may be required.  For discussion of deflection criteria, see "Deflection" Article in the Evaluations.

b. Spans Exceeding 20 Feet (6 m):  Limited to [1/240] <Insert deflection> of clear span.

Retain subparagraph below for glass glazing.

c. Glass Edge Deflection:  Limit edge deflection of individual glass lites to 3/4 inch (19 mm).

Based on Project conditions, more stringent deflection criteria than specified in options in subparagraph below may be required.  First option is based on typical deflection criteria for glass; second, on GANA's "Glazing Manual." For plastic glazing, consult glazing manufacturers and insert applicable deflection limit.

2. Deflection Parallel to Glazing Plane:  Limited to [1/360 of clear span or 1/8 inch (3.2 mm), whichever is smaller] [amount not exceeding that which reduces glazing bite to less than 75 percent of design dimension and that which reduces edge clearance between framing members and glazing or other fixed components to less than 1/8 inch (3.2 mm)] <Insert limit>.

Usually retain first paragraph below.  AAMA SDGS-1, "Structural Design Guidelines for Aluminum Framed Skylights," states that manufacturers sometimes assume glazing material provides continuous lateral bracing and base their designs on unbraced lengths equal to zero.

E. Lateral Bracing of Framing Members:  Compression flanges of flexural members are laterally braced by cross members with minimum depth equal to 50 percent of flexural member that is braced.  Glazing does not provide lateral support.

F. Thermal Movements:  Allow for thermal movements from ambient and surface temperature changes.  Base engineering calculation on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.

Differential values below (for aluminum in particular) are suitable for most of the U.S.  Revise to suit local conditions and metal color and finish.

1. Temperature Change (Range):  120 deg F (67 deg C), ambient; 180 deg F (100 deg C), material surfaces.

Delete paragraph and subparagraphs below if no structural-sealant-glazed joints.

G. Structural-Sealant Glazing:

1. Structural Sealant:  Capable of withstanding tensile and shear stresses imposed by metal-framed skylight assemblies without failing adhesively or cohesively.  Sealant fails cohesively before sealant releases from substrate when tested for adhesive compatibility with each substrate and joint condition required.

a. Adhesive failure occurs when sealant pulls away from substrate cleanly, leaving no sealant material behind.

b. Cohesive failure occurs when sealant breaks or tears within itself but does not separate from each substrate because sealant-to-substrate bond strength exceeds sealant's internal strength.

2. Structural-Sealant Joints:  Designed to produce tensile or shear stress in structural-sealant joints of less than 20 psi (138 kPa).

Delete subparagraph below if dead-load support by structural sealant is acceptable.

a. Structural-sealant joints do not carry gravity loads of glazing.

1.4 PERFORMANCE TESTING

A. Provide metal-framed skylights that comply with test-performance requirements indicated, as evidenced by reports [of tests performed on manufacturer's standard assemblies] [based on Project-specific preconstruction testing] by a qualified independent testing agency.

Five subparagraphs and associated subparagraphs below describe Project-specific preconstruction-testing requirements; delete if selecting first option in paragraph above; retain if selecting second option.

1. [Owner will engage] [Engage] a testing agency to perform preconstruction tests on laboratory mockups of assemblies.

Indicate size and other details of laboratory mockups on Drawings or by inserts.

2. Build laboratory mockups at testing agency facility using personnel, materials, and methods of construction that will be used at Project site.

Retain subparagraph below for structural-sealant-glazed skylights.

3. Before performing testing on structural-sealant-glazed assemblies, remove at least one of every type of glazing lite from each laboratory mockup and replace them using reglazing procedures required for in-use skylight assembly.

Delete first subparagraph below if not required.

4. Notify Architect seven days in advance of the dates and times when laboratory mockups will be constructed.

5. Preconstruction Testing Sequence:  Perform specified tests on laboratory mockups in the following order:

Revise test sequence below to suit Project and coordinate with tests required in remainder of this Article.

a. Structural-performance preloading at one half of the specified maximum test load (ASTM E 330).

b. Air infiltration (ASTM E 283).

c. Water penetration under static pressure (ASTM E 331).

d. Water penetration under dynamic pressure (AAMA 501.1).

e. Structural performance at design load (ASTM E 330).

Repeating static-pressure tests for air infiltration and water penetration after performing structural test at design load is optional; consult manufacturers and testing agencies for guidance for appropriate requirements for Project.

f. Repeat air filtration (ASTM E 283).

g. Repeat water penetration under static pressure (ASTM E 331).

h. Structural performance at specified maximum test load (ASTM E 330).

Before retaining testing requirements in remainder of this Article, see "Testing, General" and "Preconstruction Testing" articles in the Evaluations.  Manufacturers test their standard assemblies differently; verify applicable test-performance requirements for manufacturers selected.

B. Structural-Performance Test:  ASTM E 330.

1. Performance at Design Load:  When tested at positive and negative wind-load design pressures, assemblies do not evidence deflection exceeding specified limits.

2. Performance at Maximum Test Load:  When tested at [150] <Insert number> percent of positive and negative wind-load design pressures, assemblies, including anchorage, do not evidence material failures, structural distress, and permanent deformation of main supporting members exceeding [0.2] <Insert number> percent of span.

Minimum test duration according to ASTM E 330 is 10 seconds, which is historically U.S. practice.

3. Test Durations:  As required by design wind velocity but not less than [10] <Insert number> seconds.

C. Air-Infiltration Test:  ASTM E 283.

ASTM E 283 requires using a static-air-pressure difference of 1.57 lbf/sq. ft. (75 Pa), unless otherwise indicated, which is equivalent to a 25-mph (40-km/h) wind.  Static-air-pressure difference of 6.24 lbf/sq. ft. (300 Pa) is equivalent to a 50-mph (80-km/h) wind.

1. Minimum Static-Air-Pressure Difference:  [1.57 lbf/sq. ft. (75 Pa)] [6.24 lbf/sq. ft. (300 Pa)] <Insert pressure>.

2. Maximum Air Leakage:  [0.06 cfm/sq. ft. (0.30 L/s per sq. m)] <Insert rate>.

D. Test for Water Penetration under Static Pressure:  ASTM E 331.

Static-air-pressure difference of 20 percent of wind-load design pressure is appropriate in most parts of the U.S.; various AAMA publications include this recommendation.  Locations where high winds and heavy rains frequently occur simultaneously may require higher test-pressure differences.  Lower test-pressure differences are acceptable for some locations.  Revise first subparagraph below to suit Project.

1. Minimum Static-Air-Pressure Difference:  [20 percent of positive wind-load design pressure, but not less than 6.24 lbf/sq. ft. (300 Pa)] <Insert pressure>.

2. Water Leakage:  None.

Test method in paragraph and subparagraphs above is most frequently specified.  Test method in paragraph and subparagraphs below is generally more expensive than static method.  Both static and dynamic testing may be required or desired for certain designs.

E. Test for Water Penetration under Dynamic Pressure:  AAMA 501.1.

1. Dynamic Pressure:  [20 percent of positive wind-load design pressure, but not less than 12 lbf/sq. ft. (574 Pa)] <Insert pressure>.

AAMA 501.1's definition of water leakage allows up to 1/2 oz. (15 mL) of water to accumulate on an interior stop or stool integral to system in a 15-minute period.

2. Water Leakage:  [None, as defined by AAMA 501.1] [No uncontrolled water penetrating systems or appearing on systems' normally exposed interior surfaces from sources other than condensation].  Water controlled by flashing and gutters that is drained to exterior and cannot damage adjacent materials or finishes is not considered water leakage.

If Project-specific preconstruction testing for effects of thermal movement is necessary, insert requirements for testing according to AAMA 501.5.  Standard skylight assemblies are usually not tested; instead, manufacturers often rely on calculations and in-service performance of typical details to verify thermal-movement capabilities.

In hurricane-prone areas, authorities having jurisdiction may require debris-impact and cyclic-pressure testing for glazed assemblies.  If required, insert testing requirements for windborne-debris impact resistance.  See Evaluations and verify requirements of authorities having jurisdiction.

1.5 SUBMITTALS

A. Product Data:  Include construction details, material descriptions, dimensions of individual components and profiles, and finishes for metal-framed skylights.

B. LEED Submittal:

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1; coordinate with requirements selected in Part 2 for sealants.

1. Product Data for Credit EQ 4.1:  For sealants used inside of the weatherproofing system, including printed statement of VOC content.

C. Shop Drawings:  For metal-framed skylights.  Include plans, elevations, sections, details, and attachments to other work.

Retain subparagraph below if Architect either has delegated design responsibility to Contractor or wants to review structural data as another way to verify product's compliance with skylight-performance requirements.  Professional engineer qualifications are specified in Division 1 Section "Quality Requirements."

1. Include structural analysis data signed and sealed by the qualified professional engineer responsible for their preparation.

D. Samples for Initial Selection:  For units with factory-applied color finishes.

Delete paragraph above if colors are preselected and specified or scheduled.  Retain paragraph below with or without above.

E. Samples for Verification:  For each type of exposed finish required, in manufacturer's standard sizes.

Retain paragraph and subparagraphs below to verify details of assembly.  In lieu of a fabrication sample, consider inserting a provision that an isometric drawing included in Shop Drawings is acceptable.

F. Fabrication Sample:  Of each framing intersection of assemblies, made from 12-inch (300-mm) lengths of full-size components and showing details of the following:

Revise list below to suit Project.

1. Joinery.

2. Anchorage.

3. Expansion provisions.

4. Glazing.

5. Flashing and drainage.

For structural-sealant-glazed skylights, always retain paragraph below and requirement for compatibility testing in "Quality Assurance" Article.

G. Compatibility Test Reports:  For structural-sealant-glazed skylights, preconstruction test reports from structural- and nonstructural-sealant manufacturer indicating that materials forming joint substrates and joint-sealant backings have been tested for compatibility and adhesion with joint sealants.  Include sealant manufacturer's interpretation of test results for sealant performance and written recommendations for primers and substrate preparation needed for adhesion.

Retain paragraph below if Contractor is responsible for field quality-control testing and inspecting.

H. Field quality-control test and inspection reports.

Retain paragraph below for standard skylight assemblies if Project-specific preconstruction testing is not required in "Performance Testing" Article.

I. Product Test Reports:  Based on evaluation of comprehensive tests performed by a qualified testing agency, for metal-framed skylights.

Retain two paragraphs below if Project-specific preconstruction testing is specified in "Performance Testing" Article as Contractor's responsibility.

J. Preconstruction Testing Program:  For metal-framed skylight assemblies, developed specifically for Project.

K. Preconstruction Test Reports:  For metal-framed skylight assemblies.

For structural-sealant-glazed systems, ASTM C 1401 recommends that system designer establish a written quality-control program for fabrication, installation, and postconstruction maintenance.  Consider deleting first two paragraphs below for manufacturers' standard skylights that have records of successful performance.

L. Structural-Sealant-Glazing, Quality-Control Program:  Developed specifically for Project.

M. Structural-Sealant-Glazing, Quality-Control Program Reports:  Documenting quality-control procedures and verifying results for metal-framed skylights.

N. Maintenance Data:  For metal-framed skylights to include in maintenance manuals.

O. Warranties:  Special warranties specified in this Section.

1.6 QUALITY ASSURANCE

A. Installer Qualifications:  Entity capable of assuming engineering responsibility and performing work of this Section and who is acceptable to manufacturer.

Retain first paragraph below if Contractor selects testing agency specified in Part 1"Performance Testing" Article or Part 3 "Field Quality Control" Article.

B. Testing Agency Qualifications:  An independent agency qualified according to ASTM E 699 for testing indicated.

C. Product Options:  Information on Drawings and in Specifications establishes requirements for skylights' aesthetic effects and performance characteristics.  Aesthetic effects are indicated by dimensions, arrangements, alignment, and profiles of components and assemblies as they relate to sightlines, to one another, and to adjoining construction.  Performance characteristics are indicated by criteria subject to verification by one or more methods including testing conducted by an independent testing agency and in-service performance.

Retain subparagraph below or revise to suit Project.

1. Do not modify intended aesthetic effects, as judged solely by Architect, except with Architect's approval.  If modifications are proposed, submit comprehensive explanatory data to Architect for review.

For structural-sealant-glazed skylights, always retain paragraph and subparagraphs below.

D. Compatibility Testing:  For structural-sealant-glazed skylights, perform structural- and nonstructural-sealant manufacturer's standard preconstruction tests for compatibility and adhesion of sealants with each material that will come in contact with sealants and each condition required by metal-framed skylights.

1. Test a minimum of five samples of each metal, glazing, and other material.

2. Prepare samples using techniques and primers required for installed skylights.

3. For materials that fail tests, determine corrective measures required to prepare each material to ensure compatibility with and adhesion of sealants, including, but not limited to, specially formulated primers.  After performing these corrective measures on the minimum number of samples required for each material, retest materials.

Delete paragraph below if no welding.

E. Welding:  Qualify procedures and personnel according to AWS D1.2, "Structural Welding Code - Aluminum."

Delete paragraph and subparagraphs below if no structural-sealant glazing.

F. Structural-Sealant Glazing:  Comply with recommendations in ASTM C 1401, "Guide for Structural Sealant Glazing," for joint design and quality-control procedures.

1. Joint designs are reviewed and approved by structural-sealant manufacturer.

2. Quality-control program development and reporting are Project specific and comply with ASTM C 1401 recommendations for material qualification procedures, preconstruction sealant-testing program, and procedures and intervals for fabrication and installation reviews and checks.

Delete paragraph and subparagraphs below if not required.  If retaining, indicate location, size, and other details of mockups on Drawings or by inserts.  Revise wording if only one mockup is required.

G. Mockups:  Build mockups to demonstrate aesthetic effects and set quality standards for fabrication and installation.

Retain first subparagraph below for large-scale mockup or include in Division 1 Section "Quality Requirements." Indicate on Drawings the skylight area represented by mockup or draw mockup as separate element.

1. Build mockup of typical skylight area as shown on Drawings.

2. Field testing shall be performed on mockups according to requirements in Part 3 "Field Quality Control" Article.

Retain subparagraph below if mockups are erected as part of building rather than separately and the intention is to make an exception to the default requirement in Division 1 Section "Quality Requirements" for demolishing and removing mockups when directed, unless otherwise indicated.

3. Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

Delete paragraph below if Work of this Section is not extensive or complex enough to justify a preinstallation conference.  If retaining, coordinate with Division 1.

H. Preinstallation Conference:  Conduct conference at Project site to comply with requirements in Division 1 Section "Project Management and Coordination."

1.7 PROJECT CONDITIONS

A. Field Measurements:  Indicate measurements on Shop Drawings.

1.8 WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this Article are not less than remedies available to Owner under prevailing local laws.  Coordinate with Division 1 Section "Product Requirements."

A. Special Assembly Warranty:  Manufacturer's standard form in which manufacturer agrees to repair or replace components of metal-framed skylights that fail in materials or workmanship within specified warranty period.

1. Failures include, but are not limited to, the following:

a. Structural failures including, but not limited to, excessive deflection.

b. Noise or vibration caused by thermal movements.

Delete option in subparagraph below if retaining "Special Finish Warranty" Paragraph.

c. Deterioration of metals[, metal finishes,] and other materials beyond normal weathering.

Delete first subparagraph below if glazing sealants are not specified in this Section.

d. Adhesive or cohesive sealant failures.

e. Water leakage.

Verify available warranties for assemblies and insert number below.

2. Warranty Period:  [Two] [Five] [10] <Insert number> years from date of Substantial Completion.

B. Special Finish Warranty:  Manufacturer's standard form in which manufacturer agrees to repair or replace components on which finishes fail within specified warranty period.  Warranty does not include normal weathering.

1. Failures include, but are not limited to, checking, crazing, peeling, chalking, and fading of finishes.

Verify available warranties for finishes and insert number below.

2. Warranty Period:  [Five] [10] [20] <Insert number> years from date of Substantial Completion.

PART 2 -  PRODUCTS

2.1 MANUFACTURERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification, or delete both for basis-of-design specification.  Refer to Division 1 Section "Product Requirements."

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

C. Basis-of-Design Product:  The design for metal-framed skylights is based on <Insert manufacturer's name and product>.  Subject to compliance with requirements, provide the named product or a comparable product by one of the following:

1. Acralight.

2. Architectural Skylight Co., Inc.

3. Bristolite Skylights.

4. CPI International.

5. Exarc Skylights, Inc.

6. Fisher Skylights.

7. Gammans Architectural Products Inc.

8. Lane-Aire Manufacturing Corp.

9. LinEl Signature.

10. Kawneer.

11. Major Industries, Inc.; Auburn Skylights Division.

12. Naturalite Skylight Systems; Vistawall Group (The).

13. O'Keeffe's Inc.

14. Regal Manufacturing Co.

15. Skyline Products, Inc.

16. Super Sky Products Inc.

17. TRACO.

18. View Thru Glass & Metal Products.

19. Wasco Products, Inc.

20. <Insert manufacturer's name.>

2.2 FRAMING SYSTEMS

A. Aluminum:  Alloy and temper recommended in writing by manufacturer for type of use and finish indicated.

1. Sheet and Plate:  ASTM B 209 (ASTM B 209M).

2. Extruded Bars, Rods, Profiles, and Tubes:  ASTM B 221 (ASTM B 221M).

3. Extruded Structural Pipe and Tubes:  ASTM B 429.

Revise first paragraph and subparagraph below if silicone gaskets mechanically retain glazing; delete for four-sided, structural-sealant-glazed skylights.

B. Pressure Caps:  Manufacturer's standard aluminum components that mechanically retain glazing.

1. Include snap-on aluminum trim that conceals fasteners.

C. Brackets and Reinforcements:  Manufacturer's standard high-strength aluminum with nonstaining, nonferrous shims for aligning skylight components.

D. Anchors, Fasteners, and Accessories:  Manufacturer's standard, corrosion-resistant, nonstaining, and nonbleeding; compatible with adjacent materials.

1. At pressure caps, use ASTM A 193/A 193M, 300 series stainless-steel screws.

2. Where fasteners are subject to loosening or turning out from thermal and structural movements, wind loads, or vibration, use self-locking devices.

Delete first subparagraph and associated subparagraphs below if no exposed fasteners.

3. Exposed Fasteners:

a. Use exposed fasteners with countersunk Phillips screw heads.

b. Finish exposed portions to match framing system.

4. At movement joints, use slip-joint linings, spacers, and sleeves of material and type recommended in writing by manufacturer.

Delete paragraph below if not applicable or revise to suit Project.

E. Concrete and Masonry Inserts:  Hot-dip galvanized cast-iron, malleable-iron, or steel inserts complying with ASTM A 123/A 123M or ASTM A 153/A 153M requirements.

Retain first paragraph below for fastening to wood curbs.  If anchor bolts are required, coordinate locations.

F. Anchor Bolts:  ASTM A 307, Grade A (ASTM F 568M, Property Class 4.6), [hot-dip zinc coating, ASTM A 153/A 153M, Class C] [mechanically deposited zinc coating, ASTM B 695, Class 50].

G. Concealed Flashing:  [Manufacturer's standard, corrosion-resistant, nonstaining, nonbleeding flashing compatible with adjacent materials] [Dead-soft, 0.018-inch- (0.457-mm-) thick stainless steel, ASTM A 240/A 240M of type recommended in writing by manufacturer].

H. Exposed Flashing and Closures:  Manufacturer's standard aluminum components not less than [0.030 inch (0.762 mm)] [0.040 inch (1.016 mm)] [0.060 inch (1.524 mm)] <Insert thickness> thick.

I. Framing Gaskets:  [Manufacturer's standard] <Insert requirements>.

Retain first option in paragraph below for skylights based on manufacturer's standard assemblies.  For custom skylight assemblies, retain second option and specify sealants for framing systems in Division 7 Section "Joint Sealants."

J. Framing Sealants:  As [recommended in writing by manufacturer.] [specified in Division 7 Section "Joint Sealants."]

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1.  VOC limit is that for architectural sealants.

1. Provide sealants for use inside of the weatherproofing system that have a VOC content of [250] <Insert limit> g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

2.3 GLAZING SYSTEMS

A. Glazing:  As specified in Division 8 Section "[Glazing] [Plastic Glazing]."

Retain first option in paragraph below for skylights based on manufacturer's standard assemblies, and insert specific gasket-material requirements if any.  For custom skylight assemblies, retain second option.

B. Spacers, Setting Blocks, and Gaskets:  [Manufacturer's standard elastomeric types.] [As specified in Division 8 Section "Glazing."]

Retain paragraph below for structural-sealant-glazed skylights; bond-breaker tape is typically used with weatherseal sealants where conventional sealant backing cannot be used because of dimensional limitations and to avoid three-side adhesion that may be detrimental to proper sealant movement.

C. Bond-Breaker Tape:  [Manufacturer's standard tetrafluoroethylene-fluorocarbon or polyethylene material to which sealants will not develop adhesion] <Insert requirements>.

Retain first option in paragraph below for skylights based on manufacturer's standard assemblies.  For custom skylight assemblies, retain second option and specify sealants and joint fillers in Division 7 Section "Joint Sealants."

D. Glazing Sealants:  As [recommended in writing by manufacturer.] [specified in Division 7 Section "Joint Sealants."]

Retain first subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1.

1. Provide sealants for use inside of the weatherproofing system that have a VOC content as indicated when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

Delete remainder of this Article if no structural-sealant-glazed skylights or if sealants are specified in Division 7 Section "Joint Sealants."

2. Structural Sealant:  ASTM C 1184, neutral-curing silicone formulation compatible with system components with which it comes in contact, specifically formulated and tested for use as structural sealant, and approved by structural-sealant manufacturer for use in metal-framed skylights indicated.

a. VOC Content:  [100] <Insert limit> g/L or less.

b. Color:  [Black] [As selected by Architect from manufacturer's full range].

Review weatherseal-sealant requirements with metal-framed skylight manufacturers.  For some systems, structural sealant is also weatherseal sealant; delete subparagraph and associated subparagraph below for these systems.

3. Weatherseal Sealant:  ASTM C 920 for Type S, Grade NS, Class 25, Uses NT, G, A, and O; neutral-curing silicone formulation compatible with structural sealant and other components with which it comes in contact; and recommended in writing by structural- and weatherseal-sealant and metal-framed skylight manufacturers for this use.

a. VOC Content:  [250] <Insert limit> g/L or less.

b. Color:  Matching structural sealant.

2.4 ACCESSORY MATERIALS

Delete first paragraph below if no field-installed insulation.

Before specifying field-installed insulation materials, see "Energy Considerations" Article in the Evaluations.

A. Insulating Materials:  Specified in Division 7 Section "Building Insulation."

B. Bituminous Paint:  Cold-applied asphalt-mastic paint complying with SSPC-Paint 12 requirements except containing no asbestos, formulated for 30-mil (0.762-mm) thickness per coat.

2.5 FABRICATION

A. Fabricate aluminum components before finishing.

B. Fabricate aluminum components that, when assembled, have the following characteristics:

1. Profiles that are sharp, straight, and free of defects or deformations.

2. Accurately fitted joints with ends coped or mitered.

3. Internal guttering systems or other means to drain water passing joints, condensation occurring within framing members, and moisture migrating within skylight to exterior.

4. Physical and thermal isolation of glazing from framing members.

5. Accommodations for thermal and mechanical movements of glazing and framing to maintain required glazing edge clearances.

C. Fabricate aluminum sill closures with weep holes and for installation as continuous component.

D. Reinforce aluminum components as required to receive fastener threads.

Delete paragraph below if no welding.

E. Weld aluminum components in concealed locations to greatest extent possible to minimize distortion or discoloration of finish.  Remove weld spatter and welding oxides from exposed surfaces by descaling or grinding.

Delete first paragraph and subparagraphs below if no factory-glazed units.  Four-sided, structural-sealant-glazed skylights must be factory glazed.

F. Factory-Glazed Units:

1. Factory install glazing to comply with requirements in Division 8 Section "[Glazing] [Plastic Glazing]."

Retain subparagraph below for structural-sealant-glazed skylights.

2. Prepare surfaces that will contact structural sealant according to structural-sealant manufacturer's written instructions to ensure compatibility and adhesion.  Preparation includes, but is not limited to, cleaning and priming surfaces.

G. After fabrication, clearly mark components to identify their locations in Project according to Shop Drawings.

Insert integral stabilization requirements for equipment used for maintenance if any.

2.6 ALUMINUM FINISHES

A. General:  Comply with NAAMM's "Metal Finishes Manual for Architectural and Metal Products" for recommendations for applying and designating finishes.

B. Finish designations prefixed by AA comply with the system established by the Aluminum Association for designating aluminum finishes.

Retain finishes below to suit Project.  If retaining more than one, indicate location of each on Drawings or by inserts.  Revise mechanical finish if custom finish is required and availability is verified.

C. Class II, Clear Anodic Finish:  AA-M12C22A31 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class II, clear coating 0.010 mm or thicker) complying with AAMA 611.

Above is standard finish with many manufacturers; below is heavy-anodized finish.  Verify availability with manufacturers selected.

D. Class I, Clear Anodic Finish:  AA-M12C22A41 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class I, clear coating 0.018 mm or thicker) complying with AAMA 611.

E. Class I, Color Anodic Finish:  AA-M12C22A42/A44 (Mechanical Finish:  nonspecular as fabricated; Chemical Finish:  etched, medium matte; Anodic Coating:  Architectural Class I, integrally colored or electrolytically deposited color coating 0.018 mm or thicker) complying with AAMA 611.

Retain one color below with paragraph above.

1. Color:  [Light bronze] [Medium bronze] [Dark bronze] [Black].

Options in subparagraph above are examples only and may vary in color range and availability among manufacturers.  Retain one or delete all and retain one of two options in subparagraph below.

2. Color:  [Match Architect's sample] [As selected by Architect from full range of industry colors and color densities].

Paragraph below references AAMA standards for high-performance and superior performance organic coatings on extrusions and panels.  Revise if specific products are required.

F. High-Performance Organic Finish (2-Coat Fluoropolymer):  AA-C12C40R1x (Chemical Finish:  cleaned with inhibited chemicals; Chemical Finish:  conversion coating; Organic Coating:  manufacturer's standard 2-coat, thermocured system consisting of specially formulated inhibitive primer and fluoropolymer color topcoat containing not less than 70 percent polyvinylidene fluoride resin by weight).  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with [AAMA 2604] [AAMA 2605] and with coating and resin manufacturers' written instructions.

Delete paragraph above or below; if both are required, indicate location of each system on Drawings, in schedules, or by inserts.

Paragraph below references AAMA standard for superior performance organic coating on extrusions and panels.  Revise if specific products are required.

G. High-Performance Organic Finish (3-Coat Fluoropolymer):  AA-C12C40R1x (Chemical Finish:  cleaned with inhibited chemicals; Chemical Finish:  conversion coating; Organic Coating:  manufacturer's standard 3-coat, thermocured system consisting of specially formulated inhibitive primer, fluoropolymer color coat, and clear fluoropolymer topcoat, with both color coat and clear topcoat containing not less than 70 percent polyvinylidene fluoride resin by weight).  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with AAMA 2605 and with coating and resin manufacturers' written instructions.

Retain one color and gloss below with either paragraph above.

1. Color and Gloss:  [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range].

For exact finish, insert names of coating manufacturers and products.

2.7 SOURCE QUALITY CONTROL

Delete this Article if no structural-sealant glazing.

A. Structural-Sealant Glazing:  Perform quality-control procedures complying with ASTM C 1401 recommendations including, but not limited to, material qualification procedures, sealant testing, and fabrication reviews and checks.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine areas, with Installer present, for compliance with requirements for installation tolerances and other conditions affecting performance of work.

1. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 INSTALLATION

A. General:

1. Comply with manufacturer's written instructions.

2. Do not install damaged components.

3. Fit joints between aluminum components to produce hairline joints free of burrs and distortion.

4. Rigidly secure nonmovement joints.

5. Install anchors with separators and isolators to prevent metal corrosion and electrolytic deterioration and to prevent impeding movement of moving joints.

Delete first subparagraph below if no field welding.

6. Weld components in concealed locations to minimize distortion or discoloration of finish.  Protect glazing surfaces from welding.

7. Seal joints watertight, unless otherwise indicated.

B. Metal Protection:  Where aluminum will contact dissimilar materials, protect against galvanic action by painting contact surfaces with bituminous paint or by installing nonconductive spacers as recommended in writing by manufacturer for this purpose.

C. Install continuous aluminum sill closure with weatherproof expansion joints and locked and sealed or welded corners.  Locate weep holes at rafters.

D. Install components to drain water passing joints, condensation occurring within framing members, and moisture migrating within skylight to exterior.

E. Install components plumb and true in alignment with established lines and elevations.

Delete paragraph and subparagraphs below for factory-glazed, four-sided, structural-sealant-glazed skylights.

F. Install glazing as specified in Division 8 Section "[Glazing] [Plastic Glazing]."

1. Structural-Sealant Glazing:

a. Prepare surfaces that will contact structural sealant according to structural-sealant manufacturer's written instructions to ensure compatibility and adhesion.  Preparation includes, but is not limited to, cleaning and priming surfaces.

b. Install weatherseal sealant according to Division 7 Section "Joint Sealants" and according to weatherseal-sealant manufacturer's written instructions to produce weatherproof joints.  Install joint filler behind weatherseal sealant as recommended in writing by weatherseal-sealant manufacturer.

Delete first paragraph below if no field-installed insulation.  Before specifying field-installed insulation materials, see "Energy Considerations" Article in the Evaluations.

G. Install insulation materials as specified in Division 7 Section "Building Insulation."

H. Erection Tolerances:  Install metal-framed skylights to comply with the following maximum tolerances:

Erection tolerances in two subparagraphs below are examples only that are based on manufacturers' literature.  Coordinate with tolerances for support systems and revise to suit Project.

1. Alignment:  Limit offset from true alignment to 1/32 inch (0.8 mm) where surfaces abut in line, edge to edge, at corners, or where a reveal or protruding element separates aligned surfaces by less than 3 inches (76 mm); otherwise, limit offset to 1/8 inch (3.2 mm).

2. Location and Plane:  Limit variation from true location and plane to 1/8 inch in 12 feet (3.2 mm in 3.7 m) but no greater than 1/2 inch (13 mm) over total length.

3.3 FIELD QUALITY CONTROL

Retain first option in paragraph below if Owner engages agency; retain second option if Contractor engages agency.  If retaining second option, retain requirement for field quality-control test and inspection reports in Part 1 "Submittals" Article.

A. Testing Agency:  [Owner will engage] [Engage] a qualified independent testing and inspecting agency to perform field tests and inspections and prepare test and inspection reports.

Indicate testing stages on Drawings.

B. Testing Services:  Testing and inspecting of representative areas to determine compliance of installed skylights with specified requirements shall take place as follows and in successive stages as indicated on Drawings.  Do not proceed with installation of the next area until test results for previously completed areas show compliance with requirements.

Retain first subparagraph and associated subparagraphs below for field-glazed, structural-sealant skylights.

1. Structural-Sealant Compatibility and Adhesion:  Structural sealant shall be tested according to recommendations in ASTM C 1401.

a. Destructive test method, Method A, Hand Pull Tab (Destructive) in ASTM C 1401, Appendix X2, shall be used.

1) A minimum of [one] [two] <Insert number> area(s) on each skylight face shall be tested.

2) Repair installation areas damaged by testing.

2. Structural-Sealant Glazing Inspection:  After installation of metal-framed skylights is complete, structural-sealant glazing shall be inspected and evaluated according to ASTM C 1401 recommendations for quality-control procedures.

If retaining subparagraph and associated subparagraphs below, verify with qualified testing agencies that Project conditions will allow satisfactory static-pressure field testing.  A system's installed performance is generally less than its laboratory performance.  Indicate test locations on Drawings.

3. Water Penetration under Static Pressure:  Before installation of interior finishes has begun, areas shall be tested according to ASTM E 1105.

a. Test Procedures:  Test under [uniform] [and] [cyclic] static air pressure.

Coordinate static-pressure field-test performance requirements below with static-pressure laboratory-test performance requirements specified in Part 1 "Performance Testing" Article.  Generally, 0.67 times the pressure specified for laboratory testing according to ASTM E 331 is a realistic criterion.

b. Static-Air-Pressure Difference:  <Insert pressure.>

c. Water Penetration:  None.

Generally retain inexpensive test in subparagraph below to check skylights' resistance to water penetration.  Insert test area requirements to suit Project.

4. Water-Spray Test:  Before installation of interior finishes has begun, skylights shall be tested according to AAMA 501.2 and shall not evidence water penetration.

C. Repair or remove work where test results and inspections indicate that it does not comply with specified requirements.

D. Additional testing and inspecting, at Contractor's expense, will be performed to determine compliance of replaced or additional work with specified requirements.

END OF SECTION 08630END OF SECTION 08630

METAL-FRAMED SKYLIGHTS
08630 - 1

